## Sch 1 Materials
Schedule no 1 - Plant and Mandatory Spare Parts Supplied from Abroad
Item | Description | Code1 | Qty. | Unit | Unit Price2 |  | Total Price2
DAP
|  |  | 1) |  | 2) | 3) | (1) x (3)
1.1 | 330kV OVERHEAD LINE
1.1.1 | Conductors, Including All Joints, Jumper Loops, Spacers, Spacer Dampers, counterweights And Vibration Dampers As Required
1.1.1.1 | Three phases of twin ACSR "Bison" line conductors |  | 186 | Route km
1.1.1.2 | Set of three twin downleads to substation gantry (including insulator sets) |  | 2 | set
1.1.1.3 | Spare ACSR "Bison" Conductor |  | 12.5 | km
1.1.2 | ACS, Including All Joints, Jumper Loops, Spacers, Spacer Dampers And Vibration Dampers As Required
1.1.2.1 | One earth conductor, ACS, "7/6 AWG" |  | 186 | Route km
1.1.2.2 | Spare ACS Earth Conductor |  | 10 | km
1.1.3 | OPGW, Including All Joints, Jumper Loops, Spacers, Spacer Dampers And Vibration Dampers As Required
1.1.3.1 | One earth conductor OPGW |  | 186 | Route km
1.1.3.2 | Set of one single OPGW earth conductor downlead plus one single ACS earth conductor downlead to substation gantry including all fittings |  | 2 | set
1.1.3.3 | Jointing Box for OPGW/OPGW/OFC for use within transmission line, including fixing, splicing and down lead clamps |  | 50 | each
1.1.3.4 | SPARE
1.1.3.4.1 | OPGW Conductor |  | 20 | km
1.1.3.4.2 | OPGW joint box |  | 10 | each
1.1.3.4.3 | OPGW splicing tool. (Machine) complete with all accessories |  | 3 | each
1.1.3.4.4 | OTDR |  | 3 | each
1.1.3.4.5 | Laptop PC with Maintenance software for the Multiplexers. The Laptop processor shall have Intel core i7 or better CPU, 1TB HDD, 16GB RAM. |  | 4 | each
1.1.3.4.6 | Telecoms Technical Kits Which have but limited to Optical Power meters, Optical Light source and Optical Troubleshooting and O&M devices |  | 4 | each
1.1.3.4.7 | ODF, DDF, MDF cabinets complete with patch cords, terminal blocks, lightening arresters, etc. |  | 1 | lot
1.1.3.4.8 | 48 VDC switch mode power supply charger and battery set(1200AH) |  | 1 | set
1.1.3.4.9 | Repeater station at Mununga as per specifcations |  | 1 | set
1.1.4 | Insulators And Hardware For Conductor, Aluminium Clad Steel Shield Wire & OPGW
1.1.4.1 | Insulator sets and earth conductor attachments, complete with all fittings between tower and conductors
1.1.4.1.1 | Single Suspension set, 120kN |  | 1274 | each
1.1.4.1.2 | Double Tension set, 2 x 160kN |  | 372 | each
1.1.4.1.3 | Earth conductor ACS suspension set |  | 412 | each
1.1.4.1.4 | Earth conductor OPGW suspension set |  | 412 | each
1.1.4.1.5 | Earth conductor ACS tension set (single) |  | 124 | each
1.1.4.1.6 | Earth conductor OPGW tension set for strain towers (pair) |  | 14 | per pair
1.1.4.1.7 | Earth conductor OPGW tension set for joint positions (pair) |  | 48 | per pair
1.1.4.2 | SPARE
1.1.4.2.1 | Double tension insulator set complete with all fittings for ACSR "Bison" |  | 10 | each
1.1.4.2.2 | Single suspension insulator set complete with all fittings for ACSR "Bison" |  | 50 | each
1.1.4.2.3 | Pilot insulator set complete with all fittings for ACSR "Bison" |  | 10 | each
1.1.4.2.4 | Complete tension set for OPGW earth wire (pair) |  | 5 | each
1.1.4.2.5 | Complete suspension set for OPGW earth wire |  | 10 | each
1.1.4.2.6 | Complete tension set for ACS earth wire (single) |  | 5 | each
1.1.4.2.7 | Complete suspension set for ACS earth wire |  | 10 | each
1.1.5 | Overhead Line Accessories
1.1.5.1 | Aviation Marking |  | N/A
1.1.5.2 | Bird Flight Divertors (As per ESIA) |  | 1 | Lot
1.1.5.3 | SPARES
1.1.5.3.1 | Assortment of tower bolts |  | 4 | Tonne
1.1.5.3.2 | Assortment of anti-theft type tower bolts |  | 1 | Tonne
1.1.5.3.3 | Complete set of spanners for tower erection |  | 10 | set
1.1.5.3.4 | Punching tool for holes 12mm, 16mm and 20mm diameter in bracings up to 10mm thick |  | 10 | each
1.1.5.3.5 | Conductor "stockings" for pulling conductor to fit ACSR "Bison" |  | 12 | each
1.1.5.3.6 | 5 Ton hydraulic petrol operated Tower Erection winch |  | 4 | each
1.1.5.3.7 | Sagging Rollers for each conductor type |  | 12 | each
1.1.5.3.8 | 16mm dia. Steel wire rope (100m lengths) |  | 6 | each
1.1.5.3.9 | Nylon slings (5 Ton SWL) |  | 20 | each
1.1.5.3.10 | Twin conductor running blocks |  | 5 | each
1.1.5.3.11 | Mid-span joints for ACSR "Bison" Compression type. |  | 25 | each
1.1.5.3.12 | Pre-formed armourod type Repair Sleeves for ACSR "Bison" |  | 50 | each
1.1.5.3.13 | Compression type repair sleeves for ACSR "Bison" |  | 50 | each
1.1.5.3.14 | Vibration Dampers for ACSR "Bison" |  | 250 | each
1.1.5.3.15 | Tension Clamps for ACSR "Bison" |  | 25 | each
1.1.5.3.16 | Suspension clamps complete with preformed armour rods for ACSR "Bison" |  | 50 | each
1.1.5.3.17 | Spacers for twin ACSR "Bison" |  | 250 | each
1.1.5.3.18 | Vibration Dampers for ACS Earth wire |  | 50 | each
1.1.5.3.19 | Vibration Dampers for OPGW Earth wire |  | 50 | each
1.1.5.3.20 | Midspan joint for ACS earth wire |  | 10 | each
1.1.5.3.21 | 3 ton pullift |  | 10 | each
1.1.5.3.22 | 3 ton tirfor c/w bond |  | 5 | each
1.1.5.3.23 | come along clamp (Riganti or Klein) for ACSR "Bison" conductor |  | 12 | each
1.1.5.3.24 | tandem come along clamp (Riganti or Klein) for ACSR "Bison" conductor |  | 12 | each
1.1.5.3.25 | come along clamp (Riganti or Klien) for ACS earth wire |  | 6 | each
1.1.5.3.26 | come along clamp (Riganti or Klein) for OPGW earth wire |  | 6 | each
1.1.5.3.27 | Motorised jointing compression tool c/w with compressing head and full set of dies for ACSR "Bison" conductor and ACS "7/6 AWG" earthwire , including 2 sets of high pressure hoses, one set short and one long for use up the tower. |  | 2 | set
1.1.5.3.28 | Sash Ropes 16mm dia.(100m lengths) |  | 5 | each
1.1.6 | Grounding Materials
1.1.6.1 | Counterpoise cable including excavation, reinstatement, compression jointing and connecting to tower:
1.1.6.1.1 | Earthing Type A |  | 374 | each
1.1.6.1.2 | Earthing Type B |  | 50 | each
1.1.6.1.3 | Earthing Type C |  | 50 | each
1.1.6.1.4 | Earthing enhancements for type A where required as per specification to achieve specified tower footing resistance |  | 374 | each
1.1.7 | Lattice Steel Towers
1.1.7.1 | Self supporting single circuit towers and extended towers of the suspension type complete with all accessories
1.1.7.1.1 | A Type
1.1.7.1.1.1 | A Type Tower + 0m BE +0.0m leg |  | 317 | per tower
1.1.7.1.1.2 | A Type Tower + 3m BE +0.0m leg |  | 73 | per tower
1.1.7.1.1.3 | A Type Tower + 6m BE +0.0m leg |  | 15 | per tower
1.1.7.1.1.4 | A Type Tower + 9m BE +0.0m leg |  | 6 | per tower
1.1.7.1.1.5 | A Type Tower + 12m BE +0.0m leg |  | 1 | per tower
1.1.7.1.1.6 | Extra over for single 1.0 m leg extn. |  | 46 | each
1.1.7.1.1.7 | Extra over for single 2.0 m leg extn. |  | 74 | each
1.1.7.1.1.8 | Extra over for single 3.0m leg extn. |  | 0 | each
1.1.7.2 | Single circuit towers and extended towers of the tension type complete with all accessories, including pilot insulator sets and weights, jumper spacers and weighted spacers where necessary.
1.1.7.2.1 | B Type
1.1.7.2.1.1 | B Type Tower + 0.0m BE +0.0m leg |  | 34 | per tower
1.1.7.2.1.2 | B Type Tower + 3.0m BE +0.0m leg |  | 7 | per tower
1.1.7.2.1.3 | B Type Tower + 6.0m BE +0.0m leg |  | 0 | per tower
1.1.7.2.1.4 | B Type Tower + 9.0m BE +0.0m leg |  | 1 | per tower
1.1.7.2.1.5 | B Type Tower + 12.0m BE +0.0m leg |  | 1 | per tower
1.1.7.2.1.6 | B Type Tower + 15.0m BE +0.0m leg |  | 0 | per tower
1.1.7.2.1.7 | Extra over for single 1.0m leg extn. |  | 2 | each
1.1.7.2.1.8 | Extra over for single 2.0m leg extn. |  | 5 | each
1.1.7.2.1.9 | Extra over for single 3.0m leg extn. |  | 0 | each
1.1.7.2.2 | C Type
1.1.7.2.2.1 | C Type Tower + 0.0m BE +0.0m leg |  | 3 | per tower
1.1.7.2.2.2 | C Type Tower + 3.0m BE +0.0m leg |  | 1 | per tower
1.1.7.2.2.3 | C Type Tower + 6.0m BE +0.0m leg |  | 1 | per tower
1.1.7.2.2.4 | C Type Tower + 9.0m BE +0.0m leg |  | 0 | per tower
1.1.7.2.2.5 | C Type Tower + 12.0m BE +0.0m leg |  | 0 | per tower
1.1.7.2.2.6 | C Type Tower + 15.0m BE +0.0m leg |  | 1 | per tower
1.1.7.2.2.7 | Extra over for single 1.0m leg extn. |  | 0 | each
1.1.7.2.2.8 | Extra over for single 2.0m leg extn. |  | 1 | each
1.1.7.2.2.9 | Extra over for single 3.0m leg extn. |  | 0 | each
1.1.7.2.3 | D Type
1.1.7.2.3.1 | D Type Tower + 0.0m BE +0.0m leg |  | 6 | per tower
1.1.7.2.3.2 | D Type Tower + 3.0m BE +0.0m leg |  | 1 | per tower
1.1.7.2.3.3 | D Type Tower + 6.0m BE +0.0m leg |  | 1 | per tower
1.1.7.2.3.4 | D Type Tower + 9.0m BE +0.0m leg |  | 0 | per tower
1.1.7.2.3.5 | D Type Tower + 12.0m BE +0.0m leg |  | 0 | per tower
1.1.7.2.3.6 | D Type Tower + 15.0m BE +0.0m leg |  | 1 | per tower
1.1.7.2.3.7 | Extra over for single 1.0m leg extn. |  | 1 | each
1.1.7.2.3.8 | Extra over for single 2.0m leg extn. |  | 2 | each
1.1.7.2.3.9 | Extra over for single 3.0m leg extn. |  | 0 | each
1.1.7.2.4 | E Type
1.1.7.2.4.1 | E Type Tower + 0.0m BE +0.0m leg |  | 1 | per tower
1.1.7.2.4.2 | E Type Tower + 6.0m BE +0.0m leg |  | 0 | per tower
1.1.7.2.4.3 | E Type Tower + 12.0m BE +0.0m leg |  | 0 | per tower
1.1.7.2.4.4 | E Type Tower + 25.0m BE +0.0m leg |  | 0 | per tower
1.1.7.2.4.5 | E Type Tower + 30.0m BE +0.0m leg |  | 1 | per tower
1.1.7.2.4.6 | Extra over for single 1.0m leg extn. |  | 0 | each
1.1.7.2.4.7 | Extra over for single 2.0m leg extn. |  | 0 | each
1.1.7.2.4.8 | Extra over for single 3.0 m leg extn. |  | 0 | each
1.1.7.2.5 | ET Type
1.1.7.2.5.1 | ET Type Tower + 0.0m BE + 0.0m leg |  | 1 | per tower
1.1.7.2.5.2 | ET Type Tower + 6.0m BE + 0.0m leg |  | 1 | per tower
1.1.7.2.5.3 | Extra over for single 1.0m leg extn. |  | 1 | each
1.1.7.2.5.4 | Extra over for single 2.0m leg extn. |  | 0 | each
1.1.7.2.5.5 | Extra over for single 3.0m leg extn. |  | 0 | each
1.1.7.4 | SPARE
1.1.7.4.1 | 330kV Complete Spare Towers with bolts, all with standard legs;
1.1.7.4.2 | A Type |  | 10 | each
1.1.7.4.3 | A Type 6.0m body extension only |  | 2 | each
1.1.7.4.4 | B Type |  | 2 | each
1.1.7.4.5 | C Type |  | 1 | each
1.1.7.4.6 | D Type |  | 1 | each
1.1.7.4.7 | E Type |  | 1 | each
1.1.7.4.8 | ET Type |  | 0 | each
1.1.7.4.2 | Additional tower legs. All members & bolts, excluding main legs.
1.1.7.4.2.1 | Type A: single 0.0m leg |  | 10 | set
1.1.7.4.2.2 | Type A: single 1.5m leg |  | 5 | set
1.1.7.4.2.3 | Type A: single 3.0m leg |  | 2 | set
1.1.7.4.2.4 | Type A: single 4.5m leg |  | 2 | set
1.1.7.4.2.5 | Type A: single 6.0m leg |  | 2 | set
1.1.7.4.2.6 | Type B: single 0.0m leg |  | 5 | set
1.1.7.4.2.7 | Type C: single 0.0m leg |  | 2 | set
1.1.7.4.2.8 | Type D: single 0.0m leg |  | 2 | set
1.1.7.4.2.9 | Type E: single 0.0m leg |  | 2 | set
1.1.7.4.2.10 | "In-span" Line Transposition materials |  | 3 | set
1.1.8 | Material for Tower Foundations (including stubs, cleats and settings, etc.) as per schedule of materials and specifications
1.1.8.1 | Complete foundation (including stubs, cleats and setting) for standard and extended height A type towers.
1.1.8.1.1 | Class 1 (Rock) |  | 59 | per tower
1.1.8.1.2 | Class 2 Pad and Chimney |  | 0 | per tower
1.1.8.1.3 | Class 3 Pad and Chimney |  | 94 | per tower
1.1.8.1.4 | Class 4 Pad and Chimney |  | 108 | per tower
1.1.8.1.5 | Class 4W Pad and Chimney |  | 100 | per tower
1.1.8.1.6 | Class 5 Pad and Chimney |  | 39 | per tower
1.1.8.1.7 | Class 5W Pad and Chimney |  | 12 | per tower
1.1.8.1.8 | Class 6 Special: Piled, raft, enlarged pad and chimney |  | 0 | per tower
1.1.8.2 | Complete foundation (including stubs, cleats and setting) for standard and extended height B type towers.
1.1.8.2.1 | Class 1 (Rock) |  | 4 | per tower
1.1.8.2.2 | Class 2 Pad and Chimney |  | 0 | per tower
1.1.8.2.3 | Class 3 Pad and Chimney |  | 9 | per tower
1.1.8.2.4 | Class 4 Pad and Chimney |  | 20 | per tower
1.1.8.2.5 | Class 4W Pad and Chimney |  | 3 | per tower
1.1.8.2.6 | Class 5 Pad and Chimney |  | 5 | per tower
1.1.8.2.7 | Class 5W Pad and Chimney |  | 2 | per tower
1.1.8.2.8 | Class 6 Special: Piled, raft, enlarged pad and chimney |  | 0 | per tower
1.1.8.3 | Complete foundation (including stubs, cleats and setting) for standard and extended height C type towers.
1.1.8.3.1 | Class 1 (Rock) |  | 3 | per tower
1.1.8.3.2 | Class 2 Pad and Chimney |  | 0 | per tower
1.1.8.3.3 | Class 3 Pad and Chimney |  | 1 | per tower
1.1.8.3.4 | Class 4 Pad and Chimney |  | 1 | per tower
1.1.8.3.5 | Class 4W Pad and Chimney |  | 1 | per tower
1.1.8.3.6 | Class 5 Pad and Chimney |  | 0 | per tower
1.1.8.3.7 | Class 5W Pad and Chimney |  | 0 | per tower
1.1.8.3.8 | Class 6 Special: Piled, raft, enlarged pad and chimney |  | 0 | per tower
1.1.8.4 | Complete foundation (including stubs, cleats and setting) for standard and extended height D type towers.
1.1.8.4.1 | Class 1 (Rock) |  | 3 | per tower
1.1.8.4.2 | Class 2 Pad and Chimney |  | 0 | per tower
1.1.8.4.3 | Class 3 Pad and Chimney |  | 1 | per tower
1.1.8.4.4 | Class 4 Pad and Chimney |  | 3 | per tower
1.1.8.4.5 | Class 4W Pad and Chimney |  | 0 | per tower
1.1.8.4.6 | Class 5 Pad and Chimney |  | 2 | per tower
1.1.8.4.7 | Class 5W Pad and Chimney |  | 0 | per tower
1.1.8.4.8 | Class 6 Special: Piled, raft, enlarged pad and chimney |  | 0 | per tower
1.1.8.5 | Complete foundation (including stubs, cleats and setting) for standard and extended height E type towers.
1.1.8.5.1 | Class 1 (Rock) |  | 0 | per tower
1.1.8.5.2 | Class 2 Pad and Chimney |  | 0 | per tower
1.1.8.5.3 | Class 3 Pad and Chimney |  | 1 | per tower
1.1.8.5.4 | Class 4 Pad and Chimney |  | 1 | per tower
1.1.8.5.5 | Class 4W Pad and Chimney |  | 0 | per tower
1.1.8.5.6 | Class 5 Pad and Chimney |  | 0 | per tower
1.1.8.5.7 | Class 5W Pad and Chimney |  | 0 | per tower
1.1.8.5.8 | Class 6 Special: Piled, raft, enlarged pad and chimney |  | 0 | per tower
1.1.8.6 | Complete foundation (including stubs, cleats and setting) for standard and extended height ET type towers.
1.1.8.6.1 | Class 1 (Rock) |  | 1 | per tower
1.1.8.6.2 | Class 2 Pad and Chimney |  | 0 | per tower
1.1.8.6.3 | Class 3 Pad and Chimney |  | 0 | per tower
1.1.8.6.4 | Class 4 Pad and Chimney |  | 0 | per tower
1.1.8.6.5 | Class 4W Pad and Chimney |  | 0 | per tower
1.1.8.6.6 | Class 5 Pad and Chimney |  | 1 | per tower
1.1.8.6.7 | Class 5W Pad and Chimney |  | 0 | per tower
1.1.8.6.8 | Class 6 Special: Piled, raft, enlarged pad and chimney |  | 0 | per tower
1.1.8.7.9 | Complete foundation stubs, cleats and setting sets for standard and extended height A type towers as spare |  | 1 | Set
1.1.8.7.10 | Complete foundation stubs, cleats and setting sets for standard and extended height B type towers as spare |  | 1 | Set
1.1.8.7.11 | Complete foundation stubs, cleats and setting sets for standard and extended height C type towers as spare |  | 1 | Set
1.1.8.7.12 | Complete foundation stubs, cleats and setting sets for standard and extended height D type towers as spare |  | 1 | Set
1.2 | PENSULO SUBSTATION
1.2.1 | Conductors
1.2.1.1 | AAC “Tarantula” Conductor or LGKK-600 Conductor |  | 1 | lot
1.2.1.2 | ASCR “Bison” Conductor |  | 1 | lot
1.2.1.3 | GJ-100 Conductor or ACSR “Hare” (earthwire) |  | 1 | lot
1.2.1.4 | LGJ 400/50 |  | 1 | lot
1.2.1.5 | Clamps for ASCR “Bison” Conductor |  | 1 | lot
1.2.1.6 | Clamps for GJ-100 Conductor (earthwire) |  | 1 | lot
1.2.1.7 | Clamps for LGJ 400/50 |  | 1 | lot
1.2.2 | OPGW
1.2.2.1 | 48-core ADSS non-metallic approach fibre cable with trunking |  | 1 | Lot
1.2.2.2 | 12 FC patch pane |  | 6 | Each
1.2.2.3 | FC-LC patch cords |  | 1 | Lot
1.2.3 | Circuit Breakers
1.2.3.1 | 330kV Single Pole Circuit Breakers With supporting structure |  | 6 | Each
1.2.3.2 | 330kV Circuit Breaker- Live Tank complete with support structures as spare |  | 1 | Set
1.2.3.3 | SF6 Gas Cylinders for circuit breakers |  | 5 | Each
1.2.3.4 | 66kV Circuit Breaker complete with support structures as spares |  | 3 | Each
1.2.3.5 | Drive motor for 330kV Circuit Breaker |  | 1 no of each type | Lot
1.2.3.6 | Motor contactor of each type for 330kV Circuit Breaker |  | 1 set of each type | Lot
1.2.3.7 | Fuses of each rating |  | 1 set of each type | Lot
1.2.3.8 | Spring for 330kV Circuit Breaker |  | 1 set of each type | Lot
1.2.4 | Disconnectors
1.2.4.1 | 330kV Three Phase Disconnector |  | 4 | Each
1.2.4.2 | 330kV Line disconnect switch, Motor Operated complete with support structures as spare |  | 1 | Each
1.2.4.3 | Support insulator column for 330kV Disconnector |  | 1 set of each type | Lot
1.2.4.4 | Operating rod insulator for 330kV Disconnector |  | 1 set of each type | Lot
1.2.4.5 | Drive motor for 330kV Disconnector |  | 1 no of each type | Lot
1.2.4.6 | Motor contactor of each type for 330kV Disconnector |  | 1 set of each type | Lot
1.2.5 | Disconnectors with earth switch
1.2.5.1 | 330kV Three Phase Disconnector with Earthswitch |  | 3 | Each
1.2.6 | Instrument Transformers
1.2.6.1 | 330kV Single Phase Current Transformer (7-core) |  | 3 | Each
1.2.6.2 | 330kV Single Phase Capacitive Voltage Transformer |  | 3 | Each
1.2.6.3 | 66kV Current Transformer(CT) complete with support structures as spare |  | 3 | Each
1.2.6.4 | 66kV Capacitor Voltage Transformer (CVT) complete with support structures as spare |  | 3 | Each
1.2.6.5 | 330kV Single Phase Current Transformer (7-core) complete with support structures- spare |  | 3 | Lot
1.2.6.6 | 330kV Single Phase Capacitive Voltage Transformer complete with support structures- spare |  | 3 | Lot
1.2.7 | Surge Arrestors
1.2.7.1 | 330kV Single-Phase Surge Arrestor complete with support structures |  | 9 | Each
1.2.7.2 | single phase surge arrestor sized to protect NCR against over-voltages |  | 1 | Each
1.2.7.3 | 330kV Single-Phase Surge Arrestor (spare) |  | 3 | Each
1.2.7.4 | 36kV Surge arresters (for neutrals of 30MVAr reactors) as spare |  | 1 | Each
1.2.7.5 | 66kV Surge Arresters complete with support structures as spares |  | 9 | Each
1.2.8 | Busbars, Clamps and Insulators
1.2.8.1 | Clamps for AAC “Tarantula” or LGKK-600 Conductor |  | 1 | Lot
1.2.8.2 | Clamps for ASCR “Bison” Conductor |  | 1 | Lot
1.2.8.3 | Clamps for GJ-100 Conductor (earthwire) |  | 1 | Lot
1.2.8.4 | Clamps for LGJ 400/50 |  | 1 | Lot
1.2.8.5 | 330kV Single Phase Post Insulators |  | 5 | Each
1.2.8.6 | 330kV String Insulators (porcelain) |  | 1 | Lot
1.2.8.7 | Clamps for AAC “Tarantula” or LGKK-600 Conductor(spare) |  | 12 | Each
1.2.8.8 | Clamps for ASCR “Bison” Conductor (spare) |  | 12 | Each
1.2.8.9 | Clamps for GJ-100 Conductor (earthwire) (spare) |  | 12 | Each
1.2.8.10 | Clamps for LGJ 400/50 (spare) |  | 12 | Each
1.2.9 | Auxiliary Power & Control Cables
1.2.9.1 | 4core x 2.5sqmm |  | 1 | lot
1.2.9.2 | 7core x 2.5sqmm |  | 1 | lot
1.2.9.3 | 12core x 2.5sqmm |  | 1 | lot
1.2.9.4 | 24core x 2.5sqmm |  | 1 | lot
1.2.9.5 | 4core X 25mmsq (replacement of 400V ac circuits on old ACDB) |  | 500 | m
1.2.9.6 | 7core x 1.5sqmm |  | 1 | lot
1.2.9.7 | 14core x 1.5sqmm |  | 1 | lot
1.2.9.8 | 19core x 1,5sqmm |  | 1 | lot
1.2.9.9 | 27core x 1.5sqmm |  | 1 | lot
1.2.9.10 | 4core X 4sqmm |  | 1 | lot
1.2.9.11 | 4core X 6sqmm |  | 1 | lot
1.2.10 | Earthing and Lightning Protection
1.2.10.1 | Earthmat conductor |  | 1 | Lot
1.2.10.2 | Earthmat joints and connectors |  | 1 | Lot
1.2.10.3 | Thermowelding tools and connection kits |  | 1 | Lot
1.2.10.4 | Drum Of Copper Conductor (Earthing) 500m (70mm2 ) as spare |  | 3 | Each
1.2.10.5 | Substation earthing conductors (of each type) as spare |  | 100 | m
1.2.10.6 | Substation earthing conductor connecting bolts and clamps/lugs |  | 15 | Sets of each type
1.2.10.7 | Thermowelding tool-spare |  | 2 | Each
1.2.10.8 | Thermowelding kits-spare |  | 20 | Sets
1.2.11 | Protection and Control - Pensulo
1.2.11.1 | Main 1- Line Current Differential protection panel fully equipped with protection IED, panel wiring and all associated auxiliary equipment complete with Line Backup Overcurrent & Earth Fault protection functions. Panel to also accommodate Main 2 and Backup, item 1.2.4.13.2 |  | 1 | Lot
1.2.11.2 | Main 2-Distance protection panel fully equipped with protection IED, panel wiring and all associated auxiliary equipment complete with Line Backup Overcurrent & Earth Fault protection IED. To be installed in Main 1 panel, item 1.2.4.13.1 |  | 1 | Lot
1.2.11.3 | Reactor Differential protection panel fully equipped with protection IED’s, panel wiring and all associated auxiliary equipment complete with Line Backup Overcurrent & Earth Fault protection IED |  | 2 | Lot
1.2.11.4 | Pensulo Busbar Protection panel fully equipped with protection IED’s (MiCOM P746) 3 box solution 18 input, panel wiring and all associated auxiliary equipment (to replace existing) |  | 1 | Lot
1.2.11.5 | Complete equipped Metering panel for both line and reactor, panel wiring and all associated auxiliary equipment. The meter type shall be Landis + Gyr (E880) or CEWE Prometer 540 or equivalent and IEC 61850 compliant (Two meters). Power quality meter as Unipower 2210 or equivalent (One meter). |  | 1 | Lot
1.2.11.6 | Meter type Landis + Gyr (E880) or CEWE Prometer 540 or equivalent and IEC 61850 compliant to replace those on existing 330kV line bays |  | 8 | Each
1.2.11.7 | Power quality meter as Unipower 2210 or equivalent to be installed on existing 330kV line bays |  | 4 | Each
1.2.11.8 | Ethernet switch for metering |  | 2 | Lot
1.2.11.9 | Metering management system/HMI with software and hardware |  | 1 | Lot
1.2.11.10 | One (1) distance protection relay as spare |  | 1 | Each
1.2.11.11 | Two (2) line differential protection relays as spare |  | 2 | Each
1.2.11.12 | One (1) reactor differential protection relay as spare |  | 1 | Each
1.2.11.13 | Meter as CEWE Prometer 540 , Landis + Gyr or equivalent as spare |  | 2 | Each
1.2.11.14 | Power quality meter as Unipower 2210 or equivalent as spare |  | 2 | Each
1.2.11.15 | Materials for Integration of new bays onto the existing WAMPACS (Wide Area Monitoring, Protection and Control System); includes wiring, supply of any accessories required, testing and commissioning |  | 1 | Lot
1.2.12 | Telecommunication - Pensulo
1.2.12.1 | DWDM Optical Transport Networking (OTN) equipment complete. |  | 1 | Lot
1.2.12.2 | 10G & 100G Packet Transport Network (PTN) equipment complete. |  | 1 | Lot
1.2.12.3 | ZTE PCM P230 for data and voice communication |  | 1 | Lot
1.2.12.4 | Mandatory spares for SDH, PCM, IP-PABX, Power supply equipment, OTN and PTN
a | ZXMP S385 SEE complete with Optical modules |  | 3 | Each
b | ZXMP S385 OEIFE Optical Interface for SEE |  | 2 | Each
c | ZXMP S385 OEIFE Electrical Interface for SEE |  | 2 | Each
d | ZXMP S385 NCP/ENCP Network Control Processor Board |  | 2 | Each
e | ZXONE 9700 Enhanced optical node amplifier (C 31dB 20dBm LC W) ¦ |  | 2 | Each
f | ZXONE 9700 Enhanced optical node amplifier (C 25dB 20dBm LC W) ¦ |  | 2 | Each
g | ZXONE 9700 Enhanced optical booster amplifier (C 24dB 24dBm LC/E2000) ¦ |  | 2 | Each
h | ZXONE 9700 Enhanced optical booster amplifier (C 22dB 20dBm) ¦ |  | 2 | Each
i | ZXONE 9700 C2K*20 card |  | 2 | Each
j | ZXONE 9700 C2K*20 card |  | 2 | Each
k | ZXONE 9700 L4K*4-S card |  | 2 | Each
l | ZXONE 9700 NCPK card |  | 2 | Each
m | ZXONE 9700 PWR (Power board) |  | 2 | Each
n | PTN6500 PXGC card |  | 2 | Each
o | PTN6500 PGEA card |  | 2 | Each
p | PTN6500 PCGC card |  | 2 | Each
q | PTN6500 R63E1 card |  | 2 | Each
1.2.13 | SCADA - Pensulo
1.2.13.1 | Equipment for upgrade of existing Substation Automation System (HMI and gateway, hardware and software) |  | 1 | Lot
1.2.13.2 | SAS Ethernet Switch |  | 1 | Lot
1.2.13.3 | GPS clock/time server complete with antenna accessories |  | 1 | Lot
1.2.13.4 | IEC 61850 compliant Bay Control Unit (Schneider MiCOM C264 or equivalent) installed on reactor and line protection & control panels |  | 2 | Each
1.2.13.5 | MiCOM BCU C264 or equivalent as spare |  | 2 | Each
1.2.13.6 | Binary input cards of the type installed in the BCU as spare |  | 2 | Each
1.2.13.7 | Binary output cards of the type installed in the BCU as spare |  | 2 | Each
1.2.13.8 | AC analogy input card of the type installed in the BCU as spare |  | 2 | Each
1.2.13.9 | Power supply module of the type installed in the BCU as spare |  | 2 | Each
1.2.13.10 | Ethernet switches of the type installed in the BCU as spare |  | 2 | Each
1.2.13.11 | Complete set of Operator work station (computer) of the type installed as spare |  | 2 | Each
1.2.13.12 | Complete gateway (computer) of the type installed as spare |  | 2 | Each
1.2.14 | Reactors
1.2.14.1 | 330kV Single-Phase 10MVar ONAN/ONAF Reactors including CTs |  | 3 | Lot
1.2.14.2 | Neutral Compensating Reactors including CTs |  | 1 | Each
1.2.14.3 | Fire Extinguisher 50kg |  | 2 | Each
1.2.14.4 | Sergi Fire Protection for the reactor |  | 1 | Lot
1.2.14.5 | 330kV 10 MVA single phase reactor spares:
a | One (1) 330kV bushing |  | 1 | Each
b | Two(2) neutral bushing |  | 2 | Each
c | Two(2) dehydrating breathers |  | 2 | Each
d | Two(2) Buchholz relays |  | 2 | Each
e | One (01) Oil level indicator |  | 1 | Each
f | Silica gel |  | 50 | kg
g | Gasket sheets |  | 10 | Each
h | 10MVAr reactor complete (single phase) |  | 1 | Each
i | 15KVAr Neutral reactor complete |  | 1 | Each
j | Filled Gas cylinders for Sergi fire suppression systems for reactors at Pensulo and Mpika |  | 4 | Each
1.2.14.6 | 500kVA 11/0.4kV Station Service Transformer as spare |  | 1 | Each
1.2.14.7 | Filled Gas cylinders for Sergi fire suppression systems for reactors at Pensulo and Mpika (spare) |  | 4 | Each
1.2.14.8 | Drums Of Transformer Oil(200l) as spare |  | 20 | Each
1.2.15 | Junction boxes, terminal Boxes and Marshalling Kiosks
1.2.15.1 | Junction Boxes |  | 3 | Each
1.2.15.2 | Terminal Boxes |  | 2 | Each
1.2.15.3 | Marshalling Kiosk |  | 2 | Each
1.2.15.4 | Splicing Box |  | 1 | Each
1.2.15.5 | Outdoor Lighting Distribution Box |  | 1 | Lot
1.2.16 | 48V DC System
1.2.16.1 | Battery Bank (1200AH) |  | 1 | Lot
1.2.16.2 | Battery Charger |  | 1 | Lot
1.2.16.3 | DC Cables |  | 1 | Lot
1.2.16.4 | AC Cables |  | 1 | Lot
1.2.16.5 | 110V DC, 600AH Station Battery as spare |  | 1 | Each
1.2.16.6 | 110V DC, Distribution panel complete with DC MCBs, 16 ways |  | 2 | Each
1.2.17 | Structural Steelwork
1.2.17.1 | 330kV single phase Surge Arrester Structures |  | 9 | Each
1.2.17.2 | 330kV single phase Capacitive Voltage Transformer Structures |  | 3 | Each
1.2.17.3 | 330kV single phase Current Transformer (7-core) Structures |  | 3 | Each
1.2.17.4 | 330kV Post Insulator Structures |  | 5 | Each
1.2.17.5 | Steel Support structures for equipment, gantries and busbar |  | 1 | Lot
1.2.17.6 | Substation fencing |  | 1 | Lot
1.2.17.7 | Steel support structures for outdoor lighting |  | 1 | Lot
1.2.17.8 | 330kV Three Phase Disconnector structures |  | 7 | Each
1.2.18 | Civil Works
1.2.18.1 | Perimeter lighting (wall Lamp) |  | 12 | Each
1.2.18.2 | substation Lighting (Flood light) |  | 16 | Each
1.2.18.3 | Switchyard Security Light fittings complete with spare ballasts and lamps(spares) |  | 40 | Each
1.2.18.4 | Perimeter Fencing |  | 1 | Lot
1.3 | MPIKA SUBSTATION
1.3.1 | Conductors
1.3.1.1 | AAC “Tarantula” or LKGG-600 Conductor |  | 1 | lot
1.3.1.2 | ASCR “Bison” Conductor |  | 1 | lot
1.3.1.3 | GJ-100 Conductor or ACSR “Hare”(earthwire) |  | 1 | lot
1.3.1.4 | LGJ 400/50 |  | 1 | lot
1.3.2 | OPGW
1.3.2.1 | 48-core ADSS non-metallic approach fibre cable with trunking |  | 1 | lot
1.3.2.2 | 12 FC patch panel |  | 6 | Each
1.3.2.3 | FC-LC patch cords |  | 1 | Lot
1.3.3 | Circuit Breakers
1.3.3.1 | 330kV Single Pole Circuit Breakers With supporting structure |  | 6 | Each
1.3.4 | Disconnectors
1.3.4.1 | 330kV Three Phase Disconnector |  | 4 | Each
1.3.5 | Disconnectors with earth switch
1.3.5.1 | 330kV Three Phase with Single Earth switch |  | 3 | Each
1.3.6 | Instrument Transformers
1.3.6.1 | 330kV Single Phase Current Transformer |  | 3 | Each
1.3.6.2 | 330kV Single Phase Capacitive Voltage Transformer |  | 3 | Each
1.3.7 | Surge Arrestors
1.3.7.1 | 330kV Single-Phase Surge Arrestor |  | 6 | Each
1.3.7.2 | single phase surge arrestor sized to protect NCR against over-voltages |  | 1 | Each
1.3.8 | Busbars & Clamps
1.3.8.1 | Clamps for AAC “Tarantula” or LGKK-600 Conductor |  | 1 | Lot
1.3.8.2 | Clamps for ASCR “Bison” Conductor |  | 1 | Lot
1.3.8.3 | Clamps for GJ-100 or ACSR “Hare” Conductor (earthwire) |  | 1 | Lot
1.3.8.4 | Clamps for LGJ 400/50 |  | 1 | Lot
1.3.8.5 | 330kV Single Phase Post Insulators |  | 2 | Each
1.3.8.6 | 330kV String Insulators |  | 1 | Lot
1.3.9 | Auxiliary Power and Control Cables
1.3.9.1 | 4core x 2.5sqmm |  | 1 | lot
1.3.9.2 | 7core x 2.5sqmm |  | 1 | lot
1.3.9.3 | 12core x 2.5sqmm |  | 1 | lot
1.3.9.4 | 24core x 2.5sqmm |  | 1 | lot
1.3.9.5 | 7core x 1.5sqmm |  | 1 | lot
1.3.9.6 | 14core x 1.5sqmm |  | 1 | lot
1.3.9.7 | 19core x 1.5sqmm |  | 1 | lot
1.3.9.8 | 27core x 1.5sqmm |  | 1 | lot
1.3.9.9 | 4core x 4sqmm |  | 1 | lot
1.3.9.10 | 4core x 6sqmm |  | 1 | lot
1.3.10 | Earthing and Lightning Protection
1.3.10.1 | Earthmat conductor |  | 1 | Lot
1.3.10.2 | Earthmat joints and connectors |  | 1 | Lot
1.3.10.3 | Thermowelding tools and connection kits |  | 1 | Lot
1.3.11 | Protection and Control - Mpika
1.3.11.1 | Main 1- Line Current Differential protection panel fully equipped with protection IED, panel wiring and all associated auxiliary equipment complete with Line Backup Overcurrent & Earth Fault protection functions. Panel to also accommodate Main 2 and Backup |  | 1 | Lot
1.3.11.2 | Main 2-Distance protection panel fully equipped with protection IED, panel wiring and all associated auxiliary equipment complete with Line Backup Overcurrent & Earth Fault protection IED. To be installed in Main 1 panel |  | 1 | Lot
1.3.11.3 | Reactor Differential protection panel fully equipped with protection IED’s, panel wiring and all associated auxiliary equipment complete with Line Backup Overcurrent & Earth Fault protection IED |  | 2 | Lot
1.3.11.4 | Busbar Protection panel fully equipped with protection IED’s (MiCOM P746) 3 box solution 18 input, panel wiring and all associated auxiliary equipment |  | 1 | Lot
1.3.11.5 | Complete equipped Metering panel for both line and reactor, panel wiring and all associated auxiliary equipment. The meter type shall be Landis + Gyr (E880) or CEWE Prometer 540 or equivalent and IEC 61850 compliant (Two meters). Power quality meter as Unipower 2210 or equivalent (One meter). |  | 1 | Lot
1.3.11.6 | Meter type Landis + Gyr (E880) or CEWE Prometer 540 or equivalent and IEC 61850 compliant to replace those on existing 330kV line bays |  | 4 | Each
1.3.11.7 | Power quality meter as Unipower 2210 or equivalent to be installed on existing 330kV line bays |  | 2 | Each
1.3.11.8 | Ethernet switch for metering |  | 1 | Lot
1.3.11.9 | Metering management system/HMI with software and hardware |  | 1 | Lot
1.3.11.10. | Materials for Integration of new bays onto the existing WAMPACS(Wide Area Monitoring, Protection and Control System); includes wiring, supply of any accessories required, testing and commissioning |  | 1 | Lot
1.3.12 | Telecommunication - Mpika
1.3.12.1 | DWDM Optical Transport Networking (OTN) equipment. |  | 1 | Lot
1.3.12.2 | 10G & 100G Packet Transport Network (PTN) equipment |  | 1 | Lot
1.3.12.3 | ZTE PCM P230 for data and voice communication |  | 1 | Lot
1.3.13 | SCADA - Mpika
1.3.13.1 | Equipment for upgrade of existing Substation Automation System (HMI and gateway, hardware and software) |  | 1 | Lot
1.3.13.2 | SAS Ethernet Switch |  | 1 | Lot
1.3.13.3 | GPS clock/time server complete with antenna accessories |  | 1 | Lot
1.3.13.4 | IEC 61850 compliant Bay Control Unit (Schneider MiCOM C264) installed on reactor and line protection & control panels |  | 2 | Each
1.3.14 | Reactors
1.3.14.1 | 330kV Single-Phase 10MVar ONAN Reactors including CTs |  | 3 | Each
1.3.14.2 | Neutral Compensating Reactors including CTs |  | 1 | Each
1.3.14.3 | Fire Extinguisher 50kg |  | 2 | Each
1.3.14.4 | Sergi Fire Protection for reactor |  | 1 | Lot
1.3.15 | Junction boxes, terminal Boxes and Marshalling Kiosks
1.3.15.1 | Junction Boxes |  | 3 | Each
1.3.15.2 | Terminal Boxes |  | 2 | Each
1.3.15.3 | Marshalling Kiosk |  | 2 | Each
1.3.15.4 | Splicing Box |  | 1 | Each
1.3.15.5 | Outdoor Lighting Distribution Box |  | 1 | Lot
1.3.16 | 48V DC System
1.3.16.1 | Battery Bank (450AH) |  | 1 | Lot
1.3.16.2 | Battery Charger |  | 1 | Lot
1.3.16.3 | DC Cables |  | 1 | Lot
1.3.16.4 | AC Cables |  | 1 | Lot
1.3.17 | Structural Steelwork
1.3.17.1 | 330kV single phase Surge Arrester Structures |  | 6 | Each
1.3.17.2 | 330kV single phase Capacitive Voltage Transformer Structures |  | 3 | Each
1.3.17.3 | 330kV single phase Current Transformer (7-core) Structures |  | 3 | Each
1.3.17.4 | 330kV Post Insulator Structures |  | 2 | Each
1.3.17.5 | Steel Support structures for equipment, gantries and busbar |  | 1 | Lot
1.3.17.6 | 330kV Three Phase Disconnector structures |  | 7 | Each
1.3.17.7 | Floodlights and perimeter lighting structures |  | 1 | Lot
1.3.18 | Civil Works
1.3.18.2 | Perimeter lighting (wall Lamp) |  | 10 | Each
1.3.18.3 | substation Lighting (Flood light) |  | 9 | Each
1.4 | Miscellaneous
1.4.1(a) | Materials for relocation of 30km of 11kV line from Chilonga to Kasenga area to include design, supply and installation of wooden poles, conductor, insulators and all other line accessories for the full functioning of the line including commissioning. The scope shall also include recovering of all materials for the existing facilities including transporting them to designated place.(Mpika ZESCO Stores) |  | 1 | Lumpsum
1.4.1(b) | Materials relocating of any LV or MV existing assets within the right of way corridor, either by means of repositioned overhead line, or provision of underground cable (200m of 3core x 185mmsq 11kV XLPE cable with H-poles on either side c/w termination kits at five(05) locations(provisional sum) |  | 1 | Lumpsum
1.4.2 | Line Maintenance Kit |  | 2 | Each
1.4.3 | Relay Room Air conditioners split unit |  | 5 | Each
TOTAL (to Schedule No. 5. Grand Summary)
1 Bidders shall enter a code representing the country of origin of all imported plant and equipment.
2 Specify currency. Create and use as many columns for Unit Price and Total Price as there are currencies.
Country of Origin Declaration Form
Item | Description | Code | Country
Name of Bidder: _________________
Signature of Bidder: __________________

## Sch 2 Local mtrl
Schedule no 2 - Plant and Mandatory Spare Parts Supplied from Within the Employer's Country
Item | Description | Code1 | Qty. | Unit | Unit Price2 |  | Total Price
1 Specify currency in accordance with specifications in Bid Data Sheet under ITB 18.1 | [5 empty] | DAP
|  |  | (1) |  | (2) | (3) | (1) x (3)
| TOTAL (to Schedule No. 5. Grand Summary) | [5 empty] | 0
Name of Bidder: _________________
Signature of Bidder: __________________

## Sch 3 Design
Schedule no 3 - Design Services
Item No. | Description | Estimated Quantity | Unit | Local Currency | Local Currency Portion | Foreign Currency | Foreign Currency Portion | Total Price Local Portion for Estimated Quantity | Total Price Foreign Portion for Estimated Quantity
|  | 1) |  |  | 2) |  | (3) Optional | (1) x (2) | (1) x (3)
3.1 | 330kV OVERHEAD LINE
3.1.1 | PRICES FOR COMPREHENSIVE SOILS INVESTIGATIONS INCLUDING ALL OVERHEADS AND OTHER DESIGN SERVICES
3.1.1.1 | Machine boring of a single bore hole up to a depth of 10 metres including all necessary drilling, sampling, laboratory testing of samples, the preparation of reports, including correlations with in-situ tests, recommendations for design of foundations; and including all mobilisation and demobilisation costs and all transport of equipment between tower sites at agreed tower locations | 62 | per bore
3.1.1.2 | Sub-soil investigations on each leg at support locations by means of Dynamic Cone Penetration Test (DCPT), Dutch Cone Test or bearing tests to determine the class of foundation to be installed | 474 | per tower
3.1.1.6 | Preparation of all General and Detailed documents, maps and annexes, complete in all aspects | 1 | Lot
3.1.1.7 | Preparation of 'As-built' drawings | 1 | Lot
3.1.1.8 | Angle point identification Line profile survey, including any deviations Tower spotting Tower pegging on-site Survey of hillside extensions Soil investigations and resistivity recording, laboaratory testing and reporting | 1 | Lot
3.1.1.9 | Design of tower foundation protection | 1 | Lot
3.1.1.10 | Design of insulator strings and OPGW attachment, including drawings | 1 | Lot
3.1.1.11 | Design of earthing system | 1 | Lot
3.1.1.12 | Tower Design (Loading, foundation etc) and calculations | 1 | Lot
3.1.1.13 | Design of electrical influences (OHL coexistence) | 1 | Lot
3.1.1.14 | Tower spotting and preparation of line profiles, sagging/stringing templates/charts in PLS-CADD etc | 1 | Lot
3.2 | PENSULO SUBSTATION
3.2.1 | Geotechnical Survey | 1 | Lot
3.2.2 | Insulation Coordination | 1 | Lot
3.2.3 | Transportation and SPAR Studies for neutral sizing confirmation | 1 | Lot
3.2.4 | Single Line Drawing | 1 | Lot
3.2.5 | General Arrangement & Elevation Drawings for 330kV Substation | 1 | Lot
3.2.6 | Design for Protection and Control Panels (Metering and Telecommunication included) | 1 | Lot
3.2.7 | Cable Block Diagram and Cable Termination schedule | 1 | Lot
3.2.8 | Protection and control Wiring Diagram | 1 | Lot
3.2.9 | Update all secondary system drawings affected by the new 330kV line bay and the upgrade of SAS, Energy Meters, Telecom equipment, auxiliary power etc. | 1 | Lot
3.2.10 | Civil Bulk Works Designs, including trenches, oil pits, firewalls, drainages, slope protection, access road, buildings etc | 1 | Lot
3.2.11 | Foundation designs | 1 | Lot
3.2.12 | Structural steelwork designs | 1 | Lot
3.2.13 | Earthing and lightning protection Calculation and Designs | 1 | Lot
3.2.14 | SAS upgrade design | 1 | Lot
3.3 | MPIKA SUBSTATION
3.3.1 | Geotechnical Survey | 1 | Lot
3.3.2 | Insulation Coordination | 1 | Lot
3.3.3 | Transportation and SPAR Studies for neutral sizing confirmation | 1 | Lot
3.3.4 | Single Line Drawing | 1 | Lot
3.3.5 | General Arrangement & Elevation Drawings for 330kV Substation | 1 | Lot
3.3.6 | Design for Protection and Control Panels (Metering and Telecommunication included) | 1 | Lot
3.3.7 | Cable Block Diagram and Cable Termination schedule | 1 | Lot
3.3.8 | Update all secondary system affected by the new 330kV line bays and the upgrade of SAS, Energy Meters, Telecom equipment, auxiliary power etc. | 1 | Lot
3.3.9 | Civil Bulk Works Designs, including trenches, oil pits, firewalls, drainages, slope protection, access road, buildings etc | 1 | Lot
3.3.10 | Foundation designs | 1 | Lot
3.3.11 | Structural steelwork designs | 1 | Lot
3.3.12 | Earthing and lightning protection Calculation and Designs | 1 | Lot
3.3.13 | SAS upgrade design | 1 | Lot
3.4 | Daywork Rates (Not for Evaluation)
3.4.1 | Extra for additional bore for tower locations with special foundation requirements as per 3.1.1.1 | 1 | per bore (rate only)
3.4.2 | Extra to item 3.1.1.1 & 3.4.1 for additional depth | 1 | per metre (rate only)
3.4.3 | Extra to item 3.1.1.1 & 3.4.1 for boring in rock | 1 | per metre (rate only)
TOTAL (to Schedule No. 5. Grand Summary)
Name of Bidder: _________________
Signature of Bidder: __________________

## Sch 4 Installation
Schedule no 4 - Instalation and Other Services
Item No | Description | Estimated Quantity | Unit | Foreign Currency | Foreign Currency Portion | Local Currency | Local Currency Portion | Total Foreign Currency Price for Estimated Quantity | Total Local Currency Price for Estimated Quantity
4.0 | Preliminary and General
4.0.1 | Site Mobilization | 1 | Lot
4.0.2 | Insurance | 1 | Lot
4.0.3 | Contractor’s accommodation, transport, offices and other facilities; including that of Consultant and Employer as per employer’s requirements with furnishing | 1 | Lot
4.0.4 | Site Demobilization | 1 | Lot
4.0.5 | Site Establishment | 1 | Lot
4.0.6 | Water and builders supply | 1 | Lot
4.1 | 330kV OVERHEAD LINE
4.1.1 | Preliminary and General
4.1.1.1. | Site Establishment | 1 | Lot
4.1.1.2. | Identify, and if required, relocate any buried services | 1 | Lot
4.1.1.3. | Identify, and demarcate safe area to work | 1 | Lot
4.1.1.4. | Temporary barricading/fencing | 1 | Lot
4.1.2 | Conductors, Including All Joints, Jumper Loops, Spacers, Spacer Dampers, counterweights And Vibration Dampers As Required
4.1.2.1. | Three phases of twin ACSR "Bison" line conductors | 186 | Route km
4.1.2.2. | Set of three twin downleads to substation gantry (including insulator sets) | 2 | set
4.1.2.3. | Factory Acceptance Testing | 1 | lot
4.1.2.4. | Site Acceptance Test and Commissioning | 1 | lot
4.1.3 | ACS, Including All Joints, Jumper Loops, Spacers, Spacer Dampers And Vibration Dampers As Required
4.1.3.1. | One earth conductor, ACS, "7/6 AWG" | 186 | Route km
4.1.3.2. | Factory Acceptance Testing | 1 | lot
4.1.3.3. | Site Acceptance Test and Commissioning | 1 | lot
4.1.4 | OPGW, Including All Joints, Jumper Loops, Spacers, Spacer Dampers And Vibration Dampers As Required
4.1.4.1. | One earth conductor OPGW | 186 | Route km
4.1.4.2. | Set of one single OPGW earth conductor downlead plus one single ACS earth conductor downlead to substation gantry including all fittings | 2 | set
4.1.4.3. | Jointing Box for OPGW/OPGW/OFC for use within transmission line, including fixing, splicing and down lead clamps | 1 | lot
4.1.4.4. | Factory Acceptance Testing | 1 | lot
4.1.4.5. | Site Acceptance Test and Commissioning | 1 | lot
4.1.4.6 | Repeater station at Mununga as per specifcations | 1 | set
4.1.5 | Insulators And Hardware For Conductor, Aluminium Clad Steel Shield Wire & OPGW
4.1.5.1 | Insulator sets and earth conductor attachments, complete with all fittings between tower and conductors
4.1.5.1.1. | Single Suspension set, 120kN | 1274 | each
4.1.5.1.2. | Double Tension set, 2 x 160kN | 372 | each
4.1.5.1.3. | Earth conductor ACS suspension set | 412 | each
4.1.5.1.4. | Earth conductor OPGW suspension set | 412 | each
4.1.5.1.5. | Earth conductor ACS tension set (single) | 124 | each
4.1.5.1.6. | Earth conductor OPGW tension set for strain towers (pair) | 14 | per pair
4.1.5.1.7. | Earth conductor OPGW tension set for joint positions (pair) | 48 | per pair
4.1.5.1.8. | Factory Acceptance Testing | 1 | lot
4.1.5.1.9. | Site Acceptance Test and Commissioning | 1 | lot
4.1.6 | Overhead Line Accessories
4.1.6.1 | Aviation Marking
4.1.6.2. | Bird Flight Diverters (as per ESIA) | 1 | lot
4.1.6.3. | Factory Acceptance Testing | 1 | lot
4.1.6.4. | Site Acceptance Test and Commissioning | 1 | lot
4.1.7 | Grounding Materials
4.1.7.1 | Counterpoise cable including excavation, reinstatement, compression jointing and connecting to tower:
4.1.7.1.1 | Earthing Type A | 374 | each
4.1.7.1.2 | Earthing Type B | 50 | each
4.1.7.1.3 | Earthing Type C | 50 | each
4.1.7.1.4 | Earthing enhancements for type A where required as per specification to achieve specified tower footing resistance | 374 | each
4.1.8 | Lattice Steel Towers
4.1.8.1 | Self supporting single circuit towers and extended towers of the suspension type complete with all accessories
4.1.8.1.1 | A Type
4.1.8.1.1.1 | A Type Tower + 0m BE +0.0m leg | 317 | per tower
4.1.8.1.1.2. | A Type Tower + 3m BE +0.0m leg | 73 | per tower
4.1.8.1.1.3. | A Type Tower + 6m BE +0.0m leg | 15 | per tower
4.1.8.1.1.4. | A Type Tower + 9m BE +0.0m leg | 6 | per tower
4.1.8.1.1.5. | A Type Tower + 12m BE +0.0m leg | 1 | per tower
4.1.8.1.1.6. | Extra over for single 1.0 m leg extn. | 46 | each
4.1.8.1.1.7. | Extra over for single 2.0 m leg extn. | 74 | each
4.1.8.1.1.8. | Extra over for single 3.0m leg extn. | 0 | each
4.1.8.1.2 | Single circuit towers and extended towers of the tension type complete with all accessories, including pilot insulator sets and weights, jumper spacers and weighted spacers where necessary.
4.1.8.2.1 | B Type
4.1.8.2.1.1 | B Type Tower + 0.0m BE +0.0m leg | 34 | per tower
4.1.8.2.1.2 | B Type Tower + 3.0m BE +0.0m leg | 7 | per tower
4.1.8.2.1.3. | B Type Tower + 6.0m BE +0.0m leg | 0 | per tower
4.1.8.2.1.4. | B Type Tower + 9.0m BE +0.0m leg | 1 | per tower
4.1.8.2.1.5. | B Type Tower + 12.0m BE +0.0m leg | 1 | per tower
4.1.8.2.1.6. | B Type Tower + 15.0m BE +0.0m leg | 0 | per tower
4.1.8.2.1.7. | Extra over for single 1.0m leg extn. | 2 | each
4.1.8.2.1.8. | Extra over for single 2.0m leg extn. | 5 | each
4.1.8.2.1.9. | Extra over for single 3.0m leg extn. | 0 | each
4.1.8.2.2 | C Type
4.1.8.2.2.1. | C Type Tower + 0.0m BE +0.0m leg | 3 | per tower
4.1.8.2.2.2. | C Type Tower + 3.0m BE +0.0m leg | 1 | per tower
4.1.8.2.2.3. | C Type Tower + 6.0m BE +0.0m leg | 1 | per tower
4.1.8.2.2.4. | C Type Tower + 9.0m BE +0.0m leg | 0 | per tower
4.1.8.2.2.5. | C Type Tower + 12.0m BE +0.0m leg | 0 | per tower
4.1.8.2.2.6. | C Type Tower + 15.0m BE +0.0m leg | 1 | per tower
4.1.8.2.2.7. | Extra over for single 1.0m leg extn. | 0 | each
4.1.8.2.2.8. | Extra over for single 2.0m leg extn. | 1 | each
4.1.8.2.2.9. | Extra over for single 3.0m leg extn. | 0 | each
4.1.8.2.3 | D Type
4.1.8.2.3.1. | D Type Tower + 0.0m BE +0.0m leg | 6 | per tower
4.1.8.2.3.2. | D Type Tower + 3.0m BE +0.0m leg | 1 | per tower
4.1.8.2.3.3. | D Type Tower + 6.0m BE +0.0m leg | 1 | per tower
4.1.8.2.3.4. | D Type Tower + 9.0m BE +0.0m leg | 0 | per tower
4.1.8.2.3.5. | D Type Tower + 12.0m BE +0.0m leg | 0 | per tower
4.1.8.2.3.6. | D Type Tower + 15.0m BE +0.0m leg | 1 | per tower
4.1.8.2.3.7. | Extra over for single 1.0m leg extn. | 1 | each
4.1.8.2.3.8. | Extra over for single 2.0m leg extn. | 2 | each
4.1.8.2.3.9. | Extra over for single 3.0m leg extn. | 0 | each
4.1.8.2.4 | E Type
4.1.8.2.4.1. | E Type Tower + 0.0m BE +0.0m leg | 1 | per tower
4.1.8.2.4.2. | E Type Tower + 6.0m BE +0.0m leg | 0 | per tower
4.1.8.2.4.3. | E Type Tower + 12.0m BE +0.0m leg | 0 | per tower
4.1.8.2.4.4. | E Type Tower + 25.0m BE +0.0m leg | 0 | per tower
4.1.8.2.4.5. | E Type Tower + 30.0m BE +0.0m leg | 1 | per tower
4.1.8.2.4.6. | Extra over for single 1.0m leg extn. | 0 | each
4.1.8.2.4.7. | Extra over for single 2.0m leg extn. | 0 | each
4.1.8.2.4.8. | Extra over for single 3.0 m leg extn. | 0 | each
4.1.8.2.5 | ET Type
4.1.8.2.5.1. | ET Type Tower + 0.0m BE + 0.0m leg | 1 | per tower
4.1.8.2.5.2. | ET Type Tower + 6.0m BE + 0.0m leg | 1 | per tower
4.1.8.2.5.3. | Extra over for single 1.0m leg extn. | 1 | each
4.1.8.2.5.4. | Extra over for single 2.0m leg extn. | 0 | each
4.1.8.2.5.5. | Extra over for single 3.0m leg extn. | 0 | each
4.1.8.4 | TOWER TYPE TESTS
Tower type tests to destruction including supply, erection and credit for scrap value (50% only)
4.1.8.4.1 | A Type Tower + 12.0m BE + 3.0m LE | 1 | each
4.1.8.4.2 | Type B Std Ht Tower | 0 | each
4.1.8.4.3. | Type C Std Ht Tower | 1 | each
4.1.8.4.4. | Type D Std Ht Tower | 0 | each
4.1.8.4.5. | Type E Std Ht Tower | 1 | each
4.1.8.4.6. | Type ET Std Ht Tower | 0 | each
4.1.8.4.7. | "In-span" Line Transposition | 3 | set
4.1.8.4.8. | Tower type testing participation (5 staff). Minimum 10 days | 1 | Lot
4.1.9 | Tower Foundations (including excavations, backfill, concrete, reinforcement steel, stubs, cleats and setting, transportation to site, foundation protection etc.)
4.1.9.1 | Complete foundation (including stubs, cleats and setting etc) for standard and extended height A type towers.
4.1.9.1.1. | Class 1 (Rock) | 59 | per tower
4.1.9.1.2. | Class 2 Pad and Chimney | 0 | per tower
4.1.9.1.3. | Class 3 Pad and Chimney | 94 | per tower
4.1.9.1.4. | Class 4 Pad and Chimney | 108 | per tower
4.1.9.1.5. | Class 4W Pad and Chimney | 100 | per tower
4.1.9.1.6. | Class 5 Pad and Chimney | 39 | per tower
4.1.9.1.7. | Class 5W Pad and Chimney | 12 | per tower
4.1.9.1.8. | Class 6 Special: Piled, raft, enlarged pad and chimney | 0 | per tower
4.1.9.2 | Complete foundation (including stubs, cleats and setting) for standard and extended height B type towers.
4.1.9.2.1. | Class 1 (Rock) | 4 | per tower
4.1.9.2.2. | Class 2 Pad and Chimney | 0 | per tower
4.1.9.2.3. | Class 3 Pad and Chimney | 9 | per tower
4.1.9.2.4. | Class 4 Pad and Chimney | 20 | per tower
4.1.9.2.5. | Class 4W Pad and Chimney | 3 | per tower
4.1.9.2.6. | Class 5 Pad and Chimney | 5 | per tower
4.1.9.2.7. | Class 5W Pad and Chimney | 2 | per tower
4.1.9.2.8. | Class 6 Special: Piled, raft, enlarged pad and chimney | 0 | per tower
4.1.9.3 | Complete foundation (including stubs, cleats and setting) for standard and extended height C type towers.
4.1.9.3.1. | Class 1 (Rock) | 3 | per tower
4.1.9.3.2. | Class 2 Pad and Chimney | 0 | per tower
4.1.9.3.3. | Class 3 Pad and Chimney | 1 | per tower
4.1.9.3.4. | Class 4 Pad and Chimney | 1 | per tower
4.1.9.3.5. | Class 4W Pad and Chimney | 1 | per tower
4.1.9.3.6. | Class 5 Pad and Chimney | 0 | per tower
4.1.9.3.7. | Class 5W Pad and Chimney | 0 | per tower
4.1.9.3.8. | Class 6 Special: Piled, raft, enlarged pad and chimney | 0 | per tower
4.1.9.4 | Complete foundation (including stubs, cleats and setting) for standard and extended height D type towers.
4.1.9.4.1. | Class 1 (Rock) | 3 | per tower
4.1.9.4.2. | Class 2 Pad and Chimney | 0 | per tower
4.1.9.4.3. | Class 3 Pad and Chimney | 1 | per tower
4.1.9.4.4. | Class 4 Pad and Chimney | 3 | per tower
4.1.9.4.5. | Class 4W Pad and Chimney | 0 | per tower
4.1.9.4.6. | Class 5 Pad and Chimney | 2 | per tower
4.1.9.4.7. | Class 5W Pad and Chimney | 0 | per tower
4.1.9.4.8. | Class 6 Special: Piled, raft, enlarged pad and chimney | 0 | per tower
4.1.9.5 | Complete foundation (including stubs, cleats and setting) for standard and extended height E type towers.
4.1.9.5.1. | Class 1 (Rock) | 0 | per tower
4.1.9.5.2. | Class 2 Pad and Chimney | 0 | per tower
4.1.9.5.3. | Class 3 Pad and Chimney | 1 | per tower
4.1.9.5.4. | Class 4 Pad and Chimney | 1 | per tower
4.1.9.5.5. | Class 4W Pad and Chimney | 0 | per tower
4.1.9.5.6. | Class 5 Pad and Chimney | 0 | per tower
4.1.9.5.7. | Class 5W Pad and Chimney | 0 | per tower
4.1.9.5.8. | Class 6 Special: Piled, raft, enlarged pad and chimney | 0 | per tower
4.1.9.6 | Complete foundation (including stubs, cleats and setting) for standard and extended height ET type towers.
4.1.9.6.1. | Class 1 (Rock) | 1 | per tower
4.1.9.6.2. | Class 2 Pad and Chimney | 0 | per tower
4.1.9.6.3. | Class 3 Pad and Chimney | 0 | per tower
4.1.9.6.4. | Class 4 Pad and Chimney | 0 | per tower
4.1.9.6.5. | Class 4W Pad and Chimney | 0 | per tower
4.1.9.6.6. | Class 5 Pad and Chimney | 1 | per tower
4.1.9.6.7. | Class 5W Pad and Chimney | 0 | per tower
4.1.9.6.8. | Class 6 Special: Piled, raft, enlarged pad and chimney | 0 | per tower
4.1.9.7 | Foundation type test to ultimate or destruction for A type tower, including mobilisation and erection of all test equipment and installation of the standard footing.
4.1.9.7.1. | Individual rock anchor | 1 | per anchor
4.1.9.7.2. | Class 2 type foundation | 1 | per footing
4.1.9.7.3. | Class 3 type foundation | 1 | per footing
4.1.10 | SURVEY AND ROUTE CLEARING
4.1.10.1 | Complete profile survey and setting out of the transmission line route including preparation of profiles and drawings, pegging of tower positions, preparation of diagonal profiles. | 186 | Route km
4.1.10.2 | Route clearance (50m wide)and construction of all required access and maintenance roads, as and when required up to commissioning. The contractor shall also include the cost of final route clearance in readiness for commissioning. | 186 | Route km
4.2 | PENSULO SUBSTATION
4.2.1 | Preliminary and General
4.2.1.1 | Earthworks, excavations, decommissioning, dismantling, removal and disposal of all existing redundant material and equipment | 1 | Lot
4.2.1.2. | Identify, and if required, relocate any buried services | 1 | Lot
4.2.1.3. | Identify, and demarcate safe area to work | 1 | Lot
4.2.1.4. | Remove, and packaging of any decommissioned secondary and auxiliary equipment | 1 | Lot
4.2.1.5. | Remove, and packaging of any decommissioned primary equipment | 1 | Lot
4.2.1.6. | Temporary barricading/fencing | 1 | Lot
4.2.2 | Conductors
4.2.2.1. | AAC “Tarantula” or LGKK-600 Conductor | 1 | Lot
4.2.2.2. | ASCR “Bison” Conductor | 1 | Lot
4.2.2.3. | GJ-100 Conductor (earthwire) | 1 | Lot
4.2.2.4. | LGJ 400/50 | 1 | Lot
4.2.2.5. | Factory Acceptance Testing | 1 | Lot
4.2.2.6. | Site Acceptance Test and Commissioning | 1 | Lot
4.2.3 | OPGW
4.2.3.1. | 48-core ADSS non-metallic approach fibre cable with trunking | 1 | lot
4.2.3.2. | 12 FC patch pane | 6 | Each
4.2.3.3. | FC-LC patch cords | 1 | Lot
4.2.3.4. | Factory Acceptance Testing | 1 | Lot
4.2.3.5. | Site Acceptance Test and Commissioning | 1 | Lot
4.2.4 | Circuit Breakers
4.2.4.1. | 330kV Single Pole Circuit Breakers with support structures | 6
4.2.4.2. | Factory Acceptance Testing | 1 | Lot
4.2.4.3. | Site Acceptance Test and Commissioning | 1 | Lot
4.2.5 | Disconnectors
4.2.5.1. | 330kV Three Phase Disconnector | 4 | Each
4.2.5.2. | Factory Acceptance Testing | 1 | Lot
4.2.5.3. | Site Acceptance Test and Commissioning | 1 | Lot
4.2.6 | Disconnector with Earth switch
4.2.6.1. | 330kV Three Phase Disconnector with Earthswitch | 3 | Each
4.2.6.2. | Factory Acceptance Testing | 1 | Lot
4.2.6.3. | Site Acceptance Test and Commissioning | 1 | Lot
4.2.7 | Instrument Transformers
4.2.7.1. | 330kV Single Phase Current Transformer (7-core) | 3
4.2.7.2. | 330kV Single Phase Capacitive Voltage Transformer | 3
4.2.7.3. | Factory Acceptance tests | 1 | Lot
4.2.7.4. | Site Acceptance Test and Commissioning | 1 | Lot
4.2.8 | Surge Arrestors
4.2.8.1. | 330kV Single-Phase Surge Arrestor | 6
4.2.8.2. | single phase surge arrestor sized to protect NCR against over-voltages | 1
4.2.8.3. | Factory Acceptance Testing | 1 | Lot
4.2.8.4. | Site Acceptance Test and Commissioning | 1 | Lot
4.2.9 | Busbars, Clamps and Insulators
4.2.9.1. | Clamps for AAC “Tarantula” or LGKK-600 Conductor | 1 | Lot
4.2.9.2. | Clamps for ASCR “Bison” Conductor | 1 | Lot
4.2.9.3. | Clamps for GJ-100 or ACSR “Hare” Conductor (earthwire) | 1 | Lot
4.2.9.4. | Clamps for LGJ 400/50 | 1 | Lot
4.2.9.5. | 330kV Single Phase Post Insulators | 5
4.2.9.6. | 330kV String Insulators | 1 | Lot
4.2.9.7. | Factory Acceptance Testing | 1 | Lot
4.2.9.8. | Site Acceptance Test and Commissioning | 1 | Lot
4.2.10 | Auxiliary Power & Control Cables
4.2.10.1. | 4core x 2.5sqmm | 1 | Lot
4.2.10.2. | 7core x 2.5sqmm | 1 | Lot
4.2.10.3. | 12core x 2.5sqmm | 1 | Lot
4.2.10.4. | 24core x 2.5sqmm | 1 | Lot
4.2.10.5. | 4core X 25mmsq (replacement of 400V ac circuits on old ACDB) | 500 | meter
4.2.10.6. | 7core x 1.5sqmm | 1 | Lot
4.2.10.7. | 14core x 1,5sqmm | 1 | Lot
4.2.10.8. | 19core x 1,5sqmm
4.2.10.9. | 27core x 1.5sqmm | 1 | Lot
4.2.10.10. | 4core X 4sqmm | 1 | Lot
4.2.10.11. | 4core X 6sqmm | 1 | Lot
4.2.10.12. | Factory Acceptance Testing | 1 | Lot
4.2.10.13. | Site Acceptance Test and Commissioning | 1 | Lot
4.2.11 | Earthing and Lightning Protection
4.2.11.1. | Earthmat conductor | 1 | Lot
4.2.11.2. | Earthmat joints and connectors | 1 | Lot
4.2.11.3. | Thermowelding tools and connection kits | 1 | Lot
4.2.11.4. | Factory Acceptance Testing | 1 | Lot
4.2.11.5. | Site Acceptance Test and Commissioning | 1 | Lot
4.2.12 | Protection and Control - Pensulo
4.2.12.1. | Main 1- Line Current Differential protection panel fully equipped with protection IED’s, panel wiring and all associated auxiliary equipment complete with Line Backup Overcurrent & Earth Fault protection functions. Panel to also accommodate Main 2 and Backup, item 1.2.4.13.2 | 1 | Lot
4.2.12.2. | Main 2-Distance protection panel fully equipped with protection IED’s, panel wiring and all associated auxiliary equipment complete with Line Backup Overcurrent & Earth Fault protection IED. To be installed on Main 1 panel, item 1.2.4.13.1 | 1 | Lot
4.2.12.3. | Reactor Differential protection panel fully equipped with protection IED’s, panel wiring and all associated auxiliary equipment complete with Line Backup Overcurrent & Earth Fault protection IED | 1 | Lot
4.2.12.4. | Integration of Pensulo Busbar Protection panel fully equipped with protection IED’s (MiCOM P746) 3 box solution 18 input, panel wiring and all associated auxiliary equipment ( to replace existing) | 1 | Lot
4.2.12.5. | Complete equipped Metering panel for both line and reactor, panel wiring and all associated auxiliary equipment. The meter type shall be Landis + Gyr (E880) or CEWE Prometer 540 or equivalent and IEC 61850 compliant. Power quality meter as Unipower 2210 or equivalent. | 1 | Lot
4.2.12.6. | Meter type Landis + Gyr (E880) or CEWE Prometer 540 or equivalent and IEC 61850 compliant to replace those on existing 330kV line bays | 8 | Each
4.2.12.7. | Power quality meter as Unipower 2210 or equivalent to be installed on existing 330kV line bays | 4 | Each
4.2.12.8. | Ethernet switch for metering | 1 | Lot
4.2.12.9. | Metering management system/HMI with software and hardware | 1 | Lot
4.2.12.10. | Factory Acceptance Testing | 1 | Lot
4.2.12.11. | Site Acceptance Test and Commissioning | 1 | Lot
4.2.12.12. | Integration of new bays onto the existing WAMPACS (Wide Area Monitoring, Protection and Control System); includes wiring, supply of any accessories required, testing and commissioning | 2 | Lot
4.2.13 | Telecommunication - Pensulo
4.2.13.1. | DWDM Optical Transport Networking (OTN) equipment complete. | 1 | Lot
4.2.13.2. | 10G & 100G Packet Transport Network (PTN) equipment complete. | 1 | Lot
4.2.13.3. | ZTE PCM P230 for data and voice communication | 1 | Lot
4.2.13.4. | Factory Acceptance Testing | 1 | Lot
4.2.13.5. | Site Acceptance Test and Commissioning | 1 | Lot
4.2.14 | SCADA - Pensulo
4.2.14.1. | Upgrade of existing Substation Automation System (HMI and gateway, hardware and software) | 1 | Lot
4.2.14.2. | SAS Ethernet Switch | 1 | Lot
4.2.14.3. | GPS clock/time server complete with antenna accessories | 1 | Lot
4.2.14.4. | IEC 61850 compliant Bay Control Unit (Schneider MiCOM C264) installed on reactor and line protection & control panels | 2 | Lot
4.2.14.5. | Factory Acceptance Testing | 1 | Lot
4.2.14.6. | Site Acceptance Test and Commissioning | 1 | Lot
4.2.15 | Reactors
4.2.15.1. | 330kV Single-Phase 10MVar ONAN Reactors including CTs | 3 | Each
4.2.15.2. | Neutral Compensating Reactors including CTs | 1 | Each
4.2.15.3. | Fire Extinguisher 50kg per Reactor | 2 | Each
4.2.15.4. | Sergi Fire Protection for reactors | 1 | Lot
4.2.15.5. | Factory Acceptance tests | 1 | Lot
4.2.15.6. | Site Acceptance Test and Commissioning | 1 | Lot
4.2.16 | Junction boxes, terminal Boxes and Marshalling Kiosks
4.2.16.1. | Junction Boxes | 3 | Each
4.2.16.2. | Terminal Boxes | 2 | Each
4.2.16.3. | Marshalling Kiosk | 2 | Each
4.2.16.4. | Splicing Box | 1 | Each
4.2.16.5. | Outdoor Lighting Distribution Box | 1 | Lot
4.2.16.6. | Factory Acceptance Testing | 1 | Lot
4.2.16.7. | Site Acceptance Test and Commissioning | 1 | Lot
4.2.17 | 48V DC System
4.2.17.1. | Battery Bank (1200AH) | 1 | Lot
4.2.17.2. | Battery Charger | 1 | Lot
4.2.17.3. | DC Cable | 1 | Lot
4.2.17.4. | AC Cable | 1 | Lot
4.2.17.5. | Factory Acceptance Testing | 1 | Lot
4.2.17.6. | Site Acceptance Test and Commissioning | 1 | Lot
4.2.17.7. | Decommissioning of old AC and DC panels | 1 | Lot
4.2.17.8. | Installation of 110V DC panels complete with panel wiring from existing panels | 1 | Each
4.2.18 | Structural Steelwork
4.2.18.1. | 330kV single phase Surge Arrester Structures | 6 | Each
4.2.18.2. | 330kV single phase Capacitive Voltage Transformer Structures | 3 | Each
4.2.18.3. | 330kV single phase Current Transformer (7-core) Structures | 3 | Each
4.2.18.4. | 330kV Three Phase Disconnector | 7 | Each
4.2.18.5. | 330kV Post Insulator Structures | 2 | Each
4.2.18.6. | Steel Support structures for equipment, gantries and busbar | 1 | Lot
4.2.18.7. | Substation fencing | 1 | Lot
4.2.18.8. | Steel support structures for outdoor lighting | 1 | Lot
4.2.19 | Civil Works including Material
4.2.19.1. | Clearance of the working area, leveling , cuttting and backfilling | 1 | Lot
4.2.19.2. | Complete Installation of primary plant equipment foundations, gantry foundations and busbar support foundations | 1
Lot
4.2.19.3. | Complete installation of all steel support structures for equipment, gantries and busbar | 1
Lot
4.2.19.4. | Levelling, compaction with slope suitable for drainage and installation of yard stone over the surface affected by the works | 1 | Lot
4.2.19.5. | 330kV Post Insulator Foundation | 2 | Each
4.2.19.6. | 330kV Circuit Breaker Foundation | 6 | Each
4.2.19.7. | 330kV Current Transformer (7-core) Foundation | 6 | Each
4.2.19.8. | 330kV Capacitive Voltage Transformer Foundation | 3 | Each
4.2.19.9. | 330kV Surge Arrestor Foundation | 3 | Each
4.2.19.10. | 330kV Triple Pole Disconnector foundation | 4 | Each
4.2.19.11. | 330kV Disconnector with earth switch foundation | 1 | Each
4.2.19.12. | Insecticide Treatment etc. | 1 | Lot
4.2.19.13. | New Substation Gate | 1 | Lot
4.2.19.14. | Extend Internal Substation Access Road, with necessary material (Concrete) | 1 | Lot
4.2.19.15. | Extend Substation Fencing | 1 | Lot
4.2.19.16. | Construct External Access Road, with necessary material ( (Asphalt) | 1 | Lot
4.2.19.17. | Construct control cable trenches for new equipment | 1 | Lot
4.2.19.18. | Fire and bund Walls | 1 | Lot
4.2.19.19. | Trenches and Conduits | 1 | Lot
4.2.19.20. | Bulk Civil Work-Substation Expansion | 1 | Lot
4.2.19.21. | Junction Boxes Foundations | 1 | Lot
4.2.19.22. | Terminal Boxes Foundations | 1 | Lot
4.2.19.23. | Marshalling Kiok Foundations | 1 | Lot
4.2.19.24. | All Drainage including subsurface and surface( Yard, perimeter, trenches, etc) | 1 | Lot
4.2.19.25. | Yard Stone | 1 | Lot
4.2.19.26. | Foundations for outdoor Lighting | 1 | Lot
4.2.19.27. | Oil Dam Construction | 1 | Lot
4.2.19.28. | Concrete Covers for old and new trenches | 1 | Lot
4.2.19.29. | Perimeter lighting (wall Lamp) | 12 | Lot
4.2.19.30. | substation Lighting (Flood light) | 16 | Lot
4.3 | MPIKA SUBSTATION
4.3.1 | Preliminary and General
4.3.1.1 | Excavations, decommissioning, dismantling, removal and disposal of all existing redundant material and equipment | 1 | Lot
4.3.1.2. | Identify, and if required, relocate any buried services | 1 | Lot
4.3.1.3. | Identify, and demarcate safe area to work | 1 | Lot
4.3.1.4. | Remove, and packaging of any decommissioned secondary equipment and auxiliary equipment | 1 | Lot
4.3.1.5. | Remove, and packaging of any decommissioned primary equipment | 1 | Lot
4.3.1.6. | Temporary barricading/fencing | 1 | Lot
4.3.2 | Conductors
4.3.2.1. | AAC “Tarantula” or LGKK-600 Conductor | 1 | Lot
4.3.2.2. | ASCR “Bison” Conductor | 1 | Lot
4.3.2.3. | GJ-100 or ACSR “Hare” Conductor (earthwire) | 1 | Lot
4.3.2.4. | LGJ 400/50 | 1 | Lot
4.3.2.5. | Factory Acceptance Tests | 1 | Lot
4.3.2.6. | Site Acceptance Test and Commissioning | 1 | Lot
4.3.3 | OPGW
4.3.3.1. | 48-core ADSS non-metallic approach fibre cable with trunking | 1 | Lot
4.3.3.2. | 12 FC patch pane | 6 | Each
4.3.3.3. | FC-LC patch cords | 1 | Lot
4.3.3.4. | Factory Acceptance Tests | 1 | Lot
4.3.3.5. | Site Acceptance Test and Commissioning | 1 | Lot
4.3.4 | Circuit Breakers
4.3.4.1. | 330kV Single Pole Circuit Breakers With supporting structure | 6
4.3.4.2. | Factory Acceptance Test | 1 | Lot
4.3.4.3. | Site Acceptance Test and Commissioning | 1 | Lot
4.3.5 | Disconnectors
4.3.5.1. | 330kV Three Phase Disconnector | 4
4.3.5.2. | Factory Acceptance Testing | 1 | Lot
4.3.5.3. | Site Acceptance Test and Commissioning | 1 | Lot
4.3.6 | Disconnector with Earth switch
4.3.6.1. | 330kV Three Phase Disconnector with Earth switch | 3
4.3.6.2. | Factory Acceptance Testing | 1 | Lot
4.3.6.3. | Site Acceptance Test and Commissioning | 1 | Lot
4.3.7 | Instrument Transformers
4.3.7.1. | 330kV Current Transformer (7-core) | 3
4.3.7.2. | 330kV Capacitive Voltage Transformer | 3
4.3.7.3. | Factory Acceptance Test | 1 | Lot
4.3.7.4. | Site Acceptance Test and Commissioning | 1 | Lot
4.3.8 | Surge Arrestors
4.3.8.1. | 330kV Single-Phase Surge Arrestor | 6
4.3.8.2. | Single Phase Surge arrestor sized to protect NCR from over voltage | 1 | Lot
4.3.8.3. | Factory Acceptance Testing | 1 | Lot
4.3.8.4. | Site Acceptance Test and Commissioning | 1 | Lot
4.3.9 | Busbars, Clamps & Insulators
4.3.9.1. | Clamps for AAC “Tarantula” or LGKK-600 Conductor | 1 | Lot
4.3.9.2. | Clamps for ASCR “Bison” Conductor | 1 | Lot
4.3.9.3. | Clamps for GJ-100 Conductor (earthwire) | 1 | Lot
4.3.9.4. | Clamps for LGJ 400/50 | 1 | Lot
4.3.9.5. | 330kV Single Phase Post Insulators | 2
4.3.9.6. | 330kV String Insulators | 1 | Lot
4.3.9.7. | Factory Acceptance Testing | 1 | Lot
4.3.9.8. | Site Acceptance Test and Commissioning | 1 | Lot
4.3.10 | Auxiliary Power & Control Cables
4.3.10.1. | 4core x 2.5sqmm | 1 | Lot
4.3.10.2. | 7core x 2.5sqmm | 1 | Lot
4.3.10.3. | 12core x 2.5sqmm | 1 | Lot
4.3.10.4. | 24core x 2.5sqmm | 1 | Lot
4.3.10.5. | 27 core x 1.5sqmm | 1 | Lot
4.3.10.6. | 4 core x 4sqmm | 1 | Lot
4.3.10.7. | 4 core x 25sqmm | 500 | m
4.3.10.8. | 4 core x 6sqmm | 1 | Lot
4.3.10.9. | Factory Acceptance Testing | 1 | Lot
4.3.10.10. | Site Acceptance Test and Commissioning | 1 | Lot
4.3.11 | Earthing and Lightning Protection
4.3.11.1. | Earthmat conductor | 1 | Lot
4.3.11.2. | Earthmat joints and connectors | 1 | Lot
4.3.11.3. | Thermowelding tools and connection kits | 1 | Lot
4.3.11.4. | Factory Acceptance Testing | 1 | Lot
4.3.11.5. | Site Acceptance Test and Commissioning | 1 | Lot
4.3.12 | Protection and Control - Mpika
4.3.12.1. | Main 1- Line Current Differential protection panel fully equipped with protection IED’s, panel wiring and all associated auxiliary equipment complete with Line Backup Overcurrent & Earth Fault protection functions (panel to accommodate Main 2) | 1 | Lot
4.3.12.2. | Main 2-Distance protection panel fully equipped with protection IED’s, panel wiring and all associated auxiliary equipment complete with Line Backup Overcurrent & Earth Fault protection functions (To be installed on Mani 1 panel) | 1 | Lot
4.3.12.3. | Reactor Differential protection panel fully equipped with protection IED’s, panel wiring and all associated auxiliary equipment complete with Line Backup Overcurrent & Earth Fault protection functions | 2 | Lot
4.3.12.4. | Integration into Busbar Protection panel fully equipped with protection IED’s (MiCOM P746) 3 box solution 18 input, panel wiring and all associated auxiliary equipment | 1 | Lot
4.3.12.5. | Complete equipped Metering panel for both line and reactor, panel wiring and all associated auxiliary equipment. The meter type shall be Landis + Gyr (E880) or CEWE Prometer 540 or equivalent and IEC 61850 compliant. Power quality meter as Unipower 2210 or equivalent. | 1 | Lot
4.3.12.6. | Meter type Landis + Gyr (E880) or CEWE Prometer 540 or equivalent and IEC 61850 compliant to replace those on existing 330kV line bays | 4 | Each
4.3.12.7. | Power quality meter as Unipower 2210 or equivalent to be installed on existing 330kV line bays | 2 | Each
4.3.12.8. | Ethernet switch for metering | 1 | Lot
4.3.12.9. | Metering management system/HMI with software and hardware | 1 | Lot
4.3.12.10. | Factory Acceptance Testing | 1 | Lot
4.3.12.11. | Site Acceptance Test and Commissioning | 1 | Lot
4.3.12.12. | Integration of new bays onto the existing WAMPACS(Wide Area Monitoring, Protection and Control System); includes wiring, supply of any accessories required, testing and commissioning | 2 | Lot
4.3.13 | Telecommunication - Mpika
4.3.13.1. | DWDM Optical Transport Networking (OTN) equipment complete. | 1 | Lot
4.3.13.2. | 10G & 100G Packet Transport Network (PTN) equipment complete. | 1 | Lot
4.3.13.3. | ZTE PCM P230 for data and voice communication | 1 | Lot
4.3.13.4. | Factory Acceptance Testing | 1 | Lot
4.3.13.5. | Site Acceptance Test and Commissioning | 1 | Lot
4.3.14 | SCADA - Mpika
4.3.14.1. | Upgrade of existing Substation Automation System (HMI and gateway, hardware and software) | 1 | Lot
4.3.14.2. | SAS Ethernet Switch | 1 | Lot
4.3.14.3. | GPS clock/time server complete with antenna accessories | 1 | Lot
4.3.14.4. | New panels complete with IEC 61850 compliant Bay Control Unit (Schneider MiCOM C264) installed on reactor and line protection & control panels | 2 | Lot
4.3.14.5. | Factory Acceptance Testing | 1 | Lot
4.3.14.6. | Site Acceptance Test and Commissioning | 1 | Lot
4.3.15 | Reactors
4.3.15.1. | Neutral Compensating Reactors | 1 | Each
4.3.15.2. | Single Phase 330kV 10MVar ONAN reactors with fire protection for CT's | 3 | Each
4.3.15.3. | Fire Extinguisher 50kg per Reactor | 2 | Each
4.3.15.4. | Sergi Fire Protection for reactor | 1 | Lot
4.3.15.5. | Factory Acceptance tests | 1 | Lot
4.3.15.6. | Site Acceptance Test and Commissioning | 1 | Lot
4.3.16 | Junction boxes, terminal Boxes and Marshalling Kiosks
4.3.16.1. | Junction Boxes | 3 | Each
4.3.16.2. | Terminal Boxes | 2 | Each
4.3.16.3. | Marsahling Kiosk | 2 | Each
4.3.16.4. | Splicing Box | 1 | Each
4.3.16.5. | Outdoor Lighting Distribution Box | 1 | Lot
4.3.16.6. | Factory Acceptance Testing | 1 | Lot
4.3.16.7. | Site Acceptance Test and Commissioning | 1 | Lot
4.3.17 | 48V DC System
4.3.17.1. | Battery Bank (1200AH) | 1 | Lot
4.3.17.2. | Battery Charger | 1 | Lot
4.3.17.3. | DC Cable | 1 | Lot
4.3.17.4. | AC Cable | 1 | Lot
4.3.17.5. | Factory Acceptance Testing | 1 | Lot
4.3.17.6. | Site Acceptance Test and Commissioning | 1 | Lot
4.2.18 | Structural Steelwork
4.3.18.1. | Steel Support structures for equipment, gantries and busbar | 2 | Lot
4.3.18.2. | Substation Fencing | 1 | Lot
4.3.18.3. | 330kV Surge Arrestors structures | 1 | Lot
4.3.18.4. | 330kV Three Phase Disconnector | 7 | Lot
4.3.18.5. | 330kV Current Transformers structures | 1 | Lot
4.3.18.6. | 330kV Capacitive Voltage Transformer structures | 1 | Lot
4.3.18.7. | 330kV Post Insulator Structures | 2 | Lot
4.3.18.8. | Floodlights | 1 | Lot
4.3.18.9. | Site Acceptance Test and Commissioning | 1 | Lot
4.3.19. | Civil Works
4.3.19.1. | Clearance of the working area, leveling , cuttting and backfilling | 1 | Lot
4.3.19.2. | Complete Installation of primary plant equipment foundations, gantry foundations and busbar support foundations | 1 | Lot
4.3.19.3. | Complete installation of all steel support structures for equipment, gantries and busbar | 1 | Lot
4.3.19.4. | Levelling, compaction with slope suitable for drainage and installation of yard stone over the surface affected by the works | 1 | Lot
4.3.19.5. | 330kV Post Insulator Foundation | 2 | Each
4.3.19.6. | 330kV Circuit Breaker Foundation | 6 | Each
4.3.19.7. | 330kV Current Transformer (7-core) Foundation | 3 | Each
4.3.19.8. | 330kV Capacitive Voltage Transformer Foundation | 3 | Each
4.3.19.9. | 330kV Surge Arrestor Foundation | 3 | Each
4.3.19.10. | 330kV Triple Pole Disconnector foundation | 4 | Each
4.3.19.11. | 330kV Disconnector with earth switch foundation | 3 | Each
4.3.19.12. | Insecticide Treatment etc. | 1 | Lot
4.3.19.13. | Construct control cable trenches for new equipment | 1 | Lot
4.3.19.14. | Fire and bund Walls | 1 | Lot
4.3.19.15. | Trenches and Conduits | 1 | Lot
4.3.19.16. | Junction Boxes Foundations | 1 | Lot
4.3.19.17. | Terminal Boxes Foundations | 1 | Lot
4.3.19.18. | Marshalling Kiok Foundations | 1 | Lot
4.3.19.19. | All Drainage including subsurface and surface( Yard, perimeter, trenches, etc) | 1 | Lot
4.3.19.20. | Refurbishment of Access Roads (Asphalt) (1km to Substation) | 1 | Lot
4.3.19.21. | Substation lighting | 1 | Lot
4.3.19.22. | Perimeter lighting | 1 | Lot
4.3.19.23. | Yardstone | 1 | Lot
4.3.19.24. | Oil Dam Construction | 1 | Lot
4.4. | MISCELLANEOUS
4.4.1. (a) | Relocation of 30km of 11kV line from Chilonga to Kasenga area to include design, supply and installation of wooden poles, conductor, insulators and all other line accessories for the full functioning of the line including commissioning. The scope shall also include recovering of all materials for the existing facilities including removed and transporting them to designated place.(Mpika ZESCO Stores) | 1 | Lot
4.4.1. (b) | Relocating of any LV or MV existing assets within the right of way corridor, either by means of repositioned overhead line, or provision of underground cable (200m of 3core x 185mmsq 11kV XLPE cable with H-poles on either side c/w termination kits at five(05) locations(provisional sum) | 1 | Lot
4.4.2. | C-ESMP impacts mitigations and enhancement costs | 1 | Lot
4.4.3. | Contractor’s costs related to implementation of the SEP, LMP and ESCP. | 1 | Lot
4.4.4. | Engagement of external GBV service provider as per section 5.2.4 of the ESMP. | 1 | Lot
4.4.5. | Preparation of a GBV management plan including Development and printing of posters on GBV/SEAH, HIV/AIDS and empowerment of targeted citizens (including employment quotas) in English and translated into relevant local language(s) to be displayed at all work sites and project-affected communities as per ESMP requirements. | 1 | Lot
4.4.6. | Development and implementation of specific management plans as per ESMP requirements | 1 | Lot
4.5. | Employer’s Project Management
Training
4.5.1. | Equipment familiarization training – Reactors: 3 staff, includes air travel, accommodation, local travel. Minimum 14 days. | 1 | Lot
4.5.2. | Equipment familiarization training – Protection system/metering: 6 staff, includes air travel, accommodation, local travel. Minimum 14 days. | 1 | Lot
4.5.3. | Equipment familiarization training – Substation Automation and Control (SAS): 4 staff, includes air travel, accommodation, local travel. Minimum 14 days. | 1 | Lot
4.5.4. | Equipment familiarization training – OPGW terminal equipment/telecoms: 9 staff, includes air travel, local travel. Minimum 15 working days. Proposed Staff as follows: 1 3 for OTN, 2 3 for PTN and, 3 3 for Power and Battery Charger Solutions. The minimum requirement is 15 working days for all of them. | 1 | Lot
4.5.5. | Equipment familiarization training – HV Switchgear: 3 staff, includes air travel, accommodation, local travel. Minimum 14 days. | 1 | Lot
4.5.6. | Training in Project Management (World Bank Accredited Programs) 6 staff, includes air travel, accommodation and local travel. Minimum 14 days. | 1 | Lot
4.5.7. | Training in Contract Management for engineers. 4 staff, includes air travel, accommodation, local travel. Minimum 14 days. | 1 | Lot
4.5.8. | Training in Electrical Substation, Design, Testing and Commissioning Procedure. including primtech substation design software license 4 staff, includes air travel, accommodation and local travel. Minimum 14 days. | 1 | Lot
4.5.9. | Training in Transmission Line Design, Testing and Commissioning Procedure including two (02) sets each of PLS-CADD/TOWER/POLE /STAAD licenses. 6 staff, includes air travel, accommodation and local travel. Minimum 14 days. | 1 | Lot
4.5.10. | Training in Structural Analysis and Design using STAAD PRO/REVIT/BENTELY including software licence, 6 staff, includes air travel and local travel. Minimum 14 days. | 1 | Lot
4.5.11. | Training in Facility Management 4 staff, includes air travel, local travel. Minimum 14 days. | 1 | Lot
4.5.12. | LiDAR Survey Training with emphasis on GPS Field/Ground Survey data observations and Digital Image Processing: 4 Staff, includes air travel, accommodation, and local travel. Minimum 14 Days. | 1 | Lot
4.5.13. | GIS and Remote Sensing Training: 4 Staff, includes air travel , accommodation and local travel, Minimum 14 Days. | 1 | Lot
4.5.14. | Training in EMTP PSCAD with software license dongle, 4 staff, includes air travel, accommodation and local travel. Minimum 14 days. | 1 | Lot
4.5.15. | Training in Powerfactory and PSSE for network system analysis including 5 software licenses for each course 6 staff, includes air travel, accommodation and local travel. Minimum 14 days. | 1 | Lot
Tools, Test Instruments and Site Office Equipment
4.5.16. | Rugged Laptop (impact and water splash safe) computer pre-loaded with protection IED configuration software including all accessories for communication with the relays, meters and SAS with the following minimum Laptops with specs: Intel Core i7, Quad-core processor, 11th Generation, 2.9GHz. 32GB Ram (DDR4 SDRAM), 1TB SSD, Dedicated Graphics card (Minimum 2GB GDDR5), Windows 11 pro, Microsoft 365, 14-inch screen (Minimum resolution of 1920 1080) | 7 | Each
4.5.17. | Latest version of software and license: Autodesk-AutoCAD | 1 | Each
4.5.18. | GNSS receiver complete set with rover, base and processing software with 2 spare batteries | 1 | Each
4.5.19. | Digital Level complete set with staff and processing software with 2 spare batteries | 1 | Each
4.5.20. | Leica Total Station | 1 | Each
4.5.21. | GIS Tablet (Geotab) | 2 | Each
4.5.22. | Live Line Tester up to 330kV HIGH VOLTAGE DETECTORS CABLE TO DETECT VOLTAGE UP TO 500 KV Type: Electronic capacitive, Operating power, voltage: 90 – 500kV, Instruction Manual, Connecting accessories including auxiliary earth, rod and probe; Application: For detecting voltages on overhead transmission lines | 5 | Each
4.5.23. | HIGH FREQUENCY EARTH RESISTANCE MEASURING INSTRUMENT DIGITAL GROUND TESTER Application: For high frequency determination of earthing resistance of overhead transmission line towers with tower-top earth wire Operating voltage: Battery, Facility for charging battery: In built | 5 | Each
4.5.24. | 6 ton Chain Blocks | 10 | Each
4.5.25. | 100 kN metallic Stay/anchor plates/Blocks | 6 | Each
4.5.26. | 100kN Roller Blocks | 6 | Each
4.5.27. | GROUNDING STICKS SET : Type screw type contact clamp; Suitable conductor diameter 5mm -60 mm; Maximum current capacity 23.9k | 10 | sets
4.5.28. | Circuit Breaker Gas Filling Kits And Test Equipment | 3 | Sets
4.5.29. | Programma TM1800 Circuit Breaker Analyser System complete with CABA software, USB communication interface and transducers for motion, vibration, timing, contact resistance and DRM | 2 | Each
4.5.30. | Insulation Resistance Tester- up to 15kV | 6 | Each
4.5.31. | Earth Resistance Tester- accuracy from 0.1 ohms to not less than 2000 ohms | 6 | Each
4.5.32. | 100kV, Oil dielectric breakdown tester | 3 | Each
4.5.33. | Micro Ohm (low resistance) Tester for Switchgear – DUCTOR | 3 | Each
4.5.34. | Mechanical and electrical tool box complete | 10 | Each
4.5.35. | CMC 356 Secondary injection test set Full package | 2 | Each
4.5.36. | Vacuum pump of adequate capacity for transformer insulation drying and oil filling | 1 | Each
4.5.37. | Oil pump and hoses, with a flow rate of at least1.3 l/s (for oil filling of power transformers), should be portable and electrically operated | 3 | Each
4.5.38. | Transformer oil filtration streamliner, with a capacity of at least 5000 l/hr, complete with horses and adapters. | 1 | Each
4.5.39. | CT Analyser equipment | 2 | Each
4.5.40. | SFRA Analyser | 1 | Each
4.5.41. | SF6 Gas Leakage Detector | 2 | Each
4.5.42. | CPC 100Transformer Analyzer | 2 | Each
4.5.43. | Handheld GPS | 5 | Each
4.5.44. | Drone with LiDAR Survey Kit & Thermal Combo as DJI ENTERPRISE - MATRICE 350 RTK or equivalent and approved | 1 | Each
4.5.45. | Executive Chairs | 5 | Each
4.5.46. | Refrigerator | 3 | Each
4.5.47. | Filling Cabinets | 4 | Each
4.5.48 | Tables | 5 | Each
4.6 | DAYWORK RATES
4.6.1 | Cost of earthing metallic roofs of buildings | 1 | per building (rate only)
4.6.2 | Cost of earthing metallic fences | 1 | per connec-tion (rate only)
4.6.3 | Prices for miscellaneous steel work, prices for special towers, special extensions and modifications (inclusive of design)
4.6.3.1 | Structural high yeild steel | 1 | tonne (rate only)
4.6.3.2 | Structural mild steel | 1 | tonne (rate only)
4.6.4 | Miscellaneous prices for foundation work inclusive of design
4.6.4.1 | Special foundation work including pile caps, beams and modifications to normal foundations to adapt specified foundation classes to cater for particular soil conditions.
4.6.4.1.1 | Additional concrete (including formwork costs) | 1 | cubic m (rate only)
4.6.4.1.2 | Additional excavation including reinstatement | 1 | cubic m (rate only)
4.6.4.1.3 | Additional steel reinforcement bars including supply, bending and placing | 1 | tonne (rate only)
4.6.4.1.4 | Solid rock excavation excluding class 1 foundations(including reinstatement) | 1 | cubic m (rate only)
4.6.4.1.5 | Imported backfill | 1 | cubic m (rate only)
4.6.4.1.6 | Rip -rap stone work, 0.5m deep over tower base area to protect against erosion | 1 | square m (rate only)
4.6.4.1.7 | 1m x 1m x 1m rock filled gabion baskets, installed, to protect foundations against erosion | 1 | linear m (rate only)
4.6.5 | Transmission Line Diversions: Complete profile survey and setting out of a diversion to the original line route including preparation of profiles and drawings, including complete ground line and conductor clearance checks, selection of tower types, pegging of tower positions, preparation of diagonal profiles including sub-soil investigations. | 1 | Route km (rate only)
4.6.6 | Transmission Line Diversions: Route clearance and construction of all required access and maintenance roads | 1 | Route km (rate only)
4.6.7 | Galvanized steel gates to be installed where access routes cross fenced property boundaries | 1 | per Lot (rate only)
4.6.8 | 200mm wearing coarse layer to be installed on access roads | 1 | km (rate only)
TOTAL (to Schedule No. 5. Grand Summary)
Name of Bidder: _________________
Signature of Bidder: __________________

## Sch 5 Total
Schedule 5 - Grand Summary
Item | Description | Total Price1
|  | Foreign | Local
Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad
Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country
Total Schedule No. 3. Design Services
Total Schedule No. 4. Installation and Other Services
TOTAL (to Letter of Bid)
Name of Bidder: _________________
Signature of Bidder: __________________
1Specify currency in accordance with ITB 18. Create and use as many columns for Foreign Currency requirement as there are foreign currencies

## Sch 6 Rec spares
Schedule 6 - Recommended Spare Parts
Item | Description | Qty. | Unit Price |  | Total Price
|  |  | CIF or CIP | EXW
|  |  | (foreign parts) | (local parts)
|  | 1 | 2 | 3 | (1) x (2) or(3)
TOTAL (to Schedule No. 5. Grand Summary)
Name of Bidder: _________________
Signature of Bidder: __________________

## Sch 7 Dayworks Rates
Schedule No. 7 - Dayworks Rates (Not for Evaluation)
7 | DAYWORK RATES | QTY | UOM | UNIT RATE
7.1 | Cost of earthing metallic roofs of buildings | 1 | square meter
7.2 | Cost of earthing metallic fences | 1 | per connec-tion
7.3 | Prices for miscellaneous steel work, prices for special towers, special extensions and modifications (inclusive of design)
7.3.1 | Structural high yeild steel | 1 | tonne
7.3.2 | Structural mild steel | 1 | tonne
7.4 | Miscellaneous prices for foundation work inclusive of design
7.4.1 | Special foundation work including pile caps, beams and modifications to normal foundations to adapt specified foundation classes to cater for particular soil conditions.
7.4.1.1 | Reinforced concrete (grade C25), including formwork | 1 | cubic m.
7.4.1.2 | Reinforced concrete (grade C30), including formwork | 1 | cubic m.
7.4.1.3 | Excavation in normal soils (including reinstatement) | 1 | cubic m.
7.4.1.4 | Excavation in hard rock, excluding class 1 foundations (including reinstatement) | 1 | cubic m.
7.4.1.5 | Steel reinforcement bars including supply, bending and placing | 1 | tonne
7.4.1.6 | Imported backfill | 1 | cubic m.
7.4.1.7 | Rip -rap stone work, 0.5m deep over tower base area to protect against erosion | 1 | square meter
7.4.1.8 | 1m x 1m x 1m rock filled gabion baskets, installed, to protect foundations against erosion | 1 | linear m.
7.5 | Transmission Line Diversions: Complete profile survey and setting out of a diversion to the original line route including preparation of profiles and drawings, including complete ground line and conductor clearance checks, selection of tower types, pegging of tower positions, preparation of diagonal profiles including sub-soil investigations. | 1 | Route km
7.6 | Transmission Line Diversions: Route clearance and construction of all required access and maintenance roads | 1 | Route km
7.7 | Galvanized steel gates to be installed where access routes cross fenced property boundaries | 1 | Lot
7.8 | 200mm wearing coarse layer to be installed on access roads | 1 | km
7.9 | Cost of earthing metallic roofs of buildings | 1 | per building
7.1 | Cost of earthing metallic fences | 1 | per connec-tion
7.11 | Prices for miscellaneous steel work, prices for special towers, special extensions and modifications (inclusive of design)
7.11.1 | Structural high yeild steel | 1 | tonne
7.11.2 | Structural mild steel | 1 | tonne