## Country of Origin Declaration
Country of Origin Declaration Form
Item | Description | Code | Country

## Sch 1 Materials
Schedule no 1 - Plant and Mandatory Spare Parts Supplied from Abroad
Item | Description | Code1 | Qty. | Unit | Unit Price2 |  | Total Price2
[5 empty] | Currency | CIP Nakonde
|  |  | 1) |  | 2) | 3) | (1) x (3)
1.1 | 330kV NAKONDE STEPDOWN SUBSTATION
1.1.1 | Conductors (Busbars and earth wires)
1.1.1.1 | AAC “Tarantula” Conductor or LGKK-600 Conductor |  | 1 | Lot
1.1.1.2 | ASCR “Bison” Conductor or LGJ 400/50 Conductor |  | 1 | Lot
1.1.1.3 | ACS 7/4.11 conductor |  | 1 | Lot
1.1.2 | Optic Fibre Cable
1.1.2.1 | 48-core ADSS non-metallic approach fibre cable with trunking |  | 1 | Lot
1.1.2.2 | FC ODF Cabinet (complete with 18 patch panels with 12 FC Connectors each) |  | 1 | Lot
1.1.2.3 | FC-LC patch cords, SC-SC, LC-SC, LC-LC |  | 1 | Lot
1.1.3 | Circuit Breakers
1.1.3.1 | 330kV Single Phase Circuit Breakers complete with supporting structure |  | 30 | Each
1.1.3.2 | 330kV Single Phase Circuit Breakers complete with supporting structure as spare |  | 6 | Each
1.1.3.3 | SF6 Gas Cylinders for circuit breakers 20kg |  | 5 | Each
1.1.3.4 | 132kV Three Phase Circuit Breakers complete with supporting structures |  | 5 | Set
1.1.3.5 | 132kV Three Phase Circuit Breakers complete with supporting structures as spare |  | 3 | Set
1.1.3.6 | Drive motor for 330kV Circuit Breaker (spare) |  | 1 no of each type | Lot
1.1.3.7 | Motor contactor of each type for 330kV Circuit Breaker (spare) |  | 1 set of each type | Lot
1.1.3.8 | Fuses of each rating (spare) |  | 1 set of each type | Lot
1.1.3.9 | Spring for 330kV Circuit Breaker (spare) |  | 1 set of each type | Lot
1.1.3.10 | Drive motor for 132kV Circuit Breaker (spare) |  | 1 no of each type | Lot
1.1.3.11 | Motor contactor of each type for 132kV Circuit Breaker (spare) |  | 1 set of each type | Lot
1.1.3.12 | Fuses of each rating (spare) - 132kV |  | 1 set of each type | Lot
1.1.3.13 | Spring for 132kV Circuit Breaker (spare) |  | 1 set of each type | Lot
1.1.4 | Disconnectors
1.1.4.1 | 330kV Three Phase Disconnector with supporting structure |  | 30 | Each
1.1.4.2 | 330kV Three Phase Disconnector with supporting structure as spare |  | 2 | Each
1.1.4.3 | 132kV Three Phase Disconnector with supporting structure |  | 18 | Each
1.1.4.4 | 132kV Three Phase Disconnector with supporting structure as spare |  | 3 | Each
1.1.4.5 | 330kV Line disconnect switch, Motor Operated complete with supporting structures as spare |  | 1 | Each
1.1.4.6 | Support insulator column for 330kV Disconnector as spare |  | 1 set of each type | Lot
1.1.4.7 | Operating rod insulator for 330kV Disconnector as spare |  | 1 set of each type | Lot
1.1.4.8 | Drive motor for 330kV Disconnector as spare |  | 1 no of each type | Lot
1.1.4.9 | Motor contactor of each type for 330kV Disconnector as spare |  | 1 set of each type | Lot
1.1.4.10 | 132kV Line disconnect switch, Motor Operated complete with supporting structures as spare |  | 1 | Each
1.1.4.11 | Support insulator column for 132kV Disconnector as spare |  | 1 set of each type | Lot
1.1.4.12 | Operating rod insulator for 132kV Disconnector as spare |  | 1 set of each type | Lot
1.1.4.13 | Drive motor for 132kV Disconnector as spare |  | 1 no of each type | Lot
1.1.4.14 | Motor contactor of each type for 132kV Disconnector as spare |  | 1 set of each type | Lot
1.1.5 | Disconnectors with Earth-switch
1.1.5.1 | 330kV Three Phase Disconnector with Earth-switch |  | 11 | Set
1.1.5.2 | 330kV Three Phase Disconnector with Earth-switch as spare |  | 1 | Set
1.1.5.3 | 132kV Three Phase Disconnector with Earth-switch |  | 4 | Set
1.1.5.4 | 132kV Three Phase Disconnector with Earth-switch as spare |  | 1 | Set
1.1.6 | Instrument Transformers
1.1.6.1 | 330kV Single Phase Current Transformer (7-core) complete with supporting structures |  | 33 | Each
1.1.6.2 | 330kV Single Phase Capacitive Voltage Transformer complete with supporting structures |  | 21 | Each
1.1.6.3 | 132kV Current Transformer (CT) complete with supporting structures |  | 18 | Each
1.1.6.4 | 132(66)kV Capacitor Voltage Transformer (CVT), complete with supporting structures. Primary rated voltage (phase‑to‑ground) shall be interconnectable between 132/√3 kV and 66/√3 kV. |  | 18 | Each
1.1.6.5 | 330kV Single Phase Current Transformer (7-core) as spare |  | 3 | Each
1.1.6.6 | 330kV Single Phase Capacitive Voltage Transformer as spare |  | 3 | Each
1.1.6.7 | 132kV Current Transformer(CT) as spare |  | 9 | Each
1.1.6.8 | 132(66)kV Capacitor Voltage Transformer (CVT). Primary rated voltage (phase‑to‑ground) shall be interconnectable between 132/√3 kV and 66/√3 kV as spare. |  | 5 | Each
1.1.7 | Surge Arrestors (132 kV surge arresters are not required, as Nakonde will be initially commissioned as 330/66kV)
1.1.7.1 | 330kV Single-Phase Surge Arrestor complete with supporting structures |  | 27 | Each
1.1.7.2 | 66kV Surge Arresters complete with supporting structures |  | 12 | Each
1.1.7.3 | 36kV Surge arresters (for neutrals of 3x10MVAr reactors to protect NCR against over-voltages) complete with supporting structures |  | 2 | Each
1.1.7.4 | 330kV Single-Phase Surge Arrestor as spare |  | 3 | Each
1.1.7.5 | 36kV Surge arresters (for neutrals of 3x10MVAr reactors) as spare |  | 1 | Each
1.1.7.6 | 66kV Surge Arresters complete with supporting structures as spares |  | 9 | Each
1.1.8 | Post Insulators
1.1.8.1 | 330kV Single Phase Post insulators complete with supporting structure |  | 1 | Lot
1.1.8.2 | 132kV Single Phase Post insulators complete with supporting structure |  | 1 | Lot
1.1.9 | Clamps and Insulators
1.1.9.1 | Clamps for AAC “Tarantula” or LGKK-600 Conductor |  | 1 | Lot
1.1.9.2 | Clamps for ASCR “Bison” Conductor or LGJ 400/50 |  | 1 | Lot
1.1.9.3 | Clamps for ACS 7/4.11 Conductor |  | 1 | Lot
1.1.9.4 | 330kV Tension Insulator set |  | 1 | Lot
1.1.9.5 | 330kV Suspension Insulator set |  | 1 | Lot
1.1.9.6 | 132kV Tension Insulator set |  | 1 | Lot
1.1.9.7 | 132kV Suspension Insulator Set |  | 1 | Lot
1.1.9.8 | Clamps for AAC “Tarantula” or LGKK-600 Conductor (spare), 15 sets |  | 1 | Lot
1.1.9.9 | Clamps for ASCR “Bison” Conductor or LGJ 400/50 (spare), 15 sets |  | 1 | Lot
1.1.10 | Auxiliary Power & Control Cables
1.1.10.1 | 4 core x 2.5sqmm |  | 1 | Lot
1.1.10.2 | 7 core x 2.5sqmm |  | 1 | Lot
1.1.10.3 | 12 core x 2.5sqmm |  | 1 | Lot
1.1.10.4 | 24 core x 2.5sqmm |  | 1 | Lot
1.1.10.5 | 7 core x 1.5sqmm |  | 1 | Lot
1.1.10.6 | 14 core x 1.5sqmm |  | 1 | Lot
1.1.10.7 | 19 core x 1,5sqmm |  | 1 | Lot
1.1.10.8 | 27 core x 1.5sqmm |  | 1 | Lot
1.1.10.9 | 4 core x 4sqmm |  | 1 | Lot
1.1.10.10 | 4 core x 6sqmm |  | 1 | Lot
1.1.10.11 | 4 core x 10sqmm |  | 1 | Lot
1.1.10.12 | 4 core x 25sqmm |  | 1 | Lot
1.1.10.13 | 4 core x 50sqmm |  | 1 | Lot
1.1.10.14 | 4 core x 185sqmm |  | 1 | Lot
1.1.10.15 | 11kV XLPE Power Cable 3x70 mm2 Cu conductor, incl. Cable Terminations |  | 1 | Lot
1.1.11 | Earthing and Lightning Protection
1.1.11.1 | Earthmat conductor (High conductivity hard-drawn bare Copper) |  | 1 | Lot
1.1.11.2 | Earthmat joints and connectors |  | 1 | Lot
1.1.11.3 | Lightning Masts |  | 1 | Lot
1.1.11.4 | Earth rods |  | 1 | Lot
1.1.11.5 | Thermowelding tools and connection kits |  | 1 | Lot
1.1.11.6 | Drum of Copper Conductor (Earthing) 500m (70mm2 ) as spare |  | 3 | Each
1.1.11.7 | Earth rods as spare |  | 50 | Each
1.1.11.8 | Substation earthing conductors (of each type) as spare |  | 100 | m
1.1.11.9 | Substation earthing conductor connecting bolts and clamps/lugs (of each type) as spare |  | 15 | Sets
1.1.11.10 | Thermowelding tool as spare |  | 2 | Each
1.1.11.11 | Thermowelding kits as spare |  | 20 | Sets
1.1.12 | Protection and Control - 330kV NAKONDE STEPDOWN SUBSTATION
1.1.12.1 | Nakonde-Tunduma Main 1 (NR PCS-931S-Direct Fibre connection) - Line Current Differential protection panel fully equipped with protection IED, panel wiring and all associated auxiliary equipment complete with Line Backup Overcurrent & Earth Fault protection functions. Panel to also accommodate Main 2 and Backup, item 1.1.12.2. One panel at Nakonde and one panel at Tunduma complete with necessary interface for each circuit: 2 lots |  | 2 | Lot
1.1.12.2 | Nakonde-Tunduma Main 2 (SCHNEIDER P543-Direct Fibre connection) - Line Current Differential protection panel fully equipped with protection IED, panel wiring and all associated auxiliary equipment complete with Line Backup Overcurrent & Earth Fault protection functions. Panel to also accommodate Main 1 and Backup, item 1.1.12.1. One panel at Nakonde and one panel at Tunduma complete with necessary interface for each circuit: 2 lots |  | 2 | Lot
1.1.12.3 | Nakonde-Tunduma IEC61850 compliant Bay Control Units |  | 2 | Each
1.1.12.4 | Nakonde-Kasama Main 1 - Line Current Differential protection panel fully equipped with protection IED, panel wiring and all associated auxiliary equipment complete with Line Backup Overcurrent & Earth Fault protection functions. Panel to also accommodate Main 2 and Backup, item 1.1.12.5 |  | 2 | Lot
1.1.12.5 | Nakonde-Kasama Main 2 - Distance protection panel fully equipped with protection IED, panel wiring and all associated auxiliary equipment complete with Line Backup Overcurrent & Earth Fault protection IED. To be installed in Main 1 panel, item 1.1.12.4 |  | 2 | Lot
1.1.12.6 | Nakonde-Kasama IEC61850 compliant Bay Control Units |  | 2 | Each
1.1.12.7 | Reactor Differential protection panel fully equipped with protection IED’s, panel wiring and all associated auxiliary equipment complete with Line Backup Overcurrent & Earth Fault protection IED |  | 3 | Lot
1.1.12.8 | Reactor Bay IEC61850 compliant Reactors Bay Control Unit |  | 3 | Each
1.1.12.9 | 330kV Bus-Coupler IEC61850 compliant Bay Control Unit |  | 1 | Each
1.1.12.10 | Transformer Differential protection panel fully equipped with protection IED’s, panel wiring and all associated auxiliary equipment complete with Line Backup Overcurrent & Earth Fault protection IED |  | 2 | Lot
1.1.12.11 | Transformers IEC61850 compliant Bay Control Units |  | 2 | Each
1.1.12.12 | Transformers AVR |  | 2 | Lot
1.1.12.13 | Stand-alone 330kV and (132)66kV Disturbance Fault Recorders |  | 2 | Lot
1.1.12.14 | Nakonde-Nakonde Town Feeder Protection System |  | 1 | Lot
1.1.12.15 | Nakonde-Isoka Feeder Protection System |  | 1 | Lot
1.1.12.16 | 132kV Line Feeders IEC61850 compliant Bay Control Units |  | 2 | Each
1.1.12.17 | 132kV Bus-Coupler IEC61850 compliant Bay Control Unit |  | 1 | Each
1.1.12.18 | Complete 330kV and 132kV Busbar Protection systems fully equipped with protection IED’s 18 bay input, panel wiring and all associated auxiliary equipment. |  | 2 | Lot
1.1.12.19 | Service Protection Laptop PC with all necessary softwares installed, configuration files, commissioning test files, and As- Built soft copy drawings (incl. O&M manuals) |  | 4 | Each
1.1.12.20.1 | Complete 330kV, 132kV and 11kV bays metering system panels for all bays including test blocks, terminal blocks and panel wiring. The meter type on the Tunduma 1&2 lines at Nakonde Stepdown shall be Microstar P2000-T or compatible equivalent to match with the meter type at Tunduma Substation and shall include necessary interface to the existing Nakonde 1 & 2 energy meters at Tunduma Substation The meter type shall be Landis + Gyr (E880) or CEWE Prometer 540 or Microstar P2000-T or equivalent and IEC 61850 compliant (Two meters per bay) for all bays except for the Tunduma line bays. Power quality meter as Unipower 2210 or equivalent (One meter). |  | 1 | Lot
1.1.12.20.2 | Metering management system/HMI with software and hardware |  | 1 | Lot
1.1.12.21 | Maintenance and interrogating Software with laptop for both configuration of energy meters and the remote meter reading system. |  | 1 | Each
1.1.12.22 | Complete Substation WAMPACS |  | 1 | Lot
1.1.12.23 | One (1) distance protection relay as spare |  | 1 | Each
1.1.12.24 | Two (2) line differential protection relays as spare |  | 2 | Each
1.1.12.25 | One (1) reactor differential protection relay as spare |  | 1 | Each
1.1.12.26 | One (1) transformer differential protection relay as spare |  | 2 | Each
1.1.12.27.1 | Meter as CEWE Prometer 540 , Landis & Gyr, or Microstar P2000-T or equivalent as spare |  | 4 | Each
1.1.12.27.2 | Meter as Microstar P2000-T as spare |  | 2 | Each
1.1.12.28 | Power quality meter as Unipower 2210 or equivalent as spare |  | 4 | Each
1.1.12.29 | NR PCS-931S relays complete with optic fibre coms interface as spare |  | 2 | Each
1.1.12.30 | SCHNEIDER P543 relays complete with optic fibre coms interface as spare |  | 2 | Each
1.1.13 | Telecommunication - 330kV NAKONDE STEPDOWN SUBSTATION
1.1.13.1 | Optical Transport Network (OTN) equipment with 4 directions with accessories |  | 1 | Lot
1.1.13.2 | 10G & 100G Packet Transport Network (PTN) equipment complete. |  | 1 | Lot
1.1.13.3 | ZTE PCM P230 for data and voice communication |  | 1 | Lot
1.1.13.4 | Synchronous Digital Hierarchy (SDH) STM-64, with accessories |  | 2 | Lot
1.1.13.5 | Fox615 SDH multiplexer STM-16 |  | 1 | Lot
1.1.13.6 | Alcatel PABX with accessories |  | 1 | Lot
1.1.13.7 | Alcatel PABX corporate wide networking license for digital trunk communication |  | 1 | Lot
1.1.13.8 | Analog telephone handsets with display |  | 20 | Each
1.1.13.9 | Analog telephone handsets without display |  | 20 | Each
1.1.13.10 | Digital telephone handsets |  | 20 | Each
1.1.13.11 | IP trunk license for VOIP |  | 60 | Each
1.1.13.12 | Patch cords LC/UPC-LC/UPC Single Mode for complete installation |  | 1 | Lot
1.1.13.13 | Patch cords FC/UPC-FC/UPC Single Mode for complete installation |  | 1 | Lot
1.1.13.14 | Patch cords SC/UPC-LC/UPC Single Mode for complete installation |  | 1 | Lot
1.1.13.15 | Patch cords SC/UPC-FC/UPC Single Mode for complete installation |  | 1 | Lot
1.1.13.16 | Patch cords SC/UPC-SC/UPC Single Mode for complete installation |  | 1 | Lot
1.1.13.17 | SFPs(PTN) electrical type (10/100/1000M, RJ45) |  | 20 | Each
1.1.13.18 | Laptops (processor shall have Intel core i9 or better CPU, 1TB HDD, 16GB RAM) |  | 6 | Each
1.1.13.19 | Optical splicing machine with accessiors (90S or higher version) |  | 2 | Each
1.1.13.20 | Optical powermeter |  | 4 | Each
1.1.13.21 | Optical Time Domain Reflectometer (OTDR) |  | 2 | Each
1.1.13.22 | OTN analyser |  | 2 | Each
1.1.13.23 | Optical visiual fault locater |  | 4 | Each
1.1.13.24 | Optical light source |  | 4 | Each
1.1.13.25 | Auxillary Power System (Charger, inveters Batteries) |  | 1 | Lot
1.1.13.26 | Free stand alone airconditiong unit 48000 BTU |  | 2 | Each
1.1.13.27 | Mandatory spares for SDH, PCM, IP-PABX, Power supply equipment, OTN and PTN as follows:
1.1.13.27.1 | EOBAH 2424 |  | 2 | Each
1.1.13.27.2 | EONA 3120 |  | 2 | Each
1.1.13.27.3 | SEOBA 2220 |  | 2 | Each
1.1.13.27.4 | CSF |  | 3 | Each
1.1.13.27.5 | SEE card with optical interface |  | 3 | Each
1.1.13.27.6 | SEE card with electrical interface |  | 3 | Each
1.1.13.27.7 | ENCP |  | 2 | Each
1.1.13.27.8 | OL64 * 2 ports |  | 2 | Each
1.1.13.27.9 | OL16 * 4 ports |  | 2 | Each
1.1.13.27.10 | OPGW, 48 fibres (ITU-T G.652D) |  | 5000 | m
1.1.13.27.11 | ADSS cable, 48 fibres (ITU-T G.652D) |  | 4000 | m
1.1.13.27.12 | PABX power board |  | 1 | each
1.1.13.27.13 | PABX processor board |  | 1 | each
1.1.13.27.14 | ODU 40C |  | 3 | each
1.1.13.27.15 | OMU 40C |  | 3 | each
1.1.13.27.16 | WSUBM20D |  | 1 | each
1.1.13.27.17 | WASUBD9M8D |  | 1 | each
1.1.13.27.18 | WSUBA9P9D |  | 1 | each
1.1.13.27.19 | EOPM |  | 1 | each
1.1.13.27.20 | PDUB16 |  | 1 | each
1.1.13.27.21 | C1K |  | 2 | each
1.1.13.27.22 | C2K |  | 2 | each
1.1.13.27.23 | C4K |  | 2 | each
1.1.13.27.24 | L4K |  | 4 | each
1.1.13.27.25 | CESM1 |  | 1 | each
1.1.13.27.26 | SAMO2 |  | 1 | each
1.1.13.27.27 | LEDS1 |  | 1 | each
1.1.13.27.28 | TEPI1 |  | 1 | each
1.1.13.27.29 | OPIC1 |  | 1 | each
1.1.13.27.30 | LESU1 |  | 1 | each
1.1.13.27.31 | LEXI1 |  | 1 | each
1.1.13.27.32 | LEDE1 |  | 1 | each
1.1.13.27.33 | ETOP1 |  | 1 | each
1.1.13.27.34 | ELET1 |  | 1 | each
1.1.13.27.35 | E2K |  | 4 | each
1.1.13.27.36 | SDH Analyser |  | 2 | each
1.1.13.27.37 | Optical SFP ( 1.25G, 2.5G, 10G, 100G) |  | 20 | each
1.1.13.27.38 | Electrical SFP ( 1.25G) |  | 20 | each
1.1.13.27.39 | DRA_P（H14）+EONA2520 |  | 2 | each
1.1.14 | SAS
1.1.14.1 | GPS clock/time server complete with antenna accessories |  | 2 | Each
1.1.14.2 | Bay Control Units integration accessories |  | 1 | Lot
1.1.14.3 | Substation Automation System including redundant gateway servers and Redundant HMI servers. |  | 1 | Lot
1.1.14.4 | IEC61850 SAS LAN (Ethernet switches and cables) |  | 1 | Lot
1.1.14.5 | Common stations alarm panel complete with BCU |  | 1 | Lot
1.1.14.6 | (Deleted) |  | 0 | Lot
1.1.14.7 | DC to AC inverter panel complete with redundant inverters |  | 2 | Lot
1.1.14.8 | SAS Panels complete with HMI Server and Gateway in redundancy configuration |  | 2 | Each
1.1.14.9 | Operator Workstations in redundancy configuration |  | 2 | Each
1.1.14.10 | Engineering workstation (Desktop) |  | 1 | Lot
1.1.14.11 | Rugged Laptop (impact and water splash safe) computer pre-loaded with protection IED configuration software including all accessories for communication with the relays, meters and SAS with the following minimum Laptops with specs: Intel Core i7, Quad-core processor, 11th Generation, 2.9GHz. 32GB Ram (DDR4 SDRAM), 1TB SSD, Dedicated Graphics card (Minimum 2GB GDDR5), Windows 11 pro, Microsoft 365, 14-inch screen (Minimum resolution of 1920 x 1080) |  | 6 | Lot
1.1.14.12 | Bay Control Unit as spare |  | 2 | Each
1.1.14.13 | Binary input cards of the type installed in the BCU as spare |  | 2 | Each
1.1.14.14 | Binary output cards of the type installed in the BCU as spare |  | 2 | Each
1.1.14.15 | AC analogue input card of the type installed in the BCU as spare |  | 2 | Each
1.1.14.16 | Power supply module of the type installed in the BCU as spare |  | 2 | Each
1.1.14.17 | Ethernet switches of the type installed in the BCU as spare |  | 2 | Each
1.1.14.18 | Complete set of Operator work station (computer) of the type installed as spare |  | 1 | Set
1.1.14.19 | Complete gateway (computer) of the type installed as spare |  | 1 | Each
1.1.14.20 | Complete engineering workstation (computer) of the type installed as spare |  | 1 | Each
1.1.15 | Transformers
1.1.15.1 | Complete 330/(132)66/11kV Three-Phase 90/90/10 MVA ONAN/ONAF Power Transformer |  | 2 | Lot
1.1.15.3 | Fire Extinguisher 50kg |  | 6 | Each
1.1.15.4 | Sergi Fire Protection for the transformers or equivalent |  | 2 | Lot
1.1.15.5 | Sergi Fire Protection control system spares or equivalent:
1.1.15.5.1 | Red leds (Control Box) |  | 3 | Each
1.1.15.5.2 | Green leds (Control Box) |  | 10 | Each
1.1.15.5.3 | Pilot green light (TP Cabinet) |  | 2 | Each
1.1.15.5.4 | Pilot red light (TP Cabinet) |  | 2 | Each
1.1.15.5.5 | Relay 24 VDC |  | 5 | Each
1.1.15.5.6 | Set of Fuses |  | 2 | Lot
1.1.15.5.7 | Electrical Actuator |  | 2 | Each
1.1.15.5.8 | Rupture Disk |  | 1 | Each
1.1.15.5.9 | Shock Absorber |  | 1 | Each
1.1.15.5.10 | Gasket |  | 2 | Each
1.1.15.6 | 330kV transformer spares: |  | - | -
1.1.15.6.1 | 330kV bushing |  | 1 | Each
1.1.15.6.2 | Neutral bushing |  | 2 | Each
1.1.15.6.3 | Dehydrating breathers |  | 2 | Each
1.1.15.6.4 | Buchholz relays |  | 2 | Each
1.1.15.6.5 | Oil level indicator |  | 2 | Each
1.1.15.6.6 | Silica gel |  | 20 | kg
1.1.15.6.7 | Gasket sheets |  | 1 | Each
1.1.15.6.8 | Filled Gas cylinders for Sergi fire suppression systems or equivalent for transformers |  | 3 | Each
1.1.15.6.9 | Drums Of Transformer Oil (200l) as spare |  | 4 | Each
1.1.15.6.10 | Winding temperature indicator |  | 1 | Each
1.1.15.6.11 | Oil temperature indicator |  | 1 | Each
1.1.15.6.12 | Transformer Oil calibration equipment |  | 1 | Each
1.1.15.6.13 | Sound level meters |  | 3 | Each
1.1.15.7 | 500kVA 11/0.4kV Station Service Transformer |  | 2 | Lot
1.1.15.8.1 | 100KVA 33/0.4kV Transformer complete with Protection equipment (HT and LV fuses) and accessories for Housing Complex on a structure of H-pole configuration |  | 1 | Lot
1.1.15.8.2 | Aerial bundled conductor 7 spans (350m) |  | 1 | Lot
1.1.15.8.3 | 12m wooden poles for 7 spans (350m) and accessories |  | 1 | Lot
1.1.15.B230:B2529 | Kelman Online Dissolved Gas Analysis or equivalent |  | 2 | Lot
1.1.16 | Reactors
1.1.16.1 | 362/√3 kV 3х10MVAr Single-Phase ONAN Reactors complete with accessories |  | 3 | Lot
1.1.16.2 | 15kVAr Neutral Compensating Reactors |  | 2 | Lot
1.1.16.3 | Fire Extinguisher 50kg |  | 6 | Each
1.1.16.4 | Sergi Fire Protection or equivalent for the reactors (9х10MVAr+ 2x15kVAr) |  | 3 | Lot
1.1.16.5 | 330kV 10MVAr single phase reactor spares: |  | - | -
1.1.16.5.1 | 330kV bushing |  | 2 | Each
1.1.16.5.2 | Neutral bushing |  | 2 | Each
1.1.16.5.3 | Dehydrating breathers |  | 2 | Each
1.1.16.5.4 | Buchholz relays |  | 2 | Each
1.1.16.5.5 | Oil level indicator |  | 1 | Each
1.1.16.5.6 | Silica gel |  | 20 | kg
1.1.16.5.7 | Gasket sheets |  | 1 | Each
1.1.16.5.8 | Filled Gas cylinders for Sergi fire suppression systems or equivalent for reactors - (spare) |  | 4 | Each
1.1.16.6 | 362/√3 kV Single-Phase 10MVAr ONAN Reactor as spare |  | 1 | Each
1.1.17 | Junction boxes, terminal Boxes and Marshalling Kiosks
1.1.17.1 | Junction Boxes |  | 1 | Lot
1.1.17.2 | Terminal Boxes |  | 1 | Lot
1.1.17.3 | Marshalling Kiosk |  | 1 | Lot
1.1.17.4 | Splicing Box |  | 1 | Lot
1.1.17.5 | Outdoor Lighting Distribution Box |  | 1 | Lot
1.1.18 | 48V & 110V DC System
48V
1.1.18.1 | Battery Bank (1200AH) |  | 2 | Lot
1.1.18.2 | Battery Charger |  | 2 | Lot
1.1.18.3 | DC Cables |  | 1 | Lot
1.1.18.4 | AC Cables |  | 1 | Lot
1.1.18.5 | DC Distribution Panels |  | 1 | Lot
1.1.18.6 | AC Distribution Board |  | 1 | Lot
110V
1.1.18.7 | Battery Bank (800AH) |  | 2 | Lot
1.1.18.8 | Battery Charger |  | 2 | Lot
1.1.18.9 | DC Cables |  | 1 | Lot
1.1.18.10 | AC Cables |  | 1 | Lot
1.1.18.11 | DC Distribution Panels |  | 1 | Lot
1.1.18.12 | AC Distribution Board |  | 1 | Lot
1.1.18.13 | 110V DC, 800AH Station Battery as spare |  | 1 | Each
1.1.19 | 11kV Board
1.1.19.1 | Complete supply of metal clad indoor Air Insulated Switchgear (AIS) (Refer to E-330 kV Nakonde Stepdown Substation 11kV Aux SLD) |  | 1 | Lot
1.1.20 | 400V
1.1.20.1 | Complete supply of 400V board, metal clad indoor Air Insulated Switchgear (AIS) complete with feeder breakers. Refer to section 11.2 of Employers requirements |  | 1 | Lot
1.1.20.2 | Supply of 250kVA emergency Diesel generator |  | 1 | Lot
1.1.20.3 | 250kVA emergency Diesel generator spares: Filters, radiator, brushes |  | 1 | Lot
1.1.21 | Structural Steelwork 132kV & 330kV
1.1.21.1 | Post Insulator Structures |  | 1 | Lot
1.1.21.2 | Steel Support structures for equipment, gantries and busbar support structures |  | 1 | Lot
1.1.21.3 | Steel support structures for outdoor lighting |  | 1 | Lot
1.1.22 | Civil Works - Imported Materials
1.1.22.1 | Geotextiles for Substation Retaining Wall |  | 1 | Lot
1.1.22.2 | Waterproofing for Liquid Retaining Structures (i.e. Oil Holding Dam, Transformer/ Reactor/ NR Oil Containment, etc) - Waterstops and Sealants |  | 1 | Lot
1.1.22.3 | Galvanised Steel Internal Cable Trench Covers |  | 1 | Lot
1.1.22.4 | Perimeter fence and gates |  | 1 | Lot
1.1.22.5 | Safety fence and gates |  | 1 | Lot
1.1.22.6 | Boundary fence and gates |  | 1 | Lot
1.1.22.7 | Galvanised Steel Water Tank Stands (2x8m High) |  | 1 | Lot
1.1.22.8 | Galvanised Steel Grating (Oil Holding Dam, Transformer/ Reactor/ NR Oil Containment) |  | 1 | Lot
1.1.22.9 | 2 x Eyewash Station (Battery Rooms) |  | 1 | Lot
1.1.22.10 | Fire protection system for control buiding |  | 1 | Lot
1.1.22.11 | Surveillance and Access control |  | 1 | Lot
1.1.22.12 | Materials for External Access Road, 9m wide, (1.5km) (Asphalt) |  | 1 | Lot
1.1.22.13 | Air conditioning units (as per employer's requirements) |  | 1 | Lot
1.2. | KASAMA SUBSTATION
1.2.1 | Conductors
1.2.1.1 | AAC “Tarantula” or LKGG-600 Conductor |  | 1 | Lot
1.2.1.2 | ASCR “Bison” Conductor or LGJ 400/50 |  | 1 | Lot
1.2.1.3 | ACS 7/4.11 conductor |  | 1 | Lot
1.2.2 | ADSS
1.2.2.1 | 48-core ADSS non-metallic approach fibre cable with trunking |  | 1 | Lot
1.2.2.2 | ODF Cabinet (complete with 18 patch panels with 12 FC Connectors each) |  | 1 | Lot
1.2.3 | Circuit Breakers
1.2.3.1 | 330kV Single Phase Circuit Breakers complete with supporting structure |  | 12 | Each
1.2.4 | Disconnectors
1.2.4.1 | 330kV Three Phase Disconnector with supporting structure |  | 8 | Each
1.2.5 | Disconnectors with earth switch
1.2.5.1 | 330kV Three Phase Disconnector with Single Earth-switch complete with supporting structure |  | 4 | Each
1.2.6 | Post Insulators
1.2.6.1 | Post insulators complete with supporting structure |  | 2 | Lot
1.2.7 | Instrument Transformers
1.2.7.1 | 330kV Single Phase Current Transformer complete with supporting structure |  | 12 | Each
1.2.7.2 | 330kV Single Phase Capacitive Voltage Transformer complete with supporting structure |  | 6 | Each
1.2.8 | Surge Arrestors
1.2.8.1 | 330kV Single-Phase Surge Arrestor complete with supporting structure |  | 12 | Each
1.2.8.2 | 36kV Surge arresters (for neutrals of 3x10MVAr reactors to protect NCR against over-voltages) complete with supporting structures |  | 2 | Each
1.2.9 | Busbars & Clamps |  |  | Lot
1.2.9.1 | Clamps for AAC “Tarantula” or LGKK-600 Conductor |  | 1 | Lot
1.2.9.2 | Clamps for ASCR “Bison” Conductor or LGJ 400/50 |  | 1 | Lot
1.2.9.3 | Clamps for ACS 7/4.11 Conductor |  | 1 | Lot
1.2.9.4 | 330kV String Insulators |  | 1 | Lot
1.2.10 | Auxiliary Power and Control Cables
1.2.10.1 | 4 core x 2.5sqmm |  | 1 | lot
1.2.10.2 | 7 core x 2.5sqmm |  | 1 | lot
1.2.10.3 | 12 core x 2.5sqmm |  | 1 | lot
1.2.10.4 | 24 core x 2.5sqmm |  | 1 | lot
1.2.10.5 | 7 core x 1.5sqmm |  | 1 | lot
1.2.10.6 | 14 core x 1.5sqmm |  | 1 | lot
1.2.10.7 | 19 core x 1.5sqmm |  | 1 | lot
1.2.10.8 | 27 core x 1.5sqmm |  | 1 | lot
1.2.10.9 | 4 core x 4sqmm |  | 1 | lot
1.2.10.10 | 4 core x 6sqmm |  | 1 | lot
1.2.11 | Earthing and Lightning Protection |  | 1 | Lot
1.2.11.1 | Earthmat conductor (High conductivity hard-drawn bare Copper) |  | 1 | Lot
1.2.11.2 | Earthmat joints and connectors |  | 1 | Lot
1.2.11.3 | Thermowelding tools and connection kits |  | 1 | Lot
1.2.11.4 | Earth rods |  | 1 | Lot
1.2.12 | Protection and Control - Kasama S/S
1.2.12.1 | Main 1 - Line Current Differential protection panel fully equipped with protection IED, panel wiring, multifunction meters (MFM) and all associated auxiliary equipment complete with Line Backup Overcurrent & Earth Fault protection functions. Panel to also accommodate Main 2 and Backup |  | 2 | Lot
1.2.12.2 | Main 2 - Distance protection panel fully equipped with protection IED, panel wiring, multifunction meters (MFM) and all associated auxiliary equipment complete with Line Backup Overcurrent & Earth Fault protection IED. To be installed in Main 1 panel |  | 2 | Lot
1.2.12.3 | Reactor Differential protection panel fully equipped with protection IED’s, panel wiring and all associated auxiliary equipment complete with Line Backup Overcurrent & Earth Fault protection IED |  | 2 | Each
1.2.12.4 | Busbar Protection integration |  | 1 | Lot
1.2.12.5 | IEC 61850 Compliant Line Bay Control Units Complete with accessories |  | 2 | Lot
1.2.12.6 | Reactor Bay Control Units Complete with accessories |  | 2 | Lot
1.2.12.7 | Complete equipped Metering panel for both line and reactor, panel wiring, test blocks, terminals and all associated auxiliary equipment. The meter type shall be Landis + Gyr (E880) or CEWE Prometer 540 or equivalent and IEC 61850 compliant. Power quality meter as Unipower 2210 or equivalent . |  | 2 | Lot
1.2.12.8 | Ethernet switch for metering |  | 1 | Each
1.2.12.9 | Metering management system/HMI with software and hardware |  | 1 | Lot
1.2.12.10 | WAMPACS System |  | 1 | Lot
1.2.12.11 | Loose Main 1 - Line Current Differential protection relays as spare |  | 1 | Each
| Loose Main 2 - Distance protection relays as spare |  | 1 | Each
| Loose Line Backup Overcurrent & Earth Fault protection relays as spare |  | 1 | Each
1.2.12.12 | Loose Meter type Landis + Gyr (E880) or CEWE Prometer 540 or equivalent and IEC 61850 compliant as spare |  | 4 | Each
1.2.12.13 | Loose Power quality meter as Unipower 2210 or equivalent as spare |  | 2 | Each
1.2.13 | Telecommunication - Kasama S/S
1.2.13.1 | DWDM Optical Transport Networking (OTN) equipment with accessories and with subracks in three directions |  | 1 | Lot
1.2.13.2 | DWDM Optical Transport Networking (OTN) equipment as spare |  | 1 | Lot
1.2.13.3 | 10G & 100G Packet Transport Network (PTN) equipment |  | 1 | Lot
1.2.13.4 | ZTE PCM P230 for data and voice communication |  | 1 | Lot
1.2.13.5 | DDF, MDF cabinets |  | 1 | Lot
1.2.13.6 | Synchronous Digital Hierarchy (SDH) STM-64 with accessories |  | 1 | Lot
1.2.13.7 | Alcatel PABX with accessories |  | 1 | Lot
1.2.13.8 | Alcatel PABX corporate wide networking license for digital trunk communication |  | 1 | Lot
1.2.13.9 | Analog telephone handsets with display |  | 20 | each
1.2.13.10 | Analog telephone handsets without display |  | 20 | each
1.2.13.11 | Digital telephone handsets |  | 20 | each
1.2.13.12 | IP trunk license for VOIP |  | 60 | each
1.2.13.13 | Patch cords LC/UPC-LC/UPC Single Mode for complete installation |  | 1 | Lot
1.2.13.14 | Patch cords FC/UPC-FC/UPC Single Mode for complete installation |  | 1 | Lot
1.2.13.15 | Patch cords SC/UPC-LC/UPC Single Mode for complete installation |  | 1 | Lot
1.2.13.16 | Patch cords SC/UPC-FC/UPC Single Mode for complete installation |  | 1 | Lot
1.2.13.17 | Patch cords SC/UPC-SC/UPC Single Mode for complete installation |  | 1 | Lot
1.2.13.18 | SFPs electrical type(10/100/1000M, RJ45) |  | 20 | each
1.2.13.19 | Laptops (processor shall have Intel core i9 or better CPU, 1TB HDD, 16GB RAM) |  | 2 | each
1.2.13.20 | Optical splicing machine with accessiors (90S or higher version) |  | 2 | each
1.2.13.21 | Optical powermeter |  | 4 | each
1.2.13.22 | Optical Time Domain Reflectometer (OTDR) |  | 2 | each
1.2.13.23 | Optical visiual fault locater |  | 4 | each
1.2.13.24 | Optical light source |  | 4 | each
1.2.13.25 | Auxillary Power System (Charger, inveters Batteries) |  | 1 | Lot
1.2.13.26 | Free stand alone airconditiong unit 48000 BTU |  | 2 | each
1.2.13.27 | Telecom spares
1.2.13.28 | EOBAH 2424 |  | 2 | each
1.2.13.29 | EONA 3120 |  | 2 | each
1.2.13.30 | SEOBA 2220 |  | 2 | each
1.2.13.31 | CSF |  | 2 | each
1.2.13.32 | SEE card with optical interface |  | 2 | each
1.2.13.33 | SEE card with electrical interface |  | 2 | each
1.2.13.34 | ENCP |  | 2 | each
1.2.13.35 | OL64 * 2 ports |  | 2 | each
1.2.13.36 | OL16 * 4 ports |  | 2 | each
1.2.13.37 | OPGW |  | 5000 | meters
1.2.13.38 | ADSS |  | 4000 | meters
1.2.13.39 | PABX power board |  | 1 | each
1.2.13.40 | PABX processor board |  | 1 | each
1.2.13.41 | ODU 40C |  | 1 | each
1.2.13.42 | OMU 40C |  | 1 | each
1.2.13.43 | EOPM |  | 1 | each
1.2.13.44 | PDUB16 |  | 1 | each
1.2.13.45 | WSUBM20D |  | 1 | each
1.2.13.46 | WSUBD9M8D |  | 1 | each
1.2.13.47 | WSUBA9P9D |  | 1 | each
1.2.13.48 | C1K |  | 2 | each
1.2.13.49 | C2K |  | 2 | each
1.2.13.50 | C4K |  | 2 | each
1.2.13.51 | L4K |  | 2 | each
1.2.13.52 | SDH Analyser |  | 2 | each
1.2.13.53 | Optical SFPs ( 1.25G, 2.5G, 10G, 100G) |  | 20 | each
1.2.13.54 | Electrical SFP ( 1.25G) |  | 20 | each
1.2.13.55 | 8 x E2K x 10 ports board |  | 8 | each
1.2.13.56 | 8 x E2K x 20 ports board |  | 8 | each
1.2.13.57 | EONA1820(with VOA)+ DRA_B（H14） |  | 2 | each
1.2.14 | SAS - Kasama S/S
1.2.14.1 | SAS Ethernet Switch |  | 1 | Each
1.2.14.2 | GPS clock/time server complete with antenna accessories |  | 1 | Each
1.2.14.3 | Extension of existing SAS Ethernet LAN |  | 1 | Lot
1.2.14.4 | Equipment for Integration of new line and reactor bays into the existing upgraded SAS |  | 1 | Lot
1.2.14.5 | Bay Control Unit as spare |  | 2 | Each
1.2.14.6 | Binary input cards of the type installed in the BCU as spare |  | 2 | Each
1.2.14.7 | Binary output cards of the type installed in the BCU as spare |  | 2 | Each
1.2.14.8 | AC analogue input card of the type installed in the BCU as spare |  | 2 | Each
1.2.14.9 | Power supply module of the type installed in the BCU as spare |  | 2 | Each
1.2.14.10 | Ethernet switches of the type installed in the BCU as spare |  | 2 | Each
1.2.14.11 | Complete set of Operator work station (computer) of the type installed as spare |  | 1 | Each
1.2.14.12 | Complete gateway (computer) of the type installed as spare |  | 1 | Each
1.2.14.13 | Complete engineering workstation (computer) of the type installed as spare |  | 1 | Each
1.2.15 | Reactors - Kasama S/S
1.2.15.1 | 362/√3 kV 3х10MVAr Single-Phase ONAN Reactors complete with accessories |  | 2 | Lot
1.2.15.2 | 15kVAr Neutral Compensating Reactors complete with accessories |  | 2 | Lot
1.2.15.3 | Fire Extinguisher 50kg |  | 2 | Each
1.2.15.4 | Sergi Fire Protection for reactor or equivalent |  | 2 | Each
1.2.15.5 | Sergi Fire Protection control system spares or equivalent:
1.2.15.5.1 | Red leds (Control Box) |  | 3 | Each
1.2.15.5.2 | Green leds (Control Box) |  | 10 | Each
1.2.15.5.3 | Pilot green light (TP Cabinet) |  | 2 | Each
1.2.15.5.4 | Pilot red light (TP Cabinet) |  | 2 | Each
1.2.15.5.5 | Relay 24 VDC |  | 5 | Each
1.2.15.5.6 | Set of Fuses |  | 2 | Lot
1.2.15.5.7 | Electrical Actuator |  | 2 | Each
1.2.15.5.8 | Rupture Disk |  | 1 | Each
1.2.15.5.9 | Shock Absorber |  | 1 | Each
1.2.15.5.10 | Gasket |  | 2 | Each
1.2.16 | Junction boxes, terminal Boxes and Marshalling Kiosks - Kasama S/S
1.2.16.1 | Junction Boxes |  | 1 | Lot
1.2.16.2 | Terminal Boxes |  | 1 | Lot
1.2.16.3 | Marshalling Kiosk |  | 1 | Lot
1.2.16.4 | Splicing Box |  | 1 | Lot
1.2.17 | Structural Steelwork - Kasama S/S
1.2.17.1 | Steel Support structures for equipment, gantries and busbar |  | 1 | Lot
1.2.18 | Miscellaneous - Kasama S/S
1.2.18.1 | (Deleted) |  | 0 | Each
1.2.18.2 | Relay Room Air conditioners Floor Standing |  | 5 | Each
1.2.18.3 | Surveillance and Control System |  | 1 | Lot
1.2.19 | Civil Works - Imported Materials
1.2.19.1 | Fixtures and finishes for Control building as per employer's requirements |  | 1 | Lot
1.3 | Employer’s Project Management
1.3.1 | Executive Chairs |  | 10 | Each
1.3.2 | Double door 541L upright Refrigerator |  | 3 | Each
1.3.3 | Filing Cabinets |  | 4 | Each
1.3.4 | Tables |  | 5 | Each
1.3.5 | Circuit Breaker Gas Filling Kits And Test Equipment |  | 3 | Sets
1.3.6 | Programma TM1800 Circuit Breaker Analyser System complete with CABA software, USB communication interface and transducers for motion, vibration, timing, contact resistance and DRM |  | 2 | Each
1.3.7 | Insulation Resistance Tester - up to 15kV |  | 6 | Each
1.3.8 | Earth Resistance Tester - accuracy from 0.1 ohms to not less than 2000 ohms |  | 6 | Each
1.3.9 | COMPROTware Testtool (Protocol Analyzer) |  | 1 | Lot
1.3.10 | SAS Integration Demo Kit complete with IEDs and Client |  | 1 | Lot
1.3.11 | Omicron StationScout IEC61850 Simulation and Testing tool for Substation Automation Systems (Complete with IEDScout IEC61850 Simulation and Testing tool for IEDs) |  | 2 | Lot
1.3.12 | 100kV, Oil dielectric breakdown tester |  | 3 | Each
1.3.13 | Micro Ohm (low resistance) Tester for Switchgear – DUCTOR or similar |  | 3 | Each
1.3.14 | Mechanical and electrical tool box complete |  | 10 | Each
1.3.15 | CMC 500 Secondary injection test set Full package |  | 2 | Each
1.3.16 | Vacuum pump of adequate capacity for transformer insulation drying and oil filling |  | 1 | Each
1.3.17 | Oil pump and hoses, with a flow rate of at least1.3 l/s (for oil filling of power transformers), should be portable and electrically operated |  | 3 | Each
1.3.18 | Transformer oil filtration streamliner, with a capacity of at least 5000 l/hr, complete with hoses and adapters. |  | 1 | Each
1.3.19 | CT Analyser equipment |  | 2 | Each
1.3.20 | SFRA Analyser |  | 1 | Each
1.3.21 | SF6 Gas Leakage Detector |  | 2 | Each
1.3.22 | CPC 100Transformer Analyzer |  | 2 | Each
1.3.23 | Handheld GPS type Garmin, or similar. |  | 5 | Each
1.3.24 | COMPROTware Testtool (Protocol Analyzer) |  | 1 | Each
1.3.25 | (Deleted) |  | 0 | Each
1.3.26 | GROUNDING STICKS SET : Type screw type contact clamp; Suitable conductor diameter 5mm - 60 mm; Maximum current capacity 23.9kA |  | 1 | Lot
1.3.27 | High Precision portable meter test set with voltage and current source complete with software and user license |  | 1 | Each
1.3.28 | Desk top computers for Nakonde Substation |  | 3 | Each
1.3.29 | Laptop for AutoCAD 2026: Intel Core Ultra-series or AMD Ryzen 9 (9000 series or later) for high-performance multitasking, with a dedicated GPU, such as NVIDIA RTX 5070/5080/5090 or AMD Radeon Pro RX 8000 series, a minimum of 16GB RAM, Solid State Drive (SSD) minimum 1TB, high-resolution display with a minimum resolution of 1920 x 1080 (Full HD) , 64-bit Windows 11 or 10 version , adequate ports, including USB 3.X and Type-C |  | 2 | Each
TOTAL (to Schedule No. 5. Grand Summary)
1 Bidders shall enter a code representing the country of origin of all imported plant and equipment.
2 Specify currency. Create and use as many columns for Unit Price and Total Price as there are currencies.
Name of Bidder: _________________
Signature of Bidder: __________________

## Sch 2 Local mtrl
Schedule no 2 - Plant and Mandatory Spare Parts Supplied from Within the Employer's Country
Item | Description | Qty. | Unit | Unit Price2 |  |  | Total Price
Schedule no 2 - Plant and Mandatory Spare Parts Supplied from Within the Employer's Country
Schedule No. 2 is not applicable for this Contract. No Plant or Mandatory Spare Parts are required to be supplied from within the Employer’s Country. Bidders shall not add line items under this Schedule. Bidders shall enter ‘N/A’ and ‘0.00’ for this Schedule (including the Total line) and carry ‘0.00’ to Schedule No. 5 (Grand Summary).
Item | Description | Qty. | Unit | Unit Price2 |  | Total Price2
|  |  |  | Unit Price2 (EXW, Zambia) |  | Sales and other taxes payable per line item if Contract is awarded (in accordance with ITB 17.5 (b) (ii)
|  | 1) |  | Currency | 2) | 3) | ((1) x (2)+(3))
TOTAL (to Schedule No. 5. Grand Summary)
2 Specify currency in accordance with specifications in Bid Data Sheet under ITB 18.1
Name of Bidder: _________________
Signature of Bidder: __________________

## Sch 3 Design
Schedule no 3 - Design Services
Item No. | Description | Estimated Quantity | Unit | Local Currency | Local Currency Portion | Foreign Currency (e.g. EUR or USD or ZAR, etc) | Foreign Currency Portion | Total Price Local Portion for Estimated Quantity | Total Price Foreign Portion for Estimated Quantity
|  | 1) |  |  | 2) |  | (3) Optional | (1) x (2) | (1) x (3)
3.1. | 330kV NAKONDE STEPDOWN SUBSTATION
3.1.1 | Geotechnical Survey | 1 | Lot
3.1.2 | Insulation Coordination | 1 | Lot
3.1.3 | Switching Studies for neutral reactor sizing (Nakonde and Kasama) | 1 | Lot
3.1.4 | Conceptual designs | 1 | Lot
3.1.5 | General Arrangement & Elevation Drawings for the 330kV Substation (overview and various sections) | 1 | Lot
3.1.6 | Design for Protection and Control Panels (Metering and Telecommunication included) | 1 | Lot
3.1.7 | WAMPACS studies and design | 1 | Lot
3.1.8 | Cable Block Diagram and Cable Termination schedule | 1 | Lot
3.1.9 | Protection and control Wiring Diagram | 1 | Lot
3.1.10 | Topographical Survey | 1 | Lot
3.1.11 | Civil Bulk Works Design (water, sewerage, earthworks, foundations, structural, earth retaining structures, roads/pavements, stormwater, etc). | 1 | Lot
3.1.12 | Structural steelwork designs | 1 | Lot
3.1.13 | Earthing and lightning protection Calculation and Designs | 1 | Lot
3.1.14 | Surveillance and Access Control Design | 1 | Lot
3.1.15 | SAS design | 1 | Lot
3.2 | KASAMA SUBSTATION
3.2.1 | Geotechnical Survey | 1 | Lot
3.2.2 | Insulation Coordination | 1 | Lot
3.2.3 | WAMPACS studies and design | 1 | Lot
3.2.4 | Conceptual designs | 1 | Lot
3.2.5 | General Arrangement & Elevation Drawings for 330kV Substation extension | 1 | Lot
3.2.6 | Design for Protection and Control Panels (Metering and Telecommunication included) | 1 | Lot
3.2.7 | Cable Block Diagram and Cable Termination schedule | 1 | Lot
3.2.8 | Update all secondary system affected by the new 330kV line bays and the upgrade of SAS, Energy Meters, Telecom equipment, auxiliary power etc. | 1 | Lot
3.2.9 | Topographical Survey | 1 | Lot
3.2.10 | Civil Bulk Works Design (water, sewerage, earthworks, foundations, structural, earth retaining structures, roads/pavements, stormwater, etc). | 1 | Lot
3.2.11 | Structural steelwork designs | 1 | Lot
3.2.12 | Earthing and lightning protection Calculation and Designs | 1 | Lot
3.2.13 | SAS integration design | 1 | Lot
3.2.14 | Surveillance and Access Control Design
3.2.15 | Control Building Refurbishment Design | 1 | Lot
TOTAL (to Schedule No. 5. Grand Summary)
Name of Bidder: _________________
Signature of Bidder: __________________

## Sch 4 Installation
Schedule no 4 - Installation and Other Services
| Item No | Description | Estimated Quantity | Unit | Foreign Currency(e.g. EUR or USD or ZAR, etc) | Foreign Currency Portion | Local Currency (ZMW) | Local Currency Portion | Total Foreign Currency Price for Estimated Quantity | Total Local Currency Price for Estimated Quantity
|  |  | 1) |  |  | 2) |  | 3) | (1) x (2) | (1) x (3)
| 4.0 | Preliminary and General
| 4.0.1 | Site Mobilization | 1 | Lot
| 4.0.2 | Contract Insurance, Stautory Regulation Requirements, Labour Act Requirements and Professional Registrations. | 1 | Lot
| 4.0.3 | Contractor’s accommodation, transport, offices and other facilities; including that of Consultant and Employer as per employer’s requirements with furnishing | 1 | Lot
| 4.0.4 | Employer's Housing (complete works)
| 4.0.4.1 | Three (3) 150 m2 Units | 1 | Lot
| 4.0.4.2 | Three (3) Type B Units | 1 | Lot
| 4.0.4.3 | Electrical Reticulation (inclusive of distribution box and mcb installation, wiring, and installlation of fittings and fixtures). | 1 | Lot
| 4.0.4.4 | One fully equipped borehole and four 5,000L tanks on 8m stand (to supply staff houses and guard house) including a pump room/ enclosure, all piping, connectors and water level sensors (inclusive of water quality testing) | 1 | Lot
| 4.0.4.5 | Residential wastewater drainage system including septic tank, leachpit/ soakaway, piping and manholes. | 1 | Lot
| 4.0.4.6 | Provide storm water drainage system at staff housing area to terminate at designated discharge point. | 1 | Lot
| 4.0.4.7 | Supply and install 80mm interlocking paving bricks for the yard including all layer works, edge restraints as per specification | 1 | Lot
| 4.0.5 | Site Establishment | 1 | Lot
| 4.0.6 | Site Demobilization | 1 | Lot
| 4.0.7 | Water, electricity and builders supply | 1 | Lot
CC | 4.0.8 | Provisional amount for services rendered by a specialist on request or instruction by the Employer or Consultant (equivalent of USD 50, 000.00). | 1 | Lot
| 4.1. | 330kV NAKONDE STEPDOWN SUBSTATION
| 4.1.1 | Preliminary and General
| 4.1.1.1 | (Deleted) | 0 | Lot
| 4.1.1.2 | Clearing of staff housing surface, excavations, sloping & back-filling, levelling, compacting, etc. | 1 | Lot
| 4.1.1.3 | (Deleted) | 0 | Lot
| 4.1.1.4 | (Deleted) | 0 | Lot
| 4.1.1.5 | Cable channels | 1 | Lot
| 4.1.1.6 | (Deleted) | 0 | Lot
| 4.1.1.7 | Staff housing fencing (1.5m high diamond mesh - substation standard) and gates | 1 | Lot
| 4.1.2 | Conductors
| 4.1.2.1 | AAC “Tarantula” or LGKK-600 Conductor | 1 | Lot
| 4.1.2.2 | ASCR “Bison” Conductor or LGJ 400/50 | 1 | Lot
| 4.1.2.3 | ACS 7/4.11 Conductor | 1 | Lot
| 4.1.2.3 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.1.3 | OFC Approach Cable
| 4.1.3.1. | 48-core ADSS non-metallic approach fibre cable with trunking | 1 | Lot
| 4.1.3.2. | 12 FC patch pane | 1 | Lot
| 4.1.3.3. | FC-LC patch cords | 1 | Lot
| 4.1.3.4. | Factory Acceptance Tests | 1 | Lot
| 4.1.3.5. | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.1.4 | Circuit Breakers
| 4.1.4.1 | 330kV Circuit Breaker complete with support structures | 1 | Lot
| 4.1.4.2 | 132kV Circuit Breaker complete with support structures | 1 | Lot
| 4.1.4.3 | 132kV and 330kV Factory Acceptance Testing | 1 | Lot
| 4.1.4.4 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.1.5 | Disconnectors
| 4.1.5.1 | 330kV Disconnector complete with support structures | 1 | Lot
| 4.1.5.2 | 132kV Disconnector complete with support structures | 1 | Lot
| 4.1.5.3 | 330kV Line disconnect switch, Motor Operated complete with supporting structures as spare | 1 | Set
| 4.1.5.4 | 132kV and 330kV Factory Acceptance Testing | 1 | Lot
| 4.1.5.5 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.1.6 | Disconnectors with Earth Switch
| 4.1.6.1 | 330kV Disconnectors with Earth switch and support structures | 1 | Lot
| 4.1.6.3 | 132/66kV Disconnectors with Earth switch and support structures | 1 | Lot
| 4.1.6.4 | 132kV and 330kV Factory Acceptance Testing | 1 | Lot
| 4.1.6.5 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.1.7 | Instrument Transformers
| 4.1.7.1 | 330kV Current Transformers (7-core) and support structrues | 1 | Lot
| 4.1.7.2 | 330kV Capacitive Voltage Transformers and support structrues | 1 | Lot
| 4.1.7.3 | 132kV Current Transformers(CT) complete with support structures | 1 | Lot
| 4.1.7.4 | 132-66kV Capacitor Voltage Transformers (CVT) complete with support structures | 1 | Lot
| 4.1.7.5 | 66kV, 132kV and 330kV Factory Acceptance tests | 1 | Lot
| 4.1.7.6 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.1.8 | Surge Arrestors
| 4.1.8.1. | 330kV Surge Arrestors and support structures | 1 | Lot
| 4.1.8.2. | 66kV Surge Arrestors and support structures | 1 | Lot
| 4.1.8.3. | Surge Arrestors sized to protect NCR against over-voltages, incl. support structures | 1 | Lot
| 4.1.8.4. | 66kV and 330kV Factory Acceptance Testing | 1 | Lot
| 4.1.8.5. | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.1.9 | Busbars, Clamps and Insulators
| 4.1.9.1 | Clamps for AAC “Tarantula” or LGKK-600 Conductor | 1 | Lot
| 4.1.9.2 | Clamps for ASCR “Bison” Conductor or LGJ 400/50 | 1 | Lot
| 4.1.9.3 | Clamps for ACS 7/4.11 Conductor | 1 | Lot
| 4.1.9.4 | 330kV Post Insulators complete with support structures | 1 | Lot
| 4.1.9.5 | 330kV String Insulators | 1 | Lot
| 4.1.9.6 | 132kV Post Insulators complete with support structures | 1 | Lot
| 4.1.9.7 | 132kV String Insulators | 1 | Lot
| 4.1.9.8 | 132kV and 330kV Factory Acceptance Testing | 1 | Lot
| 4.1.9.9 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.1.10 | Auxiliary Power & Control Cables
| 4.1.10.1. | 4 core x 2.5sqmm | 1 | Lot
| 4.1.10.2. | 7 core x 2.5sqmm | 1 | Lot
| 4.1.10.3. | 12 core x 2.5sqmm | 1 | Lot
| 4.1.10.4. | 24 core x 2.5sqmm | 1 | Lot
| 4.1.10.5. | 4 core X 25sqmm | 1 | Lot
| 4.1.10.6. | 7 core x 1.5sqmm | 1 | Lot
| 4.1.10.7. | 14 core x 1,5sqmm | 1 | Lot
| 4.1.10.8. | 19 core x 1,5sqmm | 1 | Lot
| 4.1.10.9. | 27 core x 1.5sqmm | 1 | Lot
| 4.1.10.10. | 4 core X 4sqmm | 1 | Lot
| 4.1.10.11. | 4 core X 6sqmm | 1 | Lot
| 4.1.10.12. | 4 core x 10sqmm | 1 | Lot
| 4.1.10.13. | 4 core x 25sqmm | 1 | Lot
| 4.1.10.14. | 4 core x 50sqmm | 1 | Lot
| 4.1.10.15. | 4 core x 185sqmm | 1 | Lot
| 4.1.10.16. | 11kV XLPE Power Cable 3x70 mm2 Cu conductor, incl. Cable Terminations | 2 | Lot
| 4.1.10.17. | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.1.11 | Earthing and Lightning Protection
| 4.1.11.1 | Earthmat conductor (High conductivity hard-drawn bare Copper) | 1 | Lot
| 4.1.11.2 | Earthmat joints and connectors | 1 | Lot
| 4.1.11.3 | Earth rods | 1 | Lot
| 4.1.11.4 | Lightning Masts | 1 | Lot
| 4.1.11.5 | Thermowelding tools and connection kits | 1 | Lot
| 4.1.11.6 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.1.12 | Secondary Equipment - Nakonde
| 4.1.12.1. | Protection system
| 4.1.12.1.1 | Factory Acceptance Testing | 1 | Lot
| 4.1.12.1.2 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.1.12.2. | Metering system
| 4.1.12.2.1 | Factory Acceptance Testing | 1 | Lot
| 4.1.12.2.2 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.1.12.3. | WAMPACS system
| 4.1.12.3.1 | Factory Acceptance Testing | 1 | Lot
| 4.1.12.3.2 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.1.12.4. | Telecommunication systems
| 4.1.12.4.1 | Factory Acceptance Testing | 1 | Lot
| 4.1.12.4.2 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.1.12.5. | SAS system
| 4.1.12.5.1 | Factory Acceptance Testing | 1 | Lot
| 4.1.12.5.2 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.1.12.6. | AVR system
| 4.1.12.6.1 | Factory Acceptance Testing | 1 | Lot
| 4.1.12.6.2 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.1.12.7. | Stand-alone 330kV and (132)66kV Disturbance Fault Recorders
| 4.1.12.7.1 | Factory Acceptance Testing | 1 | Lot
| 4.1.12.7.2 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.1.12.8. | Surveillance and Access Control Systems
| 4.1.12.8.1 | Factory Acceptance Testing | 1 | Lot
| 4.1.12.8.2 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.1.12.9.1 | End-to-End teleprotection signalling tests for the 330kV Nakonde-Kasama, 400kV Nakonde-Tunduma, 132kV Nakonde-Nakonde town and 132kV Nakonde-Isoka lines | 1 | Lot
| 4.1.12.9.2 | Loop back teleprotection tests at Nakonde Substation for the 330kV Nakonde-Kasama, 400kV Nakonde-Tunduma, 132kV Nakonde-Nakonde town and 132kV Nakonde-Isoka lines. | 1 | Lot
| 4.1.13 | Telecommunications Primary Equipment - Nakonde
| 4.1.13.1. | Optical Fibre LinkSupply of optical fibre approach cables(ADSS) from the gantries on the Nakonde-Kasama 330kV bay, Nakonde-Tunduma 330kV bay, Nakonde-Isoka 66kV bay and New Nakonde-Old Nakonde 66kV bay at Nakonde substation to the telecoms equipment room. | 1 | Lot
| 4.1.14 | Transformers
| 4.1.14.1 | Complete 330/(132)66/11kV Three-Phase 90/90/10 MVA ONAN/ONAF Power Transformer | 2 | Lot
| 4.1.14.2 | Kelman Online Dissolved Gas Analysis or equivalent | 2 | Lot
| 4.1.14.3 | Fire Extinguisher 50kg | 2 | Lot
| 4.1.14.4.1 | 100KVA 33/0.4kV Transformer complete with Protection equipment (HT and LV fuses) and accessories for Housing Complex on a structure of H-pole configuration | 1 | Lot
| 4.1.14.4.2 | Aerial bundled conductor 7 spans (350m) | 1 | Lot
| 4.1.14.4.3 | 12m wooden poles for 7 spans (350m) and accessories | 1 | Lot
| 4.1.14.5 | 500kVA 11/0.4kV Station Service Transformer | 2 | Lot
| 4.1.14.6 | Sergi Fire Protection for Transformers or equivalent | 2 | Lot
| 4.1.14.7 | Factory Acceptance tests - Power Transformers | 2 | Lot
| 4.1.14.8 | Factory Acceptance tests - Sergi Fire Protection or equivalent | 2 | Lot
| 4.1.14.9 | All Transformer Bays Installation, Site Acceptance Test and Commissioning | 4 | Lot
| 4.1.15 | Reactors |  | Lot
| 4.1.15.1. | 330kV Reactors | 3 | Lot
| 4.1.15.2. | Neutral Compensating Reactors | 2 | Lot
| 4.1.15.3. | Fire Extinguisher 50kg | 3 | Lot
| 4.1.15.4. | Sergi Fire Protection for Reactors or equivalent | 3 | Lot
| 4.1.15.5. | Factory Acceptance tests
| 4.1.15.5.1 | Factory Acceptance tests - Reactors | 3 | Lot
| 4.1.15.5.2 | Factory Acceptance tests - NCR | 2 | Lot
| 4.1.15.5.3 | Factory Acceptance tests - Sergi Fire Protection or equivalent | 3 | Lot
| 4.1.15.6. | All Reactor Bays Installation, Site Acceptance Test and Commissioning | 3 | Lot
| 4.1.16 | All Station Junction boxes, terminal Boxes and Marshalling Kiosks
| 4.1.16.1 | Junction Boxes | 1 | Lot
| 4.1.16.2 | Terminal Boxes | 1 | Lot
| 4.1.16.3 | Marshalling Kiosk | 1 | Lot
| 4.1.16.4 | Outdoor Lighting Distribution Box | 1 | Lot
| 4.1.16.5 | Factory Acceptance Testing | 1 | Lot
| 4.1.16.6 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.1.17 | DC System
48V
| 4.1.17.1 | Battery Bank (1200AH) | 2 | Lot
| 4.1.17.2 | Battery Charger | 2 | Lot
| 4.1.17.3 | DC Cables | 1 | Lot
| 4.1.17.4 | AC Cables | 1 | Lot
| 4.1.17.5 | DC Distribution Panels | 1 | Lot
| 4.1.17.6 | AC Distribution Board | 1 | Lot
| 4.1.17.7 | Factory Acceptance Testing | 2 | Lot
| 4.1.17.8 | Installation, Site Acceptance Test and Commissioning | 2 | Lot
110V
| 4.1.17.9 | Battery Bank (800AH) | 2 | Lot
| 4.1.17.10 | Battery Charger | 2 | Lot
| 4.1.17.11 | DC Cables | 1 | Lot
| 4.1.17.12 | AC Cables | 1 | Lot
| 4.1.17.13 | DC Distribution Panels | 1 | Lot
| 4.1.17.14 | AC Distribution Board | 1 | Lot
| 4.1.17.15 | Factory Acceptance Testing | 2 | Lot
| 4.1.17.16 | Installation, Site Acceptance Test and Commissioning | 2 | Lot
| 4.1.18 | All Station Structural Steelwork
| 4.1.18.1. | Surge Arrester Structures | 1 | Lot
| 4.1.18.2. | Capacitive Voltage Transformer Structures | 1 | Lot
| 4.1.18.3. | Current Transformer (7-core) Structures | 1 | Lot
| 4.1.18.4. | Disconnector Structures | 1 | Lot
| 4.1.18.5. | Post Insulator Structures | 1 | Lot
| 4.1.18.6. | Steel Support structures for equipment, gantries and busbar | 1 | Lot
| 4.1.18.7. | Steel support structures for outdoor lighting | 1 | Lot
| 4.1.19 | All Project Civil Works including Material (the pricing shall be deemed inclusive for either option)
CC | 4.1.19.1 | Bulk Earthworks for Platform/ Terrace (Stepped or single platform) Construction
CC | 4.1.19.1.1 | Bush Clearing | 160000 | m2
CC | 4.1.19.1.2 | Remove all vegetation, topsoil and rubble (up to 300mm below NGL) and dump at an approved site | 1 | Lot
CC | 4.1.19.1.3 | Break (i.e. by way of hole drilling, blasting, chemical breaking, mechanical breaking, e.t.c.) and remove rock outcrops to required design level and dump at an approved site of at least 30km | 1 | Lot
CC | 4.1.19.1.4 | Cut to fill (and level to design grade) | 1 | Lot
CC | 4.1.19.1.5 | Import Material - G5 Gravel | 1 | Lot
CC | 4.1.19.1.6 | Backfill and compact imported G5 material in 150mm layers to 95% (to achieve min. CBR = 50%) | 1 | Lot
CC | 4.1.19.1.7 | Refer to Drawing F and C105 Option 1 (stepped): Construct reinforced concrete cantilever retaining wall between upper and lower terraces (complete with geotextile, weepholes, storm water drainage channels, safety barriers, signage, and stairs) Option 2 (Single platform): Construct a single terrace platform (complete with geotextile, weepholes, storm water drainage channels, safety barriers and signage) comprising of slope protection on both the cut face and the embankment | 1 | Lot
CC | 4.1.19.2 | Storm Water Management
CC | 4.1.19.2.1 | Provide temporary storm water drainage system for construction period. | 1 | Lot
CC | 4.1.19.2.2 | Provide permanent storm water drainage system on and around the substation terrace, including a berm on the upper side of the terrace. To terminate at designated discharge point.
CC | 4.1.19.2.3 | - Reinforced concrete channels (internal) | 1 | Lot
CC | 4.1.19.2.4 | - Reinforced concrete trapezoidal channels (external) | 1 | Lot
CC | 4.1.19.2.5 | - Reinforced concrete inspection chambers | 1 | Lot
CC | 4.1.19.2.6 | - 900mm Precast concrete culverts and head/wing walls | 1 | Lot
CC | 4.1.19.3 | Roadways and Pavements
CC | 4.1.19.3.1 | 200mm thick by 6m wide heavy duty reinforced concrete road (complete with street lighting kerbing, road markings, signage, and storm water drainage channels). [Allow for lane widening for lay-bys.]
CC | 4.1.19.3.1.1 | - Internal Access Road | 1.8 | km
CC | 4.1.19.3.1.2 | - External Access Road | 0.2 | km
CC | 4.1.19.3.1.3 | - External access road (from gate 02 to proposed asphalt road, via staff housing area) | 1.5 | km
CC | 4.1.19.3.2 | 200mm thick reinforced concrete internal pavement (between access road and around control buildng) | 1500 | m2
CC | 4.1.19.3.3 | 300mm Thick Reinforced Concrete Slipway (around transformers and reactors) | 1 | Lot
CC | 4.1.19.3.4 | Supply and install 80mm interlocking paving bricks for the yard including all layer works, edge restraints as per specification | 1000 | m2
CC | 4.1.19.3.5 | Construct 9m wide (7m-main carriageway + 2m-shoulders) asphalt road from the main road complete with drainage on both sides. (This shall include street lighting, road markings, kerbing, reinforced concrete stormwater drainage channels & culverts, road markings, and any other road furniture required by the Road Development Agency.) | 1.8 | km
CC | 4.1.19.4 | Switchyard Works
CC | 4.1.19.4.1 | Construction of Reinforced Concrete Outdoor Cable Trenches
CC | 4.1.19.4.2 | - Trench Channels | 1 | Lot
CC | 4.1.19.4.3 | - Covers | 1 | Lot
CC | 4.1.19.4.4 | - Galvanised steel brackets (wall mounted) | 1 | Lot
CC | 4.1.19.4.5 | - Galvanised steel trays (floor mounted) | 1 | Lot
CC | 4.1.19.4.6 | - Cable Trench ramp (building interface) | 1 | Lot
CC | 4.1.19.4.7 | - Cable duct bank (under roads and pavements) | 1 | Lot
CC | 4.1.19.4.8 | - Drainage | 1 | Lot
CC | 4.1.19.4.9 | - Pull pits/ manholes | 1 | Lot
CC | 4.1.19.4.10 | 200mm Concrete Piping for cable sleeves | 1 | Lot
CC | 4.1.19.4.11 | Construct Firewalls (between transformers and reactors) | 1 | Lot
CC | 4.1.19.4.12 | Oil Containment System With Sumps, Manholes, Precast Concrete Pipes, Oil/Water Separator And Oil Holding Dam | 1 | Lot
CC | 4.1.19.4.13 | Sensing And Pumping System For Oil Containment System Including Sensors, Piping, Pumping Equipment And Electrical Installation With Control Box And Cabling | 1 | Lot
| 4.1.19.4.14 | Bund walls around Transformers Complete with rectangular galvinized steel grid all around the transformer (and crushed stone cover) | 1 | Lot
| 4.1.19.4.15 | Bund walls around Reactors Complete with rectangular galvinized steel grid all around the reactor(and crushed stone cover) | 1 | Lot
| 4.1.19.4.16 | Complete Installation of primary plant equipment foundations, lighting mast and gantry foundations, and busbar support foundations | 1 | Lot
| 4.1.19.4.17 | Complete installation of all steel support structures for equipment, lighting masts, gantries and busbar | 1 | Lot
| 4.1.19.5 | Fencing
| 4.1.19.5.1 | Substation Security Fencing (complete with main sliding gates, pedestrian gates, 600mm dia. Concertina razor wire, and reinforced concrete anti-dig barrier) | 1 | Lot
| 4.1.19.5.2 | Substation (Inner) Safety Fencing (inclusive of double-leaf gates, removable panels, and pedestrian gates) | 1 | Lot
| 4.1.19.5.3 | Property Boundary Fencing (inclusive of double-leaf gates and pedestrian gates) | 1 | Lot
| 4.1.19.5.4 | Install kerbing around substation fence | 1 | Lot
| 4.1.19.6 | Landscaping and Yard Cover
| 4.1.19.6.1 | Herbicide treatment of platform/ terrace (prior to stone coverage) | 1 | Lot
| 4.1.19.6.2 | Supply and install Crushed Stone Ground Cover (graded to Employer's Requirements) | 1 | Lot
CC | 4.1.19.6.3 | Supply and install of rubble masonry/ stone pitch paving on embankment anchored at base where embankment is higher than 1m (complete with geotextiles, weepholes, upper and lower (external) concrete stormwater drainage channels, and (internal) pipe drains) | 1 | Lot
CC | 4.1.19.6.4 | Seeding of embankment with indigenous grass where embankment is lower than 1m | 1 | Lot
CC | 4.1.19.6.5 | Insecticide treatment of excavated building trenches and backfill. | 1 | Lot
CC | 4.1.19.6.6 | Supply and Install External Lighting and Illumination for the Substation (inclusive of cable laying, earthing, and testing),
CC | 4.1.19.6.6.1 | - Foundations for outdoor light fitting support structures | 1 | Lot
CC | 4.1.19.6.6.2 | - Wall mounted lighting (on buildings) | 1 | Lot
CC | 4.1.19.6.6.3 | - Pole mounted lighting (street lights) | 1 | Lot
CC | 4.1.19.6.6.4 | - Mast mounted lighting (in switchyard) | 1 | Lot
CC | 4.1.19.7 | Substation Buildings
CC | 4.1.19.7.1 | Control Building (including plumbing, foundations, walls, floors, roof, concrete ceiling, gutters, final finishes, furnishing, cable racking, and cable trench covers) | 1 | Lot
CC | 4.1.19.7.2 | Two (02) Guard Houses (complete with furnishing, as per Employer's Requirements) | 1 | Lot
CC | 4.1.19.7.3 | Shelter for emergency diesel generator (as per Employer's Requirements) | 1 | Lot
| 4.1.19.7.4 | Shelter for oil drums (as per Employer's Requirements) | 1 | Lot
CC | 4.1.19.8 | Substation Facilities | 1 | Lot
CC | 4.1.19.8.1 | 120 liter wheeled plastic bins marked Paper and Cardboard, Plastic, Metal and General Waste | 4 | Each
CC | 4.1.19.8.2 | One fully equipped borehole and two 5,000L tanks on 8m stand (to supply substation buildings) including a pump room/ enclosure, all piping, connectors and water level sensors (inclusive of water quality testing) | 1 | Lot
CC | 4.1.19.8.3 | Substation wastewater drainage system including septic tank, leachpit/ soakaway, piping and manholes. | 1 | Lot
CC | 4.1.19.8.4 | Provide substation utilities - Room signage/ labels, Notice board, White board, First aid kit, Danger notices, Primary equipment lables, Operating and maintenance manuals, Mounted single line diagram, Durable frame for emergency numbers, Key box, Wall mounted console desk for logbook | 1 | Lot
CC | 4.1.19.8.5 | Covered parking 3m wide, 11m long, 2.4m high (03 vehicles) | 1 | Lot
CC | 4.1.19.8.6 | Un-covered parking 40m wide, 50m long | 1 | Lot
| 4.1.19.9 | Quality Control for Civil Works
CC | 4.1.19.9.1 | Compaction Testing (at required frequency, as per the Employer's Requirements) | 1 | Lot
CC | 4.1.19.9.2 | Concrete Cube Testing (at required frequency, as per the Employer's Requirements) | 1 | Lot
CC | 4.1.19.9.3 | Materials Testing - Burrow Pit (Gravel) | 1 | Lot
CC | 4.1.19.9.4 | Materials Testing - Quarry (Yard Stone) | 1 | Lot
CC | 4.1.19.9.5 | Materials Testing - Concrete Mix Design | 1 | Lot
CC | 4.1.19.9.6 | Materials Testing - Concrete Mix Design (inclusive of aggregates) | 1 | Lot
CC | 4.1.19.9.7 | Materials Testing - Asphalt Design Mix | 1 | Lot
| 4.1.19.9.8 | (Deleted) | 0 | Lot
| 4.2. | KASAMA 330 KV SUBSTATION
| 4.2.1 | Preliminary and General
| 4.2.1.1 | Excavations, decommissioning, dismantling, removal and disposal of all existing redundant material and equipment | 1 | Lot
| 4.2.1.2. | Identify, and if required, relocate any visible and buried services | 1 | Lot
| 4.2.1.3. | Identify, and demarcate safe area to work | 1 | Lot
| 4.2.1.4. | Remove, and packaging of any decommissioned secondary equipment and auxiliary equipment | 1 | Lot
| 4.2.1.5. | Remove, and packaging of any decommissioned primary equipment | 1 | Lot
| 4.2.1.6. | Temporary barricading/fencing | 1 | Lot
| 4.2.2 | Conductors
| 4.2.2.1. | AAC “Tarantula” or LGKK-600 Conductor | 1 | Lot
| 4.2.2.2. | ASCR “Bison” Conductor or LGJ 400/50 | 1 | Lot
| 4.2.2.3. | ACS 7/4.11 Conductor | 1 | Lot
| 4.2.2.4. | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.2.3 | OFC Approach Cable
| 4.2.3.1. | 48-core ADSS non-metallic approach fibre cable with trunking | 1 | Lot
| 4.2.3.2. | 12 FC patch pane | 1 | Lot
| 4.2.3.3. | FC-LC patch cords | 1 | Lot
| 4.2.3.5. | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.2.4 | Circuit Breakers
| 4.2.4.1. | 330kV Circuit Breakers With supporting structure | 1 | Lot
| 4.2.4.2. | Factory Acceptance Test | 1 | Lot
| 4.2.4.2. | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.2.5 | Disconnectors
| 4.2.5.1. | 330kV Disconnectors | 1 | Lot
| 4.2.5.2. | Factory Acceptance Testing | 1 | Lot
| 4.2.5.3. | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.2.6 | Disconnector with Earth switch
| 4.2.6.1. | 330kV Disconnectors with Earth switch | 1 | Lot
| 4.2.6.2. | Factory Acceptance Testing | 1 | Lot
| 4.2.6.3. | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.2.7 | Instrument Transformers
| 4.2.7.1. | 330kV Current Transformers (7-core) | 1 | Lot
| 4.2.7.2. | 330kV Capacitive Voltage Transformers | 1 | Lot
| 4.2.7.3. | Factory Acceptance Test | 1 | Lot
| 4.2.7.4. | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.2.8 | Surge Arrestors
| 4.2.8.1. | 330kV Surge Arrestors | 1 | Lot
| 4.2.8.2. | Single Phase Surge arrestors sized to protect NCR from over voltage | 1 | Lot
| 4.2.8.3. | Factory Acceptance Testing | 1 | Lot
| 4.2.8.4. | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.2.9 | Busbars, Clamps & Insulators
| 4.2.9.1. | Clamps for AAC “Tarantula” or LGKK-600 Conductor | 1 | Lot
| 4.2.9.2. | Clamps for ASCR “Bison” Conductor or LGJ 400/50 | 1 | Lot
| 4.2.9.3. | Clamps for ACS 7/4.11 Conductor | 1 | Lot
| 4.2.9.3. | 330kV Single Phase Post Insulators | 1 | Lot
| 4.2.9.4. | 330kV String Insulators | 1 | Lot
| 4.2.9.5. | Factory Acceptance Testing | 1 | Lot
| 4.2.9.6. | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.2.10 | Auxiliary Power & Control Cables
| 4.2.10.1. | 4core x 2.5sqmm | 1 | Lot
| 4.2.10.2. | 7core x 2.5sqmm | 1 | Lot
| 4.2.10.3. | 12core x 2.5sqmm | 1 | Lot
| 4.2.10.4. | 24core x 2.5sqmm | 1 | Lot
| 4.2.10.5. | 27 core x 1.5sqmm | 1 | Lot
| 4.2.10.6. | 4 core x 4sqmm | 1 | Lot
| 4.2.10.7. | 4 core x 25sqmm | 1 | Lot
| 4.2.10.8. | 4 core x 6sqmm | 1 | Lot
| 4.2.10.10. | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.2.11 | Earthing and Lightning Protection
| 4.2.11.1 | Earthmat conductor (High conductivity hard-drawn bare Copper) | 1 | Lot
| 4.2.11.2 | Earth rods | 1 | Lot
| 4.2.11.3 | Earthmat joints and connectors | 1 | Lot
| 4.2.11.4 | Thermowelding tools and connection kits | 1 | Lot
| 4.2.11.5 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.2.12 | Secondary Equipment - Kasama
| 4.2.12.1. | Protection system
| 4.2.12.1.1 | Factory Acceptance Testing | 1 | Lot
| 4.2.12.1.2 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.2.12.2. | Metering system
| 4.2.12.2.1 | Factory Acceptance Testing | 1 | Lot
| 4.2.12.2.2 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.2.12.3. | WAMPACS system
| 4.2.12.3.1 | Factory Acceptance Testing | 1 | Lot
| 4.2.12.3.2 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.2.12.4. | Telecommunication systems
| 4.2.12.4.1 | Factory Acceptance Testing | 1 | Lot
| 4.2.12.4.2 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.2.12.5. | SAS system
| 4.2.12.5.1 | Factory Acceptance Testing | 1 | Lot
| 4.2.12.5.2 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.2.13 | Telecommunication - Kasama
| 4.2.13.1 | Optical Fibre LinkSupply of optical fibre approach cables(ADSS) from the gantries on the Nakonde-Kasama | 1 | Lot
| 4.2.14 | Reactors
| 4.2.14.1 | 330kV Reactors | 2 | Lot
| 4.2.14.2 | Neutral Compensating Reactors | 2 | Lot
| 4.2.14.3 | Fire Extinguisher 50kg | 2 | Lot
| 4.2.14.4 | Sergi Fire Protection for Reactors or equivalent | 2 | Lot
| 4.2.14.5 | Factory Acceptance tests
| 4.2.14.6 | Factory Acceptance tests - Reactors | 2 | Lot
| 4.2.14.7 | Factory Acceptance tests - NCR | 2 | Lot
| 4.2.14.8 | Factory Acceptance tests - Sergi Fire Protection or equivalent | 2 | Lot
| 4.2.14.9 | All Reactor Bays Installation, Site Acceptance Test and Commissioning | 2 | Lot
| 4.2.16 | All Station Junction boxes, terminal Boxes and Marshalling Kiosks
| 4.2.16.1. | Junction Boxes | 1 | Lot
| 4.2.16.2. | Terminal Boxes | 1 | Lot
| 4.2.16.3. | Marsahling Kiosk | 1 | Lot
| 4.2.16.4. | Splicing Box | 1 | Lot
| 4.2.16.5. | Outdoor Lighting Distribution Box | 1 | Lot
| 4.2.16.7. | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.2.17 | DC System
48V
| 4.2.17.1 | Integration into existing 48V DC system | 2 | Lot
| 4.2.17.2 | Installation, Site Acceptance Test and Commissioning | 2 | Lot
110V
| 4.2.17.3 | Integration into existing 110V DC system | 2 | Lot
| 4.2.17.4 | Installation, Site Acceptance Test and Commissioning | 2 | Lot
| 4.2.18 | All Station Structural Steelwork
| 4.2.18.1. | Steel Support structures for equipment, gantries and busbar | 1 | Lot
| 4.2.18.2. | Substation Fencing | 1 | Lot
| 4.2.18.3. | 330kV Surge Arrestors structures | 1 | Lot
| 4.2.18.4. | 330kV Three Phase Disconnector | 1 | Lot
| 4.2.18.5. | 330kV Current Transformers structures | 1 | Lot
| 4.2.18.6. | 330kV Capacitive Voltage Transformer structures | 1 | Lot
| 4.2.18.7. | 330kV Post Insulator Structures | 1 | Lot
| 4.2.18.8. | Floodlights | 1 | Lot
| 4.2.18.9. | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.2.19. | Civil Works
| 4.2.19.1. | Clearance of the working area, leveling , cuttting and backfilling | 1 | Lot
| 4.2.19.2. | Complete Installation of primary plant equipment foundations, gantry foundations and busbar support foundations | 1 | Lot
| 4.2.19.3. | Complete installation of all steel support structures for equipment, gantries and busbar | 1 | Lot
| 4.2.19.4 | Levelling, compaction with slope suitable for drainage and installation of yard stone over the surface affected by the works | 1 | Lot
| 4.2.19.5 | Insecticide Treatment etc. | 1 | Lot
| 4.2.19.6 | Construct control cable trenches for new equipment | 1 | Lot
| 4.2.19.7 | Fire and bund Walls | 1 | Lot
| 4.2.19.8 | Trenches and Conduits | 1 | Lot
| 4.2.19.9 | Junction Boxes Foundations | 1 | Lot
| 4.2.19.10 | Terminal Boxes Foundations | 1 | Lot
| 4.2.19.11 | Marshalling Kiok Foundations | 1 | Lot
| 4.2.19.12 | All Drainage including subsurface and surface( Yard, perimeter, trenches, etc) | 1 | Lot
| 4.2.19.13 | (Deleted) | 0 | Lot
| 4.2.19.14 | Design, Supply and Install Substation Lighting (inclusive of cable laying, earthing, and testing | 1 | Lot
| 4.2.19.15 | Design, Supply and In-stall Perimeter Lighting (inclusive of cable laying, earthing, and testing | 1 | Lot
| 4.2.19.16 | Yardstone | 1 | Lot
| 4.2.19.17 | Oil Dam Construction, incl. Piping | 1 | Lot
| 4.2.19.18 | Decommissioning of existing water tank complete with the tank stand. Supply and installation of a new 10000litre tank, tank stand and accessories for a fully working water reticulation | 1 | Lot
| 4.2.19.19 | Control building works as per employer's requirements | 1 | Lot
| 4.2.20. | Surveillance and Access Control Systems
| 4.2.20.1 | Installation, Site Acceptance Test and Commissioning | 1 | Lot
| 4.3. | MISCELLANEOUS
| 4.3.1 | C-ESMP impacts mitigations and enhancement costs | 1 | Lot
| 4.3.2 | Contractor’s costs related to implementation of the SEP, LMP and ESCP. | 1 | Lot
| 4.3.3 | Engagement of external GBV service provider as per section 5.2.4 of the ESMP. | 1 | Lot
| 4.3.4 | Preparation of a GBV management plan including Development and printing of posters on GBV/SEAH, HIV/AIDS and empowerment of targeted citizens (including employment quotas) in English and translated into relevant local language(s) to be displayed at all work sites and project-affected communities as per ESMP requirements. | 1 | Lot
| 4.3.5 | Development and implementation of specific management plans as per ESMP requirements | 1 | Lot
| 4.4. | Employer’s Project Management
| 4.4.1 | Equipment familiarization training – Reactors and Transformers: 6 staff, includes local travel. Minimum 14 days. | 1 | Lot
| 4.4.2 | Equipment familiarization training – Protection system: 6 staff, includes local travel. Minimum 14 days. | 1 | Lot
| 4.4.3 | Training in configuring Energy Meters and the Energy Management System, fault finding and maintenance of three (3) Metering Engineers for fourteen (14) days • Undertanding IEC 61850 standard • Metering communication systems • Substation automation of metering systems • Configuration and integration • Testing and conformance • Change management (Software configuration/multi vendor environment management) | 1 | Lot
| 4.4.4 | Hands on SAS Configuration Training: 6 staff, includes local travel. Minimum 4 weeks. | 1 | Lot
| 4.4.5 | Training in WAMPACS System; 4 staff, includes local travel. Minimum 14 days. | 1 | Lot
| 4.4.6 | Training in Stand-alone 330kV and (132)66kV Disturbance Fault Recorders, 4 staff, includes local travel. Minimum 14 days. | 1 | Lot
| 4.4.7 | Training in Omicron StationScout IEC61850 Simulation, Testing and commissioining tool for Substation Automation Systems for 6 staff for minmum 14 working days | 1 | Lot
| 4.4.8 | Equipment familiarization training – HV Switchgear (circuit breakers and disconnectors): 4 staff, includes local travel. Minimum 14 days. | 1 | Lot
| 4.4.9 | High Precision portable meter test set with voltage and current source complete with software and user license | 1 | Lot
| 4.4.10 | Telecoms Training; | 1 | Lot
| 4.4.10.1 | 4 staff, 15 working days Training OTN | 1 | Lot
| 4.4.10.2 | 4 staff, 15 working days Training PTN | 1 | Lot
| 4.4.10.3 | 4 staff, 10 working days SDH and PCM training | 1 | Lot
| 4.4.10.4 | 4 staff, 15 working days Training PABX | 1 | Lot
| 4.4.10.5 | 4 staff, 10 working days, Power and Battery Charger Solutions Training | 1 | Lot
| 4.4.10.6 | 4 staff, 15 working days Training FOX 615 | 1 | Lot
| 4.4.10.7 | 4 staff, 10 working days Training OPGW and ADSS fundamental and splicing techniqes | 1 | Lot
| 4.4.11 | Local Training
| 4.4.11.1 | On-the-job training throughout the implementation of the project | 1 | Lot
| 4.4.11.2 | Equipment familiarization training – Protection system/metering: 6 staff, Minimum 14 days | 1 | Lot
| 4.4.11.3 | CCTV System Training for 10 ZESCO Engineers for 10 days | 1 | Lot
| 4.4.11.4 | Access Control System Training for 10 ZESCO Engineers for 10 days | 1 | Lot
| 4.4.11.5 | Security Operator (End User) Training for 20 trainees for 10 days | 1 | Lot
| 4.4.11.6 | Training in maintenance of the Metering system at the substation and the Power quality Software of three (3) Metering Engineers for 5 days | 1 | Lot
| 4.4.11.7 | Site-specific training shall be provided by the Contractor after successful commissioning of the control system for 15 ZESCO engineers, technicians and maintenance personnel for 4 weeks | 1 | Lot
| 4.4.11.8 | SFRA Training, 4 staff, Minimum 7 days | 1 | Lot
TOTAL (to Schedule No. 5. Grand Summary)
Name of Bidder: _________________
Signature of Bidder: __________________

## Sch 5 Total
Schedule 5 - Grand Summary
Item | Description | Total Price1
|  | Foreign | Local
Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad
Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country
Total Schedule No. 3. Design Services
Total Schedule No. 4. Installation and Other Services
GRAND TOTAL (To Letter of Bid)
Name of Bidder: _________________
Signature of Bidder: __________________
1Specify currency in accordance with ITB 18. Create and use as many columns for Foreign Currency requirement as there are foreign currencies

## Sch 6 Rec spares
Schedule 6 - Recommended Spare Parts
Item | Description | Qty. | Unit Price |  | Total Price
|  |  | CIF or CIP | EXW
|  |  | (foreign parts) | (local parts)
|  | 1 | 2 | 3 | (1) x (2) or(3)
TOTAL (to Schedule No. 5. Grand Summary)
Name of Bidder: _________________
Signature of Bidder: __________________

## Sch 7 - Dayworks Rates
SCHEDULE No. 7 - Dayworks Rates (Not for Evaluation)
7 | DAYWORK RATES | QTY | UOM | UNIT RATE
7.1 | Standard Excavations (in dry soil) | m³
7.2 | Rock Excavations:Mechanical | m³
7.3 | Rock Excavations: Blasting - Chemical (Inclusive of all blasting consumables, safeguards, drilling, etc) | m³
7.4 | Rock Excavations: Blasting - Explosives (Inclusive of all blasting consumables, safeguards, drilling, etc) | m³
7.5 | Non-Standard Excavations: (Submerged soil) | m³
7.6
7.7
7.8
7.9
7.10
7.11
7.12
7.13
7.14
7.15
7.16
7.17
7.18
7.19
Name of Bidder: _________________
Signature of Bidder: __________________

## Price Adjustment
Price Adjustment
If price adjustment applies in accordance with ITB 17.9, the Bidder shall indicate the sources of indices and source of exchnage rate (if applicable) and the base date indices in its Bid.
Item | Source of Indices | Base date Indices | Source of exchange rate (if applicable)
Name of Bidder: _________________
Signature of Bidder: __________________