BIDDING DOCUMENT

__________________________________

TENDER FOR ENGINEERING, PROCUREMENT AND CONSTRUCTION (EPC) WORKS OF COPPERBELT NETWORK REINFORCEMENT PROJECT (LOT A) - TENDER NO. ZESCO/002/2024 - ZESCO LIMITED

ZESCO Limited

Stand Number 6949

Great East Road

P. O Box 33304

Lusaka, Zambia

Tel: 260 211 223971

Fax: 260 211 223971

Part 4: Price Schedules

JANUARY 2024

Contents

1 PREAMBLE	8

2 DAYWORK	9

3 PLACES OF DELIVERY	11

4 CURRENCIES	12

5 ABBREVIATIONS	12

6 330kV SUBSTATIONS	14

6. 330kV and 132kV Lines	679

6.1 330kV Luano - Chingola Double Circuit Line	679

6.2 330kV Luano – Chingola – Kansanshi Loop in Loop out single circuit  line	716

6.3 132kV double circuit line from Chingola to Refractory substation	750

6.4 132kV Double circuit line from Chingola 330/132/33kV substation to Nchanga 132/33/11kV substation	775

6.5 132kV XLPE cable for two circuit from Refractory substation to Nchanga substation	801

6.6 Double circuit line from Chingola substation to Kabundi substation	802

6.7 Double circuit line from Chambishi East 330/132/66kV substation to Kabundi 132/33/11kV substation	831

6.8 132kV double circuit line from Chingola 330/132/33kV substation to Chililabombwe 132/33/11kV substation	860

6.9 132kV double circuit line from Kabundi 132/33/11kV substation to Kakoso 132/33/11kV substation	889

6.10 132kV double circuit line from Chililabombwe 132/33/11kV substation to Kakoso 132/33/11kV substation	918

6.11 132kV double circuit line from Mwambashi 132/33kV substation to Kalulushi 132/33/11kV substation	947

6.12 132kV double circuit line from Chambishi East 330/132/66kV substation to Mwambashi 132/33kV substation	976

6.13 132kV double circuit line from Chambishi East 330/132/66kV substation to Mufulira 132/33kV substation	1005

6.14 132kV New Kitwe 132/33/11kV substation to Mufulira 132/33kV substation	1034

6.15 132kV double circuit tower from Chingola 330/132/33kV substation to Lufwanyama 132/33kV substation	1063

7 33kV LINES	1092

7.1 Chingola - Lulamba 33kV	1092

7.2 Kabundi - Mulonga 33kV line	1100

7.3 Mulonga - Fitobaula 33kV line	1107

7.4 Chililabombwe – Chililabombwe North Double Circuit 33kV Line	1115

7.5 Chililabombwe – Chililabombwe Central Double Circuit 33kV	1123

7.6 Chililabombwe – Kakoso Double Circuit 33kV	1131

7.7 Chililabombwe North – Chililabombwe Central Double Circuit 33kV	1139

7.8 Chililabombwe North – Kasumbalesa Double Circuit 33kV	1147

7.9 Chililabombwe North – Kawama Double Circuit 33kV Line	1155

7.10 Kawama – Kakoso Double Circuit 33kV Line	1163

7.11 Kakoso – Fitobaula Double Circuit 33kV Line Price	1171

7.12 New Kitwe – Mwambashi Double Circuit 33kV line	1179

7.13 New Kitwe – Nkana East Double Circuit 33kV Line	1187

7.14 Nkana East - Luangwa Double Circuit 33kV Line	1195

7.15 Luangwa – Nkana Mine Double Circuit 33kV line	1202

7.16 Mwambashi – New Chimwemwe Double Circuit 33kV line	1210

7.17 New Chimwemwe – New Scaw Double Circuit 33kV line	1218

7.18 Kalulushi – New Scaw Double Circuit 33kV line	1226

7.19 Kalulushi Airport – Luswishi T Double Circuit 33kV line	1234

7.20 Kalulushi Airport – Nkana Mine Double Circuit 33kV line	1242

7.21 Kalulushi Airport – Lwamisamba Double Circuit 33kV line	1250

7.22 Lwamisamba – Chibuluma Double Circuit 33kV line	1258

7.23 Lwamisamba – Kalulushi Double Circuit 33kV line	1266

7.24 Kalulushi – Nkana Mine Double Circuit 33kV line	1274

7.25 Kalulushi – Kalulushi North 33kV line	1282

7.26 Mufulira – New Chambishi Primary 33kV line	1290

7.27 Mufulira - Musonda 33kV line	1298

7.28 New Chambishi Primary - Musonda 33kV line	1306

7.29 Musonda - Nsato 33kV line	1314

7.30 Mufulira - Kafironda 33kV line	1322

7.31 Mufulira - Ndeke Double Circuit 33kV line	1330

7.32 Mufulira – Mufulira West Double Circuit 33kV line	1338

7.33 Mufulira West - Ndeke Double Circuit 33kV line	1346

7.34 Mufulira West - Nsato 33kV line	1354

7.35 Ndeke - Mokambo 33kV line	1362

7.36 Lufwanyama - Funda Double Circuit 33kV line	1370

7.37 Funda – Luswishi Farm Block 33kV line	1378

7.38 33kV Lines Total Costs	1388

8 11kV Feeders	1394

8.1 Kabundi 11kV Feeders	1394

8.2 Nchanga 11kV Feeders	1403

8.3 Refractory 11kV Feeders	1411

8.4 Fitobaula 11kV Feeders	1421

8.5 Kasumbalesa 11kV Feeders	1430

8.6 Kawama 11kV Feeders	1439

8.7 Kakoso 11kV Feeders	1448

8.8 Chililabombwe North 11kV Feeders	1457

8.9 Chililabombwe 11kV Feeders	1466

8.10 Chimwemwe 11kV Feeders	1475

8.11 New Scaw 11kV Feeders	1484

8.12 Luangwa 11kV Feeders	1493

8.13 Nkana Mine 11kV Feeders	1502

8.14 New Kitwe 11kV Feeders	1511

8.15 Kalulushi 11kV Feeders	1520

8.16 Lwamisamba 11kV Feeders	1529

8.17 Kalulushi Airport 11kV Feeders	1538

8.18 Kalulushi North 11kV Feeders	1547

8.19 3.3kV Network in Kalulushi 11kV Feeders	1556

8.20 Kankoyo, Sub 94 & Muf West 11kV Feeders	1565

8.21 Mufulira Substation [Power plant] 11kV Feeders	1574

8.22 11kV FEEDERS – TOTALS	1583

Kawama 11kV Feeders	1583

Kakoso 11kV Feeders	1583

Chililabombwe North 11kV Feeders	1583

Chililabombwe 11kV Feeders	1584

Kankoyo, Sub 94 & Muf West 11kV Feeders	1585

9 SCHEDULE 6: PRELIMINARY AND GENERAL	1585

10 SCHEDULE 7: PROJECT MANAGEMENT	1587

11 SCHEDULE 8: PROJECT MANDATORY SPARES LIST	1590

12 SCHEDULE 9:GRAND TOTAL	1600

# PREAMBLE

This preamble shall apply to all Price Schedules unless shown otherwise. The Price Schedules shall be read in conjunction with the Conditions of Contract, the technical specifications, the drawings and other contract documents.

The number, quantities and measurements set out in the Price Schedules are approximate and their accuracy or inaccuracy shall in no way affect the validity of the Bid or any contract based thereon.  The total amount of each item set out in the Price Schedules at the rate or price inserted by the Bidder shall be stated, but these figures are required solely for the purpose of assessment and shall not be deemed to be the actual sums which shall be paid to the Contractor for the execution of the works.  The sum to be paid to the Contractor shall (subject to the provisions of the Conditions of Contract) be determined by measuring the work done in accordance with the Contract and valuing it at the rates and prices inserted by the Bidder in the Price Schedules.

The rates and prices entered in the Price Schedules shall except insofar as is otherwise provided under the Contract be deemed to cover all obligations as set out in the Contract, and all matters necessary for the proper completion and maintenance of the Works. A price or rate is to be entered against each item in the Price Schedules.  Items against which no price is entered shall be deemed to be covered by the other prices or rates in the Price Schedules.

Provisional Sums, if any, shall be expended in whole or in part only at the direction and discretion of the Project Manager.

The works as executed will be measured for payment in accordance with the above method. The net measurement or weight of the finished work in place will always be taken except where otherwise stated. All thicknesses stated are minimum finished thicknesses.

Unless otherwise shown on the Drawings all lengths and distances shall be measured horizontally, and all depths and layer thickness shall be measured vertically. The average-end-area method shall be used in computing volumes of excavation and filling.

Any work performed more than the requirements of the plans and specifications, such as overdepth excavation, wastes and cutting etc., will not be measured and paid for, unless ordered in writing by the Project Manager.

The brief descriptions of the items given in the Price Schedules are purely for the purpose of identification and in no way modify or supersede the detailed descriptions given in the Conditions of Contract, scope of work and supply or Specifications.  When pricing items, reference is to be made to the Conditions of Contract and Specifications for the full descriptions of work and materials. Prices quoted under Preliminary and General shall cover all costs arising from whatever cause of carrying out the work and complying with the Conditions of Contract, Specifications and other Contract Documents for which there is no specific item elsewhere in the Price Schedules.

No claims shall be entertained upon misunderstanding or misinterpretation of the Contract Documents.  If the Contractor is uncertain as to the meaning, he shall contact the Project Manager to satisfy himself, before submitting his Bid.

The Employer shall not be precluded or estopped by any measurements, estimate or certificate made either before or after the completion and by acceptance of the work and by payment therefore from showing the true amount and character of the work performed and materials furnished by the Contractor, nor from showing that any such measurement, estimate or certificate is untrue or is incorrectly made, nor that work or materials do not in fact conform to the Contract.

The Employer shall not be precluded or estopped notwithstanding any such measurements, estimate or certificate and payment in accordance therewith from recovering from the Contractor or his sureties or both such damage as he may sustain by reason of the Contractor’s failure to comply with the terms of the Contract.

Neither the acceptance by the Project Manager or by his Representative, nor any payment for or acceptance of the whole or any part of the work, nor any extension of time, nor any possession taken by the Project Manager shall operate as a waiver on any portion of the Contract or of any power herein reserved or any right to damages.

“Authorised”, “Directed” or “Approved” shall mean the authority, direction or approval by the Project Manager.

# DAYWORK

  - Work shall  be executed on a daywork basis by written order of the Project Manager.  Bidders shall enter basic rates for daywork items in the Price Schedules provided.  The rates shall apply to any quantity of daywork ordered by the Project Manager.  Nominal quantities have been indicated against each item of daywork, and the extended total for daywork shall be carried forward to the Summary Total Bid Amount.  Unless otherwise adjusted, payments for daywork shall be subject to price adjustment in accordance with the provisions in the Conditions of Contract.

In calculating payments due to the Contractor for the execution of dayworks, working time will be calculated in days.  Only the time of classes of labour directly doing work ordered by the Project Manager and for which they are competent will be measured.

The Contractor shall be entitled to payment in respect of the total time that labour is employed on daywork, calculated at the rates entered by him under the relevant items in the Price Schedules for Dayworks and together with the Contractor’s profit, overheads, etc., as described below:

(The rates for labour and construction shall cover all direct costs to the Contractor, including (but not limited to) the amount of wages paid to such labour, transportation time, overtime, subsistence allowances, and any sums paid to or on behalf of such labour for social benefits.

Additional payment to be included in the item prices and applied to costs incurred under (a) above shall be deemed to cover the Contractor’s profit, oncosts, superintendence, liabilities and insurances and allowances to labour timekeeping and clerical and office work, the use of consumable stores, water, lighting and power; the use and repair of stagings, scaffolding, workshops and stores, portable power tools, manual plants and tools; supervision by the Contractor’s staff, foremen and walking gangers (other than the charge hands working with the gang); and charges incidental to the foregoing.  Payments shall be made in the currency proportions to be stated in the Price Schedules for Daywork.

The Contractor shall be entitled to payment in respect of materials used for daywork (except for materials for which the cost is included in the percentage addition to labour costs as detailed heretofore), at the basic rates entered by him under the relevant items in the Price Schedules for material supply as follows:

- The basic rates (unit prices) for materials shall be calculated on the basis of the invoiced price, freight, insurance, handling expenses, damage, losses, etc., and shall provide for delivery to store. Payment will be made in the currency or currencies stated in the Daywork schedules.

- The cost of hauling materials for use on work ordered to be carried out as daywork from the store will be paid in accordance with the relevant items in the Daywork schedules.

The Contractor shall be entitled to payments in respect of Constructional Equipment and Transport equipment at the rental rates entered by him in the relevant items in the Price Schedules for Dayworks. The said rates shall be deemed to include due and complete allowance for depreciation, interest, indemnity and insurance, repairs, maintenance, supplies, fuel, lubricants, and other consumables, and all overhead, profits and administrative costs related to the use of such plant. The cost of drivers, operators, and assistants will be paid for separately as described under the section Daywork Labour.

In calculating the payment for Constructional Equipment employed on dayworks, only the actual number of days working will be eligible, except that where applicable and agreed with the Project Manager, the time travelling from the part of the Site where the Construction Equipment was located when ordered by the Project Manager to be employed on dayworks and the time for the return journey thereto shall be included for payment.

# PLACES OF DELIVERY

  - The places of delivery for the substation materials shall be: Luano 330/220kV Substation, proposed Chingola 330/132/33kV substation, Proposed Refractory 132/11kV substation, proposed Nchanga 132/33/11kV Substation, proposed Kabundi 132/33/11kV substation, proposed Lulamba 33/11kV substation, Proposed Fitobaula 33/11kV substation, proposed Mulonga 33/11kV Substation, proposed Chililabombwe 132/33/11kV substation, proposed Kakoso 132/33/11kV substation, proposed Chililabombwe Central 33/11kV substation, proposed Chililabombwe North 33/11kV substation, proposed Kawama 33/11kV substation, proposed Kasumbalesa 33/11kV substation, proposed Mwambashi 132/33kV substation, proposed new Kitwe 132/33/11kV substation, proposed New Chimwemwe 33/11kv substation, proposed New Scaw 33/11kV substation, proposed Nkana Mine 33/11kV substation, proposed Nkana East 33/11kV substation, proposed Luangwa 33/11kV substation, proposed Kalulushi132/33/11kV substation, proposed Kalulushi North 33/11kV substation, proposed New Chibuluma 33/11kv substation, proposed Lwamisamba 33/11kV substation, proposed Kalulushi Airport 33/11kV substation, Chambishi East 330/132/33kV substation, proposed Chambishi Primary 33/11kV substation, proposed Musonda 33/11kV substation, proposed Mufulira 132/33kV substation, proposed Mufulira West 33/11kv substation, proposed Nsato 33/11kV substation, Proposed Ndeke 33/11kV substation and proposed Mokambo 33/11kV substation.

All materials to be delivered by the Contractor for use on the project shall be stored, handled, transported and erected by the Contractor. The Contractor shall be responsible for these materials until the issuance of the Taking Over Certificate for the completed lines.

The costs for temporary storage at site shall be included in the relevant items for Construction Work in the Price Schedules.

The costs for transport of materials from temporary storages to individual sites shall be included in the relevant item prices for Installation Services/Work.

# CURRENCIES

Tender prices shall be quoted in US Dollars

# ABBREVIATIONS

The following abbreviations have been used in the Price Schedules:

Unit of description

millimetre				mm

metre					m

kilometer				km

square metre				m2

cubic metre				m3

kilogramme				kg

tonne (1000 kg)			ton

lump sum

number				no.

hour					h

man-hour				m-h

litre					l

Per complete unit			each

Per complete assembly		set

# 330kV SUBSTATIONS

### Luano 330/220kV Substation

#### Schedule 1: Luano 330/220kV substation plant and equipment supplied from abroad

| Luano 330/220kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Description | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 330kV-Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Luano1-001 | Circuit Breaker- Live Tank | each | 2 |  |  |  |  |
| Luano1-002 | Isolator, Motor Operated with integral earth switch | each | 2 |  |  |  |  |
| Luano1-003 | Isolator switch, Motor Operated without integral earth switch | each | 8 |  |  |  |  |
| Luano1-004 | CVTs | each | 6 |  |  |  |  |
| Luano1-005 | Surge arresters | each | 6 |  |  |  |  |
| Luano1-006 | CTs | each | 6 |  |  |  |  |
| Luano1-007 | 330kV bus bar extension by 02 x bays and rearranging of existing line bay circuits to accommodate new line circuits | Lot | 1 |  |  |  |  |
| Luano1-008 | Conductors for bus bar extension | Lot | 1 |  |  |  |  |
| Luano1-009 | Insulators for 330kV bus bar extension | Lot | 1 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Luano1-010 | Line protection system | lot | 1 |  |  |  |  |
| Luano1-011 | line protection communication interface | lot | 1 |  |  |  |  |
| Luano1-012 | Bus bar protection system | lot | 1 |  |  |  |  |
| Luano1-013 | 330kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Luano1-014 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Luano1-015 | Support insulators | lot | 1 |  |  |  |  |
| Luano1-016 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Luano1-017 | Grounding Grid Conductor, lightning protection and accessories | lot | 1 |  |  |  |  |
|  | Subtotal for 330kV Material and Equipment |  |  |  |  |  |  |
| d. | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Luano1-018 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Luano1-019 | Batteries 1200AH -48V + Invertor (48vdc/220vac) | lot | 1 |  |  |  |  |
| Luano1-020 | Charger and accessories | lot | 1 |  |  |  |  |
| Luano1-021 | ODF-FC TYPE, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Luano1-022 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Luano1-023 | OTN terminal equipment | lot | 1 |  |  |  |  |
| Luano1-024 | PCM Multiplexer | set | 1 |  |  |  |  |
| Luano1-025 | Splicing Machine and accessories | Each | 1 |  |  |  |  |
| Luano1-026 | Optical time domain reflectometer (OTDR) | Each | 1 |  |  |  |  |
| Luano1-027 | SFP-Electrical type | Each | 5 |  |  |  |  |
| Luano1-028 | Optic fibre Test equipment | Each | 2 |  |  |  |  |
| Luano1-029 | Analogue Telephone handsets | Each | 15 |  |  |  |  |
| Luano1-030 | VoIP Telephone handsets | Each | 5 |  |  |  |  |
| Luano1-031 | Laptop with maintenance software for Equipment Management | Each | 1 |  |  |  |  |
| e. | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Luano1-032 | In door lighting equipment | lot | 1 |  |  |  |  |
| Luano1-033 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Luano1-034 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Luano1-035 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Luano1-036 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Luano1-037 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Luano1-038 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Luano1-039 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Luano1-040 | Other equipment foundation materials | lot | 1 |  |  |  |  |
| Luano1-041 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |

#### Schedule 2: Luano 330/220kV substation plant and equipment supplied from within Employer’s country

| Luano 330/220kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Luano2-001 | Substation gantries | Lot | 1 |  |  |  |  |
| Luano2-002 | Lightning masts | Lot | 1 |  |  |  |  |
| Luano2-003 | Cable trenches | Lot | 1 |  |  |  |  |
| Luano2-004 | Complete Water supply System | Lot | 1 |  |  |  |  |
| Luano2-005 | General site preparation & earth work | Lot | 1 |  |  |  |  |
| Luano2-006 | Internal substation access road - concrete | lot | 1 |  |  |  |  |
| Luano2-007 | Storm water and wastewater drainage system | lot | 1 |  |  |  |  |
| Luano2-008 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | lot | 1 |  |  |  |  |
| Luano2-009 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Luano2-010 | Substation fence and gates | lot | 1 |  |  |  |  |
| Luano2-011 | External concrete access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Luano2-012 | Waste water drainage | lot | 1 |  |  |  |  |
| Luano2-013 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Luano2-014 | Civil works System testing | lot | 1 |  |  |  |  |
| Luano2-015 | Substation equipment foundations | lot | 1 |  |  |  |  |
| Luano2-016 | Excavations, recovery and disposal of existing foundations at the proposed substation site | lot | 1 |  |  |  |  |
| Luano2-017 | Substation stones | Lot | 1 |  |  |  |  |
| Luano2-018 | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Luano 330/220kV substation Local Transportation

| Luano 330/132kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Luano 330/220kV substation installation services

| Luano 330/220kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 330kV Equipment and materials |  |  |  |  |  |  |
| Luano4-001 | Circuit Breaker- Live Tank | each | 2 |  |  |  |  |
| Luano4-002 | Isolator, Motor Operated with integral earth switch | each | 2 |  |  |  |  |
| Luano4-003 | Isolator switch, Motor Operated without integral earth switch | each | 8 |  |  |  |  |
| Luano4-004 | CVTs | each | 6 |  |  |  |  |
| Luano4-005 | Surge arresters | each | 6 |  |  |  |  |
| Luano4-006 | CTs | each | 6 |  |  |  |  |
| Luano4-007 | 330kV bus bar extension by 02 x bays and rearranging of existing line bay circuits to accommodate new line circuits | Lot | 1 |  |  |  |  |
| Luano4-008 | Conductors for bus bar extension | Lot | 1 |  |  |  |  |
| Luano4-009 | Insulators for 330kV bus bar extension | Lot | 1 |  |  |  |  |
| Luano4-003 | Subtotal for 330kV Material and Equipment |  |  |  |  |  |  |
| 2 | Protection |  |  |  |  |  |  |
| Luano4-004 | Line protection system | lot | 1 |  |  |  |  |
| Luano4-005 | line protection communication interface | lot | 1 |  |  |  |  |
| Luano4-006 | Bus bar protection system | lot | 1 |  |  |  |  |
| Luano4-007 | 330kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| Luano4-008 | Subtotal for Protection |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Luano4-009 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Luano4-010 | Support insulators | lot | 1 |  |  |  |  |
| Luano4-011 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Luano4-012 | Grounding Grid Conductor, lightning protection and accessories | lot | 1 |  |  |  |  |
| Luano4-013 | Subtotal for 330kV Material and Equipment |  |  |  |  |  |  |
| 4 | Communication Equipment |  |  |  |  |  |  |
| Luano4-004 | Communication equipment | lot | 1 |  |  |  |  |
| Luano4-005 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 3 | Other Equipment |  |  |  |  |  |  |
| Luano4-006 | Other equipment | lot | 1 |  |  |  |  |
| Luano4-007 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| Luano4-008 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Luano4-009 | Total |  |  |  |  |  |  |
| 4 | Civil works |  |  |  |  |  |  |
| Luano4-010 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Luano4-011 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Luano 330/220kV substation total project cost with VAT and duties

| Luano 330/220kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Chingola 330/132/33kV Substation

#### Schedule 1: Chingola 330/132/33kV substation plant and equipment supplied from abroad

| Chingola 330/132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from /Abroad |  |  |  |  |  |  |  |
| Item | Description | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 330kV-Equipment and Materials |  |  |  |  |  |  |
| a | Main Equipment |  |  |  |  |  |  |
| Chingola1-001 | 125/160MVA 330/132/11kV | Each | 3 |  |  |  |  |
| Chingola1-002 | Circuit Breaker- Live Tank | each | 9 |  |  |  |  |
| Chingola1-003 | Isolator, Motor Operated with integral earth switch | each | 9 |  |  |  |  |
| Chingola1-004 | Isolator switch, Motor Operated without integral earth switch | each | 32 |  |  |  |  |
| Chingola1-005 | CVTs | each | 27 |  |  |  |  |
| Chingola1-006 | Surge arresters | each | 21 |  |  |  |  |
| Chingola1-007 | CTs | each | 33 |  |  |  |  |
| Chingola1-008 | Conductors for bus bar | Lot | 1 |  |  |  |  |
| Chingola1-009 | Insulators for 330kV bus bar | Lot | 1 |  |  |  |  |
| 2 | 132kV-Equipment and Materials |  |  |  |  |  |  |
| a | Main Equipment |  |  |  |  |  |  |
| Chingola1-010 | Circuit Breaker- Live Tank | Each | 18 |  |  |  |  |
| Chingola1-011 | Isolator, Motor Operated with integral earth switch | Each | 18 |  |  |  |  |
| Chingola1-012 | Isolator switch, Motor Operated without integral earth switch | Each | 66 |  |  |  |  |
| Chingola1-013 | CVTs | Each | 54 |  |  |  |  |
| Chingola1-014 | Surge arresters | Each | 48 |  |  |  |  |
| Chingola1-015 | CTs | Each | 60 |  |  |  |  |
| Chingola1-016 | 132kV bus bar | Lot | 1 |  |  |  |  |
| Chingola1-017 | Conductors for bus bar | Lot | 1 |  |  |  |  |
| Chingola1-018 | Insulators for 132kV bus bar | Lot | 1 |  |  |  |  |
| 3 | 33kV-Equipment and Materials |  |  |  |  |  |  |
| a | Main Equipment |  |  |  |  |  |  |
| Chingola1-019 | 31.5/40MVA 132/33kV Transformer | Each | 3 |  |  |  |  |
| Chingola1-020 | Circuit Breaker- Live Tank | Each | 6 |  |  |  |  |
| Chingola1-021 | Isolator, Motor Operated with integral earth switch | Each | 5 |  |  |  |  |
| Chingola1-022 | Isolator switch, Motor Operated without integral earth switch | Each | 7 |  |  |  |  |
| Chingola1-022 | VTs | Each | 21 |  |  |  |  |
| Chingola1-023 | Surge arresters | Each | 15 |  |  |  |  |
| Chingola1-024 | CTs | Each | 18 |  |  |  |  |
| Chingola1-025 | 33kV bus bar | lot | 1 |  |  |  |  |
| Chingola1-026 | Conductors for bus bar | lot | 1 |  |  |  |  |
| Chingola1-027 | Insulators for 33kV bus bar | Lot | 1 |  |  |  |  |
| 4 | 11kV-Equipment and Materials |  |  |  |  |  |  |
|  | Main Equipment |  |  |  |  |  |  |
| Chingola1-028 | 500kVA 11/0.4kV Auxiliary Transformer | Each | 2 |  |  |  |  |
| Chingola1-029 | 0.4kV Switchboard and 11kV switchgear for auxiliary Transformer | Lot | 1 |  |  |  |  |
| Chingola1-030 | 500kVA Standby Diesel Genset c/w accessories | Lot | 1 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Chingola1-031 | 125/160MVA Transformer Protection | Lot | 1 |  |  |  |  |
| Chingola1-032 | 31.5/40MVA Transformer Protection | Lot | 1 |  |  |  |  |
| Chingola1-033 | 330kV & 132kV Line protection system | Lot | 1 |  |  |  |  |
| Chingola1-034 | 330kV & 132kV Line protection communication interface | Lot | 1 |  |  |  |  |
| Chingola1-035 | 330kV & 132kV Bus bar protection system | Lot | 1 |  |  |  |  |
| Chingola1-036 | 330kV and 132kV Metering set (0.2s) | Lot | 1 |  |  |  |  |
| Chingola1-037 | 33kV Feeder Protection | Lot | 1 |  |  |  |  |
| Chingola1-038 | 33kV meteing set (0.2s) | Lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Chingola1-039 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Chingola1-040 | Support insulators | lot | 1 |  |  |  |  |
| Chingola1-041 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Chingola1-042 | Grounding Grid Conductor, lightning protection and accessories | lot | 1 |  |  |  |  |
| Chingola1-043 | Subtotal for Miscellaneous material and equipment |  |  |  |  |  |  |
|  | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Chingola1-044 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Chingola1-045 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Chingola1-046 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| d. | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Chingola1-047 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Chingola1-048 | Batteries 1200AH -48V + Invertor(48vdc/220vac) | lot | 1 |  |  |  |  |
| Chingola1-049 | Charger and accessories | lot | 1 |  |  |  |  |
| Chingola1-050 | ODF-FC Type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Chingola1-051 | PTN terminal equipment and accessories | lot | 1 |  |  |  |  |
| Chingola1-052 | SDH 10G terminal equipment | lot | 1 |  |  |  |  |
| Chingola1-053 | PCM Multiplexer | Each | 2 |  |  |  |  |
| Chingola1-054 | OTN Equipment and accessories | Each | 1 |  |  |  |  |
| Chingola1-055 | FOX 615 Terminal Equipmemnt and accessories | Each | 2 |  |  |  |  |
| Chingola1-056 | SFPs -Electrical type | Each | 10 |  |  |  |  |
| Chingola1-057 | Digital Telephone handsets | Each | 10 |  |  |  |  |
| Chingola1-058 | Analogue Telephone handsets | Each | 20 |  |  |  |  |
| Chingola1-059 | VoIP Telephone handsets | Each | 10 |  |  |  |  |
| Chingola1-060 | Laptop for Equipment Management | Each | 1 |  |  |  |  |
| e. | WAMPAC |  |  | Unit Price | Total |  |  |
| Chingola1-061 | WAMPAC execution station system | Lot. | 1 |  |  |  |  |
| Chingola1-062 | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |

#### Schedule 2: Chingola 330/132/33kV substation plant and equipment supplied from within Employer’s country

| Chingola 330/132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Chingola2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Chingola2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Chingola2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Chingola2-004 | Substation equipment foundations and gantries, Transformer firewalls and Oil containment pit | Lot | 1 |  |  |  |  |
| Chingola2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Chingola2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Chingola2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Chingola2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Chingola2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Chingola2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | lot | 1 |  |  |  |  |
| Chingola2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Chingola2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Chingola2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Chingola2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Chingola2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Chingola2-016 | Substation stones | lot | 1 |  |  |  |  |
| Chingola2-017 | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Chingola 330/132/33kV substation Local Transportation

| Chingola 330/132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Chingola 330/132/33kV substation installation services

| Chingola 330/132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 330kV Equipment and materials |  |  |  |  |  |  |
| Chingola4-001 | 125/160MVA 330/132/11kV | Each | 3 |  |  |  |  |
| Chingola4-002 | Circuit Breaker- Live Tank | each | 9 |  |  |  |  |
| Chingola4-003 | Isolator, Motor Operated with integral earth switch | each | 9 |  |  |  |  |
| Chingola4-004 | Isolator switch, Motor Operated without integral earth switch | each | 32 |  |  |  |  |
| Chingola4-005 | CVTs | each | 27 |  |  |  |  |
| Chingola4-006 | Surge arresters | each | 21 |  |  |  |  |
| Chingola4-007 | CTs | each | 33 |  |  |  |  |
| Chingola4-008 | Conductors for bus bar | Lot | 1 |  |  |  |  |
| Chingola4-009 | Insulators for 330kV bus bar | Lot | 1 |  |  |  |  |
| 2 | 132kV-Equipment and Materials |  |  |  |  |  |  |
|  | Main Equipment |  |  |  |  |  |  |
| Chingola4-010 | Circuit Breaker- Live Tank | Each | 18 |  |  |  |  |
| Chingola4-011 | Isolator, Motor Operated with integral earth switch | Each | 18 |  |  |  |  |
| Chingola4-012 | Isolator switch, Motor Operated without integral earth switch | Each | 66 |  |  |  |  |
| Chingola4-013 | CVTs | Each | 54 |  |  |  |  |
| Chingola4-014 | Surge arresters | Each | 48 |  |  |  |  |
| Chingola4-015 | CTs | Each | 60 |  |  |  |  |
| Chingola4-016 | 132kV bus bar | Lot | 1 |  |  |  |  |
| Chingola4-017 | Conductors for bus bar | Lot | 1 |  |  |  |  |
| Chingola4-018 | Insulators for 132kV bus bar | Lot | 1 |  |  |  |  |
| Chingola4-019 | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
|  |  | Each | 3 |  |  |  |  |
| 3 | 33kV-Equipment and Materials | Each | 6 |  |  |  |  |
|  | Main Equipment | Each | 5 |  |  |  |  |
| Chingola4-020 | 31.5/40MVA 132/33kV Transformer | Each | 7 |  |  |  |  |
| Chingola4-021 | Circuit Breaker- Live Tank | Each | 21 |  |  |  |  |
| Chingola4-022 | Isolator, Motor Operated with integral earth switch | Each | 15 |  |  |  |  |
| Chingola4-023 | Isolator switch, Motor Operated without integral earth switch | Each | 18 |  |  |  |  |
| Chingola4-024 | CVTs | lot | 1 |  |  |  |  |
| Chingola4-025 | Surge arresters | lot | 1 |  |  |  |  |
| Chingola4-026 | CTs | Lot | 1 |  |  |  |  |
| Chingola4-027 | 132kV bus bar |  |  |  |  |  |  |
| Chingola4-028 | Conductors for bus bar |  |  |  |  |  |  |
| Chingola4-029 | Insulators for 33kV bus bar |  |  |  |  |  |  |
| Chingola4-030 | Subtotal for 33kV Material and Equipment | Each | 2 |  |  |  |  |
|  |  | Lot | 1 |  |  |  |  |
| 4 | 11kV-Equipment and Materials | Lot | 1 |  |  |  |  |
| Chingola4-031 | Main Equipment |  |  |  |  |  |  |
| Chingola4-032 | 500kVA 11/0.4kV Auxiliary Transformer |  |  |  |  |  |  |
| Chingola4-033 | 0.4kV Switchboard | Lot | 1 |  |  |  |  |
| Chingola4-034 | 500kVA Standby Diesel Genset c/w accessories | Lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment | Lot | 1 |  |  |  |  |
|  |  | Lot | 1 |  |  |  |  |
| 5 | Protection | Lot | 1 |  |  |  |  |
| Chingola4-035 | 125/160MVA Transformer Protection | Lot | 1 |  |  |  |  |
| Chingola4-036 | 31.5/40MVA Transformer Protection | Lot | 1 |  |  |  |  |
| Chingola4-037 | 330kV & 132kV Line protection system | Lot | 1 |  |  |  |  |
| Chingola4-038 | 330kV & 132kV Line protection communication interface |  |  |  |  |  |  |
| Chingola4-039 | 330kV & 132kV Bus bar protection system |  |  |  |  |  |  |
| Chingola4-040 | 330kV and 132kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| Chingola4-041 | 33kV Feeder Protection | lot | 1 |  |  |  |  |
| Chingola4-042 | 33kV meteing set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for Protection | lot | 1 |  |  |  |  |
| 6 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Chingola4-043 | SCADA and SAS system for entire substation | Unit | Quantity |  |  |  |  |
| Chingola4-044 | Support insulators | lot | 1 |  |  |  |  |
| Chingola4-045 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Chingola4-046 | Grounding Grid Conductor, lightning protection and accessories | lot | 1 |  |  |  |  |
|  | Subtotal for 330kV Material and Equipment |  |  |  |  |  |  |
|  | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Chingola4-047 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Chingola4-048 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Chingola4-049 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 7 | Communication Equipment |  |  |  |  |  |  |
| Chingola4-050 | Communication equipment | Lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 8 | WAMPAC |  |  |  |  |  |  |
| Chingola4-051 | WAMPAC execution station | Lot | 1 |  |  |  |  |
| Chingola4-052 | Any other critical imported material not stated above | Lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 9 | Civil works |  |  |  |  |  |  |
| Chingola4-050 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Luano4-051 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Chingola 330/132/33kV substation total project cost with VAT and duties

| Chingola 330/132/33kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Refractory 132/11kV Substation

#### Schedule 1: Refractory 132/11kV substation plant and equipment supplied from abroad

| Refractory 132/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
|  | 132kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Refractory1-001 | 31.5/40MVA Three phase transformer | each | 4 |  |  |  |  |
| Refractory1-002 | Circuit Breaker- Live Tank | each | 10 |  |  |  |  |
| Refractory1-003 | Isolator, Motor Operated with integral earth switch | each | 10 |  |  |  |  |
| Refractory1-004 | Isolator switch, Motor Operated without integral earth switch | each | 34 |  |  |  |  |
| Refractory1-005 | CVTs | each | 30 |  |  |  |  |
| Refractory1-006 | Bus section Isolator | Lot | 2 |  |  |  |  |
| Refractory1-007 | Surge arresters | each | 24 |  |  |  |  |
| Refractory1-008 | CTs | each | 36 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Refractory1-009 | 132kV Line protection system | lot | 1 |  |  |  |  |
| Refractory1-010 | 31.5/40MVA Transformer protection system | lot | 1 |  |  |  |  |
| Refractory1-011 | 132kV line protection communication interface | lot | 1 |  |  |  |  |
| Refractory1-012 | 132kV Bus bar protection system | lot | 1 |  |  |  |  |
| Refractory1-013 | 132kV Bus coupler Protection System | lot | 1 |  |  |  |  |
| Refractory1-014 | 132kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| a | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Refractory1-015 | Bus riser | each | 3 |  |  |  |  |
| Refractory1-016 | Bus Section | each | 3 |  |  |  |  |
| Refractory1-017 | Earthing panel | each | 3 |  |  |  |  |
| Refractory1-018 | Incomers | each | 4 |  |  |  |  |
| Refractory1-019 | Out going feeders | each | 4 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Refractory1-020 | 11kV protection system | lot | 1 |  |  |  |  |
| Refractory1-021 | Transformer protection system | lot | 1 |  |  |  |  |
| Refractory1-022 | line protection communication interface | lot | 1 |  |  |  |  |
| Refractory1-023 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| Refractory1-024 | 11kV NERs | Each | 4 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Refractory1-025 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Refractory1-026 | Support insulators | lot | 1 |  |  |  |  |
| Refractory1-027 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Refractory1-028 | Grounding Grid Conductor and Lightning protection system complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for 11 kV Material and Equipment |  |  |  |  |  |  |
| 3 | Other Equipment and Material ( Aux Supply) | Unit | Quantity | Unit Price | Total |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Refractory1-029 | 11/0.4kV 100kVA Station Service Transformer | each | 2 |  |  |  |  |
| Refractory1-030 | 0.4kV switchboard complete with accessories | lot | 1 |  |  |  |  |
| Refractory1-031 | 100kVA Diesel Genset complete with accessories | Lot | 1 |  |  |  |  |
| Refractory1-032 | 11kV Power cables | lot | 1 |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Refractory1-033 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Refractory1-034 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Refractory1-035 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Refractory1-036 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Refractory1-037 | Batteries 1200AH -48V + invertor (48vdc/220vac) | lot | 1 |  |  |  |  |
| Refractory1-038 | Charger and accessories | lot | 1 |  |  |  |  |
| Refractory1-039 | ODF-FC type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Refractory1-040 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Refractory1-041 | FOX 615 Terminal Equipment | lot | 1 |  |  |  |  |
| Refractory1-042 | PCM Multiplexer | Each | 1 |  |  |  |  |
| Refractory1-043 | Splicing machine and test equipment | lot | 1 |  |  |  |  |
| Refractory1-044 | Electrical SFPs | Each | 10 |  |  |  |  |
| Refractory1-045 | Critical spares according to solution | Each | 2 |  |  |  |  |
| Refractory1-046 | Analogue Telephone handsets | Each | 10 |  |  |  |  |
| Refractory1-047 | VoIP Telephone handsets |  | 4 |  |  |  |  |
| Refractory1-048 | Laptop with maintenance software | Each |  |  |  |  |  |
|  |  | Each |  |  |  |  |  |
| 5 | WAMPAC |  |  |  |  |  |  |
| Refractory1-049 | WAMPAC execution station | lot | 1 |  |  |  |  |
|  | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Refractory1-050 | 132kV lightning masts | lot | 1 |  |  |  |  |
| Refractory1-051 | Indoor lighting equipment | lot | 1 |  |  |  |  |
| Refractory1-052 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Refractory1-053 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Refractory1-054 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Refractory1-055 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Refractory1-056 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Refractory1-057 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Refractory1-058 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Refractory1-059 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Refractory1-060 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Refractory 132/11kV substation plant and equipment supplied from within Employer’s country

| Refractory 132/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Refractory2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Refractory2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Refractory2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Refractory2-004 | Substation equipment foundations and gantries, Transformer firewall and Oil containment pit |  |  |  |  |  |  |
| Refractory2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Refractory2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Refractory2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Refractory2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Refractory2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Refractory2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Refractory2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Refractory2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Refractory2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Refractory2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Refractory2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Refractory2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Refractory 132/11kV substation Local Transportation

| Refractory 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Refractory 132/11kV substation installation services

| Refractory 132/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132kV Equipment and materials |  |  |  |  |  |  |
| Refractory4-001 | 31.5/40MVA Three phase transformer | each | 4 |  |  |  |  |
| Refractory4-002 | Circuit Breaker- Live Tank | each | 10 |  |  |  |  |
| Refractory4-003 | Isolator, Motor Operated with integral earth switch | each | 8 |  |  |  |  |
| Refractory4-004 | Isolator switch, Motor Operated without integral earth switch | each | 36 |  |  |  |  |
| Refractory4-005 | CVTs with carrier accessories | each | 30 |  |  |  |  |
| Refractory4-006 | Bus section Isolator | Lot | 2 |  |  |  |  |
| Refractory4-007 | Surge arresters | each | 24 |  |  |  |  |
| Refractory4-008 | CTs | each | 36 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Refractory4-009 | 132kV Line protection system | lot | 1 |  |  |  |  |
| Refractory4-010 | 31.5/40MVA Transformer protection system | lot | 1 |  |  |  |  |
| Refractory4-011 | 132kV line protection communication interface | lot | 1 |  |  |  |  |
| Refractory4-012 | 132kV Bus bar protection system | lot | 1 |  |  |  |  |
| Refractory4-013 | 132kV Bus coupler Protection System | lot | 1 |  |  |  |  |
| Refractory4-014 | 132kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Refractory4-015 | Bus riser | each | 3 |  |  |  |  |
| Refractory4-016 | Bus Section | each | 3 |  |  |  |  |
| Refractory4-017 | Earthing panel | each | 3 |  |  |  |  |
| Refractory4-018 | Incomers | each | 4 |  |  |  |  |
| Refractory4-019 | Out going feeders | each | 4 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Refractory4-020 | 11kV protection system | lot | 1 |  |  |  |  |
| Refractory4-021 | Transformer protection system | lot | 1 |  |  |  |  |
| Refractory4-022 | line protection communication interface | lot | 1 |  |  |  |  |
| Refractory4-023 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| Refractory4-024 | 11kV NERs | Each | 4 |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Refractory4-025 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Refractory4-026 | Support insulators | lot | 1 |  |  |  |  |
| Refractory4-027 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Refractory4-028 | Grounding Grid Conductor and Lightning protection system complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for 11 kV Material and Equipment |  |  |  |  |  |  |
| 4 | Other Equipment and Material ( Aux Supply) | Unit | Quantity |  |  |  |  |
| Refractory4-029 | Main Equipment |  |  |  |  |  |  |
| Refractory4-030 | 11/0.4kV 100kVA Station Service Transformer | each | 2 |  |  |  |  |
| Refractory4-031 | 0.4kV switchboard complete with accessories | lot | 1 |  |  |  |  |
| Refractory4-032 | 100kVA Diesel Genset complete with accessories | Lot | 1 |  |  |  |  |
| Refractory4-033 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Subtotal for other Equipment and Material ( Aux Supply) |  |  |  |  |  |  |
| 5 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Refractory4-034 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Refractory4-035 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Refractory4-036 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Refractory4-037 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
|  | WAMPAC | lot | 1 |  |  |  |  |
| Refractory4-038 | WAMPAC execution station | Lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Refractory4-039 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Refractory4-040 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Refractory 132/11kV substation total project cost with VAT and duties

| Refractory 132/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Nchanga 132/33/11kV Substation

#### Schedule 1: Nchanga 132/33/11kV substation plant and equipment supplied from abroad

| Nchanga 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
|  | 132kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Nchanga1-001 | 31.5/40MVA 132/33kV Three phase transformers | each | 2 |  |  |  |  |
| Nchanga1-001 | Circuit Breaker- Live Tank | each | 11 |  |  |  |  |
| Nchanga1-002 | Isolator, Motor Operated with integral earth switch | each | 11 |  |  |  |  |
| Nchanga1-003 | Isolator switch, Motor Operated without integral earth switch | each | 38 |  |  |  |  |
| Nchanga1-004 | CVTs | each | 33 |  |  |  |  |
| Nchanga1-005 | Bus section Isolator | each | 2 |  |  |  |  |
| Nchanga1-006 | Surge arresters | each | 27 |  |  |  |  |
| Nchanga1-007 | CTs | each | 39 |  |  |  |  |
| Nchanga1-008 | 33kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Nchanga1-009 | 132kV Line protection system | lot | 1 |  |  |  |  |
| Nchanga1-010 | 31.5/40MVA 132/33kV Transformers protection system | lot | 3 |  |  |  |  |
| Nchanga1-011 | 132kV line protection communication interface | lot | 1 |  |  |  |  |
| Nchanga1-012 | 132kV bus bar protection system | lot | 1 |  |  |  |  |
| Nchanga1-013 | 132kV Bus coupler Protection System | lot | 1 |  |  |  |  |
| Nchanga1-014 | 132kV Metering set (0.2S) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| b | 132kV-Equipment and Materials |  |  |  |  |  |  |
| Nchanga1-015 | 31.5/40MVA 132/11kV three phase Transformers | Each | 3 |  |  |  |  |
| Nchanga1-016 | Circuit Breaker- Live Tank | each | 3 |  |  |  |  |
| Nchanga1-017 | Isolator, Motor Operated with integral earth switch | each | 3 |  |  |  |  |
|  | Isolator, Motor Operated without integral earth switch | each | 12 |  |  |  |  |
| Nchanga1-018 | CVTs | each | 9 |  |  |  |  |
| Nchanga1-019 | Surge arresters | each | 9 |  |  |  |  |
| Nchanga1-020 | CTs | each | 9 |  |  |  |  |
| Nchanga1-021 | 11kV NERs complete with neutral CTs | each | 3 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Nchanga1-022 | 132/11kV Transformer protection system | lot | 1 |  |  |  |  |
| Nchanga1-023 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| d. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Nchanga1-024 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Nchanga1-025 | Support insulators | lot | 1 |  |  |  |  |
| Nchanga1-026 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Nchanga1-027 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for 132 kV Material and Equipment |  |  |  |  |  |  |
| 2 | 33 kV- Equipment and Material | Unit | Quantity | Unit Price | Total |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Nchanga1-028 | Circuit Breaker- Live Tank SF6 | lot | 8 |  |  |  |  |
| Nchanga1-029 | VTs | each | 27 |  |  |  |  |
| Nchanga1-030 | Line disconnect switch, Motor Operated with earth switch | each | 7 |  |  |  |  |
| Nchanga1-031 | Line disconnect switch, Motor Operated, without earth switch | each | 9 |  |  |  |  |
| Nchanga1-032 | CTs | each | 24 |  |  |  |  |
| Nchanga1-033 | Surge arresters | each | 21 |  |  |  |  |
| b. | Protection systems |  |  |  |  |  |  |
| Nchanga1-034 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Nchanga1-035 | 33kv Bus Section Protection System | lot | 1 |  |  |  |  |
| Nchanga1-036 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Nchanga1-037 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Nchanga1-038 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Nchanga1-039 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for 33 kV Material and Equipment |  |  |  |  |  |  |
| 3 | 11 kV- Equipment and Material | Unit | Quantity | Unit Price | Total |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Nchanga1-040 | Bus riser | each | 2 |  |  |  |  |
| Nchanga1-041 | Bus Section | each | 2 |  |  |  |  |
| Nchanga1-042 | Earthing panel | each | 1 |  |  |  |  |
| Nchanga1-043 | Incomers | each | 3 |  |  |  |  |
| Nchanga1-044 | Out going feeders | each | 6 |  |  |  |  |
| Nchanga1-045 | 11kV Power cables | lot | 1 |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Nchanga1-046 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Nchanga1-047 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
|  | Protection System |  |  |  |  |  |  |
| Nchanga1-048 | 11kV Protection system | lot | 1 |  |  |  |  |
| Nchanga1-049 | 11kV metering system | lot | 1 |  |  |  |  |
| Nchanga1-050 | Transformer Protection System | Lot | 1 |  |  |  |  |
| Nchanga1-051 | 100kVA diesel Generator complete with accessories | each | 1 |  |  |  |  |
| Nchanga1-052 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Nchanga1-053 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for 11 kV Material and Equipment |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Nchanga1-054 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Nchanga1-055 | Batteries 1200AH -48V + invertor (48vdc/220vac) | lot | 1 |  |  |  |  |
| Nchanga1-056 | Charger and accessories | lot | 1 |  |  |  |  |
| Nchanga1-057 | ODF-FC TYPE, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Nchanga1-058 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Nchanga1-059 | FOX 615 Multiplexer | lot | 1 |  |  |  |  |
| Nchanga1-060 | PCM Multiplexer | set | 1 |  |  |  |  |
| Nchanga1-058 | Electrical SFP | Each | 10 |  |  |  |  |
| Nchanga1-059 | Analogue Telephone handsets | Each | 10 |  |  |  |  |
| Nchanga1-060 | VoIP Telephone handsets | Each | 5 |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Nchanga1-061 | 132kV lightning masts | lot | 1 |  |  |  |  |
| Nchanga1-062 | In door lighting equipment | lot | 1 |  |  |  |  |
| Nchanga1-063 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Nchanga1-064 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Nchanga1-065 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Nchanga1-066 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Nchanga1-067 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Nchanga1-068 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Nchanga1-069 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Nchanga1-070 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Nchanga1-071 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
| 6 | WAMPAC |  |  |  |  |  |  |
| Nchanga1-072 | WAMPAC execution station | Lot | 1 |  |  |  |  |
|  | Total |  |  |  |  |  |  |

#### Schedule 2: Nchanga 132/33/11kV substation plant and equipment supplied from within Employer’s country

| Nchanga 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Nchanga2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Nchanga2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Nchanga2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Nchanga2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Nchanga2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Nchanga2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Nchanga2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Nchanga2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Nchanga2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Nchanga2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Nchanga2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Nchanga2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Nchanga2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Nchanga2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Nchanga2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Nchanga2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Nchanga 132/33/11kV substation Local Transportation

| Nchanga 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Nchanga 132/33/11kV substation installation services

| Nchanga 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132kV Equipment and materials |  |  |  |  |  |  |
| Nchanga4-001 | 31.5/40MVA 132/33kV Three phase transformers | each | 3 |  |  |  |  |
| Nchanga4-002 | Circuit Breaker- Live Tank | each | 3 |  |  |  |  |
| Nchanga4-003 | Isolator, Motor Operated with integral earth switch | each | 3 |  |  |  |  |
| Nchanga4-004 | Isolator switch, Motor Operated without integral earth switch | each | 12 |  |  |  |  |
| Nchanga4-005 | CVTs | each | 9 |  |  |  |  |
| Nchanga4-006 | Bus section Isolator | each | 9 |  |  |  |  |
| Nchanga4-007 | Surge arresters | each | 9 |  |  |  |  |
| Nchanga4-008 | CTs | each | 3 |  |  |  |  |
| Nchanga4-009 | 33kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
| Nchanga4-010 | Protection |  |  |  |  |  |  |
| Nchanga4-011 | 132kV Line protection system | lot | 1 |  |  |  |  |
| Nchanga4-012 | 31.5/40MVA 132/33kV Transformers protection system | lot | 3 |  |  |  |  |
| Nchanga4-013 | 132kV line protection communication interface | lot | 1 |  |  |  |  |
| Nchanga4-014 | 132kV bus bar protection system | lot | 1 |  |  |  |  |
| Nchanga4-015 | 132kV Bus coupler Protection System | lot | 1 |  |  |  |  |
| Nchanga4-016 | 132kV Metering set (0.2S) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| b | 132kV Equipment and materials |  |  |  |  |  |  |
| Nchanga4-017 | 31.5/40MVA 132/11kV three phase Transformers | Each | 3 |  |  |  |  |
| Nchanga4-018 | Circuit Breaker- Live Tank | each | 3 |  |  |  |  |
| Nchanga4-019 | Isolator, Motor Operated with integral earth switch | each | 3 |  |  |  |  |
|  | Isolator, Motor Operated without integral earth switch | each | 12 |  |  |  |  |
| Nchanga4-020 | CVTs | each | 9 |  |  |  |  |
| Nchanga4-021 | Surge arresters | each | 9 |  |  |  |  |
| Nchanga4-022 | CTs | each | 9 |  |  |  |  |
| Nchanga4-023 | 11kV NERs complete with neutral CTs | each | 3 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Nchanga4-024 | 132/11kV Transformer protection system | lot | 1 |  |  |  |  |
| Nchanga4-025 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| Nchanga4-026 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
|  | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Nchanga4-027 | Support insulators | lot | 1 |  |  |  |  |
| Nchanga4-028 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Nchanga4-029 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for 132 kV Material and Equipment |  |  |  |  |  |  |
|  | 33 kV- Equipment and Material | Unit | Quantity |  |  |  |  |
|  | Main Equipment |  |  |  |  |  |  |
| Nchanga4-030 | Circuit Breaker- Live Tank SF6 | lot | 8 |  |  |  |  |
| Nchanga4-031 | VTs | each | 27 |  |  |  |  |
| Nchanga4-032 | Line disconnect switch, Motor Operated with earth switch | each | 7 |  |  |  |  |
| Nchanga4-033 | Line disconnect switch, Motor Operated, without earth switch | each | 9 |  |  |  |  |
| Nchanga4-034 | CTs | each | 24 |  |  |  |  |
| Nchanga4-035 | Surge arresters | each | 21 |  |  |  |  |
|  | Protection systems |  |  |  |  |  |  |
| Nchanga4-036 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Nchanga4-037 | 33kv Bus Section Protection System | lot | 1 |  |  |  |  |
| Nchanga4-038 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Nchanga4-039 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Nchanga4-040 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Nchanga4-041 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for 33 kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Nchanga4-042 | Bus riser | each | 2 |  |  |  |  |
| Nchanga4-043 | Bus Section | each | 2 |  |  |  |  |
| Nchanga4-044 | Earthing panel | each | 1 |  |  |  |  |
| Nchanga4-045 | Incomers | each | 3 |  |  |  |  |
| Nchanga4-046 | Out going feeders | each | 4 |  |  |  |  |
| Nchanga4-047 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Nchanga4-048 | 11kV protection system | lot | 1 |  |  |  |  |
| Nchanga4-049 | Transformer protection system | lot | 1 |  |  |  |  |
| Nchanga4-050 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| Nchanga4-051 | 11kV NERs | Each | 4 |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Nchanga4-052 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Nchanga4-053 | Support insulators | lot | 1 |  |  |  |  |
| Nchanga4-054 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Nchanga4-055 | Grounding Grid Conductor and Lightning protection system complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for 11 kV Material and Equipment |  |  |  |  |  |  |
| 4 | Other Equipment and Material ( Aux Supply) | Unit | Quantity |  |  |  |  |
| Nchanga4-056 | Main Equipment |  |  |  |  |  |  |
| Nchanga4-057 | 11/0.4kV 100kVA Station Service Transformer | each | 2 |  |  |  |  |
| Nchanga4-058 | 0.4kV switchboard complete with accessories | lot | 1 |  |  |  |  |
| Nchanga4-059 | 100kVA Diesel Genset complete with accessories | Lot | 1 |  |  |  |  |
| Nchanga4-060 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Subtotal for other Equipment and Material ( Aux Supply) |  |  |  |  |  |  |
| 5 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Nchanga4-061 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Nchanga4-062 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Nchanga4-063 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Nchanga4-064 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Nchanga4-065 | Other equipment | lot | 1 |  |  |  |  |
| Nchanga4-066 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
|  | WAMPAC |  |  |  |  |  |  |
| Nchanga4-067 | WAMPAC execution station | Lot | 1 |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Nchanga4-068 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Nchanga4-069 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Nchanga 132/33kV substation total project cost with VAT and duties

| Chingola 330/132/33kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Kabundi 132/33/11kV Substation

#### Schedule 1: Kabundi 132/33/11kV substation plant and equipment supplied from abroad

| Kabundi 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Kabundi1-001 | 31.5/40MVA 132/33kV Three phase transformers | each | 2 |  |  |  |  |
| Kabundi1-002 | Circuit Breaker- Live Tank | each | 10 |  |  |  |  |
| Kabundi1-003 | Isolator, Motor Operated with integral earth switch | each | 10 |  |  |  |  |
| Kabundi1-004 | Isolator switch, Motor Operated without integral earth switch | each | 34 |  |  |  |  |
| Kabundi1-005 | CVTs | each | 30 |  |  |  |  |
| Kabundi1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Kabundi1-007 | Surge arresters | each | 24 |  |  |  |  |
| Kabundi1-008 | CTs | each | 36 |  |  |  |  |
| Kabundi1-009 | 33kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kabundi1-010 | 132kV Line protection system | lot | 1 |  |  |  |  |
| Kabundi1-011 | 31.5/40MVA 132/33kV Transformers protection system | lot | 3 |  |  |  |  |
| Kabundi1-012 | 132kV line protection communication interface | lot | 1 |  |  |  |  |
| Kabundi1-013 | 132kV bus bar protection system | lot | 1 |  |  |  |  |
| Kabundi1-014 | 132kV Bus coupler Protection System | lot | 1 |  |  |  |  |
| Kabundi1-015 | 132kV Metering set (0.2S) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| 2 | 33kV-Equipment and Materials |  |  |  |  |  |  |
| Kabundi1-016 | 31.5/40MVA 33/11kV three phase Transformers | Each | 2 |  |  |  |  |
| Kabundi1-017 | Circuit Breaker- Live Tank | each | 6 |  |  |  |  |
| Kabundi1-018 | Isolator, Motor Operated with integral earth switch | each | 6 |  |  |  |  |
| Kabundi1-019 | Isolator, Motor Operated without integral earth switch | each | 6 |  |  |  |  |
| Kabundi1-020 | Bus section isolator | each | 2 |  |  |  |  |
| Kabundi1-021 | VTs | each | 24 |  |  |  |  |
| Kabundi1-022 | Surge arresters | each | 18 |  |  |  |  |
| Kabundi1-023 | CTs | each | 27 |  |  |  |  |
| Kabundi1-024 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Kabundi1-025 | 31.5/40MVA 33/11kV Transformer protection system | lot | 1 |  |  |  |  |
| Kabundi1-026 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Kabundi1-027 | 33kv Bus Section Protection System | lot | 1 |  |  |  |  |
| Kabundi1-028 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| Kabundi1-029 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | 11kV Protection system | lot | 1 |  |  |  |  |
| d. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kabundi1-030 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kabundi1-031 | Support insulators | lot | 1 |  |  |  |  |
| Kabundi1-032 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Kabundi1-033 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Kabundi1-034 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Kabundi1-035 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Kabundi1-036 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for 33 kV Material and Equipment |  |  |  |  |  |  |
| 3 | 11 kV- Equipment and Material | Unit | Quantity | Unit Price | Total |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Kabundi1-037 | Bus riser | each | 1 |  |  |  |  |
| Kabundi1-038 | Bus Section | each | 1 |  |  |  |  |
| Kabundi1-039 | Earthing panel | each | 1 |  |  |  |  |
| Kabundi1-040 | Incomers | each | 2 |  |  |  |  |
| Kabundi1-041 | Out going feeders | each | 10 |  |  |  |  |
| Kabundi1-042 | 11kV Power cables | lot | 1 |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kabundi1-043 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Kabundi1-044 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Kabundi1-045 | 100kVA diesel Generator complete with accessories | each | 1 |  |  |  |  |
| Kabundi1-046 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Kabundi1-047 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for 11 kV Material and Equipment |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kabundi1-048 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Kabundi1-049 | Batteries 1200AH -48V + Invertor (48VDC/220VAC) | lot | 1 |  |  |  |  |
| Kabundi1-050 | Charger and accessories | lot | 1 |  |  |  |  |
| Kabundi1-051 | ODF-FC, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Kabundi1-052 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Kabundi1-053 | FOX terminal equipment | lot | 1 |  |  |  |  |
| Kabundi1-054 | PCM Multiplexer | set | 1 |  |  |  |  |
| Kabundi1-055 | Electrical SFPs | Each | 10 |  |  |  |  |
| Kabundi1-056 | Critical tools based on solution | lot | 1 |  |  |  |  |
| Kabundi1-057 | Test equipment and tools | lot | 1 |  |  |  |  |
| Kabundi1-058 | Analogue Telephone handsets | Each | 15 |  |  |  |  |
| Kabundi1-059 | VoIP Telephone handsets | Each | 6 |  |  |  |  |
| Kabundi1-060 | Laptop with maintenance software | Each | 1 |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kabundi1-061 | 132kV lightning masts | lot | 1 |  |  |  |  |
| Kabundi1-062 | In door lighting equipment | lot | 1 |  |  |  |  |
| Kabundi1-063 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Kabundi1-064 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Kabundi1-065 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Kabundi1-066 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Kabundi1-067 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Kabundi1-068 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Kabundi1-069 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Kabundi1-070 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Kabundi1-071 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
| 6 | WAMPAC |  |  |  |  |  |  |
| Kabundi1-072 | WAMPAC execution station | Lot | 1 |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Kabundi 132/33/11kV substation plant and equipment supplied from within Employer’s country

| Kabundi 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Kabundi2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Kabundi2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Kabundi2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Kabundi2-004 | Substation equipment foundations and gantries |  |  |  |  |  |  |
| Kabundi2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Kabundi2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Kabundi2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Kabundi2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Kabundi2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Kabundi2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Kabundi2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Kabundi2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Kabundi2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Kabundi2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Kabundi2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Kabundi2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Kabundi 132/33/11kV substation Local Transportation

| Kabundi 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Kabundi 132/33/11kV substation installation services

| Kabundi 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132kV Equipment and materials |  |  |  |  |  |  |
| Kabundi4-001 | 31.5/40MVA 132/33kV Three phase transformers | each | 2 |  |  |  |  |
| Kabundi4-002 | Circuit Breaker- Live Tank | each | 10 |  |  |  |  |
| Kabundi4-003 | Isolator, Motor Operated with integral earth switch | each | 10 |  |  |  |  |
| Kabundi4-004 | Isolator switch, Motor Operated without integral earth switch | each | 34 |  |  |  |  |
| Kabundi4-005 | CVTs | each | 30 |  |  |  |  |
| Kabundi4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Kabundi4-007 | Surge arresters | each | 24 |  |  |  |  |
| Kabundi4-008 | CTs | each | 36 |  |  |  |  |
| Kabundi4-009 | 33kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kabundi4-010 | 132kV Line protection system | lot | 1 |  |  |  |  |
| Kabundi4-011 | 31.5/40MVA 132/33kV Transformers protection system | lot | 3 |  |  |  |  |
| Kabundi4-012 | 132kV line protection communication interface | lot | 1 |  |  |  |  |
| Kabundi4-013 | 132kV bus bar protection system | lot | 1 |  |  |  |  |
| Kabundi4-014 | 132kV Bus coupler Protection System | lot | 1 |  |  |  |  |
| Kabundi4-015 | 132kV Metering set (0.2S) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
|  | 33kV-Equipment and Materials |  |  |  |  |  |  |
| Kabundi4-016 | 31.5/40MVA 33/11kV three phase Transformers | Each | 2 |  |  |  |  |
| Kabundi4-017 | Circuit Breaker- Live Tank | each | 6 |  |  |  |  |
| Kabundi4-018 | Isolator, Motor Operated with integral earth switch | each | 6 |  |  |  |  |
| Kabundi4-019 | Isolator, Motor Operated without integral earth switch | each | 6 |  |  |  |  |
| Kabundi4-020 | Bus section isolator | each | 2 |  |  |  |  |
| Kabundi4-021 | VTs | each | 24 |  |  |  |  |
| Kabundi4-022 | Surge arresters | each | 18 |  |  |  |  |
| Kabundi4-023 | CTs | each | 27 |  |  |  |  |
| Kabundi4-024 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kabundi4-025 | 31.5/40MVA 33/11kV Transformer protection system | lot | 1 |  |  |  |  |
| Kabundi4-026 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Kabundi4-027 | 33kv Bus Section Protection System | lot | 1 |  |  |  |  |
| Kabundi4-028 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| Kabundi4-029 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | 11kV Protection System | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kabundi4-030 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kabundi4-031 | Support insulators | lot | 1 |  |  |  |  |
| Kabundi4-032 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Kabundi4-033 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Kabundi4-034 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Kabundi4-035 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Kabundi4-036 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for 33 kV Material and Equipment |  |  |  |  |  |  |
|  | Protection systems |  |  |  |  |  |  |
| Kabundi4-037 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Kabundi4-038 | 33kv Bus Section Protection System | lot | 1 |  |  |  |  |
| Kabundi4-039 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kabundi4-040 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Kabundi4-041 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Kabundi4-042 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for 33 kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Kabundi4-043 | Bus riser | each | 1 |  |  |  |  |
| Kabundi4-044 | Bus Section | each | 1 |  |  |  |  |
| Kabundi4-045 | Earthing panel | each | 1 |  |  |  |  |
| Kabundi4-046 | Incomers | each | 2 |  |  |  |  |
| Kabundi4-047 | Out going feeders | each | 6 |  |  |  |  |
| Kabundi4-048 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kabundi4-049 | 11kV protection system | lot | 1 |  |  |  |  |
| Kabundi4-050 | Transformer protection system | lot | 1 |  |  |  |  |
| Kabundi4-051 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kabundi4-052 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kabundi4-053 | Support insulators | lot | 1 |  |  |  |  |
| Kabundi4-054 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Kabundi4-055 | Grounding Grid Conductor and Lightning protection system complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for 11 kV Material and Equipment |  |  |  |  |  |  |
| 4 | Other Equipment and Material ( Aux Supply) | Unit | Quantity |  |  |  |  |
|  | Main Equipment |  |  |  |  |  |  |
| Kabundi4-056 | 33/0.4kV 100kVA Station Service Transformer | each | 2 |  |  |  |  |
| Kabundi4-057 | 0.4kV switchboard complete with accessories | lot | 1 |  |  |  |  |
| Kabundi4-058 | 100kVA Diesel Genset complete with accessories | Lot | 1 |  |  |  |  |
| Kabundi4-059 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Subtotal for other Equipment and Material ( Aux Supply) |  |  |  |  |  |  |
| 5 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kabundi4-060 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Kabundi4-061 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Kabundi4-062 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Kabundi4-063 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Kabundi4-064 | Other equipment | lot | 1 |  |  |  |  |
| Kabundi4-065 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
|  | WAMPAC |  |  |  |  |  |  |
| Kabundi4-066 | WAMPAC execution station | Lot | 1 |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Kabundi4-067 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Kabundi4-068 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Kabundi 132/33kV substation total project cost with VAT and duties

| Chingola 330/132/33kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Lulamba 33/11kV Substation

#### Schedule 1: Lulamba 33/11kV substation plant and equipment supplied from abroad

| Lulamba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Lulamba1-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Lulamba1-002 | Circuit Breaker- Live Tank | each | 5 |  |  |  |  |
| Lulamba1-003 | Isolator, Motor Operated with integral earth switch | each | 4 |  |  |  |  |
| Lulamba1-004 | Isolator switch, Motor Operated without integral earth switch | each | 4 |  |  |  |  |
| Lulamba1-005 | VTs | each | 18 |  |  |  |  |
| Lulamba1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Lulamba1-007 | Surge arresters | each | 12 |  |  |  |  |
| Lulamba1-008 | CTs | each | 15 |  |  |  |  |
| Lulamba1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Lulamba1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Lulamba1-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Lulamba1-012 | 33kV Bus Section Protection | Lot | 1 |  |  |  |  |
| Lulamba1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Lulamba1-014 | Bus riser | Each | 1 |  |  |  |  |
| Lulamba1-015 | Bus Section | each | 1 |  |  |  |  |
| Lulamba1-016 | Earthing panel | each | 1 |  |  |  |  |
| Lulamba1-017 | Incomers | each | 2 |  |  |  |  |
| Lulamba1-018 | Out going feeders | each | 8 |  |  |  |  |
| Lulamba1-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
|  | 11kV Incomer protection system | lot | 1 |  |  |  |  |
| Lulamba1-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Lulamba1-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Lulamba1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Lulamba1-023 | Support insulators | lot | 1 |  |  |  |  |
| Lulamba1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Lulamba1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Lulamba1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Lulamba1-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Lulamba1-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Lulamba1-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Lulamba1-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Lulamba1-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Lulamba1-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Lulamba1-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for 11 kV Material and Equipment |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Lulamba1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Lulamba1-035 | Batteries 1200AH -48V + Invertor(48VDC/220VAC) | lot | 1 |  |  |  |  |
| Lulamba1-036 | Charger with accessories | lot | 1 |  |  |  |  |
| Lulamba1-037 | ODF-FC, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Lulamba1-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Lulamba1-039 | PCM Multiplexer | each | 1 |  |  |  |  |
| Lulamba1-040 | Testing equipment and tools | lot | 1 |  |  |  |  |
| Lulamba1-041 | Critical spares according to solution | lot | 1 |  |  |  |  |
| Lulamba1-042 | Electrical SFP | Each | 4 |  |  |  |  |
| Lulamba1-043 | Analogue Telephone handsets | Each | 6 |  |  |  |  |
| Lulamba1-044 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Lulamba1-045 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Lulamba1-046 | In door lighting equipment | lot | 1 |  |  |  |  |
| Lulamba1-047 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Lulamba1-048 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Lulamba1-049 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Lulamba1-050 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Lulamba1-051 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Lulamba1-052 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Lulamba1-053 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Lulamba1-054 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Lulamba1-055 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Lulamba 33/11kV substation plant and equipment supplied from within Employer’s country

| Lulamba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Lulamba2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Lulamba2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Lulamba2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Lulamba2-004 | Substation equipment foundations and gantries, transformer firewall and oil containment pit |  |  |  |  |  |  |
| Lulamba2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Lulamba2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Lulamba2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Lulamba2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Lulamba2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Lulamba2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Lulamba2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Lulamba2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Lulamba2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Lulamba2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Lulamba2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Lulamba2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Lulamba 33/11kV substation Local Transportation

| Lulamba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Lulamba 33/11kV substation installation services

| Lulamba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Lulamba4-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Lulamba4-002 | Circuit Breaker- Live Tank | each | 5 |  |  |  |  |
| Lulamba4-003 | Isolator, Motor Operated with integral earth switch | each | 4 |  |  |  |  |
| Lulamba4-004 | Isolator switch, Motor Operated without integral earth switch | each | 4 |  |  |  |  |
| Lulamba4-005 | VTs | each | 18 |  |  |  |  |
| Lulamba4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Lulamba4-007 | Surge arresters | each | 12 |  |  |  |  |
| Lulamba4-008 | CTs | each | 15 |  |  |  |  |
| Lulamba4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Lulamba4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Lulamba4-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Lulamba4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Lulamba4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Lulamba4-014 | Bus riser | Each | 1 |  |  |  |  |
| Lulamba4-015 | Bus Section | each | 1 |  |  |  |  |
| Lulamba4-016 | Earthing panel | each | 1 |  |  |  |  |
| Lulamba4-017 | Incomers | each | 2 |  |  |  |  |
| Lulamba4-018 | Out going feeders | each | 8 |  |  |  |  |
| Lulamba4-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| Lulamba4-020 | Protection |  |  |  |  |  |  |
| Lulamba4-021 | 11kV Incomer / Line protection system | lot | 1 |  |  |  |  |
| Lulamba4-022 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Lulamba4-023 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Lulamba4-024 | Support insulators | lot | 1 |  |  |  |  |
| Lulamba4-025 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Lulamba4-026 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Lulamba4-027 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Lulamba4-028 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Lulamba4-029 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Lulamba4-030 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Lulamba4-031 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Lulamba4-032 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Lulamba4-033 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Lulamba4-034 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for 11 kV Material and Equipment |  |  |  |  |  |  |
| 5 | Other Equipment and Material ( Aux Supply) | Unit | Quantity |  |  |  |  |
|  | Main Equipment |  |  |  |  |  |  |
| Lulamba4-035 | 33/0.4kV 100kVA Station Service Transformer | each | 2 |  |  |  |  |
| Lulamba4-036 | 0.4kV switchboard complete with accessories | lot | 1 |  |  |  |  |
| Lulamba4-037 | 100kVA Diesel Genset complete with accessories | Lot | 1 |  |  |  |  |
| Lulamba4-038 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Subtotal for other Equipment and Material ( Aux Supply) |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Lulamba4-039 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Lulamba4-040 | Other equipment | lot | 1 |  |  |  |  |
| Lulamba4-041 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Lulamba4-042 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Lulamba4-043 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Lulamba 33/11kV substation total project cost with VAT and duties

| Lulamba 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Fitobaula 33/11kV Substation

#### Schedule 1: Fitobaula 33/11kV substation plant and equipment supplied from abroad

| Fitobaula 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Fitobaula1-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Fitobaula1-002 | Circuit Breaker- Live Tank | each | 5 |  |  |  |  |
| Fitobaula1-003 | Isolator, Motor Operated with integral earth switch | each | 4 |  |  |  |  |
| Fitobaula1-004 | Isolator switch, Motor Operated without integral earth switch | each | 4 |  |  |  |  |
| Fitobaula1-005 | VTs | each | 18 |  |  |  |  |
| Fitobaula1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Fitobaula1-007 | Surge arresters | each | 12 |  |  |  |  |
| Fitobaula1-008 | CTs | each | 15 |  |  |  |  |
| Fitobaula1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Fitobaula1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Fitobaula1-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Fitobaula1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Fitobaula1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
|  | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Fitobaula1-014 | Bus riser | Each | 1 |  |  |  |  |
| Fitobaula1-014 | Bus Section | each | 1 |  |  |  |  |
| Fitobaula1-015 | Earthing panel | each | 1 |  |  |  |  |
| Fitobaula1-016 | Incomers | each | 2 |  |  |  |  |
| Fitobaula1-017 | Out going feeders | each | 4 |  |  |  |  |
| Fitobaula1-018 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Fitobaula1-019 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Fitobaula1-020 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Fitobaula1-021 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Fitobaula1-022 | Support insulators | lot | 1 |  |  |  |  |
| Fitobaula1-023 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Fitobaula1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Fitobaula1-025 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Fitobaula1-026 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Fitobaula1-027 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
|  | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Fitobaula1-028 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Fitobaula1-029 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Fitobaula1-030 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Fitobaula1-031 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Fitobaula1-032 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| Fitobaula1-033 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Fitobaula1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Fitobaula1-035 | Batteries 1200AH -48V + Invertor(48VDC/220VAC) | lot | 1 |  |  |  |  |
| Fitobaula1-036 | Charger and accessories | lot | 1 |  |  |  |  |
| Fitobaula1-037 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Fitobaula1-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Fitobaula1-039 | PCM multiplexer | lot | 1 |  |  |  |  |
| Fitobaula1-040 | Electrical SFP | EACH | 4 |  |  |  |  |
| Fitobaula1-041 | Critical tools based on solution | lot | 1 |  |  |  |  |
| Fitobaula1-042 | Analogue Telephone handsets | Each | 6 |  |  |  |  |
| Fitobaula1-043 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| Fitobaula1-044 |  |  |  |  |  |  |  |
| Fitobaula1-045 |  |  |  |  |  |  |  |
| Fitobaula1-046 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
|  | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Fitobaula1-047 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Fitobaula1-048 | In door lighting equipment | lot | 1 |  |  |  |  |
| Fitobaula1-049 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Fitobaula1-050 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Fitobaula1-051 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Fitobaula1-052 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Fitobaula1-053 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Fitobaula1-054 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Fitobaula1-055 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Fitobaula1-056 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Fitobaula1-057 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Fitobaula 33/11kV substation plant and equipment supplied from within Employer’s country

| Fitobaula 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Fitobaula2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Fitobaula2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Fitobaula2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Fitobaula2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Fitobaula2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Fitobaula2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Fitobaula2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Fitobaula2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Fitobaula2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Fitobaula2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Fitobaula2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Fitobaula2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Fitobaula2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Fitobaula2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Fitobaula2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Fitobaula2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Fitobaula 33/11kV substation Local Transportation

| Lulamba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Fitobaula 33/11kV substation installation services

| Fitobaula 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Fitobaula4-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Fitobaula4-002 | Circuit Breaker- Live Tank | each | 5 |  |  |  |  |
| Fitobaula4-003 | Isolator, Motor Operated with integral earth switch | each | 4 |  |  |  |  |
| Fitobaula4-004 | Isolator switch, Motor Operated without integral earth switch | each | 4 |  |  |  |  |
| Fitobaula4-005 | VTs | each | 18 |  |  |  |  |
| Fitobaula4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Fitobaula4-007 | Surge arresters | each | 12 |  |  |  |  |
| Fitobaula4-008 | CTs | each | 15 |  |  |  |  |
| Fitobaula4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
| Fitobaula4-010 | Protection |  |  |  |  |  |  |
| Fitobaula4-011 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Fitobaula4-012 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Fitobaula4-013 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Fitobaula4-014 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Fitobaula4-015 | Bus riser | Each | 1 |  |  |  |  |
| Fitobaula4-016 | Bus Section | each | 1 |  |  |  |  |
| Fitobaula4-017 | Earthing panel | each | 1 |  |  |  |  |
| Fitobaula4-018 | Incomers | each | 2 |  |  |  |  |
| Fitobaula4-019 | Out going feeders | each | 4 |  |  |  |  |
| Fitobaula4-020 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Fitobaula4-021 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Fitobaula4-022 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Fitobaula4-023 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Fitobaula4-024 | Support insulators | lot | 1 |  |  |  |  |
| Fitobaula4-025 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Fitobaula4-026 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Fitobaula4-027 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Fitobaula4-028 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Fitobaula4-029 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Fitobaula4-030 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Fitobaula4-031 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Fitobaula4-032 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Fitobaula4-033 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Fitobaula4-034 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for 11 kV Material and Equipment |  |  |  |  |  |  |
| 5 | Other Equipment and Material ( Aux Supply) | Unit | Quantity |  |  |  |  |
|  | Main Equipment |  |  |  |  |  |  |
| Fitobaula4-035 | 33/0.4kV 100kVA Station Service Transformer | each | 2 |  |  |  |  |
| Fitobaula4-036 | 0.4kV switchboard complete with accessories | lot | 1 |  |  |  |  |
| Fitobaula4-037 | 100kVA Diesel Genset complete with accessories | Lot | 1 |  |  |  |  |
| Fitobaula4-038 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Subtotal for other Equipment and Material ( Aux Supply) |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Fitobaula4-039 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Fitobaula4-040 | Other equipment | lot | 1 |  |  |  |  |
| Fitobaula4-041 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Fitobaula4-042 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Fitobaula4-043 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Fitobaula 33/11kV substation total project cost with VAT and duties

| Fitobaula 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Mulonga 33/11kV Substation

#### Schedule 1: Mulonga 33/11kV substation plant and equipment supplied from abroad

| Mulonga 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Mulonga1-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 0 |  |  |  |  |
| Mulonga1-002 | Circuit Breaker- Live Tank | each | 5 |  |  |  |  |
| Mulonga1-003 | Isolator, Motor Operated with integral earth switch | each | 5 |  |  |  |  |
| Mulonga1-004 | Isolator switch, Motor Operated without integral earth switch | each | 5 |  |  |  |  |
| Mulonga1-005 | VTs | each | 18 |  |  |  |  |
| Mulonga1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Mulonga1-007 | Surge arresters | each | 12 |  |  |  |  |
| Mulonga1-008 | CTs | each | 15 |  |  |  |  |
| Mulonga1-009 | 11kV NERs complete with neutral CTs | each | 0 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Mulonga1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Mulonga1-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 0 |  |  |  |  |
| Mulonga1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Mulonga1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
|  | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Mulonga1-014 | Bus riser | Each | 0 |  |  |  |  |
| Mulonga1-015 | Bus Section | each | 0 |  |  |  |  |
| Mulonga1-016 | Earthing panel | each | 0 |  |  |  |  |
| Mulonga1-017 | Incomers | each | 0 |  |  |  |  |
| Mulonga1-018 | Out going feeders | each | 0 |  |  |  |  |
| Mulonga1-019 | 11kV Power cables | lot | 0 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Mulonga1-020 | 11kV Line protection system | lot | 0 |  |  |  |  |
| Mulonga1-021 | 11kV Metering set (0.2s) | lot | 0 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mulonga1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Mulonga1-023 | Support insulators | lot | 1 |  |  |  |  |
| Mulonga1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Mulonga1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Mulonga1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Mulonga1-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mulonga1-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
|  | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Mulonga1-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Mulonga1-030 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Mulonga1-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Mulonga1-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Mulonga1-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| Mulonga1-034 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Mulonga1-035 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Mulonga1-036 | Batteries 1200AH -48V + Convertor | lot | 1 |  |  |  |  |
| Mulonga1-037 | Charger with accessories | lot | 1 |  |  |  |  |
| Mulonga1-038 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Mulonga1-039 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Mulonga1-040 | PCM multiplexers | each | 1 |  |  |  |  |
| Mulonga1-041 | Critical tools and test equipmemnt | lot | 1 |  |  |  |  |
| Mulonga1-042 | Critical spares based on solution | lot | 1 |  |  |  |  |
| Mulonga1-043 | Analogue Telephone handsets | Each | 10 |  |  |  |  |
| Mulonga1-044 | VoIP Telephone handsets | Each | 6 |  |  |  |  |
| Mulonga1-045 | Electrical SFP | Each | 4 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
|  | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Mulonga1-048 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Mulonga1-049 | In door lighting equipment | lot | 1 |  |  |  |  |
| Mulonga1-050 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Fitobaula1-051 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Fitobaula1-052 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Fitobaula1-053 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Fitobaula1-054 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Fitobaula1-055 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Fitobaula1-056 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Fitobaula1-057 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Fitobaula1-058 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Mulonga 33/11kV substation plant and equipment supplied from within Employer’s country

| Mulonga 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Mulonga2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Mulonga2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Mulonga2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Mulonga2-004 | Substation equipment foundations and gantries, transformer firewall and oil containment pit |  |  |  |  |  |  |
| Mulonga2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Mulonga2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Mulonga2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Mulonga2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Mulonga2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Mulonga2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Mulonga2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Mulonga2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Mulonga2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Mulonga2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Mulonga2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Mulonga2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Mulonga 33/11kV substation Local Transportation

| Mulonga 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Mulonga 33/11kV substation installation services

| Mulonga 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Mulonga4-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 0 |  |  |  |  |
| Mulonga4-002 | Circuit Breaker- Live Tank | each | 5 |  |  |  |  |
| Mulonga4-003 | Isolator, Motor Operated with integral earth switch | each | 5 |  |  |  |  |
| Mulonga4-004 | Isolator switch, Motor Operated without integral earth switch | each | 5 |  |  |  |  |
| Mulonga4-005 | VTs | each | 18 |  |  |  |  |
| Mulonga4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Mulonga4-007 | Surge arresters | each | 12 |  |  |  |  |
| Mulonga4-008 | CTs | each | 15 |  |  |  |  |
| Mulonga4-009 | 11kV NERs complete with neutral CTs | each | 0 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Mulonga4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Mulonga4-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 0 |  |  |  |  |
| Mulonga4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Mulonga4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Mulonga4-014 | Bus riser | Each | 0 |  |  |  |  |
| Mulonga4-015 | Bus Section | each | 0 |  |  |  |  |
| Mulonga4-016 | Earthing panel | each | 0 |  |  |  |  |
| Mulonga4-017 | Incomers | each | 0 |  |  |  |  |
| Mulonga4-018 | Out going feeders | each | 0 |  |  |  |  |
| Mulonga4-019 | 11kV Power cables | lot | 0 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Mulonga4-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Mulonga4-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mulonga4-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Mulonga4-023 | Support insulators | lot | 1 |  |  |  |  |
| Mulonga4-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Mulonga4-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Mulonga4-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Mulonga4-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mulonga4-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Mulonga4-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Mulonga4-030 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Mulonga4-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Mulonga4-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Mulonga4-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for 11 kV Material and Equipment |  |  |  |  |  |  |
| 5 | Other Equipment and Material ( Aux Supply) | Unit | Quantity |  |  |  |  |
|  | Main Equipment |  |  |  |  |  |  |
| Mulonga4-034 | 33/0.4kV 100kVA Station Service Transformer | each | 2 |  |  |  |  |
| Mulonga4-035 | 0.4kV switchboard complete with accessories | lot | 1 |  |  |  |  |
| Mulonga4-036 | 100kVA Diesel Genset complete with accessories | Lot | 1 |  |  |  |  |
| Mulonga4-037 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Subtotal for other Equipment and Material ( Aux Supply) |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Mulonga4-038 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Mulonga4-039 | Other equipment | lot | 1 |  |  |  |  |
| Mulonga4-040 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Mulonga4-041 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Mulonga4-042 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Mulonga 33/11kV substation total project cost with VAT and duties

| Mulonga 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Chililabombwe 132/33/11kV Substation

#### Schedule 1: Chililabombwe 132/33/11kV substation plant and equipment supplied from abroad

| Chililabombwe 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
|  | 132kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Chililabombwe1-001 | 31.5/40MVA 132/33kV Three phase transformers | each | 3 |  |  |  |  |
| Chililabombwe1-002 | Circuit Breaker- Live Tank | each | 9 |  |  |  |  |
| Chililabombwe1-003 | Isolator, Motor Operated with integral earth switch | each | 9 |  |  |  |  |
| Chililabombwe1-004 | Isolator switch, Motor Operated without integral earth switch | each | 30 |  |  |  |  |
| Chililabombwe1-005 | CVTs | each | 27 |  |  |  |  |
| Chililabombwe1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Chililabombwe1-007 | Surge arresters | each | 21 |  |  |  |  |
| Chililabombwe1-008 | CTs | each | 33 |  |  |  |  |
| Chililabombwe1-009 | 33kV NERs complete with neutral CTs | each | 3 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Chililabombwe1-010 | 132kV Line protection system | lot | 1 |  |  |  |  |
| Chililabombwe1-011 | 31.5/40MVA 132/33kV Transformers protection system | lot | 1 |  |  |  |  |
| Chililabombwe1-012 | 132kV line protection communication interface | lot | 1 |  |  |  |  |
| Chililabombwe1-013 | 132kV bus bar protection system | lot | 1 |  |  |  |  |
| Chililabombwe1-014 | 132kV Bus coupler Protection System | lot | 1 |  |  |  |  |
| Chililabombwe1-015 | 132kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| b | 132kV-Equipment and Materials |  |  |  |  |  |  |
| Chililabombwe1-016 | 31.5/40MVA 132/11kV three phase Transformers | Each | 4 |  |  |  |  |
| Chililabombwe1-017 | Circuit Breaker- Live Tank | each | 4 |  |  |  |  |
|  | Isolator, Motor Operated with integral earth switch | each | 4 |  |  |  |  |
| Chililabombwe1-018 | Isolator, Motor Operated without integral earth switch | each | 16 |  |  |  |  |
| Chililabombwe1-019 | CVTs | each | 12 |  |  |  |  |
| Chililabombwe1-020 | Surge arresters | each | 12 |  |  |  |  |
| Chililabombwe1-021 | CTs | each | 12 |  |  |  |  |
| Chililabombwe1-022 | 11kV NERs complete with neutral CTs | each | 4 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Chililabombwe1-023 | 132/11kV Transformer protection system | lot | 1 |  |  |  |  |
| Chililabombwe1-024 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| d. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Chililabombwe1-025 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Chililabombwe1-026 | Support insulators | lot | 1 |  |  |  |  |
| Chililabombwe1-027 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Chililabombwe1-028 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for 132 kV Material and Equipment |  |  |  |  |  |  |
| 2 | 33 kV- Equipment and Material | Unit | Quantity | Unit Price | Total |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Chililabombwe1-029 | Circuit Breaker- Live Tank SF6 | Each | 10 |  |  |  |  |
| Chililabombwe1-030 | VTs | each | 33 |  |  |  |  |
| Chililabombwe1-031 | Line disconnect switch, Motor Operated with earth switch | each | 9 |  |  |  |  |
| Chililabombwe1-032 | Line disconnect switch, Motor Operated, without earth switch | each | 11 |  |  |  |  |
| Chililabombwe1-033 | CTs | each | 33 |  |  |  |  |
| Chililabombwe1-034 | Surge arresters | each | 27 |  |  |  |  |
| b. | Protection systems |  |  |  |  |  |  |
| Chililabombwe1-035 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Chililabombwe1-036 | 33kV Bus Section Protection System | lot | 1 |  |  |  |  |
| Chililabombwe1-037 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Chililabombwe1-038 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Chililabombwe1-039 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Chililabombwe1-040 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for 33 kV Material and Equipment |  |  |  |  |  |  |
| 3 | 11 kV- Equipment and Material | Unit | Quantity | Unit Price | Total |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Chililabombwe1-041 | Bus riser | each | 3 |  |  |  |  |
| Chililabombwe1-042 | Bus Section | each | 3 |  |  |  |  |
| Chililabombwe1-043 | Earthing panel | each | 1 |  |  |  |  |
| Chililabombwe1-044 | Incomers | each | 4 |  |  |  |  |
| Chililabombwe1-045 | Out going feeders | each | 6 |  |  |  |  |
| Chililabombwe1-046 | 11kV Power cables | lot | 1 |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Chililabombwe1-047 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Chililabombwe1-048 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Chililabombwe1-049 | 100kVA diesel Generator complete with accessories | each | 1 |  |  |  |  |
| Chililabombwe1-050 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Chililabombwe1-051 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for 11 kV Material and Equipment |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Chililabombwe1-052 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Chililabombwe1-053 | Batteries 1200AH -48V + invertor (48vdc/220vac) | lot | 1 |  |  |  |  |
| Chililabombwe1-054 | Charger and accessories | lot | 1 |  |  |  |  |
| Chililabombwe1-055 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Chililabombwe1-056 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Chililabombwe1-057 | FOX terminal Equipment | lot | 1 |  |  |  |  |
| Chililabombwe1-058 | Engineers laptop with maintenance software | set | 1 |  |  |  |  |
| Chililabombwe1-059 | Splicing machine | Each | 1 |  |  |  |  |
| Chililabombwe1-060 | Critical tools and test equipment | lot | 1 |  |  |  |  |
| Chililabombwe1-061 | Analogue Telephone handsets | Each | 10 |  |  |  |  |
| Chililabombwe1-062 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| Chililabombwe1-063 |  |  |  |  |  |  |  |
| Chililabombwe1-064 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Chililabombwe1-065 | 132kV lightning masts | lot | 1 |  |  |  |  |
| Chililabombwe1-066 | In door lighting equipment | lot | 1 |  |  |  |  |
| Chililabombwe1-067 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Chililabombwe1-068 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Chililabombwe1-069 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Chililabombwe1-070 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Chililabombwe1-071 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Chililabombwe1-072 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Chililabombwe1-073 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Chililabombwe1-074 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Chililabombwe1-075 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
| 6 | WAMPAC |  |  |  |  |  |  |
| Chililabombwe1-076 | WAMPAC execution station | Lot | 1 |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Chililabombwe 132/33/11kV substation plant and equipment supplied from within Employer’s country

| Chililabombwe 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Chililabombwe2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Chililabombwe2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Chililabombwe2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Chililabombwe2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Chililabombwe2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Chililabombwe2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Chililabombwe2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Chililabombwe2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Chililabombwe2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Chililabombwe2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Chililabombwe2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Chililabombwe2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Chililabombwe2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Chililabombwe2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Chililabombwe2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Chililabombwe2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Chililabombwe 132/33/11kV substation Local Transportation

| Chililabombwe 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Chililabombwe 132/33/11kV substation installation services

| Chililabombwe 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132kV Equipment and materials |  |  |  |  |  |  |
| Chililabombwe4-001 | 31.5/40MVA 132/33kV Three phase transformers | each | 3 |  |  |  |  |
| Chililabombwe4-002 | Circuit Breaker- Live Tank | each | 9 |  |  |  |  |
| Chililabombwe4-003 | Isolator, Motor Operated with integral earth switch | each | 9 |  |  |  |  |
| Chililabombwe4-004 | Isolator switch, Motor Operated without integral earth switch | each | 30 |  |  |  |  |
| Chililabombwe4-005 | CVTs | each | 27 |  |  |  |  |
| Chililabombwe4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Chililabombwe4-007 | Surge arresters | each | 21 |  |  |  |  |
| Chililabombwe4-008 | CTs | each | 33 |  |  |  |  |
| Chililabombwe4-009 | 33kV NERs complete with neutral CTs | each | 3 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Chililabombwe4-010 | 132kV Line protection system | lot | 1 |  |  |  |  |
| Chililabombwe4-011 | 31.5/40MVA 132/33kV Transformers protection system | lot | 1 |  |  |  |  |
| Chililabombwe4-012 | 132kV line protection communication interface | lot | 1 |  |  |  |  |
| Chililabombwe4-013 | 132kV bus bar protection system | lot | 1 |  |  |  |  |
| Chililabombwe4-014 | 132kV Bus coupler Protection System | lot | 1 |  |  |  |  |
| Chililabombwe4-015 | 132kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| b | 132kV Equipment and materials |  |  |  |  |  |  |
| Chililabombwe4-016 | 31.5/40MVA 132/11kV three phase Transformers | Each | 4 |  |  |  |  |
| Chililabombwe4-017 | Circuit Breaker- Live Tank | each | 4 |  |  |  |  |
| Chililabombwe4-018 | Isolator, Motor Operated with integral earth switch | each | 4 |  |  |  |  |
| Chililabombwe4-019 | Isolator, Motor Operated without integral earth switch | each | 16 |  |  |  |  |
| Chililabombwe4-020 | CVTs | each | 12 |  |  |  |  |
| Chililabombwe4-021 | Surge arresters | each | 12 |  |  |  |  |
| Chililabombwe4-022 | CTs | each | 12 |  |  |  |  |
| Chililabombwe4-023 | 11kV NERs complete with neutral CTs | each | 4 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Chililabombwe4-024 | 132/11kV Transformer protection system | lot | 1 |  |  |  |  |
| Chililabombwe4-025 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Chililabombwe4-026 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Chililabombwe4-027 | Support insulators | lot | 1 |  |  |  |  |
| Chililabombwe4-028 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Chililabombwe4-029 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
|  | 33 kV- Equipment and Material | Unit | Quantity |  |  |  |  |
|  | Main Equipment |  |  |  |  |  |  |
| Chililabombwe4-030 | Circuit Breaker- Live Tank SF6 | Each | 10 |  |  |  |  |
| Chililabombwe4-031 | VTs | each | 33 |  |  |  |  |
| Chililabombwe4-032 | Line disconnect switch, Motor Operated with earth switch | each | 9 |  |  |  |  |
| Chililabombwe4-033 | Line disconnect switch, Motor Operated, without earth switch | each | 11 |  |  |  |  |
| Chililabombwe4-034 | CTs | each | 33 |  |  |  |  |
| Chililabombwe4-035 | Surge arresters | each | 27 |  |  |  |  |
|  | Protection systems |  |  |  |  |  |  |
| Chililabombwe4-036 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Chililabombwe4-037 | 33kV Bus Section Protection System | lot | 1 |  |  |  |  |
| Chililabombwe4-038 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Chililabombwe4-039 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Chililabombwe4-040 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Chililabombwe4-041 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for 33 kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Chililabombwe4-042 | Bus riser | each | 3 |  |  |  |  |
| Chililabombwe4-043 | Bus Section | each | 3 |  |  |  |  |
| Chililabombwe4-044 | Earthing panel | each | 1 |  |  |  |  |
| Chililabombwe4-045 | Incomers | each | 4 |  |  |  |  |
| Chililabombwe4-046 | Out going feeders | each | 6 |  |  |  |  |
| Chililabombwe4-047 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Chililabombwe4-048 | 11kV protection system | lot | 1 |  |  |  |  |
| Chililabombwe4-049 | Transformer protection system | lot | 1 |  |  |  |  |
| Chililabombwe4-050 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| Chililabombwe4-051 | 11kV NERs | Each | 4 |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Chililabombwe4-052 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Chililabombwe4-053 | Support insulators | lot | 1 |  |  |  |  |
| Chililabombwe4-054 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Chililabombwe4-055 | Grounding Grid Conductor and Lightning protection system complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for 11 kV Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Chililabombwe4-056 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Chililabombwe4-057 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Chililabombwe4-058 | 100kVA diesel Generator complete with accessories | each | 1 |  |  |  |  |
| Chililabombwe4-059 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Chililabombwe4-060 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Chililabombwe4-061 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Chililabombwe4-062 | Other equipment | lot | 1 |  |  |  |  |
| Chililabombwe4-063 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | WAMPAC |  |  |  |  |  |  |
| Chililabombwe4-064 | WAMPAC execution station | Lot | 1 |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Chililabombwe4-065 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Chililabombwe4-066 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Chililabombwe 132/33kV substation total project cost with VAT and duties

| Chililabombwe 330/132/33kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Kakoso 132/33/11kV Substation

#### Schedule 1: Kakoso 132/33/11kV substation plant and equipment supplied from abroad

| Kakoso 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
|  | 132kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Kakoso1-001 | 31.5/40MVA 132/33kV Three phase transformers | each | 3 |  |  |  |  |
| Kakoso1-002 | Circuit Breaker- Live Tank | each | 9 |  |  |  |  |
| Kakoso1-003 | Isolator, Motor Operated with integral earth switch | each | 9 |  |  |  |  |
| Kakoso1-004 | Isolator switch, Motor Operated without integral earth switch | each | 28 |  |  |  |  |
| Kakoso1-005 | CVTs | each | 27 |  |  |  |  |
| Kakoso1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Kakoso1-007 | Surge arresters | each | 21 |  |  |  |  |
| Kakoso1-008 | CTs | each | 33 |  |  |  |  |
| Kakoso1-009 | 33kV NERs complete with neutral CTs | each | 3 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Kakoso1-010 | 132kV Line protection system | lot | 1 |  |  |  |  |
| Kakoso1-011 | 31.5/40MVA 132/33kV Transformers protection system | lot | 1 |  |  |  |  |
| Kakoso1-012 | 132kV line protection communication interface | lot | 1 |  |  |  |  |
| Kakoso1-013 | 132kV bus bar protection system | lot | 1 |  |  |  |  |
| Kakoso1-014 | 132kV Bus coupler Protection System | lot | 1 |  |  |  |  |
| Kakoso1-015 | 132kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| b | 33kV-Equipment and Materials |  |  |  |  |  |  |
| Kakoso1-016 | 25/31.5MVA 33/11kV three phase Transformers | Each | 2 |  |  |  |  |
| Kakoso1-017 | Circuit Breaker- Live Tank | each | 11 |  |  |  |  |
| Kakoso1-018 | Isolator, Motor Operated with integral earth switch | each | 10 |  |  |  |  |
| Kakoso1-019 | Isolator, Motor Operated without integral earth switch | each | 12 |  |  |  |  |
| Kakoso1-020 | CVTs | each | 36 |  |  |  |  |
| Kakoso1-021 | Surge arresters | each | 30 |  |  |  |  |
| Kakoso1-022 | CTs | each | 33 |  |  |  |  |
| Kakoso1-023 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Kakoso1-024 | 33/11kV Transformer protection system | lot | 1 |  |  |  |  |
| Kakoso1-025 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kakoso1-026 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kakoso1-027 | Support insulators | lot | 1 |  |  |  |  |
| Kakoso1-028 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Kakoso1-029 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for 33 kV Material and Equipment |  |  |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kakoso1-030 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Kakoso1-031 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Kakoso1-032 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 3 | 11 kV- Equipment and Material | Unit | Quantity | Unit Price | Total |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Kakoso1-033 | Bus riser | each | 1 |  |  |  |  |
| Kakoso1-034 | Bus Section | each | 1 |  |  |  |  |
| Kakoso1-035 | Earthing panel | each | 1 |  |  |  |  |
| Kakoso1-036 | Incomers | each | 2 |  |  |  |  |
| Kakoso1-037 | Out going feeders | each | 4 |  |  |  |  |
| Kakoso1-038 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Subtotal for 11 kV- Equipment and Material |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kakoso1-039 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Kakoso1-039 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Kakoso1-040 | 100kVA diesel Generator complete with accessories | each | 1 |  |  |  |  |
| Kakoso1-041 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Kakoso1-042 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for 11 kV Material and Equipment |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kakoso1-043 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Kakoso1-044 | Batteries 1200AH -48V + invertor (48vdc/220vac) | lot | 1 |  |  |  |  |
| Kakoso1-045 | Charger and accessories | lot | 1 |  |  |  |  |
| Kakoso1-046 | ODF-FC, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Kakoso1-047 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Kakoso1-048 | FOX Terminal Equipment | lot | 1 |  |  |  |  |
| Kakoso1-049 | PCM Multiplexer | set | 2 |  |  |  |  |
| Kakoso1-053 | Analogue Telephone handsets | Each | 15 |  |  |  |  |
| Kakoso1-054 | VoIP Telephone handsets | Each | 6 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kakoso1-056 | 132kV lightning masts | lot | 1 |  |  |  |  |
| Kakoso1-057 | In door lighting equipment | lot | 1 |  |  |  |  |
| Kakoso1-058 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Kakoso1-059 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Kakoso1-060 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Kakoso1-061 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Kakoso1-062 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Kakoso1-063 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Kakoso1-064 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Kakoso1-065 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Kakoso1-066 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
| 6 | WAMPAC |  |  |  |  |  |  |
| Kakoso1-067 | WAMPAC execution station | lot | 1 |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Kakoso 132/33/11kV substation plant and equipment supplied from within Employer’s country

| Kakoso 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Kakoso2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Kakoso2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Kakoso2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Kakoso2-004 | Substation equipment foundations and gantries, transformer firewall and oil containment pit |  |  |  |  |  |  |
| Kakoso2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Kakoso2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Kakoso2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Kakoso2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Kakoso2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Kakoso2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Kakoso2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Kakoso2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Kakoso2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Kakoso2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Kakoso2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Kakoso2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Kakoso 132/33/11kV substation Local Transportation

| Kakoso 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Kakoso 132/33/11kV substation installation services

| Kakoso 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132kV Equipment and materials |  |  |  |  |  |  |
| Kakoso4-001 | 31.5/40MVA 132/33kV Three phase transformers | each | 3 |  |  |  |  |
| Kakoso4-002 | Circuit Breaker- Live Tank | each | 9 |  |  |  |  |
| Kakoso4-003 | Isolator, Motor Operated with integral earth switch | each | 9 |  |  |  |  |
| Kakoso4-004 | Isolator switch, Motor Operated without integral earth switch | each | 28 |  |  |  |  |
| Kakoso4-005 | CVTs | each | 27 |  |  |  |  |
| Kakoso4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Kakoso4-007 | Surge arresters | each | 21 |  |  |  |  |
| Kakoso4-008 | CTs | each | 33 |  |  |  |  |
| Kakoso4-009 | 33kV NERs complete with neutral CTs | each | 3 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kakoso4-010 | 132kV Line protection system | lot | 1 |  |  |  |  |
| Kakoso4-011 | 31.5/40MVA 132/33kV Transformers protection system | lot | 1 |  |  |  |  |
| Kakoso4-012 | 132kV line protection communication interface | lot | 1 |  |  |  |  |
| Kakoso4-013 | 132kV bus bar protection system | lot | 1 |  |  |  |  |
| Kakoso4-014 | 132kV Bus coupler Protection System | lot | 1 |  |  |  |  |
| Kakoso4-015 | 132kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| b | 33kV-Equipment and Materials |  |  |  |  |  |  |
| Kakoso4-016 | 25/31.5MVA 33/11kV three phase Transformers | Each | 2 |  |  |  |  |
| Kakoso4-017 | Circuit Breaker- Live Tank | each | 11 |  |  |  |  |
| Kakoso4-018 | Isolator, Motor Operated with integral earth switch | each | 10 |  |  |  |  |
| Kakoso4-019 | Isolator, Motor Operated without integral earth switch | each | 12 |  |  |  |  |
| Kakoso4-020 | CVTs | each | 36 |  |  |  |  |
| Kakoso4-021 | Surge arresters | each | 30 |  |  |  |  |
| Kakoso4-022 | CTs | each | 33 |  |  |  |  |
| Kakoso4-023 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kakoso4-024 | 33/11kV Transformer protection system | lot | 1 |  |  |  |  |
| Kakoso4-025 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kakoso4-026 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kakoso4-027 | Support insulators | lot | 1 |  |  |  |  |
| Kakoso4-028 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Kakoso4-029 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
|  | 33kV Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kakoso4-030 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Kakoso4-031 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Kakoso4-032 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | 33kV Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Kakoso4-030 | Bus riser | each | 1 |  |  |  |  |
| Kakoso4-031 | Bus Section | each | 1 |  |  |  |  |
| Kakoso4-032 | Earthing panel | each | 1 |  |  |  |  |
| Kakoso4-030 | Incomers | each | 2 |  |  |  |  |
| Kakoso4-031 | Out going feeders | each | 4 |  |  |  |  |
| Kakoso4-032 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kakoso4-033 | 11kV protection system | lot | 1 |  |  |  |  |
| Kakoso4-034 | Transformer protection system | lot | 1 |  |  |  |  |
| Kakoso4-035 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11 kV Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kakoso4-036 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Kakoso4-037 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Kakoso4-038 | 100kVA diesel Generator complete with accessories | each | 1 |  |  |  |  |
| Kakoso4-039 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Kakoso4-040 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Kakoso4-041 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Kakoso4-042 | Other equipment | lot | 1 |  |  |  |  |
| Kakoso4-043 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8. | WAMPAC |  |  |  |  |  |  |
| Kakoso4-044 | WAMPAC execution station | Lot | 1 |  |  |  |  |
| 9 | Civil works |  |  |  |  |  |  |
| Kakoso4-045 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Kakoso4-046 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Kakoso 132/33kV substation total project cost with VAT and duties

| Kakoso 330/132/33kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Chililabombwe Central 33/11kV Substation

#### Schedule 1: Chililabombwe Central 33/11kV substation plant and equipment supplied from abroad

| Chililabombwe Central 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| ChiliCentral1-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| ChiliCentral1-002 | Circuit Breaker- Live Tank | each | 7 |  |  |  |  |
| ChiliCentral1-003 | Isolator, Motor Operated with integral earth switch | each | 6 |  |  |  |  |
| ChiliCentral1-004 | Isolator switch, Motor Operated without integral earth switch | each | 6 |  |  |  |  |
| ChiliCentral1-005 | VTs | each | 24 |  |  |  |  |
| ChiliCentral1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| ChiliCentral1-007 | Surge arresters | each | 18 |  |  |  |  |
| ChiliCentral1-008 | CTs | each | 21 |  |  |  |  |
| ChiliCentral1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| ChiliCentral1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| ChiliCentral1-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| ChiliCentral1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| ChiliCentral1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| ChiliCentral1-014 | Bus riser | Each | 1 |  |  |  |  |
| ChiliCentral1-015 | Bus Section | each | 1 |  |  |  |  |
| ChiliCentral1-016 | Earthing panel | each | 1 |  |  |  |  |
| ChiliCentral1-017 | Incomers | each | 2 |  |  |  |  |
| ChiliCentral1-018 | Out going feeders | each | 6 |  |  |  |  |
| ChiliCentral1-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| ChiliCentral1-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| ChiliCentral1-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| ChiliCentral1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| ChiliCentral1-023 | Support insulators | lot | 1 |  |  |  |  |
| ChiliCentral1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| ChiliCentral1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| ChiliCentral1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| ChiliCentral1-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| ChiliCentral1-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| ChiliCentral1-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| ChiliCentral1-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| ChiliCentral1-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| ChiliCentral1-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| ChiliCentral1-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| ChiliCentral1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| ChiliCentral1-035 | Batteries 1200AH -48V + invertor(48vdc/220vac) | lot | 1 |  |  |  |  |
| ChiliCentral1-036 | Charger and accessories | lot | 1 |  |  |  |  |
| ChiliCentral1-037 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| ChiliCentral1-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| ChiliCentral1-039 | PCM Multiplexer | lot | 1 |  |  |  |  |
| ChiliCentral1-040 | Electrical SFPs | Each | 4 |  |  |  |  |
| ChiliCentral1-041 | 16 port Optical to POTS convertor | Each | 2 |  |  |  |  |
| ChiliCentral1-042 | 8port optical to POTS convertor | Each | 2 |  |  |  |  |
| ChiliCentral1-043 | Analogue Telephone handsets | Each | 6 |  |  |  |  |
| ChiliCentral1-044 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| ChiliCentral1-045 | Analogue Telephone handsets | Each | 6 |  |  |  |  |
| ChiliCentral1-046 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| ChiliCentral1-047 | 33kV lightning masts | lot | 1 |  |  |  |  |
| ChiliCentral1-048 | In door lighting equipment | lot | 1 |  |  |  |  |
| ChiliCentral1-049 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| ChiliCentral1-050 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| ChiliCentral1-051 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| ChiliCentral1-052 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| ChiliCentral1-053 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| ChiliCentral1-054 | cable fire protection equipment | lot | 1 |  |  |  |  |
| ChiliCentral1-055 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| ChiliCentral1-056 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| ChiliCentral1-057 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Chililabombwe Central 33/11kV substation plant and equipment supplied from within Employer’s country

| Chililabombwe Central 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| ChiliCentral2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| ChiliCentral2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| ChiliCentral2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| ChiliCentral2-004 | Substation equipment foundations and gantries, transformer firewall and oil containment pit |  |  |  |  |  |  |
| ChiliCentral2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| ChiliCentral2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| ChiliCentral2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| ChiliCentral2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| ChiliCentral2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| ChiliCentral2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| ChiliCentral2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| ChiliCentral2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| ChiliCentral2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| ChiliCentral2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| ChiliCentral2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| ChiliCentral2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Chililabombwe Central 33/11kV substation Local Transportation

| Chililabombwe Central 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Chililabombwe Central  33/11kV substation installation services

| Chililabombwe Central 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| ChiliCentral4-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| ChiliCentral4-002 | Circuit Breaker- Live Tank | each | 7 |  |  |  |  |
| ChiliCentral4-003 | Isolator, Motor Operated with integral earth switch | each | 6 |  |  |  |  |
| ChiliCentral4-004 | Isolator switch, Motor Operated without integral earth switch | each | 6 |  |  |  |  |
| ChiliCentral4-005 | VTs | each | 24 |  |  |  |  |
| ChiliCentral4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| ChiliCentral4-007 | Surge arresters | each | 18 |  |  |  |  |
| ChiliCentral4-008 | CTs | each | 21 |  |  |  |  |
| ChiliCentral4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| ChiliCentral4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| ChiliCentral4-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| ChiliCentral4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| ChiliCentral4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| ChiliCentral4-014 | Bus riser | Each | 1 |  |  |  |  |
| ChiliCentral4-015 | Bus Section | each | 1 |  |  |  |  |
| ChiliCentral4-016 | Earthing panel | each | 1 |  |  |  |  |
| ChiliCentral4-017 | Incomers | each | 2 |  |  |  |  |
| ChiliCentral4-018 | Out going feeders | each | 6 |  |  |  |  |
| ChiliCentral4-019 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| ChiliCentral4-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| ChiliCentral4-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| ChiliCentral4-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| ChiliCentral4-023 | Support insulators | lot | 1 |  |  |  |  |
| ChiliCentral4-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| ChiliCentral4-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| ChiliCentral4-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| ChiliCentral4-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| ChiliCentral4-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| ChiliCentral4-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| ChiliCentral4-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| ChiliCentral4-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| ChiliCentral4-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| ChiliCentral4-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| ChiliCentral4-034 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| ChiliCentral4-035 | Other equipment | lot | 1 |  |  |  |  |
| ChiliCentral4-036 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| ChiliCentral4-037 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| ChiliCentral4-038 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Chililabombwe Central 33/11kV substation total project cost with VAT and duties

| Chililabombwe Central 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Chililabombwe North 33/11kV Substation

#### Schedule 1: Chililabombwe North 33/11kV substation plant and equipment supplied from abroad

| Chililabombwe North 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| ChiliNorth1-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| ChiliNorth1-002 | Circuit Breaker- Live Tank | each | 11 |  |  |  |  |
| ChiliNorth1-003 | Isolator, Motor Operated with integral earth switch | each | 10 |  |  |  |  |
| ChiliNorth1-004 | Isolator switch, Motor Operated without integral earth switch | each | 10 |  |  |  |  |
| ChiliNorth1-005 | VTs | each | 36 |  |  |  |  |
| ChiliCentral1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| ChiliNorth1-007 | Surge arresters | each | 30 |  |  |  |  |
| ChiliNorth1-008 | CTs | each | 33 |  |  |  |  |
| ChiliNorth1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| ChiliNorth1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| ChiliNorth1-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| ChiliNorth1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| ChiliNorth1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| ChiliNorth1-014 | Bus riser | Each | 1 |  |  |  |  |
| ChiliNorth1-015 | Bus Section | each | 1 |  |  |  |  |
| ChiliCentral1-016 | Earthing panel | each | 1 |  |  |  |  |
| ChiliCentral1-017 | Incomers | each | 2 |  |  |  |  |
| ChiliCentral1-018 | Out going feeders | each | 6 |  |  |  |  |
| ChiliCentral1-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| ChiliCentral1-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| ChiliCentral1-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| ChiliCentral1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| ChiliCentral1-023 | Support insulators | lot | 1 |  |  |  |  |
| ChiliCentral1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| ChiliCentral1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| ChiliCentral1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| ChiliCentral1-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| ChiliCentral1-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| ChiliCentral1-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| ChiliCentral1-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| ChiliCentral1-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| ChiliCentral1-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| ChiliCentral1-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| ChiliCentral1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| ChiliCentral1-035 | Batteries 1200AH -48V + invertor(48vdc/220vac) | lot | 1 |  |  |  |  |
| ChiliCentral1-036 | Charger and accessories | lot | 1 |  |  |  |  |
| ChiliCentral1-037 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| ChiliCentral1-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| ChiliCentral1-039 | PCM Multiplexer | lot | 1 |  |  |  |  |
| ChiliCentral1-040 | Electrical SFPs | Each | 4 |  |  |  |  |
| ChiliCentral1-041 | 16 port Optical to POTS convertor | Each | 2 |  |  |  |  |
| ChiliCentral1-042 | 8port optical to POTS convertor | Each | 2 |  |  |  |  |
| ChiliCentral1-043 | Analogue Telephone handsets | Each | 6 |  |  |  |  |
| ChiliCentral1-044 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| ChiliCentral1-045 | Analogue Telephone handsets | Each | 6 |  |  |  |  |
| ChiliCentral1-046 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| ChiliCentral1-047 | 33kV lightning masts | lot | 1 |  |  |  |  |
| ChiliCentral1-048 | In door lighting equipment | lot | 1 |  |  |  |  |
| ChiliCentral1-049 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| ChiliCentral1-050 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| ChiliCentral1-051 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| ChiliCentral1-052 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| ChiliCentral1-053 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| ChiliCentral1-054 | cable fire protection equipment | lot | 1 |  |  |  |  |
| ChiliCentral1-055 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| ChiliCentral1-056 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| ChiliCentral1-057 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Chililabombwe North 33/11kV substation plant and equipment supplied from within Employer’s country

| Chililabombwe Central 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| ChiliCentral2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| ChiliCentral2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| ChiliCentral2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| ChiliCentral2-004 | Substation equipment foundations and gantries, transformer firewall and oil containment pit |  |  |  |  |  |  |
| ChiliCentral2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| ChiliCentral2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| ChiliCentral2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| ChiliCentral2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| ChiliCentral2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| ChiliCentral2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| ChiliCentral2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| ChiliCentral2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| ChiliCentral2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| ChiliCentral2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| ChiliCentral2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| ChiliCentral2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Chililabombwe North 33/11kV substation Local Transportation

| Chililabombwe Central 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Chililabombwe North 33/11kV substation installation services

| Chililabombwe Central 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| ChiliCentral4-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| ChiliCentral4-002 | Circuit Breaker- Live Tank | each | 11 |  |  |  |  |
| ChiliCentral4-003 | Isolator, Motor Operated with integral earth switch | each | 10 |  |  |  |  |
| ChiliCentral4-004 | Isolator switch, Motor Operated without integral earth switch | each | 10 |  |  |  |  |
| ChiliCentral4-005 | VTs | each | 36 |  |  |  |  |
| ChiliCentral4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| ChiliCentral4-007 | Surge arresters | each | 30 |  |  |  |  |
| ChiliCentral4-008 | CTs | each | 33 |  |  |  |  |
| ChiliCentral4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| ChiliCentral4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| ChiliCentral4-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| ChiliCentral4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| ChiliCentral4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| ChiliCentral4-014 | Bus riser | Each | 1 |  |  |  |  |
| ChiliCentral4-015 | Bus Section | each | 1 |  |  |  |  |
| ChiliCentral4-016 | Earthing panel | each | 1 |  |  |  |  |
| ChiliCentral4-017 | Incomers | each | 2 |  |  |  |  |
| ChiliCentral4-018 | Out going feeders | each | 6 |  |  |  |  |
| ChiliCentral4-019 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| ChiliCentral4-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| ChiliCentral4-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| ChiliCentral4-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| ChiliCentral4-023 | Support insulators | lot | 1 |  |  |  |  |
| ChiliCentral4-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| ChiliCentral4-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| ChiliCentral4-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| ChiliCentral4-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| ChiliCentral4-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| ChiliCentral4-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| ChiliCentral4-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| ChiliCentral4-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| ChiliCentral4-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| ChiliCentral4-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| ChiliCentral4-034 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| ChiliCentral4-035 | Other equipment | lot | 1 |  |  |  |  |
| ChiliCentral4-036 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| ChiliCentral4-037 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| ChiliCentral4-038 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Chililabombwe North 33/11kV substation total project cost with VAT and duties

| Chililabombwe Central 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Kawama 33/11kV Substation

#### Schedule 1: Kawama 33/11kV substation plant and equipment supplied from abroad

| Kawama 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Kawama1-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Kawama1-002 | Circuit Breaker- Live Tank | each | 7 |  |  |  |  |
| Kawama1-003 | Isolator, Motor Operated with integral earth switch | each | 6 |  |  |  |  |
| Kawama1-004 | Isolator switch, Motor Operated without integral earth switch | each | 6 |  |  |  |  |
| Kawama1-005 | VTs | each | 24 |  |  |  |  |
| Kawama1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Kawama1-007 | Surge arresters | each | 18 |  |  |  |  |
| Kawama1-008 | CTs | each | 21 |  |  |  |  |
| Kawama1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kawama1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Kawama1-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Kawama1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Kawama1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Kawama1-014 | Bus riser | Each | 1 |  |  |  |  |
| Kawama1-015 | Bus Section | each | 1 |  |  |  |  |
| Kawama1-016 | Earthing panel | each | 1 |  |  |  |  |
| Kawama1-017 | Incomers | each | 2 |  |  |  |  |
| Kawama1-018 | Out going feeders | each | 4 |  |  |  |  |
| Kawama1-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Kawama1-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Kawama1-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kawama1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kawama1-023 | Support insulators | lot | 1 |  |  |  |  |
| Kawama1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Kawama1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Kawama1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Kawama1-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Kawama1-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kawama1-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Kawama1-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Kawama1-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Kawama1-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Kawama1-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kawama1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Kawama1-035 | Batteries 1200AH -48V +innvertor (48vdc/220vac) | lot | 1 |  |  |  |  |
| Kawama1-036 | Charger and Accessories | lot | 1 |  |  |  |  |
| Kawama1-037 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Kawama1-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Kawama1-039 | PCM Multiplexer | lot | 1 |  |  |  |  |
| Kawama1-040 | Maintenance and test equipmement | lot | 1 |  |  |  |  |
| Kawama1-041 | Electrical SFPs | Each | 4 |  |  |  |  |
| Kawama1-042 | 8ports optical to POTs convertor | Each | 2 |  |  |  |  |
| Kawama1-043 | Digital Telephone handsets | Each | 6 |  |  |  |  |
| Kawama1-044 | Analogue Telephone handsets | Each | 10 |  |  |  |  |
| Kawama1-045 | VoIP Telephone handsets | Each | 6 |  |  |  |  |
| Kawama1-046 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kawama1-047 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Kawama1-048 | In door lighting equipment | lot | 1 |  |  |  |  |
| Kawama1-049 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Kawama1-050 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Kawama1-051 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Kawama1-052 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Kawama1-053 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Kawama1-054 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Kawama1-055 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Kawama1-056 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Kawama1-057 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Kawama 33/11kV substation plant and equipment supplied from within Employer’s country

| Chililabombwe North 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Kawama2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Kawama2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Kawama2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Kawama2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Kawama2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Kawama2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Kawama2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Kawama2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Kawama2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Kawama2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Kawama2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Kawama2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Kawama2-012 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Kawama2-013 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Kawama2-014 | Civil works System testing | lot | 1 |  |  |  |  |
| Kawama2-015 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Kawama 33/11kV substation Local Transportation

| Chililabombwe North 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Kawama  33/11kV substation installation services

| Kawama 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Kawama4-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Kawama4-002 | Circuit Breaker- Live Tank | each | 7 |  |  |  |  |
| Kawama4-003 | Isolator, Motor Operated with integral earth switch | each | 6 |  |  |  |  |
| Kawama4-004 | Isolator switch, Motor Operated without integral earth switch | each | 6 |  |  |  |  |
| Kawama4-005 | VTs | each | 24 |  |  |  |  |
| Kawama4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Kawama4-007 | Surge arresters | each | 18 |  |  |  |  |
| Kawama4-008 | CTs | each | 21 |  |  |  |  |
| Kawama4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kawama4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Kawama4-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Kawama4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Kawama4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Kawama4-014 | Bus riser | Each | 1 |  |  |  |  |
| Kawama4-015 | Bus Section | each | 1 |  |  |  |  |
| Kawama4-016 | Earthing panel | each | 1 |  |  |  |  |
| Kawama4-017 | Incomers | each | 2 |  |  |  |  |
| Kawama4-018 | Out going feeders | each | 4 |  |  |  |  |
| Kawama4-019 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kawama4-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Kawama4-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kawama4-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kawama4-023 | Support insulators | lot | 1 |  |  |  |  |
| Kawama4-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Kawama4-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Kawama4-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Kawama4-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Kawama4-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kawama4-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Kawama4-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Kawama4-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Kawama4-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Kawama4-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Kawama4-034 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Kawama4-035 | Other equipment | lot | 1 |  |  |  |  |
| Kawama4-036 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Kawama4-037 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Kawama4-038 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Kawama 33/11kV substation total project cost with VAT and duties

| Kawama 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Kasumbalesa 33/11kV Substation

#### Schedule 1: Kasumbalesa 33/11kV substation plant and equipment supplied from abroad

| Kasumbalesa 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Kasumbalesa 1-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Kasumbalesa 1-002 | Circuit Breaker- Live Tank | each | 5 |  |  |  |  |
| Kasumbalesa 1-003 | Isolator, Motor Operated with integral earth switch | each | 4 |  |  |  |  |
| Kasumbalesa 1-004 | Isolator switch, Motor Operated without integral earth switch | each | 4 |  |  |  |  |
| Kasumbalesa 1-005 | VTs | each | 18 |  |  |  |  |
| Kasumbalesa 1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Kasumbalesa 1-007 | Surge arresters | each | 12 |  |  |  |  |
| Kasumbalesa 1-008 | CTs | each | 15 |  |  |  |  |
| Kasumbalesa 1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kasumbalesa 1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Kasumbalesa 1-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Kasumbalesa 1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Kasumbalesa 1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Kasumbalesa 1-014 | Bus riser | Each | 1 |  |  |  |  |
| Kasumbalesa 1-015 | Bus Section | each | 1 |  |  |  |  |
| Kasumbalesa 1-016 | Earthing panel | each | 1 |  |  |  |  |
| Kasumbalesa 1-017 | Incomers | each | 2 |  |  |  |  |
| Kasumbalesa 1-018 | Out going feeders | each | 4 |  |  |  |  |
| Kasumbalesa 1-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Kasumbalesa 1-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Kasumbalesa 1-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kasumbalesa 1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kasumbalesa 1-023 | Support insulators | lot | 1 |  |  |  |  |
| Kasumbalesa 1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Kasumbalesa 1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Kasumbalesa 1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Kasumbalesa 1-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Kasumbalesa 1-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kasumbalesa 1-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Kasumbalesa 1-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Kasumbalesa 1-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Kasumbalesa 1-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Kasumbalesa 1-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kasumbalesa 1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Kasumbalesa 1-035 | Batteries 1200AH -48V + invertor (48vdc/220vac) | lot | 1 |  |  |  |  |
| Kasumbalesa 1-036 | Charger and accessories | lot | 1 |  |  |  |  |
| Kasumbalesa 1-037 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Kasumbalesa 1-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Kasumbalesa 1-039 | PCM Multiplexer | lot | 1 |  |  |  |  |
| Kasumbalesa 1-040 | Electrical SFPs | each | 4 |  |  |  |  |
| Kasumbalesa 1-041 | 8port optical to POTS convertor | Each | 4 |  |  |  |  |
| Kasumbalesa 1-042 | Maintenance and test equipment | lot | 1 |  |  |  |  |
| Kasumbalesa 1-043 | Digital Telephone handsets | lot | 1 |  |  |  |  |
| Kasumbalesa 1-044 | Analogue Telephone handsets | Each | 2 |  |  |  |  |
| Kasumbalesa 1-045 | VoIP Telephone handsets | Each | 6 |  |  |  |  |
| Kasumbalesa 1-046 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kasumbalesa 1-047 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Kasumbalesa 1-048 | In door lighting equipment | lot | 1 |  |  |  |  |
| Kasumbalesa 1-049 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Kasumbalesa 1-050 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Kasumbalesa 1-051 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Kasumbalesa 1-052 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Kasumbalesa 1-053 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Kasumbalesa 1-054 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Kasumbalesa 1-055 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Kasumbalesa 1-056 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Kasumbalesa 1-057 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Kasumbalesa 33/11kV substation plant and equipment supplied from within Employer’s country

| Kasumbalesa 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Kasumbalesa2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Kasumbalesa2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Kasumbalesa2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Kasumbalesa2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Kasumbalesa2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Kasumbalesa2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Kasumbalesa2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Kasumbalesa2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Kasumbalesa2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Kasumbalesa2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Kasumbalesa2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Kasumbalesa2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Kasumbalesa2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Kasumbalesa2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Kasumbalesa2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Kasumbalesa2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Kasumbalesa 33/11kV substation Local Transportation

| Kasumbalesa 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Kasumbalesa  33/11kV substation installation services

| Kasumbalesa 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Kasumbalesa4-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Kasumbalesa4-002 | Circuit Breaker- Live Tank | each | 5 |  |  |  |  |
| Kasumbalesa4-003 | Isolator, Motor Operated with integral earth switch | each | 4 |  |  |  |  |
| Kasumbalesa4-004 | Isolator switch, Motor Operated without integral earth switch | each | 4 |  |  |  |  |
| Kasumbalesa4-005 | VTs | each | 18 |  |  |  |  |
| Kasumbalesa4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Kasumbalesa4-007 | Surge arresters | each | 12 |  |  |  |  |
| Kasumbalesa4-008 | CTs | each | 15 |  |  |  |  |
| Kasumbalesa4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kasumbalesa4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Kasumbalesa4-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Kasumbalesa4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Kasumbalesa4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Kasumbalesa4-014 | Bus riser | Each | 1 |  |  |  |  |
| Kasumbalesa4-015 | Bus Section | each | 1 |  |  |  |  |
| Kasumbalesa4-016 | Earthing panel | each | 1 |  |  |  |  |
| Kasumbalesa4-017 | Incomers | each | 2 |  |  |  |  |
| Kasumbalesa4-018 | Out going feeders | each | 4 |  |  |  |  |
| Kasumbalesa4-019 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kasumbalesa4-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Kasumbalesa4-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kasumbalesa4-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kasumbalesa4-023 | Support insulators | lot | 1 |  |  |  |  |
| Kasumbalesa4-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Kasumbalesa4-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Kasumbalesa4-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Kasumbalesa4-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Kasumbalesa4-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kasumbalesa4-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Kasumbalesa4-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Kasumbalesa4-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Kasumbalesa4-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Kasumbalesa4-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Kasumbalesa4-034 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Kasumbalesa4-035 | Other equipment | lot | 1 |  |  |  |  |
| Kasumbalesa4-036 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Kasumbalesa4-037 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Kasumbalesa4-038 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Kasumbalesa 33/11kV substation total project cost with VAT and duties

| Kasumbalesa 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Mwambashi 132/33/11kV Substation

#### Schedule 1: Mwambashi 132/33/11kV substation plant and equipment supplied from abroad

| Mwambashi 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
|  | 132kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Mwambashi1-001 | 31.5/40MVA 132/33kV Three phase transformers | each | 4 |  |  |  |  |
| Mwambashi1-002 | Circuit Breaker- Live Tank | each | 10 |  |  |  |  |
| Mwambashi1-003 | Isolator, Motor Operated with integral earth switch | each | 10 |  |  |  |  |
| Mwambashi1-004 | Isolator switch, Motor Operated without integral earth switch | each | 32 |  |  |  |  |
| Mwambashi1-005 | CVTs | each | 30 |  |  |  |  |
| Mwambashi1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Mwambashi1-007 | Surge arresters | each | 24 |  |  |  |  |
| Mwambashi1-008 | CTs | each | 36 |  |  |  |  |
| Mwambashi1-009 | 33kV NERs complete with neutral CTs | each | 4 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Mwambashi1-010 | 132kV Line protection system | lot | 1 |  |  |  |  |
| Mwambashi1-011 | 31.5/40MVA 132/33kV Transformers protection system | lot | 1 |  |  |  |  |
| Mwambashi1-012 | 132kV line protection communication interface | lot | 1 |  |  |  |  |
| Mwambashi1-013 | 132kV bus bar protection system | lot | 1 |  |  |  |  |
| Mwambashi1-014 | 132kV Bus coupler Protection System | lot | 1 |  |  |  |  |
| Mwambashi1-015 | 132kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| d. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mwambashi1-016 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Mwambashi1-017 | Support insulators | lot | 1 |  |  |  |  |
| Mwambashi1-018 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Mwambashi1-019 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 2 | 33 kV- Equipment and Material | Unit | Quantity | Unit Price | Total |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Mwambashi1-020 | 25/31.5MVA Three phase transformer | Each | 2 |  |  |  |  |
| Mwambashi1-021 | Circuit Breaker- Live Tank SF6 | Each | 13 |  |  |  |  |
| Mwambashi1-022 | VTs | each | 42 |  |  |  |  |
| Mwambashi1-023 | Line disconnect switch, Motor Operated with earth switch | each | 12 |  |  |  |  |
| Mwambashi1-024 | Line disconnect switch, Motor Operated, without earth switch | each | 14 |  |  |  |  |
| Mwambashi1-025 | CTs | each | 39 |  |  |  |  |
| Mwambashi1-026 | Surge arresters | each | 36 |  |  |  |  |
| Mwambashi1-027 | Protection systems |  |  |  |  |  |  |
| Mwambashi1-028 | 33/11kV Transformer Protection | Lot | 1 |  |  |  |  |
| Mwambashi1-029 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Mwambashi1-030 | 33kV Bus Section Protection System | lot | 1 |  |  |  |  |
| Mwambashi1-031 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| c. | Miscellaneous 33kV Material and Equipment |  |  |  |  |  |  |
| Mwambashi1-032 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Mwambashi1-033 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mwambashi1-034 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous 33kV Material and Equipment |  |  |  |  |  |  |
| 3 | 11 kV- Equipment and Material | Unit | Quantity | Unit Price | Total |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Mwambashi1-035 | Bus riser | each | 1 |  |  |  |  |
| Mwambashi1-036 | Bus Section | each | 1 |  |  |  |  |
| Mwambashi1-037 | Earthing panel | each | 1 |  |  |  |  |
| Mwambashi1-038 | Incomers | each | 2 |  |  |  |  |
| Mwambashi1-039 | Out going feeders | each | 10 |  |  |  |  |
| Mwambashi1-040 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
|  | 11kV protection system | lot | 1 |  |  |  |  |
|  | Transformer protection system | lot | 1 |  |  |  |  |
|  | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | 11kV NERs | Each | 2 |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Mwambashi1-041 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Mwambashi1-042 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Mwambashi1-043 | 100kVA diesel Generator complete with accessories | each | 1 |  |  |  |  |
| Mwambashi1-044 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Mwambashi1-045 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Mwambashi1-046 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Mwambashi1-047 | Batteries 1200AH -48V + invertor (48vdc/220vac) | lot | 1 |  |  |  |  |
| Mwambashi1-048 | Charger and accessories | lot | 1 |  |  |  |  |
| Mwambashi1-049 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Mwambashi1-050 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Mwambashi1-051 | FOX Multiplexer | lot | 1 |  |  |  |  |
| Mwambashi1-052 | Splicing machine | each | 1 |  |  |  |  |
| Mwambashi1-053 | Maintainance and Testing equipment | lot | 1 |  |  |  |  |
| Mwambashi1-054 | Electrical SFPs | Each | 10 |  |  |  |  |
| Mwambashi1-055 | Analogue Telephone handsets | Each | 6 |  |  |  |  |
| Mwambashi1-056 | VoIP Telephone handsets | Each | 5 |  |  |  |  |
| Mwambashi1-057 |  |  |  |  |  |  |  |
| Mwambashi1-058 |  | Each |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Mwambashi1-059 | 132kV lightning masts | lot | 1 |  |  |  |  |
| Mwambashi1-060 | In door lighting equipment | lot | 1 |  |  |  |  |
| Mwambashi1-061 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Mwambashi1-062 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Mwambashi1-063 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Mwambashi1-064 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Mwambashi1-065 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Mwambashi1-066 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Mwambashi1-067 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Mwambashi1-068 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Mwambashi1-069 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
| 6 | WAMPAC |  |  |  |  |  |  |
| Mwambashi1-070 | WAMPAC execution station | Lot | 1 |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Mwambashi 132/33/11kV substation plant and equipment supplied from within Employer’s country

| Mwambashi 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Mwambashi2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Mwambashi2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Mwambashi2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Mwambashi2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Mwambashi2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Mwambashi2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Mwambashi2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Mwambashi2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Mwambashi2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Mwambashi2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Mwambashi2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Mwambashi2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Mwambashi2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Mwambashi2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Mwambashi2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Mwambashi2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Mwambashi132/33/11kV substation Local Transportation

| Mwambashi 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Mwambashi 132/33/11kV substation installation services

| Mwambashi 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132kV Equipment and materials |  |  |  |  |  |  |
| Mwambashi4-001 | 31.5/40MVA 132/33kV Three phase transformers | each | 4 |  |  |  |  |
| Mwambashi4-002 | Circuit Breaker- Live Tank | each | 10 |  |  |  |  |
| Mwambashi4-003 | Isolator, Motor Operated with integral earth switch | each | 10 |  |  |  |  |
| Mwambashi4-004 | Isolator switch, Motor Operated without integral earth switch | each | 32 |  |  |  |  |
| Mwambashi4-005. | CVTs | each | 30 |  |  |  |  |
| Mwambashi4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Mwambashi4-007 | Surge arresters | each | 24 |  |  |  |  |
| Mwambashi4-008 | CTs | each | 36 |  |  |  |  |
| Mwambashi4-009 | 33kV NERs complete with neutral CTs | each | 4 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Mwambashi4-010 | 132kV Line protection system | lot | 1 |  |  |  |  |
| Mwambashi4-011 | 31.5/40MVA 132/33kV Transformers protection system | lot | 1 |  |  |  |  |
| Mwambashi4-012 | 132kV line protection communication interface | lot | 1 |  |  |  |  |
| Mwambashi4-013 | 132kV bus bar protection system | lot | 1 |  |  |  |  |
| Mwambashi4-014 | 132kV Bus coupler Protection System | lot | 1 |  |  |  |  |
| Mwambashi4-015 | 132kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mwambashi4-016 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Mwambashi4-017 | Support insulators | lot | 1 |  |  |  |  |
| Mwambashi4-018 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Mwambashi4-019 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 2 | 33 kV- Equipment and Material | Unit | Quantity |  |  |  |  |
|  | Main Equipment |  |  |  |  |  |  |
| Mwambashi4-020 | 25/31.5MVA Three phase transformer | Each | 2 |  |  |  |  |
| Mwambashi4-021 | Circuit Breaker- Live Tank SF6 | Each | 13 |  |  |  |  |
| Mwambashi4-022 | VTs | each | 42 |  |  |  |  |
| Mwambashi4-023 | Line disconnect switch, Motor Operated with earth switch | each | 12 |  |  |  |  |
| Mwambashi4-024 | Line disconnect switch, Motor Operated, without earth switch | each | 14 |  |  |  |  |
| Mwambashi4-025 | CTs | each | 39 |  |  |  |  |
|  | Surge arresters | each | 36 |  |  |  |  |
|  | Protection systems |  |  |  |  |  |  |
| Mwambashi4-026 | 33/11kV Transformer protection | Lot | 1 |  |  |  |  |
| Mwambashi4-027 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Mwambashi4-028 | 33kV Bus Section Protection System | lot | 1 |  |  |  |  |
| Mwambashi4-029 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous 33kV Material and Equipment |  |  |  |  |  |  |
| Mwambashi4-030 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Mwambashi4-031 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mwambashi4-032 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Mwambashi4-033 | Bus riser | each | 1 |  |  |  |  |
| Mwambashi4-034 | Bus Section | each | 1 |  |  |  |  |
| Mwambashi4-035 | Earthing panel | each | 1 |  |  |  |  |
| Mwambashi4-036 | Incomers | each | 2 |  |  |  |  |
| Mwambashi4-037 | Out going feeders | each | 6 |  |  |  |  |
| Mwambashi4-038 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Mwambashi4-039 | 11kV protection system | lot | 1 |  |  |  |  |
| Mwambashi4-040 | Transformer protection system | lot | 1 |  |  |  |  |
| Mwambashi4-041 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| Mwambashi4-042 | 11kV NERs | Each | 2 |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mwambashi4-043 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Mwambashi4-044 | Support insulators | lot | 1 |  |  |  |  |
| Mwambashi4-045 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mwambashi4-046 | Grounding Grid Conductor and Lightning protection system complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for 11 kV Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Mwambashi4-047 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Mwambashi4-048 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Mwambashi4-049 | 100kVA diesel Generator complete with accessories | each | 1 |  |  |  |  |
| Mwambashi4-050 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Mwambashi4-051 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Mwambashi4-052 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Mwambashi4-053 | Other equipment | lot | 1 |  |  |  |  |
| Mwambashi4-054 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 7 | WAMPAC |  |  |  |  |  |  |
| Mwambashi4-055 | WAMPAC execution station | Lot | 1 |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Mwambashi4-055 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Mwambashi4-056 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Mwambashi 132/33kV substation total project cost with VAT and duties

| Mwambashi 330/132/33kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### New Kitwe 132/33/11kV Substation

#### Schedule 1: New Kitwe 132/33/11kV substation plant and equipment supplied from abroad

| New Kitwe 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
|  | 132kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| New Kitwe1-001 | 31.5/40MVA 132/33kV Three phase transformers | each | 4 |  |  |  |  |
| New Kitwe1-002 | Circuit Breaker- Live Tank | each | 10 |  |  |  |  |
| New Kitwe1-003 | Isolator, Motor Operated with integral earth switch | each | 10 |  |  |  |  |
| New Kitwe1-004 | Isolator switch, Motor Operated without integral earth switch | each | 34 |  |  |  |  |
| New Kitwe1-005 | CVTs | each | 42 |  |  |  |  |
| New Kitwe1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| New Kitwe1-007 | Surge arresters | each | 24 |  |  |  |  |
| New Kitwe1-008 | CTs | each | 36 |  |  |  |  |
| New Kitwe1-009 | 33kV NERs complete with neutral CTs | each | 4 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| New Kitwe1-010 | 132kV Line protection system | lot | 1 |  |  |  |  |
| New Kitwe1-011 | 31.5/40MVA 132/33kV Transformers protection system | lot | 1 |  |  |  |  |
| New Kitwe1-012 | 132kV line protection communication interface | lot | 1 |  |  |  |  |
| New Kitwe1-013 | 132kV bus bar protection system | lot | 1 |  |  |  |  |
| New Kitwe1-014 | 132kV Bus coupler Protection System | lot | 1 |  |  |  |  |
| New Kitwe1-015 | 132kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| b | 132kV-Equipment and Materials |  |  |  |  |  |  |
| New Kitwe1-016 | 31.5/40MVA 132/11kV three phase Transformers | Each | 3 |  |  |  |  |
| New Kitwe1-017 | Circuit Breaker- Live Tank | each | 3 |  |  |  |  |
| New Kitwe1-018 | Isolator, Motor Operated with integral earth switch | each | 3 |  |  |  |  |
| New Kitwe1-019 | Isolator, Motor Operated without integral earth switch | each | 12 |  |  |  |  |
| New Kitwe1-020 | CVTs | each | 9 |  |  |  |  |
| New Kitwe1-021 | Surge arresters | each | 9 |  |  |  |  |
| New Kitwe1-022 | CTs | each | 9 |  |  |  |  |
| New Kitwe1-023 | 11kV NERs complete with neutral CTs | each | 3 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| New Kitwe1-024 | 132/11kV Transformer protection system | lot | 1 |  |  |  |  |
| New Kitwe1-025 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| d. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| New Kitwe1-026 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| New Kitwe1-027 | Support insulators | lot | 1 |  |  |  |  |
| New Kitwe1-028 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| New Kitwe1-029 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for 132 kV Material and Equipment |  |  |  |  |  |  |
| 2 | 33 kV- Equipment and Material | Unit | Quantity | Unit Price | Total |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| New Kitwe1-030 | Circuit Breaker- Live Tank SF6 | Each | 9 |  |  |  |  |
| New Kitwe1-031 | VTs | each | 30 |  |  |  |  |
| New Kitwe1-032 | Line disconnect switch, Motor Operated with earth switch | each | 8 |  |  |  |  |
| New Kitwe1-033 | Line disconnect switch, Motor Operated, without earth switch | each | 10 |  |  |  |  |
| New Kitwe1-034 | CTs | each | 30 |  |  |  |  |
| New Kitwe1-035 | Surge arresters | each | 24 |  |  |  |  |
| b. | Protection systems |  |  |  |  |  |  |
| New Kitwe1-036 | 33kV Line protection system | lot | 1 |  |  |  |  |
| New Kitwe1-037 | 33kV Bus Section Protection System | lot | 1 |  |  |  |  |
| New Kitwe1-038 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| New Kitwe1-039 | 33kV Support insulator | lot | 1 |  |  |  |  |
| New Kitwe1-040 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| New Kitwe1-041 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 3 | 11 kV- Equipment and Material | Unit | Quantity | Unit Price | Total |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| New Kitwe1-042 | Bus riser | each | 2 |  |  |  |  |
| New Kitwe1-043 | Bus Section | each | 2 |  |  |  |  |
| New Kitwe1-044 | Earthing panel | each | 1 |  |  |  |  |
| New Kitwe1-045 | Incomers | each | 3 |  |  |  |  |
| New Kitwe1-046 | Out going feeders | each | 4 |  |  |  |  |
| New Kitwe1-047 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
|  | 11kV protection system | lot | 1 |  |  |  |  |
|  | Transformer protection system | lot | 1 |  |  |  |  |
|  | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | 11kV NERs | Each | 4 |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| New Kitwe1-048 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| New Kitwe1-049 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| New Kitwe1-050 | 100kVA diesel Generator complete with accessories | each | 1 |  |  |  |  |
| New Kitwe1-051 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| New Kitwe1-052 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for 11 kV Material and Equipment |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| New Kitwe1-053 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| New Kitwe1-054 | Batteries 1200AH -48V + invertor (48vdc/220vac) | lot | 1 |  |  |  |  |
| New Kitwe1-055 | Charger and accessories | lot | 1 |  |  |  |  |
| New Kitwe1-056 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| New Kitwe1-057 | PTN terminal equipment | lot | 1 |  |  |  |  |
| New Kitwe1-058 | FOX Multiplexer | lot | 1 |  |  |  |  |
| New Kitwe1-059 | PCM Multiplexer | lot | 1 |  |  |  |  |
| New Kitwe1-060 | Splicing Machine | lot | 1 |  |  |  |  |
| New Kitwe1-061 | Electrical SFP | Each | 4 |  |  |  |  |
| New Kitwe1-062 | Engineers Laptop with maintenance software | each | 1 |  |  |  |  |
| New Kitwe1-063 | Analogue Telephone handsets | Each | 10 |  |  |  |  |
| New Kitwe1-064 | VoIP Telephone handsets | Each | 6 |  |  |  |  |
| New Kitwe1-065 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| New Kitwe1-066 | 132kV lightning masts | lot | 1 |  |  |  |  |
| New Kitwe1-067 | In door lighting equipment | lot | 1 |  |  |  |  |
| New Kitwe1-068 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| New Kitwe1-069 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| New Kitwe1-070 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| New Kitwe1-071 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| New Kitwe1-072 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| New Kitwe1-073 | cable fire protection equipment | lot | 1 |  |  |  |  |
| New Kitwe1-074 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| New Kitwe1-075 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| New Kitwe1-076 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
| 6 | WAMPAC |  |  |  |  |  |  |
| New Kitwe1-077 | WAMPAC execution station | Lot | 1 |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: New Kitwe 132/33/11kV substation plant and equipment supplied from within Employer’s country

| New Kitwe 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| New Kitwe2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| New Kitwe2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| New Kitwe2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| New Kitwe2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| New Kitwe2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| New Kitwe2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| New Kitwe2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| New Kitwe2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| New Kitwe2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| New Kitwe2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| New Kitwe2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| New Kitwe2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| New Kitwe2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| New Kitwe2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| New Kitwe2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| New Kitwe2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: New Kitwe 132/33/11kV substation Local Transportation

| New Kitwe 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: New Kitwe 132/33/11kV substation installation services

| New Kitwe 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132kV Equipment and materials |  |  |  |  |  |  |
| New Kitwe4-001 | 31.5/40MVA 132/33kV Three phase transformers | each | 4 |  |  |  |  |
| New Kitwe4-002 | Circuit Breaker- Live Tank | each | 10 |  |  |  |  |
| New Kitwe4-003 | Isolator, Motor Operated with integral earth switch | each | 10 |  |  |  |  |
| New Kitwe4-004 | Isolator switch, Motor Operated without integral earth switch | each | 34 |  |  |  |  |
| New Kitwe4-005 | CVTs | each | 42 |  |  |  |  |
| New Kitwe4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| New Kitwe4-007 | Surge arresters | each | 24 |  |  |  |  |
| New Kitwe4-008 | CTs | each | 36 |  |  |  |  |
| New Kitwe4-009 | 33kV NERs complete with neutral CTs | each | 4 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| New Kitwe4-010 | 132kV Line protection system | lot | 1 |  |  |  |  |
| New Kitwe4-011 | 31.5/40MVA 132/33kV Transformers protection system | lot | 1 |  |  |  |  |
| New Kitwe4-012 | 132kV line protection communication interface | lot | 1 |  |  |  |  |
| New Kitwe4-013 | 132kV bus bar protection system | lot | 1 |  |  |  |  |
| New Kitwe4-014 | 132kV Bus coupler Protection System | lot | 1 |  |  |  |  |
| New Kitwe4-015 | 132kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| b | 132kV Equipment and materials |  |  |  |  |  |  |
| New Kitwe4-016 | 31.5/40MVA 132/11kV three phase Transformers | Each | 3 |  |  |  |  |
| New Kitwe4-017 | Circuit Breaker- Live Tank | each | 3 |  |  |  |  |
| New Kitwe4-018 | Isolator, Motor Operated with integral earth switch | each | 3 |  |  |  |  |
| New Kitwe4-019 | Isolator, Motor Operated without integral earth switch | each | 12 |  |  |  |  |
| New Kitwe4-020 | CVTs | each | 9 |  |  |  |  |
| New Kitwe4-021 | Surge arresters | each | 9 |  |  |  |  |
| New Kitwe4-022 | CTs | each | 9 |  |  |  |  |
| New Kitwe4-023 | 11kV NERs complete with neutral CTs | each | 3 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| New Kitwe4-024 | 132/11kV Transformer protection system | lot | 1 |  |  |  |  |
| New Kitwe4-025 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| New Kitwe4-026 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| New Kitwe4-027 | Support insulators | lot | 1 |  |  |  |  |
| New Kitwe4-028 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| New Kitwe4-029 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
|  | 33 kV- Equipment and Material | Unit | Quantity |  |  |  |  |
|  | Main Equipment |  |  |  |  |  |  |
| New Kitwe4-030 | Circuit Breaker- Live Tank SF6 | Each | 9 |  |  |  |  |
| New Kitwe4-031 | VTs | each | 30 |  |  |  |  |
| New Kitwe4-032 | Line disconnect switch, Motor Operated with earth switch | each | 8 |  |  |  |  |
| New Kitwe4-033 | Line disconnect switch, Motor Operated, without earth switch | each | 10 |  |  |  |  |
| New Kitwe4-034 | CTs | each | 30 |  |  |  |  |
| New Kitwe4-035 | Surge arresters | each | 24 |  |  |  |  |
|  | Protection systems |  |  |  |  |  |  |
| New Kitwe4-036 | 33kV Line protection system | lot | 1 |  |  |  |  |
| New Kitwe4-037 | 33kV Bus Section Protection System | lot | 1 |  |  |  |  |
| New Kitwe4-038 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous 33kV Material and Equipment |  |  |  |  |  |  |
| New Kitwe4-039 | 33kV Support insulator | lot | 1 |  |  |  |  |
| New Kitwe4-040 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| New Kitwe4-041 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for 33 kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| New Kitwe4-042 | Bus riser | each | 2 |  |  |  |  |
| New Kitwe4-043 | Bus Section | each | 2 |  |  |  |  |
| New Kitwe4-044 | Earthing panel | each | 1 |  |  |  |  |
| New Kitwe4-045 | Incomers | each | 3 |  |  |  |  |
| New Kitwe4-046 | Out going feeders | each | 4 |  |  |  |  |
| New Kitwe4-047 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| New Kitwe4-048 | 11kV protection system | lot | 1 |  |  |  |  |
| New Kitwe4-049 | Transformer protection system | lot | 1 |  |  |  |  |
| New Kitwe4-050 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| New Kitwe4-051 | 11kV NERs | Each | 4 |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| New Kitwe4-052 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| New Kitwe4-053 | Support insulators | lot | 1 |  |  |  |  |
| New Kitwe4-054 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| New Kitwe4-055 | Grounding Grid Conductor and Lightning protection system complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for 11 kV Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| New Kitwe4-056 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| New Kitwe4-057 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| New Kitwe4-058 | 100kVA diesel Generator complete with accessories | each | 1 |  |  |  |  |
| New Kitwe4-059 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| New Kitwe4-060 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| New Kitwe4-061 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| New Kitwe4-062 | Other equipment | lot | 1 |  |  |  |  |
| New Kitwe4-063 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
| 8 | WAMPAC |  |  |  |  |  |  |
| New Kitwe4-064 | WAMPAC execution station | Lot | 1 |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| New Kitwe4-065 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| New Kitwe4-066 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for New Kitwe 132/33kV substation total project cost with VAT and duties

| New Kitwe 132/33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### New Chimwemwe 33/11kV Substation

#### Schedule 1: New Chimwemwe 33/11kV substation plant and equipment supplied from abroad

| New Chimwemwe 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| New Chimwemwe 1-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| New Chimwemwe 1-002 | Circuit Breaker- Live Tank | each | 7 |  |  |  |  |
| New Chimwemwe 1-003 | Isolator, Motor Operated with integral earth switch | each | 6 |  |  |  |  |
| New Chimwemwe 1-004 | Isolator switch, Motor Operated without integral earth switch | each | 6 |  |  |  |  |
| New Chimwemwe 1-005 | VTs | each | 24 |  |  |  |  |
| New Chimwemwe 1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| New Chimwemwe 1-007 | Surge arresters | each | 18 |  |  |  |  |
| New Chimwemwe 1-008 | CTs | each | 21 |  |  |  |  |
| New Chimwemwe 1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| New Chimwemwe 1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| New Chimwemwe 1-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| New Chimwemwe 1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| New Chimwemwe 1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| New Chimwemwe 1-014 | Bus riser | Each | 1 |  |  |  |  |
| New Chimwemwe 1-015 | Bus Section | each | 1 |  |  |  |  |
| New Chimwemwe 1-016 | Earthing panel | each | 1 |  |  |  |  |
| New Chimwemwe 1-017 | Incomers | each | 2 |  |  |  |  |
| New Chimwemwe 1-018 | Out going feeders | each | 10 |  |  |  |  |
| New Chimwemwe 1-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| New Chimwemwe 1-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| New Chimwemwe 1-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| New Chimwemwe 1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| New Chimwemwe 1-023 | Support insulators | lot | 1 |  |  |  |  |
| New Chimwemwe 1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| New Chimwemwe 1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| New Chimwemwe 1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| New Chimwemwe 1-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| New Chimwemwe 1-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| New Chimwemwe 1-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| New Chimwemwe 1-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| New Chimwemwe 1-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| New Chimwemwe 1-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| New Chimwemwe 1-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| New Chimwemwe 1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| New Chimwemwe 1-035 | Batteries 1200AH -48V + invertor (48Vdc/220Vac) | lot | 1 |  |  |  |  |
| New Chimwemwe 1-036 | Charger and accessories | lot | 1 |  |  |  |  |
| New Chimwemwe 1-037 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| New Chimwemwe 1-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| New Chimwemwe 1-039 | PCM Multiplexer | lot | 1 |  |  |  |  |
| New Chimwemwe 1-040 | Electrical SFPs | each | 4 |  |  |  |  |
| New Chimwemwe 1-041 | 8 Port optical to POTS convertor | Each | 2 |  |  |  |  |
| New Chimwemwe 1-042 | Maintenance tools and test equipment | lot | 1 |  |  |  |  |
| New Chimwemwe 1-043 | Analogue Telephone handsets | Each | 5 |  |  |  |  |
| New Chimwemwe 1-044 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| New Chimwemwe 1-045 |  |  |  |  |  |  |  |
| New Chimwemwe 1-046 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| New Chimwemwe 1-047 | 33kV lightning masts | lot | 1 |  |  |  |  |
| New Chimwemwe 1-048 | In door lighting equipment | lot | 1 |  |  |  |  |
| New Chimwemwe 1-049 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| New Chimwemwe 1-050 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| New Chimwemwe 1-051 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| New Chimwemwe 1-052 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| New Chimwemwe 1-053 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| New Chimwemwe 1-054 | cable fire protection equipment | lot | 1 |  |  |  |  |
| New Chimwemwe 1-055 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| New Chimwemwe 1-056 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| New Chimwemwe 1-057 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: New Chimwemwe 33/11kV substation plant and equipment supplied from within Employer’s country

| New Chimwemwe 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| New Chimwemwe2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| New Chimwemwe2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| New Chimwemwe2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| New Chimwemwe2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| New Chimwemwe2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| New Chimwemwe2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| New Chimwemwe2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| New Chimwemwe2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| New Chimwemwe2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| New Chimwemwe2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| New Chimwemwe2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| New Chimwemwe2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| New Chimwemwe2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| New Chimwemwe2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| New Chimwemwe2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| New Chimwemwe2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: New Chimwemwe 33/11kV substation Local Transportation

| New Chimwemwe 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: New Chimwemwe 33/11kV substation installation services

| New Chimwemwe 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| New Chimwemwe4-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| New Chimwemwe4-002 | Circuit Breaker- Live Tank | each | 7 |  |  |  |  |
| New Chimwemwe4-003 | Isolator, Motor Operated with integral earth switch | each | 6 |  |  |  |  |
| New Chimwemwe4-004 | Isolator switch, Motor Operated without integral earth switch | each | 6 |  |  |  |  |
| New Chimwemwe4-005 | VTs | each | 24 |  |  |  |  |
| New Chimwemwe4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| New Chimwemwe4-007 | Surge arresters | each | 18 |  |  |  |  |
| New Chimwemwe4-008 | CTs | each | 21 |  |  |  |  |
| New Chimwemwe4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| New Chimwemwe4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| New Chimwemwe4-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| New Chimwemwe4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| New Chimwemwe4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| New Chimwemwe4-014 | Bus riser | Each | 1 |  |  |  |  |
| New Chimwemwe4-015 | Bus Section | each | 1 |  |  |  |  |
| New Chimwemwe4-016 | Earthing panel | each | 1 |  |  |  |  |
| New Chimwemwe4-017 | Incomers | each | 2 |  |  |  |  |
| New Chimwemwe4-018 | Out going feeders | each | 4 |  |  |  |  |
| New Chimwemwe4-019 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| New Chimwemwe4-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| New Chimwemwe4-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| New Chimwemwe4-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| New Chimwemwe4-023 | Support insulators | lot | 1 |  |  |  |  |
| New Chimwemwe4-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| New Chimwemwe4-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| New Chimwemwe4-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| New Chimwemwe4-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| New Chimwemwe4-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| New Chimwemwe4-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| New Chimwemwe4-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| New Chimwemwe4-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| New Chimwemwe4-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| New Chimwemwe4-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| New Chimwemwe4-034 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| New Chimwemwe4-035 | Other equipment | lot | 1 |  |  |  |  |
| New Chimwemwe4-036 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| New Chimwemwe4-037 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| New Chimwemwe4-038 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for New Chimwemwe 33/11kV substation total project cost with VAT and duties

| New Chimwemwe 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### New Scaw 33/11kV Substation

#### Schedule 1: New Scaw 33/11kV substation plant and equipment supplied from abroad

| New Scaw 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| New Scaw1-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| New Scaw1-002 | Circuit Breaker- Live Tank | each | 7 |  |  |  |  |
| New Scaw1-003 | Isolator, Motor Operated with integral earth switch | each | 6 |  |  |  |  |
| New Scaw1-004 | Isolator switch, Motor Operated without integral earth switch | each | 6 |  |  |  |  |
| New Scaw1-005 | VTs | each | 24 |  |  |  |  |
| New Scaw1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| New Scaw1-007 | Surge arresters | each | 18 |  |  |  |  |
| New Scaw1-008 | CTs | each | 21 |  |  |  |  |
| New Scaw1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| New Scaw1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| New Scaw1-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| New Scaw1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| New Scaw1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| New Scaw1-014 | Bus riser | Each | 1 |  |  |  |  |
| New Scaw1-015 | Bus Section | each | 1 |  |  |  |  |
| New Scaw1-016 | Earthing panel | each | 1 |  |  |  |  |
| New Scaw1-017 | Incomers | each | 2 |  |  |  |  |
| New Scaw1-018 | Out going feeders | each | 15 |  |  |  |  |
| New Scaw1-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| New Scaw1-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| New Scaw1-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| New Scaw1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| New Scaw1-023 | Support insulators | lot | 1 |  |  |  |  |
| New Scaw1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| New Scaw1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| New Scaw1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| New Scaw1-027 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| New Scaw1-028 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| New Scaw1-029 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| New Scaw1-030 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| New Scaw1-031 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| New Scaw1-032 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| New Scaw1-033 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| New Scaw1-034 | Batteries 1200AH -48V + invertor (48Vdc/220Vac) | lot | 1 |  |  |  |  |
| New Scaw1-035 | Charger and accessories | lot | 1 |  |  |  |  |
| New Scaw1-036 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| New Scaw1-037 | PTN terminal equipment | lot | 1 |  |  |  |  |
| New Scaw1-038 | PCM Multiplexer | lot | 1 |  |  |  |  |
| New Scaw1-039 | Electrical SFPs | each | 4 |  |  |  |  |
| New Scaw1-040 | 8 Port optical to POTS convertor | Each | 2 |  |  |  |  |
| New Scaw1-041 | Maintenance tools and test equipment | lot | 1 |  |  |  |  |
| New Scaw1-042 | Analogue Telephone handsets | Each | 5 |  |  |  |  |
| New Scaw1-043 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| New Scaw1-044 |  |  |  |  |  |  |  |
| New Scaw1-045 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| New Scaw1-046 | 33kV lightning masts | lot | 1 |  |  |  |  |
| New Scaw1-047 | In door lighting equipment | lot | 1 |  |  |  |  |
| New Scaw1-048 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| New Scaw1-049 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| New Scaw1-050 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| New Scaw1-051 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| New Scaw1-052 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| New Scaw1-053 | cable fire protection equipment | lot | 1 |  |  |  |  |
| New Scaw1-054 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| New Scaw1-055 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| New Scaw1-056 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: New Scaw 33/11kV substation plant and equipment supplied from within Employer’s country

| New Scaw 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| New Scaw2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| New Scaw2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| New Scaw2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| New Scaw2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| New Scaw2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| New Scaw2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| New Scaw2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| New Scaw2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| New Scaw2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| New Scaw2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| New Scaw2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| New Scaw2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| New Scaw2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| New Scaw2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| New Scaw2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| New Scaw2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: New Scaw 33/11kV substation Local Transportation

| New Scaw 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: New Scaw 33/11kV substation installation services

| New Scaw 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| New Scaw4-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| New Scaw4-002 | Circuit Breaker- Live Tank | each | 7 |  |  |  |  |
| New Scaw4-003 | Isolator, Motor Operated with integral earth switch | each | 6 |  |  |  |  |
| New Scaw4-004 | Isolator switch, Motor Operated without integral earth switch | each | 6 |  |  |  |  |
| New Scaw4-005 | VTs | each | 24 |  |  |  |  |
| New Scaw4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| New Scaw4-007 | Surge arresters | each | 18 |  |  |  |  |
| New Scaw4-008 | CTs | each | 21 |  |  |  |  |
| New Scaw4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| New Scaw4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| New Scaw4-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| New Scaw4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| New Scaw4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| New Scaw4-014 | Bus riser | Each | 1 |  |  |  |  |
| New Scaw4-015 | Bus Section | each | 1 |  |  |  |  |
| New Scaw4-016 | Earthing panel | each | 1 |  |  |  |  |
| New Scaw4-017 | Incomers | each | 2 |  |  |  |  |
| New Scaw4-018 | Out going feeders | each | 8 |  |  |  |  |
| New Scaw4-019 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| New Scaw4-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| New Scaw4-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| New Scaw4-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| New Scaw4-023 | Support insulators | lot | 1 |  |  |  |  |
| New Scaw4-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| New Scaw4-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| New Scaw4-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| New Scaw4-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| New Scaw4-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| New Scaw4-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| New Scaw4-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| New Scaw4-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| New Scaw4-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| New Scaw4-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| New Scaw4-034 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| New Scaw4-035 | Other equipment | lot | 1 |  |  |  |  |
| New Scaw4-036 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| New Scaw4-037 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| New Scaw4-038 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for New Scaw 33/11kV substation total project cost with VAT and duties

| New Scaw 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Nkana Mine 33/11kV Substation

#### Schedule 1: Nkana Mine 33/11kV substation plant and equipment supplied from abroad

| Nkana Mine 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Nkana Mine1-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Nkana Mine1-002 | Circuit Breaker- Live Tank | each | 9 |  |  |  |  |
| Nkana Mine1-003 | Isolator, Motor Operated with integral earth switch | each | 8 |  |  |  |  |
| Nkana Mine1-004 | Isolator switch, Motor Operated without integral earth switch | each | 8 |  |  |  |  |
| Nkana Mine1-005 | VTs | each | 30 |  |  |  |  |
| Nkana Mine1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Nkana Mine1-007 | Surge arresters | each | 24 |  |  |  |  |
| Nkana Mine1-008 | CTs | each | 27 |  |  |  |  |
| Nkana Mine1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Nkana Mine1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Nkana Mine1-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Nkana Mine1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Nkana Mine1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Nkana Mine1-014 | Bus riser | Each | 1 |  |  |  |  |
| Nkana Mine1-015 | Bus Section | each | 1 |  |  |  |  |
| Nkana Mine1-016 | Earthing panel | each | 1 |  |  |  |  |
| Nkana Mine1-017 | Incomers | each | 2 |  |  |  |  |
| Nkana Mine1-018 | Out going feeders | each | 8 |  |  |  |  |
| Nkana Mine1-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Nkana Mine1-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Nkana Mine1-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Nkana Mine1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Nkana Mine1-023 | Support insulators | lot | 1 |  |  |  |  |
| Nkana Mine1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Nkana Mine1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Nkana Mine1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Nkana Mine1-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Nkana Mine1-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Nkana Mine1-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Nkana Mine1-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Nkana Mine1-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Nkana Mine1-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Nkana Mine1-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Nkana Mine1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Nkana Mine1-035 | Batteries 1200AH -48V + invertor (48Vdc/220Vac) | lot | 1 |  |  |  |  |
| Nkana Mine1-036 | Charger and accessories | lot | 1 |  |  |  |  |
| Nkana Mine1-037 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Nkana Mine1-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Nkana Mine1-039 | PCM Multiplexer | lot | 1 |  |  |  |  |
| Nkana Mine1-040 | Electrical SFPs | each | 4 |  |  |  |  |
| Nkana Mine1-041 | 8 Port optical to POTS convertor | Each | 2 |  |  |  |  |
| Nkana Mine1-042 | Maintenance tools and test equipment | lot | 1 |  |  |  |  |
| Nkana Mine1-043 | Analogue Telephone handsets | Each | 5 |  |  |  |  |
| Nkana Mine1-044 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| Nkana Mine1-045 |  |  |  |  |  |  |  |
| Nkana Mine1-046 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Nkana Mine1-047 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Nkana Mine1-048 | In door lighting equipment | lot | 1 |  |  |  |  |
| Nkana Mine1-049 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Nkana Mine1-050 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Nkana Mine1-051 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Nkana Mine1-052 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Nkana Mine1-053 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Nkana Mine1-054 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Nkana Mine1-055 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Nkana Mine1-056 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Nkana Mine1-057 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Nkana Mine 33/11kV substation plant and equipment supplied from within Employer’s country

| Nkana Mine 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Nkana Mine2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Nkana Mine2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Nkana Mine2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Nkana Mine2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Nkana Mine2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Nkana Mine2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Nkana Mine2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Nkana Mine2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Nkana Mine2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Nkana Mine2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Nkana Mine2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Nkana Mine2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Nkana Mine2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Nkana Mine2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Nkana Mine2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Nkana Mine2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Nkana Mine 33/11kV substation Local Transportation

| Nkana Mine 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Nkana Mine 33/11kV substation installation services

| Nkana Mine 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Nkana Mine4-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Nkana Mine4-002 | Circuit Breaker- Live Tank | each | 9 |  |  |  |  |
| Nkana Mine4-003 | Isolator, Motor Operated with integral earth switch | each | 8 |  |  |  |  |
| Nkana Mine4-004 | Isolator switch, Motor Operated without integral earth switch | each | 8 |  |  |  |  |
| Nkana Mine4-005 | VTs | each | 30 |  |  |  |  |
| Nkana Mine4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Nkana Mine4-007 | Surge arresters | each | 24 |  |  |  |  |
| Nkana Mine4-008 | CTs | each | 27 |  |  |  |  |
| Nkana Mine4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Nkana Mine4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Nkana Mine4-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Nkana Mine4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Nkana Mine4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Nkana Mine4-014 | Bus riser | Each | 1 |  |  |  |  |
| Nkana Mine4-015 | Bus Section | each | 1 |  |  |  |  |
| Nkana Mine4-016 | Earthing panel | each | 1 |  |  |  |  |
| Nkana Mine4-017 | Incomers | each | 2 |  |  |  |  |
| Nkana Mine4-018 | Out going feeders | each | 5 |  |  |  |  |
| Nkana Mine4-019 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Nkana Mine4-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Nkana Mine4-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Nkana Mine4-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Nkana Mine4-023 | Support insulators | lot | 1 |  |  |  |  |
| Nkana Mine4-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Nkana Mine4-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Nkana Mine4-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Nkana Mine4-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Nkana Mine4-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Nkana Mine4-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Nkana Mine4-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Nkana Mine4-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Nkana Mine4-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Nkana Mine4-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Nkana Mine4-034 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Nkana Mine4-035 | Other equipment | lot | 1 |  |  |  |  |
| Nkana Mine4-036 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Nkana Mine4-037 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Nkana Mine4-038 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Nkana Mine 33/11kV substation total project cost with VAT and duties

| Nkana Mine 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Nkana East 33/11kV Substation

#### Schedule 1: Nkana East 33/11kV substation plant and equipment supplied from abroad

| Nkana East 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Nkana East-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 3 |  |  |  |  |
| Nkana East-002 | Circuit Breaker- Live Tank | each | 8 |  |  |  |  |
| Nkana East-003 | Isolator, Motor Operated with integral earth switch | each | 7 |  |  |  |  |
| Nkana East-004 | Isolator switch, Motor Operated without integral earth switch | each | 7 |  |  |  |  |
| Nkana East-005 | VTs | each | 27 |  |  |  |  |
| Nkana East-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Nkana East-007 | Surge arresters | each | 21 |  |  |  |  |
| Nkana East-008 | CTs | each | 24 |  |  |  |  |
| Nkana East-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Nkana East-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Nkana East-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Nkana East-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Nkana East-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Nkana East-014 | Bus riser | Each | 1 |  |  |  |  |
| Nkana East-015 | Bus Section | each | 1 |  |  |  |  |
| Nkana East-016 | Earthing panel | each | 1 |  |  |  |  |
| Nkana East-017 | Incomers | each | 3 |  |  |  |  |
| Nkana East-018 | Out going feeders | each | 5 |  |  |  |  |
| Nkana East-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Nkana East-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Nkana East-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Nkana East-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Nkana East-023 | Support insulators | lot | 1 |  |  |  |  |
| Nkana East-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Nkana East-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Nkana East-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Nkana East-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Nkana East-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Nkana East-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Nkana East-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Nkana East-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Nkana East-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Nkana East-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Nkana East-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Nkana East-035 | Batteries 1200AH -48V + invertor (48Vdc/220Vac) | lot | 1 |  |  |  |  |
| Nkana East-036 | Charger and accessories | lot | 1 |  |  |  |  |
| Nkana East-037 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Nkana East-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Nkana East-039 | PCM Multiplexer | lot | 1 |  |  |  |  |
| Nkana East-040 | Electrical SFPs | each | 4 |  |  |  |  |
| Nkana East-041 | 8 Port optical to POTS convertor | Each | 2 |  |  |  |  |
| Nkana East-042 | Analogue Telephone handsets | lot | 1 |  |  |  |  |
| Nkana East-043 | VoIP Telephone handsets | Each | 5 |  |  |  |  |
| Nkana East-044 |  |  |  |  |  |  |  |
| Nkana East-045 |  |  |  |  |  |  |  |
| Nkana East-046 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Nkana East-047 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Nkana East-048 | In door lighting equipment | lot | 1 |  |  |  |  |
| Nkana East-049 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Nkana East-050 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Nkana East-051 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Nkana East-052 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Nkana East-053 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Nkana East-054 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Nkana East-055 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Nkana East-056 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Nkana East-057 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Nkana East 33/11kV substation plant and equipment supplied from within Employer’s country

| Nkana East 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Nkana East2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Nkana East2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Nkana East2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Nkana East2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Nkana East2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Nkana East2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Nkana East2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Nkana East2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Nkana East2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Nkana East2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Nkana East2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Nkana East2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Nkana East2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Nkana East2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Nkana East2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Nkana East2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Nkana East 33/11kV substation Local Transportation

| Nkana Mine 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Nkana East 33/11kV substation installation services

| Nkana East 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Nkana East4-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 3 |  |  |  |  |
| Nkana East4-002 | Circuit Breaker- Live Tank | each | 8 |  |  |  |  |
| Nkana East4-003 | Isolator, Motor Operated with integral earth switch | each | 7 |  |  |  |  |
| Nkana East4-004 | Isolator switch, Motor Operated without integral earth switch | each | 7 |  |  |  |  |
| Nkana East4-005 | VTs | each | 27 |  |  |  |  |
| Nkana East4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Nkana East4-007 | Surge arresters | each | 21 |  |  |  |  |
| Nkana East4-008 | CTs | each | 24 |  |  |  |  |
| Nkana East4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Nkana East4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Nkana East4-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Nkana East4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Nkana East4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Nkana East4-014 | Bus riser | Each | 1 |  |  |  |  |
| Nkana East4-015 | Bus Section | each | 1 |  |  |  |  |
| Nkana East4-016 | Earthing panel | each | 1 |  |  |  |  |
| Nkana East4-017 | Incomers | each | 2 |  |  |  |  |
| Nkana East4-018 | Out going feeders | each | 5 |  |  |  |  |
| Nkana East4-019 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Nkana East4-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Nkana East4-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Nkana East4-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Nkana East4-023 | Support insulators | lot | 1 |  |  |  |  |
| Nkana East4-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Nkana East4-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Nkana East4-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Nkana East4-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Nkana East4-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Nkana East4-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Nkana East4-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Nkana East4-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Nkana East4-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Nkana East4-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Nkana East4-034 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Nkana East4-035 | Other equipment | lot | 1 |  |  |  |  |
| Nkana East4-036 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Nkana East4-037 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Nkana East4-038 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Nkana East 33/11kV substation total project cost with VAT and duties

| Nkana East 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Luangwa 33/11kV Substation

#### Schedule 1: Luangwa 33/11kV substation plant and equipment supplied from abroad

| Luangwa 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Luangwa1-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 3 |  |  |  |  |
| Luangwa1-002 | Circuit Breaker- Live Tank | each | 8 |  |  |  |  |
| Luangwa1-003 | Isolator, Motor Operated with integral earth switch | each | 7 |  |  |  |  |
| Luangwa1-004 | Isolator switch, Motor Operated without integral earth switch | each | 7 |  |  |  |  |
| Luangwa1-005 | VTs | each | 27 |  |  |  |  |
| Luangwa1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Luangwa1-007 | Surge arresters | each | 21 |  |  |  |  |
| Luangwa1-008 | CTs | each | 24 |  |  |  |  |
| Luangwa1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Luangwa1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Luangwa1-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Luangwa1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Luangwa1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Luangwa1-014 | Bus riser | Each | 1 |  |  |  |  |
| Luangwa1-015 | Bus Section | each | 1 |  |  |  |  |
| Luangwa1-016 | Earthing panel | each | 1 |  |  |  |  |
| Luangwa1-017 | Incomers | each | 3 |  |  |  |  |
| Luangwa1-018 | Out going feeders | each | 10 |  |  |  |  |
| Luangwa1-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Luangwa1-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Luangwa1-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Luangwa1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Luangwa1-023 | Support insulators | lot | 1 |  |  |  |  |
| Luangwa1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Luangwa1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Luangwa1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Luangwa1-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Luangwa1-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Luangwa1-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Luangwa1-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Luangwa1-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Luangwa1-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Luangwa1-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Luangwa1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Luangwa1-035 | Batteries 1200AH -48V + invertor (48Vdc/220Vac) | lot | 1 |  |  |  |  |
| Luangwa1-036 | Charger and accessories | lot | 1 |  |  |  |  |
| Luangwa1-037 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Luangwa1-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Luangwa1-039 | PCM Multiplexer | lot | 1 |  |  |  |  |
| Luangwa1-040 | Electrical SFPs | each | 4 |  |  |  |  |
| Luangwa1-041 | 8 Port optical to POTS convertor | Each | 2 |  |  |  |  |
| Luangwa1-042 | Analogue Telephone handsets | Each | 5 |  |  |  |  |
| Luangwa1-043 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| Luangwa1-044 |  |  |  |  |  |  |  |
| Luangwa1-045 |  |  |  |  |  |  |  |
| Luangwa1-046 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Luangwa1-047 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Luangwa1-048 | In door lighting equipment | lot | 1 |  |  |  |  |
| Luangwa1-049 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Luangwa1-050 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Luangwa1-051 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Luangwa1-052 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Luangwa1-053 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Luangwa1-054 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Luangwa1-055 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Luangwa1-056 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Luangwa1-057 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Luangwa 33/11kV substation plant and equipment supplied from within Employer’s country

| Luangwa 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Luangwa2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Luangwa2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Luangwa2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Luangwa2-003 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Luangwa2-004 | Lightning masts | Lot | 1 |  |  |  |  |
| Luangwa2-005 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Luangwa2-006 | Cable trenches | Lot | 1 |  |  |  |  |
| Luangwa2-007 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Luangwa2-008 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Luangwa2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Luangwa2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Luangwa2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Luangwa2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Luangwa2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Luangwa2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Luangwa2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Luangwa 33/11kV substation Local Transportation

| Nkana Mine 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Luangwa 33/11kV substation installation services

| Luangwa 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Luangwa4-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 3 |  |  |  |  |
| Luangwa4-002 | Circuit Breaker- Live Tank | each | 8 |  |  |  |  |
| Luangwa4-003 | Isolator, Motor Operated with integral earth switch | each | 7 |  |  |  |  |
| Luangwa4-004 | Isolator switch, Motor Operated without integral earth switch | each | 7 |  |  |  |  |
| Luangwa4-005 | VTs | each | 27 |  |  |  |  |
| Luangwa4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Luangwa4-007 | Surge arresters | each | 21 |  |  |  |  |
| Luangwa4-008 | CTs | each | 24 |  |  |  |  |
| Luangwa4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Luangwa4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Luangwa4-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Luangwa4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Luangwa4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Luangwa4-014 | Bus riser | Each | 1 |  |  |  |  |
| Luangwa4-015 | Bus Section | each | 1 |  |  |  |  |
| Luangwa4-016 | Earthing panel | each | 1 |  |  |  |  |
| Luangwa4-017 | Incomers | each | 3 |  |  |  |  |
| Luangwa4-018 | Out going feeders | each | 10 |  |  |  |  |
| Luangwa4-019 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Luangwa4-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Luangwa4-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Luangwa4-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Luangwa4-023 | Support insulators | lot | 1 |  |  |  |  |
| Luangwa4-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Luangwa4-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Luangwa4-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Luangwa4-027 | Conductors, Insulator strings, Clamps ,marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Luangwa4-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Luangwa4-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Luangwa4-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Luangwa4-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Luangwa4-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Luangwa4-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Luangwa4-034 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Luangwa4-035 | Other equipment | lot | 1 |  |  |  |  |
| Luangwa4-036 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Luangwa4-037 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Luangwa4-038 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Luangwa 33/11kV substation total project cost with VAT and duties

| Nkana East 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Kalulushi 132/33/11kV Substation

#### Schedule 1: Kalulushi 132/33/11kV substation plant and equipment supplied from abroad

| Kalulushi 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
|  | 132kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Kalulushi1-001 | 31.5/40MVA 132/33kV Three phase transformers | each | 3 |  |  |  |  |
| Kalulushi1-002 | Circuit Breaker- Live Tank | each | 7 |  |  |  |  |
| Kalulushi1-003 | Isolator, Motor Operated with integral earth switch | each | 7 |  |  |  |  |
| Kalulushi1-004 | Isolator switch, Motor Operated without integral earth switch | each | 20 |  |  |  |  |
| Kalulushi1-005 | CVTs | each | 21 |  |  |  |  |
| Kalulushi1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Kalulushi1-007 | Surge arresters | each | 15 |  |  |  |  |
| Kalulushi1-008 | CTs | each | 27 |  |  |  |  |
| Kalulushi1-009 | 33kV NERs complete with neutral CTs | each | 3 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kalulushi1-010 | 132kV Line protection system | lot | 1 |  |  |  |  |
| Kalulushi1-011 | 31.5/40MVA 132/33kV Transformers protection system | lot | 1 |  |  |  |  |
| Kalulushi1-012 | 132kV line protection communication interface | lot | 1 |  |  |  |  |
| Kalulushi1-013 | 132kV bus bar protection system | lot | 1 |  |  |  |  |
| Kalulushi1-014 | 132kV Bus coupler Protection System | lot | 1 |  |  |  |  |
| Kalulushi1-015 | 132kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| b | 33kV-Equipment and Materials |  |  |  |  |  |  |
| Kalulushi1-016 | 25/31.5MVA 33/11kV three phase Transformers | Each | 2 |  |  |  |  |
| Kalulushi1-017 | Circuit Breaker- Live Tank | each | 10 |  |  |  |  |
| Kalulushi1-018 | Isolator, Motor Operated with integral earth switch | each | 9 |  |  |  |  |
| Kalulushi1-019 | Isolator, Motor Operated without integral earth switch | each | 11 |  |  |  |  |
| Kalulushi1-020 | CVTs | each | 33 |  |  |  |  |
| Kalulushi1-021 | Surge arresters | each | 27 |  |  |  |  |
| Kalulushi1-022 | CTs | each | 30 |  |  |  |  |
| Kalulushi1-023 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Kalulushi1-024 | 132/11kV Transformer protection system | lot | 1 |  |  |  |  |
| Kalulushi1-025 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| d. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kalulushi1-026 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kalulushi1-027 | Support insulators | lot | 1 |  |  |  |  |
| Kalulushi1-028 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Kalulushi1-29 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for 132 kV Material and Equipment |  |  |  |  |  |  |
| 3 | 11 kV- Equipment and Material | Unit | Quantity | Unit Price | Total |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Kalulushi1-030 | Bus riser | each | 1 |  |  |  |  |
| Kalulushi1-031 | Bus Section | each | 1 |  |  |  |  |
| Kalulushi1-032 | Earthing panel | each | 1 |  |  |  |  |
| Kalulushi1-033 | Incomers | each | 2 |  |  |  |  |
| Kalulushi1-034 | Out going feeders | each | 8 |  |  |  |  |
| Kalulushi1-035 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
|  | 11kV protection system | lot | 1 |  |  |  |  |
|  | Transformer protection system | lot | 1 |  |  |  |  |
|  | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | 11kV NERs | Each | 2 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kalulushi1-036 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Kalulushi1-037 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Kalulushi1-038 | 100kVA diesel Generator complete with accessories | each | 1 |  |  |  |  |
| Kalulushi1-039 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Kalulushi1-040 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for 11 kV Material and Equipment |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kalulushi1-041 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Kalulushi1-042 | Batteries 1200AH -48V + invertor (48vdc/220vac) | lot | 1 |  |  |  |  |
| Kalulushi1-043 | Charger and accessories | lot | 1 |  |  |  |  |
| Kalulushi1-044 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Kalulushi1-045 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Kalulushi1-046 | FOX Multiplexer | lot | 1 |  |  |  |  |
| Kalulushi1-047 | Splicing machine | each | 1 |  |  |  |  |
| Kalulushi1-048 | Maintainance and Testing equipment | lot | 1 |  |  |  |  |
| Kalulushi1-049 | Electrical SFPs | Each | 10 |  |  |  |  |
| Kalulushi1-050 | Analogue Telephone handsets | Each | 6 |  |  |  |  |
| Kalulushi1-051 | VoIP Telephone handsets | Each | 5 |  |  |  |  |
| Kalulushi1-052 |  |  |  |  |  |  |  |
| Kalulushi1-053 |  |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kalulushi1-054 | 132kV lightning masts | lot | 1 |  |  |  |  |
| Kalulushi1-055 | In door lighting equipment | lot | 1 |  |  |  |  |
| Kalulushi1-056 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Kalulushi1-057 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Kalulushi1-058 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Kalulushi1-059 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Kalulushi1-060 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Kalulushi1-061 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Kalulushi1-062 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Kalulushi1-063 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Kalulushi1-064 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
| 6 | WAMPAC |  |  |  |  |  |  |
| Kalulushi1-065 | WAMPAC execution station | Lot | 1 |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Kalulushi 132/33/11kV substation plant and equipment supplied from within Employer’s country

| Kalulushi 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Kalulushi2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Kalulushi2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Kalulushi2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Kalulushi2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Kalulushi2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Kalulushi2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Kalulushi2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Kalulushi2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Kalulushi2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Kalulushi2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Kalulushi2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Kalulushi2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Kalulushi2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Kalulushi2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Kalulushi2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Kalulushi2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Kalulushi 132/33/11kV substation Local Transportation

| New Kitwe 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Kalulushi 132/33/11kV substation installation services

| Kalulushi 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132kV Equipment and materials |  |  |  |  |  |  |
| Kalulushi4-001 | 31.5/40MVA 132/33kV Three phase transformers | each | 3 |  |  |  |  |
| Kalulushi4-002 | Circuit Breaker- Live Tank | each | 7 |  |  |  |  |
| Kalulushi4-003 | Isolator, Motor Operated with integral earth switch | each | 5 |  |  |  |  |
| Kalulushi4-004 | Isolator switch, Motor Operated without integral earth switch | each | 22 |  |  |  |  |
| Kalulushi4-005 | CVTs | each | 21 |  |  |  |  |
| Kalulushi4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Kalulushi4-007 | Surge arresters | each | 15 |  |  |  |  |
| Kalulushi4-008 | CTs | each | 27 |  |  |  |  |
| Kalulushi4-009 | 33kV NERs complete with neutral CTs | each | 3 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kalulushi4-010 | 132kV Line protection system | lot | 1 |  |  |  |  |
| Kalulushi4-011 | 31.5/40MVA 132/33kV Transformers protection system | lot | 1 |  |  |  |  |
| Kalulushi4-012 | 132kV line protection communication interface | lot | 1 |  |  |  |  |
| Kalulushi4-013 | 132kV bus bar protection system | lot | 1 |  |  |  |  |
| Kalulushi4-014 | 132kV Bus coupler Protection System | lot | 1 |  |  |  |  |
| Kalulushi4-015 | 132kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| b | 33kV Equipment and materials |  |  |  |  |  |  |
| Kalulushi4-016 | 25/31.5MVA 33/11kV three phase Transformers | Each | 2 |  |  |  |  |
| Kalulushi4-017 | Circuit Breaker- Live Tank | each | 10 |  |  |  |  |
| Kalulushi4-018 | Isolator, Motor Operated with integral earth switch | each | 9 |  |  |  |  |
| Kalulushi4-019 | Isolator, Motor Operated without integral earth switch | each | 11 |  |  |  |  |
| Kalulushi4-020 | CVTs | each | 33 |  |  |  |  |
| Kalulushi4-021 | Surge arresters | each | 27 |  |  |  |  |
| Kalulushi4-022 | CTs | each | 30 |  |  |  |  |
| Kalulushi4-023 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kalulushi4-024 | 33/11kV Transformer protection system | lot | 1 |  |  |  |  |
| Kalulushi4-025 | 33kV line protection system |  |  |  |  |  |  |
| Kalulushi4-026 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| Kalulushi4-027 | 11kV Metering system (0.2s) | Lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kalulushi4-028 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kalulushi4-029 | Support insulators | lot | 1 |  |  |  |  |
| Kalulushi4-030 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Kalulushi4-031 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
|  | Miscellaneous 33kV Material and Equipment |  |  |  |  |  |  |
| Kalulushi4-032 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Kalulushi4-033 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Kalulushi4-034 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for 33 kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Kalulushi4-035 | Bus riser | each | 1 |  |  |  |  |
| Kalulushi4-036 | Bus Section | each | 1 |  |  |  |  |
| Kalulushi4-037 | Earthing panel | each | 1 |  |  |  |  |
| Kalulushi4-038 | Incomers | each | 2 |  |  |  |  |
| Kalulushi4-039 | Out going feeders | each | 4 |  |  |  |  |
| Kalulushi4-040 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kalulushi4-041 | 11kV protection system | lot | 1 |  |  |  |  |
| Kalulushi4-042 | Transformer protection system | lot | 1 |  |  |  |  |
| Kalulushi4-043 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| Kalulushi4-044 | 11kV NERs | Each | 2 |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kalulushi4-045 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Kalulushi4-046 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Kalulushi4-047 | 100kVA diesel Generator complete with accessories | each | 1 |  |  |  |  |
| Kalulushi4-048 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Kalulushi4-049 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Kalulushi4-050 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Kalulushi4-051 | Other equipment | lot | 1 |  |  |  |  |
| Kalulushi4-052 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
| 8 | WAMPAC |  |  |  |  |  |  |
| Kalulushi4-053 | WAMPAC execution station | Lot | 1 |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |
| 9 | Civil works |  |  |  |  |  |  |
| Kalulushi4-054 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Kalulushi4-055 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Kalulushi 132/33kV substation total project cost with VAT and duties

| Kalulushi 132/311kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Kalulushi North 33/11kV Substation

#### Schedule 1: Kalulushi North 33/11kV substation plant and equipment supplied from abroad

| Kalulushi North 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Kalulushi North1-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Kalulushi North1-002 | Circuit Breaker- Live Tank | each | 4 |  |  |  |  |
| Kalulushi North1-003 | Isolator, Motor Operated with integral earth switch | each | 3 |  |  |  |  |
| Kalulushi North1-004 | Isolator switch, Motor Operated without integral earth switch | each | 3 |  |  |  |  |
| Kalulushi North1-005 | VTs | each | 15 |  |  |  |  |
| Kalulushi North1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Kalulushi North1-007 | Surge arresters | each | 9 |  |  |  |  |
| Kalulushi North1-008 | CTs | each | 12 |  |  |  |  |
| Kalulushi North1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kalulushi North1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Kalulushi North1-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Kalulushi North1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Kalulushi North1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Kalulushi North1-014 | Bus riser | Each | 1 |  |  |  |  |
| Kalulushi North1-015 | Bus Section | each | 1 |  |  |  |  |
| Kalulushi North1-016 | Earthing panel | each | 1 |  |  |  |  |
| Kalulushi North1-017 | Incomers | each | 2 |  |  |  |  |
| Kalulushi North1-018 | Out going feeders | each | 3 |  |  |  |  |
| Kalulushi North1-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Kalulushi North1-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Kalulushi North1-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kalulushi North1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kalulushi North1-023 | Support insulators | lot | 1 |  |  |  |  |
| Kalulushi North1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Kalulushi North1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Kalulushi North1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Kalulushi North1-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Kalulushi North1-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kalulushi North1-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Kalulushi North1-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Kalulushi North1-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Kalulushi North1-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Kalulushi North1-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kalulushi North1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Kalulushi North1-035 | Batteries 1200AH -48V + invertor (48Vdc/220Vac) | lot | 1 |  |  |  |  |
| Kalulushi North1-036 | Charger and accessories | lot | 1 |  |  |  |  |
| Kalulushi North1-037 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Kalulushi North1-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Kalulushi North1-039 | PCM Multiplexer | lot | 1 |  |  |  |  |
| Kalulushi North1-040 | Electrical SFPs | each | 4 |  |  |  |  |
| Kalulushi North1-041 | 8 Port optical to POTS convertor | Each | 2 |  |  |  |  |
| Kalulushi North1-043 | Analogue Telephone handsets | Each | 5 |  |  |  |  |
| Kalulushi North1-044 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| Kalulushi North1-045 |  |  |  |  |  |  |  |
| Kalulushi North1-046 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kalulushi North1-047 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Kalulushi North1-048 | In door lighting equipment | lot | 1 |  |  |  |  |
| Kalulushi North1-049 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Kalulushi North1-050 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Kalulushi North1-051 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Kalulushi North1-052 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Kalulushi North1-053 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Kalulushi North1-054 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Kalulushi North1-055 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Kalulushi North1-056 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Kalulushi North1-057 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Kalulushi North 33/11kV substation plant and equipment supplied from within Employer’s country

| Kalulushi North 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Kalulushi North2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Kalulushi North2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Kalulushi North2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Kalulushi North2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Kalulushi North2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Kalulushi North2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Kalulushi North2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Kalulushi North2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Kalulushi North2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Kalulushi North2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Kalulushi North2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Kalulushi North2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Kalulushi North2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Kalulushi North2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Kalulushi North2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Kalulushi North2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Kalulushi North 33/11kV substation Local Transportation

| Kalulushi North 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Kalulushi North 33/11kV substation installation services

| Kalulushi North 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Kalulushi North 4-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Kalulushi North 4-002 | Circuit Breaker- Live Tank | each | 4 |  |  |  |  |
| Kalulushi North 4-003 | Isolator, Motor Operated with integral earth switch | each | 3 |  |  |  |  |
| Kalulushi North 4-004 | Isolator switch, Motor Operated without integral earth switch | each | 3 |  |  |  |  |
| Kalulushi North 4-005 | VTs | each | 15 |  |  |  |  |
| Kalulushi North 4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Kalulushi North 4-007 | Surge arresters | each | 9 |  |  |  |  |
| Kalulushi North 4-008 | CTs | each | 12 |  |  |  |  |
| Kalulushi North 4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kalulushi North 4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Kalulushi North 4-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Kalulushi North 4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Kalulushi North 4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Kalulushi North 4-014 | Bus riser | Each | 1 |  |  |  |  |
| Kalulushi North 4-015 | Bus Section | each | 1 |  |  |  |  |
| Kalulushi North 4-016 | Earthing panel | each | 1 |  |  |  |  |
| Kalulushi North 4-017 | Incomers | each | 3 |  |  |  |  |
| Kalulushi North 4-018 | Out going feeders | each | 6 |  |  |  |  |
| Kalulushi North 4-019 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kalulushi North 4-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Kalulushi North 4-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kalulushi North 4-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kalulushi North 4-023 | Support insulators | lot | 1 |  |  |  |  |
| Kalulushi North 4-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Kalulushi North 4-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Kalulushi North 4-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Kalulushi North 4-027 | Conductors, Insulator strings, Clamps ,marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Kalulushi North 4-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kalulushi North 4-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Kalulushi North 4-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Kalulushi North 4-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Kalulushi North 4-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Kalulushi North 4-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Kalulushi North 4-034 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Kalulushi North 4-035 | Other equipment | lot | 1 |  |  |  |  |
| Kalulushi North 4-036 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Kalulushi North 4-037 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Kalulushi North 4-038 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Kalulushi North 33/11kV substation total project cost with VAT and duties

| Kalulushi North 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### New Chibuluma 33/11kV Substation

#### Schedule 1: New Chibuluma 33/11kV substation plant and equipment supplied from abroad

| New Chibuluma 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| New Chibuluma1-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| New Chibuluma1-002 | Circuit Breaker- Live Tank | each | 5 |  |  |  |  |
| New Chibuluma1-003 | Isolator, Motor Operated with integral earth switch | each | 4 |  |  |  |  |
| New Chibuluma1-004 | Isolator switch, Motor Operated without integral earth switch | each | 4 |  |  |  |  |
| New Chibuluma1-005 | VTs | each | 18 |  |  |  |  |
| New Chibuluma1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| New Chibuluma1-007 | Surge arresters | each | 12 |  |  |  |  |
| New Chibuluma1-008 | CTs | each | 15 |  |  |  |  |
| New Chibuluma1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| New Chibuluma1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| New Chibuluma1-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| New Chibuluma1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| New Chibuluma1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| New Chibuluma1-014 | Bus riser | Each | 1 |  |  |  |  |
| New Chibuluma1-015 | Bus Section | each | 1 |  |  |  |  |
| New Chibuluma1-016 | Earthing panel | each | 1 |  |  |  |  |
| New Chibuluma1-017 | Incomers | each | 2 |  |  |  |  |
| New Chibuluma1-018 | Out going feeders | each | 4 |  |  |  |  |
| New Chibuluma1-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| New Chibuluma1-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| New Chibuluma1-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| New Chibuluma1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| New Chibuluma1-023 | Support insulators | lot | 1 |  |  |  |  |
| New Chibuluma1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| New Chibuluma1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| New Chibuluma1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| New Chibuluma1-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| New Chibuluma1-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| New Chibuluma1-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| New Chibuluma1-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| New Chibuluma1-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| New Chibuluma1-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| New Chibuluma1-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| New Chibuluma1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| New Chibuluma1-035 | Batteries 1200AH -48V + invertor (48Vdc/220Vac) | lot | 1 |  |  |  |  |
| New Chibuluma1-036 | Charger and accessories | lot | 1 |  |  |  |  |
| New Chibuluma1-037 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| New Chibuluma1-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| New Chibuluma1-039 | PCM Multiplexer | lot | 1 |  |  |  |  |
| New Chibuluma1-040 | Electrical SFPs | each | 4 |  |  |  |  |
| New Chibuluma1-041 | 8 Port optical to POTS convertor | Each | 2 |  |  |  |  |
| New Chibuluma1-043 | Analogue Telephone handsets | Each | 5 |  |  |  |  |
| New Chibuluma1-044 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| New Chibuluma1-045 |  |  |  |  |  |  |  |
| New Chibuluma1-046 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| New Chibuluma1-047 | 33kV lightning masts | lot | 1 |  |  |  |  |
| New Chibuluma1-048 | In door lighting equipment | lot | 1 |  |  |  |  |
| New Chibuluma1-049 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| New Chibuluma1-050 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| New Chibuluma1-051 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| New Chibuluma1-052 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| New Chibuluma1-053 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| New Chibuluma1-054 | cable fire protection equipment | lot | 1 |  |  |  |  |
| New Chibuluma1-055 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| New Chibuluma1-056 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| New Chibuluma1-057 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: New Chibuluma 33/11kV substation plant and equipment supplied from within Employer’s country

| New Chibuluma 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| New Chibuluma2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| New Chibuluma2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| New Chibuluma2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| New Chibuluma2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| New Chibuluma2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| New Chibuluma2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| New Chibuluma2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| New Chibuluma2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| New Chibuluma2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| New Chibuluma2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| New Chibuluma2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| New Chibuluma2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| New Chibuluma2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| New Chibuluma2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| New Chibuluma2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| New Chibuluma2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: New Chibuluma 33/11kV substation Local Transportation

| New Chibuluma 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: New Chibuluma 33/11kV substation installation services

| New Chibuluma 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| New Chibuluma4-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| New Chibuluma4-002 | Circuit Breaker- Live Tank | each | 5 |  |  |  |  |
| New Chibuluma4-003 | Isolator, Motor Operated with integral earth switch | each | 4 |  |  |  |  |
| New Chibuluma4-004 | Isolator switch, Motor Operated without integral earth switch | each | 4 |  |  |  |  |
| New Chibuluma4-005 | VTs | each | 18 |  |  |  |  |
| New Chibuluma4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| New Chibuluma4-007 | Surge arresters | each | 12 |  |  |  |  |
| New Chibuluma4-008 | CTs | each | 15 |  |  |  |  |
| New Chibuluma4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| New Chibuluma4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| New Chibuluma4-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| New Chibuluma4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| New Chibuluma4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| New Chibuluma4-014 | Bus riser | Each | 1 |  |  |  |  |
| New Chibuluma4-015 | Bus Section | each | 1 |  |  |  |  |
| New Chibuluma4-016 | Earthing panel | each | 1 |  |  |  |  |
| New Chibuluma4-017 | Incomers | each | 2 |  |  |  |  |
| New Chibuluma4-018 | Out going feeders | each | 4 |  |  |  |  |
| New Chibuluma4-019 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| New Chibuluma4-022 | 11kV Line protection system | lot | 1 |  |  |  |  |
| New Chibuluma4-023 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| New Chibuluma4-024 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| New Chibuluma4-025 | Support insulators | lot | 1 |  |  |  |  |
| New Chibuluma4-026 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| New Chibuluma4-027 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| New Chibuluma4-028 | 33kV Support insulator | lot | 1 |  |  |  |  |
| New Chibuluma4-029 | Conductors, Insulator strings, Clamps ,marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| New Chibuluma4-030 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| New Chibuluma4-031 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| New Chibuluma4-032 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| New Chibuluma4-033 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| New Chibuluma4-034 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| New Chibuluma4-035 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| New Chibuluma4-036 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| New Chibuluma4-037 | Other equipment | lot | 1 |  |  |  |  |
| New Chibuluma4-038 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| New Chibuluma4-039 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| New Chibuluma4-040 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for New Chibuluma 33/11kV substation total project cost with VAT and duties

| New Chibuluma 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Lwamisamba 33/11kV Substation

#### Schedule 1: Lwamisamba 33/11kV substation plant and equipment supplied from abroad

| Lwamisamba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Lwamisamba1-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Lwamisamba1-002 | Circuit Breaker- Live Tank | each | 9 |  |  |  |  |
| Lwamisamba1-003 | Isolator, Motor Operated with integral earth switch | each | 8 |  |  |  |  |
| Lwamisamba1-004 | Isolator switch, Motor Operated without integral earth switch | each | 8 |  |  |  |  |
| Lwamisamba1-005 | VTs | each | 30 |  |  |  |  |
| Lwamisamba1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Lwamisamba1-007 | Surge arresters | each | 24 |  |  |  |  |
| Lwamisamba1-008 | CTs | each | 27 |  |  |  |  |
| Lwamisamba1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Lwamisamba1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Lwamisamba1-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Lwamisamba1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Lwamisamba1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Lwamisamba1-014 | Bus riser | Each | 1 |  |  |  |  |
| Lwamisamba1-015 | Bus Section | each | 1 |  |  |  |  |
| Lwamisamba1-016 | Earthing panel | each | 1 |  |  |  |  |
| Lwamisamba1-017 | Incomers | each | 2 |  |  |  |  |
| Lwamisamba1-018 | Out going feeders | each | 4 |  |  |  |  |
| Lwamisamba1-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Lwamisamba1-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Lwamisamba1-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Lwamisamba1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Lwamisamba1-023 | Support insulators | lot | 1 |  |  |  |  |
| Lwamisamba1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Lwamisamba1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Lwamisamba1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Lwamisamba1-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Lwamisamba1-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Lwamisamba1-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Lwamisamba1-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Lwamisamba1-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Lwamisamba1-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Lwamisamba1-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Lwamisamba1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Lwamisamba1-035 | Batteries 1200AH -48V + invertor (48Vdc/220Vac) | lot | 1 |  |  |  |  |
| Lwamisamba1-036 | Charger and accessories | lot | 1 |  |  |  |  |
| Lwamisamba1-037 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Lwamisamba1-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Lwamisamba1-039 | PCM Multiplexer | lot | 1 |  |  |  |  |
| Lwamisamba1-040 | Electrical SFPs | each | 4 |  |  |  |  |
| Lwamisamba1-041 | 8 Port optical to POTS convertor | Each | 2 |  |  |  |  |
| Lwamisamba1-043 | Analogue Telephone handsets | Each | 5 |  |  |  |  |
| Lwamisamba1-044 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| Lwamisamba1-045 |  |  |  |  |  |  |  |
| Lwamisamba1-046 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Lwamisamba1-047 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Lwamisamba1-048 | In door lighting equipment | lot | 1 |  |  |  |  |
| Lwamisamba1-049 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Lwamisamba1-050 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Lwamisamba1-051 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Lwamisamba1-052 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Lwamisamba1-053 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Lwamisamba1-054 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Lwamisamba1-055 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Lwamisamba1-056 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Lwamisamba1-057 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Lwamisamba 33/11kV substation plant and equipment supplied from within Employer’s country

| Lwamisamba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Lwamisamba2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Lwamisamba2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Lwamisamba2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Lwamisamba2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Lwamisamba2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Lwamisamba2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Lwamisamba2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Lwamisamba2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Lwamisamba2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Lwamisamba2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Lwamisamba2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Lwamisamba2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Lwamisamba2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Lwamisamba2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Lwamisamba2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Lwamisamba2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Lwamisamba 33/11kV substation Local Transportation

| Lwamisamba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Lwamisamba 33/11kV substation installation services

| Lwamisamba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Lwamisamba4-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Lwamisamba4-002 | Circuit Breaker- Live Tank | each | 9 |  |  |  |  |
| Lwamisamba4-003 | Isolator, Motor Operated with integral earth switch | each | 8 |  |  |  |  |
| Lwamisamba4-004 | Isolator switch, Motor Operated without integral earth switch | each | 8 |  |  |  |  |
| Lwamisamba4-005 | VTs | each | 30 |  |  |  |  |
| Lwamisamba4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Lwamisamba4-007 | Surge arresters | each | 24 |  |  |  |  |
| Lwamisamba4-008 | CTs | each | 27 |  |  |  |  |
| Lwamisamba4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Lwamisamba4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Lwamisamba4-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Lwamisamba4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Lwamisamba4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Lwamisamba4-014 | Bus riser | Each | 1 |  |  |  |  |
| Lwamisamba4-015 | Bus Section | each | 1 |  |  |  |  |
| Lwamisamba4-016 | Earthing panel | each | 1 |  |  |  |  |
| Lwamisamba4-017 | Incomers | each | 2 |  |  |  |  |
| Lwamisamba4-018 | Out going feeders | each | 4 |  |  |  |  |
| Lwamisamba4-019 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Lwamisamba4-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Lwamisamba4-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Lwamisamba4-020 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Lwamisamba4-021 | Support insulators | lot | 1 |  |  |  |  |
| Lwamisamba4-022 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Lwamisamba4-023 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Lwamisamba4-024 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Lwamisamba4-025 | Conductors, Insulator strings, Clamps ,marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Lwamisamba4-026 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Lwamisamba4-027 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Lwamisamba4-028 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Lwamisamba4-029 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Lwamisamba4-030 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Lwamisamba4-031 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Lwamisamba4-032 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Lwamisamba4-033 | Other equipment | lot | 1 |  |  |  |  |
| Lwamisamba4-034 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Lwamisamba4-035 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Lwamisamba4-036 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Lwamisamba 33/11kV substation total project cost with VAT and duties

| Lwamisamba 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Kalulushi Airport 33/11kV Substation

#### Schedule 1: Kalulushi Airport 33/11kV substation plant and equipment supplied from abroad

| Kalulushi Airport 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Kalulushi Airport 1-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Kalulushi Airport 1-002 | Circuit Breaker- Live Tank | each | 9 |  |  |  |  |
| Kalulushi Airport 1-003 | Isolator, Motor Operated with integral earth switch | each | 8 |  |  |  |  |
| Kalulushi Airport 1-004 | Isolator switch, Motor Operated without integral earth switch | each | 8 |  |  |  |  |
| Kalulushi Airport 1-005 | VTs | each | 30 |  |  |  |  |
| Kalulushi Airport 1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Kalulushi Airport 1-007 | Surge arresters | each | 24 |  |  |  |  |
| Kalulushi Airport 1-008 | CTs | each | 27 |  |  |  |  |
| Kalulushi Airport 1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kalulushi Airport 1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Kalulushi Airport 1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Kalulushi Airport 1-014 | Bus riser | Each | 1 |  |  |  |  |
| Kalulushi Airport 1-015 | Bus Section | each | 1 |  |  |  |  |
| Kalulushi Airport 1-016 | Earthing panel | each | 1 |  |  |  |  |
| Kalulushi Airport 1-017 | Incomers | each | 2 |  |  |  |  |
| Kalulushi Airport 1-018 | Out going feeders | each | 5 |  |  |  |  |
| Kalulushi Airport 1-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Kalulushi Airport 1-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kalulushi Airport 1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-023 | Support insulators | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kalulushi Airport 1-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Kalulushi Airport 1-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kalulushi Airport 1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-035 | Batteries 1200AH -48V + invertor (48Vdc/220Vac) | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-036 | Charger and accessories | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-037 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-039 | PCM Multiplexer | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-040 | Electrical SFPs | each | 4 |  |  |  |  |
| Kalulushi Airport 1-041 | 8 Port optical to POTS convertor | Each | 2 |  |  |  |  |
| Kalulushi Airport 1-043 | Analogue Telephone handsets | Each | 5 |  |  |  |  |
| Kalulushi Airport 1-044 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| Kalulushi Airport 1-045 |  |  |  |  |  |  |  |
| Kalulushi Airport 1-046 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kalulushi Airport 1-047 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-048 | In door lighting equipment | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-049 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-050 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-051 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-052 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-053 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-054 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-055 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-056 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Kalulushi Airport 1-057 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Kalulushi Airport 33/11kV substation plant and equipment supplied from within Employer’s country

| Kalulushi Airport 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Kalulushi Airport2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Kalulushi Airport2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Kalulushi Airport2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Kalulushi Airport2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Kalulushi Airport2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Kalulushi Airport2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Kalulushi Airport2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Kalulushi Airport2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Kalulushi Airport2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Kalulushi Airport2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Kalulushi Airport2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Kalulushi Airport2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Kalulushi Airport2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Kalulushi Airport2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Kalulushi Airport2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Kalulushi Airport2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Kalulushi Airport 33/11kV substation Local Transportation

| Kalulushi Airport 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Kalulushi Airport 33/11kV substation installation services

| Kalulushi Airport 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Kalulushi Airport4-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Kalulushi Airport4-002 | Circuit Breaker- Live Tank | each | 9 |  |  |  |  |
| Kalulushi Airport4-003 | Isolator, Motor Operated with integral earth switch | each | 8 |  |  |  |  |
| Kalulushi Airport4-004 | Isolator switch, Motor Operated without integral earth switch | each | 8 |  |  |  |  |
| Kalulushi Airport4-005 | VTs | each | 30 |  |  |  |  |
| Kalulushi Airport4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Kalulushi Airport4-007 | Surge arresters | each | 24 |  |  |  |  |
| Kalulushi Airport4-008 | CTs | each | 27 |  |  |  |  |
| Kalulushi Airport4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kalulushi Airport4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Kalulushi Airport4-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Kalulushi Airport4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Kalulushi Airport4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Kalulushi Airport4-014 | Bus riser | Each | 1 |  |  |  |  |
| Kalulushi Airport4-015 | Bus Section | each | 1 |  |  |  |  |
| Kalulushi Airport4-016 | Earthing panel | each | 1 |  |  |  |  |
| Kalulushi Airport4-017 | Incomers | each | 2 |  |  |  |  |
| Kalulushi Airport4-018 | Out going feeders | each | 5 |  |  |  |  |
| Kalulushi Airport4-019 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kalulushi Airport4-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Kalulushi Airport4-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kalulushi Airport4-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kalulushi Airport4-023 | Support insulators | lot | 1 |  |  |  |  |
| Kalulushi Airport4-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Kalulushi Airport4-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Kalulushi Airport4-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Kalulushi Airport4-027 | Conductors, Insulator strings, Clamps ,marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Kalulushi Airport4-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kalulushi Airport4-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Kalulushi Airport4-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Kalulushi Airport4-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Kalulushi Airport4-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Kalulushi Airport4-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Kalulushi Airport4-034 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Kalulushi Airport4-035 | Other equipment | lot | 1 |  |  |  |  |
| Kalulushi Airport4-036 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Kalulushi Airport4-037 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Kalulushi Airport4-038 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Kalulushi Airport 33/11kV substation total project cost with VAT and duties

| Kalulushi Airport 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Chambishi East 330/132/11kV Substation

#### Schedule 1: Chambishi East 330/132/11kV substation plant and equipment supplied from abroad

| Chambishi East 330/132/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from /Abroad |  |  |  |  |  |  |  |
| Item | Description | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 330kV-Equipment and Materials |  |  |  |  |  |  |
| a | Main Equipment |  |  |  |  |  |  |
| Chambishi East1-001 | 125/160MVA 330/132/11kV | Each | 3 |  |  |  |  |
| Chambishi East1-002 | Circuit Breaker- Live Tank | each | 3 |  |  |  |  |
| Chambishi East1-003 | Isolator, Motor Operated with integral earth switch | each | 3 |  |  |  |  |
| Chambishi East1-004 | Isolator switch, Motor Operated without integral earth switch | each | 12 |  |  |  |  |
| Chambishi East1-005 | CVTs | each | 9 |  |  |  |  |
| Chambishi East1-006 | Surge arresters | each | 9 |  |  |  |  |
| Chambishi East1-007 | CTs | each | 9 |  |  |  |  |
| Chambishi East1-008 | Conductors for bus bar extension (main and reserve) | Lot | 1 |  |  |  |  |
| Chambishi East1-009 | Insulators for 330kV bus bar | Lot | 1 |  |  |  |  |
| Chambishi East1-010 | 330kV bus bar extension by 05 bays | Lot | 1 |  |  |  |  |
|  | Subtotal for 330kV-Equipment and Materials |  |  |  |  |  |  |
| 2 | 132kV-Equipment and Materials |  |  |  |  |  |  |
| a | Main Equipment |  |  |  |  |  |  |
| Chambishi East1-011 | Circuit Breaker- Live Tank | Each | 11 |  |  |  |  |
| Chambishi East1-012 | Isolator, Motor Operated with integral earth switch | Each | 11 |  |  |  |  |
| Chambishi East1-013 | Isolator switch, Motor Operated without integral earth switch | Each | 40 |  |  |  |  |
| Chambishi East1-014 | CVTs | Each | 33 |  |  |  |  |
| Chambishi East1-015 | Surge arresters | Each | 27 |  |  |  |  |
| Chambishi East1-016 | CTs | Each | 42 |  |  |  |  |
| Chambishi East1-017 | 132kV bus bar ( main and reserve) | Lot | 1 |  |  |  |  |
| Chambishi East1-018 | Conductors for bus bar (main and reserve) | Lot | 1 |  |  |  |  |
| Chambishi East1-019 | Insulators for 132kV bus bar | Lot | 1 |  |  |  |  |
|  | Subtotal for 132kV-Equipment and Materials |  |  |  |  |  |  |
| 4 | 11kV-Equipment and Materials |  |  |  |  |  |  |
|  | Main Equipment |  |  |  |  |  |  |
| Chambishi East1-020 | 500kVA 11/0.4kV Auxiliary Transformer | Each | 2 |  |  |  |  |
| Chambishi East1-021 | 11kV Outdoor kiosk complete with 11kV outdoor circuit breaker, wired with CTs, VTs and fitted with an IED providing OCEF and SBEF protection | Each | 2 |  |  |  |  |
| Chambishi East1-022 | 0.4kV Switchboard for station auxiliary supply complete with power and control cables, with all accessories | Lot | 1 |  |  |  |  |
| Chambishi East1-023 | 500kVA Standby Diesel Genset c/w accessories | Lot | 1 |  |  |  |  |
| Chambishi East1-024 | Station battery c/w charger | Lot | 1 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Chambishi East1-024 | 125/160MVA Transformer Protection | Lot | 1 |  |  |  |  |
| Chambishi East1-025 | 330kV & 132kV Line protection system | Lot | 1 |  |  |  |  |
| Chambishi East1-026 | 330kV & 132kV Line protection communication interface | Lot | 1 |  |  |  |  |
| Chambishi East1-027 | 330kV (integration of the extended bus bar into the existing bus bar protection) & 132kV Bus bar protection system | Lot | 1 |  |  |  |  |
| Chambishi East1-028 | 330kV and 132kV Metering set (0.2s) | Lot | 1 |  |  |  |  |
| Chambishi East1-029 | 11kV meteing set (0.2s) | Lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Chambishi East1-030 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Chambishi East1-031 | Support insulators | lot | 1 |  |  |  |  |
| Chambishi East1-032 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Chambishi East1-033 | Grounding Grid Conductor, lightning protection and accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous material and equipment |  |  |  |  |  |  |
| d. | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Chambishi East1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Chambishi East1-035 | Batteries 1200AH -48V + Invertor (48Vdc/220Vac) | lot | 1 |  |  |  |  |
| Chambishi East1-036 | Charger and accessories | lot | 1 |  |  |  |  |
| Chambishi East1-037 | ODF-FC Type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Chambishi East1-038 | PTN terminal equipment and accessories | lot | 1 |  |  |  |  |
| Chambishi East1-039 | SDH 10G terminal equipment | lot | 1 |  |  |  |  |
| Chambishi East1-040 | PCM Multiplexer | Each | 2 |  |  |  |  |
| Chambishi East1-041 | FOX 615 Terminal Equipmemnt and accessories | Each | 2 |  |  |  |  |
| Chambishi East1-042 | SFPs -Electrical type | Each | 10 |  |  |  |  |
| Chambishi East1-043 | Analogue Telephone handsets | Each | 25 |  |  |  |  |
| Chambishi East1-044 | VoIP Telephone handsets | Each | 10 |  |  |  |  |
| Chambishi East1-045 | Laptop for Equipment Management | Each | 1 |  |  |  |  |
| Chambishi East1-046 | Splicing machine with accessories | Each | 1 |  |  |  |  |
| Chambishi East1-047 | Free standing aircon-48000BTU | EACH | 2 |  |  |  |  |
| e | Other equipment |  |  |  |  |  |  |
| Chambishi East1-050 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Chambishi East1-051 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Chambishi East1-052 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Chambishi East1-053 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Chambishi East1-054 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Chambishi East1-055 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Chambishi East1-056 | Other equipment foundation materials | lot | 1 |  |  |  |  |
| Chambishi East1-057 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
| Chingola1-094 | Total |  |  |  |  |  |  |

#### Schedule 2: Chambishi East 330/132/11kV substation plant and equipment supplied from within Employer’s country

| Chambishi East 330/132/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Chambishi East2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Chambishi East2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Chambishi East2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Chambishi East2-004 | Substation equipment foundations and gantries, Transformer firewalls and Oil containment pit | Lot | 1 |  |  |  |  |
| Chambishi East2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Chambishi East2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Chambishi East2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Chambishi East2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Chambishi East2-010 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Chambishi East2-011 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | lot | 1 |  |  |  |  |
| Chambishi East2-012 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Chambishi East2-013 | Substation fence and gates | lot | 1 |  |  |  |  |
| Chambishi East2-014 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Chambishi East2-015 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Chambishi East2-016 | Civil works System testing | lot | 1 |  |  |  |  |
| Chambishi East2-017 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Chambishi 330/132/11kV substation Local Transportation

| Chambishi East 330/132/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Chambishi East 330/132/33kV substation installation services

| Chambishi East 330/132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 330kV Equipment and materials |  |  |  |  |  |  |
| Chambishi East4-001 | 125/160MVA 330/132/11kV | Each | 3 |  |  |  |  |
| Chambishi East4-002 | Circuit Breaker- Live Tank | each | 3 |  |  |  |  |
| Chambishi East4-003 | Isolator, Motor Operated with integral earth switch | each | 3 |  |  |  |  |
| Chambishi East4-004 | Isolator switch, Motor Operated without integral earth switch | each | 12 |  |  |  |  |
| Chambishi East4-005 | CVTs | each | 9 |  |  |  |  |
| Chambishi East4-006 | Surge arresters | each | 9 |  |  |  |  |
| Chambishi East4-007 | CTs | each | 9 |  |  |  |  |
| Chambishi East4-008 | Conductors for bus bar extension (main and reserve) | Lot | 1 |  |  |  |  |
| Chambishi East4-009 | Insulators for 330kV bus bar | Lot | 1 |  |  |  |  |
| Chambishi East4-010 | 330kV bus bar extension by 05 bays | Lot | 1 |  |  |  |  |
|  | Subtotal for 330kV-Equipment and Materials |  |  |  |  |  |  |
| 2 | 132kV-Equipment and Materials |  |  |  |  |  |  |
|  | Main Equipment |  |  |  |  |  |  |
| Chambishi East4-011 | Circuit Breaker- Live Tank | Each | 11 |  |  |  |  |
| Chambishi East4-012 | Isolator, Motor Operated with integral earth switch | Each | 11 |  |  |  |  |
| Chambishi East4-013 | Isolator switch, Motor Operated without integral earth switch | Each | 40 |  |  |  |  |
| Chambishi East4-014 | CVTs | Each | 33 |  |  |  |  |
| Chambishi East4-015 | Surge arresters | Each | 27 |  |  |  |  |
| Chambishi East4-016 | CTs | Each | 42 |  |  |  |  |
| Chambishi East4-017 | 132kV bus bar ( main and reserve) | Lot | 1 |  |  |  |  |
| Chambishi East4-018 | Conductors for bus bar (main and reserve) | Lot | 1 |  |  |  |  |
| Chambishi East4-019 | Insulators for 132kV bus bar | Lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| 4 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Chambishi East4-020 | Main Equipment |  |  |  |  |  |  |
| Chambishi East4-021 | 500kVA 11/0.4kV Auxiliary Transformer | Each | 2 |  |  |  |  |
| Chambishi East4-022 | 11kV Outdoor kiosk complete with 11kV outdoor circuit breaker, wired with CTs, VTs and fitted with an IED providing OCEF and SBEF protection | Each | 2 |  |  |  |  |
| Chambishi East4-023 | 0.4kV Switchboard for station auxiliary supply complete with power and control cables, with all accessories | Lot | 1 |  |  |  |  |
| Chambishi East4-024 | 500kVA Standby Diesel Genset c/w accessories | Lot | 1 |  |  |  |  |
|  | Station battery c/w charger | Lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 5 | Protection |  |  |  |  |  |  |
| Chambishi East4-025 | 125/160MVA Transformer Protection | Lot | 1 |  |  |  |  |
| Chambishi East4-026 | 330kV & 132kV Line protection system | Lot | 1 |  |  |  |  |
| Chambishi East4-027 | 330kV & 132kV Line protection communication interface | Lot | 1 |  |  |  |  |
| Chambishi East4-028 | 330kV (integration of the extended bus bar into the existing bus bar protection) & 132kV Bus bar protection system | Lot | 1 |  |  |  |  |
| Chambishi East4-029 | 330kV and 132kV Metering set (0.2s) | Lot | 1 |  |  |  |  |
| Chambishi East4-030 | 11kV meteing set (0.2s) | Lot | 1 |  |  |  |  |
|  | Subtotal for Protection |  |  |  |  |  |  |
| 6 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Chambishi East4-031 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Chambishi East4-032 | Support insulators | lot | 1 |  |  |  |  |
| Chambishi East4-033 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Chambishi East4-034 | Grounding Grid Conductor, lightning protection and accessories | lot | 1 |  |  |  |  |
|  | Subtotal for 330kV Material and Equipment |  |  |  |  |  |  |
| 7 | Communication Equipment |  |  |  |  |  |  |
| Chambishi East4-35 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 8 | Other Equipment |  |  |  |  |  |  |
| Chambishi East4-036 | Other equipment | lot | 1 |  |  |  |  |
| Chambishi East4-037 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 9 | Civil works |  |  |  |  |  |  |
| Chambishi East4-038 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Chambishi East4-039 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Chambishi East 330/132/11kV substation total project cost with VAT and duties

| Chambishi 330/132/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Chambishi Primary 33/11kV Substation

#### Schedule 1: Chambishi Primary 33/11kV substation plant and equipment supplied from abroad

| Chambishi Primary 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Chambishi Primary1-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Chambishi Primary1-002 | Circuit Breaker- Live Tank | each | 6 |  |  |  |  |
| Chambishi Primary1-003 | Isolator, Motor Operated with integral earth switch | each | 5 |  |  |  |  |
| Chambishi Primary1-004 | Isolator switch, Motor Operated without integral earth switch | each | 5 |  |  |  |  |
| Chambishi Primary1-005 | VTs | each | 21 |  |  |  |  |
| Chambishi Primary1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Chambishi Primary1-007 | Surge arresters | each | 15 |  |  |  |  |
| Chambishi Primary1-008 | CTs | each | 18 |  |  |  |  |
| Chambishi Primary1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Chambishi Primary1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Chambishi Primary1-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Chambishi Primary1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Chambishi Primary1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Chambishi Primary1-014 | Bus riser | Each | 1 |  |  |  |  |
| Chambishi Primary1-015 | Bus Section | each | 1 |  |  |  |  |
| Chambishi Primary1-016 | Earthing panel | each | 1 |  |  |  |  |
| Chambishi Primary1-017 | Incomers | each | 2 |  |  |  |  |
| Chambishi Primary1-018 | Out going feeders | each | 4 |  |  |  |  |
| Chambishi Primary1-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Chambishi Primary1-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Chambishi Primary1-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Chambishi Primary1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Chambishi Primary1-023 | Support insulators | lot | 1 |  |  |  |  |
| Chambishi Primary1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Chambishi Primary1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Chambishi Primary1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Chambishi Primary1-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Chambishi Primary1-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Chambishi Primary1-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Chambishi Primary1-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Chambishi Primary1-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Chambishi Primary1-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Chambishi Primary1-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Chambishi Primary1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Chambishi Primary1-035 | Batteries 1200AH -48V + invertor (48Vdc/220Vac) | lot | 1 |  |  |  |  |
| Chambishi Primary1-036 | Charger and accessories | lot | 1 |  |  |  |  |
| Chambishi Primary1-037 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Chambishi Primary1-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Chambishi Primary1-039 | PCM Multiplexer | lot | 1 |  |  |  |  |
| Chambishi Primary1-040 | Electrical SFPs | each | 4 |  |  |  |  |
| Chambishi Primary1-041 | 8 Port optical to POTS convertor | Each | 2 |  |  |  |  |
| Chambishi Primary1-043 | Analogue Telephone handsets | Each | 5 |  |  |  |  |
| Chambishi Primary1-044 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| Chambishi Primary1-045 |  |  |  |  |  |  |  |
| Chambishi Primary1-046 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Chambishi Primary1-047 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Chambishi Primary1-048 | In door lighting equipment | lot | 1 |  |  |  |  |
| Chambishi Primary1-049 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Chambishi Primary1-050 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Chambishi Primary1-051 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Chambishi Primary1-052 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Chambishi Primary1-053 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Chambishi Primary1-054 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Chambishi Primary1-055 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Chambishi Primary1-056 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Chambishi Primary1-057 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Chambishi Primary  33/11kV substation plant and equipment supplied from within Employer’s country

| Chambishi Primary 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Chambishi Primary2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Chambishi Primary2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Chambishi Primary2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Chambishi Primary2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Chambishi Primary2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Chambishi Primary2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Chambishi Primary2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Chambishi Primary2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Chambishi Primary2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Chambishi Primary2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Chambishi Primary2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Chambishi Primary2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Chambishi Primary2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Chambishi Primary2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Chambishi Primary2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Chambishi Primary2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Chambishi Primary 33/11kV substation Local Transportation

| Chambishi Primary 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Chambishi Primary 33/11kV substation installation services

| Chambishi Primary 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Chambishi Primary4-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Chambishi Primary4-002 | Circuit Breaker- Live Tank | each | 6 |  |  |  |  |
| Chambishi Primary4-003 | Isolator, Motor Operated with integral earth switch | each | 5 |  |  |  |  |
| Chambishi Primary4-004 | Isolator switch, Motor Operated without integral earth switch | each | 5 |  |  |  |  |
| Chambishi Primary4-005 | VTs | each | 21 |  |  |  |  |
| Chambishi Primary4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Chambishi Primary4-007 | Surge arresters | each | 15 |  |  |  |  |
| Chambishi Primary4-008 | CTs | each | 18 |  |  |  |  |
| Chambishi Primary4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Chambishi Primary4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Chambishi Primary4-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Chambishi Primary4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Chambishi Primary4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Chambishi Primary4-014 | Bus riser | Each | 1 |  |  |  |  |
| Chambishi Primary4-015 | Bus Section | each | 1 |  |  |  |  |
| Chambishi Primary4-016 | Earthing panel | each | 1 |  |  |  |  |
| Chambishi Primary4-017 | Incomers | each | 2 |  |  |  |  |
| Chambishi Primary4-018 | Out going feeders | each | 4 |  |  |  |  |
| Chambishi Primary4-019 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Chambishi Primary4-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Chambishi Primary4-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Chambishi Primary4-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Chambishi Primary4-023 | Support insulators | lot | 1 |  |  |  |  |
| Chambishi Primary4-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Chambishi Primary4-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Chambishi Primary4-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Chambishi Primary4-027 | Conductors, Insulator strings, Clamps ,marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Chambishi Primary4-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Chambishi Primary4-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Chambishi Primary4-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Chambishi Primary4-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Chambishi Primary4-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Chambishi Primary4-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Chambishi Primary4-034 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Chambishi Primary4-035 | Other equipment | lot | 1 |  |  |  |  |
| Chambishi Primary4-036 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Chambishi Primary4-037 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Chambishi Primary4-038 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Chambishi Primary 33/11kV substation total project cost with VAT and duties

| Chambishi Primary 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Musonda 33/11kV Substation

#### Schedule 1: Chambishi Primary 33/11kV substation plant and equipment supplied from abroad

| Musonda 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Musonda1-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Musonda1-002 | Circuit Breaker- Live Tank | each | 6 |  |  |  |  |
| Musonda1-003 | Isolator, Motor Operated with integral earth switch | each | 5 |  |  |  |  |
| Musonda1-004 | Isolator switch, Motor Operated without integral earth switch | each | 5 |  |  |  |  |
| Musonda1-005 | VTs | each | 21 |  |  |  |  |
| Musonda1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Musonda1-007 | Surge arresters | each | 15 |  |  |  |  |
| Musonda1-008 | CTs | each | 18 |  |  |  |  |
| Musonda1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Musonda1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Musonda1-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Musonda1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Musonda1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Musonda1-014 | Bus riser | Each | 1 |  |  |  |  |
| Musonda1-015 | Bus Section | each | 1 |  |  |  |  |
| Musonda1-016 | Earthing panel | each | 1 |  |  |  |  |
| Musonda1-017 | Incomers | each | 2 |  |  |  |  |
| Musonda1-018 | Out going feeders | each | 4 |  |  |  |  |
| Musonda1-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Musonda1-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Musonda1-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Musonda1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Musonda1-023 | Support insulators | lot | 1 |  |  |  |  |
| Musonda1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Musonda1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Musonda1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Musonda1-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Musonda1-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Musonda1-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Musonda1-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Musonda1-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Musonda1-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Musonda1-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Musonda1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Musonda1-035 | Batteries 1200AH -48V + invertor (48Vdc/220Vac) | lot | 1 |  |  |  |  |
| Musonda1-036 | Charger and accessories | lot | 1 |  |  |  |  |
| Musonda1-037 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Musonda1-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Musonda1-039 | PCM Multiplexer | lot | 1 |  |  |  |  |
| Musonda1-040 | Electrical SFPs | each | 4 |  |  |  |  |
| Musonda1-041 | 8 Port optical to POTS convertor | Each | 2 |  |  |  |  |
| Musonda1-043 | Analogue Telephone handsets | Each | 5 |  |  |  |  |
| Musonda1-044 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| Musonda1-045 |  |  |  |  |  |  |  |
| Musonda1-046 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Musonda1-047 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Musonda1-048 | In door lighting equipment | lot | 1 |  |  |  |  |
| Musonda1-049 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Musonda1-050 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Musonda1-051 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Musonda1-052 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Musonda1-053 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Musonda1-054 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Musonda1-055 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Musonda1-056 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Musonda1-057 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Musonda  33/11kV substation plant and equipment supplied from within Employer’s country

| Musonda 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Musonda2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Musonda2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Musonda2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Musonda2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Musonda2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Musonda2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Musonda2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Musonda2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Musonda2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Musonda2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Musonda2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Musonda2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Musonda2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Musonda2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Musonda2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Musonda2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Musonda 33/11kV substation Local Transportation

| Musonda 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Musonda 33/11kV substation installation services

| Musonda 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Musonda4-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Musonda4-002 | Circuit Breaker- Live Tank | each | 6 |  |  |  |  |
| Musonda4-003 | Isolator, Motor Operated with integral earth switch | each | 5 |  |  |  |  |
| Musonda4-004 | Isolator switch, Motor Operated without integral earth switch | each | 5 |  |  |  |  |
| Musonda4-005 | VTs | each | 21 |  |  |  |  |
| Musonda4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Musonda4-007 | Surge arresters | each | 15 |  |  |  |  |
| Musonda4-008 | CTs | each | 18 |  |  |  |  |
| Musonda4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Musonda4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Musonda4-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Musonda4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Musonda4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Musonda4-014 | Bus riser | Each | 1 |  |  |  |  |
| Musonda4-015 | Bus Section | each | 1 |  |  |  |  |
| Musonda4-016 | Earthing panel | each | 1 |  |  |  |  |
| Musonda4-017 | Incomers | each | 2 |  |  |  |  |
| Musonda4-018 | Out going feeders | each | 4 |  |  |  |  |
| Musonda4-019 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Musonda4-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Musonda4-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Musonda4-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Musonda4-023 | Support insulators | lot | 1 |  |  |  |  |
| Musonda4-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Musonda4-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Musonda4-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Musonda4-027 | Conductors, Insulator strings, Clamps ,marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Musonda4-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Musonda4-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Musonda4-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Musonda4-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Musonda4-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Musonda4-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Musonda4-034 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Musonda4-035 | Other equipment | lot | 1 |  |  |  |  |
| Musonda4-036 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Musonda4-037 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Musonda4-038 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Musonda 33/11kV substation total project cost with VAT and duties

| Musonda 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Mufulira 132/33kV Substation

#### Schedule 1: Mufulira 132/33kV substation plant and equipment supplied from abroad

| Mufulira 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
|  | 132kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Mufulira1-001 | 31.5/40MVA 132/33kV Three phase transformers | each | 4 |  |  |  |  |
| Mufulira1-002 | Circuit Breaker- Live Tank | each | 10 |  |  |  |  |
| Mufulira1-003 | Isolator, Motor Operated with integral earth switch | each | 8 |  |  |  |  |
| Mufulira1-004 | Isolator switch, Motor Operated without integral earth switch | each | 34 |  |  |  |  |
| Mufulira1-005 | CVTs | each | 30 |  |  |  |  |
| Mufulira1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Mufulira1-007 | Surge arresters | each | 24 |  |  |  |  |
| Mufulira1-008 | CTs | each | 36 |  |  |  |  |
| Mufulira1-009 | 33kV NERs complete with neutral CTs | each | 4 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Mufulira1-010 | 132kV Line protection system | lot | 1 |  |  |  |  |
| Mufulira1-011 | 31.5/40MVA 132/33kV Transformers protection system | lot | 1 |  |  |  |  |
| Mufulira1-012 | 132kV line protection communication interface | lot | 1 |  |  |  |  |
| Mufulira1-013 | 132kV bus bar protection system | lot | 1 |  |  |  |  |
| Mufulira1-014 | 132kV Bus coupler Protection System | lot | 1 |  |  |  |  |
| Mufulira1-015 | 132kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| b | 33kV-Equipment and Materials |  |  |  |  |  |  |
| Mufulira1-016 | Circuit Breaker- Live Tank | each | 11 |  |  |  |  |
| Mufulira1-017 | Isolator, Motor Operated with integral earth switch | each | 10 |  |  |  |  |
| Mufulira1-018 | Isolator, Motor Operated without integral earth switch | each | 12 |  |  |  |  |
| Mufulira1-019 | VTs | each | 36 |  |  |  |  |
| Mufulira1-020 | Surge arresters | each | 30 |  |  |  |  |
| Mufulira1-021 | CTs | each | 33 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Mufulira1-022 | 33kV lines protection system | lot | 1 |  |  |  |  |
| Mufulira1-023 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mufulira1-024 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Mufulira1-025 | Support insulators | lot | 1 |  |  |  |  |
| Mufulira1-026 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Mufulira1-027 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for 33 kV Material and Equipment |  |  |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mufulira1-028 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Mufulira1-029 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mufulira1-030 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Mufulira1-031 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Mufulira1-032 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Mufulira1-033 | 100kVA diesel Generator complete with accessories | each | 1 |  |  |  |  |
| Mufulira1-034 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Mufulira1-035 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Mufulira1-036 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Mufulira1-037 | Batteries 1200AH -48V + invertor (48vdc/220vac) | lot | 1 |  |  |  |  |
| Mufulira1-038 | Charger and accessories | lot | 1 |  |  |  |  |
| Mufulira1-039 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Mufulira1-040 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Mufulira1-041 | FOX Multiplexer | lot | 1 |  |  |  |  |
| Mufulira1-042 | Splicing machine | each | 1 |  |  |  |  |
| Mufulira1-044 | Electrical SFPs | Each | 10 |  |  |  |  |
| Mufulira1-045 | Analogue Telephone handsets | Each | 6 |  |  |  |  |
| Mufulira1-046 | VoIP Telephone handsets | Each | 5 |  |  |  |  |
| Mufulira1-047 |  |  |  |  |  |  |  |
| Mufulira1-048 |  |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Mufulira1-049 | 132kV lightning masts | lot | 1 |  |  |  |  |
| Mufulira1-050 | In door lighting equipment | lot | 1 |  |  |  |  |
| Mufulira1-051 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Mufulira1-052 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Mufulira1-053 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Mufulira1-054 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Mufulira1-055 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Mufulira1-056 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Mufulira1-057 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Mufulira1-058 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Mufulira1-059 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
| 6 | WAMPAC |  |  |  |  |  |  |
| Mufulira1-060 | WAMPAC execution station | Lot | 1 |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Mufulira 132/33kV substation plant and equipment supplied from within Employer’s country

| Mufulira 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Mufulira2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Mufulira2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Mufulira2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Mufulira2-004 | Substation equipment foundations and gantries, transformer firewall and oil containment pit |  |  |  |  |  |  |
| Mufulira2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Mufulira2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Mufulira2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Mufulira2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Mufulira2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Mufulira2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Mufulira2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Mufulira2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Mufulira2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Mufulira2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Mufulira2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Mufulira2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Mufulira 132/33kV substation Local Transportation

| Mufulira 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Mufulira 132/33kV substation installation services

| Mufulira 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132kV Equipment and materials |  |  |  |  |  |  |
| Mufulira4-001 | 31.5/40MVA 132/33kV Three phase transformers | each | 4 |  |  |  |  |
| Mufulira4-002 | Circuit Breaker- Live Tank | each | 10 |  |  |  |  |
| Mufulira4-003 | Isolator, Motor Operated with integral earth switch | each | 8 |  |  |  |  |
| Mufulira4-004 | Isolator switch, Motor Operated without integral earth switch | each | 34 |  |  |  |  |
| Mufulira4-005 | CVTs | each | 30 |  |  |  |  |
| Mufulira4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Mufulira4-007 | Surge arresters | each | 24 |  |  |  |  |
| Mufulira4-008 | CTs | each | 36 |  |  |  |  |
| Mufulira4-009 | 33kV NERs complete with neutral CTs | each | 4 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Mufulira4-010 | 132kV Line protection system | lot | 1 |  |  |  |  |
| Mufulira4-011 | 31.5/40MVA 132/33kV Transformers protection system | lot | 1 |  |  |  |  |
| Mufulira4-012 | 132kV line protection communication interface | lot | 1 |  |  |  |  |
| Mufulira4-013 | 132kV bus bar protection system | lot | 1 |  |  |  |  |
| Mufulira4-014 | 132kV Bus coupler Protection System | lot | 1 |  |  |  |  |
| Mufulira4-015 | 132kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| b | 33kV-Equipment and Materials |  |  |  |  |  |  |
| Mufulira4-016 | Circuit Breaker- Live Tank | each | 11 |  |  |  |  |
| Mufulira4-017 | Isolator, Motor Operated with integral earth switch | each | 10 |  |  |  |  |
| Mufulira4-018 | Isolator, Motor Operated without integral earth switch | each | 12 |  |  |  |  |
| Mufulira4-019 | VTs | each | 36 |  |  |  |  |
| Mufulira4-020 | Surge arresters | each | 30 |  |  |  |  |
| Mufulira4-021 | CTs | each | 33 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Mufulira4-022 | 33 lines protection system | lot | 1 |  |  |  |  |
| Mufulira4-023 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mufulira4-024 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Mufulira4-025 | Support insulators | lot | 1 |  |  |  |  |
| Mufulira4-026 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Mufulira4-027 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
|  | 33kV Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mufulira4-028 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Mufulira4-029 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mufulira4-030 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | 33kV Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Mufulira4-031 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Mufulira4-032 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Mufulira4-033 | 100kVA diesel Generator complete with accessories | each | 1 |  |  |  |  |
| Mufulira4-034 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Mufulira4-035 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Mufulira4-036 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Mufulira4-037 | Other equipment | lot | 1 |  |  |  |  |
| Mufulira4-038 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
| 8 | WAMPAC |  |  |  |  |  |  |
| Mufulira4-039 | WAMPAC execution station | Lot | 1 |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |
| 9 | Civil works |  |  |  |  |  |  |
| Mufulira4-040 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Mufulira4-041 | Structural steel works and gantries | Lot | 1 |  |  |  |  |
|  | Total |  |  |  |  |  |  |

#### Schedule 5: Summary for Mufulira 132/33kV substation total project cost with VAT and duties

| Mufulira 132/33kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Mufulira West 33/11kV Substation

#### Schedule 1: Mufulira West 33/11kV substation plant and equipment supplied from abroad

| Mufulira 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Mufulira West1-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Mufulira West1-002 | Circuit Breaker- Live Tank | each | 8 |  |  |  |  |
| Mufulira West1-003 | Isolator, Motor Operated with integral earth switch | each | 7 |  |  |  |  |
| Mufulira West1-004 | Isolator switch, Motor Operated without integral earth switch | each | 9 |  |  |  |  |
| Mufulira West1-005 | VTs | each | 27 |  |  |  |  |
| Mufulira West1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Mufulira West1-007 | Surge arresters | each | 21 |  |  |  |  |
| Mufulira West1-008 | CTs | each | 24 |  |  |  |  |
| Mufulira West1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Mufulira West1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Mufulira West1-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Mufulira West1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Mufulira West1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Mufulira West1-014 | Bus riser | Each | 1 |  |  |  |  |
| Mufulira West1-015 | Bus Section | each | 1 |  |  |  |  |
| Mufulira West1-016 | Earthing panel | each | 1 |  |  |  |  |
| Mufulira West1-017 | Incomers | each | 2 |  |  |  |  |
| Mufulira West1-018 | Out going feeders | each | 6 |  |  |  |  |
| Mufulira West1-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Mufulira West1-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Mufulira West1-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mufulira West1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Mufulira West1-023 | Support insulators | lot | 1 |  |  |  |  |
| Mufulira West1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Mufulira West1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Mufulira West1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Mufulira West1-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mufulira West1-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Mufulira West1-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Mufulira West1-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Mufulira West1-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Mufulira West1-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Mufulira West1-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Mufulira West1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Mufulira West1-035 | Batteries 1200AH -48V + invertor (48Vdc/220Vac) | lot | 1 |  |  |  |  |
| Mufulira West1-036 | Charger and accessories | lot | 1 |  |  |  |  |
| Mufulira West1-037 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Mufulira West1-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Mufulira West1-039 | PCM Multiplexer | lot | 1 |  |  |  |  |
| Mufulira West1-040 | Electrical SFPs | each | 4 |  |  |  |  |
| Mufulira West1-041 | 8 Port optical to POTS convertor | Each | 2 |  |  |  |  |
| Mufulira West1-043 | Analogue Telephone handsets | Each | 5 |  |  |  |  |
| Mufulira West1-044 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| Mufulira West1-045 |  |  |  |  |  |  |  |
| Mufulira West1-046 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Mufulira West1-047 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Mufulira West1-048 | In door lighting equipment | lot | 1 |  |  |  |  |
| Mufulira West1-049 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Mufulira West1-050 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Mufulira West1-051 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Mufulira West1-052 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Mufulira West1-053 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Mufulira West1-054 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Mufulira West1-055 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Mufulira West1-056 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Mufulira West1-057 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Mufulira West 33/11kV substation plant and equipment supplied from within Employer’s country

| Mufulira West 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Mufulira West2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Mufulira West2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Mufulira West2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Mufulira West2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Mufulira West2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Mufulira West2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Mufulira West2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Mufulira West2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Mufulira West2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Mufulira West2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Mufulira West2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Mufulira West2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Mufulira West2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Mufulira West2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Mufulira West2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Mufulira West2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Mufulira West 33/11kV substation Local Transportation

| Mufulira West 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Mufulira West 33/11kV substation installation services

| Mufulira West 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Mufulira west4-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Mufulira west4-002 | Circuit Breaker- Live Tank | each | 8 |  |  |  |  |
| Mufulira west4-003 | Isolator, Motor Operated with integral earth switch | each | 7 |  |  |  |  |
| Mufulira west4-004 | Isolator switch, Motor Operated without integral earth switch | each | 9 |  |  |  |  |
| Mufulira west4-005 | VTs | each | 27 |  |  |  |  |
| Mufulira west4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Mufulira west4-007 | Surge arresters | each | 21 |  |  |  |  |
| Mufulira west4-008 | CTs | each | 24 |  |  |  |  |
| Mufulira west4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Mufulira west4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Mufulira west4-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Mufulira west4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Mufulira west4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Mufulira west4-014 | Bus riser | Each | 1 |  |  |  |  |
| Mufulira west4-015 | Bus Section | each | 1 |  |  |  |  |
| Mufulira west4-016 | Earthing panel | each | 1 |  |  |  |  |
| Mufulira west4-017 | Incomers | each | 2 |  |  |  |  |
| Mufulira west4-018 | Out going feeders | each | 6 |  |  |  |  |
| Mufulira west4-019 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Mufulira west4-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Mufulira west4-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mufulira west4-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Mufulira west4-023 | Support insulators | lot | 1 |  |  |  |  |
| Mufulira west4-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Mufulira west4-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Mufulira west4-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Mufulira west4-027 | Conductors, Insulator strings, Clamps ,marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Mufulira west4-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Mufulira west4-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Mufulira west4-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Mufulira west4-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Mufulira west4-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Mufulira west4-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Mufulira west4-034 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Mufulira west4-035 | Other equipment | lot | 1 |  |  |  |  |
| Mufulira west4-036 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Mufulira west4-037 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Mufulira west4-038 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Mufulira West 33/11kV substation total project cost with VAT and duties

| Mufulira West 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Nsato 33/11kV Substation

#### Schedule 1: Nsato 33/11kV substation plant and equipment supplied from abroad

| Nsato 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Nsato1-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Nsato1-002 | Circuit Breaker- Live Tank | each | 5 |  |  |  |  |
| Nsato1-003 | Isolator, Motor Operated with integral earth switch | each | 4 |  |  |  |  |
| Nsato1-004 | Isolator switch, Motor Operated without integral earth switch | each | 4 |  |  |  |  |
| Nsato1-005 | VTs | each | 18 |  |  |  |  |
| Nsato1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Nsato1-007 | Surge arresters | each | 12 |  |  |  |  |
| Nsato1-008 | CTs | each | 15 |  |  |  |  |
| Nsato1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Nsato1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Nsato1-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Nsato1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Nsato1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Nsato1-014 | Bus riser | Each | 1 |  |  |  |  |
| Nsato1-015 | Bus Section | each | 1 |  |  |  |  |
| Nsato1-016 | Earthing panel | each | 1 |  |  |  |  |
| Nsato1-017 | Incomers | each | 2 |  |  |  |  |
| Nsato1-018 | Out going feeders | each | 2 |  |  |  |  |
| Nsato1-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Nsato1-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Nsato1-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Nsato1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Nsato1-023 | Support insulators | lot | 1 |  |  |  |  |
| Nsato1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Nsato1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Nsato1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Nsato1-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Nsato1-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Nsato1-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Nsato1-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Nsato1-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Nsato1-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Nsato1-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Nsato1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Nsato1-035 | Batteries 1200AH -48V + invertor (48Vdc/220Vac) | lot | 1 |  |  |  |  |
| Nsato1-036 | Charger and accessories | lot | 1 |  |  |  |  |
| Nsato1-037 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Nsato1-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Nsato1-039 | PCM Multiplexer | lot | 1 |  |  |  |  |
| Nsato1-040 | Electrical SFPs | each | 4 |  |  |  |  |
| Nsato1-041 | 8 Port optical to POTS convertor | Each | 2 |  |  |  |  |
| Nsato1-043 | Analogue Telephone handsets | Each | 5 |  |  |  |  |
| Nsato1-044 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| Nsato1-045 |  |  |  |  |  |  |  |
| Nsato1-046 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Nsato1-047 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Nsato1-048 | In door lighting equipment | lot | 1 |  |  |  |  |
| Nsato1-049 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Nsato1-050 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Nsato1-051 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Nsato1-052 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Nsato1-053 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Nsato1-054 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Nsato1-055 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Nsato1-056 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Nsato1-057 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Nsato 33/11kV substation plant and equipment supplied from within Employer’s country

| Nsato 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Nsato2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Nsato2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Nsato2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Nsato2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Nsato2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Nsato2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Nsato2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Nsato2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Nsato2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Nsato2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Nsato2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Nsato2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Nsato2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Nsato2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Nsato2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Nsato2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Nsato 33/11kV substation Local Transportation

| Nsato 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Nsato 33/11kV substation installation services

| Nsato 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Nsato4-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Nsato4-002 | Circuit Breaker- Live Tank | each | 5 |  |  |  |  |
| Nsato4-003 | Isolator, Motor Operated with integral earth switch | each | 4 |  |  |  |  |
| Nsato4-004 | Isolator switch, Motor Operated without integral earth switch | each | 4 |  |  |  |  |
| Nsato4-005 | VTs | each | 18 |  |  |  |  |
| Nsato4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Nsato4-007 | Surge arresters | each | 12 |  |  |  |  |
| Nsato4-008 | CTs | each | 15 |  |  |  |  |
| Nsato4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Nsato4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Nsato4-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Nsato4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Nsato4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Nsato4-014 | Bus riser | Each | 1 |  |  |  |  |
| Nsato4-015 | Bus Section | each | 1 |  |  |  |  |
| Nsato4-016 | Earthing panel | each | 1 |  |  |  |  |
| Nsato4-017 | Incomers | each | 2 |  |  |  |  |
| Nsato4-018 | Out going feeders | each | 2 |  |  |  |  |
| Nsato4-019 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Nsato4-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Nsato4-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Nsato4-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Nsato4-023 | Support insulators | lot | 1 |  |  |  |  |
| Nsato4-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Nsato4-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Nsato4-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Nsato4-027 | Conductors, Insulator strings, Clamps ,marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Nsato4-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Nsato4-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Nsato4-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Nsato4-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Nsato4-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Nsato4-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Nsato4-034 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Nsato4-035 | Other equipment | lot | 1 |  |  |  |  |
| Nsato4-036 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Nsato4-037 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Nsato4-038 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Nsato 33/11kV substation total project cost with VAT and duties

| Nsato 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Ndeke 33/11kV Substation

#### Schedule 1: Ndeke 33/11kV substation plant and equipment supplied from abroad

| Ndeke 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Ndeke1-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Ndeke1-002 | Circuit Breaker- Live Tank | each | 8 |  |  |  |  |
| Ndeke1-003 | Isolator, Motor Operated with integral earth switch | each | 7 |  |  |  |  |
| Ndeke1-004 | Isolator switch, Motor Operated without integral earth switch | each | 9 |  |  |  |  |
| Ndeke1-005 | VTs | each | 27 |  |  |  |  |
| Ndeke1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Ndeke1-007 | Surge arresters | each | 21 |  |  |  |  |
| Ndeke1-008 | CTs | each | 24 |  |  |  |  |
| Ndeke1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Ndeke1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Ndeke1-011 | 25/31.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Ndeke1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Ndeke1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Ndeke1-014 | Bus riser | Each | 1 |  |  |  |  |
| Ndeke1-015 | Bus Section | each | 1 |  |  |  |  |
| Ndeke1-016 | Earthing panel | each | 1 |  |  |  |  |
| Ndeke1-017 | Incomers | each | 2 |  |  |  |  |
| Ndeke1-018 | Out going feeders | each | 10 |  |  |  |  |
| Ndeke1-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Ndeke1-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Ndeke1-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Ndeke1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Ndeke1-023 | Support insulators | lot | 1 |  |  |  |  |
| Ndeke1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Ndeke1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Ndeke1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Ndeke1-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Ndeke1-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Ndeke1-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Ndeke1-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Ndeke1-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Ndeke1-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Ndeke1-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Ndeke1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Ndeke1-035 | Batteries 1200AH -48V + invertor (48Vdc/220Vac) | lot | 1 |  |  |  |  |
| Ndeke1-036 | Charger and accessories | lot | 1 |  |  |  |  |
| Ndeke1-037 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Ndeke1-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Ndeke1-039 | PCM Multiplexer | lot | 1 |  |  |  |  |
| Ndeke1-040 | Electrical SFPs | each | 4 |  |  |  |  |
| Ndeke1-041 | 8 Port optical to POTS convertor | Each | 2 |  |  |  |  |
| Ndeke1-043 | Analogue Telephone handsets | Each | 5 |  |  |  |  |
| Ndeke1-044 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| Ndeke1-045 |  |  |  |  |  |  |  |
| Ndeke1-046 |  | Each | 6 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Ndeke1-047 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Ndeke1-048 | In door lighting equipment | lot | 1 |  |  |  |  |
| Ndeke1-049 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Ndeke1-050 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Ndeke1-0 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Ndeke1-001 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Ndeke1-001 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Ndeke1-001 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Ndeke1-001 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Ndeke1-001 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Ndeke1-057 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Ndeke 33/11kV substation plant and equipment supplied from within Employer’s country

| Ndeke 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Ndeke2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Ndeke2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Ndeke2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Ndeke2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Ndeke2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Ndeke2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Ndeke2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Ndeke2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Ndeke2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Ndeke2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Ndeke2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Ndeke2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Ndeke2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Ndeke2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Ndeke2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Ndeke2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Ndeke 33/11kV substation Local Transportation

| Ndeke 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Ndeke 33/11kV substation installation services

| Ndeke 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Ndeke4-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Ndeke4-002 | Circuit Breaker- Live Tank | each | 8 |  |  |  |  |
| Ndeke4-003 | Isolator, Motor Operated with integral earth switch | each | 7 |  |  |  |  |
| Ndeke4-004 | Isolator switch, Motor Operated without integral earth switch | each | 9 |  |  |  |  |
| Ndeke4-005 | VTs | each | 27 |  |  |  |  |
| Ndeke4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Ndeke4-007 | Surge arresters | each | 21 |  |  |  |  |
| Ndeke4-008 | CTs | each | 24 |  |  |  |  |
| Ndeke4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Ndeke4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Ndeke4-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Ndeke4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Ndeke4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Ndeke4-014 | Bus riser | Each | 1 |  |  |  |  |
| Ndeke4-015 | Bus Section | each | 1 |  |  |  |  |
| Ndeke4-016 | Earthing panel | each | 1 |  |  |  |  |
| Ndeke4-017 | Incomers | each | 2 |  |  |  |  |
| Ndeke4-018 | Out going feeders | each | 6 |  |  |  |  |
| Ndeke4-019 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Ndeke4-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Ndeke4-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Ndeke4-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Ndeke4-023 | Support insulators | lot | 1 |  |  |  |  |
| Ndeke4-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Ndeke4-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Ndeke4-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Ndeke4-027 | Conductors, Insulator strings, Clamps ,marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Ndeke4-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Ndeke4-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Ndeke4-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Ndeke4-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Ndeke4-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Ndeke4-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Ndeke4-034 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Ndeke4-035 | Other equipment | lot | 1 |  |  |  |  |
| Ndeke4-036 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Ndeke4-037 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Ndeke4-038 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Ndeke 33/11kV substation total project cost with VAT and duties

| Ndeke 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Mokambo 33/11kV Substation

#### Schedule 1: Mokambo 33/11kV substation plant and equipment supplied from abroad

| Mokambo 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Mokambo1-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Mokambo1-002 | Circuit Breaker- Live Tank | each | 4 |  |  |  |  |
| Mokambo1-003 | Isolator, Motor Operated with integral earth switch | each | 3 |  |  |  |  |
| Mokambo1-004 | Isolator switch, Motor Operated without integral earth switch | each | 3 |  |  |  |  |
| Mokambo1-005 | VTs | each | 15 |  |  |  |  |
| Mokambo1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Mokambo1-007 | Surge arresters | each | 9 |  |  |  |  |
| Mokambo1-008 | CTs | each | 12 |  |  |  |  |
| Mokambo1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Mokambo1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Mokambo1-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Mokambo1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Mokambo1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Mokambo1-014 | Bus riser | Each | 1 |  |  |  |  |
| Mokambo1-015 | Bus Section | each | 1 |  |  |  |  |
| Mokambo1-016 | Earthing panel | each | 1 |  |  |  |  |
| Mokambo1-017 | Incomers | each | 2 |  |  |  |  |
| Mokambo1-018 | Out going feeders | each | 3 |  |  |  |  |
| Mokambo1-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Mokambo1-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Mokambo1-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mokambo1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Mokambo1-023 | Support insulators | lot | 1 |  |  |  |  |
| Mokambo1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Mokambo1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Mokambo1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Mokambo1-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mokambo1-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Mokambo1-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Mokambo1-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Mokambo1-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Mokambo1-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Mokambo1-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Mokambo1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Mokambo1-035 | Batteries 1200AH -48V + invertor (48Vdc/220Vac) | lot | 1 |  |  |  |  |
| Mokambo1-036 | Charger and accessories | lot | 1 |  |  |  |  |
| Mokambo1-037 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Mokambo1-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Mokambo1-039 | PCM Multiplexer | lot | 1 |  |  |  |  |
| Mokambo1-040 | Electrical SFPs | each | 4 |  |  |  |  |
| Mokambo1-041 | 8 Port optical to POTS convertor | Each | 2 |  |  |  |  |
| Mokambo1-043 | Analogue Telephone handsets | Each | 5 |  |  |  |  |
| Mokambo1-044 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| Mokambo1-045 |  |  |  |  |  |  |  |
| Mokambo1-046 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Mokambo1-047 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Mokambo1-048 | In door lighting equipment | lot | 1 |  |  |  |  |
| Mokambo1-049 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Mokambo1-050 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Mokambo1-051 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Mokambo1-052 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Mokambo1-053 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Mokambo1-054 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Mokambo1-055 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Mokambo1-056 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Mokambo1-057 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Mokambo 33/11kV substation plant and equipment supplied from within Employer’s country

| Mokambo 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Mokambo2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Mokambo2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Mokambo1-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Mokambo1-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Mokambo1-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Mokambo1-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Mokambo1-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Mokambo1-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Mokambo1-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Mokambo1-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Mokambo1-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Mokambo1-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Mokambo1-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Mokambo1-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Mokambo1-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Mokambo1-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Mokambo 33/11kV substation Local Transportation

| Mokambo 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Mokambo 33/11kV substation installation services

| Mokambo 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Mokambo4-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Mokambo4-002 | Circuit Breaker- Live Tank | each | 4 |  |  |  |  |
| Mokambo4-003 | Isolator, Motor Operated with integral earth switch | each | 3 |  |  |  |  |
| Mokambo4-004 | Isolator switch, Motor Operated without integral earth switch | each | 3 |  |  |  |  |
| Mokambo4-005 | VTs | each | 15 |  |  |  |  |
| Mokambo4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Mokambo4-007 | Surge arresters | each | 9 |  |  |  |  |
| Mokambo4-008 | CTs | each | 12 |  |  |  |  |
| Mokambo4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Mokambo4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Mokambo4-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Mokambo4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Mokambo4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Mokambo4-014 | Bus riser | Each | 1 |  |  |  |  |
| Mokambo4-015 | Bus Section | each | 1 |  |  |  |  |
| Mokambo4-016 | Earthing panel | each | 1 |  |  |  |  |
| Mokambo4-017 | Incomers | each | 2 |  |  |  |  |
| Mokambo4-018 | Out going feeders | each | 3 |  |  |  |  |
| Mokambo4-019 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Mokambo4-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Mokambo4-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mokambo4-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Mokambo4-023 | Support insulators | lot | 1 |  |  |  |  |
| Mokambo4-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Mokambo4-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Mokambo4-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Mokambo4-027 | Conductors, Insulator strings, Clamps ,marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Mokambo4-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Mokambo4-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Mokambo4-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Mokambo4-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Mokambo4-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Mokambo4-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Mokambo4-034 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Mokambo4-035 | Other equipment | lot | 1 |  |  |  |  |
| Mokambo4-036 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Mokambo4-037 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Mokambo4-038 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Mokambo 33/11kV substation total project cost with VAT and duties

| Mokambo 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Lufwanyama 132/33kV Substation

#### Schedule 1: Lufwanyama 132/33kV substation plant and equipment supplied from abroad

| Lufwanyama 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
|  | 132kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Lufwanyama1-001 | 31.5/40MVA 132/33kV Three phase transformers | each | 3 |  |  |  |  |
| Lufwanyama1-002 | Circuit Breaker- Live Tank | each | 7 |  |  |  |  |
| Lufwanyama1-003 | Isolator, Motor Operated with integral earth switch | each | 7 |  |  |  |  |
| Lufwanyama1-004 | Isolator switch, Motor Operated without integral earth switch | each | 22 |  |  |  |  |
| Lufwanyama1-005 | CVTs | each | 21 |  |  |  |  |
| Lufwanyama1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Lufwanyama1-007 | Surge arresters | each | 15 |  |  |  |  |
| Lufwanyama1-008 | CTs | each | 33 |  |  |  |  |
| Lufwanyama1-009 | 33kV NERs complete with neutral CTs | each | 3 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Lufwanyama1-010 | 132kV Line protection system | lot | 1 |  |  |  |  |
| Lufwanyama1-011 | 31.5/40MVA 132/33kV Transformers protection system | lot | 1 |  |  |  |  |
| Lufwanyama1-012 | 132kV line protection communication interface | lot | 1 |  |  |  |  |
| Lufwanyama1-013 | 132kV bus bar protection system | lot | 1 |  |  |  |  |
| Lufwanyama1-014 | 132kV Bus coupler Protection System | lot | 1 |  |  |  |  |
| Lufwanyama1-015 | 132kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| b | 33kV-Equipment and Materials |  |  |  |  |  |  |
| Lufwanyama1-016 | Circuit Breaker- Live Tank | each | 6 |  |  |  |  |
| Lufwanyama1-017 | Isolator, Motor Operated with integral earth switch | each | 5 |  |  |  |  |
| Lufwanyama1-018 | Isolator, Motor Operated without integral earth switch | each | 7 |  |  |  |  |
| Lufwanyama1-019 | VTs | each | 21 |  |  |  |  |
| Lufwanyama1-020 | Surge arresters | each | 15 |  |  |  |  |
| Lufwanyama1-021 | CTs | each | 21 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Lufwanyama1-022 | 33kV lines protection system | lot | 1 |  |  |  |  |
| Lufwanyama1-023 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Lufwanyama1-024 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Lufwanyama1-025 | Support insulators | lot | 1 |  |  |  |  |
| Lufwanyama1-026 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Lufwanyama1-027 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for 33 kV Material and Equipment |  |  |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Lufwanyama1-028 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Lufwanyama1-029 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Lufwanyama1-030 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Lufwanyama1-031 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Lufwanyama1-032 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Lufwanyama1-033 | 100kVA diesel Generator complete with accessories | each | 1 |  |  |  |  |
| Lufwanyama1-034 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Lufwanyama1-035 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for 11 kV Material and Equipment |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Lufwanyama1-036 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Lufwanyama1-037 | Batteries 1200AH -48V + invertor (48vdc/220vac) | lot | 1 |  |  |  |  |
| Lufwanyama1-038 | Charger and accessories | lot | 1 |  |  |  |  |
| Lufwanyama1-039 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Lufwanyama1-040 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Lufwanyama1-041 | FOX Multiplexer | lot | 1 |  |  |  |  |
| Lufwanyama1-042 | Splicing machine | each | 1 |  |  |  |  |
| Lufwanyama1-043 | Maintainance and Testing equipment | lot | 1 |  |  |  |  |
| Lufwanyama1-044 | Electrical SFPs | Each | 10 |  |  |  |  |
| Lufwanyama1-045 | Analogue Telephone handsets | Each | 6 |  |  |  |  |
| Lufwanyama1-046 | VoIP Telephone handsets | Each | 5 |  |  |  |  |
| Lufwanyama1-047 | Laptop with maintenance software | Each | 1 |  |  |  |  |
| Lufwanyama1-048 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Lufwanyama1-049 | 132kV lightning masts | lot | 1 |  |  |  |  |
| Lufwanyama1-050 | In door lighting equipment | lot | 1 |  |  |  |  |
| Lufwanyama1-051 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Lufwanyama1-052 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Lufwanyama1-053 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Lufwanyama1-054 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Lufwanyama1-055 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Lufwanyama1-056 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Lufwanyama1-057 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Lufwanyama1-058 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Lufwanyama1-059 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
| 6 | WAMPAC |  |  |  |  |  |  |
| Lufwanyama1-060 | WAMPAC execution station | Lot | 1 |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Lufwanyama 132/33kV substation plant and equipment supplied from within Employer’s country

| Lufwanyama 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Lufwanyama2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Lufwanyama2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Lufwanyama2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Lufwanyama2-004 | Substation equipment foundations and gantries, transformer firewall and oil containment pit |  |  |  |  |  |  |
| Lufwanyama2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Lufwanyama2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Lufwanyama2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Lufwanyama2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Lufwanyama2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Lufwanyama2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Lufwanyama2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Lufwanyama2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Lufwanyama2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Lufwanyama2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Lufwanyama2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Lufwanyama2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Lufwanyama 132/33kV substation Local Transportation

| Lufwanyama 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Lufwanyama 132/33kV substation installation services

| Lufwanyama 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132kV Equipment and materials |  |  |  |  |  |  |
| Lufwanyama4-001 | 31.5/40MVA 132/33kV Three phase transformers | each | 3 |  |  |  |  |
| Lufwanyama4-002 | Circuit Breaker- Live Tank | each | 7 |  |  |  |  |
| Lufwanyama4-003 | Isolator, Motor Operated with integral earth switch | each | 7 |  |  |  |  |
| Lufwanyama4-004 | Isolator switch, Motor Operated without integral earth switch | each | 22 |  |  |  |  |
| Lufwanyama4-005 | CVTs | each | 21 |  |  |  |  |
| Lufwanyama4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Lufwanyama4-007 | Surge arresters | each | 15 |  |  |  |  |
| Lufwanyama4-008 | CTs | each | 33 |  |  |  |  |
| Lufwanyama4-009 | 33kV NERs complete with neutral CTs | each | 3 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Lufwanyama4-010 | 132kV Line protection system | lot | 1 |  |  |  |  |
| Lufwanyama4-011 | 31.5/40MVA 132/33kV Transformers protection system | lot | 1 |  |  |  |  |
| Lufwanyama4-012 | 132kV line protection communication interface | lot | 1 |  |  |  |  |
| Lufwanyama4-013 | 132kV bus bar protection system | lot | 1 |  |  |  |  |
| Lufwanyama4-014 | 132kV Bus coupler Protection System | lot | 1 |  |  |  |  |
| Lufwanyama4-015 | 132kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| b | 33kV-Equipment and Materials |  |  |  |  |  |  |
| Lufwanyama4-016 | Circuit Breaker- Live Tank | each | 6 |  |  |  |  |
| Lufwanyama4-017 | Isolator, Motor Operated with integral earth switch | each | 5 |  |  |  |  |
| Lufwanyama4-018 | Isolator, Motor Operated without integral earth switch | each | 7 |  |  |  |  |
| Lufwanyama4-019 | VTs | each | 21 |  |  |  |  |
| Lufwanyama4-020 | Surge arresters | each | 15 |  |  |  |  |
| Lufwanyama4-021 | CTs | each | 21 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Lufwanyama4-022 | 33 lines protection system | lot | 1 |  |  |  |  |
| Lufwanyama4-023 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Lufwanyama4-024 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Lufwanyama4-025 | Support insulators | lot | 1 |  |  |  |  |
| Lufwanyama4-026 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Lufwanyama4-027 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
|  | 33kV Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Lufwanyama4-028 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Lufwanyama4-029 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Lufwanyama4-030 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | 33kV Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Lufwanyama4-031 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Lufwanyama4-032 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Lufwanyama4-033 | 100kVA diesel Generator complete with accessories | each | 1 |  |  |  |  |
| Lufwanyama4-034 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Lufwanyama4-035 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Lufwanyama4-036 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Lufwanyama4-037 | Other equipment | lot | 1 |  |  |  |  |
| Lufwanyama4-038 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
| 8 | WAMPAC |  |  |  |  |  |  |
| Lufwanyama4-039 | WAMPAC execution station | Lot | 1 |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 9 | Civil works |  |  |  |  |  |  |
| Lufwanyama4-040 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Lufwanyama4-041 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Lufwanyama 132/33kV substation total project cost with VAT and duties

| Lufwanyama 132/33kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### New Funda 33/11kV Substation

#### Schedule 1: New Funda 33/11kV substation plant and equipment supplied from abroad

| New Funda 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| New Funda1-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| New Funda1-002 | Circuit Breaker- Live Tank | each | 4 |  |  |  |  |
| New Funda1-003 | Isolator, Motor Operated with integral earth switch | each | 3 |  |  |  |  |
| New Funda1-004 | Isolator switch, Motor Operated without integral earth switch | each | 3 |  |  |  |  |
| New Funda1-005 | VTs | each | 15 |  |  |  |  |
| New Funda1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| New Funda1-007 | Surge arresters | each | 9 |  |  |  |  |
| New Funda1-008 | CTs | each | 12 |  |  |  |  |
| New Funda1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| New Funda1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| New Funda1-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| New Funda1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| New Funda1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| New Funda1-014 | Bus riser | Each | 1 |  |  |  |  |
| New Funda1-015 | Bus Section | each | 1 |  |  |  |  |
| New Funda1-016 | Earthing panel | each | 1 |  |  |  |  |
| New Funda1-017 | Incomers | each | 2 |  |  |  |  |
| New Funda1-018 | Out going feeders | each | 6 |  |  |  |  |
| New Funda1-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| New Funda1-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| New Funda1-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| New Funda1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| New Funda1-023 | Support insulators | lot | 1 |  |  |  |  |
| New Funda1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| New Funda1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| New Funda1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| New Funda1-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| New Funda1-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| New Funda1-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| New Funda1-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| New Funda1-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| New Funda1-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| New Funda1-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| New Funda1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| New Funda1-035 | Batteries 1200AH -48V + invertor (48Vdc/220Vac) | lot | 1 |  |  |  |  |
| New Funda1-036 | Charger and accessories | lot | 1 |  |  |  |  |
| New Funda1-037 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| New Funda1-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| New Funda1-039 | PCM Multiplexer | lot | 1 |  |  |  |  |
| New Funda1-040 | Electrical SFPs | each | 4 |  |  |  |  |
| New Funda1-041 | 8 Port optical to POTS convertor | Each | 2 |  |  |  |  |
| New Funda1-043 | Analogue Telephone handsets | Each | 5 |  |  |  |  |
| New Funda1-044 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| New Funda1-045 |  |  |  |  |  |  |  |
| New Funda1-046 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| New Funda1-047 | 33kV lightning masts | lot | 1 |  |  |  |  |
| New Funda1-048 | In door lighting equipment | lot | 1 |  |  |  |  |
| New Funda1-049 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| New Funda1-050 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| New Funda1-051 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| New Funda1-052 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| New Funda1-053 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| New Funda1-054 | cable fire protection equipment | lot | 1 |  |  |  |  |
| New Funda1-055 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| New Funda1-056 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| New Funda1-057 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: New Funda 33/11kV substation plant and equipment supplied from within Employer’s country

| New Funda 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| New Funda2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| New Funda2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| New Funda1-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| New Funda1-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| New Funda1-005 | Lightning masts | Lot | 1 |  |  |  |  |
| New Funda1-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| New Funda1-007 | Cable trenches | Lot | 1 |  |  |  |  |
| New Funda1-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| New Funda1-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| New Funda1-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| New Funda1-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| New Funda1-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| New Funda1-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| New Funda1-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| New Funda1-015 | Civil works System testing | lot | 1 |  |  |  |  |
| New Funda1-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: New Funda 33/11kV substation Local Transportation

| New Funda 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: New Funda 33/11kV substation installation services

| New Funda 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| New Funda4-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| New Funda4-002 | Circuit Breaker- Live Tank | each | 4 |  |  |  |  |
| New Funda4-003 | Isolator, Motor Operated with integral earth switch | each | 3 |  |  |  |  |
| New Funda4-004 | Isolator switch, Motor Operated without integral earth switch | each | 3 |  |  |  |  |
| New Funda4-005 | VTs | each | 15 |  |  |  |  |
| New Funda4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| New Funda4-007 | Surge arresters | each | 9 |  |  |  |  |
| New Funda4-008 | CTs | each | 12 |  |  |  |  |
| New Funda4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| New Funda4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| New Funda4-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| New Funda4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| New Funda4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| New Funda4-010 | Bus riser | Each | 1 |  |  |  |  |
| New Funda4-011 | Bus Section | each | 1 |  |  |  |  |
| New Funda4-012 | Earthing panel | each | 1 |  |  |  |  |
| New Funda4-013 | Incomers | each | 2 |  |  |  |  |
| New Funda4-014 | Out going feeders | each | 6 |  |  |  |  |
| New Funda4-015 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| New Funda4-016 | 11kV Line protection system | lot | 1 |  |  |  |  |
| New Funda4-017 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| New Funda4-016 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| New Funda4-017 | Support insulators | lot | 1 |  |  |  |  |
| New Funda4-018 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| New Funda4-019 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| New Funda4-020 | 33kV Support insulator | lot | 1 |  |  |  |  |
| New Funda4-021 | Conductors, Insulator strings, Clamps ,marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| New Funda4-022 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| New Funda4-023 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| New Funda4-024 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| New Funda4-025 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| New Funda4-026 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| New Funda4-027 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| New Funda4-028 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| New Funda4-029 | Other equipment | lot | 1 |  |  |  |  |
| New Funda4-030 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| New Funda4-031 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| New Funda4-032 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Funda 33/11kV substation total project cost with VAT and duties

| Funda 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### E1 11kV Switching Station

#### Schedule 1: E1 11kV Switching station plant and equipment supplied from abroad

| E1 11kV Switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| E1 SS1-001 | Bus riser | Each | 1 |  |  |  |  |
| E1 SS1-002 | Bus Section | each | 1 |  |  |  |  |
| E1 SS1-003 | Earthing panel | each | 1 |  |  |  |  |
| E1 SS1-004 | Incomers | each | 2 |  |  |  |  |
| E1 SS1-005 | Out going feeders | each | 8 |  |  |  |  |
| E1 SS1-006 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| E1 SS1-007 | 11kV Line protection system | lot | 1 |  |  |  |  |
| E1 SS1-008 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| E1 SS1-009 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| E1 SS1-010 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| E1 SS1-011 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| E1 SS1-012 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| E1 SS1-013 | Complete Auxiliary power 400VAC board and 100kVA 11/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| E1 SS1-014 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| E1 SS1-015 | Station Chargers and accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| E1 SS1-016 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| E1 SS1-017 | Batteries 1200AH -48V + Invertor | lot | 1 |  |  |  |  |
| E1 SS1-018 | Charger with accessories | lot | 1 |  |  |  |  |
| E1 SS1-019 | ODF-FC, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| E1 SS1-020 | PTN terminal equipment | lot | 1 |  |  |  |  |
| E1 SS1-021 | PCM Multiplexer | each | 1 |  |  |  |  |
| E1 SS1-024 | Electrical SFP | Each | 4 |  |  |  |  |
| E1 SS1-025 | Digital Telephone handsets | Each | 2 |  |  |  |  |
| E1 SS1-026 | Analogue Telephone handsets | Each | 6 |  |  |  |  |
| E1 SS1-027 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| E1 SS1-028 | VoIP Telephone handsets | Each | 6 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| E1 SS1-029 | In door lighting equipment | lot | 1 |  |  |  |  |
| E1 SS1-030 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| E1 SS1-031 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| E1 SS1-032 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| E1 SS1-033 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| E1 SS1-034 | cable fire protection equipment | lot | 1 |  |  |  |  |
| E1 SS1-035 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: E1 11kV switching station plant and equipment supplied from within Employer’s country

| E1 11kV Switching Station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| E1 SS2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| E1 SS2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| E1 SS2-003 | Construction of control building complete with the following; - 9kg Fire extinguishers - Battery room complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning, concrete roof slab and false roof - ACDC room complete with air conditions - Communication room complete with air conditioning **Construction of Guard House complete with separate shower and toilet, with Kitchen where feasible and practical | Lot | 1 |  |  |  |  |
| E1 SS2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| E1 SS2-005 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| E1 SS2-006 | Cable trenches | Lot | 1 |  |  |  |  |
| E1 SS2-007 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| E1 SS2-008 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| E1 SS2-009 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| E1 SS2-010 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| E1 SS2-011 | Substation fence and gates | lot | 1 |  |  |  |  |
| E1 SS2-012 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| E1 SS2-013 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| E1 SS2-014 | Civil works System testing | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: E1 11kV Switching Station Local Transportation

| E1 11kV switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: E1 11kV Switching station installation services

| E1 11kV Switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation services |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| E1 SS4-001 | Bus riser | Each | 1 |  |  |  |  |
| E1 SS4-002 | Bus Section | each | 1 |  |  |  |  |
| E1 SS4-003 | Earthing panel | each | 1 |  |  |  |  |
| E1 SS4-004 | Incomers | each | 2 |  |  |  |  |
| E1 SS4-005 | Out going feeders | each | 8 |  |  |  |  |
| E1 SS4-006 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| E1 SS4-007 | 11kV Line protection system | lot | 1 |  |  |  |  |
| E1 SS4-008 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| E1 SS4-009 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| E1 SS4-010 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| E1 SS4-011 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| E1 SS4-012 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| E1 SS4-013 | Complete Auxiliary power 400VAC board and 100kVA 11/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| E1 SS4-014 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| E1 SS-015 | Station Chargers and accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| E1 SS4-016 | Installation of communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| E1 SS4-017 | In door lighting equipment | lot | 1 |  |  |  |  |
| E1 SS4-018 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| E1 SS4-019 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| E1 SS4-020 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| E1 SS4-021 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| E1 SS4-022 | cable fire protection equipment | lot | 1 |  |  |  |  |
| E1 SS4-023 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 5: Summary for E1 11kV switching station total project cost with VAT and duties

| E1 11kV switching station |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Nchanga North Hospital 11kV Switching Station

#### Schedule 1: Nchanga North Hospital 11kV station plant and equipment supplied from abroad

| Nchanga North Hospital 11kV Switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| NchangaNH1-001 | Bus riser | Each | 1 |  |  |  |  |
| NchangaNH1-002 | Bus Section | each | 1 |  |  |  |  |
| NchangaNH1-003 | Earthing panel | each | 1 |  |  |  |  |
| NchangaNH1-004 | Incomers | each | 2 |  |  |  |  |
| NchangaNH1-005 | Out going feeders | each | 8 |  |  |  |  |
| NchangaNH1-006 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| NchangaNH1-007 | 11kV Line protection system | lot | 1 |  |  |  |  |
| NchangaNH1-008 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| NchangaNH1-009 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| NchangaNH1-010 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| NchangaNH1-011 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| NchangaNH1-012 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| NchangaNH1-013 | Complete Auxiliary power 400VAC board and 100kVA 11/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| NchangaNH1-014 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| NchangaNH1-015 | Station Chargers and accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| NchangaNH1-016 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| NchangaNH1-017 | Batteries 1200AH -48V + invertor (48Vdc/220Vac) | lot | 1 |  |  |  |  |
| NchangaNH1-018 | Charger and accessories | lot | 1 |  |  |  |  |
| NchangaNH1-019 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| NchangaNH1-020 | PTN terminal equipment | lot | 1 |  |  |  |  |
| NchangaNH1-021 | PCM Multiplexer | lot | 1 |  |  |  |  |
| NchangaNH1-022 | Electrical SFPs | each | 2 |  |  |  |  |
| NchangaNH1-023 | Analogue Telephone handsets | Each | 5 |  |  |  |  |
| NchangaNH1-024 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| NchangaNH1-025 | Comms cubicle c/w | lot | 1 |  |  |  |  |
| NchangaNH1-026 |  |  |  |  |  |  |  |
| NchangaNH1-027 |  |  |  |  |  |  |  |
| NchangaNH1-028 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| NchangaNH1-029 | In door lighting equipment | lot | 1 |  |  |  |  |
| NchangaNH1-030 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| NchangaNH1-031 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| NchangaNH1-032 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| NchangaNH1-033 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| NchangaNH1-034 | cable fire protection equipment | lot | 1 |  |  |  |  |
| NchangaNH1-035 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Nchanga North Hospital 11kV switching station plant and equipment supplied from within Employer’s country

| Nchnaga North 11kV Switching Station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| NchangaNH2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| NchangaNH2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| NchangaNH2-003 | Construction of control building complete with the following; - 9kg Fire extinguishers - Battery room complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning, concrete roof slab and false roof - ACDC room complete with air conditions - Communication room complete with air conditioning **Construction of Guard House complete with separate shower and toilet, with Kitchen where feasible and practical | Lot | 1 |  |  |  |  |
| NchangaNH2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| NchangaNH2-005 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| NchangaNH2-006 | Cable trenches | Lot | 1 |  |  |  |  |
| NchangaNH2-007 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| NchangaNH2-008 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| NchangaNH2-009 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| NchangaNH2-010 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| NchangaNH2-011 | Substation fence and gates | lot | 1 |  |  |  |  |
| NchangaNH2-012 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| NchangaNH2-013 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| NchangaNH2-014 | Civil works System testing | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Nchanga North Hospital 11kV Switching Station Local Transportation

| Nchanga North Hospital 11kV switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Nchanga North Hospital 11kV switching station installation services

| Nchanga North Hospital 11kV Switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation services |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| NchangaNH4-001 | Bus riser | Each | 1 |  |  |  |  |
| NchangaNH4-002 | Bus Section | each | 1 |  |  |  |  |
| NchangaNH4-003 | Earthing panel | each | 1 |  |  |  |  |
| NchangaNH4-004 | Incomers | each | 2 |  |  |  |  |
| NchangaNH4-005 | Out going feeders | each | 8 |  |  |  |  |
| NchangaNH4-006 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| NchangaNH4-007 | 11kV Line protection system | lot | 1 |  |  |  |  |
| NchangaNH4-008 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| NchangaNH4-009 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| NchangaNH4-010 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| NchangaNH4-011 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| NchangaNH4-012 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| NchangaNH4-013 | Complete Auxiliary power 400VAC board and 100kVA 11/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| NchangaNH4-014 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| NchangaNH4-015 | Station Chargers and accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| NchangaNH4-016 | Installation of communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| NchangaNH4-017 | In door lighting equipment | lot | 1 |  |  |  |  |
| NchangaNH4-018 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| NchangaNH4-019 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| NchangaNH4-020 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| NchangaNH4-021 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| NchangaNH4-022 | cable fire protection equipment | lot | 1 |  |  |  |  |
| NchangaNH4-023 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 5: Summary for Nchanga North Hospital 11kV switching station total project cost with VAT and duties

| Nchanga North Hospital 11kV switching station |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### General Offices 11kV Switching Station

#### Schedule 1: General Offices 11kV station plant and equipment supplied from abroad

| General Offices 11kV Switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| General Offices1-001 | Bus riser | Each | 1 |  |  |  |  |
| General Offices1-002 | Bus Section | each | 1 |  |  |  |  |
| General Offices1-003 | Earthing panel | each | 1 |  |  |  |  |
| General Offices1-004 | Incomers | each | 2 |  |  |  |  |
| General Offices1-005 | Out going feeders | each | 8 |  |  |  |  |
| General Offices1-006 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| General Offices1-007 | 11kV Line protection system | lot | 1 |  |  |  |  |
| General Offices1-008 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| General Offices1-009 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| General Offices1-010 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| General Offices1-011 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| General Offices1-012 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| General Offices1-013 | Complete Auxiliary power 400VAC board and 100kVA 11/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| General Offices1-014 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| General Offices1-015 | Station Chargers and accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| General Offices1-016 | Optic fibre approach cable and accessories | Each | 5 |  |  |  |  |
| General Offices1-017 | Batteries 1200AH -48V + invertor (48Vdc/220Vac) | Each | 2 |  |  |  |  |
| General Offices1-018 | Charger and accessories | Each | 2 |  |  |  |  |
| General Offices1-019 | ODF, DDF, MDF cabinets | Each | 6 |  |  |  |  |
| General Offices1-020 | PTN terminal equipment | lot | 1 |  |  |  |  |
| General Offices1-021 | PCM Multiplexer | each | 1 |  |  |  |  |
| General Offices1-022 | Electrical SFPs | each | 1 |  |  |  |  |
| General Offices1-023 | Analogue Telephone handsets |  |  |  |  |  |  |
| General Offices1-024 | VoIP Telephone handsets |  |  |  |  |  |  |
| General Offices1-025 | Comms cubicle c/w AC/DC and aircon |  |  |  |  |  |  |
| General Offices1-026 |  |  |  |  |  |  |  |
| General Offices1-027 |  |  |  |  |  |  |  |
| General Offices1-028 |  |  |  |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| General Offices1-029 | In door lighting equipment | lot | 1 |  |  |  |  |
| General Offices1-030 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| General Offices1-031 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| General Offices1-032 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| General Offices1-033 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| General Offices1-034 | cable fire protection equipment | lot | 1 |  |  |  |  |
| General Offices1-035 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: General Offices 11kV switching station plant and equipment supplied from within Employer’s country

| General Offices 11kV Switching Station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| General Offices2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| General Offices2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| General Offices2-003 | Construction of control building complete with the following; - 9kg Fire extinguishers - Battery room complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning, concrete roof slab and false roof - ACDC room complete with air conditions - Communication room complete with air conditioning **Construction of Guard House complete with separate shower and toilet, with Kitchen where feasible and practical | Lot | 1 |  |  |  |  |
| General Offices2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| General Offices2-005 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| General Offices2-006 | Cable trenches | Lot | 1 |  |  |  |  |
| General Offices2-007 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| General Offices2-008 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| General Offices2-009 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| General Offices2-010 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| General Offices2-011 | Substation fence and gates | lot | 1 |  |  |  |  |
| General Offices2-012 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| General Offices2-013 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| General Offices2-014 | Civil works System testing | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: General Offices 11kV Switching Station Local Transportation

| General Offices 11kV switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: General Offices 11kV switching station installation services

| General Offices 11kV Switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation services |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| General Offices4-001 | Bus riser | Each | 1 |  |  |  |  |
| General Offices4-002 | Bus Section | each | 1 |  |  |  |  |
| General Offices4-003 | Earthing panel | each | 1 |  |  |  |  |
| General Offices4-004 | Incomers | each | 2 |  |  |  |  |
| General Offices4-005 | Out going feeders | each | 8 |  |  |  |  |
| General Offices4-006 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| General Offices4-007 | 11kV Line protection system | lot | 1 |  |  |  |  |
| General Offices4-008 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| General Offices4-009 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| General Offices4-010 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| General Offices4-011 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| General Offices4-012 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| General Offices4-013 | Complete Auxiliary power 400VAC board and 100kVA 11/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| General Offices4-014 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| General Offices4-015 | Station Chargers and accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| General Offices4-016 | Installation of communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| General Offices4-017 | In door lighting equipment | lot | 1 |  |  |  |  |
| General Offices4-018 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| General Offices4-019 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| General Offices4-020 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| General Offices4-021 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| General Offices4-022 | cable fire protection equipment | lot | 1 |  |  |  |  |
| General Offices4-023 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 5: Summary for General Offices 11kV switching station total project cost with VAT and duties

| General Offices 11kV switching station |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Scaw Factory 11kV Switching Station

#### Schedule 1: Scaw Factory 11kV station plant and equipment supplied from abroad

| Scaw Factory 11kV Switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Scawfactory1-001 | Bus riser | Each | 1 |  |  |  |  |
| Scawfactory1-002 | Bus Section | each | 1 |  |  |  |  |
| Scawfactory1-003 | Earthing panel | each | 1 |  |  |  |  |
| Scawfactory1-004 | Incomers | each | 4 |  |  |  |  |
| Scawfactory1-005 | Out going feeders | each | 8 |  |  |  |  |
| Scawfactory1-006 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Scawfactory1-007 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Scawfactory1-008 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Scawfactory1-009 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Scawfactory1-010 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Scawfactory1-011 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Scawfactory1-012 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Scawfactory1-013 | Complete Auxiliary power 400VAC board and 100kVA 11/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Scawfactory1-014 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Scawfactory1-015 | Station Chargers and accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Scawfactory1-016 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Scawfactory1-017 | Batteries 1200AH -48V + Invertor | lot | 1 |  |  |  |  |
| Scawfactory1-018 | Charger with accessories | lot | 1 |  |  |  |  |
| Scawfactory1-020 | ODF-FC, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Scawfactory1-021 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Scawfactory1-022 | PCM Multiplexer | each | 1 |  |  |  |  |
| Scawfactory1-025 | Electrical SFP | Each | 4 |  |  |  |  |
| Scawfactory1-026 | Digital Telephone handsets | Each | 2 |  |  |  |  |
| Scawfactory1-027 | Analogue Telephone handsets | Each | 6 |  |  |  |  |
| Scawfactory1-028 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| Scawfactory1-029 | VoIP Telephone handsets | Each | 6 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Scawfactory1-030 | In door lighting equipment | lot | 1 |  |  |  |  |
| Scawfactory1-031 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Scawfactory1-032 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Scawfactory1-033 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Scawfactory1-034 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Scawfactory1-035 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Scawfactory1-036 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Scaw Factory 11kV switching station plant and equipment supplied from within Employer’s country

| Scaw Factory 11kV Switching Station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Scawfactory2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Scawfactory2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Scawfactory2-003 | Construction of control building complete with the following; - 9kg Fire extinguishers - Battery room complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning, concrete roof slab and false roof - ACDC room complete with air conditions - Communication room complete with air conditioning **Construction of Guard House complete with separate shower and toilet, with Kitchen where feasible and practical | Lot | 1 |  |  |  |  |
| Scawfactory2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Scawfactory2-005 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Scawfactory2-006 | Cable trenches | Lot | 1 |  |  |  |  |
| Scawfactory2-007 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Scawfactory2-008 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Scawfactory2-009 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Scawfactory2-010 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Scawfactory2-011 | Substation fence and gates | lot | 1 |  |  |  |  |
| Scawfactory2-012 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Scawfactory2-013 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Scawfactory2-014 | Civil works System testing | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Scaw Factory 11kV Switching Station Local Transportation

| Scaw Factory 11kV switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Scaw Factory 11kV switching station installation services

| Scaw Factory 11kV Switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation services |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Scawfactory4-001 | Bus riser | Each | 1 |  |  |  |  |
| Scawfactory4-002 | Bus Section | each | 1 |  |  |  |  |
| Scawfactory4-003 | Earthing panel | each | 1 |  |  |  |  |
| Scawfactory4-004 | Incomers | each | 4 |  |  |  |  |
| Scawfactory4-005 | Out going feeders | each | 8 |  |  |  |  |
| Scawfactory4-006 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Scawfactory4-007 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Scawfactory4-008 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Scawfactory4-009 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Scawfactory4-010 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Scawfactory4-011 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Scawfactory4-012 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Scawfactory4-013 | Complete Auxiliary power 400VAC board and 100kVA 11/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Scawfactory4-014 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Scawfactory4-015 | Station Chargers and accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Scawfactory4-016 | Installation of communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Scawfactory4-017 | In door lighting equipment | lot | 1 |  |  |  |  |
| Scawfactory4-018 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Scawfactory4-019 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Scawfactory4-020 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Scawfactory4-021 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Scawfactory4-022 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Scawfactory4-023 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 5: Summary for Scaw Factory 11kV switching station total project cost with VAT and duties

| Scaw factory 11kV switching station |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### UBZ 11kV Switching Station

#### Schedule 1: UBZ 11kV station plant and equipment supplied from abroad

| UBZ 11kV Switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| UBZ1-001 | Bus riser | Each | 1 |  |  |  |  |
| UBZ1-002 | Bus Section | each | 1 |  |  |  |  |
| UBZ1-003 | Earthing panel | each | 1 |  |  |  |  |
| UBZ1-004 | Incomers | each | 2 |  |  |  |  |
| UBZ1-005 | Out going feeders | each | 8 |  |  |  |  |
| UBZ1-006 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| UBZ1-007 | 11kV Line protection system | lot | 1 |  |  |  |  |
| UBZ1-008 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| UBZ1-009 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| UBZ1-010 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| UBZ1-011 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| UBZ1-012 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| UBZ1-013 | Complete Auxiliary power 400VAC board and 100kVA 11/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| UBZ1-014 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| UBZ1-015 | Station Chargers and accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| UBZ1-016 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| UBZ1-017 | Batteries 1200AH -48V + Invertor | lot | 1 |  |  |  |  |
| UBZ1-018 | Charger with accessories | lot | 1 |  |  |  |  |
| UBZ1-019 | ODF-FC, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| UBZ1-020 | PTN terminal equipment | lot | 1 |  |  |  |  |
| UBZ1-021 | PCM Multiplexer | each | 1 |  |  |  |  |
| UBZ1-024 | Electrical SFP | Each | 4 |  |  |  |  |
| UBZ1-025 | Digital Telephone handsets | Each | 2 |  |  |  |  |
| UBZ1-026 | Analogue Telephone handsets | Each | 6 |  |  |  |  |
| UBZ1-027 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| UBZ1-028 | VoIP Telephone handsets | Each | 6 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| UBZ1-029 | In door lighting equipment | lot | 1 |  |  |  |  |
| UBZ1-030 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| UBZ1-031 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| UBZ1-032 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| UBZ1-033 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| UBZ1-034 | cable fire protection equipment | lot | 1 |  |  |  |  |
| UBZ1-035 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: UBZ 11kV switching station plant and equipment supplied from within Employer’s country

| UBZ 11kV Switching Station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| UBZ2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| UBZ2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| UBZ2-003 | Construction of control building complete with the following; - 9kg Fire extinguishers - Battery room complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning, concrete roof slab and false roof - ACDC room complete with air conditions - Communication room complete with air conditioning **Construction of Guard House complete with separate shower and toilet, with Kitchen where feasible and practical | Lot | 1 |  |  |  |  |
| UBZ2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| UBZ2-005 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| UBZ2-006 | Cable trenches | Lot | 1 |  |  |  |  |
| UBZ2-007 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| UBZ2-008 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| UBZ2-009 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| UBZ2-010 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| UBZ2-011 | Substation fence and gates | lot | 1 |  |  |  |  |
| UBZ2-012 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| UBZ2-013 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| UBZ2-014 | Civil works System testing | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: UBZ 11kV Switching Station Local Transportation

| UBZ 11kV switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: UBZ 11kV switching station installation services

| Scaw Factory 11kV Switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation services |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| UBZ4-001 | Bus riser | Each | 1 |  |  |  |  |
| UBZ4-002 | Bus Section | each | 1 |  |  |  |  |
| UBZ4-003 | Earthing panel | each | 1 |  |  |  |  |
| UBZ4-004 | Incomers | each | 2 |  |  |  |  |
| UBZ4-005 | Out going feeders | each | 8 |  |  |  |  |
| UBZ4-006 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| UBZ4-007 | 11kV Line protection system | lot | 1 |  |  |  |  |
| UBZ4-008 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| UBZ4-009 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| UBZ4-010 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| UBZ4-011 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| UBZ4-012 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| UBZ4-013 | Complete Auxiliary power 400VAC board and 100kVA 11/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| UBZ4-014 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| UBZ4-015 | Station Chargers and accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| UBZ4-016 | Installation of communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| UBZ4-017 | In door lighting equipment | lot | 1 |  |  |  |  |
| UBZ4-018 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| UBZ4-019 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| UBZ4-020 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| UBZ4-021 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| UBZ4-022 | cable fire protection equipment | lot | 1 |  |  |  |  |
| UBZ4-023 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 5: Summary for UBZ 11kV switching station total project cost with VAT and duties

| UBZ 11kV switching station |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### N48 11kV Switching Station

#### Schedule 1: N48 11kV station plant and equipment supplied from abroad

| N48 11kV Switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| N48-1-001 | Bus riser | Each | 1 |  |  |  |  |
| N48-1-002 | Bus Section | each | 1 |  |  |  |  |
| N48-1-003 | Earthing panel | each | 1 |  |  |  |  |
| N48-1-004 | Incomers | each | 2 |  |  |  |  |
| N48-1-005 | Out going feeders | each | 8 |  |  |  |  |
| N48-1-006 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| N48-1-007 | 11kV Line protection system | lot | 1 |  |  |  |  |
| N48-1-008 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| N48-1-009 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| N48-1-010 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| N48-1-012 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| N48-1-013 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| N48-1-014 | Complete Auxiliary power 400VAC board and 100kVA 11/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| N48-1-015 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| N48-1-016 | Station Chargers and accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| N48-1-017 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| N48-1-018 | Batteries 1200AH -48V + Invertor | lot | 1 |  |  |  |  |
| N48-1-019 | Charger with accessories | lot | 1 |  |  |  |  |
| N48-1-020 | ODF-FC, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| N48-1-021 | PTN terminal equipment | lot | 1 |  |  |  |  |
| N48-1-022 | PCM Multiplexer | each | 1 |  |  |  |  |
| N48-1-025 | Electrical SFP | Each | 4 |  |  |  |  |
| N48-1-026 | Digital Telephone handsets | Each | 2 |  |  |  |  |
| N48-1-027 | Analogue Telephone handsets | Each | 6 |  |  |  |  |
| N48-1-028 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| N48-1-029 | VoIP Telephone handsets | Each | 6 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| N48-1-030 | In door lighting equipment | lot | 1 |  |  |  |  |
| N48-1-031 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| N48-1-032 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| N48-1-033 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| N48-1-034 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| N48-1-035 | cable fire protection equipment | lot | 1 |  |  |  |  |
| N48-1-036 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: -N48 11kV switching station plant and equipment supplied from within Employer’s country

| N48 11kV Switching Station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| N48-2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| N48-2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| N48-2-003 | Construction of control building complete with the following; - 9kg Fire extinguishers - Battery room complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning, concrete roof slab and false roof - ACDC room complete with air conditions - Communication room complete with air conditioning **Construction of Guard House complete with separate shower and toilet, with Kitchen where feasible and practical | Lot | 1 |  |  |  |  |
| N48-2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| N48-2-005 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| N48-2-006 | Cable trenches | Lot | 1 |  |  |  |  |
| N48-2-007 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| N48-2-008 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| N48-2-009 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| N48-2-010 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| N48-2-011 | Substation fence and gates | lot | 1 |  |  |  |  |
| N48-2-012 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| N48-2-013 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| N48-2-014 | Civil works System testing | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: N48 11kV Switching Station Local Transportation

| UBZ 11kV switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: N48 11kV switching station installation services

| N48 11kV Switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation services |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| N48-4-001 | Bus riser | Each | 1 |  |  |  |  |
| N48-4-002 | Bus Section | each | 1 |  |  |  |  |
| N48-4-003 | Earthing panel | each | 1 |  |  |  |  |
| N48-4-004 | Incomers | each | 2 |  |  |  |  |
| N48-4-005 | Out going feeders | each | 8 |  |  |  |  |
| N48-4-006 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| N48-4-007 | 11kV Line protection system | lot | 1 |  |  |  |  |
| N48-4-008 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| N48-4-009 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| N48-4-010 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| N48-4-011 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| N48-4-012 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| N48-4-013 | Complete Auxiliary power 400VAC board and 100kVA 11/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| N48-4-014 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| N48-4-015 | Station Chargers and accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| N48-4-016 | Installation of communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| N48-4-017 | In door lighting equipment | lot | 1 |  |  |  |  |
| N48-4-018 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| N48-4-019 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| N48-4-020 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| N48-4-021 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| N48-4-022 | cable fire protection equipment | lot | 1 |  |  |  |  |
| N48-4-023 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 5: Summary for N48 11kV switching station total project cost with VAT and duties

| N48 11kV switching station |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Women’s welfare 11kV Switching Station

#### Schedule 1: Women’s welfare 11kV station plant and equipment supplied from abroad

| Women’s welfare 11kV Switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Womenswelfare1-001 | Bus riser | Each | 1 |  |  |  |  |
| Womenswelfare1-002 | Bus Section | each | 1 |  |  |  |  |
| Womenswelfare1-003 | Earthing panel | each | 1 |  |  |  |  |
| Womenswelfare1-004 | Incomers | each | 2 |  |  |  |  |
| Womenswelfare1-005 | Out going feeders | each | 8 |  |  |  |  |
| Womenswelfare1-006 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Womenswelfare1-007 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Womenswelfare1-008 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Womenswelfare1-009 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Womenswelfare1-010 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Womenswelfare1-011 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Womenswelfare1-012 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Womenswelfare1-013 | Complete Auxiliary power 400VAC board and 100kVA 11/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Womenswelfare1-014 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Womenswelfare1-015 | Station Chargers and accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Womenswelfare1-016 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Womenswelfare1-017 | Batteries 1200AH -48V + Invertor | lot | 1 |  |  |  |  |
| Womenswelfare1-018 | Charger with accessories | lot | 1 |  |  |  |  |
| Womenswelfare1-019 | ODF-FC, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Womenswelfare1-020 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Womenswelfare1-021 | PCM Multiplexer | each | 1 |  |  |  |  |
| Womenswelfare1-024 | Electrical SFP | Each | 4 |  |  |  |  |
| Womenswelfare1-025 | Digital Telephone handsets | Each | 2 |  |  |  |  |
| Womenswelfare1-026 | Analogue Telephone handsets | Each | 6 |  |  |  |  |
| Womenswelfare1-027 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| Womenswelfare1-028 | VoIP Telephone handsets | Each | 6 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Womenswelfare1-029 | In door lighting equipment | lot | 1 |  |  |  |  |
| Womenswelfare1-030 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Womenswelfare1-031 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Womenswelfare1-032 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Womenswelfare1-033 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Womenswelfare1-034 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Womenswelfare1-035 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Women’s welfare 11kV switching station plant and equipment supplied from within Employer’s country.

| Women’s welfare 11kV Switching Station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Womenswelfare2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Womenswelfare2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Womenswelfare2-003 | Construction of control building complete with the following; - 9kg Fire extinguishers - Battery room complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning, concrete roof slab and false roof - ACDC room complete with air conditions - Communication room complete with air conditioning **Construction of Guard House complete with separate shower and toilet, with Kitchen where feasible and practical | Lot | 1 |  |  |  |  |
| Womenswelfare2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Womenswelfare2-005 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Womenswelfare2-006 | Cable trenches | Lot | 1 |  |  |  |  |
| Womenswelfare2-007 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Womenswelfare2-008 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Womenswelfare2-009 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Womenswelfare2-010 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Womenswelfare2-011 | Substation fence and gates | lot | 1 |  |  |  |  |
| Womenswelfare2-012 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Womenswelfare2-013 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Womenswelfare2-014 | Civil works System testing | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Women’s welfare 11kV Switching Station Local Transportation

| Women’s welfare 11kV switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Women’s welfare 11kV switching station installation services

| Women’s welfare 11kV Switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation services |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Womenswelfare4-001 | Bus riser | Each | 1 |  |  |  |  |
| Womenswelfare4-002 | Bus Section | each | 1 |  |  |  |  |
| Womenswelfare4-003 | Earthing panel | each | 1 |  |  |  |  |
| Womenswelfare4-004 | Incomers | each | 2 |  |  |  |  |
| Womenswelfare4-005 | Out going feeders | each | 8 |  |  |  |  |
| Womenswelfare4-006 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Womenswelfare4-007 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Womenswelfare4-008 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Womenswelfare4-009 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Womenswelfare4-010 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Womenswelfare4-011 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Womenswelfare4-012 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Womenswelfare4-013 | Complete Auxiliary power 400VAC board and 100kVA 11/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Womenswelfare4-014 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Womenswelfare4-015 | Station Chargers and accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Womenswelfare4-016 | Installation of communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Womenswelfare4-017 | In door lighting equipment | lot | 1 |  |  |  |  |
| Womenswelfare4-018 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Womenswelfare4-019 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Womenswelfare4-020 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Womenswelfare4-021 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Womenswelfare4-022 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Womenswelfare4-023 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 5: Summary for Women’s welfare 11kV switching station total project cost with VAT and duties

| Women’s welfare 11kV switching station |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Kansuswa 33/11kV Substation

#### Schedule 1: Kansuswa 33/11kV substation plant and equipment supplied from abroad

| Kansuswa 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Kansuswa1-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Kansuswa1-002 | Circuit Breaker- Live Tank | each | 4 |  |  |  |  |
| Kansuswa1-003 | Isolator, Motor Operated with integral earth switch | each | 3 |  |  |  |  |
| Kansuswa1-004 | Isolator switch, Motor Operated without integral earth switch | each | 3 |  |  |  |  |
| Kansuswa1-005 | VTs | each | 15 |  |  |  |  |
| Kansuswa1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Kansuswa1-007 | Surge arresters | each | 9 |  |  |  |  |
| Kansuswa1-008 | CTs | each | 12 |  |  |  |  |
| Kansuswa1-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kansuswa1-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Kansuswa1-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Kansuswa1-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Kansuswa1-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Kansuswa1-014 | Bus riser | Each | 1 |  |  |  |  |
| Kansuswa1-015 | Bus Section | each | 1 |  |  |  |  |
| Kansuswa1-016 | Earthing panel | each | 1 |  |  |  |  |
| Kansuswa1-017 | Incomers | each | 2 |  |  |  |  |
| Kansuswa1-018 | Out going feeders | each | 6 |  |  |  |  |
| Kansuswa1-019 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Kansuswa1-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Kansuswa1-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kansuswa1-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kansuswa1-023 | Support insulators | lot | 1 |  |  |  |  |
| Kansuswa1-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Kansuswa1-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Kansuswa1-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Kansuswa1-027 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Kansuswa1-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kansuswa1-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Kansuswa1-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Kansuswa1-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Kansuswa1-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Kansuswa1-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kansuswa1-034 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Kansuswa1-035 | Batteries 1200AH -48V + Invertor | lot | 1 |  |  |  |  |
| Kansuswa1-036 | Charger with accessories | lot | 1 |  |  |  |  |
| Kansuswa1-037 | ODF-FC, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Kansuswa1-038 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Kansuswa1-039 | PCM Multiplexer | each | 1 |  |  |  |  |
| Kansuswa1-040 | Testing equipment and tools | lot | 1 |  |  |  |  |
| Kansuswa1-041 | Critical spares according to solution | lot | 1 |  |  |  |  |
| Kansuswa1-042 | Electrical SFP | Each | 4 |  |  |  |  |
| Kansuswa1-043 | Digital Telephone handsets | Each | 2 |  |  |  |  |
| Kansuswa1-044 | Analogue Telephone handsets | Each | 6 |  |  |  |  |
| Kansuswa1-045 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| Kansuswa1-046 | VoIP Telephone handsets | Each | 6 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kansuswa1-047 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Kansuswa1-048 | In door lighting equipment | lot | 1 |  |  |  |  |
| Kansuswa1-049 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Kansuswa1-050 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Kansuswa1-051 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Kansuswa1-052 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Kansuswa1-053 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Kansuswa1-054 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Kansuswa1-055 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Kansuswa1-056 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Kansuswa1-057 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Kansuswa 33/11kV substation plant and equipment supplied from within Employer’s country

| Kansuswa 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Kansuswa2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Kansuswa2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Kansuswa2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Kansuswa2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Kansuswa2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Kansuswa2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Kansuswa2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Kansuswa2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Kansuswa2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Kansuswa2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Kansuswa2-011 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Kansuswa2-012 | Substation fence and gates | lot | 1 |  |  |  |  |
| Kansuswa2-013 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Kansuswa2-014 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Kansuswa2-015 | Civil works System testing | lot | 1 |  |  |  |  |
| Kansuswa2-016 | Substation stones | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Kansuswa 33/11kV substation Local Transportation

| Kansuswa 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Kansuswa 33/11kV substation installation services

| Kansuswa 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Kansuswa4-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Kansuswa4-002 | Circuit Breaker- Live Tank | each | 4 |  |  |  |  |
| Kansuswa4-003 | Isolator, Motor Operated with integral earth switch | each | 3 |  |  |  |  |
| Kansuswa4-004 | Isolator switch, Motor Operated without integral earth switch | each | 3 |  |  |  |  |
| Kansuswa4-005 | VTs | each | 15 |  |  |  |  |
| Kansuswa4-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Kansuswa4-007 | Surge arresters | each | 9 |  |  |  |  |
| Kansuswa4-008 | CTs | each | 12 |  |  |  |  |
| Kansuswa4-009 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kansuswa4-010 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Kansuswa4-011 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Kansuswa4-012 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Kansuswa4-013 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Kansuswa4-014 | Bus riser | Each | 1 |  |  |  |  |
| Kansuswa4-015 | Bus Section | each | 1 |  |  |  |  |
| Kansuswa4-016 | Earthing panel | each | 1 |  |  |  |  |
| Kansuswa4-017 | Incomers | each | 2 |  |  |  |  |
| Kansuswa4-018 | Out going feeders | each | 3 |  |  |  |  |
| Kansuswa4-019 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kansuswa4-020 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Kansuswa4-021 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kansuswa4-022 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kansuswa4-023 | Support insulators | lot | 1 |  |  |  |  |
| Kansuswa4-024 | Conductors, Insulator strings, Clamps, marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Kansuswa4-025 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Kansuswa4-026 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Kansuswa4-027 | Conductors, Insulator strings, Clamps ,marshalling kiosks & hardware | lot | 1 |  |  |  |  |
| Kansuswa4-028 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kansuswa4-029 | Station Batteries and accessories | lot | 2 |  |  |  |  |
| Kansuswa4-030 | Complete Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Kansuswa4-031 | 100kVA diesel Generator complete with accessories | lot | 1 |  |  |  |  |
| Kansuswa4-032 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Kansuswa4-033 | Station Chargers and accessories | lot | 2 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Kansuswa4-034 | Communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Kansuswa4-035 | Other equipment | lot | 1 |  |  |  |  |
| Kansuswa4-036 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | Civil works |  |  |  |  |  |  |
| Kansuswa4-037 | Civil and Earthworks | Lot | 1 |  |  |  |  |
| Kansuswa4-038 | Structural steel works and gantries | Lot | 1 |  |  |  |  |

#### Schedule 5: Summary for Kansuswa 33/11kV substation total project cost with VAT and duties

| Kansuswa 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

### Kankoyo 11kV Switching Station

#### Schedule 1: Kankoyo 11kV station plant and equipment supplied from abroad

| Kankoyo 11kV Switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Kankoyo1-001 | Bus riser | Each | 1 |  |  |  |  |
| Kankoyo1-002 | Bus Section | each | 1 |  |  |  |  |
| Kankoyo1-003 | Earthing panel | each | 1 |  |  |  |  |
| Kankoyo1-004 | Incomers | each | 2 |  |  |  |  |
| Kankoyo1-005 | Out going feeders | each | 8 |  |  |  |  |
| Kankoyo1-006 | 11kV Power cables | lot | 1 |  |  |  |  |
| c. | Protection |  |  |  |  |  |  |
| Kankoyo1-007 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Kankoyo1-008 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kankoyo1-009 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kankoyo1-010 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Kankoyo1-011 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kankoyo1-012 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Kankoyo1-013 | Complete Auxiliary power 400VAC board and 100kVA 11/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Kankoyo1-014 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Kankoyo1-015 | Station Chargers and accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kankoyo1-016 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Kankoyo1-017 | Batteries 1200AH -48V + Invertor | lot | 1 |  |  |  |  |
| Kankoyo1-018 | Charger with accessories | lot | 1 |  |  |  |  |
| Kankoyo1-019 | ODF-FC, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Kankoyo1-020 | PTN terminal equipment | lot | 1 |  |  |  |  |
| Kankoyo1-021 | PCM Multiplexer | each | 1 |  |  |  |  |
| Kankoyo1-022 | Testing equipment and tools | lot | 1 |  |  |  |  |
| Kankoyo1-023 | Critical spares according to solution | lot | 1 |  |  |  |  |
| Kankoyo1-024 | Electrical SFP | Each | 4 |  |  |  |  |
| Kankoyo1-025 | Digital Telephone handsets | Each | 2 |  |  |  |  |
| Kankoyo1-026 | Analogue Telephone handsets | Each | 6 |  |  |  |  |
| Kankoyo1-027 | VoIP Telephone handsets | Each | 2 |  |  |  |  |
| Kankoyo1-028 | VoIP Telephone handsets | Each | 6 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kankoyo1-029 | In door lighting equipment | lot | 1 |  |  |  |  |
| Kankoyo1-030 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Kankoyo1-031 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Kankoyo1-032 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Kankoyo1-032 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Kankoyo1-034 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Kankoyo1-035 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 2: Kankoyo 11kV switching station plant and equipment supplied from within Employer’s country.

| Kankoyo 11kV Switching Station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Kankoyo2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Kankoyo2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Kankoyo2-003 | Construction of control building complete with the following; - 9kg Fire extinguishers - Battery room complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning, concrete roof slab and false roof - ACDC room complete with air conditions - Communication room complete with air conditioning **Construction of Guard House complete with separate shower and toilet, with Kitchen where feasible and practical | Lot | 1 |  |  |  |  |
| Kankoyo2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Kankoyo2-005 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Kankoyo2-006 | Cable trenches | Lot | 1 |  |  |  |  |
| Kankoyo2-007 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Kankoyo2-008 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Kankoyo2-009 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Kankoyo2-010 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Kankoyo2-011 | Substation fence and gates | lot | 1 |  |  |  |  |
| Kankoyo2-012 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Kankoyo2-013 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Kankoyo2-014 | Civil works System testing | lot | 1 |  |  |  |  |
|  | Subtotal |  |  |  |  |  |  |

#### Schedule 3: Kankoyo 11kV Switching Station Local Transportation

| Kankoyo 11kV switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

#### Schedule 4: Kankoyo 11kV switching station installation services

| Kankoyo 11kV Switching station |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation services |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| Kankoyo4-001 | Bus riser | Each | 1 |  |  |  |  |
| Kankoyo4-002 | Bus Section | each | 1 |  |  |  |  |
| Kankoyo4-003 | Earthing panel | each | 1 |  |  |  |  |
| Kankoyo4-004 | Incomers | each | 2 |  |  |  |  |
| Kankoyo4-005 | Out going feeders | each | 8 |  |  |  |  |
| Kankoyo4-006 | 11kV Power cables | lot | 1 |  |  |  |  |
|  | Protection |  |  |  |  |  |  |
| Kankoyo4-007 | 11kV Line protection system | lot | 1 |  |  |  |  |
| Kankoyo4-008 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
|  | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kankoyo4-009 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kankoyo4-010 | Grounding Grid Conductor and lighting protection complete with accessories | lot | 1 |  |  |  |  |
| Kankoyo4-011 | Entire Substation Power and Control cables | lot | 1 |  |  |  |  |
|  | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| b. | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kankoyo4-012 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Kankoyo4-013 | Complete Auxiliary power 400VAC board and 100kVA 11/0.4kV Auxiliary Transformer | lot | 1 |  |  |  |  |
| Kankoyo4-014 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Kankoyo4-015 | Station Chargers and accessories | lot | 1 |  |  |  |  |
|  | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 4 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kankoyo4-016 | Installation of communication equipment | lot | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 5 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kankoyo4-017 | In door lighting equipment | lot | 1 |  |  |  |  |
| Kankoyo4-018 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Kankoyo4-019 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Kankoyo4-020 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Kankoyo4-021 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Kankoyo4-022 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Kankoyo4-023 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Sub total |  |  |  |  |  |  |

#### Schedule 5: Summary for Kankoyo 11kV switching station total project cost with VAT and duties

| Kankoyo 11kV switching station |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

# 6. 330kV and 132kV Lines

## 330kV Luano - Chingola Double Circuit Line

### Schedule 1A: Luano - Chingola Double Circuit - 330kV imported materials

| DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1A Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 | UNIT | QTY | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |
|  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |
|  |  |  |  |  | CIP,Chingola | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |
| 1 | Self Suport Tension tower, complete with all necessary fittings, bolts and nuts(including anti vandal bolts and nuts). Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications. Refer to tower outline and profile drawings provided |  |  |  |  |  |  |  |  |  |
| 1.1 | Type 300T10 tower |  | each | 5 |  |  |  |  |  |  |
| 1.1a | CH-18 |  | each | 1 |  |  |  |  |  |  |
| 1.1b | CH-21 |  | each | 1 |  |  |  |  |  |  |
| 1.1c | CH-24 |  | each | 3 |  |  |  |  |  |  |
| 1.1d | CH-27 |  | each | 0 |  |  |  |  |  |  |
| 1.2 | Type 300T30 tower |  | Each | 1 |  |  |  |  |  |  |
| 1.2a | CH 21 |  | each | 0 |  |  |  |  |  |  |
| 1.2b | CH 24 |  | each | 1 |  |  |  |  |  |  |
| 1.2c | CH 27 |  | each | 0 |  |  |  |  |  |  |
| 1.3 | Type 300T70 tower |  | each | 5 |  |  |  |  |  |  |
| 1.3a | CH 24 |  | each | 4 |  |  |  |  |  |  |
| 1.3b | CH 27 |  | each | 1 |  |  |  |  |  |  |
| 2 | Self Support Suspension tower, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications. Refer to tower outline and profile drawings provided |  |  |  |  |  |  |  |  |  |
| 2.1 | Type 300TS1 |  | each | 0 |  |  |  |  |  |  |
| 2.1a | CH 21 |  | each |  |  |  |  |  |  |  |
| 2.1b | CH 24 |  | each |  |  |  |  |  |  |  |
| 2.1c | CH 27 |  | each |  |  |  |  |  |  |  |
| 2.1d | CH 30 |  | each |  |  |  |  |  |  |  |
| 2.2 | Type 300TS2 tower |  | each | 40 |  |  |  |  |  |  |
| 2.2a | CH 30 |  | each | 0 |  |  |  |  |  |  |
| 2.2b | CH 33 |  | each | 0 |  |  |  |  |  |  |
| 2.2c | CH 36 |  | each | 5 |  |  |  |  |  |  |
| 2.2d | CH 39 |  | each | 35 |  |  |  |  |  |  |
| 2.3 | Type 300TS3 tower |  | each | 21 |  |  |  |  |  |  |
| 2.3a | CH 41 |  | each | 20 |  |  |  |  |  |  |
| 2.3b | CH 44 |  | each | 1 |  |  |  |  |  |  |
| 3 | Supply of complete set (all 'four') stubs for foundations of tension towers |  |  |  |  |  |  |  |  |  |
| 3.1 | Stubs for Type 300T10 Towers and Extensions |  | set | 5 |  |  |  |  |  |  |
| 3.2 | Stubs for Type 300T30 towers and Extensions |  | set | 1 |  |  |  |  |  |  |
| 3.3 | Stubs for Type 300T70 towers and Extensions |  | set | 5 |  |  |  |  |  |  |
| 4 | Supply of complete set (all 'four') stubs for foundations of suspension towers |  |  |  |  |  |  |  |  |  |
| 4.1 | Stubs for Type 300S1 towers and Extensions |  | set | 0 |  |  |  |  |  |  |
| 4.2 | Stubs for Type 300S2 towers and Extensions |  | set | 40 |  |  |  |  |  |  |
| 4.3 | Stubs for Type 300S3 towers and Extensions |  | set | 21 |  |  |  |  |  |  |
| 5 | Contractor to provide all necessary detailed designs, drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |
| 5a | Tower type 300T10 and extensions |  | Lot | 1 |  |  |  |  |  |  |
| 5b | Tower type 300T30 and extensions |  | Lot | 1 |  |  |  |  |  |  |
| 5c | Tower type 300T70 and extensions |  | Lot | 1 |  |  |  |  |  |  |
| 5d | Tower type 300S1 and extensions |  | Lot | 1 |  |  |  |  |  |  |
| 5e | Tower type 300S2 and extensions |  | Lot | 1 |  |  |  |  |  |  |
| 5f | Tower type 300S3 and extensions |  | Lot | 1 |  |  |  |  |  |  |
| 6 | Complete Foundation design for all soil classes and all necessary drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |
| 6a | Tower type 300T10 |  | Lot | 1 |  |  |  |  |  |  |
| 6b | Tower type 300T30 |  | Lot | 1 |  |  |  |  |  |  |
| 6c | Tower type 300T70 |  | Lot | 1 |  |  |  |  |  |  |
| 6d | Tower type 300S1 |  | Lot | 1 |  |  |  |  |  |  |
| 6e | Tower type 300S2 |  | Lot | 1 |  |  |  |  |  |  |
| 6f | Tower type 300S3 |  | Lot | 1 |  |  |  |  |  |  |
| 7 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  | route-km | 31 |  |  |  |  |  |  |
| 7.2 | Radial earth galvanised steel wire per tower, 30m x 4 |  | lot | 1 |  |  |  |  |  |  |
| 7.3 | Radial tower earths lugs and bolts complete with nuts |  | lot | 1 |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting tower earthing to substation grid |  | lot | 1 |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to tower legs |  | route-km | 31 |  |  |  |  |  |  |
| 8 | Sign plates |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  | each | 72 |  |  |  |  |  |  |
| 8.2 | Danger plates |  | each | 72 |  |  |  |  |  |  |
| 8.3 | Phase plates |  | each | 72 |  |  |  |  |  |  |
| 8.4 | Circuit plates |  | each | 72 |  |  |  |  |  |  |
| 8.5 | Aerial plates |  | each | 72 |  |  |  |  |  |  |
| A | SUB-TOTAL TOWER AND FOUNDATION SUPPLY items 1.1 to 8.5 |  |  |  |  |  |  |  |  |  |
| 9 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |
| 9.1 | 3 Single phase, double circuit, ASCR conductor type, twin BISON |  | route km | 31 |  |  |  |  |  |  |
| 9.2 | Overhead earthwires type ACS 7 no. 6 |  | route km | 31 |  |  |  |  |  |  |
| 9.3 | Optical Fibre Ground Wire (OPGW) |  | route km | 31 |  |  |  |  |  |  |
| 9.4 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  | m | 1000 |  |  |  |  |  |  |
| 10 | 330kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for twin bundle conductors type ACSR Bison |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  | lot | 1 |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  | lot | 1 |  |  |  |  |  |  |
| 11 | Hardware and fittings for conductor type ASCR Bison |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  | lot | 1 |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  | lot | 1 |  |  |  |  |  |  |
| 11.3 | Flexible spacers for span (Twin bundle spacers) 450mm |  | lot | 1 |  |  |  |  |  |  |
| 11.4 | Flexible spacers for span (Twin bundle spacers) near Suspension tower 330mm |  | lot | 1 |  |  |  |  |  |  |
| 11.5 | Rigid spacers with 40 kg counterweight for jumpers 250mm |  | lot | 1 |  |  |  |  |  |  |
| 11.6 | Vibration dampers, Stockbridge type |  | lot | 1 |  |  |  |  |  |  |
| 11.7 | midspan joints |  | lot | 1 |  |  |  |  |  |  |
| 12 | Hardware and fittings for Earthwire type ACS 7 no.6 |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly |  | lot | 1 |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to tower body |  | lot | 1 |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Stockbridge type |  | lot | 1 |  |  |  |  |  |  |
| 12.4 | Tension joint |  | lot | 1 |  |  |  |  |  |  |
| 12.5 | Repair sleeves |  | lot | 1 |  |  |  |  |  |  |
| 12.6 | Tower Parallel Groove clamps |  | lot | 1 |  |  |  |  |  |  |
| 13 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |
| 13.1 | Complete Tension assembly, |  | lot | 1 |  |  |  |  |  |  |
| 13.2 | Complete Suspension Assemblies, including electrical connection to tower body |  | lot | 1 |  |  |  |  |  |  |
| 13.3 | Vibration dampers, Mult Response type |  | lot | 1 |  |  |  |  |  |  |
| 13.4 | Tower Parallel groove clamps (clamping of OPGW downleads to tower). This shall include |  | lot | 1 |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |
| 14 | Spares: Towers, Insulators and Hardware |  |  |  |  |  |  |  |  |  |
| 14.1 a | Tension Insulator Units, (without fittings) |  | each | 60 |  |  |  |  |  |  |
| 14.1 b | Suspension Insulator Units, (without fittings) |  | each | 120 |  |  |  |  |  |  |
| 14.2 | Hardware for Insulators: |  |  |  |  |  |  |  |  |  |
| 14.2a | Complete set of fittings for suspension insulator |  | per set | 120 |  |  |  |  |  |  |
| 14.2b | Complete set of fittings for tension insulator |  | per set | 60 |  |  |  |  |  |  |
| 14.3 | Hardware for Conductors: |  |  |  |  |  |  |  |  |  |
| 14.3a | Extra Suspension clamps |  | each | 120 |  |  |  |  |  |  |
| 14.3b | Extra Tension clamps |  | each | 60 |  |  |  |  |  |  |
| 14.3c | Extra Jumper clamps |  | each | 60 |  |  |  |  |  |  |
| 14.3d | Extra Tension joints |  | each | 60 |  |  |  |  |  |  |
| 14.3e | Extra Repair sleeves |  | each | 20 |  |  |  |  |  |  |
| 14.3f | Extra Vibration dampers |  | each | 100 |  |  |  |  |  |  |
| 14.3g | Extra Spacers: for span 450mm |  | each | 50 |  |  |  |  |  |  |
| 14.3h | Extra Spacers for span (near Suspension tower) 330mm |  | each | 50 |  |  |  |  |  |  |
| 14.3i | Extra spacers for jumper (with counterweight) 250mm |  | each | 20 |  |  |  |  |  |  |
| 14.4 | Towers |  |  |  |  |  |  |  |  |  |
| 14.4a | Tower Type 300S1 |  | each | 3 |  |  |  |  |  |  |
| 14.4b | Tower Type 300S2 |  | each | 1 |  |  |  |  |  |  |
| 14.4c | Tower Type 300S3 |  | each | 0 |  |  |  |  |  |  |
| 14.4d | Tower Type 300T10 |  | each | 2 |  |  |  |  |  |  |
| 14.4e | Tower Type 300T30 |  | each | 2 |  |  |  |  |  |  |
| 14.4f | Tower Type 300T70 |  | each | 1 |  |  |  |  |  |  |
| C | SUB-TOTAL SPARES item 14 to 14.4f |  |  |  |  |  |  |  |  |  |
|  | TOTAL FOR SCHEDULE No.1A |  |  |  |  |  |  |  |  |  |
| The final quantities for Suspension Towers and materials to be ordered shall be verified and confirmed after line profile survey, tower spotting and pegging is completed. |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |  |  |  |  |  |
|  | Code |  |  |  |  |  |  |  |  |  |
|  | Country |  |  |  |  |  |  |  |  |  |
|  | Name of Bidder |  |  |  |  |  |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |  |  |  |  |  |
|  | 1) Bidders shall enter a code representing the country of origin of all imported plant and equipment |  |  |  |  |  |  |  |  |  |
|  | 2) Specify Currency |  |  |  |  |  |  |  |  |  |

### Schedule 2A : Luano - Chingola Double Circuit – Foundations civil works and materials

|  | DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2A (330kV Luano - Chingola Double Circuit) Foundations civil works and materials |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Unit Price USD | Total Price USD |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Stubs are excluded since they are supplied under schedule No. 1. The contractor to undertake geotechnical soil investigation and complete foundation design. |  |  |  |  |
| 1.1 | Soil Class 5 foundations (Pile foundations) | each | 17 |  |  |
| 1.2 | Soil Class 4 foundations | each | 29 |  |  |
| 1.3 | Soil Class 3 foundations | each | 14 |  |  |
| 1.4 | Soil Class 2 foundations | each | 11 |  |  |
| 1.5 | Soil Class 1 foundations | each | 1 |  |  |
|  | TOTAL FOUNDATIONS |  |  |  |  |
| D | TOTAL FOR SCHEDULE No. 2A |  |  |  |  |
|  | TOTAL (to schedule 6 Summary FOR 330KV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

### Schedule 3A: Luano - Chingola Double Circuit detail prices, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.3A (330kV Luano - Chingola Double Circuit) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAT PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum | 0 |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum | 0 |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum | 0 |  |  |
| 1.4 | Contractor’s facilities and administration | sum | 0 |  |  |
| 1.4.1 | Provide camps, offices and storages | sum | 0 |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum | 0 |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Detailed Survey, Geotechnical, conceptual designs and drawings, and longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. Complete transmission line design | route km | 31 |  |  |
| 2.2 | Plotting of towers and sag curves on longitudinal profiles | route km | 31 |  |  |
| 2.3 | Tower site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 31 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 31 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 55 m wide | route km | 31 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 31 |  |  |
| 3.2 | Extra 3 m wide | route km | 5 |  |  |
| 3.4 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km |  |  |  |
| 3.5 | Installation of Farm Gates and Fences | lot | 1 | 100,000 | 100,000 |
| 3.6 | SUB-TOTAL item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1 | Soil Class 5 foundations (Pile foundations) | each | 17 |  |  |
| 4.2 | Soil Class 4 foundations | each | 29 |  |  |
| 4.3 | Soil Class 3 foundations | each | 14 |  |  |
| 4.4 | Soil Class 2 foundations | each | 11 |  |  |
| 4.5 | Soil Class 1 foundations | each | 1 |  |  |
|  | TOTAL FOUNDATIONS |  |  |  |  |
| 5 | Tower Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual tower sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for suspension towers |  |  |  |  |
| 5.1a | Complete erection works for tower type 300S1 and extensions | each | 0 |  |  |
| 5.1b | Complete erection works for tower type 300S2 and extensions | each | 40 |  |  |
| 5.1c | Complete erection works for tower type 300S3 and extensions | each | 21 |  |  |
| 5.2 | Complete erection works for tension towers |  |  |  |  |
| 5.2a | Complete erection works for tower type 300T10 and extensions | each | 5 |  |  |
| 5.2b | Complete erection works for tower type 300T30 and extensions | each | 1 |  |  |
| 5.2c | Complete erection works for tower type 300T70 and extensions | each | 5 |  |  |
|  | Note: Installation of towers shall include fitting of all tower accessories, i.e number plates, step bolts,etc |  |  |  |  |
| B | SUB-TOTAL FOUNDATION WORKS AND TOWER ERECTION, item 5 to 5.2c |  |  |  |  |
| 6 | Installation and Stringing of Conductors and Earthwires |  |  |  |  |
|  | All costs for distribution from storage to individual tower sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Twin bundle phases, conductor type BISON (main offer) | route km | 31 |  |  |
| 6.1b | Earthwires: |  |  |  |  |
| 6.1c | Type ACS 7 no 6, including termination to substation gantries | route km | 31 |  |  |
| 6.1d | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 31 |  |  |
| 6.1e | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| C | Sub-total, Installation of Conductors and Earthwires |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1a | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 31 |  |  |
| 7.1b | Measurement of electrical footing resistance to earth at each tower site per leg, including recording in an approved manner shall be included in installation cost | per tower | 72 |  |  |
| 7.1c | Installation of counter-poise cables, including connection to towers, excavation of 4no. 30m long 600 mm deep trenches and reinstatement | per tower | 72 |  |  |
| 7.1d | Extra to Item 7.1a for laying at 1000 mm depth | per tower | 20 |  |  |
| 7.1e | Installation of extended or continuous counterpoise including joints and connections to towers, excavation of a 600 mm deep trench and reinstate-ment | m | 3000 |  |  |
| 7.1f | Extra to Item 7.1a for laying at 1000 mm depth | m | 900 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 7.1 to 7.1f |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 8.1-8.5 |  |  |  |  |
| E | SUB-TOTAL , item 6 to 7.1 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 3A |  |  |  |  |
|  | TOTAL (to schedule 5A Summary for 330kV Luano - Chingola Double Circuit) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 4A: Detail prices, day work rates and estimated quantities

| DETAIL PRICES, DAYWORK SCHEDULE No.4A Daywork Work Rates and Estimated Quantities |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM No. | DESCRIPTION | UNIT | QTY | TOTAL PRICES CIP USD | TOTAL PRICES DDP USD |
| 1 | Rates of Labour including all necessary hand tools, accomodation, sub-sistence and overhead charges |  |  |  |  |
| 1.1 | Expatriate foreman | per day | 1 |  |  |
| 1.2 | Surveyor and two assistants incl. survey equipment and transport | per day | 1 |  |  |
| 1.3 | Local Foreman | per day | 1 |  |  |
| 1.4 | Linesman/operator | per day | 1 |  |  |
| 1.5 | Skilled worker | per day | 1 |  |  |
| 1.6 | Unskilled worker | per day | 1 |  |  |
| 1.7 | Driver | per day | 1 |  |  |
| 1.8 | Engineer | per day | 1 |  |  |
| 1.9 | SUB-TOTAL LABOUR |  |  |  |  |
| 2 |
| 2.1 | Pick-up truck | per day | 1 |  |  |
| 2.2 | Lorry < 10 tons | per day | 1 |  |  |
| 2.3 | Lorry 10 to 20 tons | per day | 1 |  |  |
| 2.4 | Mobile Crane | per day | 1 |  |  |
| 2.5 | Tractor with trailer | per day | 1 |  |  |
| 2.6 | Tractor | Per day | 1 |  |  |
| 2.7 | Front end loader | per day | 1 |  |  |
| 2.8 | D7 to D9 Bulldozer | per day | 1 |  |  |
| 2.9 | Excavator | per day | 1 |  |  |
| 2.10 | Air compressor c/w jack hammer | per day | 1 |  |  |
| 2.11 | Water pump | per day | 1 |  |  |
| 2.12 | Concrete mixer | per day | 1 |  |  |
| 2.13 | Power generator | per day | 1 |  |  |
| 2.14 | Welding machine | per day | 1 |  |  |
| 2.15 | SUB-TOTAL EQUIPMENT |  |  |  |  |
| 3 | Daywork, Construction |  |  |  |  |
|  | The rates shall cover construction works, material handling and storage, distribution to tower sites, and insurance until taken over and all costs of personnel, transport and equipment needed. |  |  |  |  |
| 3.1 | Miscellaneous works for special foundations, extensions and concrete works: |  |  |  |  |
| 3.1.1 | Excavation including backfill and reinstatement of soil |  |  |  |  |
| 3.1.1.1 | Down to 3 m below ground level | m3 | 1 |  |  |
| 3.1.1.2 | Below 3 m below ground level | m3 | 1 |  |  |
| 3.1.2 | Solid rock | m3 | 1 |  |  |
| 3.1.2.1 | Solid rock excavation | m3 | 1 |  |  |
| 3.1.2.2 | Excavation including backfill and reinstatement of solid rock | m3 | 1 |  |  |
| 3.1.3 | Casting of concrete foundations including formers and installation of reinforcement | m3 | 1 |  |  |
| 3.1.4 | Drilling and grouting of rock bolt anchors | per m | 1 |  |  |
| 3.2 | Miscellaneous erection of special towers, special extensions, single leg extensions and modifications. |  |  |  |  |
|  | Erection of single leg extensions and reductions for self supporting towers shall be paid for at this ton price. | tons | 1 |  |  |
| 3.3 | Tack welding of nuts (if required) |  |  |  |  |
| 3.3.1 | Up to 3 m above ground level | per 100 bolts |  |  |  |
| 3.3.2 | Above 3 m above ground level | per 100 bolts |  |  |  |
| 3.4 | Installation of Farm Gates and Fences | each | 1 |  |  |
| 3.5 | Additional tensioning of guy wires | each | 1 |  |  |
| 3.6 | SUB-TOTAL CONSTRUCTION |  |  |  |  |
| 4 | Materials for Daywork |  |  |  |  |
| 4.1 | Reinforced concrete for modified or special foundations, including formers |  |  |  |  |
| 4.2 | Concrete for other purposes, including formers | m3 | 1 |  |  |
| 4.3 | Extra reinforcement bars | kg | 1 |  |  |
| 4.4 | Farm Gate | each | 1 |  |  |
| 4.5 | Galvanised steel members for special towers, special extensions, single leg extensions and reductions and modifications and missing members for existing incomplete towers |  |  |  |  |
|  | Extra or reduced quantities of steel due to extension or reduction of single legs for self supporting towers shall be balanced against these prices. |  |  |  |  |
| 4.5.1 | Structural mild steel | ton | 1 |  |  |
| 4.5.2 | Structural high tensile steel | ton | 1 |  |  |
| 4.6 | Additional step bolts | each | 1 |  |  |
| 4.7 | Additional number plates | each | 1 |  |  |
| 4.8 | Additional danger plates | each | 1 |  |  |
| 4.9 | Additional phase and circuit plates | each | 1 |  |  |
| 4.1 | Additional bolts/nuts/washers | per ton | 1 |  |  |
| 4.11 | River Sand | Ton | 1 |  |  |
| 4.12 | Gravel | Ton | 1 |  |  |
| 4.13 | SUB-TOTAL MATERIALS |  |  |  |  |
|  | TOTAL FOR SCHEDULE 4A |  |  |  |  |
|  | TOTAL (to Schedule 5A Summary for 330KV)) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 5A: Detail prices, Summary of prices for 330kV

| DETAIL PRICES, SUMMARY SCHEDULE No.5A (The Bidder to complete for 330kV Luano - Chingola Double Circuit) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Total schedule No. 1A: Plant and Equipment from Abroad, 330kV Luano - Chingola Double Circuit | lot | 1 |  |  |
| 2. | Total schedule No. 2A: Foundations civil works and materials, 330kV Luano - Chingola Double Circuit | Lot | 1 |  |  |
| 4. | Total schedule No. 3A: Installation Services, 330kV Luano - Chingola Double Circuit | lot | 1 |  |  |
| 5 | Total from Schedule No. 4A, Day Work for 330kV Luano - Chingola Double Circuit | Lot | 1 |  |  |
| 6 | TOTAL FOR SCHEDULE 5A |  |  |  |  |
|  | TOTAL (to Schedule 11 Grand Total) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

## 330kV Luano – Chingola – Kansanshi Loop in Loop out single circuit  line

### Schedule 1B: Luano – Chingola – Kansanshi Loop in Loop out single circuit  line

| DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1B Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 | UNIT | QTY | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |
|  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |
|  |  |  |  |  | CIP,Chingola | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |
| 1 | Self Suport Tension tower, complete with all necessary fittings, bolts and nuts(including anti vandal bolts and nuts). Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications. Refer to tower outline and profile drawings provided |  |  |  |  |  |  |  |  |  |
| 1.1 | Type BT tower |  | each | 0 |  |  |  |  |  |  |
| 1.1a | CH-18 |  | each | 0 |  |  |  |  |  |  |
| 1.1b | CH-21 |  | each | 0 |  |  |  |  |  |  |
| 1.1c | CH-24 |  | each | 0 |  |  |  |  |  |  |
| 1.1d | CH-27 |  | each | 0 |  |  |  |  |  |  |
| 1.2 | Type C tower |  | each | 0 |  |  |  |  |  |  |
| 1.2a | CH 21 |  | each | 0 |  |  |  |  |  |  |
| 1.2b | CH 24 |  | each | 0 |  |  |  |  |  |  |
| 1.2c | CH 27 |  | each | 0 |  |  |  |  |  |  |
| 1.3 | Type D tower |  | each | 2 |  |  |  |  |  |  |
| 1.3a | CH 24 |  | each | 2 |  |  |  |  |  |  |
| 1.3b | CH 27 |  | each | 0 |  |  |  |  |  |  |
| 1.4 | Type DE tower |  | each | 2 |  |  |  |  |  |  |
| 1.4a | CH 24 |  | each | 2 |  |  |  |  |  |  |
| 1.4b | CH 27 |  | each | 0 |  |  |  |  |  |  |
| 2 | Self Support Suspension tower, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications. Refer to tower outline and profile drawings provided |  |  |  |  |  |  |  |  |  |
| 2.1 | Type S1 |  | each | 4 |  |  |  |  |  |  |
| 2.1a | CH 21 |  | each | 0 |  |  |  |  |  |  |
| 2.1b | CH 24 |  | each | 4 |  |  |  |  |  |  |
| 2.1c | CH 27 |  | each | 0 |  |  |  |  |  |  |
| 2.1d | CH 30 |  | each | 0 |  |  |  |  |  |  |
| 2.2 | Type S2 tower |  | each | 4 |  |  |  |  |  |  |
| 2.2a | CH 30 |  | each | 2 |  |  |  |  |  |  |
| 2.2b | CH 33 |  | each | 0 |  |  |  |  |  |  |
| 2.2c | CH 36 |  | each | 2 |  |  |  |  |  |  |
| 2.2d | CH 39 |  | each | 0 |  |  |  |  |  |  |
| 2.3 | Type S3 tower |  | each | 0 |  |  |  |  |  |  |
| 2.3a | CH 41 |  | each | 0 |  |  |  |  |  |  |
| 2.3b | CH 44 |  | each | 0 |  |  |  |  |  |  |
| 3 | Supply of complete set (all 'four') stubs for foundations of tension towers |  |  |  |  |  |  |  |  |  |
| 3.1 | Stubs for Type BT Towers and Extensions |  | set |  |  |  |  |  |  |  |
| 3.2 | Stubs for Type C towers and Extensions |  | set | 0 |  |  |  |  |  |  |
| 3.3 | Stubs for Type D towers and Extensions |  | set | 2 |  |  |  |  |  |  |
| 3.3 | Stubs for Type DE towers and Extensions |  | set | 2 |  |  |  |  |  |  |
| 4 | Supply of complete set (all 'four') stubs for foundations of suspension towers |  |  |  |  |  |  |  |  |  |
| 4.1 | Stubs for Type S1 towers and Extensions |  | set | 4 |  |  |  |  |  |  |
| 4.2 | Stubs for Type S2 towers and Extensions |  | set | 4 |  |  |  |  |  |  |
| 4.3 | Stubs for Type S3 towers and Extensions |  | set | 0 |  |  |  |  |  |  |
| 5 | Contractor to provide all necessary detailed designs, drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |
| 5a | Stubs for Type BT Towers and Extensions |  | Lot | 1 |  |  |  |  |  |  |
| 5b | Stubs for Type C towers and Extensions |  | Lot | 1 |  |  |  |  |  |  |
| 5c | Stubs for Type D towers and Extensions |  | Lot | 1 |  |  |  |  |  |  |
| 5d | Stubs for Type DE towers and Extensions |  | Lot | 1 |  |  |  |  |  |  |
| 5e | Tower type 300S1 and extensions |  | Lot | 1 |  |  |  |  |  |  |
| 5f | Tower type 300S2 and extensions |  | Lot | 1 |  |  |  |  |  |  |
| 5g | Tower type 300S3 and extensions |  | Lot | 1 |  |  |  |  |  |  |
| 6 | Complete Foundation design for all soil classes and all necessary drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |
| 6a | Stubs for Type BT Towers and Extensions |  | Lot | 1 |  |  |  |  |  |  |
| 6b | Stubs for Type C towers and Extensions |  | Lot | 1 |  |  |  |  |  |  |
| 6c | Stubs for Type D towers and Extensions |  | Lot | 1 |  |  |  |  |  |  |
| 6d | Stubs for Type DE towers and Extensions |  | Lot | 1 |  |  |  |  |  |  |
| 6e | Tower type 300S1 and extensions |  | Lot | 1 |  |  |  |  |  |  |
| 6f | Tower type 300S2 and extensions |  | Lot | 1 |  |  |  |  |  |  |
| 6g | Tower type 300S3 and extensions |  | Lot | 1 |  |  |  |  |  |  |
| 7 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  | route-km | 4 |  |  |  |  |  |  |
| 7.2 | Radial earth galvanised steel wire per tower, 30m x 4 |  | set | 12 |  |  |  |  |  |  |
| 7.3 | Radial tower earths lugs and bolts complete with nuts |  | lot | 1 |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting tower earthing to substation grid |  | lot | 1 |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to tower legs |  | route-km | 4 |  |  |  |  |  |  |
| 8 | Sign plates |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  | each | 12 |  |  |  |  |  |  |
| 8.2 | Danger plates |  | each | 12 |  |  |  |  |  |  |
| 8.3 | Phase plates |  | each | 12 |  |  |  |  |  |  |
| 8.4 | Circuit plates |  | each | 12 |  |  |  |  |  |  |
| 8.5 | Aerial plates |  | each | 12 |  |  |  |  |  |  |
| A | SUB-TOTAL TOWER AND FOUNDATION SUPPLY items 1.1 to 8.5 |  |  |  |  |  |  |  |  |  |
| 9 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |
| 9.1 | 3 Single phase, Single circuit, ASCR conductor type, twin BISON |  | route km | 4 |  |  |  |  |  |  |
| 9.2 | Overhead earthwires type ACS 7 no. 6 |  | route km | 4 |  |  |  |  |  |  |
| 9.3 | Optical Fibre Ground Wire (OPGW) |  | route km | 4 |  |  |  |  |  |  |
| 9.4 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  | m | 1000 |  |  |  |  |  |  |
| 10 | 330kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for twin bundle conductors type ACSR Bison |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  | lot | 1 |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  | lot | 1 |  |  |  |  |  |  |
| 11 | Hardware and fittings for conductor type ASCR Bison |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  | lot | 1 |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  | lot | 1 |  |  |  |  |  |  |
| 11.3 | Flexible spacers for span (Twin bundle spacers) 450mm |  | lot | 1 |  |  |  |  |  |  |
| 11.4 | Flexible spacers for span (Twin bundle spacers) near Suspension tower 330mm |  | lot | 1 |  |  |  |  |  |  |
| 11.5 | Rigid spacers with 40 kg counterweight for jumpers 250mm |  | lot | 1 |  |  |  |  |  |  |
| 11.6 | Vibration dampers, Stockbridge type |  | lot | 1 |  |  |  |  |  |  |
| 11.7 | midspan joints |  | lot | 1 |  |  |  |  |  |  |
| 12 | Hardware and fittings for Earthwire type ACS 7 no.6 |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly |  | lot | 1 |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to tower body |  | lot | 1 |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Stockbridge type |  | lot | 1 |  |  |  |  |  |  |
| 12.4 | Tension joint |  | lot | 1 |  |  |  |  |  |  |
| 12.5 | Repair sleeves |  | lot | 1 |  |  |  |  |  |  |
| 12.6 | Tower Parallel Groove clamps |  | lot | 1 |  |  |  |  |  |  |
| 13 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |
| 13.1 | Complete Tension assembly, |  | lot | 1 |  |  |  |  |  |  |
| 13.2 | Complete Suspension Assemblies, including electrical connection to tower body |  | lot | 1 |  |  |  |  |  |  |
| 13.3 | Vibration dampers, Mult Response type |  | lot | 1 |  |  |  |  |  |  |
| 13.4 | Tower Parallel groove clamps (clamping of OPGW downleads to tower). This shall include |  | lot | 1 |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |

### Schedule 2B : 330kV Luano – Chingola – Kansanshi – Foundations civil works and materials

|  | DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2B (330kV Luano – Chingola – Kansanshi) Foundations civil works and materials |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Unit Price USD | Total Price USD |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Stubs are excluded since they are supplied under schedule No. 1. The contractor to undertake geotechnical soil investigation and complete foundation design. |  |  |  |  |
| 1.1 | Soil Class 5 foundations (Pile foundations) | each | 3 |  |  |
| 1.2 | Soil Class 4 foundations | each | 5 |  |  |
| 1.3 | Soil Class 3 foundations | each | 2 |  |  |
| 1.4 | Soil Class 2 foundations | each | 2 |  |  |
| 1.5 | Soil Class 1 foundations | each | 0 |  |  |
|  | TOTAL FOUNDATIONS |  |  |  |  |
| D | TOTAL FOR SCHEDULE No. 2A |  |  |  |  |
|  | TOTAL (to schedule 6 Summary FOR 330KV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

### Schedule 3B: 330kV Luano – Chingola – Kansanshi detail prices, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.3B (330kV Luano – Chingola – Kansanshi) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAT PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum | 0 |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum | 0 |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum | 0 |  |  |
| 1.4 | Contractor’s facilities and administration | sum | 0 |  |  |
| 1.4.1 | Provide camps, offices and storages | sum | 0 |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum | 0 |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Detailed Survey, Geotechnical, conceptual designs and drawings, and longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. Complete transmission line design | route km | 4 |  |  |
| 2.2 | Plotting of towers and sag curves on longitudinal profiles | route km | 4 |  |  |
| 2.3 | Tower site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 4 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 4 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 55 m wide | route km | 4 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 4 |  |  |
| 3.2 | Extra 3 m wide | route km | 1 |  |  |
| 3.4 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km | 4 |  |  |
| 3.5 | Installation of Farm Gates and Fences | lot | 1 | 100,000 | 100,000 |
| 3.6 | SUB-TOTAL item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1 | Soil Class 5 foundations (Pile foundations) | each | 3 |  |  |
| 4.2 | Soil Class 4 foundations | each | 5 |  |  |
| 4.3 | Soil Class 3 foundations | each | 2 |  |  |
| 4.4 | Soil Class 2 foundations | each | 2 |  |  |
| 4.5 | Soil Class 1 foundations | each | 0 |  |  |
|  | TOTAL FOUNDATIONS |  |  |  |  |
| 5 | Tower Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual tower sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for suspension towers |  |  |  |  |
| 5.1a | Complete erection works for tower type 300S1 and extensions | each | 4 |  |  |
| 5.1b | Complete erection works for tower type 300S2 and extensions | each | 4 |  |  |
| 5.1c | Complete erection works for tower type 300S3 and extensions | each | 0 |  |  |
| 5.2 | Complete erection works for tension towers |  |  |  |  |
| 5.2a | Complete erection works for tower type 300T10 and extensions | each | 0 |  |  |
| 5.2b | Complete erection works for tower type 300T30 and extensions | each | 0 |  |  |
| 5.2c | Complete erection works for tower type 300T70 and extensions | each | 4 |  |  |
|  | Note: Installation of towers shall include fitting of all tower accessories, i.e number plates, step bolts,etc |  |  |  |  |
| B | SUB-TOTAL FOUNDATION WORKS AND TOWER ERECTION, item 5 to 5.2c |  |  |  |  |
| 6 | Installation and Stringing of Conductors and Earthwires |  |  |  |  |
|  | All costs for distribution from storage to individual tower sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Twin bundle phases, conductor type BISON (main offer) | route km | 4 |  |  |
| 6.1b | Earthwires: |  |  |  |  |
| 6.1c | Type ACS 7 no 6, including termination to substation gantries | route km | 4 |  |  |
| 6.1d | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 4 |  |  |
| 6.1e | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| C | Sub-total, Installation of Conductors and Earthwires |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1a | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 4 |  |  |
| 7.1b | Measurement of electrical footing resistance to earth at each tower site per leg, including recording in an approved manner shall be included in installation cost | per tower | 12 |  |  |
| 7.1c | Installation of counter-poise cables, including connection to towers, excavation of 4no. 30m long 600 mm deep trenches and reinstatement | per tower | 12 |  |  |
| 7.1d | Extra to Item 7.1a for laying at 1000 mm depth | per tower | 3 |  |  |
| 7.1e | Installation of extended or continuous counterpoise including joints and connections to towers, excavation of a 600 mm deep trench and reinstate-ment | m | 3000 |  |  |
| 7.1f | Extra to Item 7.1a for laying at 1000 mm depth | m | 900 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 7.1 to 7.1f |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 8.1-8.5 |  |  |  |  |
| E | SUB-TOTAL , item 6 to 7.1 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 3A |  |  |  |  |
|  | TOTAL (to schedule 5A Summary for 330kV Luano – Chingola – Kansanshi) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 4B: Detail prices, day work rates and estimated quantities

| DETAIL PRICES, DAYWORK SCHEDULE No.4B Daywork Work Rates and Estimated Quantities |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM No. | DESCRIPTION | UNIT | QTY | TOTAL PRICES CIP USD | TOTAL PRICES DDP USD |
| 1 | Rates of Labour including all necessary hand tools, accomodation, sub-sistence and overhead charges |  |  |  |  |
| 1.1 | Expatriate foreman | per day | 1 |  |  |
| 1.2 | Surveyor and two assistants incl. survey equipment and transport | per day | 1 |  |  |
| 1.3 | Local Foreman | per day | 1 |  |  |
| 1.4 | Linesman/operator | per day | 1 |  |  |
| 1.5 | Skilled worker | per day | 1 |  |  |
| 1.6 | Unskilled worker | per day | 1 |  |  |
| 1.7 | Driver | per day | 1 |  |  |
| 1.8 | Engineer | per day | 1 |  |  |
| 1.9 | SUB-TOTAL LABOUR |  |  |  |  |
| 2 |
| 2.1 | Pick-up truck | per day | 1 |  |  |
| 2.2 | Lorry < 10 tons | per day | 1 |  |  |
| 2.3 | Lorry 10 to 20 tons | per day | 1 |  |  |
| 2.4 | Mobile Crane | per day | 1 |  |  |
| 2.5 | Tractor with trailer | per day | 1 |  |  |
| 2.6 | Tractor | Per day | 1 |  |  |
| 2.7 | Front end loader | per day | 1 |  |  |
| 2.8 | D7 to D9 Bulldozer | per day | 1 |  |  |
| 2.9 | Excavator | per day | 1 |  |  |
| 2.10 | Air compressor c/w jack hammer | per day | 1 |  |  |
| 2.11 | Water pump | per day | 1 |  |  |
| 2.12 | Concrete mixer | per day | 1 |  |  |
| 2.13 | Power generator | per day | 1 |  |  |
| 2.14 | Welding machine | per day | 1 |  |  |
| 2.15 | SUB-TOTAL EQUIPMENT |  |  |  |  |
| 3 | Daywork, Construction |  |  |  |  |
|  | The rates shall cover construction works, material handling and storage, distribution to tower sites, and insurance until taken over and all costs of personnel, transport and equipment needed. |  |  |  |  |
| 3.1 | Miscellaneous works for special foundations, extensions and concrete works: |  |  |  |  |
| 3.1.1 | Excavation including backfill and reinstatement of soil |  |  |  |  |
| 3.1.1.1 | Down to 3 m below ground level | m3 | 1 |  |  |
| 3.1.1.2 | Below 3 m below ground level | m3 | 1 |  |  |
| 3.1.2 | Solid rock | m3 | 1 |  |  |
| 3.1.2.1 | Solid rock excavation | m3 | 1 |  |  |
| 3.1.2.2 | Excavation including backfill and reinstatement of solid rock | m3 | 1 |  |  |
| 3.1.3 | Casting of concrete foundations including formers and installation of reinforcement | m3 | 1 |  |  |
| 3.1.4 | Drilling and grouting of rock bolt anchors | per m | 1 |  |  |
| 3.2 | Miscellaneous erection of special towers, special extensions, single leg extensions and modifications. |  |  |  |  |
|  | Erection of single leg extensions and reductions for self supporting towers shall be paid for at this ton price. | tons | 1 |  |  |
| 3.3 | Tack welding of nuts (if required) |  |  |  |  |
| 3.3.1 | Up to 3 m above ground level | per 100 bolts |  |  |  |
| 3.3.2 | Above 3 m above ground level | per 100 bolts |  |  |  |
| 3.4 | Installation of Farm Gates and Fences | each | 1 |  |  |
| 3.5 | Additional tensioning of guy wires | each | 1 |  |  |
| 3.6 | SUB-TOTAL CONSTRUCTION |  |  |  |  |
| 4 | Materials for Daywork |  |  |  |  |
| 4.1 | Reinforced concrete for modified or special foundations, including formers |  |  |  |  |
| 4.2 | Concrete for other purposes, including formers | m3 | 1 |  |  |
| 4.3 | Extra reinforcement bars | kg | 1 |  |  |
| 4.4 | Farm Gate | each | 1 |  |  |
| 4.5 | Galvanised steel members for special towers, special extensions, single leg extensions and reductions and modifications and missing members for existing incomplete towers |  |  |  |  |
|  | Extra or reduced quantities of steel due to extension or reduction of single legs for self supporting towers shall be balanced against these prices. |  |  |  |  |
| 4.5.1 | Structural mild steel | ton | 1 |  |  |
| 4.5.2 | Structural high tensile steel | ton | 1 |  |  |
| 4.6 | Additional step bolts | each | 1 |  |  |
| 4.7 | Additional number plates | each | 1 |  |  |
| 4.8 | Additional danger plates | each | 1 |  |  |
| 4.9 | Additional phase and circuit plates | each | 1 |  |  |
| 4.1 | Additional bolts/nuts/washers | per ton | 1 |  |  |
| 4.11 | River Sand | Ton | 1 |  |  |
| 4.12 | Gravel | Ton | 1 |  |  |
| 4.13 | SUB-TOTAL MATERIALS |  |  |  |  |
|  | TOTAL FOR SCHEDULE 4A |  |  |  |  |
|  | TOTAL (to Schedule 5A Summary for 330KV)) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 5B: Detail prices, Summary of prices for 330kV Luano – Chingola – Kansanshi

| DETAIL PRICES, SUMMARY SCHEDULE No.5B (The Bidder to complete for 330kV Luano – Chingola – Kansanshi) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Total schedule No. 1B: Plant and Equipment from Abroad, 330kV Luano - Chingola Double Circuit | lot | 1 |  |  |
| 2. | Total schedule No. 2B: Foundations civil works and materials, 330kV Luano - Chingola Double Circuit | Lot | 1 |  |  |
| 4. | Total schedule No. 3B: Installation Services, 330kV Luano - Chingola Double Circuit | lot | 1 |  |  |
| 5 | Total from Schedule No. 4B, Day Work for 330kV Luano - Chingola Double Circuit | Lot | 1 |  |  |
| 6 | TOTAL FOR SCHEDULE 5B |  |  |  |  |
|  | TOTAL (to Schedule 11 Grand Total) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

## 132kV double circuit line from Chingola to Refractory substation

### Schedule 1C: 132kV 	double circuit line from Chingola to Refractory substation

| DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1C Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 | UNIT | QTY | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |
|  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |
|  |  |  |  |  | CIP,Chingola | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |
| 1 | Self-supporting Monopole Towers, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications |  |  |  |  |  |  |  |  |  |
|  | Type A |  |  |  |  |  |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV (13m CAH) |  | each | 3 |  |  |  |  |  |  |
| 1.2 | Intermediate Steel Monopole 132kV (14m CAH) |  | each | 4 |  |  |  |  |  |  |
| 1.3 | Intermediate Steel Monopole 132kV (15m CAH) |  | each | 5 |  |  |  |  |  |  |
| 1.4 | Intermediate Steel Monopole 132kV (16m CAH) |  | each | 16 |  |  |  |  |  |  |
| 1.5 | Intermediate Steel Monopole 132kV (17m CAH) |  | each | 5 |  |  |  |  |  |  |
| 1.6 | Intermediate Steel Monopole 132kV (18m CAH) |  | Rate only | 0 |  |  |  |  |  |  |
|  | Type B |  |  |  |  |  |  |  |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree (13m CAH) |  | each | 2 |  |  |  |  |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  | each | 4 |  |  |  |  |  |  |
|  | Type C |  |  |  |  |  |  |  |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 30-60 degree (13m CAH) |  | each | 0 |  |  |  |  |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  | each | 1 |  |  |  |  |  |  |
|  | Type D |  |  |  |  |  |  |  |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 60-90 degree (13m CAH) |  | each | 2 |  |  |  |  |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  | each | 3 |  |  |  |  |  |  |
|  | Type F |  |  |  |  |  |  |  |  |  |
| 1.13 | Steel Strain Monopole Terminal Flat formation |  | each | 0 |  |  |  |  |  |  |
| 6 | Complete Foundation design for all soil classes and all necessary drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |
| 6a | (Type B/C) Strain Steel Monopole 132kV angle 0-30 degree |  | Lot | 1 |  |  |  |  |  |  |
| 6b | (Type D/DE) Strain Steel Monopole 132kV angle 60-90 degree |  | Lot | 1 |  |  |  |  |  |  |
| 6c | (Type F) Steel Strain Monopole Terminal Flat formation |  | Lot | 1 |  |  |  |  |  |  |
| 6d | (Type A) Intermediate Steel Monopole 132kV |  | Lot | 1 |  |  |  |  |  |  |
| 7 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  | route-km | 9 |  |  |  |  |  |  |
| 7.2 | Radial earth galvanised steel wire per tower, 30m x 4 |  | each | 43 |  |  |  |  |  |  |
| 7.3 | Radial tower earths lugs and bolts complete with nuts |  | lot | 1 |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting tower earthing to substation grid |  | lot | 1 |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to tower legs |  | route-km | 9 |  |  |  |  |  |  |
| 8 | Sign plates |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  | each | 43 |  |  |  |  |  |  |
| 8.2 | Danger plates |  | each | 43 |  |  |  |  |  |  |
| 8.3 | Phase plates |  | each | 43 |  |  |  |  |  |  |
| 8.4 | Circuit plates |  | each | 43 |  |  |  |  |  |  |
| 8.5 | Aerial plates |  | each | 43 |  |  |  |  |  |  |
| A | SUB-TOTAL TOWER AND FOUNDATION SUPPLY items 1.1 to 8.5 |  |  |  |  |  |  |  |  |  |
| 9 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |
| 9.1 | 3 Single phase, double circuit, conductor type BISON |  | route km | 9 |  |  |  |  |  |  |
| 9.3 | Optical Fibre Ground Wire (OPGW) |  | route km | 9 |  |  |  |  |  |  |
| 9.4 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  | m | 1000 |  |  |  |  |  |  |
| 10 | 132kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for single conductor type ACSR Bison |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  | lot | 1 |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  | lot | 1 |  |  |  |  |  |  |
| 11 | Hardware and fittings for conductor type ASCR Bison |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  | lot | 1 |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  | lot | 1 |  |  |  |  |  |  |
| 11.3 | Vibration dampers, Stockbridge type |  | lot | 1 |  |  |  |  |  |  |
| 11.4 | midspan joints |  | lot | 1 |  |  |  |  |  |  |
| 12 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly, |  | lot | 1 |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to tower body |  | lot | 1 |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Mult Response type |  | lot | 1 |  |  |  |  |  |  |
| 12.4 | Tower Parallel groove clamps (clamping of OPGW downleads to tower). |  | lot | 1 |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |
| The final quantities for Suspension Towers and materials to be ordered shall be verified and confirmed after line profile survey, tower spotting and pegging is completed. |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |  |  |  |  |  |
|  | Code |  |  |  |  |  |  |  |  |  |
|  | Country |  |  |  |  |  |  |  |  |  |
|  | Name of Bidder |  |  |  |  |  |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |  |  |  |  |  |
|  | 1) Bidders shall enter a code representing the country of origin of all imported plant and equipment |  |  |  |  |  |  |  |  |  |
|  | 2) Specify Currency |  |  |  |  |  |  |  |  |  |

### Schedule 3C: 132kV Chingola to Refractory substation – details prices, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.3C (132kV Double Circuit Chingola to Refractory substation) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum | 0 |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum | 0 |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum | 0 |  |  |
| 1.4 | Contractor’s facilities and administration | sum | 0 |  |  |
| 1.4.1 | Provide camps, offices and storages | sum | 0 |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum | 0 |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Surveying and drawing of complete longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. The contractor shall provide detailed transmission line design | route km | 9 |  |  |
| 2.2 | Plotting of towers and sag curves on longitudinal profiles | route km | 9 |  |  |
| 2.3 | Tower site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 9 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 9 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 32m wide | route km | 9 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 9 |  |  |
| 3.2 | Extra 3 m wide | route km | 2 |  |  |
| 3.4 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km | 9 |  |  |
| 3.5 | Installation of Farm Gates and fences | lot | 1 | 26000 | 26000 |
| A | SUB-TOTAL item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1 | Complete foundation works for tension and suspension towers |  |  |  |  |
| 4.1a | Soil Class 5 foundations | each | 10 |  |  |
| 4.1b | Soil Class 4 foundations | each | 17 |  |  |
| 4.1c | Soil Class 3 foundations | each | 9 |  |  |
| 4.1d | Soil Class 2 foundations | each | 7 |  |  |
| 4.1e | Soil Class 1 foundations | each | 0 |  |  |
| 4.1f | TOTAL FOUNDATIONS |  |  |  |  |
| 5 | Tower Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual tower sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for tension tower type B | each | 6 |  |  |
| 5.2 | Complete erection works for tension tower type C | each | 1 |  |  |
| 5.3 | Complete erection works for tension tower type D/DE | each | 5 |  |  |
| 5.4 | Complete erection works for suspension tower type A | each | 31 |  |  |
| B | SUB-TOTAL, item 4 to 5.4 |  |  |  |  |
| 6 | Installation and Stringing of Conductors and 48 core OPGW |  |  |  |  |
|  | All costs for distribution from storage to individual tower sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Single phase, double circuit, conductor type BISON | route km | 9 |  |  |
| 6.2 | OPGW: |  |  |  |  |
| 6.2a | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 9 |  |  |
| 6.2b | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| 6.3 | Sub-total, item 6 to 6.2b |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1 | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 9 |  |  |
| 7.2 | Measurement of electrical footing resistance to earth at each tower site, including recording in an approved manner shall be included in installation cost | per tower | 43 |  |  |
| 7.3 | Installation of counter-poise cables, including connection to towers, excavation of four 30m long 600 mm deep trench and reinstatement | per tower | 43 |  |  |
| 7.4 | Extra to Item 7.2 for laying at 1000 mm depth | per tower | 30 |  |  |
| 7.5 | Installation of extended or continuous counterpoise including joints and connections to towers, excavation of a 600 mm deep trench and reinstate-ment. | m | 3000 |  |  |
| 7.6 | Extra to Item 7.4 for laying at 1000 mm depth | m | 750 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 7 to 7.6 |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 7.1 -7.6 |  |  |  |  |
| E | SUB-TOTAL item 6 to 7.6 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 4C |  |  |  |  |
|  | TOTAL (to schedule 6 Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 4C: day work  rates for 132kV Double Circuit Chingola to Refractory substation

| DETAIL PRICES, DAYWORK SCHEDULE No.4C Day work Rates and Estimated Quantities |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM No. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL ITEM PRICE DDP USD |
| 1 | Rates of Labour including all necessary hand tools, accomodation, sub-sistence and overhead charges |  |  |  |  |
| 1.1 | Expatriate foreman | per day | 1 |  |  |
| 1.2 | Surveyor and two assistants incl. survey equipment and transport | per day | 1 |  |  |
| 1.3 | Local Foreman | per day | 1 |  |  |
| 1.4 | Linesman/operator | per day | 1 |  |  |
| 1.5 | Skilled worker | per day | 1 |  |  |
| 1.6 | Unskilled worker | per day | 1 |  |  |
| 1.7 | Driver | per day | 1 |  |  |
| 1.8 | Engineer | per day | 1 |  |  |
| 1.9 | SUB-TOTAL LABOUR |  |  |  |  |
| 2 |
| 2.1 | Pick-up truck | per day | 1 |  |  |
| 2.2 | Lorry < 10 tons | per day | 1 |  |  |
| 2.3 | Lorry 10 to 20 tons | per day | 1 |  |  |
| 2.4 | Mobile Crane | per day | 1 |  |  |
| 2.5 | Tractor with trailer | per day | 1 |  |  |
| 2.6 | Tractor | Per day | 1 |  |  |
| 2.7 | Front end loader | per day | 1 |  |  |
| 2.8 | D7 to D9 Bulldozer | per day | 1 |  |  |
| 2.9 | Excavator | per day | 1 |  |  |
| 2.10 | Air compressor c/w jack hammer | per day | 1 |  |  |
| 2.11 | Water pump | per day | 1 |  |  |
| 2.12 | Concrete mixer | per day | 1 |  |  |
| 2.13 | Power generator | per day | 1 |  |  |
| 2.14 | Welding machine | per day | 1 |  |  |
| 2.15 | SUB-TOTAL EQUIPMENT |  |  |  |  |
| 3 | Daywork, Construction |  |  |  |  |
|  | The rates shall cover construction works, material handling and storage, distribution to tower sites, and insurance until taken over and all costs of personnel, transport and equipment needed. |  |  |  |  |
| 3.1 | Miscellaneous works for special foundations, extensions and concrete works: |  |  |  |  |
| 3.1.1 | Excavation including backfill and reinstatement of soil |  |  |  |  |
| 3.1.1.1 | Down to 3 m below ground level | m3 |  |  |  |
| 3.1.1.2 | Below 3 m below ground level | m3 | 1 |  |  |
| 3.1.2 | Solid rock | m3 | 1 |  |  |
| 3.1.2.1 | Solid rock excavation | m3 | 1 |  |  |
| 3.1.2.2 | Excavation including backfill and reinstatement of solid rock | m3 | 1 |  |  |
| 3.1.3 | Casting of concrete foundations including formers and installation of reinforcement | m3 | 1 |  |  |
| 3.1.4 | Drilling and grouting of rock bolt anchors | per m | 1 |  |  |
| 3.2 | Miscellaneous erection of special towers, special extensions, single leg extensions and modifications. |  |  |  |  |
|  | Erection of single leg extensions and reductions for self supporting towers shall be paid for at this ton price. | tons | 1 |  |  |
| 3.3 | Tack welding of nuts (if required) |  |  |  |  |
| 3.3.1 | Up to 3 m above ground level | per 100 bolts |  |  |  |
| 3.3.2 | Above 3 m above ground level | per 100 bolts |  |  |  |
| 3.4 | Installation of Farm Gates and Fences | each | 1 |  |  |
| 3.6 | SUB-TOTAL CONSTRUCTION |  |  |  |  |
| 4 | Materials for Daywork |  |  |  |  |
| 4.1 | Reinforced concrete for modified or special foundations, including formers |  |  |  |  |
| 4.2 | Concrete for other purposes, including formers | m3 | 1 |  |  |
| 4.3 | Extra reinforcement bars | kg | 1 |  |  |
| 4.4 | Farm Gate | each | 1 |  |  |
| 4.5 | Galvanised steel members for special towers, special extensions, single leg extensions and reductions and modifications and missing members for existing incomplete towers |  |  |  |  |
|  | Extra or reduced quantities of steel due to extension or reduction of single legs for self supporting towers shall be balanced against these prices. |  |  |  |  |
| 4.5.1 | Structural mild steel | ton | 1 |  |  |
| 4.5.2 | Structural high tensile steel | ton | 1 |  |  |
| 4.6 | Additional step bolts | each | 1 |  |  |
| 4.7 | Additional number plates | each | 1 |  |  |
| 4.8 | Additional danger plates | each | 1 |  |  |
| 4.9 | Additional phase and circuit plates | each | 1 |  |  |
| 4.1 | Additional bolts/nuts/washers | per ton | 1 |  |  |
| 4.11 | River Sand | Ton | 1 |  |  |
| 4.12 | Gravel | Ton | 1 |  |  |
| 4.13 | SUB-TOTAL MATERIALS |  |  |  |  |
|  | TOTAL FOR SCHEDULE 5 |  |  |  |  |
|  | TOTAL (to schedule 6 summary for 132kV lines ) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 5C: summary for 132kV Double Circuit Chingola to Refractory substation

| DETAIL PRICES, SUMMARY SCHEDULE No.5C (The Bidder to complete for 132kV Double Circuit Chingola to Refractory substation) Summary of Prices |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Schedule No. 1C: Plant and Equipment from Abroad. | lot | 1 |  |  |
| 2. | Schedule No. 2C: Foundations civil works and materials. | lot | 1 |  |  |
| 3. | Schedule No. 3C: Installation Services. | lot | 1 |  |  |
| 4. | Total from Schedule No. 4C, Day Work rates. | Lot | 1 |  |  |
| 5. | GRAND TOTAL (To Bid Form) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

## 132kV Double circuit line from Chingola 330/132/33kV substation to Nchanga 132/33/11kV substation

### Schedule 1D: 132kV double circuit line from Chingola to Nchanga substation

| DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1D Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 | UNIT | QTY |  | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |  |
|  |  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |  |
|  |  |  |  |  |  | CIP,Chingola | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |  |
| 1 | Self-supporting Monopole Towers, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications |  |  |  |  |  |  |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV (13m CAH) |  | each |  | 12 |  |  |  |  |  |  |
| 1.2 | Intermediate Steel Monopole 132kV (14m CAH) |  | each |  | 12 |  |  |  |  |  |  |
| 1.3 | Intermediate Steel Monopole 132kV (15m CAH) |  | each |  | 19 |  |  |  |  |  |  |
| 1.4 | Intermediate Steel Monopole 132kV (16m CAH) |  | each |  | 62 |  |  |  |  |  |  |
| 1.5 | Intermediate Steel Monopole 132kV (17m CAH) |  | each |  | 19 |  |  |  |  |  |  |
| 1.6 | Intermediate Steel Monopole 132kV (18m CAH) |  | Rate only |  | 0 |  |  |  |  |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree (13m CAH) |  | each |  | 6 |  |  |  |  |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  | each |  | 10 |  |  |  |  |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 30-60 degree (13m CAH) |  | each |  | 1 |  |  |  |  |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  | each |  | 1 |  |  |  |  |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 60-90 degree (13m CAH) |  | each |  | 2 |  |  |  |  |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  | each |  | 3 |  |  |  |  |  |  |
| 1.13 | Steel Strain Monopole Terminal Flat formation |  | each |  | 0 |  |  |  |  |  |  |
| 5 | Contractor to provide all necessary detailed designs, drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 5a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5d | Type F tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6 | Complete Foundation design for all soil classes and all necessary drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 6a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6d | Type F |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 7 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  | route-km | 29 |  |  |  |  |  |  |  |  |
| 7.2 | Radial earth galvanised steel wire per tower, 30m x 4 |  | set | 147 |  |  |  |  |  |  |  |  |
| 7.3 | Radial tower earths lugs and bolts complete with nuts |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting tower earthing to substation grid |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to tower legs |  | route-km | 29 |  |  |  |  |  |  |  |  |
| 8 | Sign plates |  |  |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  | each | 147 |  |  |  |  |  |  |  |  |
| 8.2 | Danger plates |  | each | 147 |  |  |  |  |  |  |  |  |
| 8.3 | Phase plates |  | each | 147 |  |  |  |  |  |  |  |  |
| 8.4 | Circuit plates |  | each | 147 |  |  |  |  |  |  |  |  |
| 8.5 | Aerial plates |  | each | 147 |  |  |  |  |  |  |  |  |
| A | SUB-TOTAL TOWER AND FOUNDATION SUPPLY items 1.1 to 8.5 |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |  |  |
| 9.1 | 3 Single phase, double circuit, conductor type BISON |  | route km | 29 |  |  |  |  |  |  |  |  |
| 9.3 | Optical Fibre Ground Wire (OPGW) |  | route km | 29 |  |  |  |  |  |  |  |  |
| 9.4 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  | m | 1000 |  |  |  |  |  |  |  |  |
| 10 | 132kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for single conductor type ACSR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11 | Hardware and fittings for conductor type ASCR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.3 | Vibration dampers, Stockbridge type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.4 | midspan joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly, |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to tower body |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Mult Response type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.4 | Tower Parallel groove clamps (clamping of OPGW downleads to tower). |  | lot | 1 |  |  |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |  |  |
| C | SUB-TOTAL SPARES item 14 to 12 |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL FOR SCHEDULE No.1A |  |  |  |  |  |  |  |  |  |  |  |
| The final quantities for Suspension Towers and materials to be ordered shall be verified and confirmed after line profile survey, tower spotting and pegging is completed. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |  |  |  |  |  |  |  |
|  | Code |  |  |  |  |  |  |  |  |  |  |  |
|  | Country |  |  |  |  |  |  |  |  |  |  |  |
|  | Name of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | 1) Bidders shall enter a code representing the country of origin of all imported plant and equipment |  |  |  |  |  |  |  |  |  |  |  |
|  | 2) Specify Currency |  |  |  |  |  |  |  |  |  |  |  |

### Schedule 2D: 132kV double circuit line from Chingola to Nchanga substation, Foundations civil works and materials

| DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2D (132kV double circuit line from Chingola to Nchanga substation) Foundations civil works and materials |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Unit Price | Total Price DDP USD |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Anchor bolts are excluded since they are supplied under schedule No. 1 The contractor to undertake geotechnical soil investigation and complete foundation design. |  |  |  |  |
| 1.1 | Soil Class 5 foundations (Pile foundation) | each | 35 |  |  |
| 1.2 | Soil Class 4 foundations | each | 59 |  |  |
| 1.3 | Soil Class 3 foundations | each | 29 |  |  |
| 1.4 | Soil Class 2 foundations | each | 22 |  |  |
| 1.5 | Soil Class 1 foundations | each | 1 |  |  |
|  | TOTAL FOUNDATIONS |  |  |  |  |
| D | TOTAL FOR SCHEDULE No. 2C |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

### Schedule 3D: 132kV Chingola to Nchanga substation – details prices, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.3C (132kV Double Circuit line from Chingola to Nchanga substation) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum | 0 |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum | 0 |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum | 0 |  |  |
| 1.4 | Contractor’s facilities and administration | sum | 0 |  |  |
| 1.4.1 | Provide camps, offices and storages | sum | 0 |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum | 0 |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Surveying and drawing of complete longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. The contractor shall provide detailed transmission line design | route km |  |  |  |
| 2.2 | Plotting of towers and sag curves on longitudinal profiles | route km |  |  |  |
| 2.3 | Tower site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 29 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 29 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 32m wide | route km | 29 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 29 |  |  |
| 3.2 | Extra 3 m wide | route km | 29 |  |  |
| 3.4 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km | 29 |  |  |
| 3.5 | Installation of Farm Gates and fences | lot | 1 | 26000 | 26000 |
| A | SUB-TOTAL item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1 | Complete foundation works for tension and suspension towers |  |  |  |  |
| 4.1a | Soil Class 5 foundations | each | 35 |  |  |
| 4.1b | Soil Class 4 foundations | each | 59 |  |  |
| 4.1c | Soil Class 3 foundations | each | 29 |  |  |
| 4.1d | Soil Class 2 foundations | each | 22 |  |  |
| 4.1e | Soil Class 1 foundations | each | 1 |  |  |
| 4.1f | TOTAL FOUNDATIONS |  |  |  |  |
| 5 | Tower Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual tower sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for tension tower type B | each | 16 |  |  |
| 5.2 | Complete erection works for tension tower type C | each | 2 |  |  |
| 5.3 | Complete erection works for tension tower type D/DE | each | 5 |  |  |
| 5.4 | Complete erection works for suspension tower type A | each | 124 |  |  |
| B | SUB-TOTAL, item 4 to 5.4 |  |  |  |  |
| 6 | Installation and Stringing of Conductors and 48 core OPGW |  |  |  |  |
|  | All costs for distribution from storage to individual tower sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Single phase, double circuit, conductor type BISON | route km | 29 |  |  |
| 6.2 | OPGW: |  |  |  |  |
| 6.2a | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 29 |  |  |
| 6.2b | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| 6.3 | Sub-total, item 6 to 6.2b |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1 | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 29 |  |  |
| 7.2 | Measurement of electrical footing resistance to earth at each tower site, including recording in an approved manner shall be included in installation cost | per tower | 147 |  |  |
| 7.3 | Installation of counter-poise cables, including connection to towers, excavation of four 30m long 600 mm deep trench and reinstatement | per tower | 147 |  |  |
| 7.4 | Extra to Item 7.2 for laying at 1000 mm depth | per tower | 30 |  |  |
| 7.5 | Installation of extended or continuous counterpoise including joints and connections to towers, excavation of a 600 mm deep trench and reinstate-ment. | m | 3000 |  |  |
| 7.6 | Extra to Item 7.4 for laying at 1000 mm depth | m | 750 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 7 to 7.6 |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 7.1 -7.6 |  |  |  |  |
| E | SUB-TOTAL item 6 to 7.6 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 4C |  |  |  |  |
|  | TOTAL (to schedule 6 Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### 132kV Alumini Schedule 4D: day work  rates for 132kV Double Circuit Chingola to Refractory substation

| DETAIL PRICES, DAYWORK SCHEDULE No.4C Day work Rates and Estimated Quantities |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM No. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL ITEM PRICE DDP USD |
| 1 | Rates of Labour including all necessary hand tools, accomodation, sub-sistence and overhead charges |  |  |  |  |
| 1.1 | Expatriate foreman | per day | 1 |  |  |
| 1.2 | Surveyor and two assistants incl. survey equipment and transport | per day | 1 |  |  |
| 1.3 | Local Foreman | per day | 1 |  |  |
| 1.4 | Linesman/operator | per day | 1 |  |  |
| 1.5 | Skilled worker | per day | 1 |  |  |
| 1.6 | Unskilled worker | per day | 1 |  |  |
| 1.7 | Driver | per day | 1 |  |  |
| 1.8 | Engineer | per day | 1 |  |  |
| 1.9 | SUB-TOTAL LABOUR |  |  |  |  |
| 2 |
| 2.1 | Pick-up truck | per day | 1 |  |  |
| 2.2 | Lorry < 10 tons | per day | 1 |  |  |
| 2.3 | Lorry 10 to 20 tons | per day | 1 |  |  |
| 2.4 | Mobile Crane | per day | 1 |  |  |
| 2.5 | Tractor with trailer | per day | 1 |  |  |
| 2.6 | Tractor | Per day | 1 |  |  |
| 2.7 | Front end loader | per day | 1 |  |  |
| 2.8 | D7 to D9 Bulldozer | per day | 1 |  |  |
| 2.9 | Excavator | per day | 1 |  |  |
| 2.10 | Air compressor c/w jack hammer | per day | 1 |  |  |
| 2.11 | Water pump | per day | 1 |  |  |
| 2.12 | Concrete mixer | per day | 1 |  |  |
| 2.13 | Power generator | per day | 1 |  |  |
| 2.14 | Welding machine | per day | 1 |  |  |
| 2.15 | SUB-TOTAL EQUIPMENT |  |  |  |  |
| 3 | Daywork, Construction |  |  |  |  |
|  | The rates shall cover construction works, material handling and storage, distribution to tower sites, and insurance until taken over and all costs of personnel, transport and equipment needed. |  |  |  |  |
| 3.1 | Miscellaneous works for special foundations, extensions and concrete works: |  |  |  |  |
| 3.1.1 | Excavation including backfill and reinstatement of soil |  |  |  |  |
| 3.1.1.1 | Down to 3 m below ground level | m3 |  |  |  |
| 3.1.1.2 | Below 3 m below ground level | m3 | 1 |  |  |
| 3.1.2 | Solid rock | m3 | 1 |  |  |
| 3.1.2.1 | Solid rock excavation | m3 | 1 |  |  |
| 3.1.2.2 | Excavation including backfill and reinstatement of solid rock | m3 | 1 |  |  |
| 3.1.3 | Casting of concrete foundations including formers and installation of reinforcement | m3 | 1 |  |  |
| 3.1.4 | Drilling and grouting of rock bolt anchors | per m | 1 |  |  |
| 3.2 | Miscellaneous erection of special towers, special extensions, single leg extensions and modifications. |  |  |  |  |
|  | Erection of single leg extensions and reductions for self supporting towers shall be paid for at this ton price. | tons | 1 |  |  |
| 3.3 | Tack welding of nuts (if required) |  |  |  |  |
| 3.3.1 | Up to 3 m above ground level | per 100 bolts |  |  |  |
| 3.3.2 | Above 3 m above ground level | per 100 bolts |  |  |  |
| 3.4 | Installation of Farm Gates and Fences | each | 1 |  |  |
| 3.6 | SUB-TOTAL CONSTRUCTION |  |  |  |  |
| 4 | Materials for Daywork |  |  |  |  |
| 4.1 | Reinforced concrete for modified or special foundations, including formers |  |  |  |  |
| 4.2 | Concrete for other purposes, including formers | m3 | 1 |  |  |
| 4.3 | Extra reinforcement bars | kg | 1 |  |  |
| 4.4 | Farm Gate | each | 1 |  |  |
| 4.5 | Galvanised steel members for special towers, special extensions, single leg extensions and reductions and modifications and missing members for existing incomplete towers |  |  |  |  |
|  | Extra or reduced quantities of steel due to extension or reduction of single legs for self supporting towers shall be balanced against these prices. |  |  |  |  |
| 4.5.1 | Structural mild steel | ton | 1 |  |  |
| 4.5.2 | Structural high tensile steel | ton | 1 |  |  |
| 4.6 | Additional step bolts | each | 1 |  |  |
| 4.7 | Additional number plates | each | 1 |  |  |
| 4.8 | Additional danger plates | each | 1 |  |  |
| 4.9 | Additional phase and circuit plates | each | 1 |  |  |
| 4.1 | Additional bolts/nuts/washers | per ton | 1 |  |  |
| 4.11 | River Sand | Ton | 1 |  |  |
| 4.12 | Gravel | Ton | 1 |  |  |
| 4.13 | SUB-TOTAL MATERIALS |  |  |  |  |
|  | TOTAL FOR SCHEDULE 5 |  |  |  |  |
|  | TOTAL (to schedule 6 summary for 132kV lines ) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 5D: summary for 132kV Double Circuit Chingola to Nchanga substation

| DETAIL PRICES, SUMMARY SCHEDULE No.5D (The Bidder to complete for 132kV Double Circuit Chingola to Refractory substation) Summary of Prices |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Schedule No. 1D: Plant and Equipment from Abroad. | lot | 1 |  |  |
| 2. | Schedule No. 2D: Foundations civil works and materials. | lot | 1 |  |  |
| 3. | Schedule No. 3D: Installation Services. | lot | 1 |  |  |
| 4. | Total from Schedule No. 4D, Day Work rates. | Lot | 1 |  |  |
| 5. | GRAND TOTAL (To Bid Form) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

## 132kV XLPE cable for two circuit from Refractory substation to Nchanga substation

### Schedule 1E: 132kV 	Aluminium XLPE cable

| DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1C Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad and Installation Services |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 | UNIT | QTY | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |
|  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |
|  |  |  |  |  | CIP,Nchanga | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |
| 1 | The 132KV Cable to be supplied, complete with all necessary termination kits, fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications. Refer to tower outline and profile drawings provided. Contractor to provide all necessary detailed designs, drawings and calculations, including documentation. |  |  |  |  |  |  |  |  |  |
| 1.1 | 6Nos x 4km of 1Cx630mmsq, 132kV Aluminium XLPE cable |  | route km | 4 |  |  |  |  |  |  |
| 1.2 | 132kV Termination kits |  | Each | 12 |  |  |  |  |  |  |
| 1.3 | Labour and associated installation services (Excavate, lay and termination of the cable). |  | Lot | 1 |  |  |  |  |  |  |
| A | GRAND-TOTAL to supply and install items 1.1 -1.2 |  |  |  |  |  |  |  |  |  |

## Double circuit line from Chingola substation to Kabundi substation

### Schedule 1F: 132kV 	double circuit line from Chingola to Kabundi substation

| DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1F Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 | UNIT | QTY |  | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |  |
|  |  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |  |
|  |  |  |  |  |  | CIP,Chingola | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |  |
| 1 | Self-supporting Monopole Towers, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications |  |  |  |  |  |  |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV (13m CAH) |  | each |  | 11 |  |  |  |  |  |  |
| 1.2 | Intermediate Steel Monopole 132kV (14m CAH) |  | each |  | 11 |  |  |  |  |  |  |
| 1.3 | Intermediate Steel Monopole 132kV (15m CAH) |  | each |  | 17 |  |  |  |  |  |  |
| 1.4 | Intermediate Steel Monopole 132kV (16m CAH) |  | each |  | 55 |  |  |  |  |  |  |
| 1.5 | Intermediate Steel Monopole 132kV (17m CAH) |  | each |  | 17 |  |  |  |  |  |  |
| 1.6 | Intermediate Steel Monopole 132kV (18m CAH) |  | Rate only |  | 0 |  |  |  |  |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree (13m CAH) |  | each |  | 4 |  |  |  |  |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  | each |  | 5 |  |  |  |  |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 30-60 degree (13m CAH) |  | each |  | 2 |  |  |  |  |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  | each |  | 2 |  |  |  |  |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 60-90 degree (13m CAH) |  | each |  | 3 |  |  |  |  |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  | each |  | 4 |  |  |  |  |  |  |
| 1.13 | Steel Strain Monopole Terminal Flat formation |  | each |  | 0 |  |  |  |  |  |  |
| 5 | Contractor to provide all necessary detailed designs, drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 5a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5d | Type F |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6 | Complete Foundation design for all soil classes and all necessary drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 6a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6d | Type F |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 7 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  | route-km | 25 |  |  |  |  |  |  |  |  |
| 7.2 | Radial earth galvanised steel wire per tower, 30m x 4 |  | set | 130 |  |  |  |  |  |  |  |  |
| 7.3 | Radial tower earths lugs and bolts complete with nuts |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting tower earthing to substation grid |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to tower legs |  | route-km | 25 |  |  |  |  |  |  |  |  |
| 8 | Sign plates |  |  |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  | each | 130 |  |  |  |  |  |  |  |  |
| 8.2 | Danger plates |  | each | 130 |  |  |  |  |  |  |  |  |
| 8.3 | Phase plates |  | each | 130 |  |  |  |  |  |  |  |  |
| 8.4 | Circuit plates |  | each | 130 |  |  |  |  |  |  |  |  |
| 8.5 | Aerial plates |  | each | 130 |  |  |  |  |  |  |  |  |
| A | SUB-TOTAL TOWER AND FOUNDATION SUPPLY items 1.1 to 8.5 |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |  |  |
| 9.1 | 3 Single phase, double circuit, conductor type BISON |  | route km | 25 |  |  |  |  |  |  |  |  |
| 9.3 | Optical Fibre Ground Wire (OPGW) |  | route km | 25 |  |  |  |  |  |  |  |  |
| 9.4 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  | m | 1000 |  |  |  |  |  |  |  |  |
| 10 | 132kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for single conductor type ACSR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11 | Hardware and fittings for conductor type ASCR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.3 | Vibration dampers, Stockbridge type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.4 | midspan joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly, |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to tower body |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Multi Response type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.4 | Tower Parallel groove clamps (clamping of OPGW downleads to tower). |  | lot | 1 |  |  |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |  |  |
| C | SUB-TOTAL SPARES item 14 to 12 |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL FOR SCHEDULE No.1A |  |  |  |  |  |  |  |  |  |  |  |
| The final quantities for Suspension Towers and materials to be ordered shall be verified and confirmed after line profile survey, tower spotting and pegging is completed. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |  |  |  |  |  |  |  |
|  | Code |  |  |  |  |  |  |  |  |  |  |  |
|  | Country |  |  |  |  |  |  |  |  |  |  |  |
|  | Name of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | 1) Bidders shall enter a code representing the country of origin of all imported plant and equipment |  |  |  |  |  |  |  |  |  |  |  |
|  | 2) Specify Currency |  |  |  |  |  |  |  |  |  |  |  |

### Schedule 2F: 132kV double circuit line from Chingola to Kabundi substation, Foundations civil works and materials

| DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2C (132kV double circuit line from Chingola to Kabundi substation) Foundations civil works and materials |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Unit Price | Total Price DDP USD |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Anchor bolts are excluded since they are supplied under schedule No. 1 The contractor to undertake geotechnical soil investigation and complete foundation design. |  |  |  |  |
| 1.1 | Soil Class 5 foundations | each | 31 |  |  |
| 1.2 | Soil Class 4 foundations | each | 52 |  |  |
| 1.3 | Soil Class 3 foundations | each | 26 |  |  |
| 1.4 | Soil Class 2 foundations | each | 20 |  |  |
| 1.5 | Soil Class 1 foundations | each | 1 |  |  |
|  | TOTAL FOUNDATIONS |  | 130 |  |  |
| D | TOTAL FOR SCHEDULE No. 2C |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

### Schedule 3F: 132kV double circuit from  Chingola to Kabundi substation – details prices, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.3F (132kV Double Circuit from Chingola to Kabundi substation) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum | 0 |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum | 0 |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum | 0 |  |  |
| 1.4 | Contractor’s facilities and administration | sum | 0 |  |  |
| 1.4.1 | Provide camps, offices and storages | sum | 0 |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum | 0 |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Surveying and drawing of complete longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. The contractor shall provide detailed transmission line design | route km | 25 |  |  |
| 2.2 | Plotting of towers and sag curves on longitudinal profiles | route km | 25 |  |  |
| 2.3 | Tower site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 25 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 25 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 32m wide | route km | 25 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 25 |  |  |
| 3.2 | Extra 3 m wide | route km | 25 |  |  |
| 3.4 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km | 25 |  |  |
| 3.5 | Installation of Farm Gates and fences | lot | 1 | 26000 | 26000 |
| A | SUB-TOTAL item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1 | Complete foundation works for tension and suspension towers |  |  |  |  |
| 4.1a | Soil Class 5 foundations (Pile foundation) | each | 31 |  |  |
| 4.1b | Soil Class 4 foundations | each | 52 |  |  |
| 4.1c | Soil Class 3 foundations | each | 26 |  |  |
| 4.1d | Soil Class 2 foundations | each | 20 |  |  |
| 4.1e | Soil Class 1 foundations | each | 1 |  |  |
| 4.1f | TOTAL FOUNDATIONS |  | 130 |  |  |
| 5 | Tower Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual tower sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for tension tower type B | each | 9 |  |  |
| 5.2 | Complete erection works for tension tower type C | each | 4 |  |  |
| 5.3 | Complete erection works for tension tower type D/DE | each | 7 |  |  |
| 5.4 | Complete erection works for suspension tower type A | each | 110 |  |  |
| B | SUB-TOTAL, item 4 to 5.4 |  |  |  |  |
| 6 | Installation and Stringing of Conductors and 48 core OPGW |  |  |  |  |
|  | All costs for distribution from storage to individual tower sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Single phase, double circuit, conductor type BISON | route km | 25 |  |  |
| 6.2 | OPGW: |  |  |  |  |
| 6.2a | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 25 |  |  |
| 6.2b | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| 6.3 | Sub-total, item 6 to 6.2b |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1 | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 25 |  |  |
| 7.2 | Measurement of electrical footing resistance to earth at each tower site, including recording in an approved manner shall be included in installation cost | per tower | 130 |  |  |
| 7.3 | Installation of counter-poise cables, including connection to towers, excavation of four 30m long 600 mm deep trench and reinstatement | per tower | 130 |  |  |
| 7.4 | Extra to Item 7.2 for laying at 1000 mm depth | per tower | 30 |  |  |
| 7.5 | Installation of extended or continuous counterpoise including joints and connections to towers, excavation of a 600 mm deep trench and reinstate-ment. | m | 3000 |  |  |
| 7.6 | Extra to Item 7.4 for laying at 1000 mm depth | m | 750 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 7 to 7.6 |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 7.1 -7.6 |  |  |  |  |
| E | SUB-TOTAL item 6 to 7.6 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 4C |  |  |  |  |
|  | TOTAL (to schedule 6 Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 4F: day work  rates for 132kV Double Circuit from Chingola to Kabundi substation

| DETAIL PRICES, DAYWORK SCHEDULE No.4C Day work Rates and Estimated Quantities |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM No. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL ITEM PRICE DDP USD |
| 1 | Rates of Labour including all necessary hand tools, accomodation, sub-sistence and overhead charges |  |  |  |  |
| 1.1 | Expatriate foreman | per day | 1 |  |  |
| 1.2 | Surveyor and two assistants incl. survey equipment and transport | per day | 1 |  |  |
| 1.3 | Local Foreman | per day | 1 |  |  |
| 1.4 | Linesman/operator | per day | 1 |  |  |
| 1.5 | Skilled worker | per day | 1 |  |  |
| 1.6 | Unskilled worker | per day | 1 |  |  |
| 1.7 | Driver | per day | 1 |  |  |
| 1.8 | Engineer | per day | 1 |  |  |
| 1.9 | SUB-TOTAL LABOUR |  |  |  |  |
| 2 |
| 2.1 | Pick-up truck | per day | 1 |  |  |
| 2.2 | Lorry < 10 tons | per day | 1 |  |  |
| 2.3 | Lorry 10 to 20 tons | per day | 1 |  |  |
| 2.4 | Mobile Crane | per day | 1 |  |  |
| 2.5 | Tractor with trailer | per day | 1 |  |  |
| 2.6 | Tractor | Per day | 1 |  |  |
| 2.7 | Front end loader | per day | 1 |  |  |
| 2.8 | D7 to D9 Bulldozer | per day | 1 |  |  |
| 2.9 | Excavator | per day | 1 |  |  |
| 2.10 | Air compressor c/w jack hammer | per day | 1 |  |  |
| 2.11 | Water pump | per day | 1 |  |  |
| 2.12 | Concrete mixer | per day | 1 |  |  |
| 2.13 | Power generator | per day | 1 |  |  |
| 2.14 | Welding machine | per day | 1 |  |  |
| 2.15 | SUB-TOTAL EQUIPMENT |  |  |  |  |
| 3 | Daywork, Construction |  |  |  |  |
|  | The rates shall cover construction works, material handling and storage, distribution to tower sites, and insurance until taken over and all costs of personnel, transport and equipment needed. |  |  |  |  |
| 3.1 | Miscellaneous works for special foundations, extensions and concrete works: |  |  |  |  |
| 3.1.1 | Excavation including backfill and reinstatement of soil |  |  |  |  |
| 3.1.1.1 | Down to 3 m below ground level | m3 |  |  |  |
| 3.1.1.2 | Below 3 m below ground level | m3 | 1 |  |  |
| 3.1.2 | Solid rock | m3 | 1 |  |  |
| 3.1.2.1 | Solid rock excavation | m3 | 1 |  |  |
| 3.1.2.2 | Excavation including backfill and reinstatement of solid rock | m3 | 1 |  |  |
| 3.1.3 | Casting of concrete foundations including formers and installation of reinforcement | m3 | 1 |  |  |
| 3.1.4 | Drilling and grouting of rock bolt anchors | per m | 1 |  |  |
| 3.2 | Miscellaneous erection of special towers, special extensions, single leg extensions and modifications. |  |  |  |  |
|  | Erection of single leg extensions and reductions for self supporting towers shall be paid for at this ton price. | tons | 1 |  |  |
| 3.3 | Tack welding of nuts (if required) |  |  |  |  |
| 3.3.1 | Up to 3 m above ground level | per 100 bolts |  |  |  |
| 3.3.2 | Above 3 m above ground level | per 100 bolts |  |  |  |
| 3.4 | Installation of Farm Gates and Fences | each | 1 |  |  |
| 3.6 | SUB-TOTAL CONSTRUCTION |  |  |  |  |
| 4 | Materials for Daywork |  |  |  |  |
| 4.1 | Reinforced concrete for modified or special foundations, including formers |  |  |  |  |
| 4.2 | Concrete for other purposes, including formers | m3 | 1 |  |  |
| 4.3 | Extra reinforcement bars | kg | 1 |  |  |
| 4.4 | Farm Gate | each | 1 |  |  |
| 4.5 | Galvanised steel members for special towers, special extensions, single leg extensions and reductions and modifications and missing members for existing incomplete towers |  |  |  |  |
|  | Extra or reduced quantities of steel due to extension or reduction of single legs for self supporting towers shall be balanced against these prices. |  |  |  |  |
| 4.5.1 | Structural mild steel | ton | 1 |  |  |
| 4.5.2 | Structural high tensile steel | ton | 1 |  |  |
| 4.6 | Additional step bolts | each | 1 |  |  |
| 4.7 | Additional number plates | each | 1 |  |  |
| 4.8 | Additional danger plates | each | 1 |  |  |
| 4.9 | Additional phase and circuit plates | each | 1 |  |  |
| 4.1 | Additional bolts/nuts/washers | per ton | 1 |  |  |
| 4.11 | River Sand | Ton | 1 |  |  |
| 4.12 | Gravel | Ton | 1 |  |  |
| 4.13 | SUB-TOTAL MATERIALS |  |  |  |  |
|  | TOTAL FOR SCHEDULE 5 |  |  |  |  |
|  | TOTAL (to schedule 6 summary for 132kV lines ) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 5F: summary for 132kV Double Circuit from Chingola to Kabundi substation

| DETAIL PRICES, SUMMARY SCHEDULE No.5F (The Bidder to complete for 132kV Double Circuit Chingola to Kabundi substation) Summary of Prices |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Schedule No. 1F: Plant and Equipment from Abroad. | lot | 1 |  |  |
| 2. | Schedule No. 2F: Foundations civil works and materials. | lot | 1 |  |  |
| 3. | Schedule No. 3F: Installation Services. | lot | 1 |  |  |
| 4. | Total from Schedule No. 4F, Day Work rates. | Lot | 1 |  |  |
| 5. | GRAND TOTAL (To Bid Form) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

## Double circuit line from Chambishi East 330/132/66kV substation to Kabundi 132/33/11kV substation

### Schedule 1G: 132kV 	double circuit line from Chingola to Kabundi substation

| DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1F Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 | UNIT | QTY |  | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |  |
|  |  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |  |
|  |  |  |  |  |  | CIP,Chingola | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |  |
| 1 | Self-supporting Monopole Towers, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications |  |  |  |  |  |  |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV (13m CAH) |  | each |  | 13 |  |  |  |  |  |  |
| 1.2 | Intermediate Steel Monopole 132kV (14m CAH) |  | each |  | 13 |  |  |  |  |  |  |
| 1.3 | Intermediate Steel Monopole 132kV (15m CAH) |  | each |  | 19 |  |  |  |  |  |  |
| 1.4 | Intermediate Steel Monopole 132kV (16m CAH) |  | each |  | 65 |  |  |  |  |  |  |
| 1.5 | Intermediate Steel Monopole 132kV (17m CAH) |  | each |  | 19 |  |  |  |  |  |  |
| 1.6 | Intermediate Steel Monopole 132kV (18m CAH) |  | Rate only |  | 0 |  |  |  |  |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree (13m CAH) |  | each |  | 4 |  |  |  |  |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  | each |  | 6 |  |  |  |  |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 30-60 degree (13m CAH) |  | each |  | 1 |  |  |  |  |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  | each |  | 1 |  |  |  |  |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 60-90 degree (13m CAH) |  | each |  | 2 |  |  |  |  |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  | each |  | 3 |  |  |  |  |  |  |
| 1.13 | Steel Strain Monopole Terminal Flat formation |  | each |  | 0 |  |  |  |  |  |  |
| 5 | Contractor to provide all necessary detailed designs, drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 5a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5d | Type F |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6 | Complete Foundation design for all soil classes and all necessary drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 6a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6d | Type F |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 7 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  | route-km | 29 |  |  |  |  |  |  |  |  |
| 7.2 | Radial earth galvanised steel wire per tower, 30m x 4 |  | set | 143 |  |  |  |  |  |  |  |  |
| 7.3 | Radial tower earths lugs and bolts complete with nuts |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting tower earthing to substation grid |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to tower legs |  | route-km | 29 |  |  |  |  |  |  |  |  |
| 8 | Sign plates |  |  |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  | each | 146 |  |  |  |  |  |  |  |  |
| 8.2 | Danger plates |  | each | 146 |  |  |  |  |  |  |  |  |
| 8.3 | Phase plates |  | each | 146 |  |  |  |  |  |  |  |  |
| 8.4 | Circuit plates |  | each | 146 |  |  |  |  |  |  |  |  |
| 8.5 | Aerial plates |  | each | 146 |  |  |  |  |  |  |  |  |
| A | SUB-TOTAL TOWER AND FOUNDATION SUPPLY items 1.1 to 8.5 |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |  |  |
| 9.1 | 3 Single phase, double circuit, conductor type BISON |  | route km | 29 |  |  |  |  |  |  |  |  |
| 9.3 | Optical Fibre Ground Wire (OPGW) |  | route km | 29 |  |  |  |  |  |  |  |  |
| 9.4 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  | m | 1000 |  |  |  |  |  |  |  |  |
| 10 | 132kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for single conductor type ACSR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11 | Hardware and fittings for conductor type ASCR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.3 | Vibration dampers, Stockbridge type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.4 | midspan joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly, |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to tower body |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Multi Response type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.4 | Tower Parallel groove clamps (clamping of OPGW downleads to tower). |  | lot | 1 |  |  |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |  |  |
| C | SUB-TOTAL SPARES item 14 to 12 |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL FOR SCHEDULE No.1A |  |  |  |  |  |  |  |  |  |  |  |
| The final quantities for Suspension Towers and materials to be ordered shall be verified and confirmed after line profile survey, tower spotting and pegging is completed. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |  |  |  |  |  |  |  |
|  | Code |  |  |  |  |  |  |  |  |  |  |  |
|  | Country |  |  |  |  |  |  |  |  |  |  |  |
|  | Name of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | 1) Bidders shall enter a code representing the country of origin of all imported plant and equipment |  |  |  |  |  |  |  |  |  |  |  |
|  | 2) Specify Currency |  |  |  |  |  |  |  |  |  |  |  |

### Schedule 2G: 132kV double circuit line from Chambishi East substation to Kabundi substation , Foundations civil works and materials

| DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2G (For 132kV double circuit line from Chambishi East substation to Kabundi substation) Foundations civil works and materials |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Unit Price | Total Price DDP USD |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Anchor bolts are excluded since they are supplied under schedule No. 1 The contractor to undertake geotechnical soil investigation and complete foundation design. |  |  |  |  |
| 1.1 | Soil Class 5 foundations | each | 35 |  |  |
| 1.2 | Soil Class 4 foundations | each | 58 |  |  |
| 1.3 | Soil Class 3 foundations | each | 29 |  |  |
| 1.4 | Soil Class 2 foundations | each | 22 |  |  |
| 1.5 | Soil Class 1 foundations | each | 1 |  |  |
|  | TOTAL FOUNDATIONS |  |  |  |  |
| D | TOTAL FOR SCHEDULE No. 2G |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

### Schedule 3G: 132kV double circuit from Chambishi East substation to Kabundi substation – details prices, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.3G (For 132kV Double Circuit from Chambishi East substation to Kabundi substation) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum | 0 |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum | 0 |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum | 0 |  |  |
| 1.4 | Contractor’s facilities and administration | sum | 0 |  |  |
| 1.4.1 | Provide camps, offices and storages | sum | 0 |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum | 0 |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Surveying and drawing of complete longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. The contractor shall provide detailed transmission line design | route km | 29 |  |  |
| 2.2 | Plotting of towers and sag curves on longitudinal profiles | route km | 29 |  |  |
| 2.3 | Tower site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 29 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 29 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 32m wide | route km | 29 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 29 |  |  |
| 3.2 | Extra 3 m wide | route km | 5 |  |  |
| 3.4 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km | 29 |  |  |
| 3.5 | Installation of Farm Gates and fences | lot | 1 | 26000 | 26000 |
| A | SUB-TOTAL item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1 | Complete foundation works for tension and suspension towers |  |  |  |  |
| 4.1a | Soil Class 5 foundations (Pile foundation) | each | 35 |  |  |
| 4.1b | Soil Class 4 foundations | each | 58 |  |  |
| 4.1c | Soil Class 3 foundations | each | 29 |  |  |
| 4.1d | Soil Class 2 foundations | each | 22 |  |  |
| 4.1e | Soil Class 1 foundations | each | 1 |  |  |
| 4.1f | TOTAL FOUNDATIONS |  |  |  |  |
| 5 | Tower Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual tower sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for tension tower type B | each | 10 |  |  |
| 5.2 | Complete erection works for tension tower type C | each | 2 |  |  |
| 5.3 | Complete erection works for tension tower type D/DE | each | 5 |  |  |
| 5.4 | Complete erection works for suspension tower type A | each | 129 |  |  |
| B | SUB-TOTAL, item 4 to 5.4 |  |  |  |  |
| 6 | Installation and Stringing of Conductors and 48 core OPGW |  |  |  |  |
|  | All costs for distribution from storage to individual tower sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Single phase, double circuit, conductor type BISON | route km | 29 |  |  |
| 6.2 | OPGW: |  |  |  |  |
| 6.2a | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 29 |  |  |
| 6.2b | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| 6.3 | Sub-total, item 6 to 6.2b |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1 | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 29 |  |  |
| 7.2 | Measurement of electrical footing resistance to earth at each tower site, including recording in an approved manner shall be included in installation cost | per tower | 146 |  |  |
| 7.3 | Installation of counter-poise cables, including connection to towers, excavation of four 30m long 600 mm deep trench and reinstatement | per tower | 146 |  |  |
| 7.4 | Extra to Item 7.2 for laying at 1000 mm depth | per tower | 30 |  |  |
| 7.5 | Installation of extended or continuous counterpoise including joints and connections to towers, excavation of a 600 mm deep trench and reinstate-ment. | m | 3000 |  |  |
| 7.6 | Extra to Item 7.4 for laying at 1000 mm depth | m | 5000 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 7 to 7.6 |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 7.1 -7.6 |  |  |  |  |
| E | SUB-TOTAL item 6 to 7.6 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 3C |  |  |  |  |
|  | TOTAL (to schedule 6 Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 4G: day work  rates for 132kV Double Circuit from Chambishi East substation to Kabundi substation

| DETAIL PRICES, DAYWORK SCHEDULE No.4C Day work Rates and Estimated Quantities |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM No. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL ITEM PRICE DDP USD |
| 1 | Rates of Labour including all necessary hand tools, accomodation, sub-sistence and overhead charges |  |  |  |  |
| 1.1 | Expatriate foreman | per day | 1 |  |  |
| 1.2 | Surveyor and two assistants incl. survey equipment and transport | per day | 1 |  |  |
| 1.3 | Local Foreman | per day | 1 |  |  |
| 1.4 | Linesman/operator | per day | 1 |  |  |
| 1.5 | Skilled worker | per day | 1 |  |  |
| 1.6 | Unskilled worker | per day | 1 |  |  |
| 1.7 | Driver | per day | 1 |  |  |
| 1.8 | Engineer | per day | 1 |  |  |
| 1.9 | SUB-TOTAL LABOUR |  |  |  |  |
| 2 |
| 2.1 | Pick-up truck | per day | 1 |  |  |
| 2.2 | Lorry < 10 tons | per day | 1 |  |  |
| 2.3 | Lorry 10 to 20 tons | per day | 1 |  |  |
| 2.4 | Mobile Crane | per day | 1 |  |  |
| 2.5 | Tractor with trailer | per day | 1 |  |  |
| 2.6 | Tractor | Per day | 1 |  |  |
| 2.7 | Front end loader | per day | 1 |  |  |
| 2.8 | D7 to D9 Bulldozer | per day | 1 |  |  |
| 2.9 | Excavator | per day | 1 |  |  |
| 2.10 | Air compressor c/w jack hammer | per day | 1 |  |  |
| 2.11 | Water pump | per day | 1 |  |  |
| 2.12 | Concrete mixer | per day | 1 |  |  |
| 2.13 | Power generator | per day | 1 |  |  |
| 2.14 | Welding machine | per day | 1 |  |  |
| 2.15 | SUB-TOTAL EQUIPMENT |  |  |  |  |
| 3 | Daywork, Construction |  |  |  |  |
|  | The rates shall cover construction works, material handling and storage, distribution to tower sites, and insurance until taken over and all costs of personnel, transport and equipment needed. |  |  |  |  |
| 3.1 | Miscellaneous works for special foundations, extensions and concrete works: |  |  |  |  |
| 3.1.1 | Excavation including backfill and reinstatement of soil |  |  |  |  |
| 3.1.1.1 | Down to 3 m below ground level | m3 |  |  |  |
| 3.1.1.2 | Below 3 m below ground level | m3 | 1 |  |  |
| 3.1.2 | Solid rock | m3 | 1 |  |  |
| 3.1.2.1 | Solid rock excavation | m3 | 1 |  |  |
| 3.1.2.2 | Excavation including backfill and reinstatement of solid rock | m3 | 1 |  |  |
| 3.1.3 | Casting of concrete foundations including formers and installation of reinforcement | m3 | 1 |  |  |
| 3.1.4 | Drilling and grouting of rock bolt anchors | per m | 1 |  |  |
| 3.2 | Miscellaneous erection of special towers, special extensions, single leg extensions and modifications. |  |  |  |  |
|  | Erection of single leg extensions and reductions for self supporting towers shall be paid for at this ton price. | tons | 1 |  |  |
| 3.3 | Tack welding of nuts (if required) |  |  |  |  |
| 3.3.1 | Up to 3 m above ground level | per 100 bolts |  |  |  |
| 3.3.2 | Above 3 m above ground level | per 100 bolts |  |  |  |
| 3.4 | Installation of Farm Gates and Fences | each | 1 |  |  |
| 3.6 | SUB-TOTAL CONSTRUCTION |  |  |  |  |
| 4 | Materials for Daywork |  |  |  |  |
| 4.1 | Reinforced concrete for modified or special foundations, including formers |  |  |  |  |
| 4.2 | Concrete for other purposes, including formers | m3 | 1 |  |  |
| 4.3 | Extra reinforcement bars | kg | 1 |  |  |
| 4.4 | Farm Gate | each | 1 |  |  |
| 4.5 | Galvanised steel members for special towers, special extensions, single leg extensions and reductions and modifications and missing members for existing incomplete towers |  |  |  |  |
|  | Extra or reduced quantities of steel due to extension or reduction of single legs for self supporting towers shall be balanced against these prices. |  |  |  |  |
| 4.5.1 | Structural mild steel | ton | 1 |  |  |
| 4.5.2 | Structural high tensile steel | ton | 1 |  |  |
| 4.6 | Additional step bolts | each | 1 |  |  |
| 4.7 | Additional number plates | each | 1 |  |  |
| 4.8 | Additional danger plates | each | 1 |  |  |
| 4.9 | Additional phase and circuit plates | each | 1 |  |  |
| 4.1 | Additional bolts/nuts/washers | per ton | 1 |  |  |
| 4.11 | River Sand | Ton | 1 |  |  |
| 4.12 | Gravel | Ton | 1 |  |  |
| 4.13 | SUB-TOTAL MATERIALS |  |  |  |  |
|  | TOTAL FOR SCHEDULE 5 |  |  |  |  |
|  | TOTAL (to schedule 6 summary for 132kV lines ) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 5G: summary for 132kV Double Circuit from Chambishi East substation to Kabundi substation

| DETAIL PRICES, SUMMARY SCHEDULE No.5G (The Bidder to complete for 132kV Double from Chambishi East substation to Kabundi substation) Summary of Prices |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Schedule No. 1G: Plant and Equipment from Abroad. | lot | 1 |  |  |
| 2. | Schedule No. 2G: Foundations civil works and materials. | lot | 1 |  |  |
| 3. | Schedule No. 3G: Installation Services. | lot | 1 |  |  |
| 4. | Total from Schedule No. 4G, Day Work rates. | Lot | 1 |  |  |
| 5. | GRAND TOTAL (To Bid Form) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

## 132kV double circuit line from Chingola 330/132/33kV substation to Chililabombwe 132/33/11kV substation

### Schedule 1H: 132kV  double circuit line from Chingola to Chililabombwe substation

| DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1H Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 | UNIT | QTY |  | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |  |
|  |  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |  |
|  |  |  |  |  |  | CIP,Chingola | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |  |
| 1 | Self-supporting Monopole Towers, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications |  |  |  |  |  |  |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV (13m CAH) |  | each |  | 10 |  |  |  |  |  |  |
| 1.2 | Intermediate Steel Monopole 132kV (14m CAH) |  | each |  | 10 |  |  |  |  |  |  |
| 1.3 | Intermediate Steel Monopole 132kV (15m CAH) |  | each |  | 15 |  |  |  |  |  |  |
| 1.4 | Intermediate Steel Monopole 132kV (16m CAH) |  | each |  | 50 |  |  |  |  |  |  |
| 1.5 | Intermediate Steel Monopole 132kV (17m CAH) |  | each |  | 15 |  |  |  |  |  |  |
| 1.6 | Intermediate Steel Monopole 132kV (18m CAH) |  | Rate only |  | 0 |  |  |  |  |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree (13m CAH) |  | each |  | 5 |  |  |  |  |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  | each |  | 8 |  |  |  |  |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 30-60 degree (13m CAH) |  | each |  | 1 |  |  |  |  |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  | each |  | 2 |  |  |  |  |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 60-90 degree (13m CAH) |  | each |  | 1 |  |  |  |  |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  | each |  | 2 |  |  |  |  |  |  |
| 1.13 | Steel Strain Monopole Terminal Flat formation |  | each |  | 4 |  |  |  |  |  |  |
| 5 | Contractor to provide all necessary detailed designs, drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 5a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5d | Type F |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6 | Complete Foundation design for all soil classes and all necessary drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 6a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6d | Type F |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 7 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  | route-km | 25 |  |  |  |  |  |  |  |  |
| 7.2 | Radial earth galvanised steel wire per tower, 30m x 4 |  | set | 122 |  |  |  |  |  |  |  |  |
| 7.3 | Radial tower earths lugs and bolts complete with nuts |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting tower earthing to substation grid |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to tower legs |  | route-km | 25 |  |  |  |  |  |  |  |  |
| 8 | Sign plates |  |  |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  | each | 122 |  |  |  |  |  |  |  |  |
| 8.2 | Danger plates |  | each | 122 |  |  |  |  |  |  |  |  |
| 8.3 | Phase plates |  | each | 122 |  |  |  |  |  |  |  |  |
| 8.4 | Circuit plates |  | each | 122 |  |  |  |  |  |  |  |  |
| 8.5 | Aerial plates |  | each | 122 |  |  |  |  |  |  |  |  |
| A | SUB-TOTAL TOWER AND FOUNDATION SUPPLY items 1.1 to 8.5 |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |  |  |
| 9.1 | 3 Single phase, double circuit, conductor type BISON |  | route km | 25 |  |  |  |  |  |  |  |  |
| 9.3 | Optical Fibre Ground Wire (OPGW) |  | route km | 25 |  |  |  |  |  |  |  |  |
| 9.4 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  | m | 1000 |  |  |  |  |  |  |  |  |
| 10 | 132kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for single conductor type ACSR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11 | Hardware and fittings for conductor type ASCR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.3 | Vibration dampers, Stockbridge type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.4 | midspan joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly, |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to tower body |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Mult Response type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.4 | Tower Parallel groove clamps (clamping of OPGW downleads to tower). |  | lot | 1 |  |  |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |  |  |
| C | SUB-TOTAL SPARES item 14 to 12 |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL FOR SCHEDULE No.1A |  |  |  |  |  |  |  |  |  |  |  |
| The final quantities for Suspension Towers and materials to be ordered shall be verified and confirmed after line profile survey, tower spotting and pegging is completed. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |  |  |  |  |  |  |  |
|  | Code |  |  |  |  |  |  |  |  |  |  |  |
|  | Country |  |  |  |  |  |  |  |  |  |  |  |
|  | Name of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | 1) Bidders shall enter a code representing the country of origin of all imported plant and equipment |  |  |  |  |  |  |  |  |  |  |  |
|  | 2) Specify Currency |  |  |  |  |  |  |  |  |  |  |  |

### Schedule 2H: 132kV double circuit line from Chingola to Chililabombwe substation, Foundations civil works and materials

| DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2C (132kV double circuit line from Chingola to Refractory substation) Foundations civil works and materials |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Unit Price | Total Price DDP USD |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Anchor bolts are excluded since they are supplied under schedule No. 1 The contractor to undertake geotechnical soil investigation and complete foundation design. |  |  |  |  |
| 1.1 | Soil Class 5 foundations | each | 29 |  |  |
| 1.2 | Soil Class 4 foundations | each | 49 |  |  |
| 1.3 | Soil Class 3 foundations | each | 24 |  |  |
| 1.4 | Soil Class 2 foundations | each | 18 |  |  |
| 1.5 | Soil Class 1 foundations | each | 1 |  |  |
|  | TOTAL FOUNDATIONS |  | 122 |  |  |
| D | TOTAL FOR SCHEDULE No. 2C |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

### Schedule 3H: 132kV double circuit from Chingola to Chililabombwe substation – details prices, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.3C (For 132kV Double Circuit from Chingola to Chililabombwe substation) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum | 0 |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum | 0 |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum | 0 |  |  |
| 1.4 | Contractor’s facilities and administration | sum | 0 |  |  |
| 1.4.1 | Provide camps, offices and storages | sum | 0 |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum | 0 |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Surveying and drawing of complete longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. The contractor shall provide detailed transmission line design | route km | 25 |  |  |
| 2.2 | Plotting of towers and sag curves on longitudinal profiles | route km | 25 |  |  |
| 2.3 | Tower site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 25 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 25 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 32m wide | route km | 25 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 25 |  |  |
| 3.2 | Extra 3 m wide | route km | 3 |  |  |
| 3.4 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km | 25 |  |  |
| 3.5 | Installation of Farm Gates and fences | lot | 1 | 26000 | 26000 |
| A | SUB-TOTAL item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1 | Complete foundation works for tension and suspension towers |  |  |  |  |
| 4.1a | Soil Class 5 foundations | each | 29 |  |  |
| 4.1b | Soil Class 4 foundations | each | 49 |  |  |
| 4.1c | Soil Class 3 foundations | each | 24 |  |  |
| 4.1d | Soil Class 2 foundations | each | 18 |  |  |
| 4.1e | Soil Class 1 foundations | each | 1 |  |  |
| 4.1f | TOTAL FOUNDATIONS |  | 122 |  |  |
| 5 | Tower Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual tower sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for tension tower type B | each | 13 |  |  |
| 5.2 | Complete erection works for tension tower type C | each | 3 |  |  |
| 5.3 | Complete erection works for tension tower type D/DE | each | 3 |  |  |
| 5.4 | Complete erection works for suspension tower type A | each | 99 |  |  |
| 5.5 | Complete erection works for suspension tower type F | each | 4 |  |  |
| B | SUB-TOTAL, item 4 to 5.4 |  |  |  |  |
| 6 | Installation and Stringing of Conductors and 48 core OPGW |  |  |  |  |
|  | All costs for distribution from storage to individual tower sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Single phase, double circuit, conductor type BISON | route km | 25 |  |  |
| 6.2 | OPGW: |  |  |  |  |
| 6.2a | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 25 |  |  |
| 6.2b | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| 6.3 | Sub-total, item 6 to 6.2b |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1 | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 25 |  |  |
| 7.2 | Measurement of electrical footing resistance to earth at each tower site, including recording in an approved manner shall be included in installation cost | per tower | 122 |  |  |
| 7.3 | Installation of counter-poise cables, including connection to towers, excavation of four 30m long 600 mm deep trench and reinstatement | per tower | 122 |  |  |
| 7.4 | Extra to Item 7.2 for laying at 1000 mm depth | per tower | 40 |  |  |
| 7.5 | Installation of extended or continuous counterpoise including joints and connections to towers, excavation of a 600 mm deep trench and reinstate-ment. | m | 3000 |  |  |
| 7.6 | Extra to Item 7.4 for laying at 1000 mm depth | m | 750 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 7 to 7.6 |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 7.1 -7.6 |  |  |  |  |
| E | SUB-TOTAL item 6 to 7.6 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 4C |  |  |  |  |
|  | TOTAL (to schedule 6 Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 4H: day work  rates for 132kV Double Circuit from Chingola to Chililabombwe substation

| DETAIL PRICES, DAYWORK SCHEDULE No.4C Day work Rates and Estimated Quantities |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM No. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL ITEM PRICE DDP USD |
| 1 | Rates of Labour including all necessary hand tools, accomodation, sub-sistence and overhead charges |  |  |  |  |
| 1.1 | Expatriate foreman | per day | 1 |  |  |
| 1.2 | Surveyor and two assistants incl. survey equipment and transport | per day | 1 |  |  |
| 1.3 | Local Foreman | per day | 1 |  |  |
| 1.4 | Linesman/operator | per day | 1 |  |  |
| 1.5 | Skilled worker | per day | 1 |  |  |
| 1.6 | Unskilled worker | per day | 1 |  |  |
| 1.7 | Driver | per day | 1 |  |  |
| 1.8 | Engineer | per day | 1 |  |  |
| 1.9 | SUB-TOTAL LABOUR |  |  |  |  |
| 2 |
| 2.1 | Pick-up truck | per day | 1 |  |  |
| 2.2 | Lorry < 10 tons | per day | 1 |  |  |
| 2.3 | Lorry 10 to 20 tons | per day | 1 |  |  |
| 2.4 | Mobile Crane | per day | 1 |  |  |
| 2.5 | Tractor with trailer | per day | 1 |  |  |
| 2.6 | Tractor | Per day | 1 |  |  |
| 2.7 | Front end loader | per day | 1 |  |  |
| 2.8 | D7 to D9 Bulldozer | per day | 1 |  |  |
| 2.9 | Excavator | per day | 1 |  |  |
| 2.10 | Air compressor c/w jack hammer | per day | 1 |  |  |
| 2.11 | Water pump | per day | 1 |  |  |
| 2.12 | Concrete mixer | per day | 1 |  |  |
| 2.13 | Power generator | per day | 1 |  |  |
| 2.14 | Welding machine | per day | 1 |  |  |
| 2.15 | SUB-TOTAL EQUIPMENT |  |  |  |  |
| 3 | Daywork, Construction |  |  |  |  |
|  | The rates shall cover construction works, material handling and storage, distribution to tower sites, and insurance until taken over and all costs of personnel, transport and equipment needed. |  |  |  |  |
| 3.1 | Miscellaneous works for special foundations, extensions and concrete works: |  |  |  |  |
| 3.1.1 | Excavation including backfill and reinstatement of soil |  |  |  |  |
| 3.1.1.1 | Down to 3 m below ground level | m3 |  |  |  |
| 3.1.1.2 | Below 3 m below ground level | m3 | 1 |  |  |
| 3.1.2 | Solid rock | m3 | 1 |  |  |
| 3.1.2.1 | Solid rock excavation | m3 | 1 |  |  |
| 3.1.2.2 | Excavation including backfill and reinstatement of solid rock | m3 | 1 |  |  |
| 3.1.3 | Casting of concrete foundations including formers and installation of reinforcement | m3 | 1 |  |  |
| 3.1.4 | Drilling and grouting of rock bolt anchors | per m | 1 |  |  |
| 3.2 | Miscellaneous erection of special towers, special extensions, single leg extensions and modifications. |  |  |  |  |
|  | Erection of single leg extensions and reductions for self supporting towers shall be paid for at this ton price. | tons | 1 |  |  |
| 3.3 | Tack welding of nuts (if required) |  |  |  |  |
| 3.3.1 | Up to 3 m above ground level | per 100 bolts |  |  |  |
| 3.3.2 | Above 3 m above ground level | per 100 bolts |  |  |  |
| 3.4 | Installation of Farm Gates and Fences | each | 1 |  |  |
| 3.6 | SUB-TOTAL CONSTRUCTION |  |  |  |  |
| 4 | Materials for Daywork |  |  |  |  |
| 4.1 | Reinforced concrete for modified or special foundations, including formers |  |  |  |  |
| 4.2 | Concrete for other purposes, including formers | m3 | 1 |  |  |
| 4.3 | Extra reinforcement bars | kg | 1 |  |  |
| 4.4 | Farm Gate | each | 1 |  |  |
| 4.5 | Galvanised steel members for special towers, special extensions, single leg extensions and reductions and modifications and missing members for existing incomplete towers |  |  |  |  |
|  | Extra or reduced quantities of steel due to extension or reduction of single legs for self supporting towers shall be balanced against these prices. |  |  |  |  |
| 4.5.1 | Structural mild steel | ton | 1 |  |  |
| 4.5.2 | Structural high tensile steel | ton | 1 |  |  |
| 4.6 | Additional step bolts | each | 1 |  |  |
| 4.7 | Additional number plates | each | 1 |  |  |
| 4.8 | Additional danger plates | each | 1 |  |  |
| 4.9 | Additional phase and circuit plates | each | 1 |  |  |
| 4.1 | Additional bolts/nuts/washers | per ton | 1 |  |  |
| 4.11 | River Sand | Ton | 1 |  |  |
| 4.12 | Gravel | Ton | 1 |  |  |
| 4.13 | SUB-TOTAL MATERIALS |  |  |  |  |
|  | TOTAL FOR SCHEDULE 5 |  |  |  |  |
|  | TOTAL (to schedule 6 summary for 132kV lines ) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 5H: summary for 132kV Double Circuit from Chingola to Chililabombwe substation

| DETAIL PRICES, SUMMARY SCHEDULE No.5H (The Bidder to complete for 132kV Double Circuit Chingola to Refractory substation) Summary of Prices |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Schedule No. 1H: Plant and Equipment from Abroad. | lot | 1 |  |  |
| 2. | Schedule No. 2H: Foundations civil works and materials. | lot | 1 |  |  |
| 3. | Schedule No. 3H: Installation Services. | lot | 1 |  |  |
| 4. | Total from Schedule No. 4H, Day Work rates. | Lot | 1 |  |  |
| 5. | GRAND TOTAL (To Bid Form) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

## 132kV double circuit line from Kabundi 132/33/11kV substation to Kakoso 132/33/11kV substation

### Schedule 1I: 132kV 	double circuit line from Chingola to Kakoso substation

| DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.11I Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 | UNIT | QTY |  | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |  |
|  |  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |  |
|  |  |  |  |  |  | CIP,Chingola | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |  |
| 1 | Self-supporting Monopole Towers, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications |  |  |  |  |  |  |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV (13m CAH) |  | each |  | 9 |  |  |  |  |  |  |
| 1.2 | Intermediate Steel Monopole 132kV (14m CAH) |  | each |  | 9 |  |  |  |  |  |  |
| 1.3 | Intermediate Steel Monopole 132kV (15m CAH) |  | each |  | 14 |  |  |  |  |  |  |
| 1.4 | Intermediate Steel Monopole 132kV (16m CAH) |  | each |  | 45 |  |  |  |  |  |  |
| 1.5 | Intermediate Steel Monopole 132kV (17m CAH) |  | each |  | 14 |  |  |  |  |  |  |
| 1.6 | Intermediate Steel Monopole 132kV (18m CAH) |  | Rate only |  | 0 |  |  |  |  |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree (13m CAH) |  | each |  | 4 |  |  |  |  |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  | each |  | 6 |  |  |  |  |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 30-60 degree (13m CAH) |  | each |  | 0 |  |  |  |  |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  | each |  | 1 |  |  |  |  |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 60-90 degree (13m CAH) |  | each |  | 1 |  |  |  |  |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  | each |  | 1 |  |  |  |  |  |  |
| 1.13 | Steel Strain Monopole Terminal Flat formation |  | each |  | 0 |  |  |  |  |  |  |
| 5 | Contractor to provide all necessary detailed designs, drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 5a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5d | Type F |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6 | Complete Foundation design for all soil classes and all necessary drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 6a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6d | Type F |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 7 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  | route-km | 25 |  |  |  |  |  |  |  |  |
| 7.2 | Radial earth galvanised steel wire per tower, 30m x 4 |  | set | 103 |  |  |  |  |  |  |  |  |
| 7.3 | Radial tower earths lugs and bolts complete with nuts |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting tower earthing to substation grid |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to tower legs |  | route-km | 25 |  |  |  |  |  |  |  |  |
| 8 | Sign plates |  |  |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  | each | 103 |  |  |  |  |  |  |  |  |
| 8.2 | Danger plates |  | each | 103 |  |  |  |  |  |  |  |  |
| 8.3 | Phase plates |  | each | 103 |  |  |  |  |  |  |  |  |
| 8.4 | Circuit plates |  | each | 103 |  |  |  |  |  |  |  |  |
| 8.5 | Aerial plates |  | each | 103 |  |  |  |  |  |  |  |  |
| A | SUB-TOTAL TOWER AND FOUNDATION SUPPLY items 1.1 to 8.5 |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |  |  |
| 9.1 | 3 Single phase, double circuit, conductor type BISON |  | route km | 25 |  |  |  |  |  |  |  |  |
| 9.3 | Optical Fibre Ground Wire (OPGW) |  | route km | 25 |  |  |  |  |  |  |  |  |
| 9.4 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  | m | 1000 |  |  |  |  |  |  |  |  |
| 10 | 132kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for single conductor type ACSR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11 | Hardware and fittings for conductor type ASCR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.3 | Vibration dampers, Stockbridge type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.4 | midspan joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly, |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to tower body |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Mult Response type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.4 | Tower Parallel groove clamps (clamping of OPGW downleads to tower). |  | lot | 1 |  |  |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |  |  |
| C | SUB-TOTAL SPARES item 14 to 12 |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL FOR SCHEDULE No.1A |  |  |  |  |  |  |  |  |  |  |  |
| The final quantities for Suspension Towers and materials to be ordered shall be verified and confirmed after line profile survey, tower spotting and pegging is completed. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |  |  |  |  |  |  |  |
|  | Code |  |  |  |  |  |  |  |  |  |  |  |
|  | Country |  |  |  |  |  |  |  |  |  |  |  |
|  | Name of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | 1) Bidders shall enter a code representing the country of origin of all imported plant and equipment |  |  |  |  |  |  |  |  |  |  |  |
|  | 2) Specify Currency |  |  |  |  |  |  |  |  |  |  |  |

### Schedule 2I: 132kV double circuit line from Chingola to Kakoso substation, Foundations civil works and materials

| DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2C (132kV double circuit line from Chingola to Refractory substation) Foundations civil works and materials |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Unit Price | Total Price DDP USD |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Anchor bolts are excluded since they are supplied under schedule No. 1 The contractor to undertake geotechnical soil investigation and complete foundation design. |  |  |  |  |
| 1.1 | Soil Class 5 foundations (Pile foundation) | each | 25 |  |  |
| 1.2 | Soil Class 4 foundations | each | 41 |  |  |
| 1.3 | Soil Class 3 foundations | each | 21 |  |  |
| 1.4 | Soil Class 2 foundations | each | 15 |  |  |
| 1.5 | Soil Class 1 foundations | each | 1 |  |  |
|  | TOTAL FOUNDATIONS |  |  |  |  |
| D | TOTAL FOR SCHEDULE No. 2C |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

### Schedule 3I: 132kV double circuit from Chingola to Kakoso substation – details prices, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.3C (132kV Double Circuit Chingola to Refractory substation) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum | 0 |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum | 0 |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum | 0 |  |  |
| 1.4 | Contractor’s facilities and administration | sum | 0 |  |  |
| 1.4.1 | Provide camps, offices and storages | sum | 0 |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum | 0 |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Surveying and drawing of complete longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. The contractor shall provide detailed transmission line design | route km | 25 |  |  |
| 2.2 | Plotting of towers and sag curves on longitudinal profiles | route km | 25 |  |  |
| 2.3 | Tower site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 25 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 25 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 32m wide | route km | 25 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 25 |  |  |
| 3.2 | Extra 3 m wide | route km | 25 |  |  |
| 3.4 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km | 25 |  |  |
| 3.5 | Installation of Farm Gates and fences | lot | 1 | 26000 | 26000 |
| A | SUB-TOTAL item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1 | Complete foundation works for tension and suspension towers |  |  |  |  |
| 4.1a | Soil Class 5 foundations (Pile foundation) | each | 25 |  |  |
| 4.1b | Soil Class 4 foundations | each | 41 |  |  |
| 4.1c | Soil Class 3 foundations | each | 21 |  |  |
| 4.1d | Soil Class 2 foundations | each | 15 |  |  |
| 4.1e | Soil Class 1 foundations | each | 1 |  |  |
| 4.1f | TOTAL FOUNDATIONS |  | 103 |  |  |
| 5 | Tower Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual tower sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for tension tower type B | each | 10 |  |  |
| 5.2 | Complete erection works for tension tower type C | each | 1 |  |  |
| 5.3 | Complete erection works for tension tower type D/DE | each | 2 |  |  |
| 5.4 | Complete erection works for suspension tower type A | each | 90 |  |  |
| B | SUB-TOTAL, item 4 to 5.4 |  |  |  |  |
| 6 | Installation and Stringing of Conductors and 48 core OPGW |  |  |  |  |
|  | All costs for distribution from storage to individual tower sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Single phase, double circuit, conductor type BISON | route km | 25 |  |  |
| 6.2 | OPGW: |  |  |  |  |
| 6.2a | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 25 |  |  |
| 6.2b | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| 6.3 | Sub-total, item 6 to 6.2b |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1 | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 25 |  |  |
| 7.2 | Measurement of electrical footing resistance to earth at each tower site, including recording in an approved manner shall be included in installation cost | per tower | 103 |  |  |
| 7.3 | Installation of counter-poise cables, including connection to towers, excavation of four 30m long 600 mm deep trench and reinstatement | per tower | 103 |  |  |
| 7.4 | Extra to Item 7.2 for laying at 1000 mm depth | per tower | 20 |  |  |
| 7.5 | Installation of extended or continuous counterpoise including joints and connections to towers, excavation of a 600 mm deep trench and reinstate-ment. | m | 3000 |  |  |
| 7.6 | Extra to Item 7.4 for laying at 1000 mm depth | m | 750 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 7 to 7.6 |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 7.1 -7.6 |  |  |  |  |
| E | SUB-TOTAL item 6 to 7.6 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 4C |  |  |  |  |
|  | TOTAL (to schedule 6 Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 4I: day work  rates for 132kV Double Circuit from Chingola to Kakoso substation

| DETAIL PRICES, DAYWORK SCHEDULE No.4C Day work Rates and Estimated Quantities |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM No. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL ITEM PRICE DDP USD |
| 1 | Rates of Labour including all necessary hand tools, accomodation, sub-sistence and overhead charges |  |  |  |  |
| 1.1 | Expatriate foreman | per day | 1 |  |  |
| 1.2 | Surveyor and two assistants incl. survey equipment and transport | per day | 1 |  |  |
| 1.3 | Local Foreman | per day | 1 |  |  |
| 1.4 | Linesman/operator | per day | 1 |  |  |
| 1.5 | Skilled worker | per day | 1 |  |  |
| 1.6 | Unskilled worker | per day | 1 |  |  |
| 1.7 | Driver | per day | 1 |  |  |
| 1.8 | Engineer | per day | 1 |  |  |
| 1.9 | SUB-TOTAL LABOUR |  |  |  |  |
| 2 |
| 2.1 | Pick-up truck | per day | 1 |  |  |
| 2.2 | Lorry < 10 tons | per day | 1 |  |  |
| 2.3 | Lorry 10 to 20 tons | per day | 1 |  |  |
| 2.4 | Mobile Crane | per day | 1 |  |  |
| 2.5 | Tractor with trailer | per day | 1 |  |  |
| 2.6 | Tractor | Per day | 1 |  |  |
| 2.7 | Front end loader | per day | 1 |  |  |
| 2.8 | D7 to D9 Bulldozer | per day | 1 |  |  |
| 2.9 | Excavator | per day | 1 |  |  |
| 2.10 | Air compressor c/w jack hammer | per day | 1 |  |  |
| 2.11 | Water pump | per day | 1 |  |  |
| 2.12 | Concrete mixer | per day | 1 |  |  |
| 2.13 | Power generator | per day | 1 |  |  |
| 2.14 | Welding machine | per day | 1 |  |  |
| 2.15 | SUB-TOTAL EQUIPMENT |  |  |  |  |
| 3 | Daywork, Construction |  |  |  |  |
|  | The rates shall cover construction works, material handling and storage, distribution to tower sites, and insurance until taken over and all costs of personnel, transport and equipment needed. |  |  |  |  |
| 3.1 | Miscellaneous works for special foundations, extensions and concrete works: |  |  |  |  |
| 3.1.1 | Excavation including backfill and reinstatement of soil |  |  |  |  |
| 3.1.1.1 | Down to 3 m below ground level | m3 |  |  |  |
| 3.1.1.2 | Below 3 m below ground level | m3 | 1 |  |  |
| 3.1.2 | Solid rock | m3 | 1 |  |  |
| 3.1.2.1 | Solid rock excavation | m3 | 1 |  |  |
| 3.1.2.2 | Excavation including backfill and reinstatement of solid rock | m3 | 1 |  |  |
| 3.1.3 | Casting of concrete foundations including formers and installation of reinforcement | m3 | 1 |  |  |
| 3.1.4 | Drilling and grouting of rock bolt anchors | per m | 1 |  |  |
| 3.2 | Miscellaneous erection of special towers, special extensions, single leg extensions and modifications. |  |  |  |  |
|  | Erection of single leg extensions and reductions for self supporting towers shall be paid for at this ton price. | tons | 1 |  |  |
| 3.3 | Tack welding of nuts (if required) |  |  |  |  |
| 3.3.1 | Up to 3 m above ground level | per 100 bolts |  |  |  |
| 3.3.2 | Above 3 m above ground level | per 100 bolts |  |  |  |
| 3.4 | Installation of Farm Gates and Fences | each | 1 |  |  |
| 3.6 | SUB-TOTAL CONSTRUCTION |  |  |  |  |
| 4 | Materials for Daywork |  |  |  |  |
| 4.1 | Reinforced concrete for modified or special foundations, including formers |  |  |  |  |
| 4.2 | Concrete for other purposes, including formers | m3 | 1 |  |  |
| 4.3 | Extra reinforcement bars | kg | 1 |  |  |
| 4.4 | Farm Gate | each | 1 |  |  |
| 4.5 | Galvanised steel members for special towers, special extensions, single leg extensions and reductions and modifications and missing members for existing incomplete towers |  |  |  |  |
|  | Extra or reduced quantities of steel due to extension or reduction of single legs for self supporting towers shall be balanced against these prices. |  |  |  |  |
| 4.5.1 | Structural mild steel | ton | 1 |  |  |
| 4.5.2 | Structural high tensile steel | ton | 1 |  |  |
| 4.6 | Additional step bolts | each | 1 |  |  |
| 4.7 | Additional number plates | each | 1 |  |  |
| 4.8 | Additional danger plates | each | 1 |  |  |
| 4.9 | Additional phase and circuit plates | each | 1 |  |  |
| 4.1 | Additional bolts/nuts/washers | per ton | 1 |  |  |
| 4.11 | River Sand | Ton | 1 |  |  |
| 4.12 | Gravel | Ton | 1 |  |  |
| 4.13 | SUB-TOTAL MATERIALS |  |  |  |  |
|  | TOTAL FOR SCHEDULE 5 |  |  |  |  |
|  | TOTAL (to schedule 6 summary for 132kV lines ) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 5I: summary for 132kV Double Circuit from Chingola to Kakoso substation

| DETAIL PRICES, SUMMARY SCHEDULE No.5I (The Bidder to complete for 132kV Double Circuit from Chingola to Kakoso substation) Summary of Prices |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Schedule No. 1I: Plant and Equipment from Abroad. | lot | 1 |  |  |
| 2. | Schedule No. 2I: Foundations civil works and materials. | lot | 1 |  |  |
| 3. | Schedule No. 3I: Installation Services. | lot | 1 |  |  |
| 4. | Total from Schedule No. 4I, Day Work rates. | Lot | 1 |  |  |
| 5. | GRAND TOTAL (To Bid Form) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

## 132kV double circuit line from Chililabombwe 132/33/11kV substation to Kakoso 132/33/11kV substation

### Schedule 1J: 132kV double circuit line from Chililabombwe  substation to Kakoso  substation

| DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1J Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 | UNIT | QTY |  | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |  |
|  |  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |  |
|  |  |  |  |  |  | CIP,Chingola | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |  |
| 1 | Self-supporting Monopole Towers, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications |  |  |  |  |  |  |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV (13m CAH) |  | each |  | 4 |  |  |  |  |  |  |
| 1.2 | Intermediate Steel Monopole 132kV (14m CAH) |  | each |  | 4 |  |  |  |  |  |  |
| 1.3 | Intermediate Steel Monopole 132kV (15m CAH) |  | each |  | 6 |  |  |  |  |  |  |
| 1.4 | Intermediate Steel Monopole 132kV (16m CAH) |  | each |  | 20 |  |  |  |  |  |  |
| 1.5 | Intermediate Steel Monopole 132kV (17m CAH) |  | each |  | 6 |  |  |  |  |  |  |
| 1.6 | Intermediate Steel Monopole 132kV (18m CAH) |  | Rate only |  | 0 |  |  |  |  |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree (13m CAH) |  | each |  | 1 |  |  |  |  |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  | each |  | 2 |  |  |  |  |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 30-60 degree (13m CAH) |  | each |  | 1 |  |  |  |  |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  | each |  | 1 |  |  |  |  |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 60-90 degree (13m CAH) |  | each |  | 1 |  |  |  |  |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  | each |  | 2 |  |  |  |  |  |  |
| 1.13 | Steel Strain Monopole Terminal Flat formation |  | each |  | 0 |  |  |  |  |  |  |
| 5 | Contractor to provide all necessary detailed designs, drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 5a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5d | Type F |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6 | Complete Foundation design for all soil classes and all necessary drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 6a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6d | Type F |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 7 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  | route-km | 10 |  |  |  |  |  |  |  |  |
| 7.2 | Radial earth galvanised steel wire per tower, 30m x 4 |  | set | 48 |  |  |  |  |  |  |  |  |
| 7.3 | Radial tower earths lugs and bolts complete with nuts |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting tower earthing to substation grid |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to tower legs |  | route-km | 10 |  |  |  |  |  |  |  |  |
| 8 | Sign plates |  |  |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  | each | 48 |  |  |  |  |  |  |  |  |
| 8.2 | Danger plates |  | each | 48 |  |  |  |  |  |  |  |  |
| 8.3 | Phase plates |  | each | 48 |  |  |  |  |  |  |  |  |
| 8.4 | Circuit plates |  | each | 48 |  |  |  |  |  |  |  |  |
| 8.5 | Aerial plates |  | each | 48 |  |  |  |  |  |  |  |  |
| A | SUB-TOTAL TOWER AND FOUNDATION SUPPLY items 1.1 to 8.5 |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |  |  |
| 9.1 | 3 Single phase, double circuit, conductor type BISON |  | route km | 4 |  |  |  |  |  |  |  |  |
| 9.3 | Optical Fibre Ground Wire (OPGW) |  | route km | 4 |  |  |  |  |  |  |  |  |
| 9.4 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  | m | 1000 |  |  |  |  |  |  |  |  |
| 10 | 132kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for single conductor type ACSR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11 | Hardware and fittings for conductor type ASCR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.3 | Vibration dampers, Stockbridge type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.4 | midspan joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly, |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to tower body |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Mult Response type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.4 | Tower Parallel groove clamps (clamping of OPGW downleads to tower). |  | lot | 1 |  |  |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |  |  |
| C | SUB-TOTAL SPARES item 14 to 12 |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL FOR SCHEDULE No.1A |  |  |  |  |  |  |  |  |  |  |  |
| The final quantities for Suspension Towers and materials to be ordered shall be verified and confirmed after line profile survey, tower spotting and pegging is completed. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |  |  |  |  |  |  |  |
|  | Code |  |  |  |  |  |  |  |  |  |  |  |
|  | Country |  |  |  |  |  |  |  |  |  |  |  |
|  | Name of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | 1) Bidders shall enter a code representing the country of origin of all imported plant and equipment |  |  |  |  |  |  |  |  |  |  |  |
|  | 2) Specify Currency |  |  |  |  |  |  |  |  |  |  |  |

### Schedule 2J: 132kV double circuit line from Chililabombwe  substation to Kakoso  substation, Foundations civil works and materials

| DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2C (132kV double circuit line from Chingola to Refractory substation) Foundations civil works and materials |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Unit Price | Total Price DDP USD |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Anchor bolts are excluded since they are supplied under schedule No. 1 The contractor to undertake geotechnical soil investigation and complete foundation design. |  |  |  |  |
| 1.1 | Soil Class 5 foundations (Pile foundation) | each | 12 |  |  |
| 1.2 | Soil Class 4 foundations | each | 19 |  |  |
| 1.3 | Soil Class 3 foundations | each | 10 |  |  |
| 1.4 | Soil Class 2 foundations | each | 7 |  |  |
| 1.5 | Soil Class 1 foundations | each | 0 |  |  |
|  | TOTAL FOUNDATIONS |  |  |  |  |
| D | TOTAL FOR SCHEDULE No. 2C |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

### Schedule 3J: 132kV Chingola to Refractory substation – details prices, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.3J (132kV Double Circuit from Chililabombwe substation to Kakoso substation) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum | 0 |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum | 0 |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum | 0 |  |  |
| 1.4 | Contractor’s facilities and administration | sum | 0 |  |  |
| 1.4.1 | Provide camps, offices and storages | sum | 0 |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum | 0 |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Surveying and drawing of complete longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. The contractor shall provide detailed transmission line design | route km | 10 |  |  |
| 2.2 | Plotting of towers and sag curves on longitudinal profiles | route km | 10 |  |  |
| 2.3 | Tower site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 10 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 10 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 32m wide | route km | 10 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 10 |  |  |
| 3.2 | Extra 3 m wide | route km | 3 |  |  |
| 3.4 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km | 10 |  |  |
| 3.5 | Installation of Farm Gates and fences | lot | 1 | 26000 | 26000 |
| A | SUB-TOTAL item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1 | Complete foundation works for tension and suspension towers |  |  |  |  |
| 4.1a | Soil Class 5 foundations (Pile foundation) | each | 12 |  |  |
| 4.1b | Soil Class 4 foundations | each | 19 |  |  |
| 4.1c | Soil Class 3 foundations | each | 10 |  |  |
| 4.1d | Soil Class 2 foundations | each | 7 |  |  |
| 4.1e | Soil Class 1 foundations | each | 0 |  |  |
| 4.1f | TOTAL FOUNDATIONS |  |  |  |  |
|  |  |  | 48 |  |  |
| 5 | Tower Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual tower sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for tension tower type B | each | 3 |  |  |
| 5.2 | Complete erection works for tension tower type C | each | 2 |  |  |
| 5.3 | Complete erection works for tension tower type D/DE | each | 3 |  |  |
| 5.4 | Complete erection works for suspension tower type A | each | 40 |  |  |
| B | SUB-TOTAL, item 4 to 5.4 |  |  |  |  |
| 6 | Installation and Stringing of Conductors and 48 core OPGW |  |  |  |  |
|  | All costs for distribution from storage to individual tower sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Single phase, double circuit, conductor type BISON | route km | 10 |  |  |
| 6.2 | OPGW: |  |  |  |  |
| 6.2a | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 10 |  |  |
| 6.2b | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| 6.3 | Sub-total, item 6 to 6.2b |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1 | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 10 |  |  |
| 7.2 | Measurement of electrical footing resistance to earth at each tower site, including recording in an approved manner shall be included in installation cost | per tower | 48 |  |  |
| 7.3 | Installation of counter-poise cables, including connection to towers, excavation of four 30m long 600 mm deep trench and reinstatement | per tower | 48 |  |  |
| 7.4 | Extra to Item 7.2 for laying at 1000 mm depth | per tower | 15 |  |  |
| 7.5 | Installation of extended or continuous counterpoise including joints and connections to towers, excavation of a 600 mm deep trench and reinstate-ment. | m | 3000 |  |  |
| 7.6 | Extra to Item 7.4 for laying at 1000 mm depth | m | 750 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 7 to 7.6 |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 7.1 -7.6 |  |  |  |  |
| E | SUB-TOTAL item 6 to 7.6 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 4C |  |  |  |  |
|  | TOTAL (to schedule 6 Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 4J: day work  rates for 132kV Double Circuit from Chililabombwe  substation to Kakoso  substation

| DETAIL PRICES, DAYWORK SCHEDULE No.4C Day work Rates and Estimated Quantities |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM No. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL ITEM PRICE DDP USD |
| 1 | Rates of Labour including all necessary hand tools, accomodation, sub-sistence and overhead charges |  |  |  |  |
| 1.1 | Expatriate foreman | per day | 1 |  |  |
| 1.2 | Surveyor and two assistants incl. survey equipment and transport | per day | 1 |  |  |
| 1.3 | Local Foreman | per day | 1 |  |  |
| 1.4 | Linesman/operator | per day | 1 |  |  |
| 1.5 | Skilled worker | per day | 1 |  |  |
| 1.6 | Unskilled worker | per day | 1 |  |  |
| 1.7 | Driver | per day | 1 |  |  |
| 1.8 | Engineer | per day | 1 |  |  |
| 1.9 | SUB-TOTAL LABOUR |  |  |  |  |
| 2 |
| 2.1 | Pick-up truck | per day | 1 |  |  |
| 2.2 | Lorry < 10 tons | per day | 1 |  |  |
| 2.3 | Lorry 10 to 20 tons | per day | 1 |  |  |
| 2.4 | Mobile Crane | per day | 1 |  |  |
| 2.5 | Tractor with trailer | per day | 1 |  |  |
| 2.6 | Tractor | Per day | 1 |  |  |
| 2.7 | Front end loader | per day | 1 |  |  |
| 2.8 | D7 to D9 Bulldozer | per day | 1 |  |  |
| 2.9 | Excavator | per day | 1 |  |  |
| 2.10 | Air compressor c/w jack hammer | per day | 1 |  |  |
| 2.11 | Water pump | per day | 1 |  |  |
| 2.12 | Concrete mixer | per day | 1 |  |  |
| 2.13 | Power generator | per day | 1 |  |  |
| 2.14 | Welding machine | per day | 1 |  |  |
| 2.15 | SUB-TOTAL EQUIPMENT |  |  |  |  |
| 3 | Daywork, Construction |  |  |  |  |
|  | The rates shall cover construction works, material handling and storage, distribution to tower sites, and insurance until taken over and all costs of personnel, transport and equipment needed. |  |  |  |  |
| 3.1 | Miscellaneous works for special foundations, extensions and concrete works: |  |  |  |  |
| 3.1.1 | Excavation including backfill and reinstatement of soil |  |  |  |  |
| 3.1.1.1 | Down to 3 m below ground level | m3 |  |  |  |
| 3.1.1.2 | Below 3 m below ground level | m3 | 1 |  |  |
| 3.1.2 | Solid rock | m3 | 1 |  |  |
| 3.1.2.1 | Solid rock excavation | m3 | 1 |  |  |
| 3.1.2.2 | Excavation including backfill and reinstatement of solid rock | m3 | 1 |  |  |
| 3.1.3 | Casting of concrete foundations including formers and installation of reinforcement | m3 | 1 |  |  |
| 3.1.4 | Drilling and grouting of rock bolt anchors | per m | 1 |  |  |
| 3.2 | Miscellaneous erection of special towers, special extensions, single leg extensions and modifications. |  |  |  |  |
|  | Erection of single leg extensions and reductions for self supporting towers shall be paid for at this ton price. | tons | 1 |  |  |
| 3.3 | Tack welding of nuts (if required) |  |  |  |  |
| 3.3.1 | Up to 3 m above ground level | per 100 bolts |  |  |  |
| 3.3.2 | Above 3 m above ground level | per 100 bolts |  |  |  |
| 3.4 | Installation of Farm Gates and Fences | each | 1 |  |  |
| 3.6 | SUB-TOTAL CONSTRUCTION |  |  |  |  |
| 4 | Materials for Daywork |  |  |  |  |
| 4.1 | Reinforced concrete for modified or special foundations, including formers |  |  |  |  |
| 4.2 | Concrete for other purposes, including formers | m3 | 1 |  |  |
| 4.3 | Extra reinforcement bars | kg | 1 |  |  |
| 4.4 | Farm Gate | each | 1 |  |  |
| 4.5 | Galvanised steel members for special towers, special extensions, single leg extensions and reductions and modifications and missing members for existing incomplete towers |  |  |  |  |
|  | Extra or reduced quantities of steel due to extension or reduction of single legs for self supporting towers shall be balanced against these prices. |  |  |  |  |
| 4.5.1 | Structural mild steel | ton | 1 |  |  |
| 4.5.2 | Structural high tensile steel | ton | 1 |  |  |
| 4.6 | Additional step bolts | each | 1 |  |  |
| 4.7 | Additional number plates | each | 1 |  |  |
| 4.8 | Additional danger plates | each | 1 |  |  |
| 4.9 | Additional phase and circuit plates | each | 1 |  |  |
| 4.1 | Additional bolts/nuts/washers | per ton | 1 |  |  |
| 4.11 | River Sand | Ton | 1 |  |  |
| 4.12 | Gravel | Ton | 1 |  |  |
| 4.13 | SUB-TOTAL MATERIALS |  |  |  |  |
|  | TOTAL FOR SCHEDULE 5 |  |  |  |  |
|  | TOTAL (to schedule 6 summary for 132kV lines ) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 5J: summary for 132kV Double Circuit from Chililabombwe  substation to Kakoso  substation

| DETAIL PRICES, SUMMARY SCHEDULE No.5J (The Bidder to complete for 132kV Double Circuit Chingola to Refractory substation) Summary of Prices |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Schedule No. 1J: Plant and Equipment from Abroad. | lot | 1 |  |  |
| 2. | Schedule No. 2J: Foundations civil works and materials. | lot | 1 |  |  |
| 3. | Schedule No. 3J: Installation Services. | lot | 1 |  |  |
| 4. | Total from Schedule No. 4J, Day Work rates. | Lot | 1 |  |  |
| 5. | GRAND TOTAL (To Bid Form) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

## 132kV double circuit line from Mwambashi 132/33kV substation to Kalulushi 132/33/11kV substation

### Schedule 1K: 132kV double circuit line from Mwambashi  substation to Kalulushi  substation

| DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1K Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 | UNIT | QTY |  | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |  |
|  |  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |  |
|  |  |  |  |  |  | CIP,Chingola | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |  |
| 1 | Self-supporting Monopole Towers, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications |  |  |  |  |  |  |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV (13m CAH) |  | each |  | 5 |  |  |  |  |  |  |
| 1.2 | Intermediate Steel Monopole 132kV (14m CAH) |  | each |  | 5 |  |  |  |  |  |  |
| 1.3 | Intermediate Steel Monopole 132kV (15m CAH) |  | each |  | 8 |  |  |  |  |  |  |
| 1.4 | Intermediate Steel Monopole 132kV (16m CAH) |  | each |  | 27 |  |  |  |  |  |  |
| 1.5 | Intermediate Steel Monopole 132kV (17m CAH) |  | each |  | 8 |  |  |  |  |  |  |
| 1.6 | Intermediate Steel Monopole 132kV (18m CAH) |  | Rate only |  |  |  |  |  |  |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree (13m CAH) |  | each |  | 3 |  |  |  |  |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  | each |  | 4 |  |  |  |  |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 30-60 degree (13m CAH) |  | each |  | 0 |  |  |  |  |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  | each |  | 1 |  |  |  |  |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 60-90 degree (13m CAH) |  | each |  | 2 |  |  |  |  |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  | each |  | 2 |  |  |  |  |  |  |
| 1.13 | Steel Strain Monopole Terminal Flat formation |  | each |  | 0 |  |  |  |  |  |  |
| 5 | Contractor to provide all necessary detailed designs, drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 5a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5d | Type F |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6 | Complete Foundation design for all soil classes and all necessary drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 6a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6d | Type F |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 7 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  | route-km | 13 |  |  |  |  |  |  |  |  |
| 7.2 | Radial earth galvanised steel wire per tower, 30m x 4 |  | set | 66 |  |  |  |  |  |  |  |  |
| 7.3 | Radial tower earths lugs and bolts complete with nuts |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting tower earthing to substation grid |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to tower legs |  | route-km | 13 |  |  |  |  |  |  |  |  |
| 8 | Sign plates |  |  |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  | each | 66 |  |  |  |  |  |  |  |  |
| 8.2 | Danger plates |  | each | 66 |  |  |  |  |  |  |  |  |
| 8.3 | Phase plates |  | each | 66 |  |  |  |  |  |  |  |  |
| 8.4 | Circuit plates |  | each | 66 |  |  |  |  |  |  |  |  |
| 8.5 | Aerial plates |  | each | 66 |  |  |  |  |  |  |  |  |
| A |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |  |  |
| 9.1 | 3 Single phase, double circuit, conductor type BISON |  | route km | 13 |  |  |  |  |  |  |  |  |
| 9.3 | Optical Fibre Ground Wire (OPGW) |  | route km | 13 |  |  |  |  |  |  |  |  |
| 9.4 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  | m | 1000 |  |  |  |  |  |  |  |  |
| 10 | 132kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for single conductor type ACSR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11 | Hardware and fittings for conductor type ASCR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.3 | Vibration dampers, Stockbridge type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.4 | midspan joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly, |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to tower body |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Mult Response type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.4 | Tower Parallel groove clamps (clamping of OPGW downleads to tower). |  | lot | 1 |  |  |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |  |  |
| C | SUB-TOTAL SPARES item 14 to 12 |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL FOR SCHEDULE No.1A |  |  |  |  |  |  |  |  |  |  |  |
| The final quantities for Suspension Towers and materials to be ordered shall be verified and confirmed after line profile survey, tower spotting and pegging is completed. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |  |  |  |  |  |  |  |
|  | Code |  |  |  |  |  |  |  |  |  |  |  |
|  | Country |  |  |  |  |  |  |  |  |  |  |  |
|  | Name of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | 1) Bidders shall enter a code representing the country of origin of all imported plant and equipment |  |  |  |  |  |  |  |  |  |  |  |
|  | 2) Specify Currency |  |  |  |  |  |  |  |  |  |  |  |

### Schedule 2K: 132kV double circuit line from Mwambashi  substation to Kalulushi  substation, Foundations civil works and materials

| DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2C (132kV double circuit line from Chingola to Refractory substation) Foundations civil works and materials |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Unit Price | Total Price DDP USD |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Anchor bolts are excluded since they are supplied under schedule No. 1 The contractor to undertake geotechnical soil investigation and complete foundation design. |  |  |  |  |
| 1.1 | Soil Class 5 foundations (Pile foundation) | each | 16 |  |  |
| 1.2 | Soil Class 4 foundations | each | 26 |  |  |
| 1.3 | Soil Class 3 foundations | each | 13 |  |  |
| 1.4 | Soil Class 2 foundations | each | 10 |  |  |
| 1.5 | Soil Class 1 foundations | each | 1 |  |  |
|  | TOTAL FOUNDATIONS |  |  |  |  |
| D | TOTAL FOR SCHEDULE No. 2C |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

### Schedule 3K: 132kV double circuit from Mwambashi  substation to Kalulushi  substation  – details prices, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.3C (132kV Double Circuit Chingola to Refractory substation) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum | 0 |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum | 0 |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum | 0 |  |  |
| 1.4 | Contractor’s facilities and administration | sum | 0 |  |  |
| 1.4.1 | Provide camps, offices and storages | sum | 0 |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum | 0 |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Surveying and drawing of complete longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. The contractor shall provide detailed transmission line design | route km | 13 |  |  |
| 2.2 | Plotting of towers and sag curves on longitudinal profiles | route km | 13 |  |  |
| 2.3 | Tower site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 13 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 13 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 32m wide | route km | 13 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 13 |  |  |
| 3.2 | Extra 3 m wide | route km | 3 |  |  |
| 3.4 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km | 13 |  |  |
| 3.5 | Installation of Farm Gates and fences | lot | 1 | 26000 | 26000 |
| A | SUB-TOTAL item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1 | Complete foundation works for tension and suspension towers |  |  |  |  |
| 4.1a | Soil Class 5 foundations (Pile foundation) | each | 16 |  |  |
| 4.1b | Soil Class 4 foundations | each | 26 |  |  |
| 4.1c | Soil Class 3 foundations | each | 13 |  |  |
| 4.1d | Soil Class 2 foundations | each | 10 |  |  |
| 4.1e | Soil Class 1 foundations | each | 1 |  |  |
| 4.1f | TOTAL FOUNDATIONS |  | 66 |  |  |
| 5 | Tower Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual tower sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for tension tower type B | each | 7 |  |  |
| 5.2 | Complete erection works for tension tower type C | each | 1 |  |  |
| 5.3 | Complete erection works for tension tower type D/DE | each | 4 |  |  |
| 5.4 | Complete erection works for suspension tower type A | each | 54 |  |  |
| B | SUB-TOTAL, item 4 to 5.4 |  |  |  |  |
| 6 | Installation and Stringing of Conductors and 48 core OPGW |  |  |  |  |
|  | All costs for distribution from storage to individual tower sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Single phase, double circuit, conductor type BISON | route km | 13 |  |  |
| 6.2 | OPGW: |  |  |  |  |
| 6.2a | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 13 |  |  |
| 6.2b | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| 6.3 | Sub-total, item 6 to 6.2b |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1 | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 13 |  |  |
| 7.2 | Measurement of electrical footing resistance to earth at each tower site, including recording in an approved manner shall be included in installation cost | per tower | 66 |  |  |
| 7.3 | Installation of counter-poise cables, including connection to towers, excavation of four 30m long 600 mm deep trench and reinstatement | per tower | 66 |  |  |
| 7.4 | Extra to Item 7.2 for laying at 1000 mm depth | per tower | 20 |  |  |
| 7.5 | Installation of extended or continuous counterpoise including joints and connections to towers, excavation of a 600 mm deep trench and reinstate-ment. | m | 3000 |  |  |
| 7.6 | Extra to Item 7.4 for laying at 1000 mm depth | m | 750 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 7 to 7.6 |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 7.1 -7.6 |  |  |  |  |
| E | SUB-TOTAL item 6 to 7.6 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 4C |  |  |  |  |
|  | TOTAL (to schedule 6 Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 4K: day work  rates for 132kV Double Circuit from Mwambashi  substation to Kalulushi  substation

| DETAIL PRICES, DAYWORK SCHEDULE No.4C Day work Rates and Estimated Quantities |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM No. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL ITEM PRICE DDP USD |
| 1 | Rates of Labour including all necessary hand tools, accomodation, sub-sistence and overhead charges |  |  |  |  |
| 1.1 | Expatriate foreman | per day | 1 |  |  |
| 1.2 | Surveyor and two assistants incl. survey equipment and transport | per day | 1 |  |  |
| 1.3 | Local Foreman | per day | 1 |  |  |
| 1.4 | Linesman/operator | per day | 1 |  |  |
| 1.5 | Skilled worker | per day | 1 |  |  |
| 1.6 | Unskilled worker | per day | 1 |  |  |
| 1.7 | Driver | per day | 1 |  |  |
| 1.8 | Engineer | per day | 1 |  |  |
| 1.9 | SUB-TOTAL LABOUR |  |  |  |  |
| 2 |
| 2.1 | Pick-up truck | per day | 1 |  |  |
| 2.2 | Lorry < 10 tons | per day | 1 |  |  |
| 2.3 | Lorry 10 to 20 tons | per day | 1 |  |  |
| 2.4 | Mobile Crane | per day | 1 |  |  |
| 2.5 | Tractor with trailer | per day | 1 |  |  |
| 2.6 | Tractor | Per day | 1 |  |  |
| 2.7 | Front end loader | per day | 1 |  |  |
| 2.8 | D7 to D9 Bulldozer | per day | 1 |  |  |
| 2.9 | Excavator | per day | 1 |  |  |
| 2.10 | Air compressor c/w jack hammer | per day | 1 |  |  |
| 2.11 | Water pump | per day | 1 |  |  |
| 2.12 | Concrete mixer | per day | 1 |  |  |
| 2.13 | Power generator | per day | 1 |  |  |
| 2.14 | Welding machine | per day | 1 |  |  |
| 2.15 | SUB-TOTAL EQUIPMENT |  |  |  |  |
| 3 | Daywork, Construction |  |  |  |  |
|  | The rates shall cover construction works, material handling and storage, distribution to tower sites, and insurance until taken over and all costs of personnel, transport and equipment needed. |  |  |  |  |
| 3.1 | Miscellaneous works for special foundations, extensions and concrete works: |  |  |  |  |
| 3.1.1 | Excavation including backfill and reinstatement of soil |  |  |  |  |
| 3.1.1.1 | Down to 3 m below ground level | m3 |  |  |  |
| 3.1.1.2 | Below 3 m below ground level | m3 | 1 |  |  |
| 3.1.2 | Solid rock | m3 | 1 |  |  |
| 3.1.2.1 | Solid rock excavation | m3 | 1 |  |  |
| 3.1.2.2 | Excavation including backfill and reinstatement of solid rock | m3 | 1 |  |  |
| 3.1.3 | Casting of concrete foundations including formers and installation of reinforcement | m3 | 1 |  |  |
| 3.1.4 | Drilling and grouting of rock bolt anchors | per m | 1 |  |  |
| 3.2 | Miscellaneous erection of special towers, special extensions, single leg extensions and modifications. |  |  |  |  |
|  | Erection of single leg extensions and reductions for self supporting towers shall be paid for at this ton price. | tons | 1 |  |  |
| 3.3 | Tack welding of nuts (if required) |  |  |  |  |
| 3.3.1 | Up to 3 m above ground level | per 100 bolts |  |  |  |
| 3.3.2 | Above 3 m above ground level | per 100 bolts |  |  |  |
| 3.4 | Installation of Farm Gates and Fences | each | 1 |  |  |
| 3.6 | SUB-TOTAL CONSTRUCTION |  |  |  |  |
| 4 | Materials for Daywork |  |  |  |  |
| 4.1 | Reinforced concrete for modified or special foundations, including formers |  |  |  |  |
| 4.2 | Concrete for other purposes, including formers | m3 | 1 |  |  |
| 4.3 | Extra reinforcement bars | kg | 1 |  |  |
| 4.4 | Farm Gate | each | 1 |  |  |
| 4.5 | Galvanised steel members for special towers, special extensions, single leg extensions and reductions and modifications and missing members for existing incomplete towers |  |  |  |  |
|  | Extra or reduced quantities of steel due to extension or reduction of single legs for self supporting towers shall be balanced against these prices. |  |  |  |  |
| 4.5.1 | Structural mild steel | ton | 1 |  |  |
| 4.5.2 | Structural high tensile steel | ton | 1 |  |  |
| 4.6 | Additional step bolts | each | 1 |  |  |
| 4.7 | Additional number plates | each | 1 |  |  |
| 4.8 | Additional danger plates | each | 1 |  |  |
| 4.9 | Additional phase and circuit plates | each | 1 |  |  |
| 4.1 | Additional bolts/nuts/washers | per ton | 1 |  |  |
| 4.11 | River Sand | Ton | 1 |  |  |
| 4.12 | Gravel | Ton | 1 |  |  |
| 4.13 | SUB-TOTAL MATERIALS |  |  |  |  |
|  | TOTAL FOR SCHEDULE 5 |  |  |  |  |
|  | TOTAL (to schedule 6 summary for 132kV lines ) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 5K: summary for 132kV Double Circuit from Mwambashi  substation to Kalulushi  substation

| DETAIL PRICES, SUMMARY SCHEDULE No.5C (The Bidder to complete for 132kV Double Circuit Chingola to Refractory substation) Summary of Prices |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Schedule No. 1K: Plant and Equipment from Abroad. | lot | 1 |  |  |
| 2. | Schedule No. 2K: Foundations civil works and materials. | lot | 1 |  |  |
| 3. | Schedule No. 3K: Installation Services. | lot | 1 |  |  |
| 4. | Total from Schedule No. 4K, Day Work rates. | Lot | 1 |  |  |
| 5. | GRAND TOTAL (To Bid Form) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

## 132kV double circuit line from Chambishi East 330/132/66kV substation to Mwambashi 132/33kV substation

### Schedule 1L: 132kV double circuit line from Chambishi East substation to Mwambashi  substation

| DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1L Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 | UNIT | QTY |  | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |  |
|  |  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |  |
|  |  |  |  |  |  | CIP,Chingola | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |  |
| 1 | Self-supporting Monopole Towers, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications |  |  |  |  |  |  |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV (13m CAH) |  | each |  | 5 |  |  |  |  |  |  |
| 1.2 | Intermediate Steel Monopole 132kV (14m CAH) |  | each |  | 5 |  |  |  |  |  |  |
| 1.3 | Intermediate Steel Monopole 132kV (15m CAH) |  | each |  | 8 |  |  |  |  |  |  |
| 1.4 | Intermediate Steel Monopole 132kV (16m CAH) |  | each |  | 27 |  |  |  |  |  |  |
| 1.5 | Intermediate Steel Monopole 132kV (17m CAH) |  | each |  | 8 |  |  |  |  |  |  |
| 1.6 | Intermediate Steel Monopole 132kV (18m CAH) |  | Rate only |  | 0 |  |  |  |  |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree (13m CAH) |  | each |  | 5 |  |  |  |  |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  | each |  | 7 |  |  |  |  |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 30-60 degree (13m CAH) |  | each |  | 2 |  |  |  |  |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  | each |  | 2 |  |  |  |  |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 60-90 degree (13m CAH) |  | each |  | 2 |  |  |  |  |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  | each |  | 3 |  |  |  |  |  |  |
| 1.13 | Steel Strain Monopole Terminal Flat formation |  | each |  | 0 |  |  |  |  |  |  |
| 5 | Contractor to provide all necessary detailed designs, drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 5a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5d | Type F |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6 | Complete Foundation design for all soil classes and all necessary drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 6a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6d | Type F |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 7 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  | route-km | 13 |  |  |  |  |  |  |  |  |
| 7.2 | Radial earth galvanised steel wire per tower, 30m x 4 |  | set | 74 |  |  |  |  |  |  |  |  |
| 7.3 | Radial tower earths lugs and bolts complete with nuts |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting tower earthing to substation grid |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to tower legs |  | route-km | 13 |  |  |  |  |  |  |  |  |
| 8 | Sign plates |  |  |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  | each | 74 |  |  |  |  |  |  |  |  |
| 8.2 | Danger plates |  | each | 74 |  |  |  |  |  |  |  |  |
| 8.3 | Phase plates |  | each | 74 |  |  |  |  |  |  |  |  |
| 8.4 | Circuit plates |  | each | 74 |  |  |  |  |  |  |  |  |
| 8.5 | Aerial plates |  | each | 74 |  |  |  |  |  |  |  |  |
| A | SUB-TOTAL TOWER AND FOUNDATION SUPPLY items 1.1 to 8.5 |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |  |  |
| 9.1 | 3 Single phase, double circuit, conductor type BISON |  | route km | 13 |  |  |  |  |  |  |  |  |
| 9.3 | Optical Fibre Ground Wire (OPGW) |  | route km | 13 |  |  |  |  |  |  |  |  |
| 9.4 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  | m | 1000 |  |  |  |  |  |  |  |  |
| 10 | 132kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for single conductor type ACSR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11 | Hardware and fittings for conductor type ASCR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.3 | Vibration dampers, Stockbridge type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.4 | midspan joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly, |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to tower body |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Mult Response type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.4 | Tower Parallel groove clamps (clamping of OPGW downleads to tower). |  | lot | 1 |  |  |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |  |  |
| C | SUB-TOTAL SPARES item 14 to 12 |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL FOR SCHEDULE No.1A |  |  |  |  |  |  |  |  |  |  |  |
| The final quantities for Suspension Towers and materials to be ordered shall be verified and confirmed after line profile survey, tower spotting and pegging is completed. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |  |  |  |  |  |  |  |
|  | Code |  |  |  |  |  |  |  |  |  |  |  |
|  | Country |  |  |  |  |  |  |  |  |  |  |  |
|  | Name of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | 1) Bidders shall enter a code representing the country of origin of all imported plant and equipment |  |  |  |  |  |  |  |  |  |  |  |
|  | 2) Specify Currency |  |  |  |  |  |  |  |  |  |  |  |

### Schedule 2L: 132kV double circuit line from Chambishi East substation to Mwambashi  substation	, Foundations civil works and materials

| DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2C (132kV double circuit line from Chingola to Refractory substation) Foundations civil works and materials |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Unit Price | Total Price DDP USD |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Anchor bolts are excluded since they are supplied under schedule No. 1 The contractor to undertake geotechnical soil investigation and complete foundation design. |  |  |  |  |
| 1.1 | Soil Class 5 foundations (Pile foundation) | each | 18 |  |  |
| 1.2 | Soil Class 4 foundations | each | 30 |  |  |
| 1.3 | Soil Class 3 foundations | each | 15 |  |  |
| 1.4 | Soil Class 2 foundations | each | 11 |  |  |
| 1.5 | Soil Class 1 foundations | each | 1 |  |  |
|  | TOTAL FOUNDATIONS |  | 74 |  |  |
| D | TOTAL FOR SCHEDULE No. 2C |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

### Schedule 3L: 132kV double circuit  from Chambishi East substation to Mwambashi  substation	– details prices, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.3L (132kV Double Circuit Chingola to Refractory substation) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum | 0 |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum | 0 |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum | 0 |  |  |
| 1.4 | Contractor’s facilities and administration | sum | 0 |  |  |
| 1.4.1 | Provide camps, offices and storages | sum | 0 |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum | 0 |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Surveying and drawing of complete longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. The contractor shall provide detailed transmission line design | route km | 13 |  |  |
| 2.2 | Plotting of towers and sag curves on longitudinal profiles | route km | 13 |  |  |
| 2.3 | Tower site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 13 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 13 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 32m wide | route km | 13 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 13 |  |  |
| 3.2 | Extra 3 m wide | route km | 03 |  |  |
| 3.4 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km | 13 |  |  |
| 3.5 | Installation of Farm Gates and fences | lot | 1 | 26000 | 26000 |
| A | SUB-TOTAL item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1 | Complete foundation works for tension and suspension towers |  |  |  |  |
| 4.1a | Soil Class 5 foundations | each | 18 |  |  |
| 4.1b | Soil Class 4 foundations | each | 30 |  |  |
| 4.1c | Soil Class 3 foundations | each | 15 |  |  |
| 4.1d | Soil Class 2 foundations | each | 11 |  |  |
| 4.1e | Soil Class 1 foundations | each | 1 |  |  |
| 4.1f | TOTAL FOUNDATIONS |  | 74 |  |  |
| 5 | Tower Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual tower sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for tension tower type B | each | 12 |  |  |
| 5.2 | Complete erection works for tension tower type C | each | 4 |  |  |
| 5.3 | Complete erection works for tension tower type D/DE | each | 5 |  |  |
| 5.4 | Complete erection works for suspension tower type A | each | 53 |  |  |
| B | SUB-TOTAL, item 4 to 5.4 |  |  |  |  |
| 6 | Installation and Stringing of Conductors and 48 core OPGW |  |  |  |  |
|  | All costs for distribution from storage to individual tower sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Single phase, double circuit, conductor type BISON | route km | 13 |  |  |
| 6.2 | OPGW: |  |  |  |  |
| 6.2a | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 13 |  |  |
| 6.2b | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| 6.3 | Sub-total, item 6 to 6.2b |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1 | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 13 |  |  |
| 7.2 | Measurement of electrical footing resistance to earth at each tower site, including recording in an approved manner shall be included in installation cost | per tower | 74 |  |  |
| 7.3 | Installation of counter-poise cables, including connection to towers, excavation of four 30m long 600 mm deep trench and reinstatement | per tower | 74 |  |  |
| 7.4 | Extra to Item 7.2 for laying at 1000 mm depth | per tower | 20 |  |  |
| 7.5 | Installation of extended or continuous counterpoise including joints and connections to towers, excavation of a 600 mm deep trench and reinstate-ment. | m | 3000 |  |  |
| 7.6 | Extra to Item 7.4 for laying at 1000 mm depth | m | 750 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 7 to 7.6 |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 7.1 -7.6 |  |  |  |  |
| E | SUB-TOTAL item 6 to 7.6 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 4C |  |  |  |  |
|  | TOTAL (to schedule 6 Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 4C: day work  rates for 132kV Double Circuit Chingola to Refractory substation

| DETAIL PRICES, DAYWORK SCHEDULE No.4C Day work Rates and Estimated Quantities |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM No. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL ITEM PRICE DDP USD |
| 1 | Rates of Labour including all necessary hand tools, accomodation, sub-sistence and overhead charges |  |  |  |  |
| 1.1 | Expatriate foreman | per day | 1 |  |  |
| 1.2 | Surveyor and two assistants incl. survey equipment and transport | per day | 1 |  |  |
| 1.3 | Local Foreman | per day | 1 |  |  |
| 1.4 | Linesman/operator | per day | 1 |  |  |
| 1.5 | Skilled worker | per day | 1 |  |  |
| 1.6 | Unskilled worker | per day | 1 |  |  |
| 1.7 | Driver | per day | 1 |  |  |
| 1.8 | Engineer | per day | 1 |  |  |
| 1.9 | SUB-TOTAL LABOUR |  |  |  |  |
| 2 |
| 2.1 | Pick-up truck | per day | 1 |  |  |
| 2.2 | Lorry < 10 tons | per day | 1 |  |  |
| 2.3 | Lorry 10 to 20 tons | per day | 1 |  |  |
| 2.4 | Mobile Crane | per day | 1 |  |  |
| 2.5 | Tractor with trailer | per day | 1 |  |  |
| 2.6 | Tractor | Per day | 1 |  |  |
| 2.7 | Front end loader | per day | 1 |  |  |
| 2.8 | D7 to D9 Bulldozer | per day | 1 |  |  |
| 2.9 | Excavator | per day | 1 |  |  |
| 2.10 | Air compressor c/w jack hammer | per day | 1 |  |  |
| 2.11 | Water pump | per day | 1 |  |  |
| 2.12 | Concrete mixer | per day | 1 |  |  |
| 2.13 | Power generator | per day | 1 |  |  |
| 2.14 | Welding machine | per day | 1 |  |  |
| 2.15 | SUB-TOTAL EQUIPMENT |  |  |  |  |
| 3 | Daywork, Construction |  |  |  |  |
|  | The rates shall cover construction works, material handling and storage, distribution to tower sites, and insurance until taken over and all costs of personnel, transport and equipment needed. |  |  |  |  |
| 3.1 | Miscellaneous works for special foundations, extensions and concrete works: |  |  |  |  |
| 3.1.1 | Excavation including backfill and reinstatement of soil |  |  |  |  |
| 3.1.1.1 | Down to 3 m below ground level | m3 |  |  |  |
| 3.1.1.2 | Below 3 m below ground level | m3 | 1 |  |  |
| 3.1.2 | Solid rock | m3 | 1 |  |  |
| 3.1.2.1 | Solid rock excavation | m3 | 1 |  |  |
| 3.1.2.2 | Excavation including backfill and reinstatement of solid rock | m3 | 1 |  |  |
| 3.1.3 | Casting of concrete foundations including formers and installation of reinforcement | m3 | 1 |  |  |
| 3.1.4 | Drilling and grouting of rock bolt anchors | per m | 1 |  |  |
| 3.2 | Miscellaneous erection of special towers, special extensions, single leg extensions and modifications. |  |  |  |  |
|  | Erection of single leg extensions and reductions for self supporting towers shall be paid for at this ton price. | tons | 1 |  |  |
| 3.3 | Tack welding of nuts (if required) |  |  |  |  |
| 3.3.1 | Up to 3 m above ground level | per 100 bolts |  |  |  |
| 3.3.2 | Above 3 m above ground level | per 100 bolts |  |  |  |
| 3.4 | Installation of Farm Gates and Fences | each | 1 |  |  |
| 3.6 | SUB-TOTAL CONSTRUCTION |  |  |  |  |
| 4 | Materials for Daywork |  |  |  |  |
| 4.1 | Reinforced concrete for modified or special foundations, including formers |  |  |  |  |
| 4.2 | Concrete for other purposes, including formers | m3 | 1 |  |  |
| 4.3 | Extra reinforcement bars | kg | 1 |  |  |
| 4.4 | Farm Gate | each | 1 |  |  |
| 4.5 | Galvanised steel members for special towers, special extensions, single leg extensions and reductions and modifications and missing members for existing incomplete towers |  |  |  |  |
|  | Extra or reduced quantities of steel due to extension or reduction of single legs for self supporting towers shall be balanced against these prices. |  |  |  |  |
| 4.5.1 | Structural mild steel | ton | 1 |  |  |
| 4.5.2 | Structural high tensile steel | ton | 1 |  |  |
| 4.6 | Additional step bolts | each | 1 |  |  |
| 4.7 | Additional number plates | each | 1 |  |  |
| 4.8 | Additional danger plates | each | 1 |  |  |
| 4.9 | Additional phase and circuit plates | each | 1 |  |  |
| 4.1 | Additional bolts/nuts/washers | per ton | 1 |  |  |
| 4.11 | River Sand | Ton | 1 |  |  |
| 4.12 | Gravel | Ton | 1 |  |  |
| 4.13 | SUB-TOTAL MATERIALS |  |  |  |  |
|  | TOTAL FOR SCHEDULE 5 |  |  |  |  |
|  | TOTAL (to schedule 6 summary for 132kV lines ) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 5C: summary for 132kV Double Circuit Chingola to Refractory substation

| DETAIL PRICES, SUMMARY SCHEDULE No.5C (The Bidder to complete for 132kV Double Circuit Chingola to Refractory substation) Summary of Prices |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Schedule No. 1B: Plant and Equipment from Abroad. | lot | 1 |  |  |
| 2. | Schedule No. 2B: Foundations civil works and materials. | lot | 1 |  |  |
| 3. | Schedule No. 3B: Installation Services. | lot | 1 |  |  |
| 4. | Total from Schedule No. 4B, Day Work rates. | Lot | 1 |  |  |
| 5. | GRAND TOTAL (To Bid Form) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

## 132kV double circuit line from Chambishi East 330/132/66kV substation to Mufulira 132/33kV substation

### Schedule 1M: 132kV double circuit line from Chambishi East to Mufulira  substation

| DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1L Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 | UNIT | QTY |  | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |  |
|  |  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |  |
|  |  |  |  |  |  | CIP,Chingola | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |  |
| 1 | Self-supporting Monopole Towers, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications |  |  |  |  |  |  |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV (13m CAH) |  | each |  | 6 |  |  |  |  |  |  |
| 1.2 | Intermediate Steel Monopole 132kV (14m CAH) |  | each |  | 6 |  |  |  |  |  |  |
| 1.3 | Intermediate Steel Monopole 132kV (15m CAH) |  | each |  | 8 |  |  |  |  |  |  |
| 1.4 | Intermediate Steel Monopole 132kV (16m CAH) |  | each |  | 28 |  |  |  |  |  |  |
| 1.5 | Intermediate Steel Monopole 132kV (17m CAH) |  | each |  | 8 |  |  |  |  |  |  |
| 1.6 | Intermediate Steel Monopole 132kV (18m CAH) |  | Rate only |  | 0 |  |  |  |  |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree (13m CAH) |  | each |  | 2 |  |  |  |  |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  | each |  | 4 |  |  |  |  |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 30-60 degree (13m CAH) |  | each |  | 1 |  |  |  |  |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  | each |  | 1 |  |  |  |  |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 60-90 degree (13m CAH) |  | each |  | 2 |  |  |  |  |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  | each |  | 3 |  |  |  |  |  |  |
| 1.13 | Steel Strain Monopole Terminal Flat formation |  | each |  | 0 |  |  |  |  |  |  |
| 1 | Tension steel monopole tower, complete with all necessary fittings, bolts and nuts(including anti vandal bolts and nuts). Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications. Refer to tower outline and profile drawings provided. |  |  |  |  |  |  |  |  |  |  |  |
| 5 | Contractor to provide all necessary detailed designs, drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 5a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5d | Type F |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6 | Complete Foundation design for all soil classes and all necessary drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 6a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6d | Type F |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 7 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  | route-km | 14 |  |  |  |  |  |  |  |  |
| 7.2 | Radial earth galvanised steel wire per tower, 30m x 4 |  | set | 68 |  |  |  |  |  |  |  |  |
| 7.3 | Radial tower earths lugs and bolts complete with nuts |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting tower earthing to substation grid |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to tower legs |  | route-km | 14 |  |  |  |  |  |  |  |  |
| 8 | Sign plates |  |  |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  | each | 68 |  |  |  |  |  |  |  |  |
| 8.2 | Danger plates |  | each | 68 |  |  |  |  |  |  |  |  |
| 8.3 | Phase plates |  | each | 68 |  |  |  |  |  |  |  |  |
| 8.4 | Circuit plates |  | each | 68 |  |  |  |  |  |  |  |  |
| 8.5 | Aerial plates |  | each | 68 |  |  |  |  |  |  |  |  |
| A | SUB-TOTAL TOWER AND FOUNDATION SUPPLY items 1.1 to 8.5 |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |  |  |
| 9.1 | 3 Single phase, double circuit, conductor type BISON |  | route km | 14 |  |  |  |  |  |  |  |  |
| 9.3 | Optical Fibre Ground Wire (OPGW) |  | route km | 14 |  |  |  |  |  |  |  |  |
| 9.4 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  | m | 1000 |  |  |  |  |  |  |  |  |
| 10 | 132kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for single conductor type ACSR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11 | Hardware and fittings for conductor type ASCR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.3 | Vibration dampers, Stockbridge type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.4 | midspan joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly, |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to tower body |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Mult Response type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.4 | Tower Parallel groove clamps (clamping of OPGW downleads to tower). |  | lot | 1 |  |  |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |  |  |
| C | SUB-TOTAL SPARES item 14 to 12 |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL FOR SCHEDULE No.1A |  |  |  |  |  |  |  |  |  |  |  |
| The final quantities for Suspension Towers and materials to be ordered shall be verified and confirmed after line profile survey, tower spotting and pegging is completed. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |  |  |  |  |  |  |  |
|  | Code |  |  |  |  |  |  |  |  |  |  |  |
|  | Country |  |  |  |  |  |  |  |  |  |  |  |
|  | Name of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | 1) Bidders shall enter a code representing the country of origin of all imported plant and equipment |  |  |  |  |  |  |  |  |  |  |  |
|  | 2) Specify Currency |  |  |  |  |  |  |  |  |  |  |  |

### Schedule 2M: 132kV double circuit line  from Chambishi East to Mufulira  substation, Foundations civil works and materials

| DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2M(132kV double circuit line from Chingola to Refractory substation) Foundations civil works and materials |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Unit Price | Total Price DDP USD |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Anchor bolts are excluded since they are supplied under schedule No. 1 The contractor to undertake geotechnical soil investigation and complete foundation design. |  |  |  |  |
| 1.1 | Soil Class 5 foundations (Pile foundation) | each | 16 |  |  |
| 1.2 | Soil Class 4 foundations | each | 27 |  |  |
| 1.3 | Soil Class 3 foundations | each | 14 |  |  |
| 1.4 | Soil Class 2 foundations | each | 10 |  |  |
| 1.5 | Soil Class 1 foundations | each | 1 |  |  |
|  | TOTAL FOUNDATIONS |  |  |  |  |
| D | TOTAL FOR SCHEDULE No. 2C |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

### Schedule 3M: 132kV double circuit from Chambishi East to Mufulira  substation  – details prices, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.3C (132kV Double Circuit Chingola to Refractory substation) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum | 0 |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum | 0 |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum | 0 |  |  |
| 1.4 | Contractor’s facilities and administration | sum | 0 |  |  |
| 1.4.1 | Provide camps, offices and storages | sum | 0 |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum | 0 |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Surveying and drawing of complete longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. The contractor shall provide detailed transmission line design | route km | 14 |  |  |
| 2.2 | Plotting of towers and sag curves on longitudinal profiles | route km | 14 |  |  |
| 2.3 | Tower site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 14 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 14 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 32m wide | route km | 14 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 14 |  |  |
| 3.2 | Extra 3 m wide | route km | 2 |  |  |
| 3.4 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km | 14 |  |  |
| 3.5 | Installation of Farm Gates and fences | lot | 1 | 26000 | 26000 |
| A | SUB-TOTAL item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1 | Complete foundation works for tension and suspension towers |  |  |  |  |
| 4.1a | Soil Class 5 foundations (Pile foundation) | each | 16 |  |  |
| 4.1b | Soil Class 4 foundations | each | 27 |  |  |
| 4.1c | Soil Class 3 foundations | each | 14 |  |  |
| 4.1d | Soil Class 2 foundations | each | 10 |  |  |
| 4.1e | Soil Class 1 foundations | each | 1 |  |  |
| 4.1f | TOTAL FOUNDATIONS |  | 68 |  |  |
| 5 | Tower Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual tower sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for tension tower type B | each | 6 |  |  |
| 5.2 | Complete erection works for tension tower type C | each | 2 |  |  |
| 5.3 | Complete erection works for tension tower type D/DE | each | 5 |  |  |
| 5.4 | Complete erection works for suspension tower type A | each | 55 |  |  |
| B | SUB-TOTAL, item 4 to 5.4 |  |  |  |  |
| 6 | Installation and Stringing of Conductors and 48 core OPGW |  |  |  |  |
|  | All costs for distribution from storage to individual tower sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Single phase, double circuit, conductor type BISON | route km | 14 |  |  |
| 6.2 | OPGW: |  |  |  |  |
| 6.2a | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 14 |  |  |
| 6.2b | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| 6.3 | Sub-total, item 6 to 6.2b |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1 | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 14 |  |  |
| 7.2 | Measurement of electrical footing resistance to earth at each tower site, including recording in an approved manner shall be included in installation cost | per tower | 68 |  |  |
| 7.3 | Installation of counter-poise cables, including connection to towers, excavation of four 30m long 600 mm deep trench and reinstatement | per tower | 68 |  |  |
| 7.4 | Extra to Item 7.2 for laying at 1000 mm depth | per tower | 20 |  |  |
| 7.5 | Installation of extended or continuous counterpoise including joints and connections to towers, excavation of a 600 mm deep trench and reinstate-ment. | m | 3000 |  |  |
| 7.6 | Extra to Item 7.4 for laying at 1000 mm depth | m | 750 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 7 to 7.6 |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 7.1 -7.6 |  |  |  |  |
| E | SUB-TOTAL item 6 to 7.6 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 4C |  |  |  |  |
|  | TOTAL (to schedule 6 Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 4C: day work  rates for 132kV Double Circuit Chingola to Refractory substation

| DETAIL PRICES, DAYWORK SCHEDULE No.4C Day work Rates and Estimated Quantities |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM No. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL ITEM PRICE DDP USD |
| 1 | Rates of Labour including all necessary hand tools, accomodation, sub-sistence and overhead charges |  |  |  |  |
| 1.1 | Expatriate foreman | per day | 1 |  |  |
| 1.2 | Surveyor and two assistants incl. survey equipment and transport | per day | 1 |  |  |
| 1.3 | Local Foreman | per day | 1 |  |  |
| 1.4 | Linesman/operator | per day | 1 |  |  |
| 1.5 | Skilled worker | per day | 1 |  |  |
| 1.6 | Unskilled worker | per day | 1 |  |  |
| 1.7 | Driver | per day | 1 |  |  |
| 1.8 | Engineer | per day | 1 |  |  |
| 1.9 | SUB-TOTAL LABOUR |  |  |  |  |
| 2 |
| 2.1 | Pick-up truck | per day | 1 |  |  |
| 2.2 | Lorry < 10 tons | per day | 1 |  |  |
| 2.3 | Lorry 10 to 20 tons | per day | 1 |  |  |
| 2.4 | Mobile Crane | per day | 1 |  |  |
| 2.5 | Tractor with trailer | per day | 1 |  |  |
| 2.6 | Tractor | Per day | 1 |  |  |
| 2.7 | Front end loader | per day | 1 |  |  |
| 2.8 | D7 to D9 Bulldozer | per day | 1 |  |  |
| 2.9 | Excavator | per day | 1 |  |  |
| 2.10 | Air compressor c/w jack hammer | per day | 1 |  |  |
| 2.11 | Water pump | per day | 1 |  |  |
| 2.12 | Concrete mixer | per day | 1 |  |  |
| 2.13 | Power generator | per day | 1 |  |  |
| 2.14 | Welding machine | per day | 1 |  |  |
| 2.15 | SUB-TOTAL EQUIPMENT |  |  |  |  |
| 3 | Daywork, Construction |  |  |  |  |
|  | The rates shall cover construction works, material handling and storage, distribution to tower sites, and insurance until taken over and all costs of personnel, transport and equipment needed. |  |  |  |  |
| 3.1 | Miscellaneous works for special foundations, extensions and concrete works: |  |  |  |  |
| 3.1.1 | Excavation including backfill and reinstatement of soil |  |  |  |  |
| 3.1.1.1 | Down to 3 m below ground level | m3 |  |  |  |
| 3.1.1.2 | Below 3 m below ground level | m3 | 1 |  |  |
| 3.1.2 | Solid rock | m3 | 1 |  |  |
| 3.1.2.1 | Solid rock excavation | m3 | 1 |  |  |
| 3.1.2.2 | Excavation including backfill and reinstatement of solid rock | m3 | 1 |  |  |
| 3.1.3 | Casting of concrete foundations including formers and installation of reinforcement | m3 | 1 |  |  |
| 3.1.4 | Drilling and grouting of rock bolt anchors | per m | 1 |  |  |
| 3.2 | Miscellaneous erection of special towers, special extensions, single leg extensions and modifications. |  |  |  |  |
|  | Erection of single leg extensions and reductions for self supporting towers shall be paid for at this ton price. | tons | 1 |  |  |
| 3.3 | Tack welding of nuts (if required) |  |  |  |  |
| 3.3.1 | Up to 3 m above ground level | per 100 bolts |  |  |  |
| 3.3.2 | Above 3 m above ground level | per 100 bolts |  |  |  |
| 3.4 | Installation of Farm Gates and Fences | each | 1 |  |  |
| 3.6 | SUB-TOTAL CONSTRUCTION |  |  |  |  |
| 4 | Materials for Daywork |  |  |  |  |
| 4.1 | Reinforced concrete for modified or special foundations, including formers |  |  |  |  |
| 4.2 | Concrete for other purposes, including formers | m3 | 1 |  |  |
| 4.3 | Extra reinforcement bars | kg | 1 |  |  |
| 4.4 | Farm Gate | each | 1 |  |  |
| 4.5 | Galvanised steel members for special towers, special extensions, single leg extensions and reductions and modifications and missing members for existing incomplete towers |  |  |  |  |
|  | Extra or reduced quantities of steel due to extension or reduction of single legs for self supporting towers shall be balanced against these prices. |  |  |  |  |
| 4.5.1 | Structural mild steel | ton | 1 |  |  |
| 4.5.2 | Structural high tensile steel | ton | 1 |  |  |
| 4.6 | Additional step bolts | each | 1 |  |  |
| 4.7 | Additional number plates | each | 1 |  |  |
| 4.8 | Additional danger plates | each | 1 |  |  |
| 4.9 | Additional phase and circuit plates | each | 1 |  |  |
| 4.1 | Additional bolts/nuts/washers | per ton | 1 |  |  |
| 4.11 | River Sand | Ton | 1 |  |  |
| 4.12 | Gravel | Ton | 1 |  |  |
| 4.13 | SUB-TOTAL MATERIALS |  |  |  |  |
|  | TOTAL FOR SCHEDULE 5 |  |  |  |  |
|  | TOTAL (to schedule 6 summary for 132kV lines ) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 5C: summary for 132kV Double Circuit Chingola to Refractory substation

| DETAIL PRICES, SUMMARY SCHEDULE No.5C (The Bidder to complete for 132kV Double Circuit Chingola to Refractory substation) Summary of Prices |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Schedule No. 1B: Plant and Equipment from Abroad. | lot | 1 |  |  |
| 2. | Schedule No. 2B: Foundations civil works and materials. | lot | 1 |  |  |
| 3. | Schedule No. 3B: Installation Services. | lot | 1 |  |  |
| 4. | Total from Schedule No. 4B, Day Work rates. | Lot | 1 |  |  |
| 5. | GRAND TOTAL (To Bid Form) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

## 132kV New Kitwe 132/33/11kV substation to Mufulira 132/33kV substation

### Schedule 1N: 132kV double circuit line from New Kitwe substation to Mufulira  substation

| DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1C Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 | UNIT | QTY |  | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |  |
|  |  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |  |
|  |  |  |  |  |  | CIP,Chingola | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |  |
| 1 | Self-supporting Monopole Towers, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications |  |  |  |  |  |  |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV (13m CAH) |  | each |  | 10 |  |  |  |  |  |  |
| 1.2 | Intermediate Steel Monopole 132kV (14m CAH) |  | each |  | 10 |  |  |  |  |  |  |
| 1.3 | Intermediate Steel Monopole 132kV (15m CAH) |  | each |  | 15 |  |  |  |  |  |  |
| 1.4 | Intermediate Steel Monopole 132kV (16m CAH) |  | each |  | 50 |  |  |  |  |  |  |
| 1.5 | Intermediate Steel Monopole 132kV (17m CAH) |  | each |  | 15 |  |  |  |  |  |  |
| 1.6 | Intermediate Steel Monopole 132kV (18m CAH) |  | Rate only |  | 0 |  |  |  |  |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree (13m CAH) |  | each |  | 4 |  |  |  |  |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  | each |  | 7 |  |  |  |  |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 30-60 degree (13m CAH) |  | each |  | 1 |  |  |  |  |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  | each |  | 1 |  |  |  |  |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 60-90 degree (13m CAH) |  | each |  | 1 |  |  |  |  |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  | each |  | 2 |  |  |  |  |  |  |
| 1.13 | Steel Strain Monopole Terminal Flat formation |  | each |  | 0 |  |  |  |  |  |  |
| 5 | Contractor to provide all necessary detailed designs, drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 5a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5d | Type F |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6 | Complete Foundation design for all soil classes and all necessary drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 6a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6d | Type F |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 7 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  | route-km | 22 |  |  |  |  |  |  |  |  |
| 7.2 | Radial earth galvanised steel wire per tower, 30m x 4 |  | set | 116 |  |  |  |  |  |  |  |  |
| 7.3 | Radial tower earths lugs and bolts complete with nuts |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting tower earthing to substation grid |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to tower legs |  | route-km | 22 |  |  |  |  |  |  |  |  |
| 8 | Sign plates |  |  |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  | each | 116 |  |  |  |  |  |  |  |  |
| 8.2 | Danger plates |  | each | 116 |  |  |  |  |  |  |  |  |
| 8.3 | Phase plates |  | each | 116 |  |  |  |  |  |  |  |  |
| 8.4 | Circuit plates |  | each | 116 |  |  |  |  |  |  |  |  |
| 8.5 | Aerial plates |  | each | 116 |  |  |  |  |  |  |  |  |
| A | SUB-TOTAL TOWER AND FOUNDATION SUPPLY items 1.1 to 8.5 |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |  |  |
| 9.1 | 3 Single phase, double circuit, conductor type BISON |  | route km | 22 |  |  |  |  |  |  |  |  |
| 9.3 | Optical Fibre Ground Wire (OPGW) |  | route km | 22 |  |  |  |  |  |  |  |  |
| 9.4 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  | m | 1000 |  |  |  |  |  |  |  |  |
| 10 | 132kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for single conductor type ACSR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11 | Hardware and fittings for conductor type ASCR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.3 | Vibration dampers, Stockbridge type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.4 | midspan joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly, |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to tower body |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Mult Response type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.4 | Tower Parallel groove clamps (clamping of OPGW downleads to tower). |  | lot | 1 |  |  |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |  |  |
| C | SUB-TOTAL SPARES item 14 to 12 |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL FOR SCHEDULE No.1A |  |  |  |  |  |  |  |  |  |  |  |
| The final quantities for Suspension Towers and materials to be ordered shall be verified and confirmed after line profile survey, tower spotting and pegging is completed. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |  |  |  |  |  |  |  |
|  | Code |  |  |  |  |  |  |  |  |  |  |  |
|  | Country |  |  |  |  |  |  |  |  |  |  |  |
|  | Name of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | 1) Bidders shall enter a code representing the country of origin of all imported plant and equipment |  |  |  |  |  |  |  |  |  |  |  |
|  | 2) Specify Currency |  |  |  |  |  |  |  |  |  |  |  |

### Schedule 2N: 132kV double circuit line from New Kitwe substation to Mufulira  substation, Foundations civil works and materials

| DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2N (132kV double circuit line from New Kitwe substation to Mufulira substation) Foundations civil works and materials |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Unit Price | Total Price DDP USD |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Anchor bolts are excluded since they are supplied under schedule No. 1 The contractor to undertake geotechnical soil investigation and complete foundation design. |  |  |  |  |
| 1.1 | Soil Class 5 foundations (Pile foundation) | each | 28 |  |  |
| 1.2 | Soil Class 4 foundations | each | 46 |  |  |
| 1.3 | Soil Class 3 foundations | each | 23 |  |  |
| 1.4 | Soil Class 2 foundations | each | 17 |  |  |
| 1.5 | Soil Class 1 foundations | each | 1 |  |  |
|  | TOTAL FOUNDATIONS |  | 116 |  |  |
| D | TOTAL FOR SCHEDULE No. 2C |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

### Schedule 3N: 132kV double circuit from New Kitwe substation to Mufulira  substation – details prices, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.3N (132kV Double Circuit Chingola to Refractory substation) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum | 0 |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum | 0 |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum | 0 |  |  |
| 1.4 | Contractor’s facilities and administration | sum | 0 |  |  |
| 1.4.1 | Provide camps, offices and storages | sum | 0 |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum | 0 |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Surveying and drawing of complete longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. The contractor shall provide detailed transmission line design | route km | 22 |  |  |
| 2.2 | Plotting of towers and sag curves on longitudinal profiles | route km | 22 |  |  |
| 2.3 | Tower site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 22 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 22 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 32m wide | route km | 22 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 22 |  |  |
| 3.2 | Extra 3 m wide | route km | 5 |  |  |
| 3.4 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km | 22 |  |  |
| 3.5 | Installation of Farm Gates and fences | lot | 1 | 26000 | 26000 |
| A | SUB-TOTAL item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1 | Complete foundation works for tension and suspension towers |  |  |  |  |
| 4.1a | Soil Class 5 foundations (Pile foundation) | each | 28 |  |  |
| 4.1b | Soil Class 4 foundations | each | 46 |  |  |
| 4.1c | Soil Class 3 foundations | each | 23 |  |  |
| 4.1d | Soil Class 2 foundations | each | 17 |  |  |
| 4.1e | Soil Class 1 foundations | each | 1 |  |  |
| 4.1f | TOTAL FOUNDATIONS |  | 116 |  |  |
| 5 | Tower Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual tower sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for tension tower type B | each | 11 |  |  |
| 5.2 | Complete erection works for tension tower type C | each | 2 |  |  |
| 5.3 | Complete erection works for tension tower type D/DE | each | 3 |  |  |
| 5.4 | Complete erection works for suspension tower type A | each | 100 |  |  |
| B | SUB-TOTAL, item 4 to 5.4 |  |  |  |  |
| 6 | Installation and Stringing of Conductors and 48 core OPGW |  |  |  |  |
|  | All costs for distribution from storage to individual tower sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Single phase, double circuit, conductor type BISON | route km | 22 |  |  |
| 6.2 | OPGW: |  |  |  |  |
| 6.2a | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 22 |  |  |
| 6.2b | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| 6.3 | Sub-total, item 6 to 6.2b |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1 | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 22 |  |  |
| 7.2 | Measurement of electrical footing resistance to earth at each tower site, including recording in an approved manner shall be included in installation cost | per tower | 116 |  |  |
| 7.3 | Installation of counter-poise cables, including connection to towers, excavation of four 30m long 600 mm deep trench and reinstatement | per tower | 116 |  |  |
| 7.4 | Extra to Item 7.2 for laying at 1000 mm depth | per tower | 30 |  |  |
| 7.5 | Installation of extended or continuous counterpoise including joints and connections to towers, excavation of a 600 mm deep trench and reinstate-ment. | m | 3000 |  |  |
| 7.6 | Extra to Item 7.4 for laying at 1000 mm depth | m | 750 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 7 to 7.6 |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 7.1 -7.6 |  |  |  |  |
| E | SUB-TOTAL item 6 to 7.6 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 4C |  |  |  |  |
|  | TOTAL (to schedule 6 Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 4C: day work  rates for 132kV Double Circuit Chingola to Refractory substation

| DETAIL PRICES, DAYWORK SCHEDULE No.4C Day work Rates and Estimated Quantities |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM No. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL ITEM PRICE DDP USD |
| 1 | Rates of Labour including all necessary hand tools, accomodation, sub-sistence and overhead charges |  |  |  |  |
| 1.1 | Expatriate foreman | per day | 1 |  |  |
| 1.2 | Surveyor and two assistants incl. survey equipment and transport | per day | 1 |  |  |
| 1.3 | Local Foreman | per day | 1 |  |  |
| 1.4 | Linesman/operator | per day | 1 |  |  |
| 1.5 | Skilled worker | per day | 1 |  |  |
| 1.6 | Unskilled worker | per day | 1 |  |  |
| 1.7 | Driver | per day | 1 |  |  |
| 1.8 | Engineer | per day | 1 |  |  |
| 1.9 | SUB-TOTAL LABOUR |  |  |  |  |
| 2 |
| 2.1 | Pick-up truck | per day | 1 |  |  |
| 2.2 | Lorry < 10 tons | per day | 1 |  |  |
| 2.3 | Lorry 10 to 20 tons | per day | 1 |  |  |
| 2.4 | Mobile Crane | per day | 1 |  |  |
| 2.5 | Tractor with trailer | per day | 1 |  |  |
| 2.6 | Tractor | Per day | 1 |  |  |
| 2.7 | Front end loader | per day | 1 |  |  |
| 2.8 | D7 to D9 Bulldozer | per day | 1 |  |  |
| 2.9 | Excavator | per day | 1 |  |  |
| 2.10 | Air compressor c/w jack hammer | per day | 1 |  |  |
| 2.11 | Water pump | per day | 1 |  |  |
| 2.12 | Concrete mixer | per day | 1 |  |  |
| 2.13 | Power generator | per day | 1 |  |  |
| 2.14 | Welding machine | per day | 1 |  |  |
| 2.15 | SUB-TOTAL EQUIPMENT |  |  |  |  |
| 3 | Daywork, Construction |  |  |  |  |
|  | The rates shall cover construction works, material handling and storage, distribution to tower sites, and insurance until taken over and all costs of personnel, transport and equipment needed. |  |  |  |  |
| 3.1 | Miscellaneous works for special foundations, extensions and concrete works: |  |  |  |  |
| 3.1.1 | Excavation including backfill and reinstatement of soil |  |  |  |  |
| 3.1.1.1 | Down to 3 m below ground level | m3 |  |  |  |
| 3.1.1.2 | Below 3 m below ground level | m3 | 1 |  |  |
| 3.1.2 | Solid rock | m3 | 1 |  |  |
| 3.1.2.1 | Solid rock excavation | m3 | 1 |  |  |
| 3.1.2.2 | Excavation including backfill and reinstatement of solid rock | m3 | 1 |  |  |
| 3.1.3 | Casting of concrete foundations including formers and installation of reinforcement | m3 | 1 |  |  |
| 3.1.4 | Drilling and grouting of rock bolt anchors | per m | 1 |  |  |
| 3.2 | Miscellaneous erection of special towers, special extensions, single leg extensions and modifications. |  |  |  |  |
|  | Erection of single leg extensions and reductions for self supporting towers shall be paid for at this ton price. | tons | 1 |  |  |
| 3.3 | Tack welding of nuts (if required) |  |  |  |  |
| 3.3.1 | Up to 3 m above ground level | per 100 bolts |  |  |  |
| 3.3.2 | Above 3 m above ground level | per 100 bolts |  |  |  |
| 3.4 | Installation of Farm Gates and Fences | each | 1 |  |  |
| 3.6 | SUB-TOTAL CONSTRUCTION |  |  |  |  |
| 4 | Materials for Daywork |  |  |  |  |
| 4.1 | Reinforced concrete for modified or special foundations, including formers |  |  |  |  |
| 4.2 | Concrete for other purposes, including formers | m3 | 1 |  |  |
| 4.3 | Extra reinforcement bars | kg | 1 |  |  |
| 4.4 | Farm Gate | each | 1 |  |  |
| 4.5 | Galvanised steel members for special towers, special extensions, single leg extensions and reductions and modifications and missing members for existing incomplete towers |  |  |  |  |
|  | Extra or reduced quantities of steel due to extension or reduction of single legs for self supporting towers shall be balanced against these prices. |  |  |  |  |
| 4.5.1 | Structural mild steel | ton | 1 |  |  |
| 4.5.2 | Structural high tensile steel | ton | 1 |  |  |
| 4.6 | Additional step bolts | each | 1 |  |  |
| 4.7 | Additional number plates | each | 1 |  |  |
| 4.8 | Additional danger plates | each | 1 |  |  |
| 4.9 | Additional phase and circuit plates | each | 1 |  |  |
| 4.1 | Additional bolts/nuts/washers | per ton | 1 |  |  |
| 4.11 | River Sand | Ton | 1 |  |  |
| 4.12 | Gravel | Ton | 1 |  |  |
| 4.13 | SUB-TOTAL MATERIALS |  |  |  |  |
|  | TOTAL FOR SCHEDULE 5 |  |  |  |  |
|  | TOTAL (to schedule 6 summary for 132kV lines ) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 5C: summary for 132kV Double Circuit Chingola to Refractory substation

| DETAIL PRICES, SUMMARY SCHEDULE No.5C (The Bidder to complete for 132kV Double Circuit Chingola to Refractory substation) Summary of Prices |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Schedule No. 1B: Plant and Equipment from Abroad. | lot | 1 |  |  |
| 2. | Schedule No. 2B: Foundations civil works and materials. | lot | 1 |  |  |
| 3. | Schedule No. 3B: Installation Services. | lot | 1 |  |  |
| 4. | Total from Schedule No. 4B, Day Work rates. | Lot | 1 |  |  |
| 5. | GRAND TOTAL (To Bid Form) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

## 132kV double circuit tower from Chingola 330/132/33kV substation to Lufwanyama 132/33kV substation

### Schedule 1O: 132kV double circuit line from Chingola  substation to Lufwanyama substation

| DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1O Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 | UNIT | QTY |  | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |  |
|  |  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |  |
|  |  |  |  |  |  | CIP,Chingola | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |  |
| 1 | Self-supporting Monopole Towers, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications |  |  |  |  |  |  |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV (13m CAH) |  | each |  | 34 |  |  |  |  |  |  |
| 1.2 | Intermediate Steel Monopole 132kV (14m CAH) |  | each |  | 34 |  |  |  |  |  |  |
| 1.3 | Intermediate Steel Monopole 132kV (15m CAH) |  | each |  | 51 |  |  |  |  |  |  |
| 1.4 | Intermediate Steel Monopole 132kV (16m CAH) |  | each |  | 170 |  |  |  |  |  |  |
| 1.5 | Intermediate Steel Monopole 132kV (17m CAH) |  | each |  | 51 |  |  |  |  |  |  |
| 1.6 | Intermediate Steel Monopole 132kV (18m CAH) |  | Rate only |  | 0 |  |  |  |  |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree (13m CAH) |  | each |  | 16 |  |  |  |  |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  | each |  | 23 |  |  |  |  |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 30-60 degree (13m CAH) |  | each |  | 0 |  |  |  |  |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  | each |  | 1 |  |  |  |  |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 60-90 degree (13m CAH) |  | each |  | 2 |  |  |  |  |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  | each |  | 2 |  |  |  |  |  |  |
| 1.13 | Steel Strain Monopole Terminal Flat formation |  | each |  | 0 |  |  |  |  |  |  |
| 5 | Contractor to provide all necessary detailed designs, drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 5a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5d | Type F |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 5e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6 | Complete Foundation design for all soil classes and all necessary drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |  |
| 6a | Type B tower |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6b | Type C towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6c | Type D/DE towers |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6d | Type F |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 6e | Type A |  | Lot | 1 |  |  |  |  |  |  |  |  |
| 7 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  | route-km | 76 |  |  |  |  |  |  |  |  |
| 7.2 | Radial earth galvanised steel wire per tower, 30m x 4 |  | set | 384 |  |  |  |  |  |  |  |  |
| 7.3 | Radial tower earths lugs and bolts complete with nuts |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting tower earthing to substation grid |  | lot | 1 |  |  |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to tower legs |  | route-km | 384 |  |  |  |  |  |  |  |  |
| 8 | Sign plates |  |  |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  | each | 384 |  |  |  |  |  |  |  |  |
| 8.2 | Danger plates |  | each | 384 |  |  |  |  |  |  |  |  |
| 8.3 | Phase plates |  | each | 384 |  |  |  |  |  |  |  |  |
| 8.4 | Circuit plates |  | each | 384 |  |  |  |  |  |  |  |  |
| 8.5 | Aerial plates |  | each | 384 |  |  |  |  |  |  |  |  |
| A | SUB-TOTAL TOWER AND FOUNDATION SUPPLY items 1.1 to 8.5 |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |  |  |
| 9.1 | 3 Single phase, double circuit, conductor type BISON |  | route km | 76 |  |  |  |  |  |  |  |  |
| 9.3 | Optical Fibre Ground Wire (OPGW) |  | route km | 76 |  |  |  |  |  |  |  |  |
| 9.4 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  | m | 1000 |  |  |  |  |  |  |  |  |
| 10 | 132kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for single conductor type ACSR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11 | Hardware and fittings for conductor type ASCR Bison |  |  |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.3 | Vibration dampers, Stockbridge type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 11.4 | midspan joints |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly, |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to tower body |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Mult Response type |  | lot | 1 |  |  |  |  |  |  |  |  |
| 12.4 | Tower Parallel groove clamps (clamping of OPGW downleads to tower). |  | lot | 1 |  |  |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |  |  |
| C | SUB-TOTAL SPARES item 14 to 12 |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL FOR SCHEDULE No.1A |  |  |  |  |  |  |  |  |  |  |  |
| The final quantities for Suspension Towers and materials to be ordered shall be verified and confirmed after line profile survey, tower spotting and pegging is completed. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |  |  |  |  |  |  |  |
|  | Code |  |  |  |  |  |  |  |  |  |  |  |
|  | Country |  |  |  |  |  |  |  |  |  |  |  |
|  | Name of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |  |  |  |  |  |  |  |
|  | 1) Bidders shall enter a code representing the country of origin of all imported plant and equipment |  |  |  |  |  |  |  |  |  |  |  |
|  | 2) Specify Currency |  |  |  |  |  |  |  |  |  |  |  |

### Schedule 2O: 132kV double circuit line from Chingola  substation to Lufwanyama substation, Foundations civil works and materials

| DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2O (132kV double circuit line from Chingola substation to Lufwanyama substation) Foundations civil works and materials |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Unit Price | Total Price DDP USD |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Anchor bolts are excluded since they are supplied under schedule No. 1 The contractor to undertake geotechnical soil investigation and complete foundation design. |  |  |  |  |
| 1.1 | Soil Class 5 foundations | each | 92 |  |  |
| 1.2 | Soil Class 4 foundations | each | 154 |  |  |
| 1.3 | Soil Class 3 foundations | each | 77 |  |  |
| 1.4 | Soil Class 2 foundations | each | 58 |  |  |
| 1.5 | Soil Class 1 foundations | each | 4 |  |  |
|  | TOTAL FOUNDATIONS |  | 384 |  |  |
| D | TOTAL FOR SCHEDULE No. 2C |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

### Schedule 3O: 132kV double circuit from Chingola  substation to Lufwanyama substation – details prices, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.3C (132kV Double Circuit from Chingola substation to Lufwanyama substation) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum | 0 |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum | 0 |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum | 0 |  |  |
| 1.4 | Contractor’s facilities and administration | sum | 0 |  |  |
| 1.4.1 | Provide camps, offices and storages | sum | 0 |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum | 0 |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Surveying and drawing of complete longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. The contractor shall provide detailed transmission line design | route km | 76 |  |  |
| 2.2 | Plotting of towers and sag curves on longitudinal profiles | route km | 76 |  |  |
| 2.3 | Tower site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 76 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 76 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 32m wide | route km | 76 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 76 |  |  |
| 3.2 | Extra 3 m wide | route km | 40 |  |  |
| 3.4 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km | 76 |  |  |
| 3.5 | Installation of Farm Gates and fences | lot | 1 | 26000 | 26000 |
| A | SUB-TOTAL item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1 | Complete foundation works for tension and suspension towers |  |  |  |  |
| 4.1a | Soil Class 5 foundations (Pile foundation) | each | 92 |  |  |
| 4.1b | Soil Class 4 foundations | each | 154 |  |  |
| 4.1c | Soil Class 3 foundations | each | 77 |  |  |
| 4.1d | Soil Class 2 foundations | each | 58 |  |  |
| 4.1e | Soil Class 1 foundations | each | 4 |  |  |
| 4.1f | TOTAL FOUNDATIONS |  |  |  |  |
| 5 | Tower Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual tower sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for tension tower type B | each | 39 |  |  |
| 5.2 | Complete erection works for tension tower type C | each | 1 |  |  |
| 5.3 | Complete erection works for tension tower type D/DE | each | 4 |  |  |
| 5.4 | Complete erection works for suspension tower type A | each | 340 |  |  |
| B | SUB-TOTAL, item 4 to 5.4 |  |  |  |  |
| 6 | Installation and Stringing of Conductors and 48 core OPGW |  |  |  |  |
|  | All costs for distribution from storage to individual tower sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Single phase, double circuit, conductor type BISON | route km | 76 |  |  |
| 6.2 | OPGW: |  |  |  |  |
| 6.2a | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 76 |  |  |
| 6.2b | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| 6.3 | Sub-total, item 6 to 6.2b |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1 | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 76 |  |  |
| 7.2 | Measurement of electrical footing resistance to earth at each tower site, including recording in an approved manner shall be included in installation cost | per tower | 384 |  |  |
| 7.3 | Installation of counter-poise cables, including connection to towers, excavation of four 30m long 600 mm deep trench and reinstatement | per tower | 384 |  |  |
| 7.4 | Extra to Item 7.2 for laying at 1000 mm depth | per tower | 50 |  |  |
| 7.5 | Installation of extended or continuous counterpoise including joints and connections to towers, excavation of a 600 mm deep trench and reinstate-ment. | m | 3000 |  |  |
| 7.6 | Extra to Item 7.4 for laying at 1000 mm depth | m | 750 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 7 to 7.6 |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 7.1 -7.6 |  |  |  |  |
| E | SUB-TOTAL item 6 to 7.6 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 4C |  |  |  |  |
|  | TOTAL (to schedule 6 Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 4C: day work  rates for 132kV Double Circuit Chingola to Refractory substation

| DETAIL PRICES, DAYWORK SCHEDULE No.4C Day work Rates and Estimated Quantities |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM No. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL ITEM PRICE DDP USD |
| 1 | Rates of Labour including all necessary hand tools, accomodation, sub-sistence and overhead charges |  |  |  |  |
| 1.1 | Expatriate foreman | per day | 1 |  |  |
| 1.2 | Surveyor and two assistants incl. survey equipment and transport | per day | 1 |  |  |
| 1.3 | Local Foreman | per day | 1 |  |  |
| 1.4 | Linesman/operator | per day | 1 |  |  |
| 1.5 | Skilled worker | per day | 1 |  |  |
| 1.6 | Unskilled worker | per day | 1 |  |  |
| 1.7 | Driver | per day | 1 |  |  |
| 1.8 | Engineer | per day | 1 |  |  |
| 1.9 | SUB-TOTAL LABOUR |  |  |  |  |
| 2 |
| 2.1 | Pick-up truck | per day | 1 |  |  |
| 2.2 | Lorry < 10 tons | per day | 1 |  |  |
| 2.3 | Lorry 10 to 20 tons | per day | 1 |  |  |
| 2.4 | Mobile Crane | per day | 1 |  |  |
| 2.5 | Tractor with trailer | per day | 1 |  |  |
| 2.6 | Tractor | Per day | 1 |  |  |
| 2.7 | Front end loader | per day | 1 |  |  |
| 2.8 | D7 to D9 Bulldozer | per day | 1 |  |  |
| 2.9 | Excavator | per day | 1 |  |  |
| 2.10 | Air compressor c/w jack hammer | per day | 1 |  |  |
| 2.11 | Water pump | per day | 1 |  |  |
| 2.12 | Concrete mixer | per day | 1 |  |  |
| 2.13 | Power generator | per day | 1 |  |  |
| 2.14 | Welding machine | per day | 1 |  |  |
| 2.15 | SUB-TOTAL EQUIPMENT |  |  |  |  |
| 3 | Daywork, Construction |  |  |  |  |
|  | The rates shall cover construction works, material handling and storage, distribution to tower sites, and insurance until taken over and all costs of personnel, transport and equipment needed. |  |  |  |  |
| 3.1 | Miscellaneous works for special foundations, extensions and concrete works: |  |  |  |  |
| 3.1.1 | Excavation including backfill and reinstatement of soil |  |  |  |  |
| 3.1.1.1 | Down to 3 m below ground level | m3 |  |  |  |
| 3.1.1.2 | Below 3 m below ground level | m3 | 1 |  |  |
| 3.1.2 | Solid rock | m3 | 1 |  |  |
| 3.1.2.1 | Solid rock excavation | m3 | 1 |  |  |
| 3.1.2.2 | Excavation including backfill and reinstatement of solid rock | m3 | 1 |  |  |
| 3.1.3 | Casting of concrete foundations including formers and installation of reinforcement | m3 | 1 |  |  |
| 3.1.4 | Drilling and grouting of rock bolt anchors | per m | 1 |  |  |
| 3.2 | Miscellaneous erection of special towers, special extensions, single leg extensions and modifications. |  |  |  |  |
|  | Erection of single leg extensions and reductions for self supporting towers shall be paid for at this ton price. | tons | 1 |  |  |
| 3.3 | Tack welding of nuts (if required) |  |  |  |  |
| 3.3.1 | Up to 3 m above ground level | per 100 bolts |  |  |  |
| 3.3.2 | Above 3 m above ground level | per 100 bolts |  |  |  |
| 3.4 | Installation of Farm Gates and Fences | each | 1 |  |  |
| 3.6 | SUB-TOTAL CONSTRUCTION |  |  |  |  |
| 4 | Materials for Daywork |  |  |  |  |
| 4.1 | Reinforced concrete for modified or special foundations, including formers |  |  |  |  |
| 4.2 | Concrete for other purposes, including formers | m3 | 1 |  |  |
| 4.3 | Extra reinforcement bars | kg | 1 |  |  |
| 4.4 | Farm Gate | each | 1 |  |  |
| 4.5 | Galvanised steel members for special towers, special extensions, single leg extensions and reductions and modifications and missing members for existing incomplete towers |  |  |  |  |
|  | Extra or reduced quantities of steel due to extension or reduction of single legs for self supporting towers shall be balanced against these prices. |  |  |  |  |
| 4.5.1 | Structural mild steel | ton | 1 |  |  |
| 4.5.2 | Structural high tensile steel | ton | 1 |  |  |
| 4.6 | Additional step bolts | each | 1 |  |  |
| 4.7 | Additional number plates | each | 1 |  |  |
| 4.8 | Additional danger plates | each | 1 |  |  |
| 4.9 | Additional phase and circuit plates | each | 1 |  |  |
| 4.1 | Additional bolts/nuts/washers | per ton | 1 |  |  |
| 4.11 | River Sand | Ton | 1 |  |  |
| 4.12 | Gravel | Ton | 1 |  |  |
| 4.13 | SUB-TOTAL MATERIALS |  |  |  |  |
|  | TOTAL FOR SCHEDULE 5 |  |  |  |  |
|  | TOTAL (to schedule 6 summary for 132kV lines ) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 5C: summary for 132kV Double Circuit Chingola to Refractory substation

| DETAIL PRICES, SUMMARY SCHEDULE No.5C (The Bidder to complete for 132kV Double Circuit Chingola to Refractory substation) Summary of Prices |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Schedule No. 1B: Plant and Equipment from Abroad. | lot | 1 |  |  |
| 2. | Schedule No. 2B: Foundations civil works and materials. | lot | 1 |  |  |
| 3. | Schedule No. 3B: Installation Services. | lot | 1 |  |  |
| 4. | Total from Schedule No. 4B, Day Work rates. | Lot | 1 |  |  |
| 5. | GRAND TOTAL (To Bid Form) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

# 33kV LINES

## Chingola - Lulamba 33kV

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 8 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 8 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 8 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 8 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 156 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 20 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 1 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 1 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price |  |  | unit Price |  | Total Price | Total Price |  |
|  |  |  |  |  | Less taxes | with taxes |  |  | without taxes |  |  | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Chingola - Lulamba 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 8 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Chingola 330/132/33kV and Lulamba 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 8km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 8 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Totals for 33kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Kabundi - Mulonga 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 8 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 8 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 8 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 8 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 96 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 12 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 3 |  |  |  |  |
| 4.2 | Tension Insulators | No | 9 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 18 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local transportation

| SCHEDULE No.3 Local Transportation for Kabundi - Mulonga 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |
| 1.1 | Construction of 8 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Kabundi 132/33/11kV and Mulonga 33/3.3kV |  |  | 1 Lot |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 8 km of line route |  |  | Lot |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 8 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Mulonga - Fitobaula 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | CABLE LINE LENGTH | km | 5 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 5 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 5 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 5 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 236 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 20 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 3 |  |  |  |  |
| 4.2 | Tension Insulators | No | 19.5 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 39 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Mulonga - Fitobaula 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 5 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Mulonga 33/3.3kV and Fitobaula 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 5 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 5 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Chililabombwe – Chililabombwe North Double Circuit 33kV Line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 7 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 7 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 7 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 7 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 96 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 12 |  |  |  |  |
| 1.4 | Steel Poles (Suspension) | No | 0 |  |  |  |  |
| 1.5 | Steel poles (Tension) | No | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 3 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Chililabombwe – Chililabombwe North Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 7 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Chililabombwe 132/33/11kV and Chililabombwe North 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 7 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 7 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Totals for 33kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Chililabombwe – Chililabombwe Central Double Circuit 33kV

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 6 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 6 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 6 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 6 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 75 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 10 |  |  |  |  |
| 1.4 | Steel Poles (Suspension) |  |  |  |  |  |  |
| 1.5 | Steel poles (Tension) |  |  |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Chililabombwe – Chililabombwe Central Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 6 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Chililabombwe 132/33/11kV and Chililabombwe Central 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 6 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 6 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Chililabombwe – Kakoso Double Circuit 33kV

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 9 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 9 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 9 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 9 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 75 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 10 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 0 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 0 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 0 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 0 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 0 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Chililabombwe – Kakoso Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 9 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Chililabombwe 132/33/11Kv and Kakoso 132/33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 9 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 9 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Chililabombwe North – Chililabombwe Central Double Circuit 33kV

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 5 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 5 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 5 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 5 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 116 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 17 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 3 |  |  |  |  |
| 4.2 | Tension Insulators | No | 22 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 44 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Chililabombwe North – Chililabombwe Central Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 5 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Chililabombwe North and 33/11kV Chililabombwe Central 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 5 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 5 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Chililabombwe North – Kasumbalesa Double Circuit 33kV

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 10 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 10 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 10 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 10 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 116 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 17 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 3 |  |  |  |  |
| 4.2 | Tension Insulators | No | 22 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 44 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Chililabombwe North – Kasumbalesa Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 10 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Chililabombwe North 33/11kV and Kasumbalesa 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 10 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 10 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Chililabombwe North – Kawama Double Circuit 33kV Line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 5 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 5 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 5 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 5 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 49 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 12 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 10 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 30 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 3 |  |  |  |  |
| 4.2 | Tension Insulators | No | 11 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 22 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Chililabombwe North – Kawama Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 5 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Chililabombwe North 33/11kV and Kawama 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 5 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 5 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Kawama – Kakoso Double Circuit 33kV Line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 5 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 5 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 5 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 5 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 0 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 0 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 41 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 12 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 3 |  |  |  |  |
| 4.2 | Tension Insulators | No | 4 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 8 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Kawama – Kakoso Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 5 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Kawama 33/11kV and Kakoso 132/33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 5 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 5 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Kakoso – Fitobaula Double Circuit 33kV Line Price

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 11 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 11 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 11 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 11 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 0 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 0 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 13 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 5 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 3 |  |  |  |  |
| 4.2 | Tension Insulators | No | 3 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 6 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Kakoso – Fitobaula Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 11 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Kakoso 132/33/11kV and Fitobaula 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 11 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 11 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## New Kitwe – Mwambashi Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | CABLE LINE LENGTH | km | 19 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 19 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 19 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 19 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 215 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 27 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 2 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 3 |  |  |  |  |
| 4.2 | Tension Insulators | No | 4 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 8 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Kitwe – Mwambashi Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 19 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at New Kitwe 132/33/11kV and Mwambashi 132/33kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 19 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 19 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## New Kitwe – Nkana East Double Circuit 33kV Line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 8 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 8 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 8 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 8 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 88 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 12 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 3 |  |  |  |  |
| 4.2 | Tension Insulators | No | 18 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 36 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Kitwe – Nkana East Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 8 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at New Kitwe 132/33/11kV and Nkana East 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 8 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 8 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Nkana East - Luangwa Double Circuit 33kV Line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 10 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 10 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 10 |  |  |  |  |
| 1.3.a | OPGW cable – 48 core | Route km | 10 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 105 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 13 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 16 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 3 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 350mm.sq. flying conductor | M | 0 |  |  |  |  |
| 2.4. | 350mm.sq. flying conductor termination at Malole | Lot | 0 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 2 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Surge arrestors | No | 3 |  |  |  |  |
| 3.4. | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
|  | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Nkana East - Luangwa Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 10 kM OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Nkana East 33/11kV and Luangwa 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 10 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 10 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
|  | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
|  | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
|  | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
|  | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Luangwa – Nkana Mine Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 10 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 10 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 10 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 10 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 109 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 15 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 20 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Mpongwe 132 – Mpongwe East 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 14.2 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Mpongwe 132/88/33 and T-Off to Mpongwe East |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 14.2 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 14.2 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Mwambashi – New Chimwemwe Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 10 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 10 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 10 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 10 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 89 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 13 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 15 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 4 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 2 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 10 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Mwambashi – New Chimwemwe Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 10 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Mwambashi 132/33kV and New Chimwemwe 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 10 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 10 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for Luanshya 330 – Chitwi Double Circuit 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## New Chimwemwe – New Scaw Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 6 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 6 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 6 |  |  |  |  |
| 1.3.a | OPGW cable – 48 core | Route km | 6 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 36 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 19 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 10 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 3 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 10 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Chimwemwe – New Scaw Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 6 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at New Chimwemwe 33/11kV and New Scaw 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 6 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 6 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Kalulushi – New Scaw Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 11 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 11 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 11 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 11 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 132 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 19 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 10 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Kalulushi – New Scaw Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 11 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Kalulushi 132/33/11kV and New Scaw 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 11 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 11 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for Kafulafuta – Kankwiba Double Circuit 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Kalulushi Airport – Luswishi T Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 18 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 18 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 18 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 18 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 153 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 14 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 30 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 10 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 24 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 48 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Kalulushi – Luswishi T Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 18 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Kalulushi Airport 33/11kV and Luswishi T 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 18 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 18 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Kalulushi Airport – Nkana Mine Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 11 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 11 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 11 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 11 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 127 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 16 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 24 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 48 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Kalulushi Airport – Nkana Mine Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 11 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Kalulushi Airport 33/11kV and Nkana Mine 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 11 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 11 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for Kafulafuta – Ibenga 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Kalulushi Airport – Lwamisamba Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 12 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 12 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 12 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 12 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 135 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 18 |  |  |  |  |
| 1.4. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.5. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 12 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Kalulushi Airport – Lwamisamba Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 12 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Kalulushi Airport 33/11kV and Lwamisamba 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 12 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 12 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Lwamisamba – Chibuluma Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 6 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 6 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 6 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 6 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 73 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 10 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 24 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 36 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Lwamisamba – Chibuluma Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 6 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Lwamisamba 33/11kV and Chibuluma 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 6 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 6 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Lwamisamba – Kalulushi Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 9 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 9 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 9 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 9 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 96 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 13 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 24 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 36 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Lwamisamba – Kalulushi Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 9 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Lwamisamba 33/11kV and Kalulushi 132/33kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 9 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 9 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Kalulushi – Nkana Mine Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 14 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 14 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 14 |  |  |  |  |
| 1.3.a | OPGW cable - 24 core | Route km | 14 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 76 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 10 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 61 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 10 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 24 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 36 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Kalulushi – Nkana Mine Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 14 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Kalulushi 132/33/11kV and Nkana Mine 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 14 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 14 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Kalulushi – Kalulushi North 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 5 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 5 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 5 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 5 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 45 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 11 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Kalulushi – Kalulushi North33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 5 km OHL and ADSS |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Kalulushi 132/33/11kV and Kalulushi North 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 5 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 5 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Mufulira – New Chambishi Primary 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 22 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 22 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 22 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 22 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 232 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 29 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 19 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 6 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Mufulira – New Chambishi Primary 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 22 km OHL and ADSS |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Mufulira 132/33kV and New Chambishi Primary 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 22 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 22 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Mufulira - Musonda 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 13 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 13 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 13 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 13 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 212 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 25 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 18 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 3 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Mufulira - Musonda 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 13 km OHL and ADSS |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Mufulira 132/33kV and Musonda 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 13 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 13 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## New Chambishi Primary - Musonda 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 5 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 5 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 5 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 5 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 50 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 6 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 8 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 4 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Chambishi Primary - Musonda 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 5 km OHL and ADSS |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at New Chambishi Primary 33/11kV and Musonda 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 5 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 5 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Musonda - Nsato 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 10 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 10 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 10 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 10 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 117 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 15 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Musonda - Nsato 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 10 km OHL and ADSS |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Musonda 33/11kV and Nsato 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 10 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 10 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Mufulira - Kafironda 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 6 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 6 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 6 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 6 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 52 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 8 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 1 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 2 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Mufulira - Kafironda 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 6 km OHL and ADSS |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Mufulira 132/33/11kV and Kafironda 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 6 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 6 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Mufulira - Ndeke Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 14 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 14 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 14 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 14 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 165 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 21 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 2 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. |  |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Mufulira - Ndeke 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 14 km OHL and ADSS |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Mufulira 132/33kV and Ndeke 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 14 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 14 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Mufulira – Mufulira West Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 6 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 6 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 6 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 6 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 48 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 6 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 26 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 3 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Mufulira – Mufulira West 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 6 km OHL and ADSS |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Mufulira 132/33kV and Mufulira West 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 6 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 6 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Mufulira West - Ndeke Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 16 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 16 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 16 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 16 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 157 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 20 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 28 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 5 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Mufulira West - Ndeke Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 16 km OHL and ADSS |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Mufulira West 33/11kV Ndeke 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 16 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 16 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Mufulira West - Nsato 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 20 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 20 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 20 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 20 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 125 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 13 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 115 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 16 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Mufulira West - Nsato 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 20 km OHL and ADSS |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Mufulira West 33/11kV and Nsato 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 20 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 20 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Ndeke - Mokambo 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 19 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 19 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 19 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 19 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 217 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 26 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Ndeke - Mokambo 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 19 km OHL and ADSS |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Ndeke 33/11kV and Mokambo 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 19 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 19 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Lufwanyama - Funda Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 24 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 24 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 24 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 24 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 262 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 29 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 26 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 7 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Lufwanyama - Funda Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 24 km OHL and ADSS |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Lufwanyama 132/33/11kV Funda 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 24 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 24 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Funda – Luswishi Farm Block 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 14 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 14 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 14 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 14 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 262 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 29 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 26 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 7 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Funda – Luswishi Farm Block 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 14 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Funda 33/11kV – Luswishi Farm Block 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 14 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 14 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## 33kV Lines Total Costs

| Item | Description | Total Price 1 CIP USD | Total Price 2 DDP USD |
| --- | --- | --- | --- |
| 1 | Chingola - Lulamba 33kV line |  |  |
| 2. | Kabundi - Mulonga 33kV line |  |  |
| 3. | Mulonga - Fitobaula 33kV line |  |  |
| 4 | Chililabombwe – Chililabombwe North Double Circuit 33kV Line |  |  |
| 5 | Chililabombwe – Chililabombwe Central Double Circuit 33kV |  |  |
| 6 | Chililabombwe – Kakoso Double Circuit 33kV |  |  |
| 7 | Chililabombwe North – Chililabombwe Central Double Circuit 33kV |  |  |
| 8 | Chililabombwe North – Kasumbalesa Double Circuit 33kV |  |  |
| 9 | Chililabombwe North – Kawama Double Circuit 33kV |  |  |
| 10 | Kawama – Kakoso Double Circuit 33kV Line |  |  |
| 11 | Kakoso -Fitobaula Double Circuit 33kV Line |  |  |
| 12 | New Kitwe – Mwambashi Double Circuit 33kV line |  |  |
| 13 | New Kitwe – Nkana East Double Circuit 33kV line |  |  |
| 14 | Nkana East - Luangwa Double Circuit 33kV line |  |  |
| 15 | Luangwa – Nkana Mine Double Circuit 33kV line |  |  |
| 16 | Mwambashi – New Chimwemwe Double Circuit 33kV line |  |  |
| 17 | New Chimwemwe – New Scaw Double Circuit 33kV line |  |  |
| 18 | Kalulushi - New Scaw Double Circuit 33kV line |  |  |
| 19 | Kalulushi Airpot – Luswishi T Double Circuit 33kV line |  |  |
| 20 | Kalulushi Airpot – Nkana Mine Double Circuit 33kV line |  |  |
| 21 | Kalulushi Airpot – Lwamisamba Double Circuit 33kV line |  |  |
| 22 | Lwamisamba - Chibuluma Double Circuit 33kV line |  |  |
| 23 | Lwamisamba - Kalulushi Double Circuit 33kV line |  |  |
| 24 | Kalulushi – Nkana Mine Double Circuit 33kV line |  |  |
| 25 | Kalulushi – Kalulushi North 33kV line |  |  |
| 26 | Mufulira – New Chambishi Primary 33kV line |  |  |
| 27 | Mufulira – Musonda 33kV line |  |  |
| 28 | New Chambishi – Musonda 33kV line |  |  |
| 29 | Musonda – Nsato 33kV line |  |  |
| 30 | Mufulira – Kafironda 33kV line |  |  |
| 31 | Mufulira – Ndeke Double Circuit 33kV line |  |  |
| 32 | Mufulira – Mufulira West Double Circuit 33kV line |  |  |
| 33 | Mufulira West - Ndeke West Double Circuit 33kV line |  |  |
| 34 | Mufulira West - Nsato West 33kV line |  |  |
| 35 | Ndeke - Mokambo West Double Circuit 33kV line |  |  |
| 36 | Lufwanyama – Funda Double Circuit 33kV line |  |  |
| 37 | Funda – Luswishi Farm Block 33kV line |  |  |
| 4. | GRAND TOTAL (To Bid Form) |  |  |
|  | Name of Bidder |  |  |
|  | Signature of Bidder |  |  |

# 11kV Feeders

## Kabundi 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. | 100mmsq. X 3C 11kV XLPE cable | Route km | 0 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 0 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 11kV overhead line using 100mmsq ACSR | Route km | 12 |  |  |  |  |
| 2.2. | ADSS Cable – 24 core | Route km | 12 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Nchanga 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. | 185mmsq 3C 11kv XLPE cable | Route km | 2.4 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 11kV overhead line using 100mmsq ACSR | Route km | 0 |  |  |  |  |
| 2.2. | ADSS Cable - 24 core | Route km | 2.4 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Refractory 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. | 185mmsq 3C 11kv XLPE cable | Route km | 7.05 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 11kV overhead line using 100mmsq ACSR | Route km | 0 |  |  |  |  |
| 2.2. | ADSS Cable – 24 core | Route km | 7.05 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Fitobaula 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. | 185mmsq 3C 11kv XLPE cable | Route km | 0 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 0 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 11kV overhead line using 100mmsq ACSR | Route km | 1.2 |  |  |  |  |
| 2.2. | ADSS Cable – 24 core | Route km | 1.2 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Kasumbalesa 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. | 185mmsq 3C 11kv XLPE cable | Route km | 0 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 0 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 11kV overhead line using 100mmsq ACSR | Route km | 11.2 |  |  |  |  |
| 2.2. | ADSS Cable – 24 core | Route km | 11.2 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Kawama 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. | 185mmsq 3C 11kv XLPE cable | Route km | 0 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 0 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 11kV overhead line using 100mmsq ACSR | Route km | 3.0 |  |  |  |  |
| 2.2. | ADSS Cable – 24 core | Route km | 3.0 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Kakoso 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. | 185mmsq 3C 11kv XLPE cable | Route km | 0 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 0 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 11kV overhead line using 100mmsq ACSR | Route km | 7.8 |  |  |  |  |
| 2.2. | ADSS Cable – 24 core | Route km | 7.8 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Chililabombwe North 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. | 185mmsq 3C 11kv XLPE cable | Route km | 2.3 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 11kV overhead line using 100mmsq ACSR | Route km | 0 |  |  |  |  |
| 2.2. | ADSS Cable – 24 core | Route km | 2.3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Chililabombwe 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. | 185mmsq 3C 11kv XLPE cable | Route km | 1.9 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 11kV overhead line using 100mmsq ACSR | Route km | 1.5 |  |  |  |  |
| 2.2. | ADSS Cable – 24 core | Route km | 3.4 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Chimwemwe 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. | 185mmsq 3C 11kv XLPE cable | Route km | 5.5 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 11kV overhead line using 100mmsq ACSR | Route km | 0 |  |  |  |  |
| 2.2. | ADSS Cable – 24 core | Route km | 5.5 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

      - Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## New Scaw 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. | 185mmsq 3C 11kv XLPE cable | Route km | 6.5 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 11kV overhead line using 100mmsq ACSR | Route km | 4.1 |  |  |  |  |
| 2.2. | ADSS Cable – 24 core | Route km | 10.6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Luangwa 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. | 185mmsq 3C 11kv XLPE cable | Route km | 0.250 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 11kV overhead line using 100mmsq ACSR | Route km | 1.6 |  |  |  |  |
| 2.2. | ADSS Cable – 24 core | Route km | 1.7 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Nkana Mine 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. | 185mmsq 3C 11kv XLPE cable | Route km | 0.1 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 11kV overhead line using 100mmsq ACSR | Route km | 14.5 |  |  |  |  |
| 2.2. | ADSS Cable – 24 core | Route km | 14.6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## New Kitwe 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. | 185mmsq 3C 11kv XLPE cable | Route km | 0 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 0 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 11kV overhead line using 100mmsq ACSR | Route km | 16.5 |  |  |  |  |
| 2.2. | ADSS Cable – 24 core | Route km | 16.5 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

      - Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

      - Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

      - Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

      - Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Kalulushi 11kV Feeders

      - Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. | 185mmsq 3C 11kv XLPE cable | Route km | 3.2 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 11kV overhead line using 100mmsq ACSR | Route km | 0 |  |  |  |  |
| 2.2. | ADSS Cable – 24 core | Route km | 3.2 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

      - Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

      - Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

      - Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

      - Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Lwamisamba 11kV Feeders

      - Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. | 185mmsq 3C 11kv XLPE cable | Route km | 0 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 0 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 11kV overhead line using 100mmsq ACSR | Route km | 3 |  |  |  |  |
| 2.2. | ADSS Cable – 24 core | Route km | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

      - Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

      - Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

      - Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

      - Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Kalulushi Airport 11kV Feeders

      - Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. | 185mmsq 3C 11kv XLPE cable | Route km | 0 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 0 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 11kV overhead line using 100mmsq ACSR | Route km | 4 |  |  |  |  |
| 2.2. | ADSS Cable – 24 core | Route km | 4 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

      - Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

      - Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

      - Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

      - Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Kalulushi North 11kV Feeders

      - Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. | 185mmsq 3C 11kv XLPE cable | Route km | 0.1 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 11kV overhead line using 100mmsq ACSR | Route km | 0 |  |  |  |  |
| 2.2. | ADSS Cable-24 core | Route km | 0.1 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

      - Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

      - Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

      - Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

      - Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## 3.3kV Network in Kalulushi 11kV Feeders

      - Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. | 70mmsq 3C 11kv XLPE cable | Route km | 6.8 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 11kV overhead line using 100mmsq ACSR | Route km | 0 |  |  |  |  |
| 2.2. | ADSS Cable-24 core | Route km | 6.8 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

      - Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

      - Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

      - Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

      - Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Kankoyo, Sub 94 & Muf West 11kV Feeders

      - Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. | 185mmsq 3C 11kv XLPE cable | Route km | 2 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 11kV overhead line using 100mmsq ACSR | Route km | 8.7 |  |  |  |  |
| 2.2. | ADSS Cable – 24 core | Route km | 8.7 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

      - Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

      - Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

      - Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

      - Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Mufulira Substation [Power plant] 11kV Feeders

      - Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. | 185mmsq 3C 11kv XLPE cable | Route km | 4 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 11kV overhead line using 100mmsq ACSR | Route km | 8.5 |  |  |  |  |
| 2.2. | ADSS Cable – 24 core | Route km | 8.5 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

      - Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

      - Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

      - Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

      - Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## 11kV FEEDERS – TOTALS

| Item | Description | Total Price 1 CIP USD | Total Price 2 DDP USD |
| --- | --- | --- | --- |
| 1 | Nchanga 11kV Feeders |  |  |
| 2. | Refractory 11kV Feeders |  |  |
| 3. | Fitobaula 11kV Feeders |  |  |
| 4 | Kasumbalesa 11kV Feeders |  |  |
| 5 | ## Kawama 11kV Feeders |  |  |
| 6 | ## Kakoso 11kV Feeders |  |  |
| 7 | ## Chililabombwe North 11kV Feeders |  |  |
| 8 | ## Chililabombwe 11kV Feeders |  |  |
| 9 | Chimwemwe 11kV Feeders |  |  |
| 10 | New Scaw 11kV Feeders |  |  |
| 11 | Luangwa 11kV Feeders |  |  |
| 12 | Nkana Mine 11kV Feeders |  |  |
| 13 | New Kitwe 11kV Feeders |  |  |
| 14 | Kalulushi 11kV Feeders |  |  |
| 15 | Lwamisamba 11kV Feeders |  |  |
| 16 | Kalulushi Airport 11kV Feeders |  |  |
| 17 | Kalulushi North 11kV Feeders |  |  |
| 18 | 3.3kV Network in Kalulushi 11kV Feeders |  |  |
| 19 | ## Kankoyo, Sub 94 & Muf West 11kV Feeders |  |  |
| 20 | Mufulira Substation [Power plant] 11kV Feeders |  |  |

# SCHEDULE 6: PRELIMINARY AND GENERAL

| Schedule 7: Installation service |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Preliminary and General |  |  | Sum |  |  |  |  |
|  | Performance Security |  |  | Sum |  |  |  |  |
| 1.1 | Insurance for works, plant etc as per conditions of contract |  |  | Sum |  |  |  |  |
| 1.2 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ |  |  | Sum |  |  |  |  |
| 1.3 | Establishment/Demobilisation of site camp/stores |  |  | Sum |  |  |  |  |
| 1.4 | Contractor’s facilities and administration |  |  | Sum |  |  |  |  |
| 1.5 | Provide camps, offices and storages |  |  | Sum |  |  |  |  |
| 1.6 | Contractor’s supervision and administration on and off site |  |  | Sum |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

33kV Lines

# SCHEDULE 7: PROJECT MANAGEMENT

| G. Project Management |  |  |  |
| --- | --- | --- | --- |
| Schedule 8. Project Management, Design Engineering, Training, Insurance, Test and others |  |  |  |
| Item | Description | Unit Price | Total |
|  |  | (USD) | (USD) |
| Copperbelt-Phase 1-001 | Project houses furnishing per project house (Transmission lines and substations two houses) |  |  |
| Copperbelt-Phase 1-002 | Twelve (12) Two-way radios for Line and Substation work |  |  |
| Copperbelt-Phase 1-003 | Eight (8) Transmission line inspection tools (Cameras and binoculars) |  |  |
| Copperbelt-Phase 1-004 | Equipment familiarization training – Power Transformers: 15 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-005 | Equipment familiarization training – Protection System: 10 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-006 | Equipment familiarization training – Substation Automation and Control (SCADA): 10 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-007 | Equipment familiarization training on each– OPGW terminal equipment/telecoms:10 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-008 | Equipment familiarization training –HV Switchgear: 15 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-009 | Training in Project Management (World Bank Accredited Programs) 15 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-010 | Vehicle fuel and maintenance |  |  |
| Copperbelt-Phase 1-011 | Pre- conceptual designs validation of equipment sizing study |  |  |
| Copperbelt-Phase 1-012 | Factory acceptance tests - Power transformers: 15 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 10 days. |  |  |
| Copperbelt-Phase 1-013 | Factory acceptance tests - Switchgear: 10 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. (Includes circuit breakers, disconnectors, instrument transformers) |  |  |
| Copperbelt-Phase 1-014 | Factory acceptance tests - protection system/metering equipment: 3 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 7 days. |  |  |
| Copperbelt-Phase 1-015 | Factory acceptance tests - substation automation and control (SCADA): 10 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-016 | Factory Acceptance Tests - OPGW cable,terminal equipment and other telecoms equipment: 10 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-017 | a. Six Hard top deluxe Land cruisers |  |  |
|  | b. Six (6) 4x4 double cab Toyota Hilux |  |  |
|  | c. Six (6) 4x4 double cub landcruiser vans |  |  |
| Copperbelt-Phase 1-018 | Accommodation and project office expense |  |  |
| Copperbelt-Phase 1-019 | Site allowances for ZESCO Ltd project counterparts for the entire duration of the Project | 600,000 | 600,000 |
| Copperbelt-Phase 1-021 | Tower type testing participation: 10 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-022 | Transmission line design training : 10 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-023 | Factory acceptance tests - Metering: 10 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 10 days. |  |  |
| Copperbelt-Phase 1-024 | Cost of handling, managing and disbursement to beneficiaries of the project management funds |  |  |
| Copperbelt-Phase 1-025 | Environmental Management Mitigation funds | 600,000 | 600,000 |
|  |  | TOTAL |  |

# SCHEDULE 8: PROJECT MANDATORY SPARES LIST

| Copperbelt Network Reinforcement Project list of Mandatory spares |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 8. Plant and Equipment Supplied From Abroad - Spares |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Qty. | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| a. | Main Equipment |  |  |  |  |  |  |
| CNERP- 001 | 330/132/11kV 160 MVA 132/33kV 40MVA, 132/11kV 40MVA, 33/11kV 31.5MVA, 33/11kV 12.5MVA, Three phase power transformer spares; a. Two (2) 330kV bushing per transformer type b. four (4) 132kV bushing per transformer type c. four (4) 11kV bushing per transformer type d. four (4) 33kV bushing per transformer type e. four (4) dehydrating breathers per transformer type f. Four (4) Buchholz relays per transformer type g. Four (4) Oil level indicator per transformer type h. Two (2) Oil surge relays per transformer type i. Two (02) Winding Temperature Indicators per transformer type j. Tow (02) Oil temperature Indicators | each | a,b,c,d,e, f,g,h,i,j |  |  |  |  |
| CNERP- 002 | Circuit Breaker2 - Live Tank one of each of the following voltage levels. - 330kV (one) - 132kV (three) - 33kV (six) - 11kV (four) | each | a,b,c,d,e, |  |  |  |  |
| CNERP- 003 | Line disconnect switch, Motor Operated -each of the following voltage levels. - 330kV (One) - 132kV (Three) - 33kV (Three) | each | a,b,c |  |  |  |  |
| CNERP - 004 | VTs one for each of the following voltage levels: - 330kV (one) - 132kV (four) - 33kV (six) - 11kV (four) | each | a,b,c,d,e |  |  |  |  |
| CNERP - 005 | Surge arresters, one for each of the following voltage levels; - 330kV (two) - 132kV (six) - 33kV (Ten) - 11kV (8) | each | a,b,c,d |  |  |  |  |
| CNERP - 006 | Post mounted CTs, one for each of the following voltage levels. - 330kV (two) - 132kV (four) - 88kV (four) - 33kV (Eight) - 11kV (six) | each | a,b,c,d,e |  |  |  |  |
| b. | Secondary equipment |  |  |  |  |  |  |
| CNERP - 007 | a. Eight (08) distance protection relays b. Eight (8) line differential protection relays. c. Four (4) Transformer differential protection relay per type of Transformer d. Eight (8) Overcurrent/earth fault protection relay per voltage level | each | a,b c,d,e |  |  |  |  |
| CNERP - 008 | Control cables: One drum (500metre length) per size of control cable | Lot | 1 |  |  |  |  |
| CNERP - 009 | SCADA: Critical spares based on solution - One (01) Station Server Computer of type installed at 330kV Substation - One (01) Station Gateway Computer of type installed at 330kV Substation - One (01) Operator Workstation Computer of type installed at 330kV Substation - One (01) Engineering Workstation Computer of type installed at 330kV Substation - One (01) BCU of type installed at 330kV Substation - One (01) Ethernet Switch of the type installed at 330kV substation - One (01) Inverter of the type installed at 330kV substation - Two (02) Display Screen of the type installed at 330kV Substation - Four (04) Binary Input card for BCU installed at 330kV Substation - Two (02) Binary Output card for BCU installed at 330kV Substation - One (01) AC Analog Input card for BCU installed at 330kV substation - Two (02) Station Server Computer of type installed at 132kV Substation - Two (02) Station Gateway Computer of type installed at 132kV Substation - One (02) Operator Workstation Computer of type installed at 132kV Substation - One (02) Engineering Workstation Computer of type installed at 132kV Substation - Three (03) BCU of type installed at 132kV Substation - Two (02) Ethernet Switch of the type installed at 132kV substation - Two (02) Inverter of the type installed at 132kV substation - Four (04) Display Screen of the type installed at 132kV Substation - Six (06) Binary Input card for BCU installed at 132kV Substation - Four (04) Binary Output card for BCU installed at 132kV Substation - Four (04) AC Analog Input card for BCU installed at 132kV substation - Four (04) Power Supply module for BCU installed at 132kV Substation - Three (03) Station Gateway of type installed at 33kV Substation - Six (06) BCU of type installed at 33kV Substation - Eight (08) Binary Input card for BCU installed at 33kV Substation - Four (04) Binary Output card for BCU installed at 33kV Substation - Six (06) AC Analog Input card for BCU installed at 33kV substation - Six (06) Power Supply module for BCU installed at 33kV | each | a, b c, d, e, f, |  |  |  |  |
| CNERP - 010 | Telecoms spares as follows: - OTN Processor card - OTN cross connect card - OTN 10G card - OTN 100G card - OTN WSUB-9 card - OTN Transmission card (pair) - PTN Processor card - PTN 100G card - PTN 10G card - SDH NCP card - SDH QXi card - SDH 2 port x OL64 - CESM1 - SAMO2 - SAMO1 - OPIC - Charger control card - Charger modules | Each | 2 |  |  |  |  |
|  | Secondary Equipment and Material |  |  |  |  |  |  |
| 3 | 11 kV- Equipment and Material |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| CNERP - 011 | 100kVA 11/0.4kV Station Service Transformer critical spares (11kV bushings, buchholz relays, 0.4kV bushings) | each | 1 |  |  |  |  |
| CNERP - 012 | 11kV switch cabinet (switchboard complete with protection/control) | Each | 1 |  |  |  |  |
| CNERP - 013 | 110/220V DC Station Battery c/w charger | set | 4 |  |  |  |  |
| CNERP - 014 | diesel engine: Critical spares | Lot | 1 |  |  |  |  |
|  | Subtotal for 11 kV Material and Equipment |  |  |  |  |  |  |
| 4 | Other equipment |  |  |  |  |  |  |
| CNERP - 015 | SF6 Gas Analyzer | each | 8 |  |  |  |  |
| CNERP - 016 | Motorised High Voltage Hydraulic crimping tool (petrol powered) | each | 8 |  |  |  |  |
| CNERP - 017 | Oil filtration machine with regeneration function – 15,000 litres per hour | each | 4 |  |  |  |  |
| CNERP - 018 | Omicron CMC356 test set full package | each | 8 |  |  |  |  |
| CNERP - 019 | Omicron CPC100 plus TD15 test set full package | each | 6 |  |  |  |  |
| CNERP - 020 | Testrano Transformer test set | each | 4 |  |  |  |  |
| CNERP - 021 | Bauer Cable Pressure tester up to 80kV | each | 3 |  |  |  |  |
| CNERP - 021 | Omicron StationScout Substation Automation Testing System for up to 100 IEDs | Each | 1 |  |  |  |  |
| CNERP - 022 | Omicron StationGuard Substation Automation System Cybersecurity Solution for up to 100 IEDs | Each | 1 |  |  |  |  |
| CNERP - 023 | ABB IET600-Licence Dongle | Each | 4 |  |  |  |  |
| CNERP - 024 | Laptops pre -loaded with engineering software and licences for programing and interrogating IEDs | each | 8 |  |  |  |  |
| CNERP – 025 | Doble M5400 SFRA test set | each | 4 |  |  |  |  |
|  | Subtotal for other Equipment |  |  |  |  |  |  |
| Sub total |  |  |  |  |  |  |  |

# SCHEDULE 9:GRAND TOTAL

| Item | Description | TOTAL PRICE Excluding Duties and VAT (USD) | TOTAL PRICE Including Duties and VAT (USD) |
| --- | --- | --- | --- |
| 1 | 330kV Substations Total |  |  |
| 2 | 330kV Line Works Total |  |  |
| 3 | 132kV KV lines Total |  |  |
| 4 | 132kV Substations Total |  |  |
| 5 | 33kV Substations Total |  |  |
| 6 | 33kV Lines Total |  |  |
| 7 | 11kV Substations Total |  |  |
| 8 | 11kV Lines Total |  |  |
| 9 | Preliminary and General |  |  |
| 10 | Project Management |  |  |
| 11 | Project Mandatory Spares List |  |  |
|  | Bid Price totalled to Bid form |  |  |
|  | Name of bidder |  |  |
|  | Signature |  |  |