SUBSTATION SITES – CHAMBISHI

Points can be navigated to using the coordinates provided in Grid Zone 35L, UTM WGS 84

| S/N | Substation Name | Coordinates |  | Comment |
| --- | --- | --- | --- | --- |
|  |  | Easting (m) | Northing (m) |  |
| 1. | Chambishi East 330/132/66Kv Substation | 620424.05 | 8601023.76 | Extension to 180m x 310m |
|  |  | 620426.10 | 8600714.57 |  |
|  |  | 620241.72 | 8600717.63 |  |
|  |  | 620246.14 | 8601025.37 |  |
| 2. | New Chambishi Primary 33/11kV Substation | 612592.00 | 8602652.00 | Extension 60m x 100m |
| 3. | Musonda 33/11kV Substation | 615624.00 | 8605163.00 | Proposed 50m x 50m |

LINES – CHAMBISHI

Points can be navigated to using the coordinates provided in Grid Zone 35L, UTM WGS 84

| S/N | Line Name | Distance | Coordinates |  |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Easting (m) |  | Northing (m) |  |
| 1. | 132kV Chambishi East-Mwambashi | 6.1km | TP |  |  | Emanating from Chambishi East 330/132/66kV Substation |
|  |  |  | CP1 | 620628.69 | 8600653.36 | Corner point |
|  |  |  | CP2 | 623847.97 | 8597404.69 |  |
|  |  |  | CP3 | 623011.99 | 8596558.81 |  |
|  |  |  | CP4 | 622945.09 | 8596442.08 |  |
|  |  |  | CP5 | 622307.64 | 8595878.35 |  |
|  |  |  | CP6 | 622008.24 | 8595629.73 |  |
|  |  |  | CP7 | 621555.15 | 8594751.43 |  |
|  |  |  | CP8 | 621974.85 | 8593954.01 |  |
|  |  |  | TMP | 621800.00 | 8593456.00 | Terminating at Mwambashi 132/66/33kV Substation |
| 2. | 33kV Musonda-Nsato | 10.4km | TP | 615624.00 | 8605163.00 | Emanating from Musonda 33/11kV Substation |
|  |  |  | CP1 | 615705.68 | 8605629.59 | Corner points |
|  |  |  | CP2 | 615589.15 | 8606010.57 |  |
|  |  |  | CP3 | 614875.83 | 8606004.20 |  |
|  |  |  | CP4 | 613850.81 | 8606331.52 |  |
|  |  |  | CP5 | 615814.14 | 8611219.72 |  |
|  |  |  | CP6 | 615779.97 | 8611296.76 |  |
|  |  |  | CP7 | 616450.51 | 8613042.89 |  |
|  |  |  | CP8 | 616229.47 | 8613313.45 |  |
|  |  |  | TMP | 616290.00 | 8613523.00 | Terminating at Nsato 33/11kV Substation |
| 3. | 33kV Musonda-Kafironda | 14.2km | TP | 615624.00 | 8605163.00 | Emanating from Musonda 33/11kV Substation |
|  |  |  | CP1 | 615721.21 | 8605636.60 | Corner points |
|  |  |  | CP2 | 615619.66 | 8605970.71 |  |
|  |  |  | CP3 | 615804.09 | 8606088.55 |  |
|  |  |  | CP4 | 615920.83 | 8605925.88 |  |
|  |  |  | CP5 | 617440.26 | 8605412.00 |  |
|  |  |  | CP6 | 617714.72 | 8604811.15 |  |
|  |  |  | CP7 | 618309.17 | 8604735.79 |  |
|  |  |  | CP8 | 618991.50 | 8604311.51 |  |
|  |  |  | CP9 | 618926.11 | 8602228.13 |  |
|  |  |  | CP10 | 619847.91 | 8601882.45 |  |
|  |  |  | CP11 | 620089.22 | 8601865.38 |  |
|  |  |  | CP12 | 620789.90 | 8601944.84 |  |
|  |  |  | CP13 | 622886.50 | 8601838.79 |  |
|  |  |  | CP14 | 625782.54 | 8602820.58 |  |
|  |  |  | TMP | 625777.00 | 8602883.00 | Terminating at Existing Kafironda 33/11kV Substation |