SUBSTATION SITES – CHILILABOMBWE

Points can be navigated to using the coordinates provided in Grid Zone 35L, UTM WGS 84

| S/N | Substation Name | Coordinates |  | Comment |
| --- | --- | --- | --- | --- |
|  |  | Easting (m) | Northing (m) |  |
| 1. | Chililabombwe 132/33/11Kv | 590184.95 | 8630831.51 | Proposed 200m X 200m |
|  |  | 590324.77 | 8630681.82 |  |
|  |  | 590183.47 | 8630836.03 |  |
|  |  | 590050.94 | 8630698.93 |  |
| 2. | Kakoso 132/33/11KV | 595264.42 | 8632029.75 | Proposed 200m x 150m |
|  |  | 595289.04 | 8631832.16 |  |
|  |  | 595114.12 | 8631779.91 |  |
|  |  | 595057.81 | 8631963.43 |  |
| 3. | Kawama 33/11KV | 593016.79 | 8635399.70 | Proposed 100m x 100m |
|  |  | 592926.08 | 8635359.73 |  |
|  |  | 592896.34 | 8635456.36 |  |
|  |  | 592991.90 | 8635496.64 |  |
| 4. | Bancroft North 33/11KV | 589226.10 | 8633777.59 | Proposed 100m x 100m |
|  |  | 589168.35 | 8633857.99 |  |
|  |  | 589244.54 | 8633926.01 |  |
|  |  | 589301.17 | 8633839.98 |  |
| 5. | Bancroft Central 33/11KV | 590386.06 | 8632243.22 | Proposed 100m x 100m |
|  |  | 590486.84 | 8632243.09 |  |
|  |  | 590484.58 | 8632140.16 |  |
|  |  | 590393.46 | 8632142.55 |  |
| 6. | Kasumbalesa 33/11KV | 584949.03 | 8641934.68 | Proposed 100m x 100m |
|  |  | 584860.69 | 8641957.10 |  |
|  |  | 584861.48 | 8642062.98 |  |
|  |  | 584956.49 | 8642033.77 |  |
| 7. | Fitobaula 33/11KV | 594429.27 | 8623936.97 | Proposed 100m x 100m |
|  |  | 594500.11 | 8623873.13 |  |
|  |  | 594440.73 | 8623791.85 |  |
|  |  | 594366.41 | 8623849.49 |  |

LINES – CHILILABOMBWE

Points can be navigated to using the coordinates provided in Grid Zone 35L, UTM WGS 84

| S/N | Line Name | Distance | Coordinates |  |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Easting (m) |  | Northing (m) |  |
| 1. | Chingola – Chililabombwe 132kV OHL | 25km | TP | 587453.00 | 8607599.11 | Take off at proposed Chingola 330/132/33 KV Substation |
|  |  |  | CP1 | 586887.00 | 8615133.36 | Corner points |
|  |  |  | CP2 | 591368.20 | 8622025.55 |  |
|  |  |  | CP3 | 591390.62 | 8628248.02 |  |
|  |  |  | CP4 | 589354.50 | 8630056.61 |  |
|  |  |  | TMP | 590088.00 | 8630733.00 | Termination at Proposed Chililabombwe 132/33kV Substation |
| 2. | Kabundi – Kakoso 132KV OHL | 21km | TP | 600269.00 | 8613851.00 | Take off at proposed Kabundi 132/33 KV Substation |
|  |  |  | CP1 | 602589.92 | 8617166.63 | Corner points |
|  |  |  | CP2 | 599720.82 | 8627362.46 |  |
|  |  |  | TMP | 595139.17 | 8631914.31 | Terminating at Kakoso 132/33kV Substation |
| 3. | Kakoso – Chililabombwe 132KV OHL | 9.5km | TP | 595139.17 | 8631914.31 | Take off at proposed Kakoso Substation |
|  |  |  | CP1 | 594931.23 | 8629821.15 | Corner points |
|  |  |  | CP2 | 593903.01 | 8629080.37 |  |
|  |  |  | CP3 | 591472.73 | 8628290.68 |  |
|  |  |  | CP4 | 589548.20 | 8630057.01 |  |
|  |  |  | TMP | 590088.00 | 8630733.00 | Terminates at Proposed Chililabombwe Substation |
| 4. | New Mulonga – Fitobabula 33KV OHL | 4.7km | TP | 597567.00 | 8620445.00 | Take off at proposed New Mulonga 33/11 KV Substation |
|  |  |  | CP1 | 597406.84 | 8620846.77 | Corner points |
|  |  |  | TMP | 594429.00 | 8623831.00 | Terminating at Proposed Fitobabula Substation |
| 5. | Kakoso – Fitobabula 33KV OHL | 10.6km | TP | 595139.17 | 8631914.31 | Take off at proposed Kakoso 132/33KV Substation |
|  |  |  | CP1 | 594967.15 | 8629810.20 | Corner points |
|  |  |  | CP2 | 592558.83 | 8628592.15 |  |
|  |  |  | CP3 | 592952.44 | 8624401.30 |  |
|  |  |  | TMP | 594429.00 | 8623831.00 | Terminating at Proposed Fitobabula 33kV Substation |
| 6. | Kakoso – Kawama 33Kv OHL | 4.7km | TP | 595139.17 | 8631914.31 | Take off at proposed Kakoso 132/33 KV Substation |
|  |  |  | CP1 | 594726.09 | 8634002.68 | Corner points |
|  |  |  | CP2 | 593798.91 | 8635363.68 |  |
|  |  |  | TMP | 592921.94 | 8635364.11 | Terminating at proposed Kawama 33/11KV Substation |
| 7. | Bankroft North – Kawama 33KV OHL | 4.2km | TP | 589212.00 | 8633864.00 | Take off at proposed Bankroft North 33 KV Substation |
|  |  |  | CP1 | 589538.94 | 8634218.70 | Corner points |
|  |  |  | CP2 | 590516.60 | 8634719.07 |  |
|  |  |  | CP3 | 591246.29 | 8634831.80 |  |
|  |  |  | CP4 | 591832.14 | 8635301.83 |  |
|  |  |  | CP5 | 592818.12 | 8635479.51 |  |
|  |  |  | TMP | 592921.94 | 8635364.11 | Terminating at Kawama Substation |
| 8. | Bankroft North – Bankroft Central 33KV OHL | 4.2km | TP | 589212.00 | 8633864.00 | Take off at Proposed Bankroft North Substation |
|  |  |  | CP1 | 589384.03 | 8633629.29 | Corner points |
|  |  |  | CP2 | 589336.70 | 8633516.34 |  |
|  |  |  | CP3 | 589056.37 | 8633289.68 |  |
|  |  |  | CP4 | 588833.79 | 8632615.16 |  |
|  |  |  | CP5 | 588692.47 | 8632029.63 |  |
|  |  |  | CP6 | 588873.06 | 8631910.32 |  |
|  |  |  | CP7 | 589769.07 | 8631908.85 |  |
|  |  |  | CP8 | 589909.33 | 8631849.15 |  |
|  |  |  | CP9 | 590129.02 | 8631843.54 |  |
|  |  |  | CP10 | 590248.84 | 8632275.89 |  |
|  |  |  | CP11 | 590398.14 | 8632259.97 |  |
|  |  |  | TMP | 590432.00 | 8632204.00 | Terminating at Bankroft Central Substation |
| 9. | Chililabombwe – Bankroft Central 33KV OHL | 5km | TP | 590088.00 | 8630733.00 | Take off at Proposed Chililabombwe Substation |
|  |  |  | CP1 | 589482.02 | 8630254.36 |  |
|  |  |  | CP2 | 588564.53 | 8631160.37 |  |
|  |  |  | CP3 | 588486.76 | 8631853.99 |  |
|  |  |  | CP8 | 589909.33 | 8631849.15 |  |
|  |  |  | CP9 | 590129.02 | 8631843.54 |  |
|  |  |  | CP10 | 590248.84 | 8632275.89 |  |
|  |  |  | CP11 | 590398.14 | 8632259.97 |  |
|  |  |  | TMP | 590432.00 | 8632204.00 | Terminating at Bankroft Central Substation |
| 10. | Bankroft North – Kasumbalesa | 9.6km | TP | 589212.00 | 8633864.00 | Take off at Proposed Bankroft North Substation |
|  |  |  | CP1 | 588976.00 | 8634494.00 |  |
|  |  |  | CP2 | 589233.20 | 8634856.04 |  |
|  |  |  | CP3 | 588250.43 | 8635522.18 |  |
|  |  |  | CP4 | 587414.39 | 8636773.38 |  |
|  |  |  | CP5 | 584969.45 | 8641618.87 |  |
|  |  |  | TMP | 584889.00 | 8641983.00 | Terminating at Bankroft Central Substation |