SUBSTATION SITES – KALULUSHI

Points can be navigated to using the coordinates provided in Grid Zone 35L, UTM WGS 84

| S/N | Substation Name | Coordinates |  | Comment |
| --- | --- | --- | --- | --- |
|  |  | Easting (m) | Northing (m) |  |
| 1. | Kalulushi 132/33/11kV | 620570.94 | 8581999.94 | Proposed approx. 60m x 100m |
|  |  | 620631.23 | 8582002.16 |  |
|  |  | 620628.30 | 8581909.83 |  |
|  |  | 620567.13 | 8581898.45 |  |
| 2. | Kalulushi North 33/11kV | 617626.00 | 8582915.00 | Proposed approx. 60m x 80m |
| 3. | Chibuluma 33/11kV | 621756.00 | 8578883.00 | Existing/Proposed Extension |
| 4. | Lwamisamba 33/11kV | 616850.00 | 8576693.00 | Proposed approx. 100m x 100m |
| 5. | Kalulushi Airport 33/11kV | 625128.00 | 8568902.00 | Proposed approx. 100m x 100m |

LINES – KALULUSHI

Points can be navigated to using the coordinates provided in Grid Zone 35L, UTM WGS 84

| S/N | Line Name | Distance | Coordinates |  |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Easting (m) |  | Northing (m) |  |
| 1. | 33kV Kalulushi-Kalulushi North | 4.3km | TP | 8568902.00 | 8581958.00 | Emanating from Kalulushi 132/33/11kV Substation |
|  |  |  | CP1 | 620503.36 | 8581947.76 | Corner points |
|  |  |  | CP2 | 620486.89 | 8581377.64 |  |
|  |  |  | CP3 | 620113.90 | 8581398.24 |  |
|  |  |  | CP4 | 619529.02 | 8581598.73 |  |
|  |  |  | CP5 | 619524.66 | 8581677.29 |  |
|  |  |  | CP6 | 618970.95 | 8582126.76 |  |
|  |  |  | CP7 | 618909.30 | 8582132.30 |  |
|  |  |  | CP8 | 618270.77 | 8582660.66 |  |
|  |  |  | CP9 | 618268.69 | 8582705.59 |  |
|  |  |  | CP10 | 617773.80 | 8583116.94 |  |
|  |  |  | CP11 | 617663.28 | 8583064.79 |  |
|  |  |  | TMP | 617626.00 | 8582915.00 | Terminating at Kalulushi North 33/11kV Substation |
| 2. | 33kV Kalulushi-Lwamisamba | 8.5km | TP | 8568902.00 | 8581958.00 | Emanating from Kalulushi 132/33/11kV Substation |
|  |  |  | CP1 | 620552.60 | 8581051.17 | Corner points |
|  |  |  | CP2 | 620469.83 | 8580920.10 |  |
|  |  |  | CP3 | 619952.83 | 8581000.68 |  |
|  |  |  | CP4 | 619757.13 | 8580531.00 |  |
|  |  |  | CP5 | 619788.60 | 8578843.05 |  |
|  |  |  | CP6 | 619843.68 | 8578547.20 |  |
|  |  |  | CP7 | 619707.73 | 8578414.59 |  |
|  |  |  | CP8 | 618984.77 | 8578587.49 |  |
|  |  |  | CP9 | 618807.23 | 8577450.07 |  |
|  |  |  | CP10 | 618523.69 | 8576832.75 |  |
|  |  |  | TMP | 616850.00 | 8576693.00 | Terminating at Lwamisamba 33/11kV Substation |
| 3. | 33kV Kalulushi-Nkana | 11.8km | TP | 8568902.00 | 8581958.00 | Emanating from Kalulushi 132/33/11kV Substation |
|  |  |  | CP1 | 620570.42 | 8582105.22 | Corner points |
|  |  |  | CP2 | 621044.24 | 8582111.61 |  |
|  |  |  | CP3 | 621320.00 | 8582381.69 |  |
|  |  |  | CP4 | 621692.49 | 8582625.36 |  |
|  |  |  | CP5 | 622696.18 | 8583393.16 |  |
|  |  |  | CP6 | 628430.68 | 8580082.72 |  |
|  |  |  | CP7 | 629016.22 | 8580042.04 |  |
|  |  |  | CP8 | 629699.01 | 8578820.96 |  |
|  |  |  | CP9 | 630088.40 | 8578684.74 |  |
|  |  |  | TMP | 630168.00 | 8578739.00 | Terminating at Nkana Mine 33/11kV Substation |
| 4. | Kalulushi-New Scaw | 12.2km | TP | 8568902.00 | 8581958.00 | Emanating from Kalulushi 132/33/11kV Substation |
|  |  |  | CP1 | 620562.22 | 8582133.54 | Corner points |
|  |  |  | CP2 | 621031.29 | 8582133.47 |  |
|  |  |  | CP3 | 621317.60 | 8582396.46 |  |
|  |  |  | CP4 | 621683.82 | 8582629.26 |  |
|  |  |  | CP5 | 622694.93 | 8583414.50 |  |
|  |  |  | CP6 | 625461.42 | 8581813.57 |  |
|  |  |  | CP7 | 625944.54 | 8582443.85 |  |
|  |  |  | CP8 | 626057.82 | 8582538.42 |  |
|  |  |  | CP9 | 626782.53 | 8582898.11 |  |
|  |  |  | CP10 | 626919.29 | 8582933.15 |  |
|  |  |  | CP11 | 627103.38 | 8582939.39 |  |
|  |  |  | CP12 | 627935.55 | 8582770.86 |  |
|  |  |  | CP13 | 628895.25 | 8583051.06 |  |
|  |  |  | CP14 | 629034.83 | 8583120.90 |  |
|  |  |  | CP15 | 629125.35 | 8583091.38 |  |
|  |  |  | CP16 | 629172.79 | 8582973.71 |  |
|  |  |  | CP17 | 629323.15 | 8583012.41 |  |
|  |  |  | CP18 | 629310.59 | 8583156.86 |  |
|  |  |  | CP19 | 629345.06 | 8583243.76 |  |
|  |  |  | CP20 | 629558.97 | 8583449.80 |  |
|  |  |  | CP21 | 629626.37 | 8583529.26 |  |
|  |  |  | CP22 | 629911.06 | 8584360.49 |  |
|  |  |  | CP23 | 629895.64 | 8584371.24 |  |
|  |  |  | CP24 | 629924.58 | 8584511.66 |  |
|  |  |  | CP25 | 629926.12 | 8584589.82 |  |
|  |  |  | TMP | 629875.91 | 8584687.61 | Terminating at New Scaw 33/11kV Substation |
| 5. | 33kV Lwamisamba-Chibuluma | 6.4km | TP | 616850.00 | 8576693.00 | Emanating from Lwamisamba 33/11kV Substation |
|  |  |  | CP1 | 618538.66 | 8576821.73 | Corner point |
|  |  |  | CP2 | 618825.22 | 8577442.91 |  |
|  |  |  | CP3 | 618885.08 | 8577824.66 |  |
|  |  |  | CP4 | 619343.59 | 8577634.76 |  |
|  |  |  | CP5 | 619486.65 | 8577540.13 |  |
|  |  |  | CP6 | 619748.64 | 8578401.49 |  |
|  |  |  | CP7 | 619831.19 | 8578380.34 |  |
|  |  |  | CP8 | 620096.29 | 8578290.17 |  |
|  |  |  | CP9 | 620304.33 | 8578297.70 |  |
|  |  |  | TMP | 621756.00 | 8578883.00 | Terminating at Chibuluma 33/11kV Substation |
| 6. | 33kV Lwamisamba-Kalulushi Airport | 15km | TP | 616850.00 | 8576693.00 | Emanating from Lwamisamba 33/11kV Substation |
|  |  |  | CP1 | 616906.17 | 8576624.38 | Corner points |
|  |  |  | CP2 | 616786.75 | 8576525.72 |  |
|  |  |  | CP3 | 616683.33 | 8576456.19 |  |
|  |  |  | CP4 | 616586.15 | 8576231.03 |  |
|  |  |  | CP5 | 616567.16 | 8575075.67 |  |
|  |  |  | CP6 | 617407.08 | 8574580.42 |  |
|  |  |  | CP7 | 617267.99 | 8574357.44 |  |
|  |  |  | CP8 | 617537.94 | 8574115.70 |  |
|  |  |  | CP9 | 617685.32 | 8573795.55 |  |
|  |  |  | CP10 | 618032.15 | 8573268.22 |  |
|  |  |  | CP11 | 618885.64 | 8572918.10 |  |
|  |  |  | CP12 | 619178.35 | 8572440.18 |  |
|  |  |  | CP13 | 619192.84 | 8572206.74 |  |
|  |  |  | CP14 | 619408.90 | 8571737.60 |  |
|  |  |  | CP15 | 619602.18 | 8570983.92 |  |
|  |  |  | CP16 | 621310.59 | 8568946.55 |  |
|  |  |  | CP17 | 623301.55 | 8567803.26 |  |
|  |  |  | CP18 | 623923.25 | 8567808.21 |  |
|  |  |  | CP19 | 624633.43 | 8569197.22 |  |
|  |  |  | TMP | 625128.00 | 8568902.00 | Terminating at Kalulushi Airport 33/11kV Substation |
| 7. | 33kV Kalulushi Airport-Nkana Mine | 15.3km | TP | 625128.00 | 8568902.00 | Emanating from Kalulushi Airport 33/11kV Substation |
|  |  |  | CP1 | 625315.69 | 8569070.42 | Corner points |
|  |  |  | CP2 | 625733.80 | 8569218.47 |  |
|  |  |  | CP3 | 625931.00 | 8569457.49 |  |
|  |  |  | CP4 | 627086.75 | 8571608.47 |  |
|  |  |  | CP5 | 628908.82 | 8572527.15 |  |
|  |  |  | CP6 | 629194.83 | 8572706.50 |  |
|  |  |  | CP7 | 629824.88 | 8573003.05 |  |
|  |  |  | CP8 | 630586.96 | 8573251.10 |  |
|  |  |  | CP9 | 631988.08 | 8573950.95 |  |
|  |  |  | CP10 | 630892.31 | 8575194.85 |  |
|  |  |  | CP11 | 631394.12 | 8576284.58 |  |
|  |  |  | CP12 | 631321.10 | 8576356.61 |  |
|  |  |  | CP13 | 631559.11 | 8576894.94 |  |
|  |  |  | CP14 | 629757.90 | 8578223.91 |  |
|  |  |  | TMP | 630168.00 | 8578739.00 | Terminating at Nkana Mine 33/11kV Substation |
| 8. | 33 kV Kalulushi Airport-Luswishi T | 22.6km | TP | 625128.00 | 8568902.00 | Emanating from Kalulushi Airport 33/11kV Substation |
|  |  |  | CP1 | 624640.99 | 8569173.37 | Corner point |
|  |  |  | CP2 | 623938.44 | 8567805.79 |  |
|  |  |  | CP3 | 623888.63 | 8567639.11 |  |
|  |  |  | CP4 | 623770.41 | 8567433.44 |  |
|  |  |  | CP5 | 623493.58 | 8567186.95 |  |
|  |  |  | CP6 | 623011.54 | 8564948.86 |  |
|  |  |  | CP7 | 623367.46 | 8561767.84 |  |
|  |  |  | CP8 | 623617.03 | 8561222.40 |  |
|  |  |  | CP9 | 623817.94 | 8559328.24 |  |
|  |  |  | CP10 | 623563.58 | 8558794.12 |  |
|  |  |  | CP11 | 623156.39 | 8557205.44 |  |
|  |  |  | CP12 | 622120.41 | 8556575.24 |  |
|  |  |  | CP13 | 622088.98 | 8556152.70 |  |
|  |  |  | CP14 | 619330.19 | 8555558.26 |  |
|  |  |  | CP15 | 618175.44 | 8553982.38 |  |
|  |  |  | CP16 | 619790.99 | 8552955.75 |  |
|  |  |  | CP17 | 620300.50 | 8552274.29 |  |
|  |  |  | TMP | 620185.00 | 8551956.00 | Terminating into Luswishi Line |