SUBSTATION SITES – KITWE

Points can be navigated to using the coordinates provided in Grid Zone 35L, UTM WGS 84

| S/N | Substation Name | Coordinates |  | Comment |
| --- | --- | --- | --- | --- |
|  |  | Easting (m) | Northing (m) |  |
| 1. | New Kitwe 132/33/11kV Substation | 638322.55 | 8592007.66 | Proposed approx. 200m x 200m |
|  |  | 638483.95 | 8592124.56 |  |
|  |  | 638612.79 | 8591971.51 |  |
|  |  | 638451.92 | 8591854.61 |  |
| 2. | Mwambashi 132/33kV Substation | 621789.25 | 8593539.63 | Proposed Extension approx. 62m x 100m |
|  |  | 621846.92 | 8593521.71 |  |
|  |  | 621816.45 | 8593426.43 |  |
|  |  | 621757.94 | 8593445.41 |  |
| 3. | New Chimwemwe 33/11kV Substation | 628121.00 | 8588177.00 | Proposed 50m x 68m |
| 4. | New Scaw 33/11kV Substation (Indoor) | 629873.31 | 8584680.12 | Proposed 40m x 60m (Extension) |
| 5. | Nkana Mine 33/11kV Substation | 630175.58 | 8578738.34 | Proposed 100m x 100m |
| 6. | Luangwa 33/11kV Substation | 635571.01 | 8576361.34 | Proposed 30m x 35m |

LINES – KITWE

Points can be navigated to using the coordinates provided in Grid Zone 35L, UTM WGS 84

| S/N | Line Name | Distance | Coordinates |  |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Easting (m) |  | Northing (m) |  |
| 1. | 132kV Chichele-New Kitwe | 45.5km | TP | 670015.00 | 8571417.00 | Emanating from Chichele 132/33kV Substation |
|  |  |  | CP1 | 665581.10 | 8578541.20 | Corner points |
|  |  |  | CP2 | 665950.03 | 8579703.88 |  |
|  |  |  | CP3 | 664297.91 | 8582105.78 |  |
|  |  |  | CP4 | 664098.62 | 8582691.03 |  |
|  |  |  | CP5 | 659728.32 | 8589440.06 |  |
|  |  |  | CP6 | 659233.73 | 8589268.35 |  |
|  |  |  | CP7 | 659128.07 | 8589364.63 |  |
|  |  |  | CP8 | 653463.01 | 8589347.40 |  |
|  |  |  | CP9 | 652600.72 | 8589480.86 |  |
|  |  |  | CP10 | 647936.49 | 8589465.25 |  |
|  |  |  | CP11 | 646923.37 | 8589101.79 |  |
|  |  |  | CP12 | 643706.41 | 8589759.74 |  |
|  |  |  | CP13 | 643313.04 | 8591298.92 |  |
|  |  |  | CP14 | 642003.71 | 8590620.79 |  |
|  |  |  | CP15 | 641570.74 | 8590779.53 |  |
|  |  |  | CP16 | 640239.28 | 8592212.23 |  |
|  |  |  | CP17 | 639381.70 | 8592979.09 |  |
|  |  |  | TMP | 638466.14 | 8591986.96 | Terminating at New Kitwe 132/33/11kV Substation |
| 2. | 132kV Mwambashi-Kalulushi | 12.2km | TP | 621800.00 | 8593456.00 | Emanating from Mwambashi 132/33kV Substation |
|  |  |  | CP1 | 621407.61 | 8592250.10 | Corner points |
|  |  |  | CP2 | 620373.36 | 8589551.18 |  |
|  |  |  | CP3 | 619919.69 | 8587907.90 |  |
|  |  |  | CP4 | 619795.03 | 8587680.76 |  |
|  |  |  | CP5 | 619792.85 | 8587439.94 |  |
|  |  |  | CP6 | 619558.92 | 8586665.93 |  |
|  |  |  | CP7 | 619359.64 | 8584771.53 |  |
|  |  |  | CP8 | 619395.36 | 8584558.27 |  |
|  |  |  | CP9 | 620492.63 | 8582532.01 |  |
|  |  |  | CP10 | 620499.83 | 8581964.04 |  |
|  |  |  | TMP | 620592.00 | 8581958.00 | Terminating at Kalulushi 132/33/11kV Substation |
| 3. | 33kV New Kitwe-Mwambashi | 22.9km | TP | 638466.14 | 8591986.96 | Emanating from New Kitwe 132/33/11kV Substation |
|  |  |  | CP1 | 637417.37 | 8591476.56 | Corner points |
|  |  |  | CP2 | 637137.08 | 8591137.35 |  |
|  |  |  | CP3 | 636994.24 | 8590742.69 |  |
|  |  |  | CP4 | 636729.01 | 8590357.77 |  |
|  |  |  | CP5 | 636387.17 | 8589958.04 |  |
|  |  |  | CP6 | 636116.37 | 8589682.64 |  |
|  |  |  | CP7 | 635913.25 | 8589310.05 |  |
|  |  |  | CP8 | 635842.10 | 8589229.84 |  |
|  |  |  | CP9 | 635787.72 | 8589056.98 |  |
|  |  |  | CP10 | 635608.55 | 8589105.90 |  |
|  |  |  | CP11 | 634279.73 | 8592198.30 |  |
|  |  |  | CP12 | 632765.35 | 8592494.99 |  |
|  |  |  | CP13 | 632084.60 | 8591921.26 |  |
|  |  |  | CP14 | 631494.58 | 8592625.31 |  |
|  |  |  | CP15 | 630899.29 | 8593125.43 |  |
|  |  |  | CP16 | 629772.27 | 8593600.77 |  |
|  |  |  | CP17 | 628525.00 | 8593318.97 |  |
|  |  |  | CP18 | 628480.29 | 8593511.30 |  |
|  |  |  | CP19 | 625622.40 | 8593707.15 |  |
|  |  |  | CP20 | 625196.95 | 8593904.27 |  |
|  |  |  | CP21 | 625117.13 | 8594369.28 |  |
|  |  |  | CP22 | 624722.33 | 8594534.67 |  |
|  |  |  | CP23 | 623450.11 | 8594158.40 |  |
|  |  |  | CP24 | 623630.89 | 8593689.42 |  |
|  |  |  | CP25 | 623209.51 | 8593615.57 |  |
|  |  |  | CP26 | 623020.85 | 8593709.49 |  |
|  |  |  | CP27 | 621942.07 | 8594058.01 |  |
|  |  |  | TMP | 621800.00 | 8593456.00 | Terminating at Mwambashi 132/33kV Substation |
| 4. | 33kV New Kitwe-Luangwa | 18.8km | TP | 638466.14 | 8591986.96 | Emanating from New Kitwe 132/33/11kV Substation |
|  |  |  | CP1 | 638113.54 | 8590868.84 | Corner points |
|  |  |  | CP2 | 638365.03 | 8590733.65 |  |
|  |  |  | CP3 | 638704.66 | 8589285.50 |  |
|  |  |  | CP4 | 638698.59 | 8588664.84 |  |
|  |  |  | CP5 | 638531.22 | 8586458.67 |  |
|  |  |  | CP6 | 637445.70 | 8584822.83 |  |
|  |  |  | CP7 | 638689.29 | 8580491.11 |  |
|  |  |  | CP8 | 638342.00 | 8579707.48 |  |
|  |  |  | CP9 | 638038.88 | 8579352.20 |  |
|  |  |  | CP10 | 637429.21 | 8579120.04 |  |
|  |  |  | CP11 | 637314.54 | 8578945.16 |  |
|  |  |  | CP12 | 637261.21 | 8578744.53 |  |
|  |  |  | CP13 | 637162.70 | 8578055.32 |  |
|  |  |  | CP14 | 637385.38 | 8577789.19 |  |
|  |  |  | CP15 | 637311.21 | 8577711.16 |  |
|  |  |  | CP16 | 637523.01 | 8577455.88 |  |
|  |  |  | CP17 | 637393.80 | 8577248.27 |  |
|  |  |  | CP18 | 636903.23 | 8577016.00 |  |
|  |  |  | CP19 | 636855.73 | 8576780.07 |  |
|  |  |  | CP20 | 636423.53 | 8576742.37 |  |
|  |  |  | CP21 | 636064.28 | 8576845.25 |  |
|  |  |  | CP22 | 635798.09 | 8576854.24 |  |
|  |  |  | CP23 | 635714.40 | 8576497.72 |  |
|  |  |  | TMP | 635571.01 | 8576361.34 | Terminating at Luangwa 33/11kV Substation |
| 5. | 33kV Luangwa-Nkana Mine | 9.4km | TP | 635571.00 | 8576361.00 | Emanating from Luangwa 33/11kV Substation |
|  |  |  | CP1 | 635531.38 | 8576395.42 | Corner points |
|  |  |  | CP2 | 635505.26 | 8576385.78 |  |
|  |  |  | CP3 | 635158.71 | 8576343.41 |  |
|  |  |  | CP4 | 634381.67 | 8575685.29 |  |
|  |  |  | CP5 | 634362.15 | 8575679.90 |  |
|  |  |  | CP6 | 633186.33 | 8574677.53 |  |
|  |  |  | CP7 | 631364.57 | 8576371.33 |  |
|  |  |  | CP8 | 631609.88 | 8576918.43 |  |
|  |  |  | CP9 | 629803.67 | 8578238.51 |  |
|  |  |  | TMP | 630175.00 | 8578738.00 | Terminating at Nkana Mine 33/11kV Substation |
| 6. | 33kV Mwambashi-New Chimwemwe | 9.3km | TP | 621800.00 | 8593456.00 | Emanating from Mwambashi 132/33kV Substation |
|  |  |  | CP1 | 621894.47 | 8593455.44 | Corner points |
|  |  |  | CP2 | 622062.57 | 8593943.60 |  |
|  |  |  | CP3 | 623024.31 | 8593626.30 |  |
|  |  |  | CP4 | 623303.96 | 8593465.60 |  |
|  |  |  | CP5 | 623507.05 | 8593266.79 |  |
|  |  |  | CP6 | 624906.52 | 8591351.34 |  |
|  |  |  | CP7 | 624903.98 | 8591254.83 |  |
|  |  |  | CP8 | 625049.43 | 8591067.45 |  |
|  |  |  | CP9 | 625143.15 | 8591035.82 |  |
|  |  |  | CP10 | 626676.94 | 8589019.16 |  |
|  |  |  | CP11 | 626808.17 | 8588896.03 |  |
|  |  |  | CP12 | 626929.82 | 8588793.37 |  |
|  |  |  | CP13 | 627078.50 | 8588691.73 |  |
|  |  |  | CP14 | 628057.15 | 8588120.60 |  |
|  |  |  | TMP | 628121.00 | 8588177.00 | Terminating at New Chimwemwe 33/11kV Substation |
| 7. | 33kV New Chimwemwe-New Scaw | 5.7km | TP | 628121.00 | 8588177.00 | Emanating from New Chimwemwe 33/11kV Substation |
|  |  |  | CP1 | 628086.30 | 8588099.23 | Corner points |
|  |  |  | CP2 | 629257.06 | 8587414.64 |  |
|  |  |  | CP3 | 629377.03 | 8587316.18 |  |
|  |  |  | CP4 | 629334.44 | 8587268.14 |  |
|  |  |  | CP5 | 629258.70 | 8587216.42 |  |
|  |  |  | CP6 | 629279.99 | 8587152.78 |  |
|  |  |  | CP7 | 629101.85 | 8586958.40 |  |
|  |  |  | CP8 | 629094.46 | 8586913.18 |  |
|  |  |  | CP9 | 629157.01 | 8586890.42 |  |
|  |  |  | CP10 | 629249.75 | 8586812.49 |  |
|  |  |  | CP11 | 629283.50 | 8586800.46 |  |
|  |  |  | CP12 | 629439.35 | 8586678.63 |  |
|  |  |  | CP13 | 629682.56 | 8586284.35 |  |
|  |  |  | CP14 | 629644.84 | 8586253.18 |  |
|  |  |  | CP15 | 629079.60 | 8586245.13 |  |
|  |  |  | CP16 | 628884.04 | 8586135.22 |  |
|  |  |  | CP17 | 628975.92 | 8585954.67 |  |
|  |  |  | CP18 | 628997.79 | 8585923.48 |  |
|  |  |  | CP19 | 629199.06 | 8585504.77 |  |
|  |  |  | CP20 | 629205.26 | 8585436.45 |  |
|  |  |  | CP21 | 629378.00 | 8585400.40 |  |
|  |  |  | CP22 | 629479.33 | 8585359.96 |  |
|  |  |  | CP23 | 629523.03 | 8585328.13 |  |
|  |  |  | CP24 | 629611.51 | 8585238.21 |  |
|  |  |  | CP25 | 629741.57 | 8585023.33 |  |
|  |  |  | CP26 | 629873.39 | 8584779.00 |  |
|  |  |  | CP27 | 629898.11 | 8584725.36 |  |
|  |  |  | CP28 | 629873.00 | 8584680.00 | Terminating at New Scaw 33/11kV Substation |