SUBSTATION SITE – LUFWANYAMA

Points can be navigated to using the coordinates provided in Grid Zone 35L, UTM WGS 84

| S/N | Substation Name | Coordinates |  | Comment |
| --- | --- | --- | --- | --- |
|  |  | Easting (m) | Northing (m) |  |
| 1. | Luswishi Substation 132/33/11KV | 528618.00 | 8568756.00 | Proposed 200m X 200m |
|  |  | 528818.00 | 8568807.00 |  |
|  |  | 528855.00 | 8568609.00 |  |
|  |  | 528665.00 | 8568554.00 |  |

LINES – LUFWANYAMA

Points can be navigated to using the coordinates provided in Grid Zone 35L, UTM WGS 84

| S/N | Line Name | Distance | Coordinates |  |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Easting (m) |  | Northing (m) |  |
| 1. | Chingola – Luswishi 132kV OHL | 85km | TP | 587453.00 | 8607599.11 | Take off at proposed Chingola 330/132/33 KV Substation |
|  |  |  | CP1 | 585964.17 | 8606390.66 | Corner points |
|  |  |  | CP2 | 591513.16 | 8597388.00 |  |
|  |  |  | CP3 | 578257.99 | 8592177.81 |  |
|  |  |  | CP4 | 562789.71 | 8580240.36 |  |
|  |  |  | CP5 | 528833.45 | 8569110.05 |  |
|  |  |  | TMP | 528724.00 | 8568745.00 | Termination at Proposed Luswishi 132/33/11kV Substation |