BIDDING DOCUMENT

__________________________

TENDER FOR ENGINEERING, PROCUREMENT AND CONSTRUCTION (EPC) WORKS OF COPPERBELT NETWORK REINFORCEMENT PROJECT (PACKEGE B) - TENDER NO. ZESCO/003/2024 - ZESCO LIMITED

ZESCO Limited

Stand Number 6949

Great East Road

P. O Box 33304

Lusaka, Zambia

Tel: 260 211 223971

Fax: 260 211 223971

Part 4: Price Schedules

JANUARY 2024

Contents

1 PREAMBLE	7

2 DAYWORK	8

3 PLACES OF DELIVERY	10

4 CURRENCIES	11

5 ABBREVIATIONS	11

6 330kV SUBSTATIONS	12

6.1 Luanshya 330/132/11 kV Substation	12

6.2 Kabwe Stepdown 330/88/66kV Substation	31

6.3 Kitwe 330/220/66 kV Substation	38

6.4 Luano 330/220/66 kV Substation	45

6.5 Schedule 6: 330kV Substations Total Cost	51

7 330KV TRANSMISSION LINES	53

7.1 Kabwe Luano Line in Line out into Luanshya 330kV Substation	53

7.2 Schedule 6: 330kV Transmission Lines Total Cost	93

8 132kV TRANSMISSION LINES	94

8.1 Luanshya Mpongwe 132kV Double Circuit line	94

8.2 Luanshya - Chichele 132kV Double Circuit line	119

8.3 Luanshya - Bwana Mkubwa 132kV Double Circuit line	143

8.4 Luanshya - Kafulafuta 132kV Double Circuit line	167

8.5 Mine Farm - Kafulafuta 132kV line	191

8.6 Chichele – New Kitwe 132kV Double Circuit line	215

8.7 Kabwe - Mpongwe 132-88kV line	240

8.8 Schedule 6 – 132kV Transmission lines total cost	264

9 132kV SUBSTATIONS	266

9.1 New Mpongwe 132/88/33 kV Substation	266

9.2 Bwana Mkubwa 132/33kV kV Substation	286

9.3 Chichele 132/33kV kV Substation	301

9.4 Mine Farm 132/33/11kV kV Substation	316

9.5 Kafulafuta 132/33kV kV Substation	333

9.6 Establishment of 132-88/33kV at Mpongwe East Substation	348

9.7 Establishment of 132-88/33kV at Munkumpu Substation	366

9.8 132kV Substation Total Costs	384

10 33/11kkV SUBSTATIONS	386

10.1 New Depot 33/11kV Substation	386

10.2 New Pamodzi 33/11kV Substation	404

10.3 New Dola Hill 33/11kV Substation	421

10.4 Mpatamato 33/11kV Substation	438

10.5 S Bend 33/11kV Substation	455

10.6 Chitwi 33/11kV Substation	471

10.7 Kankwiba 33/11kV Substation	487

10.8 Ibenga 33/11kV Substation	503

10.9 Luanshya 33/11kV Substation	519

10.10 Mpongwe Boma 33/11kV Substation	535

10.11 Mpongwe East 33/11kV Substation	552

10.12 Lafarge 33/11kV Substation	568

10.13 33/11kV Substation Total Costs	582

12 33kV DISTRIBUTION LINES	585

12.1 Bwana Mkubwa - Chikululu 33kV line	585

12.2 Bwana Mkubwa - Ndola Energy 33kV line	593

12.3 Bwana Mkubwa-Nelkanth Cable 33kV line	600

12.4 Skyways - Bwana Mkubwa 33kV Line	608

12.5 Chichele - New Dola Hill 33kV Line 1	616

12.6 Chichele - New Dola Hill 33kV Line 2	624

12.7 Chichele – New Pamodzi 33kV Line 1	632

12.8 Chichele – New Pamodzi 33kV Line 2	640

12.9 New Depot -New Pamodzi 33kV Line	648

12.10 Lafarge - New Depot 33kV Line	656

12.11 Ndola lime -Lafarge 33kV Line Price	664

12.12 Nelkanth-Ndola lime Cables 33kV line	672

12.13 New Dola Hill -Mushili Switching 33kV Line	680

12.14 Mpongwe 132/88/33kV - Mpongwe Boma 33kV Line	688

12.15 Mpongwe 132 - Mpongwe East T 33kV line	696

12.16 Luanshya 330 – Chitwi Double Circuit 33kV line	704

12.17 Luanshya 330 – Kankwiba Double Circuit 33kV line	712

12.18 Kafulafuta – Kankwiba Double Circuit 33kV line	720

12.19 Kafulafuta – Mpatamato Double Circuit 33kV line	728

12.20 Kafulafuta – Ibenga 33kV line	736

12.21 Mine Farm – Luanshya Town Double Circuit 33kV line	744

12.22 Mine Farm – Mpatamato Double Circuit 33kV line	752

12.23 Mine Farm – S-Bend Double Circuit 33kV line	760

12.24 S-Bend - Chitwi Double Circuit 33kV line	768

12.25 33kV Lines Total Costs	776

13 11kV DISTIBUTION LINES	780

13.1 New Depot 11kV Feeders	780

13.2 New Pamodzi 11kV Feeders	787

13.3 New Dola Hill Feeders	794

13.4 Mine Farm 11kV Feeders	801

13.5 Luanshya Town 11kV Feeders	808

13.6 Sub 1 11kV Feeders	815

13.7 New S-Bend 11kV Feeders	822

13.8 Chitwi 11kV Feeders	829

13.9 Kankwiba 11kV Feeders	836

13.10 Mpatamato 11kV Feeders	843

13.11 Ibenga 11kV Feeders	850

13.12 11kV Lines Total Costs	857

14 DAY RATE WORKS	859

15 SCHEDULE 6: PRELIMINARY AND GENERAL	867

16 SCHEDULE 8: PROJECT MANAGEMENT	868

17 SCHEDULE 9: PROJECT MANDATORY SPARES LIST	871

18 SCHEDULE 10: GRAND SUMMARY	881

# PREAMBLE

This preamble shall apply to all Price Schedules unless shown otherwise. The Price Schedules shall be read in conjunction with the Conditions of Contract, the technical specifications, the drawings and other contract documents.

The number, quantities and measurements set out in the Price Schedules are approximate and their accuracy or inaccuracy shall in no way affect the validity of the Bid or any contract based thereon.  The total amount of each item set out in the Price Schedules at the rate or price inserted by the Bidder shall be stated, but these figures are required solely for the purpose of assessment and shall not be deemed to be the actual sums which shall be paid to the Contractor for the execution of the works.  The sum to be paid to the Contractor shall (subject to the provisions of the Conditions of Contract) be determined by measuring the work done in accordance with the Contract and valuing it at the rates and prices inserted by the Bidder in the Price Schedules.

The rates and prices entered in the Price Schedules shall except insofar as is otherwise provided under the Contract be deemed to cover all obligations as set out in the Contract, and all matters necessary for the proper completion and maintenance of the Works. A price or rate is to be entered against each item in the Price Schedules.  Items against which no price is entered shall be deemed to be covered by the other prices or rates in the Price Schedules.

Provisional Sums, if any, shall be expended in whole or in part only at the direction and discretion of the Project Manager.

The works as executed will be measured for payment in accordance with the above method. The net measurement or weight of the finished work in place will always be taken except where otherwise stated. All thicknesses stated are minimum finished thicknesses.

Unless otherwise shown on the Drawings all lengths and distances shall be measured horizontally, and all depths and layer thickness shall be measured vertically. The average-end-area method shall be used in computing volumes of excavation and filling.

Any work performed more than the requirements of the plans and specifications, such as overdepth excavation, wastes and cutting etc., will not be measured and paid for, unless ordered in writing by the Project Manager.

The brief descriptions of the items given in the Price Schedules are purely for the purpose of identification and in no way modify or supersede the detailed descriptions given in the Conditions of Contract, scope of work and supply or Specifications.  When pricing items, reference is to be made to the Conditions of Contract and Specifications for the full descriptions of work and materials. Prices quoted under Preliminary and General shall cover all costs arising from whatever cause of carrying out the work and complying with the Conditions of Contract, Specifications and other Contract Documents for which there is no specific item elsewhere in the Price Schedules.

No claims shall be entertained upon misunderstanding or misinterpretation of the Contract Documents.  If the Contractor is uncertain as to the meaning, he shall contact the Project Manager to satisfy himself, before submitting his Bid.

The Employer shall not be precluded or estopped by any measurements, estimate or certificate made either before or after the completion and by acceptance of the work and by payment therefore from showing the true amount and character of the work performed and materials furnished by the Contractor, nor from showing that any such measurement, estimate or certificate is untrue or is incorrectly made, nor that work or materials do not in fact conform to the Contract.

The Employer shall not be precluded or estopped notwithstanding any such measurements, estimate or certificate and payment in accordance therewith from recovering from the Contractor or his sureties or both such damage as he may sustain by reason of the Contractor’s failure to comply with the terms of the Contract.

Neither the acceptance by the Project Manager or by his Representative, nor any payment for or acceptance of the whole or any part of the work, nor any extension of time, nor any possession taken by the Project Manager shall operate as a waiver on any portion of the Contract or of any power herein reserved or any right to damages.

“Authorised”, “Directed” or “Approved” shall mean the authority, direction or approval by the Project Manager.

# DAYWORK

Work shall be executed on a daywork basis by written order of the Project Manager.  Bidders shall enter basic rates for daywork items in the Price Schedules provided.  The rates shall apply to any quantity of daywork ordered by the Project Manager.  Nominal quantities have been indicated against each item of daywork, and the extended total for daywork shall be carried forward to the Summary Total Bid Amount.  Unless otherwise adjusted, payments for daywork shall be subject to price adjustment in accordance with the provisions in the Conditions of Contract.

In calculating payments due to the Contractor for the execution of dayworks, working time will be calculated in days.  Only the time of classes of labour directly doing work ordered by the Project Manager and for which they are competent will be measured.

The Contractor shall be entitled to payment in respect of the total time that labour is employed on daywork, calculated at the rates entered by him under the relevant items in the Price Schedules for Dayworks and together with the Contractor’s profit, overheads, etc., as described below:

(The rates for labour and construction shall cover all direct costs to the Contractor, including (but not limited to) the amount of wages paid to such labour, transportation time, overtime, subsistence allowances, and any sums paid to or on behalf of such labour for social benefits.

Additional payment to be included in the item prices and applied to costs incurred under (a) above shall be deemed to cover the Contractor’s profit, oncosts, superintendence, liabilities and insurances and allowances to labour timekeeping and clerical and office work, the use of consumable stores, water, lighting and power; the use and repair of stagings, scaffolding, workshops and stores, portable power tools, manual plants and tools; supervision by the Contractor’s staff, foremen and walking gangers (other than the charge hands working with the gang); and charges incidental to the foregoing.  Payments shall be made in the currency proportions to be stated in the Price Schedules for Daywork.

The Contractor shall be entitled to payment in respect of materials used for daywork (except for materials for which the cost is included in the percentage addition to labour costs as detailed heretofore), at the basic rates entered by him under the relevant items in the Price Schedules for material supply as follows:

- The basic rates (unit prices) for materials shall be calculated on the basis of the invoiced price, freight, insurance, handling expenses, damage, losses, etc., and shall provide for delivery to store. Payment will be made in the currency or currencies stated in the Daywork schedules.

- The cost of hauling materials for use on work ordered to be carried out as daywork from the store will be paid in accordance with the relevant items in the Daywork schedules.

The Contractor shall be entitled to payments in respect of Constructional Equipment and Transport equipment at the rental rates entered by him in the relevant items in the Price Schedules for Dayworks. The said rates shall be deemed to include due and complete allowance for depreciation, interest, indemnity and insurance, repairs, maintenance, supplies, fuel, lubricants, and other consumables, and all overhead, profits and administrative costs related to the use of such plant. The cost of drivers, operators, and assistants will be paid for separately as described under the section Daywork Labour.

In calculating the payment for Constructional Equipment employed on dayworks, only the actual number of days working will be eligible, except that where applicable and agreed with the Project Manager, the time travelling from the part of the Site where the Construction Equipment was located when ordered by the Project Manager to be employed on dayworks and the time for the return journey thereto shall be included for payment.

# PLACES OF DELIVERY

The places of delivery for the substation materials shall be: the substation locations as indicated in “Part 2 - Employers Requirements - Substations B” document.

Delivery point for materials for the 330kV, 132kV Transmission lines and the 33kV distribution lines shall be: the transmission and distribution line routes as indicated in “Part 3 - Employers Requirements Transmission and Distribution Lines” document.

All materials to be delivered by the Contractor for use on the project shall be stored, handled, transported, and erected by the Contractor. The Contractor shall be responsible for these materials until the issuance of the Taking Over Certificate for the completed lines.

The costs for temporary storage at site shall be included in the relevant items for Construction Work in the Price Schedules.

The costs for transport of materials from temporary storage to individual sites shall be included in the relevant item prices for Installation Services/Work.

# CURRENCIES

Tender prices shall be quoted in US Dollars

# ABBREVIATIONS

The following abbreviations have been used in the Price Schedules:

Unit of description

millimetre				mm

metre					m

kilometer				km

square metre				m2

cubic metre				m3

kilogramme				kg

tonne (1000 kg)			ton

lump sum				USD

number				no.

hour					h

man-hour				m-h

litre					l

Per complete unit			each

Per complete assembly		set

# 330kV SUBSTATIONS

## Luanshya 330/132/11 kV Substation

### Schedule 1: Luanshya 330/132/33/11 kV substation plant and equipment supplied from abroad

| Luanshya 330/132/11 kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Description | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 330kV-Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Luanshya1-001 | 330/132/11 kV 200 MVA Three phase transformer with 11kV tertiary | each | 3 |  |  |  |  |
| Luanshya1-002 | Circuit Breaker- Live Tank | each | 9 |  |  |  |  |
| Luanshya1-003 | Isolator, Motor Operated with integral earth switch | each | 9 |  |  |  |  |
| Luanshya1-004 | Isolator switch, Motor Operated without integral earth switch | each | 32 |  |  |  |  |
| Luanshya1-005 | CVTs | each | 27 |  |  |  |  |
| Luanshya1-006 | Surge arresters | each | 21 |  |  |  |  |
| Luanshya1-007 | CTs | each | 33 |  |  |  |  |
| Luanshya1-008 | Conductors for busbars | Lot | 1 |  |  |  |  |
| Luanshya1-009 | Insulators for busbar | Lot | 1 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Luanshya1-010 | Line protection system | lot | 1 |  |  |  |  |
| Luanshya1-011 | Transformers protection system | lot | 1 |  |  |  |  |
| Luanshya1-012 | Sergi Transformer Fire Protection | lot | 1 |  |  |  |  |
| Luanshya1-013 | line protection communication interface | lot | 1 |  |  |  |  |
| Luanshya1-014 | Bus bar protection system | lot | 1 |  |  |  |  |
| Luanshya1-015 | 330kV Metering set (0.2S) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Luanshya1-016 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Luanshya1-017 | Marshalling Kiosks | lot | 1 |  |  |  |  |
| Luanshya1-018 | Support insulators | lot | 1 |  |  |  |  |
| Luanshya1-019 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Luanshya1-020 | Grounding Grid Conductor and accessories | lot | 1 |  |  |  |  |
| Luanshya1-021 | Subtotal for 330kV Material and Equipment |  |  |  |  |  |  |
| 2 | 132kV-Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Luanshya1-022 | 132/33 kV 40 MVA Three phase transformer | each | 2 |  |  |  |  |
| Luanshya1-023 | Circuit Breaker- Live Tank | each | 15 |  |  |  |  |
| Luanshya1-024 | Isolator, Motor Operated with integral earth switch | each | 15 |  |  |  |  |
| Luanshya1-025 | Isolator switch, Motor Operated without integral earth switch | each | 56 |  |  |  |  |
| Luanshya1-026 | CVTs | each | 45 |  |  |  |  |
| Luanshya1-027 | Surge arresters | each | 39 |  |  |  |  |
| Luanshya1-028 | CTs | each | 51 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Luanshya1-029 | Line protection system | lot | 1 |  |  |  |  |
| Luanshya1-030 | Transformers protection system | lot | 1 |  |  |  |  |
| Luanshya1-031 | line protection communication interface | lot | 1 |  |  |  |  |
| Luanshya1-032 | Bus bar protection system | lot | 1 |  |  |  |  |
| Luanshya1-033 | 132kV Metering set (0.2S) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Luanshya1-034 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Luanshya1-035 | Marshalling Kiosks | lot | 1 |  |  |  |  |
| Luanshya1-036 | Support insulators | lot | 1 |  |  |  |  |
| Luanshya1-037 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Luanshya1-038 | Grounding Grid Conductor and accessories | lot | 1 |  |  |  |  |
| Luanshya1-039 | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| 3 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Luanshya1-040 | Circuit Breaker- Live Tank | each | 6 |  |  |  |  |
| Luanshya1-041 | Isolator, Motor Operated with integral earth switch | each | 6 |  |  |  |  |
| Luanshya1-042 | Isolator switch, Motor Operated without integral earth switch | each | 8 |  |  |  |  |
| Luanshya1-043 | VTs | each | 24 |  |  |  |  |
| Luanshya1-044 | Surge arresters | each | 18 |  |  |  |  |
| Luanshya1-045 | CTs | each | 21 |  |  |  |  |
| Luanshya1-046 | NERs complete with neutral CTs | each | 2 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Luanshya1-047 | Line protection system | lot | 1 |  |  |  |  |
| Luanshya1-048 | Transformers protection system | lot | 1 |  |  |  |  |
| Luanshya1-049 | line protection communication interface | lot | 1 |  |  |  |  |
| Luanshya1-050 | Bus bar protection system | lot | 1 |  |  |  |  |
| Luanshya1-051 | 33kV Metering set (0.2S) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Luanshya1-052 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Luanshya1-053 | Marshalling Kiosks | lot | 1 |  |  |  |  |
| Luanshya1-054 | Support insulators | lot | 1 |  |  |  |  |
| Luanshya1-055 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Luanshya1-056 | Grounding Grid Conductor and accessories | lot | 1 |  |  |  |  |
| Luanshya1-057 | Subtotal for 33 kV Material and Equipment |  |  |  |  |  |  |
| 4 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Luanshya1-058 | 500kVA 11/0.4kV Auxiliary Transformer | each | 2 |  |  |  |  |
| Luanshya1-059 | Auxiliary switch gear | each | 2 |  |  |  |  |
| Luanshya1-060 | Protection and control boards with (two spares) | lot | 1 |  |  |  |  |
| Luanshya1-061 | Auxiliary power 400VAC board | lot | 1 |  |  |  |  |
| Luanshya1-062 | 500kVA 400VAC Diesel Generator | each | 1 |  |  |  |  |
| Luanshya1-063 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 5 | Substation Power and Control Cables |  |  |  |  |  |  |
| Luanshya1-064 | 33kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Luanshya1-065 | 11kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation for entire substation | lot | 1 |  |  |  |  |
| Luanshya1-066 | 0.4kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation for entire substation | lot | 1 |  |  |  |  |
| Luanshya1-067 | Control cables for entire substation | lot | 1 |  |  |  |  |
| Luanshya1-068 | Subtotal for Substation Power and Control Cables. |  |  |  |  |  |  |
| 6 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Luanshya1-069 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Luanshya1-070 | Metering remote terminal administration devices/equipment/station | lot | 1 |  |  |  |  |
| Luanshya1-071 | Station Chargers and accessories | lot | 1 |  |  |  |  |
| Luanshya1-072 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 7 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Luanshya1-073 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Luanshya1-074 | ADSS optical fiber cable and accessories | m | 5000 |  |  |  |  |
| Luanshya1-075 | Concret poles | lot | 1 |  |  |  |  |
| Luanshya1-076 | OTN equipment with accessories | lot | 1 |  |  |  |  |
| Luanshya1-077 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| Luanshya1-078 | Charger and accessories | lot | 1 |  |  |  |  |
| Luanshya1-079 | ODF-FC type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Luanshya1-080 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| Luanshya1-081 | SDH – 10G terminal equipment and accessories | each | 2 |  |  |  |  |
| Luanshya1-082 | PABX equipment and accessories | each | 1 |  |  |  |  |
| Luanshya1-083 | PABX Corporate wide networking licence for digital trunk (E1) communication | lot | 1 |  |  |  |  |
| Luanshya1-084 | IP tranking licence for VoIP communication | each | 60 |  |  |  |  |
| Luanshya1-085 | PCM Multiplexer and accessories | each | 2 |  |  |  |  |
| Luanshya1-086 | FOX615 terminal equipment and accessories | each | 2 |  |  |  |  |
| Luanshya1-087 | Digital Telephone handsets | each | 10 |  |  |  |  |
| Luanshya1-088 | Analogue Telephone handsets with display | each | 10 |  |  |  |  |
| Luanshya1-089 | Analogue Telephone handsets without display | each | 15 |  |  |  |  |
| Luanshya1-090 | VoIP Telephone handsets | each | 10 |  |  |  |  |
| Luanshya1-091 | SFPs – Electrical Type | each | 10 |  |  |  |  |
| Luanshya1-092 | Laptop for Equipment Management | each | 1 |  |  |  |  |
| Luanshya1-093 | Optical splicing machine and accessories | each | 1 |  |  |  |  |
| Luanshya1-094 | Optical Time Domain Reflectometer (OTDR) | each | 1 |  |  |  |  |
| Luanshya1-095 | Optical power meter | each | 2 |  |  |  |  |
| Luanshya1-096 | Optical light source | each | 2 |  |  |  |  |
| Luanshya1-097 | Optical visual fault locator | each | 2 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 8 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Luanshya1-098 | 330/132kV llightning masts | lot | 1 |  |  |  |  |
| Luanshya1-099 | In door lighting equipment | lot | 1 |  |  |  |  |
| Luanshya1-100 | Outdoor lighting equipment |  |  |  |  |  |  |
| Luanshya1-101 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Luanshya1-102 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Luanshya1-103 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Luanshya1-104 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Luanshya1-105 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Luanshya1-106 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Luanshya1-107 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Luanshya1-108 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| Luanshya1-109 | Subtotal for Other Equipment |  |  |  |  |  |  |
| 9. | WAMPAC |  |  |  |  |  |  |
| Luanshya1-110 | WAMPAC execution station system | Lot. | 1 |  |  |  |  |
| Luanshya1-111 | Subtotal for WAMPAC |  |  |  |  |  |  |
| Luanshya1-110 | Grand Total |  |  |  |  |  |  |

### Schedule 2: Luanshya 330/132/33/11kV substation plant and equipment supplied from within Employer’s country.

| Luanshya 330/132/33/11 kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works, steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Luanshya2-001 | Substation gantries | lot | 1 |  |  |  |  |
| Luanshya2-002 | Lightning masts | lot | 1 |  |  |  |  |
| Luanshya2-003 | Fire walls for Transformers | lot | 1 |  |  |  |  |
| Luanshya2-004 | Emergency oil pool for transformers. | lot | 1 |  |  |  |  |
| Luanshya2-005 | Complete Control Building with Air conditioning system in the Relay, telecommunication, control and offices. Extractor fans in the battery rooms and toilets. | lot | 1 |  |  |  |  |
| Luanshya2-006 | Guard house | lot | 1 |  |  |  |  |
| Luanshya2-007 | Portable fire extinguishers: 9kg for control room and 50kg for switch yard | lot | 1 |  |  |  |  |
| Luanshya2-008 | Complete diesel generator house | each | 1 |  |  |  |  |
| Luanshya2-009 | Cable trenches | lot | 1 |  |  |  |  |
| Luanshya2-010 | Complete Water supply System | lot | 1 |  |  |  |  |
| Luanshya2-011 | General site preparation & earth work | lot | 1 |  |  |  |  |
| Luanshya2-012 | Internal substation access road - concrete | lot | 1 |  |  |  |  |
| Luanshya2-013 | Storm water and wastewater drainage system | lot | 1 |  |  |  |  |
| Luanshya2-014 | Automated fire suppression system for control room | lot | 1 |  |  |  |  |
| Luanshya2-015 | IT Office Local Area Network | Lot | 1 |  |  |  |  |
| Luanshya2-016 | ZESCO Substation land fencing | Lot | 1 |  |  |  |  |
| Luanshya2-017 | Substation fence and gates | lot | 1 |  |  |  |  |
| Luanshya2-018 | External concrete access road (from the nearest main truck bituminous standard road) | m | 100 |  |  |  |  |
| Luanshya2-019 | Waste water drainage | lot | 1 |  |  |  |  |
| Luanshya2-020 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Luanshya2-021 | Civil works System testing | lot | 1 |  |  |  |  |
| Luanshya2-022 | Substation equipment foundations | lot | 1 |  |  |  |  |
| Luanshya2-023 | Excavations, recovery, and disposal of existing foundations at the proposed substation site | lot | 1 |  |  |  |  |
| Luanshya2-024 | Substation stones | lot | 1 |  |  |  |  |
| Luanshya2-025 | One High and two medium cost houses | lot | 1 |  |  |  |  |
| Luanshya2-026 | Subtotal |  |  |  |  |  |  |

Schedule 3: Luanshya 330/132/33/11kV substation Local Transportation

| Luanshya 330/132/33/11 kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: Luanshya 330/132/33/11kV substation installation services

| Luanshya 330/132/33/11 kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 330kV Equipment and materials |  |  |  |  |  |  |
| Luanshya4-001 | 330kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Luanshya4-002 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Luanshya4-003 | Subtotal for 330kV Material and Equipment |  |  |  |  |  |  |
| 2 | 132kV Equipment and materials |  |  |  |  |  |  |
| Luanshya4-004 | 132kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Luanshya4-005 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Luanshya4-006 | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| 3 | 33kV Equipment and materials |  |  |  |  |  |  |
| Luanshya4-007 | 33kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Luanshya4-008 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Luanshya4-009 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 4 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| Luanshya4-010 | Auxiliary power 400VAC board and 500kVA 11/0.4kV Auxiliary Transformer complete with Auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Luanshya4-011 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 5 | Substation Power and Control Cables |  |  |  |  |  |  |
| Luanshya4-012 | Power cables | lot | 1 |  |  |  |  |
| Luanshya4-013 | Control cables | lot | 1 |  |  |  |  |
| Luanshya4-014 | Subtotal for Substation Power and Control Cables |  |  |  |  |  |  |
| 6 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Luanshya4-015 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| Luanshya4-016 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 7 | Communication Equipment |  |  |  |  |  |  |
| Luanshya4-017 | Communication equipment | lot | 1 |  |  |  |  |
| Luanshya4-018 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 8 | Other Equipment |  |  |  |  |  |  |
| Luanshya4-019 | Other equipment | lot | 1 |  |  |  |  |
| Luanshya4-020 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| Luanshya4-021 | Subtotal for Other Equipment |  |  |  |  |  |  |
| 9. | WAMPAC |  |  |  |  |  |  |
| Luanshya1-022 | WAMPAC execution station system | Lot. | 1 |  |  |  |  |
| Luanshya1-023 | Subtotal for WAMPAC |  |  |  |  |  |  |
| Luanshya4-024 | Total |  |  |  |  |  |  |

### Schedule 5: Summary for Luanshya 330/132kV substation total project cost with VAT and duties

| Luanshya 330/132/33/11 kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 5. Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## Kabwe Stepdown 330/88/66kV Substation

### Schedule 1: Kabwe Stepdown 330/88/66 kV substation plant and equipment supplied from abroad

| Kabwe Stepdown 330/88/66 kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Description | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kabwe SD1-001 | Station Batteries and accessories for communication | lot | 1 |  |  |  |  |
| Kabwe SD1-002 | Station Chargers and accessories for communication | lot | 1 |  |  |  |  |
| Kabwe SD1-003 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 2 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kabwe SD1-004 | LC-LC, LC-FC, FC-FC, FC-SC fibre patch cords | lot | 1 |  |  |  |  |
| Kabwe SD1-005 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| Kabwe SD1-006 | Charger and accessories | lot | 1 |  |  |  |  |
| Kabwe SD1-007 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| Kabwe SD1-008 | SDH – 10G terminal equipment and accessories | each | 1 |  |  |  |  |
| Kabwe SD1-009 | FOX615 terminal equipment and accessories | each | 1 |  |  |  |  |
| Kabwe SD1-010 | SFPs – Electrical Type | each | 5 |  |  |  |  |
| Kabwe SD1-011 | Optical-To-Pots converter 16 Pots | each | 6 |  |  |  |  |
| Kabwe SD1-012 | 48000 BTU free standing air conditioning unit | each | 2 |  |  |  |  |
| Kabwe SD1-013 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| Kabwe SD1-014 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| Kabwe SD1-015 | Grand Total |  |  |  |  |  |  |

### Schedule 2: Kabwe Stepdown 330/88/66kV substation plant and equipment supplied from within Employer’s country.

| Kabwe Stepdown 330/88/66 kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works, steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
|  | Subtotal |  |  |  |  |  |  |

### Schedule 3: Kabwe Stepdown 330/88/66kV substation Local Transportation

| Kabwe Stepdown 330/88/66kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: Kabwe Stepdown 330/88/66kV substation installation services

| Kabwe Stepdown 330/88/66 kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kabwe SD4-001 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| Kabwe SD4-002 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 2 | Communication Equipment |  |  |  |  |  |  |
| Kabwe SD4-003 | Communication equipment | lot | 1 |  |  |  |  |
| Kabwe SD4-004 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 3 | Other Equipment |  |  |  |  |  |  |
| Kabwe SD4-005 | Any other critical imported and local materials not stated above | As req. | as req. |  |  |  |  |
| Kabwe SD4-006 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Kabwe SD4-007 | Grand Total |  |  |  |  |  |  |

### Schedule 5: Summary for Kabwe Stepdown 330/88/66 kV substation total project cost with VAT and duties

| Kabwe Stepdown 330/88/66 kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 5. Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## Kitwe 330/220/66 kV Substation

### Schedule 1: Kitwe 330/220/66 kV substation plant and equipment supplied from abroad

| Kitwe 330/132/11 kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Description | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kitwe1-001 | Station Batteries and accessories for communication | lot | 1 |  |  |  |  |
| Kitwe1-002 | Station Chargers and accessories for communication | lot | 1 |  |  |  |  |
| Kitwe1-003 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 2 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kitwe1-004 | LC-LC, LC-FC, FC-FC, FC-SC fibre patch cords | lot | 1 |  |  |  |  |
| Kitwe1-005 | OTN equipment with accessories | lot | 1 |  |  |  |  |
| Kitwe1-006 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| Kitwe1-007 | Charger and accessories | lot | 1 |  |  |  |  |
| Kitwe1-008 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| Kitwe1-009 | SDH – 10G terminal equipment and accessories | each | 1 |  |  |  |  |
| Kitwe1-010 | FOX615 terminal equipment and accessories | each | 1 |  |  |  |  |
| Kitwe1-011 | SFPs – Electrical Type | each | 5 |  |  |  |  |
| Kitwe1-012 | Laptop for Equipment Management | each | 1 |  |  |  |  |
| Kitwe1-013 | Optical-To-Pots converter 16 Pots | each | 6 |  |  |  |  |
| Kitwe1-014 | 48000 BTU free standing air conditioning unit | each | 2 |  |  |  |  |
| Kitwe1-015 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 3 | Mandatory Spares |  |  |  |  |  |  |
| Kitwe1-030 | Telecoms; Manufacturer recommended spares for OTN, PTN, SDH, FOX615, Power supply equipment | lot | 1 |  |  |  |  |
| Kitwe1-031 | Subtotal for Mandatory Spares |  |  |  |  |  |  |
| Kitwe1-032 | Grand Total |  |  |  |  |  |  |

### Schedule 2: Kitwe 330/220/66kV substation plant and equipment supplied from within Employer’s country.

| Kitwe 330/220/66 kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works, steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
|  | Subtotal |  |  |  |  |  |  |

### Schedule 3: Kitwe 330/220/66kV substation Local Transportation

| Kitwe 330/220/66 kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: Kitwe 330/220/66kV substation installation services

| Kitwe 330/220/66 kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kitwe4-001 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| Kitwe4-002 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 2 | Communication Equipment |  |  |  |  |  |  |
| Kitwe4-003 | Communication equipment | lot | 1 |  |  |  |  |
| Kitwe4-004 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 3 | Other Equipment |  |  |  |  |  |  |
| Kitwe4-005 | Any other critical imported and local materials not stated above | As req. | as req. |  |  |  |  |
| Kitwe4-006 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Kitwe4-007 | Grand Total |  |  |  |  |  |  |

### Schedule 5: Summary for Kitwe 330/220/66kV substation total project cost with VAT and duties

| Kitwe 330/220/66 kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 5. Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## Luano 330/220/66 kV Substation

### Schedule 1: Luano 330/220/66 kV substation plant and equipment supplied from abroad

| Luano 330/132/11 kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Description | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Luano1-001 | Station Batteries and accessories for communication | lot | 1 |  |  |  |  |
| Luano1-002 | Station Chargers and accessories for communication | lot | 1 |  |  |  |  |
| Luano1-003 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 2 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Luano1-004 | LC-LC, LC-FC, FC-FC, FC-SC fibre patch cords | lot | 1 |  |  |  |  |
| Luano1-005 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| Luano1-006 | Charger and accessories | lot | 1 |  |  |  |  |
| Luano1-007 | ODF-FC type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Luano1-008 | SDH – 10G terminal equipment and accessories | each | 1 |  |  |  |  |
| Luano1-009 | FOX615 terminal equipment and accessories | each | 1 |  |  |  |  |
| Luano1-010 | SFPs – Electrical Type | each | 5 |  |  |  |  |
| Luano1-012 | Optical-To-Pots converter 16 Pots | each | 6 |  |  |  |  |
| Luano1-013 | 48000 BTU free standing air conditioning unit | each | 2 |  |  |  |  |
| Luano1-013 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 3 | Mandatory Spares |  |  |  |  |  |  |
| Luano1-030 | Telecoms; Manufacturer recommended spares for SDH, FOX615, Power supply equipment | lot | 1 |  |  |  |  |
| Luano1-031 | Subtotal for Mandatory Spares |  |  |  |  |  |  |
| Luano1-032 | Grand Total |  |  |  |  |  |  |

### Schedule 2: Luano 330/220/66kV substation plant and equipment supplied from within Employer’s country.

| Luano 330/220/66 kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works, steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
|  | Subtotal |  |  |  |  |  |  |

### Schedule 3: Luano 330/220/66kV substation Local Transportation

| Luano 330/220/66 kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: Luano 330/220/66kV substation installation services

| Luano 330/220/66 kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Luano4-001 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| Luano4-002 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 2 | Communication Equipment |  |  |  |  |  |  |
| Luano4-003 | Communication equipment | lot | 1 |  |  |  |  |
| Luano4-004 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 3 | Other Equipment |  |  |  |  |  |  |
| Luano4-005 | Any other critical imported and local materials not stated above | As req. | as req. |  |  |  |  |
| Luano4-006 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Luano4-007 | Grand Total |  |  |  |  |  |  |

### Schedule 5: Summary for Luano 330/220/66kV substation total project cost with VAT and duties

| Luano 330/220/66 kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 5. Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## Schedule 6: 330kV Substations Total Cost

| Item | Description | Total Price 1 CIP USD | Total Price 2 DDP USD |
| --- | --- | --- | --- |
| 1 | Schedule 5: Summary for Luanshya 330/132kV substation |  |  |
| 2. | Schedule 5: Summary for Kabwe Stepdown 330/88/66 kV substation |  |  |
| 3. | Schedule 5: Summary for Kitwe 330/220/66kV substation |  |  |
| 4 | Schedule 5: Summary for Luano 330/220/66kV substation |  |  |
|  | 330kV Substations Total Cost (To Grand Total) |  |  |
|  | Name of Bidder |  |  |
|  | Signature of Bidder |  |  |

# 330KV TRANSMISSION LINES

## Kabwe Luano Line in Line out into Luanshya 330kV Substation

### SCHEDULE 1A (330kV) Kabwe - Luano Line in Line out into Luanshya 330kV line Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad

| DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1A Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 | UNIT | QTY | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |
|  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |
|  |  |  |  |  | CIP,Luanshya | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |
| 1 | Self Suport Tension tower, complete with all necessary fittings, bolts and nuts(including anti vandal bolts and nuts). Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications. Refer to tower outline and profile drawings provided |  |  |  |  |  |  |  |  |  |
| 1.1 | Type 300T10 tower |  | each | 0 |  |  |  |  |  |  |
| 1.1a | CH-18 |  | each | 0 |  |  |  |  |  |  |
| 1.1b | CH-21 |  | each | 0 |  |  |  |  |  |  |
| 1.1c | CH-24 |  | each | 0 |  |  |  |  |  |  |
| 1.1d | CH-27 |  | each | 0 |  |  |  |  |  |  |
| 1.2 | Type 300T30 tower |  | each | 0 |  |  |  |  |  |  |
| 1.2a | CH 21 |  | each | 0 |  |  |  |  |  |  |
| 1.2b | CH 24 |  | each | 0 |  |  |  |  |  |  |
| 1.2c | CH 27 |  | each | 0 |  |  |  |  |  |  |
| 1.3 | Type 300T70 tower |  | each | 4 |  |  |  |  |  |  |
| 1.3a | CH 24 |  | each | 2 |  |  |  |  |  |  |
| 1.3b | CH 27 |  | each | 2 |  |  |  |  |  |  |
| 2 | Self Support Suspension tower, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications. Refer to tower outline and profile drawings provided |  |  |  |  |  |  |  |  |  |
| 2.1 | Type 300TS1 |  | each | 8 |  |  |  |  |  |  |
| 2.1a | CH 21 |  | each | 2 |  |  |  |  |  |  |
| 2.1b | CH 24 |  | each | 2 |  |  |  |  |  |  |
| 2.1c | CH 27 |  | each | 2 |  |  |  |  |  |  |
| 2.1d | CH 30 |  | each | 2 |  |  |  |  |  |  |
| 2.2 | Type 300TS2 tower |  | each | 0 |  |  |  |  |  |  |
| 2.2a | CH 30 |  | each | 0 |  |  |  |  |  |  |
| 2.2b | CH 33 |  | each | 0 |  |  |  |  |  |  |
| 2.2c | CH 36 |  | each | 0 |  |  |  |  |  |  |
| 2.2d | CH 39 |  | each | 0 |  |  |  |  |  |  |
| 2.3 | Type 300TS3 tower |  | each | 0 |  |  |  |  |  |  |
| 2.3a | CH 41 |  | each | 0 |  |  |  |  |  |  |
| 2.3b | CH 44 |  | each | 0 |  |  |  |  |  |  |
| 3 | Supply of complete set (all 'four') stubs for foundations of tension towers |  |  |  |  |  |  |  |  |  |
| 3.1 | Stubs for Type 300T10 Towers and Extensions |  | set | 0 |  |  |  |  |  |  |
| 3.2 | Stubs for Type 300T30 towers and Extensions |  | set | 0 |  |  |  |  |  |  |
| 3.3 | Stubs for Type 300T70 towers and Extensions |  | set | 4 |  |  |  |  |  |  |
| 4 | Supply of complete set (all 'four') stubs for foundations of suspension towers |  |  |  |  |  |  |  |  |  |
| 4.1 | Stubs for Type 300S1 towers and Extensions |  | set | 8 |  |  |  |  |  |  |
| 4.2 | Stubs for Type 300S2 towers and Extensions |  | set | 0 |  |  |  |  |  |  |
| 4.3 | Stubs for Type 300S3 towers and Extensions |  | set | 0 |  |  |  |  |  |  |
| 5 | Validate conceptual tower designs provided and provide all necessary detailed designs, drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |
| 5a | Tower type 300T10 and extensions |  | Lot | 1 |  |  |  |  |  |  |
| 5b | Tower type 300T30 and extensions |  | Lot | 1 |  |  |  |  |  |  |
| 5c | Tower type 300T70 and extensions |  | Lot | 1 |  |  |  |  |  |  |
| 5d | Tower type 300S1 and extensions |  | Lot | 1 |  |  |  |  |  |  |
| 5e | Tower type 300S2 and extensions |  | Lot | 1 |  |  |  |  |  |  |
| 5f | Tower type 300S3 and extensions |  | Lot | 1 |  |  |  |  |  |  |
| 6 | Complete Foundation design for all soil classes and all necessary drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |
| 6a | Tower type 300T10 |  | Lot | 1 |  |  |  |  |  |  |
| 6b | Tower type 300T30 |  | Lot | 1 |  |  |  |  |  |  |
| 6c | Tower type 300T70 |  | Lot | 1 |  |  |  |  |  |  |
| 6d | Tower type 300S1 |  | Lot | 1 |  |  |  |  |  |  |
| 6e | Tower type 300S2 |  | Lot | 1 |  |  |  |  |  |  |
| 6f | Tower type 300S3 |  | Lot | 1 |  |  |  |  |  |  |
| 7 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  | route-km | 4 |  |  |  |  |  |  |
| 7.2 | Radial earth galvanised steel wire per tower, 30m x 4 |  | set |  |  |  |  |  |  |  |
| 7.3 | Radial tower earths lugs and bolts complete with nuts |  | lot | 1 |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting tower earthing to substation grid |  | lot | 1 |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to tower legs |  | route-km |  |  |  |  |  |  |  |
| 8 | Sign plates |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  | each | 12 |  |  |  |  |  |  |
| 8.2 | Danger plates |  | each | 12 |  |  |  |  |  |  |
| 8.3 | Phase plates |  | each | 36 |  |  |  |  |  |  |
| 8.4 | Circuit plates |  | each | 12 |  |  |  |  |  |  |
| 8.5 | Aerial plates |  | each | 36 |  |  |  |  |  |  |
| A | SUB-TOTAL TOWER AND FOUNDATION SUPPLY items 1.1 to 8.5 |  |  |  |  |  |  |  |  |  |
| 9 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |
| 9.1 | Conductor, type ASCR twin Bison |  | route km | 4 |  |  |  |  |  |  |
| 9.2 | Overhead earthwires type ACS 7 no. 6 |  | route km | 4 |  |  |  |  |  |  |
| 9.3 | Optical Fibre Ground Wire (OPGW) |  | route km |  |  |  |  |  |  |  |
| 9.4 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  | m | 1000 |  |  |  |  |  |  |
| 10 | 330kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for twin bundle conductors type ACSR Bison |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  | lot | 1 |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  | lot | 1 |  |  |  |  |  |  |
| 11 | Hardware and fittings for conductor type ASCR Bison |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  | lot | 1 |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  | lot | 1 |  |  |  |  |  |  |
| 11.3 | Flexible spacers for span (Twin bundle spacers) 450mm |  | lot | 1 |  |  |  |  |  |  |
| 11.4 | Flexible spacers for span (Twin bundle spacers) near Suspension tower 330mm |  | lot | 1 |  |  |  |  |  |  |
| 11.5 | Rigid spacers with 40 kg counterweight for jumpers 250mm |  | lot | 1 |  |  |  |  |  |  |
| 11.6 | Vibration dampers, Stockbridge type |  | lot | 1 |  |  |  |  |  |  |
| 11.7 | midspan joints |  | lot | 1 |  |  |  |  |  |  |
| 12 | Hardware and fittings for Earthwire type ACS 7 no.6 |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly |  | lot | 1 |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to tower body |  | lot | 1 |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Stockbridge type |  | lot | 1 |  |  |  |  |  |  |
| 12.4 | Tension joint |  | lot | 1 |  |  |  |  |  |  |
| 12.5 | Repair sleeves |  | lot | 1 |  |  |  |  |  |  |
| 12.6 | Tower Parallel Groove clamps |  | lot | 1 |  |  |  |  |  |  |
| 13 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |
| 13.1 | Complete Tension assembly, |  | lot | 1 |  |  |  |  |  |  |
| 13.2 | Complete Suspension Assemblies, including electrical connection to tower body |  | lot | 1 |  |  |  |  |  |  |
| 13.3 | Vibration dampers, Mult Response type |  | lot | 1 |  |  |  |  |  |  |
| 13.4 | Tower Parallel groove clamps (clamping of OPGW downleads to tower). This shall include |  | lot | 1 |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |
| 14 | Spares: Towers, Insulators and Hardware |  |  |  |  |  |  |  |  |  |
| 14.1 a | Tension Insulator Units, (without fittings) |  | each | 12 |  |  |  |  |  |  |
| 14.1 b | Suspension Insulator Units, (without fittings) |  | each | 24 |  |  |  |  |  |  |
| 14.2 | Hardware for Insulators: |  |  |  |  |  |  |  |  |  |
| 14.2a | Complete set of fittings for suspension insulator |  | per set | 24 |  |  |  |  |  |  |
| 14.2b | Complete set of fittings for tension insulator |  | per set | 12 |  |  |  |  |  |  |
| 14.3 | Hardware for Conductors: |  |  |  |  |  |  |  |  |  |
| 14.3a | Extra Suspension clamps |  | each | 24 |  |  |  |  |  |  |
| 14.3b | Extra Tension clamps |  | each | 12 |  |  |  |  |  |  |
| 14.3c | Extra Jumper clamps |  | each | 20 |  |  |  |  |  |  |
| 14.3d | Extra Tension joints |  | each | 12 |  |  |  |  |  |  |
| 14.3e | Extra Repair sleeves |  | each | 10 |  |  |  |  |  |  |
| 14.3f | Extra Vibration dampers |  | each | 24 |  |  |  |  |  |  |
| 14.3g | Extra Spacers: for span 450mm |  | each | 20 |  |  |  |  |  |  |
| 14.3h | Extra Spacers for span (near Suspension tower) 330mm |  | each | 20 |  |  |  |  |  |  |
| 14.3i | Extra spacers for jumper (with counterweight) 250mm |  | each | 20 |  |  |  |  |  |  |
| 14.4 | Towers |  |  |  |  |  |  |  |  |  |
| 14.4a | Tower Type 300S1 |  | each | 3 |  |  |  |  |  |  |
| 14.4b | Tower Type 300S2 |  | each | 1 |  |  |  |  |  |  |
| 14.4c | Tower Type 300S3 |  | each | 0 |  |  |  |  |  |  |
| 14.4d | Tower Type 300T10 |  | each | 2 |  |  |  |  |  |  |
| 14.4e | Tower Type 300T30 |  | each | 2 |  |  |  |  |  |  |
| 14.4f | Tower Type 300T70 |  | each | 1 |  |  |  |  |  |  |
| C | SUB-TOTAL SPARES item 14 to 14.4f |  |  |  |  |  |  |  |  |  |
|  | TOTAL FOR SCHEDULE No.1A |  |  |  |  |  |  |  |  |  |
| The final quantities for Suspension Towers and materials to be ordered shall be verified and confirmed after line profile survey, tower spotting and pegging is completed. |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |  |  |  |  |  |
|  | Code |  |  |  |  |  |  |  |  |  |
|  | Country |  |  |  |  |  |  |  |  |  |
|  | Name of Bidder |  |  |  |  |  |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |  |  |  |  |  |
|  | 1) Bidders shall enter a code representing the country of origin of all imported plant and equipment |  |  |  |  |  |  |  |  |  |
|  | 2) Specify Currency |  |  |  |  |  |  |  |  |  |

    - Schedule 2A : Kabwe - Luano  Double Circuit – Foundations civil works and materials

|  | DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2A (330kV Kabwe - Luano Double Circuit) Foundations civil works and materials |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Unit Price USD | Total Price USD |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Stubs are excluded since they are supplied under schedule No. 1. For more information, refer to Geotechnical report provided for soil classification per proposed tower location |  |  |  |  |
| 1.1 | Soil Class 5 foundations (Pile foundations) | each | 3 |  |  |
| 1.2 | Soil Class 4 foundations | each | 5 |  |  |
| 1.3 | Soil Class 3 foundations | each | 2 |  |  |
| 1.4 | Soil Class 2 foundations | each | 2 |  |  |
| 1.5 | Soil Class 1 foundations | each | 0 |  |  |
|  | TOTAL FOUNDATIONS |  |  |  |  |
| D | TOTAL FOR SCHEDULE No. 2A |  |  |  |  |
|  | TOTAL (to schedule 6 Summary FOR 330KV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

    - Schedule 2A : Kabwe - Luano  Double Circuit – Foundations civil works and materials

|  | DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2A (330kV Kabwe - Luano Double Circuit) Foundations civil works and materials |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Unit Price USD | Total Price USD |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Stubs are excluded since they are supplied under schedule No. 1. For more information, refer to Geotechnical report provided for soil classification per proposed tower location |  |  |  |  |
| 1.1 | Soil Class 5 foundations (Pile foundations) | each | 3 |  |  |
| 1.2 | Soil Class 4 foundations | each | 5 |  |  |
| 1.3 | Soil Class 3 foundations | each | 2 |  |  |
| 1.4 | Soil Class 2 foundations | each | 2 |  |  |
| 1.5 | Soil Class 1 foundations | each | 0 |  |  |
|  | TOTAL FOUNDATIONS |  |  |  |  |
| D | TOTAL FOR SCHEDULE No. 2A |  |  |  |  |
|  | TOTAL (to schedule 6 Summary FOR 330KV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

### Schedule 2A : Kabwe - Luano  Double Circuit – Foundations civil works and materials

|  | DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2A (330kV Kabwe - Luano Double Circuit) Foundations civil works and materials |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Unit Price USD | Total Price USD |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Stubs are excluded since they are supplied under schedule No. 1. For more information, refer to Geotechnical report provided for soil classification per proposed tower location |  |  |  |  |
| 1.1 | Soil Class 5 foundations (Pile foundations) | each | 3 |  |  |
| 1.2 | Soil Class 4 foundations | each | 5 |  |  |
| 1.3 | Soil Class 3 foundations | each | 2 |  |  |
| 1.4 | Soil Class 2 foundations | each | 2 |  |  |
| 1.5 | Soil Class 1 foundations | each | 0 |  |  |
|  | TOTAL FOUNDATIONS |  |  |  |  |
| D | TOTAL FOR SCHEDULE No. 2A |  |  |  |  |
|  | TOTAL (to schedule 6 Summary FOR 330KV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

### Schedule 3A: Kabwe - Luano  Double Circuit detail prices, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.3A (330kV Kabwe - Luano Double Circuit) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAT PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum | 0 |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum | 0 |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum | 0 |  |  |
| 1.4 | Contractor’s facilities and administration | sum | 0 |  |  |
| 1.4.1 | Provide camps, offices and storages | sum | 0 |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum | 0 |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Detailed Survey, Geotechnical, conceptual designs and drawings, and longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. Complete transmission line design | route km | 4 |  |  |
| 2.2 | Plotting of towers and sag curves on longitudinal profiles | route km | 4 |  |  |
| 2.3 | Tower site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 4 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 4 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 55 m wide | route km | 4 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 4 |  |  |
| 3.2 | Extra 3 m wide | route km | 0 |  |  |
| 3.4 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km | 4 |  |  |
| 3.5 | Installation of Farm Gates and Fences | lot | 1 | 100,000 | 100,000 |
| 3.6 | SUB-TOTAL item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1 | Soil Class 5 foundations (Pile foundations) | each | 3 |  |  |
| 4.2 | Soil Class 4 foundations | each | 5 |  |  |
| 4.3 | Soil Class 3 foundations | each | 2 |  |  |
| 4.4 | Soil Class 2 foundations | each | 2 |  |  |
| 4.5 | Soil Class 1 foundations | each | 0 |  |  |
|  | TOTAL FOUNDATIONS |  |  |  |  |
| 5 | Tower Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual tower sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for suspension towers |  |  |  |  |
| 5.1a | Complete erection works for tower type 300S1 and extensions | each | 8 |  |  |
| 5.1b | Complete erection works for tower type 300S2 and extensions | each |  |  |  |
| 5.1c | Complete erection works for tower type 300S3 and extensions | each |  |  |  |
| 5.2 | Complete erection works for tension towers |  |  |  |  |
| 5.2a | Complete erection works for tower type 300T10 and extensions | each |  |  |  |
| 5.2b | Complete erection works for tower type 300T30 and extensions | each |  |  |  |
| 5.2c | Complete erection works for tower type 300T70 and extensions | each | 8 |  |  |
|  | Note: Installation of towers shall include fitting of all tower accessories, i.e number plates, step bolts,etc |  |  |  |  |
| B | SUB-TOTAL FOUNDATION WORKS AND TOWER ERECTION, item 5 to 5.2c |  |  |  |  |
| 6 | Installation and Stringing of Conductors and Earthwires |  |  |  |  |
|  | All costs for distribution from storage to individual tower sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Twin bundle phases, conductor type BISON (main offer) | route km | 4 |  |  |
| 6.1b | Earthwires: |  |  |  |  |
| 6.1c | Type ACS 7 no 6, including termination to substation gantries | route km | 4 |  |  |
| 6.1d | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 4 |  |  |
| 6.1e | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| C | Sub-total, Installation of Conductors and Earthwires |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1a | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 4 |  |  |
| 7.1b | Measurement of electrical footing resistance to earth at each tower site per leg, including recording in an approved manner shall be included in installation cost | per tower | 12 |  |  |
| 7.1c | Installation of counter-poise cables, including connection to towers, excavation of 4no. 30m long 600 mm deep trenches and reinstatement | per tower | 12 |  |  |
| 7.1d | Extra to Item 7.1a for laying at 1000 mm depth | per tower | 12 |  |  |
| 7.1e | Installation of extended or continuous counterpoise including joints and connections to towers, excavation of a 600 mm deep trench and reinstate-ment | m |  |  |  |
| 7.1f | Extra to Item 7.1a for laying at 1000 mm depth | m | 900 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 7.1 to 7.1f |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 8.1-8.5 |  |  |  |  |
| E | SUB-TOTAL , item 6 to 7.1 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 3A |  |  |  |  |
|  | TOTAL (to schedule 5A Summary for 330kV Luano - Chingola Double Circuit) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 4A: Detail prices, day work rates and estimated quantities

| DETAIL PRICES, DAYWORK SCHEDULE No.4A Daywork Work Rates and Estimated Quantities |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM No. | DESCRIPTION | UNIT | QTY | TOTAL PRICES CIP USD | TOTAL PRICES DDP USD |
| 1 | Rates of Labour including all necessary hand tools, accomodation, sub-sistence and overhead charges |  |  |  |  |
| 1.1 | Expatriate foreman | per day | 1 |  |  |
| 1.2 | Surveyor and two assistants incl. survey equipment and transport | per day | 1 |  |  |
| 1.3 | Local Foreman | per day | 1 |  |  |
| 1.4 | Linesman/operator | per day | 1 |  |  |
| 1.5 | Skilled worker | per day | 1 |  |  |
| 1.6 | Unskilled worker | per day | 1 |  |  |
| 1.7 | Driver | per day | 1 |  |  |
| 1.8 | Engineer | per day | 1 |  |  |
| 1.9 | SUB-TOTAL LABOUR |  |  |  |  |
| 2 |
| 2.1 | Pick-up truck | per day | 1 |  |  |
| 2.2 | Lorry < 10 tons | per day | 1 |  |  |
| 2.3 | Lorry 10 to 20 tons | per day | 1 |  |  |
| 2.4 | Mobile Crane | per day | 1 |  |  |
| 2.5 | Tractor with trailer | per day | 1 |  |  |
| 2.6 | Tractor | Per day | 1 |  |  |
| 2.7 | Front end loader | per day | 1 |  |  |
| 2.8 | D7 to D9 Bulldozer | per day | 1 |  |  |
| 2.9 | Excavator | per day | 1 |  |  |
| 2.10 | Air compressor c/w jack hammer | per day | 1 |  |  |
| 2.11 | Water pump | per day | 1 |  |  |
| 2.12 | Concrete mixer | per day | 1 |  |  |
| 2.13 | Power generator | per day | 1 |  |  |
| 2.14 | Welding machine | per day | 1 |  |  |
| 2.15 | SUB-TOTAL EQUIPMENT |  |  |  |  |
| 3 | Daywork, Construction |  |  |  |  |
|  | The rates shall cover construction works, material handling and storage, distribution to tower sites, and insurance until taken over and all costs of personnel, transport and equipment needed. |  |  |  |  |
| 3.1 | Miscellaneous works for special foundations, extensions and concrete works: |  |  |  |  |
| 3.1.1 | Excavation including backfill and reinstatement of soil |  |  |  |  |
| 3.1.1.1 | Down to 3 m below ground level | m3 | 1 |  |  |
| 3.1.1.2 | Below 3 m below ground level | m3 | 1 |  |  |
| 3.1.2 | Solid rock | m3 | 1 |  |  |
| 3.1.2.1 | Solid rock excavation | m3 | 1 |  |  |
| 3.1.2.2 | Excavation including backfill and reinstatement of solid rock | m3 | 1 |  |  |
| 3.1.3 | Casting of concrete foundations including formers and installation of reinforcement | m3 | 1 |  |  |
| 3.1.4 | Drilling and grouting of rock bolt anchors | per m | 1 |  |  |
| 3.2 | Miscellaneous erection of special towers, special extensions, single leg extensions and modifications. |  |  |  |  |
|  | Erection of single leg extensions and reductions for self supporting towers shall be paid for at this ton price. | tons | 1 |  |  |
| 3.3 | Tack welding of nuts (if required) |  |  |  |  |
| 3.3.1 | Up to 3 m above ground level | per 100 bolts |  |  |  |
| 3.3.2 | Above 3 m above ground level | per 100 bolts |  |  |  |
| 3.4 | Installation of Farm Gates and Fences | each | 1 |  |  |
| 3.5 | Additional tensioning of guy wires | each | 1 |  |  |
| 3.6 | SUB-TOTAL CONSTRUCTION |  |  |  |  |
| 4 | Materials for Daywork |  |  |  |  |
| 4.1 | Reinforced concrete for modified or special foundations, including formers |  |  |  |  |
| 4.2 | Concrete for other purposes, including formers | m3 | 1 |  |  |
| 4.3 | Extra reinforcement bars | kg | 1 |  |  |
| 4.4 | Farm Gate | each | 1 |  |  |
| 4.5 | Galvanised steel members for special towers, special extensions, single leg extensions and reductions and modifications and missing members for existing incomplete towers |  |  |  |  |
|  | Extra or reduced quantities of steel due to extension or reduction of single legs for self supporting towers shall be balanced against these prices. |  |  |  |  |
| 4.5.1 | Structural mild steel | ton | 1 |  |  |
| 4.5.2 | Structural high tensile steel | ton | 1 |  |  |
| 4.6 | Additional step bolts | each | 1 |  |  |
| 4.7 | Additional number plates | each | 1 |  |  |
| 4.8 | Additional danger plates | each | 1 |  |  |
| 4.9 | Additional phase and circuit plates | each | 1 |  |  |
| 4.1 | Additional bolts/nuts/washers | per ton | 1 |  |  |
| 4.11 | River Sand | Ton | 1 |  |  |
| 4.12 | Gravel | Ton | 1 |  |  |
| 4.13 | SUB-TOTAL MATERIALS |  |  |  |  |
|  | TOTAL FOR SCHEDULE 4A |  |  |  |  |
|  | TOTAL (to Schedule 5A Summary for 330KV)) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 5A: Detail prices, Summary of prices for 330kV Kabwe Luanshya Luano Line in Line Out

| DETAIL PRICES, SUMMARY SCHEDULE No.5A (The Bidder to complete for 330kV Luano - Chingola Double Circuit) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Total schedule No. 1A: Plant and Equipment from Abroad, 330kV Luano - Chingola Double Circuit | lot | 1 |  |  |
| 2. | Total schedule No. 2A: Foundations civil works and materials, 330kV Luano - Chingola Double Circuit | Lot | 1 |  |  |
| 4. | Total schedule No. 3A: Installation Services, 330kV Luano - Chingola Double Circuit | lot | 1 |  |  |
| 5 | Total from Schedule No. 4A, Day Work for 330kV Luano - Chingola Double Circuit | Lot | 1 |  |  |
| 6 | SUB TOTAL (To Bid Form) |  |  |  |  |
|  | TOTAL (to Schedule 11 Grand Total) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

## Schedule 6: 330kV Transmission Lines Total Cost

| Item | Description | Total Price 1 CIP USD | Total Price 2 DDP USD |
| --- | --- | --- | --- |
| 1 | Schedule 5A: Detail prices, Summary of prices for 330kV Kabwe Luanshya Luano LILO |  |  |
|  | 330kV Lines Total Cost (To Grand Summary) |  |  |
|  | Name of Bidder |  |  |
|  | Signature of Bidder |  |  |

# 132kV TRANSMISSION LINES

## Luanshya Mpongwe 132kV Double Circuit line

### Schedule 1: 132kV Luanshya – Mpongwe Double Circuit plant and equipment supplied from abroad

|  | DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1 (132kV Double Circuit Luanshya - Mpongwe) Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 | UNIT | QTY | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |
| No. |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |
|  |  |  |  |  | CIP | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |
| 1 | Self-supporting Monopole Towers, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications |  |  |  |  |  |  |  |  |  |
|  | Type A |  |  |  |  |  |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV (13m CAH) |  | each | 35 |  |  |  |  |  |  |
| 1.2 | Intermediate Steel Monopole 132kV (14m CAH) |  | each | 35 |  |  |  |  |  |  |
| 1.3 | Intermediate Steel Monopole 132kV (15m CAH) |  | each | 53 |  |  |  |  |  |  |
| 1.4 | Intermediate Steel Monopole 132kV (16m CAH) |  | each | 176 |  |  |  |  |  |  |
| 1.5 | Intermediate Steel Monopole 132kV (17m CAH) |  | each | 53 |  |  |  |  |  |  |
| 1.6 | Intermediate Steel Monopole 132kV (18m CAH) |  | Rate only |  |  |  |  |  |  |  |
|  | Type B |  |  |  |  |  |  |  |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree (13m CAH) |  | each | 14 |  |  |  |  |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  | each | 22 |  |  |  |  |  |  |
|  | Type C |  |  |  |  |  |  |  |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 30-60 degree (13m CAH) |  | each | 2 |  |  |  |  |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  | each | 3 |  |  |  |  |  |  |
|  | Type D |  |  |  |  |  |  |  |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 60-90 degree (13m CAH) |  | each | 2 |  |  |  |  |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  | each | 3 |  |  |  |  |  |  |
|  | Type F |  |  |  |  |  |  |  |  |  |
| 1.13 | Steel Strain Monopole Terminal Flat formation |  | each | 2 |  |  |  |  |  |  |
| 2 | Validate conceptual tower designs and provide all necessary detailed designs, drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |
| 2a | Tower type A |  | Lot | 1 |  |  |  |  |  |  |
| 2b | Tower type B |  | Lot | 1 |  |  |  |  |  |  |
| 2c | Tower type C |  | Lot | 1 |  |  |  |  |  |  |
| 2d | Tower type D |  | Lot | 1 |  |  |  |  |  |  |
| 2e | Tower Type F |  | Lot | 1 |  |  |  |  |  |  |
| 3 | Complete foundation design for all soil classes and all necessary drawings and calculations, including documentation based on the Geotechnical report provided |  |  |  |  |  |  |  |  |  |
| 6a | Soil Class 5 foundations |  | each | 96 |  |  |  |  |  |  |
| 6b | Soil Class 4 foundations |  | each | 160 |  |  |  |  |  |  |
| 6c | Soil Class 3 foundations |  | each | 80 |  |  |  |  |  |  |
| 6d | Soil Class 2 foundations |  | each | 60 |  |  |  |  |  |  |
| 6e | Soil Class 1 foundations |  | each | 4 |  |  |  |  |  |  |
|  | TOTAL FOUNDATION |  |  | 400 |  |  |  |  |  |  |
| 4 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  | route km | 78 |  |  |  |  |  |  |
| 7.2 | Counterpoise compression joints |  | lot | 1 |  |  |  |  |  |  |
| 7.3 | Parallel groove clamps for counterpoise T-joints |  | lot | 1 |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting tower earthing to substation grid |  | lot | 1 |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to tower legs |  | route km | 78 |  |  |  |  |  |  |
| 5 | Sign plates |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  | each | 400 |  |  |  |  |  |  |
| 8.2 | Danger plates |  | each | 400 |  |  |  |  |  |  |
| 8.3 | Phase plates |  | each | 400 |  |  |  |  |  |  |
| 8.4 | Circuit plates |  | each | 400 |  |  |  |  |  |  |
| 8.5 | Aerial plates |  | each | 400 |  |  |  |  |  |  |
| A | SUB-TOTAL TOWER AND FOUNDATION SUPPLY items 1. to 8.5 |  |  |  |  |  |  |  |  |  |
| 6 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |
| 9.1 | 3 phase double circuit, single Conductor, type ASCR Bison |  | route km | 78 |  |  |  |  |  |  |
| 9.2 | Optical Fibre Ground Wire (OPGW) |  | route km | 78 |  |  |  |  |  |  |
| 9.3 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  | m | 1000 |  |  |  |  |  |  |
| 7 | 132kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for single conductor type ACSR BISON |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  | lot | 1 |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  | lot | 1 |  |  |  |  |  |  |
| 8 | Hardware and fittings for conductor type ASCR BISON |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  | lot | 1 |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  | lot | 1 |  |  |  |  |  |  |
| 11.3 | Vibration dampers, Stockbridge type |  | lot | 1 |  |  |  |  |  |  |
| 9 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly, |  | lot | 1 |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to tower body |  | lot | 1 |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Mult Response type |  | lot | 1 |  |  |  |  |  |  |
| 12.4 | Tower Parallel groove clamps (clamping of OPGW downleads to tower) |  | lot | 1 |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |
| 10 | Spares: Towers, Insulators and Hardware |  |  |  |  |  |  |  |  |  |
| 13.1a | Tension Insulator Units, (without fittings) |  | each | 12 |  |  |  |  |  |  |
| 13.1b | Suspension Insulator Units, (without fittings) |  | each | 24 |  |  |  |  |  |  |
| 13.2 | Hardware for Insulators: |  |  |  |  |  |  |  |  |  |
| 13.2a | Complete set of fittings for suspension insulator |  | set | 24 |  |  |  |  |  |  |
| 13.2b | Complete set of fittings for tension insulator |  | set | 12 |  |  |  |  |  |  |
| 13.2c | Hardware for Conductors: |  |  |  |  |  |  |  |  |  |
| 13.2d | Extra Suspension clamps |  | each | 24 |  |  |  |  |  |  |
| 13.2e | Extra Tension clamps |  | each | 12 |  |  |  |  |  |  |
| 13.2f | Extra Jumper clamps |  | each | 12 |  |  |  |  |  |  |
| 13.2g | Extra Tension joints |  | each | 12 |  |  |  |  |  |  |
| 13.2h | Extra Repair sleeves |  | each | 12 |  |  |  |  |  |  |
| 13.2i | Extra Vibration dampers |  | each | 12 |  |  |  |  |  |  |
| 10.3 | Towers (Mandatory Spares) |  |  |  |  |  |  |  |  |  |
| 10.3a | Intermediate Steel Monopole 132kV (13m CAH) |  | each | 1 |  |  |  |  |  |  |
| 10.3b | Intermediate Steel Monopole 132kV (14m CAH) |  | each | 1 |  |  |  |  |  |  |
| 10.3c | Intermediate Steel Monopole 132kV (15m CAH) |  | each | 1 |  |  |  |  |  |  |
| 10.3d | Intermediate Steel Monopole 132kV (16m CAH) |  | each | 1 |  |  |  |  |  |  |
| 10.3e | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  | each | 1 |  |  |  |  |  |  |
| 10.3f | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  | each | 1 |  |  |  |  |  |  |
| 10.3g | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  | each | 1 |  |  |  |  |  |  |
|  | TOTAL FOR SCHEDULE No.1B |  |  |  |  |  |  |  |  |  |
|  | The final quantities for towers and materials to be ordered shall be verified and confirmed after line profile survey, tower spotting and pegging is completed. |  |  |  |  |  |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |  |  |  |  |  |
|  | Code |  |  |  |  |  |  |  |  |  |
|  | Country |  |  |  |  |  |  |  |  |  |
|  | Name of Bidder |  |  |  |  |  |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |  |  |  |  |  |
|  | 1) Bidders shall enter a code representing the country of origin of all imported plant and equipment |  |  |  |  |  |  |  |  |  |
|  | 2) Specify Currency |  |  |  |  |  |  |  |  |  |

### Schedule 2: 132kV double circuit Luanshya – Mpongwe Foundations civil works and materials

| DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2 (132kV Double Circuit Luanshya - Mpongwe) Foundations civil works and materials |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty (1) | Unit Price 1 (2) | Total Price2 (1x2) |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Stubs are excluded since they are supplied under schedule No. 1. For more information, refer to Geotechnical report provided for soil classification per proposed tower location |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV: Soil class 1 | each | 4 |  |  |
| 1.2 | Intermediate Steel Monopole 132kV: Soil Class 2 | each | 53 |  |  |
| 1.3 | Intermediate Steel Monopole 132kV: Soil Class 3 | each | 70 |  |  |
| 1,4 | Intermediate Steel Monopole 132kV: Soil Class 4 | each | 141 |  |  |
| 1.5 | Intermediate Steel Monopole 132kV: Soil Class 5 | each | 84 |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree: Soil Class 1 | each | 0 |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree: Soil Class 2 | each | 5 |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 0-30 degree: Soil class 3 | each | 7 |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 0-30 degree: Soil class 4 | each | 14 |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 0-30 degree: Soil 5 | each | 9 |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 1 | each | 0 |  |  |
| 1.13 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 2 | each | 1 |  |  |
| 1.14 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 3 | each | 1 |  |  |
| 1.15 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 4 | each | 2 |  |  |
| 1.16 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 5 | each | 1 |  |  |
| 1.17 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 1 | each | 0 |  |  |
| 1.18 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 2 | each | 1 |  |  |
| 1.19 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 3 | each | 1 |  |  |
| 1.20 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 4 | each | 2 |  |  |
| 1.21 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 5 | each | 1 |  |  |
|  | TOTAL FOUNDATIONS |  | 400 |  |  |
| D | TOTAL FOR SCHEDULE No. 2B |  |  |  |  |
|  | TOTAL (to schedule Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

### Schedule 3: Local Transportation for 132kV Double Circuit Luanshya – Mpongwe

| SCHEDULE No.3 Local Transportation for 132kV Double Circuit Luanshya – Mpongwe |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: 132kV Double Circuit Luanshya - Mpongwe, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.4 (132kV Double Circuit Luanshya - Mpongwe) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE | TOTAL PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum | 0 |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum | 0 |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum | 0 |  |  |
| 1.4 | Contractor’s facilities and administration | sum | 0 |  |  |
| 1.4.1 | Provide camps, offices and storages | sum | 0 |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum | 0 |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Validation of available survey, Geotechnical, conceptual designs and drawings, and longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. Complete Transmission line design | route km | 78 |  |  |
| 2.2 | Validate plotting of towers and sag curves on longitudinal profiles | route km | 78 |  |  |
| 2.3 | Tower site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 78 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 78 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 32 m wide | route km | 78 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 78 |  |  |
| 3.2 | Extra 3 m wide | route km | 8 |  |  |
| 3.3 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km | 78 |  |  |
| 3.4 | Installation of Farm Gates and fences | lot | 1 |  |  |
| 3.5 | SUB-TOTAL FOR PRELIMINARY, item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1a | Soil Class 5 foundations | each | 96 |  |  |
| 4.1b | Soil Class 4 foundations | each | 160 |  |  |
| 4.1c | Soil Class 3 foundations | each | 80 |  |  |
| 4.1d | Soil Class 2 foundations | each | 60 |  |  |
| 4.1e | Soil Class 1 foundations | each | 4 |  |  |
| 4.1f | TOTAL FOUNDATIONS |  | 400 |  |  |
| 5 | Tower Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual tower sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for tension tower type B | each | 36 |  |  |
| 5.2 | Complete erection works for tension tower type C | each | 5 |  |  |
| 5.3 | Complete erection works for tension tower type D | each | 7 |  |  |
| 5.4 | Complete erection works for tension tower type F | eachj | 2 |  |  |
| 5.4 | Complete erection works for suspension tower type A | each | 352 |  |  |
|  | Note: Installation of towers shall include fitting of all tower accessories, i.e number plates, step bolts,etc |  |  |  |  |
| B | SUB-TOTAL , item 4 to 5.5 |  |  |  |  |
| 6 | Installation and Stringing of Conductors and Earthwires |  |  |  |  |
|  | All costs for distribution from storage to individual tower sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Single phase, conductor type BISON | route km | 78 |  |  |
| 6.2 | Earthwires: |  |  |  |  |
| 6.2a | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 78 |  |  |
| 6.2b | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| C | Sub-total, Installation of Conductors and Earthwires |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1 | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 78 |  |  |
| 7.2 | Measurement of electrical footing resistance to earth at each tower site per leg, including recording in an approved manner shall be included in installation cost | per tower | 400 |  |  |
| 7.3 | Installation of counter-poise cables, including connection to towers, excavation of four 30m long, 600 mm deep trenches and reinstatement | per tower | 400 |  |  |
| 7.4 | Extra to Item 7.3 for laying at 1000 mm depth | per tower | When required |  |  |
| 7.5 | Installation of extended or continuous counterpoise including joints and connections to towers, excavation of a 600 mm deep trench and reinstate-ment | m | 3000 |  |  |
| 7.6 | Extra to Item 7.5 for laying at 1000 mm depth | m | 750 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 8 to 8.5 |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 7.1-7.6 |  |  |  |  |
| E | SUB-TOTAL item 6 to 7.6 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 4B |  |  |  |  |
|  | TOTAL (to schedule 6 Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 5: summary for 132kV Double Circuit Luanshya - Mpongwe

| DETAIL PRICES, SUMMARY SCHEDULE No.5 (The Bidder to complete for 132kV Double Circuit Luanshya - Mpongwe) Summary of Prices |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Schedule No. 1: Plant and Equipment from Abroad. | lot | 1 |  |  |
| 2. | Schedule No. 2: Foundations civil works and materials. | lot | 1 |  |  |
| 3. | Schedule No. 3: Local Transportation | lot | 1 |  |  |
| 4. | Schedule No. 4: Installation Services. | Lot | 1 |  |  |
| 5. | GRAND TOTAL (To Bid Form) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

## Luanshya - Chichele 132kV Double Circuit line

### Schedule 1: 132kV Luanshya – Chichele Double Circuit plant and equipment supplied from abroad

|  | DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1 (132kV Double Circuit Luanshya - Chichele) Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 |  | UNIT | QTY | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |
| No. |  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |
|  |  |  |  |  |  | CIP,Mansa | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |
| 1 | Self-supporting Monopole Towers, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications |  |  |  |  |  |  |  |  |  |  |
|  | Type A |  |  |  |  |  |  |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV (13m CAH) |  |  | each | 16 |  |  |  |  |  |  |
| 1.2 | Intermediate Steel Monopole 132kV (14m CAH) |  |  | each | 16 |  |  |  |  |  |  |
| 1.3 | Intermediate Steel Monopole 132kV (15m CAH) |  |  | each | 24 |  |  |  |  |  |  |
| 1.4 | Intermediate Steel Monopole 132kV (16m CAH) |  |  | each | 81 |  |  |  |  |  |  |
| 1.5 | Intermediate Steel Monopole 132kV (17m CAH) |  |  | each | 24 |  |  |  |  |  |  |
| 1.6 | Intermediate Steel Monopole 132kV (18m CAH) |  |  | each | 0 |  |  |  |  |  |  |
|  | Type B |  |  |  |  |  |  |  |  |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree (13m CAH) |  |  | each | 7 |  |  |  |  |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  |  | each | 11 |  |  |  |  |  |  |
|  | Type C |  |  |  |  |  |  |  |  |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 30-60 degree (13m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
|  | Type D |  |  |  |  |  |  |  |  |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 60-90 degree (13m CAH) |  |  | each | 3 |  |  |  |  |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  |  | each | 4 |  |  |  |  |  |  |
|  | Type F |  |  |  |  |  |  |  |  |  |  |
| 1.13 | Steel Strain Monopole Terminal Flat formation |  |  | each | 0 |  |  |  |  |  |  |
| 5 | Provide all necessary detailed designs, drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |
| 5a | Monopole type B |  |  | Lot | 1 |  |  |  |  |  |  |
| 5b | Monopole type C |  |  | Lot | 1 |  |  |  |  |  |  |
| 5c | Monopole type D |  |  | Lot | 1 |  |  |  |  |  |  |
| 5d | Monopole type F |  |  | Lot | 1 |  |  |  |  |  |  |
| 5e | Monopole type A |  |  | Lot | 1 |  |  |  |  |  |  |
| 6 | Complete foundation design for all soil classes and all necessary drawings and calculations, including documentation based on the Geotechnical report provided |  |  |  |  |  |  |  |  |  |  |
| 6a | Soil Class 5 foundations |  |  | each | 45 |  |  |  |  |  |  |
| 6b | Soil Class 4 foundations |  |  | each | 75 |  |  |  |  |  |  |
| 6c | Soil Class 3 foundations |  |  | each | 38 |  |  |  |  |  |  |
| 6d | Soil Class 2 foundations |  |  | each | 28 |  |  |  |  |  |  |
| 6e | Soil Class 1 foundations |  |  | each | 2 |  |  |  |  |  |  |
|  | TOTAL FOUNDATIONS |  |  |  | 188 |  |  |  |  |  |  |
| 7 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  |  | route km | 38 |  |  |  |  |  |  |
| 7.2 | Counterpoise compression joints |  |  | lot | 1 |  |  |  |  |  |  |
| 7.3 | Parallel groove clamps for counterpoise T-joints |  |  | lot | 1 |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting monopole earthing to substation grid |  |  | lot | 1 |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to monopole legs |  |  | route km | 38 |  |  |  |  |  |  |
| 8 | Sign plates |  |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  |  | each | 188 |  |  |  |  |  |  |
| 8.2 | Danger plates |  |  | each | 188 |  |  |  |  |  |  |
| 8.3 | Phase plates |  |  | each | 188 |  |  |  |  |  |  |
| 8.4 | Circuit plates |  |  | each | 188 |  |  |  |  |  |  |
| 8.5 | Aerial plates |  |  | each | 188 |  |  |  |  |  |  |
| A | SUB-TOTAL MONOPOLE AND FOUNDATION SUPPLY items 1. to 8.5 |  |  |  |  |  |  |  |  |  |  |
| 9 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |  |
| 9.1 | 3 Phase, double circuit, twin Conductor, type ASCR Bison |  |  | route km | 38 |  |  |  |  |  |  |
| 9.2 | Optical Fibre Ground Wire (OPGW) |  |  | route km | 38 |  |  |  |  |  |  |
| 9.3 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  |  | m | 1000 |  |  |  |  |  |  |
| 10 | 132kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for single conductor type ACSR BISON |  |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  |  | lot | 1 |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  |  | lot | 1 |  |  |  |  |  |  |
| 11 | Hardware and fittings for conductor type ASCR BISON |  |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  |  | lot | 1 |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  |  | lot | 1 |  |  |  |  |  |  |
| 11.3 | Vibration dampers, Stockbridge type |  |  | lot | 1 |  |  |  |  |  |  |
| 12 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly, |  |  | lot | 1 |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to monopole body |  |  | lot | 1 |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Mult Response type |  |  | lot | 1 |  |  |  |  |  |  |
| 12.4 | Monopole Parallel groove clamps (clamping of OPGW downleads to monopole) |  |  | lot | 1 |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |  |
| 13 | Spares: Monopoles, Insulators and Hardware |  |  |  |  |  |  |  |  |  |  |
| 13.1a | Tension Insulator Units, (without fittings) |  |  | each | 12 |  |  |  |  |  |  |
| 13.1b | Suspension Insulator Units, (without fittings) |  |  | each | 24 |  |  |  |  |  |  |
| 13.2 | Hardware for Insulators: |  |  |  |  |  |  |  |  |  |  |
| 13.2a | Complete set of fittings for suspension insulator |  |  | set | 24 |  |  |  |  |  |  |
| 13.2b | Complete set of fittings for tension insulator |  |  | set | 12 |  |  |  |  |  |  |
| 13.2c | Hardware for Conductors: |  |  |  |  |  |  |  |  |  |  |
| 13.2d | Extra Suspension clamps |  |  | each | 24 |  |  |  |  |  |  |
| 13.2e | Extra Tension clamps |  |  | each | 12 |  |  |  |  |  |  |
| 13.2f | Extra Jumper clamps |  |  | each | 12 |  |  |  |  |  |  |
| 13.2g | Extra Tension joints |  |  | each | 12 |  |  |  |  |  |  |
| 13.2h | Extra Repair sleeves |  |  | each | 12 |  |  |  |  |  |  |
| 13.2i | Extra Vibration dampers |  |  | each | 12 |  |  |  |  |  |  |
| 10.3 | Towers (Mandatory Spares) |  |  |  |  |  |  |  |  |  |  |
| 10.3a | Intermediate Steel Monopole 132kV (13m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3b | Intermediate Steel Monopole 132kV (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3c | Intermediate Steel Monopole 132kV (15m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3d | Intermediate Steel Monopole 132kV (16m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3e | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3f | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3g | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
|  | The final quantities for monopoles and materials to be ordered shall be verified and confirmed after line profile survey, monopole spotting and pegging is completed. |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |  |  |  |  |  |  |
|  | Code |  |  |  |  |  |  |  |  |  |  |
|  | Country |  |  |  |  |  |  |  |  |  |  |
|  | Name of Bidder |  |  |  |  |  |  |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |  |  |  |  |  |  |
|  | 1) Bidders shall enter a code representing the country of origin of all imported plant and equipment |  |  |  |  |  |  |  |  |  |  |
|  | 2) Specify Currency |  |  |  |  |  |  |  |  |  |  |

### Schedule 2: 132kV double circuit Luanshya – Chichele Foundations civil works and materials

| DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2 (132kV Double Circuit Luanshya - Chichele) Foundations civil works and materials |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty (1) | Unit Price 1 (2) | Total Price2 (1x2) |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Stubs are excluded since they are supplied under schedule No. 1. For more information, refer to Geotechnical report provided for soil classification per proposed monopole location |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV: Soil class 1 | each | 2 |  |  |
| 1.2 | Intermediate Steel Monopole 132kV: Soil Class 2 | each | 24 |  |  |
| 1.3 | Intermediate Steel Monopole 132kV: Soil Class 3 | each | 32 |  |  |
| 1,4 | Intermediate Steel Monopole 132kV: Soil Class 4 | each | 64 |  |  |
| 1.5 | Intermediate Steel Monopole 132kV: Soil Class 5 | each | 39 |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree: Soil Class 1 | each | 0 |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree: Soil Class 2 | each | 3 |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 0-30 degree: Soil class 3 | each | 4 |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 0-30 degree: Soil class 4 | each | 7 |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 0-30 degree: Soil 5 | each | 4 |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 1 | each | 0 |  |  |
| 1.13 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 2 | each | 0 |  |  |
| 1.14 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 3 | each | 0 |  |  |
| 1.15 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 4 | each | 1 |  |  |
| 1.16 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 5 | each | 1 |  |  |
| 1.17 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 1 | each | 0 |  |  |
| 1.18 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 2 | each | 1 |  |  |
| 1.19 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 3 | each | 1 |  |  |
| 1.20 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 4 | each | 3 |  |  |
| 1.21 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 5 | each | 2 |  |  |
|  | TOTAL FOUNDATIONS |  | 188 |  |  |
| D | TOTAL FOR SCHEDULE No. 2B |  |  |  |  |
|  | TOTAL (to schedule Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

### Schedule 3: Local Transportation for 132kV Double Circuit Luanshya - Chichele

| SCHEDULE No.3 Local Transportation for 132kV Double Circuit Luanshya - Chichele |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: 132kV Double Circuit Luanshya - Chichele, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.4 (132kV Double Circuit Luanshya - Chichele) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE | TOTAL PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum | 0 |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum | 0 |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum | 0 |  |  |
| 1.4 | Contractor’s facilities and administration | sum | 0 |  |  |
| 1.4.1 | Provide camps, offices and storages | sum | 0 |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum | 0 |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Detailed survey, Geotechnical, conceptual designs and drawings, and longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. Complete Transmission line design | route km | 38 |  |  |
| 2.2 | Plotting of monopoles and sag curves on longitudinal profiles | route km | 38 |  |  |
| 2.3 | Monopole site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 38 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 38 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 32 m wide | route km | 38 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 38 |  |  |
| 3.2 | Extra 3 m wide | route km | 5 |  |  |
| 3.3 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km | 38 |  |  |
| 3.4 | Installation of Farm Gates and fences | lot | 1 |  |  |
| 3.5 | SUB-TOTAL FOR PRELIMINARY, item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1a | Soil Class 5 foundations | each | 45 |  |  |
| 4.1b | Soil Class 4 foundations | each | 75 |  |  |
| 4.1c | Soil Class 3 foundations | each | 38 |  |  |
| 4.1d | Soil Class 2 foundations | each | 28 |  |  |
| 4.1e | Soil Class 1 foundations | each | 2 |  |  |
| 4.1f | TOTAL FOUNDATIONS |  | 188 |  |  |
| 5 | Monopole Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual monopole sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for tension monopole type B | each | 18 |  |  |
| 5.2 | Complete erection works for tension monopole type C | each | 2 |  |  |
| 5.3 | Complete erection works for tension monopole type D | each | 7 |  |  |
| 5.4 | Complete erection works for suspension monopole type A | each | 161 |  |  |
|  | Note: Installation of monopoles shall include fitting of all monopole accessories, i.e number plates, step bolts,etc |  |  |  |  |
| B | SUB-TOTAL , item 4 to 5.5 |  |  |  |  |
| 6 | Installation and Stringing of Conductors and Earthwires |  |  |  |  |
|  | All costs for distribution from storage to individual monopole sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Single phase, double circuit, twin conductor, type BISON | route km | 38 |  |  |
| 6.2 | Earthwires: |  |  |  |  |
| 6.2a | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 38 |  |  |
| 6.2b | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| C | Sub-total, Installation of Conductors and Earthwires |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1 | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 38 |  |  |
| 7.2 | Measurement of electrical footing resistance to earth at each monopole site per leg, including recording in an approved manner shall be included in installation cost | per monopole | 188 |  |  |
| 7.3 | Installation of counter-poise cables, including connection to monopoles, excavation of four 30m long, 600 mm deep trenches and reinstatement | per monopole | 188 |  |  |
| 7.4 | Extra to Item 7.3 for laying at 1000 mm depth | per monopole | When required |  |  |
| 7.5 | Installation of extended or continuous counterpoise including joints and connections to monopoles, excavation of a 600 mm deep trench and reinstate-ment | m | 3000 |  |  |
| 7.6 | Extra to Item 7.5 for laying at 1000 mm depth | m | 750 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 8 to 8.5 |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 7.1-7.6 |  |  |  |  |
| E | SUB-TOTAL item 6 to 7.6 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 4B |  |  |  |  |
|  | TOTAL (to schedule 6 Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 5: summary for 132kV Double Circuit Luanshya - Chichele

| DETAIL PRICES, SUMMARY SCHEDULE No.5 (The Bidder to complete for 132kV Double Circuit Luanshya - Chichele) Summary of Prices |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Schedule No. 1: Plant and Equipment from Abroad. | lot | 1 |  |  |
| 2. | Schedule No. 2: Foundations civil works and materials. | lot | 1 |  |  |
| 3. | Schedule No. 3: Local Transportation | lot | 1 |  |  |
| 4. | Schedule No. 4: Installation Services | Lot | 1 |  |  |
| 5. | GRAND TOTAL (To Bid Form) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

## Luanshya - Bwana Mkubwa 132kV Double Circuit line

### Schedule 1: 132kV Luanshya – Bwana Mkubwa Double Circuit plant and equipment supplied from abroad

|  | DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1 (132kV Double Circuit Luanshya - Bwana Mkubwa) Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 |  | UNIT | QTY | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |
| No. |  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |
|  |  |  |  |  |  | CIP,Mansa | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |
| 1 | Self-supporting Monopole Towers, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications |  |  |  |  |  |  |  |  |  |  |
|  | Type A |  |  |  |  |  |  |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV (13m CAH) |  |  | each | 13 |  |  |  |  |  |  |
| 1.2 | Intermediate Steel Monopole 132kV (14m CAH) |  |  | each | 13 |  |  |  |  |  |  |
| 1.3 | Intermediate Steel Monopole 132kV (15m CAH) |  |  | each | 19 |  |  |  |  |  |  |
| 1.4 | Intermediate Steel Monopole 132kV (16m CAH) |  |  | each | 65 |  |  |  |  |  |  |
| 1.5 | Intermediate Steel Monopole 132kV (17m CAH) |  |  | each | 19 |  |  |  |  |  |  |
| 1.6 | Intermediate Steel Monopole 132kV (18m CAH) |  |  | each | 0 |  |  |  |  |  |  |
|  | Type B |  |  |  |  |  |  |  |  |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree (13m CAH) |  |  | each | 6 |  |  |  |  |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  |  | each | 9 |  |  |  |  |  |  |
|  | Type C |  |  |  |  |  |  |  |  |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 30-60 degree (13m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  |  | each | 2 |  |  |  |  |  |  |
|  | Type D |  |  |  |  |  |  |  |  |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 60-90 degree (13m CAH) |  |  | each | 2 |  |  |  |  |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  |  | each | 2 |  |  |  |  |  |  |
|  | Type F |  |  |  |  |  |  |  |  |  |  |
| 1.13 | Steel Strain Monopole Terminal Flat formation |  |  | each | 0 |  |  |  |  |  |  |
| 5 | Provide all necessary detailed designs, drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |
| 5a | Monopole type B |  |  | Lot | 1 |  |  |  |  |  |  |
| 5b | Monopole type C |  |  | Lot | 1 |  |  |  |  |  |  |
| 5c | Monopole type D |  |  | Lot | 1 |  |  |  |  |  |  |
| 5d | Monopole type A |  |  | Lot | 1 |  |  |  |  |  |  |
| 6 | Complete foundation design for all soil classes and all necessary drawings and calculations, including documentation based on the Geotechnical report provided |  |  |  |  |  |  |  |  |  |  |
| 6a | Soil Class 5 foundations |  |  | each | 36 |  |  |  |  |  |  |
| 6b | Soil Class 4 foundations |  |  | each | 60 |  |  |  |  |  |  |
| 6c | Soil Class 3 foundations |  |  | each | 30 |  |  |  |  |  |  |
| 6d | Soil Class 2 foundations |  |  | each | 23 |  |  |  |  |  |  |
| 6e | Soil Class 1 foundations |  |  | each | 2 |  |  |  |  |  |  |
|  | TOTAL FOUNDATIONS |  |  |  | 151 |  |  |  |  |  |  |
| 7 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  |  | route km | 30 |  |  |  |  |  |  |
| 7.2 | Counterpoise compression joints |  |  | lot | 1 |  |  |  |  |  |  |
| 7.3 | Parallel groove clamps for counterpoise T-joints |  |  | lot | 1 |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting monopole earthing to substation grid |  |  | lot | 1 |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to monopole legs |  |  | route km | 30 |  |  |  |  |  |  |
| 8 | Sign plates |  |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  |  | each | 151 |  |  |  |  |  |  |
| 8.2 | Danger plates |  |  | each | 150 |  |  |  |  |  |  |
| 8.3 | Phase plates |  |  | each | 151 |  |  |  |  |  |  |
| 8.4 | Circuit plates |  |  | each | 151 |  |  |  |  |  |  |
| 8.5 | Aerial plates |  |  | each | 151 |  |  |  |  |  |  |
| A | SUB-TOTAL MONOPOLE AND FOUNDATION SUPPLY items 1. to 8.5 |  |  |  |  |  |  |  |  |  |  |
| 9 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |  |
| 9.1 | Twin Conductor, type ASCR Bison |  |  | route km | 30 |  |  |  |  |  |  |
| 9.2 | Optical Fibre Ground Wire (OPGW) |  |  | route km | 30 |  |  |  |  |  |  |
| 9.3 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  |  | m | 1000 |  |  |  |  |  |  |
| 10 | 132kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for single conductor type ACSR BISON |  |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  |  | lot | 1 |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  |  | lot | 1 |  |  |  |  |  |  |
| 11 | Hardware and fittings for conductor type ASCR BISON |  |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  |  | lot | 1 |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  |  | lot | 1 |  |  |  |  |  |  |
| 11.3 | Vibration dampers, Stockbridge type |  |  | lot | 1 |  |  |  |  |  |  |
| 12 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly, |  |  | lot | 1 |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to monopole body |  |  | lot | 1 |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Mult Response type |  |  | lot | 1 |  |  |  |  |  |  |
| 12.4 | Monopole Parallel groove clamps (clamping of OPGW downleads to monopole) |  |  | lot | 1 |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |  |
| 13 | Spares: Monopoles, Insulators and Hardware |  |  |  |  |  |  |  |  |  |  |
| 13.1a | Tension Insulator Units, (without fittings) |  |  | each | 12 |  |  |  |  |  |  |
| 13.1b | Suspension Insulator Units, (without fittings) |  |  | each | 24 |  |  |  |  |  |  |
| 13.2 | Hardware for Insulators: |  |  |  |  |  |  |  |  |  |  |
| 13.2a | Complete set of fittings for suspension insulator |  |  | set | 24 |  |  |  |  |  |  |
| 13.2b | Complete set of fittings for tension insulator |  |  | set | 12 |  |  |  |  |  |  |
| 13.2c | Hardware for Conductors: |  |  |  |  |  |  |  |  |  |  |
| 13.2d | Extra Suspension clamps |  |  | each | 24 |  |  |  |  |  |  |
| 13.2e | Extra Tension clamps |  |  | each | 12 |  |  |  |  |  |  |
| 13.2f | Extra Jumper clamps |  |  | each | 12 |  |  |  |  |  |  |
| 13.2g | Extra Tension joints |  |  | each | 12 |  |  |  |  |  |  |
| 13.2h | Extra Repair sleeves |  |  | each | 12 |  |  |  |  |  |  |
| 13.2i | Extra Vibration dampers |  |  | each | 12 |  |  |  |  |  |  |
| 10.3 | Towers (Mandatory Spares) |  |  |  |  |  |  |  |  |  |  |
| 10.3a | Intermediate Steel Monopole 132kV (13m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3b | Intermediate Steel Monopole 132kV (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3c | Intermediate Steel Monopole 132kV (15m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3d | Intermediate Steel Monopole 132kV (16m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3e | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3f | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3g | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
|  | TOTAL FOR SCHEDULE No.1B |  |  |  |  |  |  |  |  |  |  |
|  | The final quantities for monopoles and materials to be ordered shall be verified and confirmed after line profile survey, monopole spotting and pegging is completed. |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |  |  |  |  |  |  |
|  | Code |  |  |  |  |  |  |  |  |  |  |
|  | Country |  |  |  |  |  |  |  |  |  |  |
|  | Name of Bidder |  |  |  |  |  |  |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |  |  |  |  |  |  |
|  | 1) Bidders shall enter a code representing the country of origin of all imported plant and equipment |  |  |  |  |  |  |  |  |  |  |
|  | 2) Specify Currency |  |  |  |  |  |  |  |  |  |  |

### Schedule 2: 132kV double circuit Luanshya – Bwana Mkubwa Foundations civil works and materials

| DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2 (132kV Double Circuit Luanshya - Bwana Mkubwa) Foundations civil works and materials |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty (1) | Unit Price 1 (2) | Total Price2 (1x2) |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Stubs are excluded since they are supplied under schedule No. 1. For more information, refer to Geotechnical report provided for soil classification per proposed monopole location |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV: Soil class 1 | each | 1 |  |  |
| 1.2 | Intermediate Steel Monopole 132kV: Soil Class 2 | each | 19 |  |  |
| 1.3 | Intermediate Steel Monopole 132kV: Soil Class 3 | each | 26 |  |  |
| 1,4 | Intermediate Steel Monopole 132kV: Soil Class 4 | each | 52 |  |  |
| 1.5 | Intermediate Steel Monopole 132kV: Soil Class 5 | each | 31 |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree: Soil Class 1 | each | 0 |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree: Soil Class 2 | each | 2 |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 0-30 degree: Soil class 3 | each | 3 |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 0-30 degree: Soil class 4 | each | 6 |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 0-30 degree: Soil 5 | each | 4 |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 1 | each | 0 |  |  |
| 1.13 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 2 | each | 2 |  |  |
| 1.14 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 3 | each | 1 |  |  |
| 1.15 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 4 | each | 1 |  |  |
| 1.16 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 5 | each | 1 |  |  |
| 1.17 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 1 | each | 0 |  |  |
| 1.18 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 2 | each | 1 |  |  |
| 1.19 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 3 | each | 1 |  |  |
| 1.20 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 4 | each | 2 |  |  |
| 1.21 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 5 | each | 1 |  |  |
|  | TOTAL FOUNDATIONS |  | 151 |  |  |
| D | TOTAL FOR SCHEDULE No. 2B |  |  |  |  |
|  | TOTAL (to schedule Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

### Schedule 3: Local Transportation for 132kV Double Circuit Luanshya - Bwana Mkubwa

| SCHEDULE No.3 Local Transportation for 132kV Double Circuit Luanshya - Bwana Mkubwa |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: 132kV Double Circuit Luanshya - Bwana Mkubwa, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.4 (132kV Double Circuit Luanshya - Bwana Mkubwa) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE | TOTAL PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum | 0 |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum | 0 |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum | 0 |  |  |
| 1.4 | Contractor’s facilities and administration | sum | 0 |  |  |
| 1.4.1 | Provide camps, offices and storages | sum | 0 |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum | 0 |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Validation of available survey, Geotechnical, conceptual designs and drawings, and longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. Complete Transmission line design | route km | 30 |  |  |
| 2.2 | Validate plotting of monopoles and sag curves on longitudinal profiles | route km | 30 |  |  |
| 2.3 | Monopole site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 30 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 30 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 32 m wide | route km | 30 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 30 |  |  |
| 3.2 | Extra 3 m wide | route km | 4 |  |  |
| 3.3 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km | 30 |  |  |
| 3.4 | Installation of Farm Gates and fences | lot | 1 |  |  |
| 3.5 | SUB-TOTAL FOR PRELIMINARY, item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1a | Soil Class 5 foundations | each | 36 |  |  |
| 4.1b | Soil Class 4 foundations | each | 60 |  |  |
| 4.1c | Soil Class 3 foundations | each | 30 |  |  |
| 4.1d | Soil Class 2 foundations | each | 23 |  |  |
| 4.1e | Soil Class 1 foundations | each | 2 |  |  |
| 4.1f | TOTAL FOUNDATIONS |  | 151 |  |  |
| 5 | Monopole Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual monopole sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for tension monopole type B | each | 15 |  |  |
| 5.2 | Complete erection works for tension monopole type C | each | 3 |  |  |
| 5.3 | Complete erection works for tension monopole type D | each | 4 |  |  |
| 5.4 | Complete erection works for suspension monopole type A | each | 129 |  |  |
|  | Note: Installation of monopoles shall include fitting of all monopole accessories, i.e number plates, step bolts,etc |  |  |  |  |
| B | SUB-TOTAL , item 4 to 5.5 |  |  |  |  |
| 6 | Installation and Stringing of Conductors and Earthwires |  |  |  |  |
|  | All costs for distribution from storage to individual monopole sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Single phase, Twin conductor type BISON | route km | 30 |  |  |
| 6.2 | Earthwires: |  |  |  |  |
| 6.2a | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 30 |  |  |
| 6.2b | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| C | Sub-total, Installation of Conductors and Earthwires |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1 | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 30 |  |  |
| 7.2 | Measurement of electrical footing resistance to earth at each monopole site per leg, including recording in an approved manner shall be included in installation cost | per monopole | 151 |  |  |
| 7.3 | Installation of counter-poise cables, including connection to monopoles, excavation of four 30m long, 600 mm deep trenches and reinstatement | per monopole | 151 |  |  |
| 7.4 | Extra to Item 7.3 for laying at 1000 mm depth | per monopole | When required |  |  |
| 7.5 | Installation of extended or continuous counterpoise including joints and connections to monopoles, excavation of a 600 mm deep trench and reinstate-ment | m | 3000 |  |  |
| 7.6 | Extra to Item 7.5 for laying at 1000 mm depth | m | 750 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 8 to 8.5 |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 7.1-7.6 |  |  |  |  |
| E | SUB-TOTAL item 6 to 7.6 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 4B |  |  |  |  |
|  | TOTAL (to schedule 6 Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

Schedule 5: summary for 132kV Double Circuit Luanshya - Bwana Mkubwa

| DETAIL PRICES, SUMMARY SCHEDULE No.5 (The Bidder to complete for 132kV Double Circuit Luanshya - Bwana Mkubwa) Summary of Prices |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Schedule No. 1: Plant and Equipment from Abroad. | lot | 1 |  |  |
| 2. | Schedule No. 2: Foundations civil works and materials. | lot | 1 |  |  |
| 3. | Schedule No. 3: Local Transportation | lot | 1 |  |  |
| 4. | Schedule No. 4: Installation Services | Lot | 1 |  |  |
| 5. | GRAND TOTAL (To Bid Form) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

## Luanshya - Kafulafuta 132kV Double Circuit line

### Schedule 1: 132kV Luanshya - Kafulafuta Double Circuit plant and equipment supplied from abroad

|  | DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1 (132kV Double Circuit Luanshya - Kafulafuta) Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 |  | UNIT | QTY | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |
| No. |  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |
|  |  |  |  |  |  | CIP,Mansa | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |
| 1 | Self-supporting Monopole Towers, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications |  |  |  |  |  |  |  |  |  |  |
|  | Type A |  |  |  |  |  |  |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV (13m CAH) |  |  | each | 7 |  |  |  |  |  |  |
| 1.2 | Intermediate Steel Monopole 132kV (14m CAH) |  |  | each | 7 |  |  |  |  |  |  |
| 1.3 | Intermediate Steel Monopole 132kV (15m CAH) |  |  | each | 10 |  |  |  |  |  |  |
| 1.4 | Intermediate Steel Monopole 132kV (16m CAH) |  |  | each | 35 |  |  |  |  |  |  |
| 1.5 | Intermediate Steel Monopole 132kV (17m CAH) |  |  | each | 10 |  |  |  |  |  |  |
| 1.6 | Intermediate Steel Monopole 132kV (18m CAH) |  |  | each | 0 |  |  |  |  |  |  |
|  | Type B |  |  |  |  |  |  |  |  |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree (13m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  |  | each | 2 |  |  |  |  |  |  |
|  | Type C |  |  |  |  |  |  |  |  |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 30-60 degree (13m CAH) |  |  | each | 0 |  |  |  |  |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
|  | Type D |  |  |  |  |  |  |  |  |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 60-90 degree (13m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  |  | each | 2 |  |  |  |  |  |  |
|  | Type F |  |  |  |  |  |  |  |  |  |  |
| 1.13 | Steel Strain Monopole Terminal Flat formation |  |  | each | 0 |  |  |  |  |  |  |
| 5 | Provide all necessary detailed designs, drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |
| 5a | Monopole type B |  |  | Lot | 1 |  |  |  |  |  |  |
| 5b | Monopole type C |  |  | Lot | 1 |  |  |  |  |  |  |
| 5c | Monopole type D |  |  | Lot | 1 |  |  |  |  |  |  |
| 5d | Monopole type A |  |  | Lot | 1 |  |  |  |  |  |  |
| 6 | Complete foundation design for all soil classes and all necessary drawings and calculations, including documentation based on the Geotechnical report provided |  |  |  |  |  |  |  |  |  |  |
| 6a | Soil Class 5 foundations |  |  | each | 18 |  |  |  |  |  |  |
| 6b | Soil Class 4 foundations |  |  | each | 30 |  |  |  |  |  |  |
| 6c | Soil Class 3 foundations |  |  | each | 15 |  |  |  |  |  |  |
| 6d | Soil Class 2 foundations |  |  | each | 11 |  |  |  |  |  |  |
| 6e | Soil Class 1 foundations |  |  | each | 1 |  |  |  |  |  |  |
|  | TOTAL FOUNDATIONS |  |  |  | 76 |  |  |  |  |  |  |
| 7 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  |  | route km | 15 |  |  |  |  |  |  |
| 7.2 | Counterpoise compression joints |  |  | lot | 1 |  |  |  |  |  |  |
| 7.3 | Parallel groove clamps for counterpoise T-joints |  |  | lot | 1 |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting monopole earthing to substation grid |  |  | lot | 1 |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to monopole legs |  |  | route km | 15 |  |  |  |  |  |  |
| 8 | Sign plates |  |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  |  | each | 76 |  |  |  |  |  |  |
| 8.2 | Danger plates |  |  | each | 76 |  |  |  |  |  |  |
| 8.3 | Phase plates |  |  | each | 76 |  |  |  |  |  |  |
| 8.4 | Circuit plates |  |  | each | 76 |  |  |  |  |  |  |
| 8.5 | Aerial plates |  |  | each | 76 |  |  |  |  |  |  |
| A | SUB-TOTAL MONOPOLE AND FOUNDATION SUPPLY items 1. to 8.5 |  |  |  |  |  |  |  |  |  |  |
| 9 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |  |
| 9.1 | Conductor, type ASCR Bison |  |  | route km | 15 |  |  |  |  |  |  |
| 9.2 | Optical Fibre Ground Wire (OPGW) |  |  | route km | 15 |  |  |  |  |  |  |
| 9.3 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  |  | m | 1000 |  |  |  |  |  |  |
| 10 | 132kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for single conductor type ACSR BISON |  |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  |  | lot | 1 |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  |  | lot | 1 |  |  |  |  |  |  |
| 11 | Hardware and fittings for conductor type ASCR BISON |  |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  |  | lot | 1 |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  |  | lot | 1 |  |  |  |  |  |  |
| 11.3 | Vibration dampers, Stockbridge type |  |  | lot | 1 |  |  |  |  |  |  |
| 12 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly, |  |  | lot | 1 |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to monopole body |  |  | lot | 1 |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Mult Response type |  |  | lot | 1 |  |  |  |  |  |  |
| 12.4 | Monopole Parallel groove clamps (clamping of OPGW downleads to monopole) |  |  | lot | 1 |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |  |
| 13 | Spares: Monopoles, Insulators and Hardware |  |  |  |  |  |  |  |  |  |  |
| 13.1a | Tension Insulator Units, (without fittings) |  |  | each | 12 |  |  |  |  |  |  |
| 13.1b | Suspension Insulator Units, (without fittings) |  |  | each | 24 |  |  |  |  |  |  |
| 13.2 | Hardware for Insulators: |  |  |  |  |  |  |  |  |  |  |
| 13.2a | Complete set of fittings for suspension insulator |  |  | set | 24 |  |  |  |  |  |  |
| 13.2b | Complete set of fittings for tension insulator |  |  | set | 12 |  |  |  |  |  |  |
| 13.2c | Hardware for Conductors: |  |  |  |  |  |  |  |  |  |  |
| 13.2d | Extra Suspension clamps |  |  | each | 24 |  |  |  |  |  |  |
| 13.2e | Extra Tension clamps |  |  | each | 12 |  |  |  |  |  |  |
| 13.2f | Extra Jumper clamps |  |  | each | 12 |  |  |  |  |  |  |
| 13.2g | Extra Tension joints |  |  | each | 12 |  |  |  |  |  |  |
| 13.2h | Extra Repair sleeves |  |  | each | 12 |  |  |  |  |  |  |
| 13.2i | Extra Vibration dampers |  |  | each | 12 |  |  |  |  |  |  |
| 10.3 | Towers (Mandatory Spares) |  |  |  |  |  |  |  |  |  |  |
| 10.3a | Intermediate Steel Monopole 132kV (13m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3b | Intermediate Steel Monopole 132kV (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3c | Intermediate Steel Monopole 132kV (15m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3d | Intermediate Steel Monopole 132kV (16m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3e | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3f | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3g | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
|  | TOTAL FOR SCHEDULE No.1B |  |  |  |  |  |  |  |  |  |  |
|  | The final quantities for monopoles and materials to be ordered shall be verified and confirmed after line profile survey, monopole spotting and pegging is completed. |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |  |  |  |  |  |  |
|  | Code |  |  |  |  |  |  |  |  |  |  |
|  | Country |  |  |  |  |  |  |  |  |  |  |
|  | Name of Bidder |  |  |  |  |  |  |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |  |  |  |  |  |  |
|  | 1) Bidders shall enter a code representing the country of origin of all imported plant and equipment |  |  |  |  |  |  |  |  |  |  |
|  | 2) Specify Currency |  |  |  |  |  |  |  |  |  |  |

### Schedule 2: 132kV double circuit Luanshya - Kafulafuta Foundations civil works and materials

| DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2 (132kV Double Circuit Luanshya - Kafulafuta) Foundations civil works and materials |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty (1) | Unit Price 1 (2) | Total Price2 (1x2) |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Stubs are excluded since they are supplied under schedule No. 1. For more information, refer to Geotechnical report provided for soil classification per proposed monopole location |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV: Soil class 1 | each | 1 |  |  |
| 1.2 | Intermediate Steel Monopole 132kV: Soil Class 2 | each | 10 |  |  |
| 1.3 | Intermediate Steel Monopole 132kV: Soil Class 3 | each | 14 |  |  |
| 1,4 | Intermediate Steel Monopole 132kV: Soil Class 4 | each | 28 |  |  |
| 1.5 | Intermediate Steel Monopole 132kV: Soil Class 5 | each | 17 |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree: Soil Class 1 | each | 0 |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree: Soil Class 2 | each | 0 |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 0-30 degree: Soil class 3 | each | 1 |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 0-30 degree: Soil class 4 | each | 1 |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 0-30 degree: Soil 5 | each | 1 |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 1 | each | 0 |  |  |
| 1.13 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 2 | each | 0 |  |  |
| 1.14 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 3 | each | 0 |  |  |
| 1.15 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 4 | each | 0 |  |  |
| 1.16 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 5 | each | 0 |  |  |
| 1.17 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 1 | each | 0 |  |  |
| 1.18 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 2 | each | 0 |  |  |
| 1.19 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 3 | each | 1 |  |  |
| 1.20 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 4 | each | 1 |  |  |
| 1.21 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 5 | each | 1 |  |  |
|  | TOTAL FOUNDATIONS |  | 76 |  |  |
| D | TOTAL FOR SCHEDULE No. 2B |  |  |  |  |
|  | TOTAL (to schedule Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

### Schedule 3: Local Transportation for 132kV Double Circuit Luanshya - Kafulafuta

| SCHEDULE No.3 Local Transportation for 132kV Double Circuit Luanshya - Kafulafuta |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: 132kV Double Circuit Luanshya - Kafulafuta, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.4 (132kV Double Circuit Luanshya - Kafulafuta) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE | TOTAL PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum | 0 |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum | 0 |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum | 0 |  |  |
| 1.4 | Contractor’s facilities and administration | sum | 0 |  |  |
| 1.4.1 | Provide camps, offices and storages | sum | 0 |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum | 0 |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Detailed survey, Geotechnical, conceptual designs and drawings, and longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. Complete Transmission line design | route km | 15 |  |  |
| 2.2 | Plotting of monopoles and sag curves on longitudinal profiles | route km | 15 |  |  |
| 2.3 | Monopole site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 15 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 15 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 32 m wide | route km | 15 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 15 |  |  |
| 3.2 | Extra 3 m wide | route km | 4 |  |  |
| 3.3 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km | 15 |  |  |
| 3.4 | Installation of Farm Gates and fences | lot | 1 |  |  |
| 3.5 | SUB-TOTAL FOR PRELIMINARY, item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1a | Soil Class 5 foundations (Pile foundation) | each | 18 |  |  |
| 4.1b | Soil Class 4 foundations | each | 30 |  |  |
| 4.1c | Soil Class 3 foundations | each | 15 |  |  |
| 4.1d | Soil Class 2 foundations | each | 11 |  |  |
| 4.1e | Soil Class 1 foundations | each | 1 |  |  |
| 4.1f | TOTAL FOUNDATIONS |  | 76 |  |  |
| 5 | Monopole Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual monopole sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for tension monopole type B | each | 3 |  |  |
| 5.2 | Complete erection works for tension monopole type C | each | 1 |  |  |
| 5.3 | Complete erection works for tension monopole type D | each | 3 |  |  |
| 5.4 | Complete erection works for suspension monopole type A | each | 69 |  |  |
|  | Note: Installation of monopoles shall include fitting of all monopole accessories, i.e number plates, step bolts,etc |  |  |  |  |
| B | SUB-TOTAL , item 4 to 5.5 |  |  |  |  |
| 6 | Installation and Stringing of Conductors and Earthwires |  |  |  |  |
|  | All costs for distribution from storage to individual monopole sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Single phase, Twin conductor type BISON | route km | 15 |  |  |
| 6.2 | Earthwires: |  |  |  |  |
| 6.2a | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 15 |  |  |
| 6.2b | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| C | Sub-total, Installation of Conductors and Earthwires |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1 | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 15 |  |  |
| 7.2 | Measurement of electrical footing resistance to earth at each monopole site per leg, including recording in an approved manner shall be included in installation cost | per monopole | 76 |  |  |
| 7.3 | Installation of counter-poise cables, including connection to monopoles, excavation of four 30m long, 600 mm deep trenches and reinstatement | per monopole | 76 |  |  |
| 7.4 | Extra to Item 7.3 for laying at 1000 mm depth | per monopole | When required |  |  |
| 7.5 | Installation of extended or continuous counterpoise including joints and connections to monopoles, excavation of a 600 mm deep trench and reinstate-ment | m | 3000 |  |  |
| 7.6 | Extra to Item 7.5 for laying at 1000 mm depth | m | 750 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 8 to 8.5 |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 7.1-7.6 |  |  |  |  |
| E | SUB-TOTAL item 6 to 7.6 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 4B |  |  |  |  |
|  | TOTAL (to schedule 6 Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 5: summary for 132kV Double Circuit Luanshya - Kafulafuta

| DETAIL PRICES, SUMMARY SCHEDULE No.5 (The Bidder to complete for 132kV Double Circuit Luanshya - Kafulafuta) Summary of Prices |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Schedule No. 1: Plant and Equipment from Abroad. | lot | 1 |  |  |
| 2. | Schedule No. 2: Foundations civil works and materials. | lot | 1 |  |  |
| 3. | Schedule No. 3: Local Transportation | lot | 1 |  |  |
| 4. | Schedule No. 4: Installation Services | Lot | 1 |  |  |
| 5. | GRAND TOTAL (To Bid Form) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

## Mine Farm - Kafulafuta 132kV line

### Schedule 1: 132kV Mine Farm - Kafulafuta Double Circuit plant and equipment supplied from abroad

|  | DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1 (132kV Mine Farm - Kafulafuta Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 |  | UNIT | QTY | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |
| No. |  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |
|  |  |  |  |  |  | CIP,Mansa | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |
| 1 | Self-supporting Monopole Towers, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications |  |  |  |  |  |  |  |  |  |  |
|  | Type A |  |  |  |  |  |  |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV (13m CAH) |  |  | each | 0 |  |  |  |  |  |  |
| 1.2 | Intermediate Steel Monopole 132kV (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 1.3 | Intermediate Steel Monopole 132kV (15m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 1.4 | Intermediate Steel Monopole 132kV (16m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 1.5 | Intermediate Steel Monopole 132kV (17m CAH) |  |  | each | 0 |  |  |  |  |  |  |
| 1.6 | Intermediate Steel Monopole 132kV (18m CAH) |  |  | each | 0 |  |  |  |  |  |  |
|  | Type B |  |  |  |  |  |  |  |  |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree (13m CAH) |  |  | each | 0 |  |  |  |  |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  |  | each | 0 |  |  |  |  |  |  |
|  | Type C |  |  |  |  |  |  |  |  |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 30-60 degree (13m CAH) |  |  | each | 0 |  |  |  |  |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  |  | each | o |  |  |  |  |  |  |
|  | Type D |  |  |  |  |  |  |  |  |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 60-90 degree (13m CAH) |  |  | each | 2 |  |  |  |  |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  |  | each | 2 |  |  |  |  |  |  |
|  | Type F |  |  |  |  |  |  |  |  |  |  |
| 1.13 | Steel Strain Monopole Terminal Flat formation |  |  | each | 0 |  |  |  |  |  |  |
| 5 | Provide all necessary detailed designs, drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |
| 5a | Monopole type B |  |  | Lot | 1 |  |  |  |  |  |  |
| 5b | Monopole type C |  |  | Lot | 1 |  |  |  |  |  |  |
| 5c | Monopole type D |  |  | Lot | 1 |  |  |  |  |  |  |
|  | Monopole type F |  |  | Lot | 1 |  |  |  |  |  |  |
| 5d | Monopole type A |  |  | Lot | 1 |  |  |  |  |  |  |
| 6 | Complete foundation design for all soil classes and all necessary drawings and calculations, including documentation based on the Geotechnical report provided |  |  |  |  |  |  |  |  |  |  |
| 6a | Soil Class 5 foundations |  |  | each | 2 |  |  |  |  |  |  |
| 6b | Soil Class 4 foundations |  |  | each | 3 |  |  |  |  |  |  |
| 6c | Soil Class 3 foundations |  |  | each | 1 |  |  |  |  |  |  |
| 6d | Soil Class 2 foundations |  |  | each | 1 |  |  |  |  |  |  |
| 6e | Soil Class 1 foundations |  |  | each | 0 |  |  |  |  |  |  |
|  | TOTAL FOUNDATIONS |  |  |  | 7 |  |  |  |  |  |  |
| 7 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  |  | route km | 1 |  |  |  |  |  |  |
| 7.2 | Counterpoise compression joints |  |  | lot | 1 |  |  |  |  |  |  |
| 7.3 | Parallel groove clamps for counterpoise T-joints |  |  | lot | 1 |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting monopole earthing to substation grid |  |  | lot | 1 |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to monopole legs |  |  | route km | 1 |  |  |  |  |  |  |
| 8 | Sign plates |  |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  |  | each | 7 |  |  |  |  |  |  |
| 8.2 | Danger plates |  |  | each | 7 |  |  |  |  |  |  |
| 8.3 | Phase plates |  |  | each | 7 |  |  |  |  |  |  |
| 8.4 | Circuit plates |  |  | each | 7 |  |  |  |  |  |  |
| 8.5 | Aerial plates |  |  | each | 7 |  |  |  |  |  |  |
| A | SUB-TOTAL MONOPOLE AND FOUNDATION SUPPLY items 1. to 8.5 |  |  |  |  |  |  |  |  |  |  |
| 9 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |  |
| 9.1 | Single Conductor, type ASCR Bison |  |  | route km | 1 |  |  |  |  |  |  |
| 9.2 | Optical Fibre Ground Wire (OPGW) |  |  | route km | 1 |  |  |  |  |  |  |
| 9.3 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  |  | m | 1000 |  |  |  |  |  |  |
| 10 | 132kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for single conductor type ACSR BISON |  |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  |  | lot | 1 |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  |  | lot | 1 |  |  |  |  |  |  |
| 11 | Hardware and fittings for conductor type ASCR BISON |  |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  |  | lot | 1 |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  |  | lot | 1 |  |  |  |  |  |  |
| 11.3 | Vibration dampers, Stockbridge type |  |  | lot | 1 |  |  |  |  |  |  |
| 12 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly, |  |  | lot | 1 |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to monopole body |  |  | lot | 1 |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Mult Response type |  |  | lot | 1 |  |  |  |  |  |  |
| 12.4 | Monopole Parallel groove clamps (clamping of OPGW downleads to monopole) |  |  | lot | 1 |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |  |
| 13 | Spares: Monopoles, Insulators and Hardware |  |  |  |  |  |  |  |  |  |  |
| 13.1a | Tension Insulator Units, (without fittings) |  |  | each | 12 |  |  |  |  |  |  |
| 13.1b | Suspension Insulator Units, (without fittings) |  |  | each | 24 |  |  |  |  |  |  |
| 13.2 | Hardware for Insulators: |  |  |  |  |  |  |  |  |  |  |
| 13.2a | Complete set of fittings for suspension insulator |  |  | set | 24 |  |  |  |  |  |  |
| 13.2b | Complete set of fittings for tension insulator |  |  | set | 12 |  |  |  |  |  |  |
| 13.2c | Hardware for Conductors: |  |  |  |  |  |  |  |  |  |  |
| 13.2d | Extra Suspension clamps |  |  | each | 24 |  |  |  |  |  |  |
| 13.2e | Extra Tension clamps |  |  | each | 12 |  |  |  |  |  |  |
| 13.2f | Extra Jumper clamps |  |  | each | 12 |  |  |  |  |  |  |
| 13.2g | Extra Tension joints |  |  | each | 12 |  |  |  |  |  |  |
| 13.2h | Extra Repair sleeves |  |  | each | 12 |  |  |  |  |  |  |
| 13.2i | Extra Vibration dampers |  |  | each | 12 |  |  |  |  |  |  |
| 10.3 |  | Towers (Mandatory Spares) |  |  |  |  |  |  |  |  |  |  |
| 10.3a |  | Intermediate Steel Monopole 132kV (13m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3b |  | Intermediate Steel Monopole 132kV (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3c |  | Intermediate Steel Monopole 132kV (15m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3d |  | Intermediate Steel Monopole 132kV (16m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3e |  | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3f |  | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3g |  | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
|  | TOTAL FOR SCHEDULE No.1B |  |  |  |  |  |  |  |  |  |  |
|  | The final quantities for monopoles and materials to be ordered shall be verified and confirmed after line profile survey, monopole spotting and pegging is completed. |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |  |  |  |  |  |  |
|  | Code |  |  |  |  |  |  |  |  |  |  |
|  | Country |  |  |  |  |  |  |  |  |  |  |
|  | Name of Bidder |  |  |  |  |  |  |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |  |  |  |  |  |  |
|  | 1) Bidders shall enter a code representing the country of origin of all imported plant and equipment |  |  |  |  |  |  |  |  |  |  |
|  | 2) Specify Currency |  |  |  |  |  |  |  |  |  |  |

### Schedule 2: 132kV Mine Farm - Kafulafuta Foundations civil works and materials

| DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2 (132kV Mine Farm - Kafulafuta) Foundations civil works and materials |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty (1) | Unit Price 1 (2) | Total Price2 (1x2) |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Stubs are excluded since they are supplied under schedule No. 1. For more information, refer to Geotechnical report provided for soil classification per proposed monopole location |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV: Soil class 1 | each | 0 |  |  |
| 1.2 | Intermediate Steel Monopole 132kV: Soil Class 2 | each | 0 |  |  |
| 1.3 | Intermediate Steel Monopole 132kV: Soil Class 3 | each | 1 |  |  |
| 1,4 | Intermediate Steel Monopole 132kV: Soil Class 4 | each | 1 |  |  |
| 1.5 | Intermediate Steel Monopole 132kV: Soil Class 5 | each | 1 |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree: Soil Class 1 | each | 0 |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree: Soil Class 2 | each | 0 |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 0-30 degree: Soil class 3 | each | 0 |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 0-30 degree: Soil class 4 | each | 0 |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 0-30 degree: Soil 5 | each | 0 |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 1 | each | 0 |  |  |
| 1.13 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 2 | each | 0 |  |  |
| 1.14 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 3 | each | 0 |  |  |
| 1.15 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 4 | each | 0 |  |  |
| 1.16 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 5 | each | 0 |  |  |
| 1.17 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 1 | each | 0 |  |  |
| 1.18 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 2 | each | 0 |  |  |
| 1.19 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 3 | each | 0 |  |  |
| 1.20 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 4 | each | 2 |  |  |
| 1.21 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 5 | each | 2 |  |  |
|  | TOTAL FOUNDATIONS |  | 120 |  |  |
| D | TOTAL FOR SCHEDULE No. 2B |  |  |  |  |
|  | TOTAL (to schedule Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

Schedule 3: Local Transportation for 132kV Mine Farm - Kafulafuta

| SCHEDULE No.3 Local Transportation for 132kV Mine Farm - Kafulafuta |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: 132kV Mine Farm - Kafulafuta, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.4 (132kV Mine Farm - Kafulafuta) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE | TOTAL PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum |  |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum |  |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum |  |  |  |
| 1.4 | Contractor’s facilities and administration | sum |  |  |  |
| 1.4.1 | Provide camps, offices and storages | sum |  |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum |  |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Validation of available survey, Geotechnical, conceptual designs and drawings, and longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. Complete Transmission line design | route km | 1 |  |  |
| 2.2 | Validate plotting of monopoles and sag curves on longitudinal profiles | route km | 1 |  |  |
| 2.3 | Monopole site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 1 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 1 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 32 m wide | route km | 1 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 1 |  |  |
| 3.2 | Extra 3 m wide | route km | 0 |  |  |
| 3.3 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km | 1 |  |  |
| 3.4 | Installation of Farm Gates and fences | lot | 1 |  |  |
| 3.5 | SUB-TOTAL FOR PRELIMINARY, item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1a | Soil Class 5 foundations (Pile foundation) | each | 2 |  |  |
| 4.1b | Soil Class 4 foundations | each | 3 |  |  |
| 4.1c | Soil Class 3 foundations | each | 1 |  |  |
| 4.1d | Soil Class 2 foundations | each | 1 |  |  |
| 4.1e | Soil Class 1 foundations | each | 0 |  |  |
| 4.1f | TOTAL FOUNDATIONS |  | 7 |  |  |
| 5 | Monopole Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual monopole sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for tension monopole type B | each | 0 |  |  |
| 5.2 | Complete erection works for tension monopole type C | each | 0 |  |  |
| 5.3 | Complete erection works for tension monopole type D | each |  |  |  |
| 5.4 | Complete erection works for suspension monopole type A | each | 3 |  |  |
|  | Note: Installation of monopoles shall include fitting of all monopole accessories, i.e number plates, step bolts,etc |  |  |  |  |
| B | SUB-TOTAL , item 4 to 5.5 |  |  |  |  |
| 6 | Installation and Stringing of Conductors and Earthwires |  |  |  |  |
|  | All costs for distribution from storage to individual monopole sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Single phase, single conductor type BISON | route km | 1 |  |  |
| 6.2 | Earthwires: |  |  |  |  |
| 6.2a | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 1 |  |  |
| 6.2b | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| C | Sub-total, Installation of Conductors and Earthwires |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1 | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 1 |  |  |
| 7.2 | Measurement of electrical footing resistance to earth at each monopole site per leg, including recording in an approved manner shall be included in installation cost | per monopole | 7 |  |  |
| 7.3 | Installation of counter-poise cables, including connection to monopoles, excavation of four 30m long, 600 mm deep trenches and reinstatement | per monopole | 7 |  |  |
| 7.4 | Extra to Item 7.3 for laying at 1000 mm depth | per monopole | When required |  |  |
| 7.5 | Installation of extended or continuous counterpoise including joints and connections to monopoles, excavation of a 600 mm deep trench and reinstate-ment | m | 3000 |  |  |
| 7.6 | Extra to Item 7.5 for laying at 1000 mm depth | m | 750 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 8 to 8.5 |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 7.1-7.6 |  |  |  |  |
| E | SUB-TOTAL item 6 to 7.6 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 4B |  |  |  |  |
|  | TOTAL (to schedule 6 Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

Schedule 5: summary for 132kV Mine Farm - Kafulafuta

| DETAIL PRICES, SUMMARY SCHEDULE No.5 (The Bidder to complete for 132kV Mine Farm - Kafulafuta) Summary of Prices |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Schedule No. 1: Plant and Equipment from Abroad. | lot | 1 |  |  |
| 2. | Schedule No. 2: Foundations civil works and materials. | lot | 1 |  |  |
| 3. | Schedule No. 3: Local Transportation | lot | 1 |  |  |
| 4. | Schedule No. 4: Installation Services | Lot | 1 |  |  |
| 5. | GRAND TOTAL (To Bid Form) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

## Chichele – New Kitwe 132kV Double Circuit line

### Schedule 1: 132kV Chichele – New Kitwe Double Circuit plant and equipment supplied from abroad

|  | DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1 (132kV Double Circuit Chichele – New Kitwe) Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 |  | UNIT | QTY | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |
| No. |  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |
|  |  |  |  |  |  | CIP,Mansa | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |
| 1 | Self-supporting Monopole Towers, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications |  |  |  |  |  |  |  |  |  |  |
|  | Type A |  |  |  |  |  |  |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV (13m CAH) |  |  | each | 21 |  |  |  |  |  |  |
| 1.2 | Intermediate Steel Monopole 132kV (14m CAH) |  |  | each | 21 |  |  |  |  |  |  |
| 1.3 | Intermediate Steel Monopole 132kV (15m CAH) |  |  | each | 31 |  |  |  |  |  |  |
| 1.4 | Intermediate Steel Monopole 132kV (16m CAH) |  |  | each | 103 |  |  |  |  |  |  |
| 1.5 | Intermediate Steel Monopole 132kV (17m CAH) |  |  | each | 31 |  |  |  |  |  |  |
| 1.6 | Intermediate Steel Monopole 132kV (18m CAH) |  |  | each | 0 |  |  |  |  |  |  |
|  | Type B |  |  |  |  |  |  |  |  |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree (13m CAH) |  |  | each | 9 |  |  |  |  |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  |  | each | 13 |  |  |  |  |  |  |
|  | Type C |  |  |  |  |  |  |  |  |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 30-60 degree (13m CAH) |  |  | each | 2 |  |  |  |  |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  |  | each | 3 |  |  |  |  |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 60-90 degree (13m CAH) |  |  | each | 3 |  |  |  |  |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  |  | each | 4 |  |  |  |  |  |  |
|  | Type F |  |  |  |  |  |  |  |  |  |  |
| 1.13 | Steel Strain Monopole Terminal Flat formation |  |  | each | 0 |  |  |  |  |  |  |
| 5 | Provide all necessary detailed designs, drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |
| 5a | Monopole type B |  |  | Lot | 1 |  |  |  |  |  |  |
| 5b | Monopole type C |  |  | Lot | 1 |  |  |  |  |  |  |
| 5c | Monopole type D |  |  | Lot | 1 |  |  |  |  |  |  |
| 5d | Monopole type A |  |  | Lot | 1 |  |  |  |  |  |  |
| 6 | Complete foundation design for all soil classes and all necessary drawings and calculations, including documentation based on the Geotechnical report provided |  |  |  |  |  |  |  |  |  |  |
| 6a | Soil Class 5 foundations |  |  | each | 57 |  |  |  |  |  |  |
| 6b | Soil Class 4 foundations |  |  | each | 96 |  |  |  |  |  |  |
| 6c | Soil Class 3 foundations |  |  | each | 48 |  |  |  |  |  |  |
| 6d | Soil Class 2 foundations |  |  | each | 36 |  |  |  |  |  |  |
| 6e | Soil Class 1 foundations |  |  | each | 2 |  |  |  |  |  |  |
|  | TOTAL FOUNDATIONS |  |  |  | 239 |  |  |  |  |  |  |
| 7 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  |  | route km | 45.5 |  |  |  |  |  |  |
| 7.2 | Counterpoise compression joints |  |  | lot | 1 |  |  |  |  |  |  |
| 7.3 | Parallel groove clamps for counterpoise T-joints |  |  | lot | 1 |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting monopole earthing to substation grid |  |  | lot | 1 |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to monopole legs |  |  | route km | 45.5 |  |  |  |  |  |  |
| 8 | Sign plates |  |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  |  | each | 239 |  |  |  |  |  |  |
| 8.2 | Danger plates |  |  | each | 239 |  |  |  |  |  |  |
| 8.3 | Phase plates |  |  | each | 239 |  |  |  |  |  |  |
| 8.4 | Circuit plates |  |  | each | 239 |  |  |  |  |  |  |
| 8.5 | Aerial plates |  |  | each | 239 |  |  |  |  |  |  |
| A | SUB-TOTAL MONOPOLE AND FOUNDATION SUPPLY items 1. to 8.5 |  |  |  |  |  |  |  |  |  |  |
| 9 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |  |
| 9.1 | Conductor, twin type ASCR Bison |  |  | route km | 45.5 |  |  |  |  |  |  |
| 9.2 | Optical Fibre Ground Wire (OPGW) |  |  | route km | 45.5 |  |  |  |  |  |  |
| 9.3 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  |  | m | 1000 |  |  |  |  |  |  |
| 10 | 132kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for twin conductor type ACSR BISON |  |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  |  | lot | 1 |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  |  | lot | 1 |  |  |  |  |  |  |
| 11 | Hardware and fittings for conductor type ASCR BISON |  |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  |  | lot | 1 |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  |  | lot | 1 |  |  |  |  |  |  |
| 11.3 | Vibration dampers, Stockbridge type |  |  | lot | 1 |  |  |  |  |  |  |
| 12 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly, |  |  | lot | 1 |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to monopole body |  |  | lot | 1 |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Mult Response type |  |  | lot | 1 |  |  |  |  |  |  |
| 12.4 | Monopole Parallel groove clamps (clamping of OPGW downleads to monopole) |  |  | lot | 1 |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |  |
| 13 | Spares: Monopoles, Insulators and Hardware |  |  |  |  |  |  |  |  |  |  |
| 13.1a | Tension Insulator Units, (without fittings) |  |  | each | 12 |  |  |  |  |  |  |
| 13.1b | Suspension Insulator Units, (without fittings) |  |  | each | 24 |  |  |  |  |  |  |
| 13.2 | Hardware for Insulators: |  |  |  |  |  |  |  |  |  |  |
| 13.2a | Complete set of fittings for suspension insulator |  |  | set | 24 |  |  |  |  |  |  |
| 13.2b | Complete set of fittings for tension insulator |  |  | set | 12 |  |  |  |  |  |  |
| 13.2c | Hardware for Conductors: |  |  |  |  |  |  |  |  |  |  |
| 13.2d | Extra Suspension clamps |  |  | each | 24 |  |  |  |  |  |  |
| 13.2e | Extra Tension clamps |  |  | each | 12 |  |  |  |  |  |  |
| 13.2f | Extra Jumper clamps |  |  | each | 12 |  |  |  |  |  |  |
| 13.2g | Extra Tension joints |  |  | each | 12 |  |  |  |  |  |  |
| 13.2h | Extra Repair sleeves |  |  | each | 12 |  |  |  |  |  |  |
| 13.2i | Extra Vibration dampers |  |  | each | 12 |  |  |  |  |  |  |
| 10.3 | Towers (Mandatory Spares) |  |  |  |  |  |  |  |  |  |  |
| 10.3a | Intermediate Steel Monopole 132kV (13m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3b | Intermediate Steel Monopole 132kV (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3c | Intermediate Steel Monopole 132kV (15m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3d | Intermediate Steel Monopole 132kV (16m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3e | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3f | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
| 10.3g | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  |  | each | 1 |  |  |  |  |  |  |
|  | TOTAL FOR SCHEDULE No.1B |  |  |  |  |  |  |  |  |  |  |
|  | The final quantities for monopoles and materials to be ordered shall be verified and confirmed after line profile survey, monopole spotting and pegging is completed. |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |  |  |  |  |  |  |
|  | Code |  |  |  |  |  |  |  |  |  |  |
|  | Country |  |  |  |  |  |  |  |  |  |  |
|  | Name of Bidder |  |  |  |  |  |  |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |  |  |  |  |  |  |
|  | 1) Bidders shall enter a code representing the country of origin of all imported plant and equipment |  |  |  |  |  |  |  |  |  |  |
|  | 2) Specify Currency |  |  |  |  |  |  |  |  |  |  |

### Schedule 2: 132kV double circuit Chichele – New Kitwe Foundations civil works and materials

| DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2 (132kV Double Circuit Chichele – New Kitwe) Foundations civil works and materials |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty (1) | Unit Price 1 (2) | Total Price2 (1x2) |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Stubs are excluded since they are supplied under schedule No. 1. For more information, refer to Geotechnical report provided for soil classification per proposed monopole location |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV: Soil class 1 | each | 2 |  |  |
| 1.2 | Intermediate Steel Monopole 132kV: Soil Class 2 | each | 31 |  |  |
| 1.3 | Intermediate Steel Monopole 132kV: Soil Class 3 | each | 31 |  |  |
| 1,4 | Intermediate Steel Monopole 132kV: Soil Class 4 | each | 82 |  |  |
| 1.5 | Intermediate Steel Monopole 132kV: Soil Class 5 | each | 49 |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree: Soil Class 1 | each | 0 |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree: Soil Class 2 | each | 3 |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 0-30 degree: Soil class 3 | each | 4 |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 0-30 degree: Soil class 4 | each | 9 |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 0-30 degree: Soil 5 | each | 5 |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 1 | each | 0 |  |  |
| 1.13 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 2 | each | 1 |  |  |
| 1.14 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 3 | each | 1 |  |  |
| 1.15 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 4 | each | 2 |  |  |
| 1.16 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 5 | each | 1 |  |  |
| 1.17 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 1 | each | 0 |  |  |
| 1.18 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 2 | each | 1 |  |  |
| 1.19 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 3 | each | 1 |  |  |
| 1.20 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 4 | each | 3 |  |  |
| 1.21 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 5 | each | 2 |  |  |
|  | TOTAL FOUNDATIONS |  | 239 |  |  |
| D | TOTAL FOR SCHEDULE No. 2B |  |  |  |  |
|  | TOTAL (to schedule Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

Schedule 3: Local Transportation for 132kV Double Circuit Chichele – New Kitwe

| SCHEDULE No.3 Local Transportation for 132kV Double Circuit Luanshya - Bwana Mkubwa |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: 132kV Double Circuit Chichele – New Kitwe, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.4 (132kV Double Circuit Chichele – New Kitwe) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE | TOTAL PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum | 0 |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum | 0 |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum | 0 |  |  |
| 1.4 | Contractor’s facilities and administration | sum | 0 |  |  |
| 1.4.1 | Provide camps, offices and storages | sum | 0 |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum | 0 |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Validation of available survey, Geotechnical, conceptual designs and drawings, and longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. Complete Transmission line design | route km | 45.5 |  |  |
| 2.2 | Validate plotting of monopoles and sag curves on longitudinal profiles | route km | 45.5 |  |  |
| 2.3 | Monopole site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 45.5 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 45.5 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 32 m wide | route km | 45.5 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 45.5 |  |  |
| 3.2 | Extra 3 m wide | route km | 4 |  |  |
| 3.3 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km | 45.5 |  |  |
| 3.4 | Installation of Farm Gates and fences | lot | 1 |  |  |
| 3.5 | SUB-TOTAL FOR PRELIMINARY, item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1a | Soil Class 5 foundations - | each | 57 |  |  |
| 4.1b | Soil Class 4 foundations | each | 96 |  |  |
| 4.1c | Soil Class 3 foundations | each | 48 |  |  |
| 4.1d | Soil Class 2 foundations | each | 36 |  |  |
| 4.1e | Soil Class 1 foundations | each | 2 |  |  |
| 4.1f | TOTAL FOUNDATIONS |  | 239 |  |  |
| 5 | Monopole Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual monopole sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for tension monopole type B | each | 22 |  |  |
| 5.2 | Complete erection works for tension monopole type C | each | 5 |  |  |
| 5.3 | Complete erection works for tension monopole type D | each | 7 |  |  |
| 5.4 | Complete erection works for suspension monopole type A | each | 205 |  |  |
|  | Note: Installation of monopoles shall include fitting of all monopole accessories, i.e number plates, step bolts,etc |  |  |  |  |
| B | SUB-TOTAL , item 4 to 5.5 |  |  |  |  |
| 6 | Installation and Stringing of Conductors and Earthwires |  |  |  |  |
|  | All costs for distribution from storage to individual monopole sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Single phase, twin conductor type BISON | route km | 45.5 |  |  |
| 6.2 | Earthwires: |  |  |  |  |
| 6.2a | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 45.5 |  |  |
| 6.2b | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| C | Sub-total, Installation of Conductors and Earthwires |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1 | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 30 |  |  |
| 7.2 | Measurement of electrical footing resistance to earth at each monopole site per leg, including recording in an approved manner shall be included in installation cost | per monopole | 239 |  |  |
| 7.3 | Installation of counter-poise cables, including connection to monopoles, excavation of four 30m long, 600 mm deep trenches and reinstatement | per monopole | 239 |  |  |
| 7.4 | Extra to Item 7.3 for laying at 1000 mm depth | per monopole | When required |  |  |
| 7.5 | Installation of extended or continuous counterpoise including joints and connections to monopoles, excavation of a 600 mm deep trench and reinstate-ment | m | 3000 |  |  |
| 7.6 | Extra to Item 7.5 for laying at 1000 mm depth | m | 750 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 8 to 8.5 |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 7.1-7.6 |  |  |  |  |
| E | SUB-TOTAL item 6 to 7.6 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 4B |  |  |  |  |
|  | TOTAL (to schedule 6 Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

### Schedule 5: summary for 132kV Double Circuit Chichele – New Kitwe

| DETAIL PRICES, SUMMARY SCHEDULE No.5 (The Bidder to complete for 132kV Double Circuit Chichele – New Kitwe) Summary of Prices |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Schedule No. 1: Plant and Equipment from Abroad. | lot | 1 |  |  |
| 2. | Schedule No. 2: Foundations civil works and materials. | lot | 1 |  |  |
| 3. | Schedule No. 3: Local Transportation | lot | 1 |  |  |
| 4. | Schedule No. 4: Installation Services | Lot | 1 |  |  |
| 5. | GRAND TOTAL (To Bid Form) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

## Kabwe - Mpongwe 132-88kV line

### Schedule 1: Kabwe – Mpongwe 132-88kV line plant and equipment supplied from abroad

|  | DETAIL PRICES, MATERIALS SUPPLY (Abroad) SCHEDULE No.1 (Kabwe – Mpongwe 132-88kV) Plant and Equipment (including Mandatory Spare Parts) Supplied from Abroad |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | Code1 |  | UNIT | QTY | UNIT | UNIT | TOTAL ITEM PRICES |  | TOTAL ITEM PRICES |  |
| No. |  |  |  |  |  | PRICE 1 | PRICE 2 | CIP (Col. 4 x Col. 5) |  | DDP (Col. 4 x Col. 6) |  |
|  |  |  |  |  |  | CIP,Mansa | DDP | Foreign Currency | Local Currency | Foreign Currency | Local Currency |
| 1 | Self-supporting Monopole Towers, complete with all necessary fittings, bolts and nuts. Unit prices to include all shop detailing, prototype assemby, tests all in full compliance with specifications |  |  |  |  |  |  |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV (13m CAH) |  |  | each | 0 | 0 |  |  |  |  |  |
| 1.2 | Intermediate Steel Monopole 132kV (14m CAH) |  |  | each | 0 | 0 |  |  |  |  |  |
| 1.3 | Intermediate Steel Monopole 132kV (15m CAH) |  |  | each | 0 | 0 |  |  |  |  |  |
| 1.4 | Intermediate Steel Monopole 132kV (16m CAH) |  |  | each | 0 | 0 |  |  |  |  |  |
| 1.5 | Intermediate Steel Monopole 132kV (17m CAH) |  |  | each | 0 | 0 |  |  |  |  |  |
| 1.6 | Intermediate Steel Monopole 132kV (18m CAH) |  |  | each | 0 | 0 |  |  |  |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree (13m CAH) |  |  | each | 0 |  |  |  |  |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  |  | each | 0 |  |  |  |  |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 30-60 degree (13m CAH) |  |  | each | 0 |  |  |  |  |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  |  | each | 0 |  |  |  |  |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 60-90 degree (13m CAH) |  |  | each | 4 |  |  |  |  |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  |  | each | 2 |  |  |  |  |  |  |
| 1.13 | Steel Strain Monopole Terminal Flat formation |  |  | each | 0 |  |  |  |  |  |  |
| 5 | provide all necessary detailed designs, drawings and calculations, including documentation |  |  |  |  |  |  |  |  |  |  |
| 5a | Monopole type B |  |  | Lot | 1 |  |  |  |  |  |  |
| 5b | Monopole type C |  |  | Lot | 1 |  |  |  |  |  |  |
| 5c | Monopole type D |  |  | Lot | 1 |  |  |  |  |  |  |
| 5d | Monopole type A |  |  | Lot | 1 |  |  |  |  |  |  |
| 6 | Complete foundation design for all soil classes and all necessary drawings and calculations, including documentation based on the Geotechnical report provided |  |  |  |  |  |  |  |  |  |  |
| 6a | Soil Class 5 foundations |  |  | each | 1 |  |  |  |  |  |  |
| 6b | Soil Class 4 foundations |  |  | each | 1 |  |  |  |  |  |  |
| 6c | Soil Class 3 foundations |  |  | each | 2 |  |  |  |  |  |  |
| 6d | Soil Class 2 foundations |  |  | each |  |  |  |  |  |  |  |
| 6e | Soil Class 1 foundations |  |  | each |  |  |  |  |  |  |  |
|  | TOTAL FOUNDATIONS |  |  |  | 4 |  |  |  |  |  |  |
| 7 | Materials for Earthing (cost of earth rods is included in the cost of counterpoise cable) |  |  |  |  |  |  |  |  |  |  |
| 7.1 | Counterpoise cable, galvanised steel wire, 7x3.25mm including necessary drums and packing |  |  | route km | 0.2 |  |  |  |  |  |  |
| 7.2 | Counterpoise compression joints |  |  | lot | 1 |  |  |  |  |  |  |
| 7.3 | Parallel groove clamps for counterpoise T-joints |  |  | lot | 1 |  |  |  |  |  |  |
| 7.4 | Bi metallic clamps for connecting monopole earthing to substation grid |  |  | lot | 1 |  |  |  |  |  |  |
| 7.5 | Clamp or lug including 12 mm bolt for attachment of counterpoise cable to monopole legs |  |  | route km | 0.2 |  |  |  |  |  |  |
| 8 | Sign plates |  |  |  |  |  |  |  |  |  |  |
| 8.1 | Number plates |  |  | each | 4 |  |  |  |  |  |  |
| 8.2 | Danger plates |  |  | each | 4 |  |  |  |  |  |  |
| 8.3 | Phase plates |  |  | each | 4 |  |  |  |  |  |  |
| 8.4 | Circuit plates |  |  | each | 4 |  |  |  |  |  |  |
| 8.5 | Aerial plates |  |  | each | 4 |  |  |  |  |  |  |
| A | SUB-TOTAL MONOPOLE AND FOUNDATION SUPPLY items 1. to 8.5 |  |  |  |  |  |  |  |  |  |  |
| 9 | Conductors and earth wires, |  |  |  |  |  |  |  |  |  |  |
| 9.1 | Single Conductor, type ASCR Bison |  |  | route km | 0.2 |  |  |  |  |  |  |
| 9.2 | Optical Fibre Ground Wire (OPGW) |  |  | route km | 0.2 |  |  |  |  |  |  |
| 9.3 | Underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. |  |  | m | 1000 |  |  |  |  |  |  |
| 10 | 132kV insulator assemblies, silicon rubber complete with all fittings (including arcing devices), for single conductor type ACSR BISON |  |  |  |  |  |  |  |  |  |  |
| 10.1 | Suspension insulators, complete |  |  | lot | 1 |  |  |  |  |  |  |
| 10.2 | Tension insulator, complete |  |  | lot | 1 |  |  |  |  |  |  |
| 11 | Hardware and fittings for conductor type ASCR BISON |  |  |  |  |  |  |  |  |  |  |
| 11.1 | Tension joints |  |  | lot | 1 |  |  |  |  |  |  |
| 11.2 | Repair sleeves |  |  | lot | 1 |  |  |  |  |  |  |
| 11.3 | Vibration dampers, Stockbridge type |  |  | lot | 1 |  |  |  |  |  |  |
| 12 | Hardware & fittings for OPGW Earthwire |  |  |  |  |  |  |  |  |  |  |
| 12.1 | Complete Tension assembly, |  |  | lot | 1 |  |  |  |  |  |  |
| 12.2 | Complete Suspension Assemblies, including electrical connection to monopole body |  |  | lot | 1 |  |  |  |  |  |  |
| 12.3 | Vibration dampers, Mult Response type |  |  | lot | 1 |  |  |  |  |  |  |
| 12.4 | Monopole Parallel groove clamps (clamping of OPGW downleads to monopole) |  |  | lot | 1 |  |  |  |  |  |  |
|  | NOTE: Cost for all necessary equipment and materials for jointing and all other equipment necessary for complete and correct installation of OPGW shall be included in the above prices |  |  |  |  |  |  |  |  |  |  |
| B | SUB-TOTAL CONDUCTOR, INSULATORS, FITTINGS AND ACCESSORIES, item 9 to 13.4 |  |  |  |  |  |  |  |  |  |  |
| 13 | Spares: Monopoles, Insulators and Hardware |  |  |  |  |  |  |  |  |  |  |
| 13.1a | Tension Insulator Units, (without fittings) |  |  | each | 0 |  |  |  |  |  |  |
| 13.1b | Suspension Insulator Units, (without fittings) |  |  | each | 0 |  |  |  |  |  |  |
| 13.2 | Hardware for Insulators: |  |  |  |  |  |  |  |  |  |  |
| 13.2a | Complete set of fittings for suspension insulator |  |  | set | 0 |  |  |  |  |  |  |
| 13.2b | Complete set of fittings for tension insulator |  |  | set | 0 |  |  |  |  |  |  |
| 13.2c | Hardware for Conductors: |  |  |  |  |  |  |  |  |  |  |
| 13.2d | Extra Suspension clamps |  |  | each | 0 |  |  |  |  |  |  |
| 13.2e | Extra Tension clamps |  |  | each | 0 |  |  |  |  |  |  |
| 13.2f | Extra Jumper clamps |  |  | each | 0 |  |  |  |  |  |  |
| 13.2g | Extra Tension joints |  |  | each | 0 |  |  |  |  |  |  |
| 13.2h | Extra Repair sleeves |  |  | each | 0 |  |  |  |  |  |  |
| 13.2i | Extra Vibration dampers |  |  | each | 0 |  |  |  |  |  |  |
| 10.3 | Towers (Mandatory Spares) |  |  |  |  |  |  |  |  |  |  |
| 10.3a | Intermediate Steel Monopole 132kV (13m CAH) |  |  | each | 0 |  |  |  |  |  |  |
| 10.3b | Intermediate Steel Monopole 132kV (14m CAH) |  |  | each | 0 |  |  |  |  |  |  |
| 10.3c | Intermediate Steel Monopole 132kV (15m CAH) |  |  | each | 0 |  |  |  |  |  |  |
| 10.3d | Intermediate Steel Monopole 132kV (16m CAH) |  |  | each | 0 |  |  |  |  |  |  |
| 10.3e | Strain Steel Monopole 132kV angle 0-30 degree (14m CAH) |  |  | each | 0 |  |  |  |  |  |  |
| 10.3f | Strain Steel Monopole 132kV angle 30-60 degree (14m CAH) |  |  | each | 0 |  |  |  |  |  |  |
| 10.3g | Strain Steel Monopole 132kV angle 60-90 degree (14m CAH) |  |  | each | 0 |  |  |  |  |  |  |
|  | TOTAL FOR SCHEDULE No.1B |  |  |  |  |  |  |  |  |  |  |
|  | The final quantities for monopoles and materials to be ordered shall be verified and confirmed after line profile survey, monopole spotting and pegging is completed. |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL (to schedule 8 Grand Summary) |  |  |  |  |  |  |  |  |  |  |
|  | Code |  |  |  |  |  |  |  |  |  |  |
|  | Country |  |  |  |  |  |  |  |  |  |  |
|  | Name of Bidder |  |  |  |  |  |  |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |  |  |  |  |  |  |
|  | 1) Bidders shall enter a code representing the country of origin of all imported plant and equipment |  |  |  |  |  |  |  |  |  |  |
|  | 2) Specify Currency |  |  |  |  |  |  |  |  |  |  |

### Schedule 2: Kabwe – Mpongwe 132-88kV Foundations civil works and materials

| DETAIL PRICES, MATERIALS SUPPLY (Local) SCHEDULE No.2 (Kabwe – Mpongwe 132-88kV) Foundations civil works and materials |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty (1) | Unit Price 1 (2) | Total Price2 (1x2) |
| 1 | Foundation works and materials will include locally obtainable materials such as cement, aggregate, sand and reinforcement steel and miscellaneous items such as bituminous paint, zinc rich paint etc. Stubs are excluded since they are supplied under schedule No. 1. For more information, refer to Geotechnical report provided for soil classification per proposed monopole location |  |  |  |  |
| 1.1 | Intermediate Steel Monopole 132kV: Soil class 1 | each | 0 |  |  |
| 1.2 | Intermediate Steel Monopole 132kV: Soil Class 2 | each | 0 |  |  |
| 1.3 | Intermediate Steel Monopole 132kV: Soil Class 3 | each | 0 |  |  |
| 1,4 | Intermediate Steel Monopole 132kV: Soil Class 4 | each | 0 |  |  |
| 1.5 | Intermediate Steel Monopole 132kV: Soil Class 5 | each | 0 |  |  |
| 1.7 | Strain Steel Monopole 132kV angle 0-30 degree: Soil Class 1 | each | 0 |  |  |
| 1.8 | Strain Steel Monopole 132kV angle 0-30 degree: Soil Class 2 | each | 0 |  |  |
| 1.9 | Strain Steel Monopole 132kV angle 0-30 degree: Soil class 3 | each | 0 |  |  |
| 1.10 | Strain Steel Monopole 132kV angle 0-30 degree: Soil class 4 | each | 0 |  |  |
| 1.11 | Strain Steel Monopole 132kV angle 0-30 degree: Soil 5 | each | 0 |  |  |
| 1.12 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 1 | each | 0 |  |  |
| 1.13 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 2 | each | 0 |  |  |
| 1.14 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 3 | each | 0 |  |  |
| 1.15 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 4 | each | 0 |  |  |
| 1.16 | Strain Steel Monopole 132kV angle 30-60deg: Soil Class 5 | each | 0 |  |  |
| 1.17 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 1 | each | 0 |  |  |
| 1.18 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 2 | each | 1 |  |  |
| 1.19 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 3 | each | 1 |  |  |
| 1.20 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 4 | each | 1 |  |  |
| 1.21 | Strain Steel Monopole 132kV angle 60-90deg: Soil class 5 | each | 1 |  |  |
|  | TOTAL FOUNDATIONS |  | 120 |  |  |
| D | TOTAL FOR SCHEDULE No. 2B |  |  |  |  |
|  | TOTAL (to schedule Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |
|  | 1) Specify currency in accordance with specifications in Bid Data Sheet under ITB Sub-Clause 12.1 (b) |  |  |  |  |
|  | in Single Stage Bid, or ITB Sub-Clause 23.1 (b) in Two Stage Bid |  |  |  |  |

### Schedule 3: Local Transportation for Kabwe – Mpongwe 132-88kV

| SCHEDULE No.3 Local Transportation for Kabwe – Mpongwe 132-88kV |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Kabwe – Mpongwe 132-88kV, construction works – installation services

| DETAIL PRICES, CONSTRUCTION WORKS SCHEDULE No.4 (Kabwe – Mpongwe 132-88kV) Installation Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION | UNIT | QTY | UNIT PRICE | TOTAL PRICE DDP USD |
| 1 | Preliminary and General (Not covered under here) |  |  |  |  |
| 1.1 | Performance Security | sum | 0 |  |  |
| 1.2 | Insurance, as per Clause 13, Conditions of Contract | sum | 0 |  |  |
| 1.3 | Compliance with any other Conditions of Contract not covered elsewhere in this BOQ | sum | 0 |  |  |
| 1.4 | Contractor’s facilities and administration | sum | 0 |  |  |
| 1.4.1 | Provide camps, offices and storages | sum | 0 |  |  |
| 1.4.2 | Contractor’s supervision and administration on and off site | sum | 0 |  |  |
| 1.5 | Sub-total, 1.1-1.4 |  |  |  |  |
| 2 | Design and Survey Works |  |  |  |  |
| 2.1 | Validation of available survey, Geotechnical, conceptual designs and drawings, and longitudinal profiles as per specification, including all necessary costs for personnel, instruments, drawing paper of approved format, transportation and accommodation. Complete Transmission line design | route km | 0.2 |  |  |
| 2.2 | Validate plotting of monopoles and sag curves on longitudinal profiles | route km | 0.2 |  |  |
| 2.3 | Monopole site pegging and checking of longitudinal profiles, including corrections of profiles and design where necessary | route km | 0.2 |  |  |
| 2.4 | Detailed measurements and drawings of crossing of railways, roads, transmission and communication lines and other important crossings | route km | 0.2 |  |  |
| 3 | Bush Clearing and Access Roads |  |  |  |  |
| 3.1 | Bush clearing as per Specification, along the transmission line route, 32 m wide | route km | 0.2 |  |  |
| 3.1a | Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills | route km | 0.2 |  |  |
| 3.2 | Extra 3 m wide | route km | 0 |  |  |
| 3.3 | Establishment of all weather vehicle track including necessary bridging across streams along cleared line route - Site Visit mandatory | route km | 0.2 |  |  |
| 3.4 | Installation of Farm Gates and fences | lot | 1 |  |  |
| 3.5 | SUB-TOTAL FOR PRELIMINARY, item 1 to 3.5 |  |  |  |  |
| 4 | Foundation Works |  |  |  |  |
|  | Unit prices for foundation works shall include all necessary transport to site, excavation, soil tests as per Specification, installation and backfill and all other works and equipment necessary for the construction of foundations, but exclude prices of the materials as specified in Schedules 1 and 2 for Material Supply. |  |  |  |  |
| 4.1a | Soil Class 5 foundations | each | 1 |  |  |
| 4.1b | Soil Class 4 foundations | each | 1 |  |  |
| 4.1c | Soil Class 3 foundations | each | 1 |  |  |
| 4.1d | Soil Class 2 foundations | each | 1 |  |  |
| 4.1e | Soil Class 1 foundations | each |  |  |  |
| 4.1f | TOTAL FOUNDATIONS |  | 4 |  |  |
| 5 | Monopole Erection |  |  |  |  |
|  | Complete erection works in accordance with specifications, handling, storage at site and distribution to individual monopole sites. Includes equipment for use at site necessary |  |  |  |  |
| 5.1 | Complete erection works for tension monopole type B | each | 0 |  |  |
| 5.2 | Complete erection works for tension monopole type C | each | 0 |  |  |
| 5.3 | Complete erection works for tension monopole type D | each | 4 |  |  |
| 5.4 | Complete erection works for suspension monopole type A | each | 0 |  |  |
|  | Note: Installation of monopoles shall include fitting of all monopole accessories, i.e number plates, step bolts,etc |  |  |  |  |
| B | SUB-TOTAL , item 4 to 5.5 |  |  |  |  |
| 6 | Installation and Stringing of Conductors and Earthwires |  |  |  |  |
|  | All costs for distribution from storage to individual monopole sites and complete installation according to the Specifications and approved drawings and plans of insulator string assemblies and fittings, conductors and earthwires to correct sags, spacers, vibration dampers, transpositions as required and temporary guarding and scaffolding at crossings shall be included in the quoted prices. |  |  |  |  |
| 6.1 | Conductors: |  |  |  |  |
| 6.1a | 3 Single phase, conductor type BISON | route km | 0.2 |  |  |
| 6.2 | Earthwires: |  |  |  |  |
| 6.2a | Fibre Optical Earth Wire (OPGW) including down leads, splicing and joint boxes, to the substation gantry | route km | 0.2 |  |  |
| 6.2b | Installation of underground optical fibre cable from the OPGW cable on the substation gantry to the telecommunication equipment room. | m | 1000 |  |  |
| C | Sub-total, Installation of Conductors and Earthwires |  |  |  |  |
| 7 | Installation of Earthing Counterpoise |  |  |  |  |
| 7.1 | Installation of earthing counterpoise at a depth 1000mm in cultivated areas and 800mm in uncultivated areas | route km | 0.2 |  |  |
| 7.2 | Measurement of electrical footing resistance to earth at each monopole site per leg, including recording in an approved manner shall be included in installation cost | per monopole | 4 |  |  |
| 7.3 | Installation of counter-poise cables, including connection to monopoles, excavation of four 30m long, 600 mm deep trenches and reinstatement | per monopole | 4 |  |  |
| 7.4 | Extra to Item 7.3 for laying at 1000 mm depth | per monopole | When required |  |  |
| 7.5 | Installation of extended or continuous counterpoise including joints and connections to monopoles, excavation of a 600 mm deep trench and reinstate-ment | m | 3000 |  |  |
| 7.6 | Extra to Item 7.5 for laying at 1000 mm depth | m | 750 |  |  |
| D | Sub-Total, Earthing Counterpoise, item 8 to 8.5 |  |  |  |  |
|  | Note: |  |  |  |  |
|  | All necessary works for the installation of earthing counterpoise shall be included in 7.1-7.6 |  |  |  |  |
| E | SUB-TOTAL item 6 to 7.6 |  |  |  |  |
| F | TOTAL FOR SCHEDULE No. 4B |  |  |  |  |
|  | TOTAL (to schedule 6 Summary for 132kV) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

Schedule 5: summary for Kabwe – Mpongwe 132-88kV

| DETAIL PRICES, SUMMARY SCHEDULE No.5 (The Bidder to complete for Kabwe – Mpongwe 132-88kV) Summary of Prices |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty | Total Price 1 CIP USD | Total Price 2 DDP USD |
| 1. | Schedule No. 1: Plant and Equipment from Abroad. | lot | 1 |  |  |
| 2. | Schedule No. 2: Foundations civil works and materials. | lot | 1 |  |  |
| 3. | Schedule No. 3: Local Transportation | lot | 1 |  |  |
| 4. | Schedule No. 4: Installation Services | Lot | 1 |  |  |
| 5. | GRAND TOTAL (To Bid Form) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

## Schedule 6 – 132kV Transmission lines total cost

| Item | Description | Total Price 1 CIP USD | Total Price 2 DDP USD |
| --- | --- | --- | --- |
| 1 | Schedule 5: Summary for 132kV Double Circuit Luanshya - Mpongwe |  |  |
| 2. | Schedule 5: summary for 132kV Double Circuit Luanshya - Chichele |  |  |
| 3. | Schedule 5 summary for 132kV Double Circuit Luanshya - Bwana Mkubwa |  |  |
| 4 | Schedule 5 summary for 132kV Double Circuit Luanshya - Kafulafuta |  |  |
| 5 | Schedule 5 summary for 132kV Mine Farm - Kafulafuta |  |  |
| 6 | Schedule 5 summary for 132kV Double Circuit Chichele – New Kitwe |  |  |
| 7 | Schedule 5 summary for 132kV Kabwe – Mpongwe 132-88kV |  |  |
|  | 132kV Transmission lines total cost (To Grand Total) |  |  |
|  | Name of Bidder |  |  |
|  | Signature of Bidder |  |  |

# 132kV SUBSTATIONS

## New Mpongwe 132/88/33 kV Substation

### Schedule 1: New Mpongwe 132/88/33kV substation plant and equipment supplied from abroad

| New Mpongwe 132/88/33 kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Description | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132kV-Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| New Mpongwe1-001 | 40MVA 132/88/11kV Auto Transformer with tertiary | each | 3 |  |  |  |  |
| New Mpongwe1-002 | 40MVA 132/33kV Three Phase Transformer | each | 2 |  |  |  |  |
| New Mpongwe1-003 | Circuit Breaker- Live Tank | each | 9 |  |  |  |  |
| New Mpongwe1-004 | Isolator, Motor Operated with integral earth switch | each | 9 |  |  |  |  |
| New Mpongwe1-005 | Isolator switch, Motor Operated without integral earth switch | each | 30 |  |  |  |  |
| New Mpongwe1-006 | CVTs | each | 27 |  |  |  |  |
| New Mpongwe1-007 | Surge arresters | each | 21 |  |  |  |  |
| New Mpongwe1-008 | CTs | each | 33 |  |  |  |  |
| New Mpongwe1-009 | Conductors for busbars | Lot | 1 |  |  |  |  |
| New Mpongwe1-010 | Insulators for busbar | Lot | 1 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| New Mpongwe1-011 | Line protection system | lot | 1 |  |  |  |  |
| New Mpongwe1-012 | Transformers protection system | lot | 1 |  |  |  |  |
| New Mpongwe1-013 | Sergi Transformer Fire Protection | lot | 1 |  |  |  |  |
| New Mpongwe1-014 | line protection communication interface | lot | 1 |  |  |  |  |
| New Mpongwe1-015 | Bus bar protection system | lot | 1 |  |  |  |  |
| New Mpongwe1-016 | 132kV Metering set (0.2S) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| New Mpongwe1-017 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| New Mpongwe1-018 | Marshalling Kiosks | lot | 1 |  |  |  |  |
| New Mpongwe1-019 | Support insulators | lot | 1 |  |  |  |  |
| New Mpongwe1-020 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| New Mpongwe1-021 | Grounding Grid Conductor and accessories | lot | 1 |  |  |  |  |
| New Mpongwe1-022 | 132kV Dead End monopole and Gantry complete with accessories | lot | 1 |  |  |  |  |
| New Mpongwe1-023 | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| 2 | 88kV-Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| New Mpongwe1-024 | Circuit Breaker- Live Tank | each | 7 |  |  |  |  |
| New Mpongwe1-025 | Isolator, Motor Operated with integral earth switch | each | 8 |  |  |  |  |
| New Mpongwe1-026 | Isolator switch, Motor Operated without integral earth switch | each | 8 |  |  |  |  |
| New Mpongwe1-027 | CVTs | each | 24 |  |  |  |  |
| New Mpongwe1-028 | Surge arresters | each | 18 |  |  |  |  |
| New Mpongwe1-029 | CTs | each | 24 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| New Mpongwe1-030 | Line protection system | lot | 1 |  |  |  |  |
| New Mpongwe1-031 | Transformers protection system | lot | 1 |  |  |  |  |
| New Mpongwe1-032 | line protection communication interface | lot | 1 |  |  |  |  |
| New Mpongwe1-033 | Bus bar protection system | lot | 1 |  |  |  |  |
| New Mpongwe1-034 | 132kV Metering set (0.2S) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| New Mpongwe1-035 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| New Mpongwe1-036 | Marshalling Kiosks | lot | 1 |  |  |  |  |
| New Mpongwe1-037 | Support insulators | lot | 1 |  |  |  |  |
| New Mpongwe1-038 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| New Mpongwe1-039 | Grounding Grid Conductor and accessories | lot | 1 |  |  |  |  |
| New Mpongwe1-040 | Subtotal for 88kV Material and Equipment |  |  |  |  |  |  |
| 3 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| New Mpongwe1-041 | Circuit Breaker- Live Tank | each | 6 |  |  |  |  |
| New Mpongwe1-042 | Isolator, Motor Operated with integral earth switch | each | 5 |  |  |  |  |
| New Mpongwe1-043 | Isolator switch, Motor Operated without integral earth switch | each | 7 |  |  |  |  |
| New Mpongwe1-044 | VTs | each | 21 |  |  |  |  |
| New Mpongwe1-045 | Surge arresters | each | 15 |  |  |  |  |
| New Mpongwe1-046 | CTs | each | 18 |  |  |  |  |
| New Mpongwe1-047 | NERs complete with neutral CTs | each | 2 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| New Mpongwe1-048 | Line protection system | lot | 1 |  |  |  |  |
| New Mpongwe1-049 | Transformers protection system | lot | 1 |  |  |  |  |
| New Mpongwe1-050 | line protection communication interface | lot | 1 |  |  |  |  |
| New Mpongwe1-051 | Bus bar protection system | lot | 1 |  |  |  |  |
| New Mpongwe1-051 | 33kV Metering set (0.2S) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| New Mpongwe1-052 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| New Mpongwe1-053 | Marshalling Kiosks | lot | 1 |  |  |  |  |
| New Mpongwe1-054 | Support insulators | lot | 1 |  |  |  |  |
| New Mpongwe1-055 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| New Mpongwe1-056 | Grounding Grid Conductor and accessories | lot | 1 |  |  |  |  |
| New Mpongwe1-057 | Subtotal for 33 kV Material and Equipment |  |  |  |  |  |  |
| 4 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| New Mpongwe1-058 | 100kVA 33/0.4kV Auxiliary Transformer | each | 2 |  |  |  |  |
| New Mpongwe1-059 | Auxiliary switch gear | each | 2 |  |  |  |  |
| New Mpongwe1-060 | Protection and control boards with (two spares) | lot | 1 |  |  |  |  |
| New Mpongwe1-061 | Auxiliary power 400VAC board | lot | 1 |  |  |  |  |
| New Mpongwe1-062 | 100kVA 400VAC Diesel Generator | each | 1 |  |  |  |  |
| New Mpongwe1-063 | Auxiliary transformer Metering set (0.2S) | lot | 1 |  |  |  |  |
| New Mpongwe1-064 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 5 | Substation Power and Control Cables |  |  |  |  |  |  |
| New Mpongwe1-065 | 33kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| New Mpongwe1-066 | 11kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| New Mpongwe1-067 | 0.4kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| New Mpongwe1-068 | Control cables for entire substation | lot | 1 |  |  |  |  |
| New Mpongwe1-069 | Subtotal for Substation Power and Control Cables. |  |  |  |  |  |  |
| 6 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| New Mpongwe1-070 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| New Mpongwe1-071 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| New Mpongwe1-072 | Station Chargers and accessories | lot | 1 |  |  |  |  |
| New Mpongwe1-073 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 7 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| New Mpongwe1-074 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| New Mpongwe1-075 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| New Mpongwe1-076 | Charger and accessories | lot | 1 |  |  |  |  |
| New Mpongwe1-077 | ODF-FC type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| New Mpongwe1-077 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| New Mpongwe1-078 | SDH – 10G terminal equipment and accessories | each | 1 |  |  |  |  |
| New Mpongwe1-079 | PCM Multiplexer and accessories | each | 1 |  |  |  |  |
| New Mpongwe1-080 | FOX615 terminal equipment and accessories | each | 1 |  |  |  |  |
| New Mpongwe1-081 | Analogue Telephone handsets with display | each | 4 |  |  |  |  |
| New Mpongwe1-082 | Anologue Telephone handsets without display | each | 6 |  |  |  |  |
| New Mpongwe1-083 | VoIP Telephone handsets | each | 4 |  |  |  |  |
| New Mpongwe1-084 | SFPs – Electrical Type | each | 5 |  |  |  |  |
| New Mpongwe1-086 | Optical splicing machine and accessories | each | 1 |  |  |  |  |
| New Mpongwe1-087 | Optical Time Domain Reflectometer (OTDR) | each | 1 |  |  |  |  |
| New Mpongwe1-088 | Optical power meter | each | 1 |  |  |  |  |
| New Mpongwe1-089 | Optical light source | each | 1 |  |  |  |  |
| New Mpongwe1-090 | Optical visual fault locator | each | 1 |  |  |  |  |
| New Mpongwe1-091 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 8 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| New Mpongwe1-091 | 330/132kV llightning masts | lot | 1 |  |  |  |  |
| New Mpongwe1-092 | In door lighting equipment | lot | 1 |  |  |  |  |
| New Mpongwe1-093 | Outdoor lighting equipment |  |  |  |  |  |  |
| New Mpongwe1-094 | cable fire protection equipment | lot | 1 |  |  |  |  |
| New Mpongwe1-095 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| New Mpongwe1-096 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| New Mpongwe1-097 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| New Mpongwe1-098 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| New Mpongwe1-099 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| New Mpongwe1-100 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| New Mpongwe1-101 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| New Mpongwe1-102 | Subtotal for Other Equipment |  |  |  |  |  |  |
| 9. | WAMPAC |  |  |  |  |  |  |
| New Mpongwe1-103 | WAMPAC execution station system | Lot. | 1 |  |  |  |  |
| New Mpongwe1-104 | Subtotal for WAMPAC |  |  |  |  |  |  |
| New Mpongwe1-105 | Grand Total |  |  |  |  |  |  |

### Schedule 2: New Mpongwe 132/88/33 kV substation plant and equipment supplied from within Employer’s country

| New Mpongwe 132/88/33 kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| New Mpongwe2-001 | Substation gantries | lot | 1 |  |  |  |  |
| New Mpongwe2-002 | Lightning masts | lot | 1 |  |  |  |  |
| New Mpongwe2-003 | Fire walls for Transformers | lot | 1 |  |  |  |  |
| New Mpongwe2-004 | Emergency oil pool for transformers. | lot | 1 |  |  |  |  |
| New Mpongwe2-005 | Complete Control Building | lot | 1 |  |  |  |  |
| New Mpongwe2-006 | Guard house | lot | 1 |  |  |  |  |
| New Mpongwe2-007 | Portable fire extinguishers: 50kg and 9kg for switchyard and control room respectively. | lot | 1 |  |  |  |  |
| New Mpongwe2-008 | Complete diesel generator house | each | 1 |  |  |  |  |
| New Mpongwe2-009 | Cable trenches | lot | 1 |  |  |  |  |
| New Mpongwe2-010 | Complete Water supply System | lot | 1 |  |  |  |  |
| New Mpongwe2-011 | General site preparation & earth work | lot | 1 |  |  |  |  |
| New Mpongwe2-012 | Internal substation access road - concrete | lot | 1 |  |  |  |  |
| New Mpongwe2-013 | Storm water and wastewater drainage system | lot | 1 |  |  |  |  |
| New Mpongwe2-014 | Automated fire suppression system for control room | lot | 1 |  |  |  |  |
| New Mpongwe2-015 | IT Office Local Area Network | Lot | 1 |  |  |  |  |
| New Mpongwe2-016 | ZESCO Substation land fencing | Lot | 1 |  |  |  |  |
| New Mpongwe2-017 | Substation fence and gates | lot | 1 |  |  |  |  |
| New Mpongwe2-018 | External concrete access road (from the nearest main truck bituminous standard road) | m | 100 |  |  |  |  |
| New Mpongwe2-019 | Waste water drainage | lot | 1 |  |  |  |  |
| New Mpongwe2-020 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| New Mpongwe2-021 | Civil works System testing | lot | 1 |  |  |  |  |
| New Mpongwe2-022 | Substation equipment foundations | lot | 1 |  |  |  |  |
| New Mpongwe2-023 | Excavations, recovery and disposal of existing foundations at the proposed substation site | lot | 1 |  |  |  |  |
| New Mpongwe2-024 | Substation stones | lot | 1 |  |  |  |  |
| New Mpongwe2-025 | Subtotal |  |  |  |  |  |  |

### Schedule 3: New Mpongwe 132/88/33 kV substation Local Transportation

| New Mpongwe 132/88/33 kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: New Mpongwe 132/88/33 kV substation installation services

| New Mpongwe 132/88/33 kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132kV Equipment and materials |  |  |  |  |  |  |
| New Mpongwe4-001 | 132kV primary and secondary equipment | lot | 1 |  |  |  |  |
| New Mpongwe4-002 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| New Mpongwe4-003 | Subtotal for 330kV Material and Equipment |  |  |  |  |  |  |
| 2 | 88kV Equipment and materials |  |  |  |  |  |  |
| New Mpongwe4-004 | 88kV primary and secondary equipment | lot | 1 |  |  |  |  |
| New Mpongwe4-005 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| New Mpongwe4-006 | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| 3 | 33kV Equipment and materials |  |  |  |  |  |  |
| New Mpongwe4-007 | 33kV primary and secondary equipment | lot | 1 |  |  |  |  |
| New Mpongwe4-008 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| New Mpongwe4-009 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 4 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| New Mpongwe4-010 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with Auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| New Mpongwe4-011 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 5 | Substation Power and Control Cables |  |  |  |  |  |  |
| New Mpongwe4-012 | Power cables | lot | 1 |  |  |  |  |
| New Mpongwe4-013 | Control cables | lot | 1 |  |  |  |  |
| New Mpongwe4-014 | Subtotal for Substation Power and Control Cables |  |  |  |  |  |  |
| 6 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| New Mpongwe4-015 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| New Mpongwe4-016 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 7 | Communication Equipment |  |  |  |  |  |  |
| New Mpongwe4-017 | Communication equipment | lot | 1 |  |  |  |  |
| New Mpongwe4-018 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 8 | Other Equipment |  |  |  |  |  |  |
| New Mpongwe4-019 | Other equipment | lot | 1 |  |  |  |  |
| New Mpongwe4-020 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| New Mpongwe4-021 | Subtotal for Other Equipment |  |  |  |  |  |  |
| 9. | WAMPAC |  |  |  |  |  |  |
| New Mpongwe4-022 | WAMPAC execution station system | Lot. | 1 |  |  |  |  |
| New Mpongwe4-023 | Subtotal for WAMPAC |  |  |  |  |  |  |
| New Mpongwe4-024 | Total |  |  |  |  |  |  |

### Schedule 5: Summary for New Mpongwe 132/88/33 kV substation total project cost with VAT and duties

| New Mpongwe 132/88/33 kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedul 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## Bwana Mkubwa 132/33kV kV Substation

### Schedule 1: Bwana Mkubwa 132/33kV substation plant and equipment supplied from abroad.

| Bwana Mkubwa 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Description | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132kV-Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| BwanaMk1-001 | 132/33kV 40 MVA Three phase transformer | each | 4 |  |  |  |  |
| BwanaMk1-002 | Circuit Breaker- Live Tank | each | 8 |  |  |  |  |
| BwanaMk1-003 | Isolator, Motor Operated with integral earth switch | each | 8 |  |  |  |  |
| BwanaMk1-004 | Isolator switch, Motor Operated without integral earth switch | each | 26 |  |  |  |  |
| BwanaMk1-005 | CVTs | each | 24 |  |  |  |  |
| BwanaMk1-006 | Surge arresters | each | 18 |  |  |  |  |
| BwanaMk1-007 | CTs | each | 30 |  |  |  |  |
| BwanaMk1-008 | Conductors for busbars | Lot | 1 |  |  |  |  |
| BwanaMk1-009 | Insulators for busbar | Lot | 1 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| BwanaMk1-010 | Line protection system | lot | 1 |  |  |  |  |
| BwanaMk1-011 | Transformers protection system | lot | 1 |  |  |  |  |
| BwanaMk1-012 | Sergi Transformer Fire Protection | lot | 1 |  |  |  |  |
| BwanaMk1-013 | line protection communication interface | lot | 1 |  |  |  |  |
| BwanaMk1-014 | Bus bar protection system | lot | 1 |  |  |  |  |
| BwanaMk1-015 | 132kV Metering set (0.2S) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| BwanaMk1-016 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| BwanaMk1-017 | Marshalling Kiosks | lot | 1 |  |  |  |  |
| BwanaMk1-018 | Support insulators | lot | 1 |  |  |  |  |
| BwanaMk1-019 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| BwanaMk1-020 | Grounding Grid Conductor and accessories | lot | 1 |  |  |  |  |
| BwanaMk1-021 | 132kV Dead End monopole and Gantry complete with accessories | lot | 1 |  |  |  |  |
| BwanaMk1-022 | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| 2 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| BwanaMk1-023 | Circuit Breaker- Live Tank | each | 9 |  |  |  |  |
| BwanaMk1-024 | Isolator, Motor Operated with integral earth switch | each | 8 |  |  |  |  |
| BwanaMk1-025 | Isolator switch, Motor Operated without integral earth switch | each | 10 |  |  |  |  |
| BwanaMk1-026 | VTs | each | 24 |  |  |  |  |
| BwanaMk1-027 | Surge arresters | each | 24 |  |  |  |  |
| BwanaMk1-028 | CTs | each | 27 |  |  |  |  |
| BwanaMk1-029 | NERs complete with neutral CTs | each | 4 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| BwanaMk1-030 | Line protection system | lot | 1 |  |  |  |  |
| BwanaMk1-031 | Transformers protection system | lot | 1 |  |  |  |  |
| BwanaMk1-032 | line protection communication interface | lot | 1 |  |  |  |  |
| BwanaMk1-033 | Bus bar protection system | lot | 1 |  |  |  |  |
| BwanaMk1-034 | 33kV Metering set (0.2S) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| BwanaMk1-035 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| BwanaMk1-036 | Marshalling Kiosks | lot | 1 |  |  |  |  |
| BwanaMk1-037 | Support insulators | lot | 1 |  |  |  |  |
| BwanaMk1-038 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| BwanaMk1-039 | Grounding Grid Conductor and accessories | lot | 1 |  |  |  |  |
| BwanaMk1-040 | Subtotal for 33 kV Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| BwanaMk1-041 | 100kVA 33/0.4kV Auxiliary Transformer | each | 2 |  |  |  |  |
| BwanaMk1-042 | Auxiliary switch gear | each | 2 |  |  |  |  |
| BwanaMk1-043 | Protection and control boards with (two spares) | lot | 1 |  |  |  |  |
| BwanaMk1-044 | Auxiliary power 400VAC board | lot | 1 |  |  |  |  |
| BwanaMk1-045 | 100kVA 400VAC Diesel Generator | each | 1 |  |  |  |  |
| BwanaMk1-046 | Auxiliary transformers Metering set (0.2S) | lot | 1 |  |  |  |  |
| BwanaMk1-046 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| BwanaMk1-047 | 33kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| BwanaMk1-048 | 11kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| BwanaMk1-049 | 0.4kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| BwanaMk1-050 | Control cables for entire substation | lot | 1 |  |  |  |  |
| BwanaMk1-051 | Subtotal for Substation Power and Control Cables. |  |  |  |  |  |  |
| 5 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| BwanaMk1-052 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| BwanaMk1-053 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| BwanaMk1-054 | Station Chargers and accessories | lot | 1 |  |  |  |  |
| BwanaMk1-055 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 6 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| BwanaMk1-056 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| BwanaMk1-057 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| BwanaMk1-058 | Charger and accessories | lot | 1 |  |  |  |  |
| BwanaMk1-059 | ODF-FC type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| BwanaMk1-060 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| BwanaMk1-061 | PCM Multiplexer and accesories | each | 1 |  |  |  |  |
| BwanaMk1-062 | FOX615 terminal equipment and accessories | each | 1 |  |  |  |  |
| BwanaMk1-063 | Analogue Telephone handsets with display | each | 4 |  |  |  |  |
| BwanaMk1-064 | Anologue Telephone handsets without display | each | 6 |  |  |  |  |
| BwanaMk1-065 | VoIP Telephone handsets | each | 4 |  |  |  |  |
| BwanaMk1-066 | SFPs – Electrical Type | each | 5 |  |  |  |  |
| BwanaMk1-067 | Laptop for Equipment Management | each | 1 |  |  |  |  |
| BwanaMk1-068 | Optical Time Domain Reflectometer (OTDR) | each | 1 |  |  |  |  |
| BwanaMk1-069 | Optical power meter | each | 1 |  |  |  |  |
| BwanaMk1-070 | Optical light source | each | 1 |  |  |  |  |
| BwanaMk1-071 | Optical visual fault locator | each | 1 |  |  |  |  |
| BwanaMk1-072 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| BwanaMk1-073 | 330/132kV llightning masts | lot | 1 |  |  |  |  |
| BwanaMk1-074 | In door lighting equipment | lot | 1 |  |  |  |  |
| BwanaMk1-075 | Outdoor lighting equipment |  |  |  |  |  |  |
| BwanaMk1-076 | cable fire protection equipment | lot | 1 |  |  |  |  |
| BwanaMk1-077 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| BwanaMk1-078 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| BwanaMk1-079 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| BwanaMk1-080 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| BwanaMk1-081 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| BwanaMk1-082 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| BwanaMk1-083 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| BwanaMk1-084 | Subtotal for Other Equipment |  |  |  |  |  |  |
| 9. | WAMPAC |  |  |  |  |  |  |
| BwanaMk1-085 | WAMPAC execution station system | Lot. | 1 |  |  |  |  |
| BwanaMk1-086 | Subtotal for WAMPAC |  |  |  |  |  |  |
| BwanaMk1-087 | Total |  |  |  |  |  |  |

### Schedule 2: Bwana Mkubwa 132/33kV substation plant and equipment supplied from within Employer’s country.

| Bwana Mkubwa 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| BwanaMk2-001 | Substation gantries | lot | 1 |  |  |  |  |
| BwanaMk2-002 | Lightning masts | lot | 1 |  |  |  |  |
| BwanaMk2-003 | Fire walls for Transformers | each | 3 |  |  |  |  |
| BwanaMk2-004 | Emergency oil pool for transformers. | lot | 1 |  |  |  |  |
| BwanaMk2-005 | Complete Control Building | lot | 1 |  |  |  |  |
| BwanaMk2-006 | Guard house | lot | 1 |  |  |  |  |
| BwanaMk2-007 | Portable fire extinguishers for control room | each | 8 |  |  |  |  |
| BwanaMk2-008 | Complete diesel generator house | each | 1 |  |  |  |  |
| BwanaMk2-009 | Cable trenches | lot | 1 |  |  |  |  |
| BwanaMk2-010 | Complete Water supply System | lot | 1 |  |  |  |  |
| BwanaMk2-011 | General site preparation & earth work | lot | 1 |  |  |  |  |
| BwanaMk2-012 | Internal substation access road - concrete | lot | 1 |  |  |  |  |
| BwanaMk2-013 | Storm water and wastewater drainage system | lot | 1 |  |  |  |  |
| BwanaMk2-014 | Automated fire suppression system for control room | lot | 1 |  |  |  |  |
| BwanaMk2-015 | IT Office Local Area Network | Lot | 1 |  |  |  |  |
| BwanaMk2-016 | ZESCO Substation land fencing | Lot | 1 |  |  |  |  |
| BwanaMk2-017 | Substation fence and gates | lot | 1 |  |  |  |  |
| BwanaMk2-018 | External access road (from the nearest main truck bituminous standard road) | m | 100 |  |  |  |  |
| BwanaMk2-019 | Waste water drainage | lot | 1 |  |  |  |  |
| BwanaMk2-020 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| BwanaMk2-021 | Civil works System testing | lot | 1 |  |  |  |  |
| BwanaMk2-022 | Substation equipment foundations | lot | 1 |  |  |  |  |
| BwanaMk2-023 | Excavations, recovery, and disposal of existing foundations at the proposed substation site | lot | 1 |  |  |  |  |
|  | Substation stones | lot | 1 |  |  |  |  |
| BwanaMk2-024 |  |  |  |  |  |  |  |
| BwanaMk2-025 | Subtotal |  |  |  |  |  |  |

### Schedule 3: Bwana Mkubwa 132/33kV kV substation Local Transportation

| Bwana Mkubwa 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: Bwana Mkubwa 132/33kV substation installation services

| Bwana Mkubwa 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132kV Equipment and materials |  |  |  |  |  |  |
| BwanaMk4-001 | 132kV primary and secondary equipment | lot | 1 |  |  |  |  |
| BwanaMk4-002 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| BwanaMk4-003 | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| 2 | 33kV Equipment and materials |  |  |  |  |  |  |
| BwanaMk4-004 | 33kV primary and secondary equipment | lot | 1 |  |  |  |  |
| BwanaMk4-005 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| BwanaMk4-006 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| BwanaMk4-007 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with Auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| BwanaMk4-008 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| BwanaMk4-009 | Power cables | lot | 1 |  |  |  |  |
| BwanaMk4-010 | Control cables | lot | 1 |  |  |  |  |
| BwanaMk4-011 | Subtotal for Substation Power and Control Cables |  |  |  |  |  |  |
| 5 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| BwanaMk4-012 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| BwanaMk4-013 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| BwanaMk4-014 | Communication equipment | lot | 1 |  |  |  |  |
| BwanaMk4-015 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| BwanaMk4-016 | Other equipment | lot | 1 |  |  |  |  |
| BwanaMk4-017 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| BwanaMk4-018 | Subtotal for Other Equipment |  |  |  |  |  |  |
| 8. | WAMPAC |  |  |  |  |  |  |
| BwanaMk1-019 | WAMPAC execution station system | Lot. | 1 |  |  |  |  |
| BwanaMk1-020 | Subtotal for WAMPAC |  |  |  |  |  |  |
| BwanaMk4-021 | Total |  |  |  |  |  |  |

### Schedule 5: Summary for Bwana Mkubwa 132/33kV substation total project cost with VAT and duties

| Bwana Mkubwa 132/33kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 5. Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## Chichele 132/33kV kV Substation

### Schedule 1: Chichele 132/33kV substation plant and equipment supplied from abroad.

| Chichele 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Description | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132kV-Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Chichele1-001 | 132/33kV 40 MVA Three phase transformer | each | 3 |  |  |  |  |
| Chichele1-002 | Circuit Breaker- Live Tank | each | 9 |  |  |  |  |
| Chichele1-003 | Isolator, Motor Operated with integral earth switch | each | 9 |  |  |  |  |
| Chichele1-004 | Isolator switch, Motor Operated without integral earth switch | each | 32 |  |  |  |  |
| Chichele1-005 | CVTs | each | 27 |  |  |  |  |
| Chichele1-006 | Surge arresters | each | 21 |  |  |  |  |
| Chichele1-007 | CTs | each | 33 |  |  |  |  |
| Chichele1-008 | Conductors for busbars | Lot | 1 |  |  |  |  |
| Chichele1-009 | Insulators for busbar | Lot | 1 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Chichele1-010 | Line protection system | lot | 1 |  |  |  |  |
| Chichele1-011 | Transformers protection system | lot | 1 |  |  |  |  |
| Chichele1-012 | Sergi Transformer Fire Protection | lot | 1 |  |  |  |  |
| Chichele1-013 | line protection communication interface | lot | 1 |  |  |  |  |
| Chichele1-014 | Bus bar protection system | lot | 1 |  |  |  |  |
| Chichele1-015 | 132kV Metering set (0.2S) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Chichele1-016 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Chichele1-017 | Marshalling Kiosks | lot | 1 |  |  |  |  |
| Chichele1-018 | Support insulators | lot | 1 |  |  |  |  |
| Chichele1-019 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Chichele1-020 | Grounding Grid Conductor and accessories | lot | 1 |  |  |  |  |
| Chichele1-021 | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| 2 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Chichele1-022 | Circuit Breaker- Live Tank | each | 7 |  |  |  |  |
| Chichele1-023 | Isolator, Motor Operated with integral earth switch | each | 7 |  |  |  |  |
| Chichele1-024 | Isolator switch, Motor Operated without integral earth switch | each | 15 |  |  |  |  |
| Chichele1-025 | VTs | each | 27 |  |  |  |  |
| Chichele1-026 | Surge arresters | each | 21 |  |  |  |  |
| Chichele1-027 | CTs | each | 21 |  |  |  |  |
| Chichele1-028 | NERs complete with neutral CTs | each | 3 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Chichele1-029 | Line protection system | lot | 1 |  |  |  |  |
| Chichele1-030 | Transformers protection system | lot | 1 |  |  |  |  |
| Chichele1-031 | line protection communication interface | lot | 1 |  |  |  |  |
| Chichele1-032 | Bus bar protection system | lot | 1 |  |  |  |  |
| Chichele1-033 | 33kV Metering set (0.2S) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Chichele1-034 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Chichele1-035 | Marshalling Kiosks | lot | 1 |  |  |  |  |
| Chichele1-036 | Support insulators | lot | 1 |  |  |  |  |
| Chichele1-037 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Chichele1-038 | Grounding Grid Conductor and accessories | lot | 1 |  |  |  |  |
| Chichele1-039 | Subtotal for 33 kV Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Chichele1-040 | 100kVA 33/0.4kV Auxiliary Transformer | each | 2 |  |  |  |  |
| Chichele1-041 | Auxiliary switch gear | each | 2 |  |  |  |  |
| Chichele1-042 | Protection and control boards with (two spares) | lot | 1 |  |  |  |  |
| Chichele1-043 | Auxiliary power 400VAC board | lot | 1 |  |  |  |  |
| Chichele1-044 | 100kVA 400VAC Diesel Generator | each | 1 |  |  |  |  |
| Chichele1-045 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| Chichele1-046 | 33kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Chichele1-047 | 11kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Chichele1-048 | 0.4kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Chichele1-049 | Control cables for entire substation | lot | 1 |  |  |  |  |
| Chichele1-050 | Subtotal for Substation Power and Control Cables. |  |  |  |  |  |  |
| 5 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Chichele1-051 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Chichele1-052 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Chichele1-053 | Station Chargers and accessories | lot | 1 |  |  |  |  |
| Chichele1-054 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 6 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Chichele1-055 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Chichele1-056 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| Chichele1-057 | Charger and accessories | lot | 1 |  |  |  |  |
| Chichele1-058 | ODF-FC type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Chichele1-059 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| Chichele1-060 | PCM Multiplexer and accessories | each | 1 |  |  |  |  |
| Chichele1-061 | FOX615 terminal equipment and accessories | each | 1 |  |  |  |  |
| Chichele1-062 | Analogue Telephone handsets with display | each | 4 |  |  |  |  |
| Chichele1-063 | Analogue Telephone handset without display | each | 6 |  |  |  |  |
| Chichele1-064 | VoIP Telephone handsets | each | 4 |  |  |  |  |
| Chichele1-065 | SFPs – Electrical Type | each | 5 |  |  |  |  |
| Chichele1-066 | Laptop for Equipment Management | each | 1 |  |  |  |  |
| Chichele1-067 | Optical splicing machine and accessories | each | 1 |  |  |  |  |
| Chichele1-068 | Optical Time Domain Reflectometer (OTDR) | each | 1 |  |  |  |  |
| Chichele1-069 | Optical power meter | each | 1 |  |  |  |  |
| Chichele1-070 | Optical light source | each | 1 |  |  |  |  |
| Chichele1-071 | Optical visual fault locator | each | 1 |  |  |  |  |
| Chichele1-072 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Chichele1-073 | 330/132kV llightning masts | lot | 1 |  |  |  |  |
| Chichele1-074 | In door lighting equipment | lot | 1 |  |  |  |  |
| Chichele1-075 | Outdoor lighting equipment |  |  |  |  |  |  |
| Chichele1-076 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Chichele1-077 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Chichele1-078 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Chichele1-079 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Chichele1-080 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Chichele1-081 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Chichele1-082 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Chichele1-083 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| Chichele1-084 | Subtotal for Other Equipment |  |  |  |  |  |  |
| 8. | WAMPAC |  |  |  |  |  |  |
| Chichele1-085 | WAMPAC execution station system | Lot. | 1 |  |  |  |  |
| Chichele1-086 | Subtotal for WAMPAC |  |  |  |  |  |  |
| Chichele1-087 | Total |  |  |  |  |  |  |

### Schedule 2: Chichele 132/33kV substation plant and equipment supplied from within Employer’s country

| Chichele 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Chichele2-001 | Substation gantries | lot | 1 |  |  |  |  |
| Chichele2-002 | Lightning masts | lot | 1 |  |  |  |  |
| Chichele2-003 | Fire walls for Transformers | each | 3 |  |  |  |  |
| Chichele2-004 | Emergency oil pool for transformers. | lot | 1 |  |  |  |  |
| Chichele2-005 | Complete Control Building with air conditioning in the relay room, communications room, control room, offices, extractor fans in the toilets and battery room | lot | 1 |  |  |  |  |
| Chichele2-006 | Guard house | lot | 1 |  |  |  |  |
| Chichele2-007 | Portable fire extinguishers; 9kgs for control room and 50kg for switchyard | lot | 1 |  |  |  |  |
| Chichele2-008 | Complete diesel generator house | each | 1 |  |  |  |  |
| Chichele2-009 | Cable trenches | lot | 1 |  |  |  |  |
| Chichele2-010 | Complete Water supply System | lot | 1 |  |  |  |  |
| Chichele2-011 | General site preparation & earth work | lot | 1 |  |  |  |  |
| Chichele2-012 | Internal substation access road - concrete | lot | 1 |  |  |  |  |
| Chichele2-013 | Storm water and wastewater drainage system | lot | 1 |  |  |  |  |
| Chichele2-014 | Automated fire suppression system for control room | lot | 1 |  |  |  |  |
| Chichele2-015 | IT Office Local Area Network | Lot | 1 |  |  |  |  |
| Chichele2-016 | ZESCO Substation land fencing | Lot | 1 |  |  |  |  |
| Chichele2-017 | Substation fence and gates | lot | 1 |  |  |  |  |
| Chichele2-018 | Concrete external access road(from the nearest main truck bituminous standard road) | m | 100 |  |  |  |  |
| Chichele2-019 | Waste water drainage | lot | 1 |  |  |  |  |
| Chichele2-020 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Chichele2-021 | Civil works System testing | lot | 1 |  |  |  |  |
| Chichele2-022 | Substation equipment foundations | lot | 1 |  |  |  |  |
| Chichele2-023 | Excavations, recovery and disposal of existing foundations at the proposed substation site | lot | 1 |  |  |  |  |
| Chichele2-024 | Substation stones | lot | 1 |  |  |  |  |
| Chichele2-025 | Subtotal |  |  |  |  |  |  |

### Schedule 3: Chichele 132/33kV substation Local Transportation

| Chichele 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: Chichele 132/33kV substation installation services

| Chichele 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132kV Equipment and materials |  |  |  |  |  |  |
| Chichele4-001 | 132kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Chichele4-002 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Chichele4-003 | Subtotal for 330kV Material and Equipment |  |  |  |  |  |  |
| 2 | 33kV Equipment and materials |  |  |  |  |  |  |
| Chichele4-004 | 33kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Chichele4-005 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Chichele4-006 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| Chichele4-007 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with Auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Chichele4-008 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| Chichele4-009 | Power cables | lot | 1 |  |  |  |  |
| Chichele4-010 | Control cables | lot | 1 |  |  |  |  |
| Chichele4-011 | Subtotal for Substation Power and Control Cables |  |  |  |  |  |  |
| 5 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Chichele4-012 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| Chichele4-013 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Chichele4-014 | Communication equipment | lot | 1 |  |  |  |  |
| Chichele4-015 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Chichele4-016 | Other equipment | lot | 1 |  |  |  |  |
| Chichele4-017 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| Chichele4-018 | Subtotal for Other Equipment |  |  |  |  |  |  |
| 8. | WAMPAC |  |  |  |  |  |  |
| Chichele1-019 | WAMPAC execution station system | Lot. | 1 |  |  |  |  |
| Chichele1-020 | Subtotal for WAMPAC |  |  |  |  |  |  |
| Chichele4-021 | Total |  |  |  |  |  |  |

### Schedule 5: Summary for Chichele 132/33kV substation total project cost with VAT and duties

| Chichele 132/33kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 5. Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## Mine Farm 132/33/11kV kV Substation

### Schedule 1: Mine Farm 132/33/11kV substation plant and equipment supplied from abroad

| Mine Farm 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Description | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132kV-Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Mine Farm1-001 | 132/33kV 40 MVA Three phase transformer | each | 4 |  |  |  |  |
| Mine Farm1-002 | Circuit Breaker- Live Tank | each | 8 |  |  |  |  |
| Mine Farm1-003 | Isolator, Motor Operated with integral earth switch | each | 8 |  |  |  |  |
| Mine Farm1-004 | Isolator switch, Motor Operated without integral earth switch | each | 26 |  |  |  |  |
| Mine Farm1-005 | CVTs | each | 24 |  |  |  |  |
| Mine Farm1-006 | Surge arresters | each | 18 |  |  |  |  |
| Mine Farm1-007 | CTs | each | 30 |  |  |  |  |
| Mine Farm1-008 | Conductors for busbars | Lot | 1 |  |  |  |  |
| Mine Farm1-009 | Insulators for busbar | Lot | 1 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Mine Farm1-010 | Line protection system | lot | 1 |  |  |  |  |
| Mine Farm1-011 | Transformers protection system | lot | 1 |  |  |  |  |
| Mine Farm1-012 | Sergi Transformer Fire Protection | lot | 1 |  |  |  |  |
| Mine Farm1-013 | line protection communication interface | lot | 1 |  |  |  |  |
| Mine Farm1-014 | Bus bar protection system | lot | 1 |  |  |  |  |
| Mine Farm1-015 | 330kV Metering set (0.2S) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mine Farm1-016 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Mine Farm1-017 | Marshalling Kiosks | lot | 1 |  |  |  |  |
| Mine Farm1-018 | Support insulators | lot | 1 |  |  |  |  |
| Mine Farm1-019 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mine Farm1-020 | Grounding Grid Conductor and accessories | lot | 1 |  |  |  |  |
| Mine Farm1-021 | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| 2 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Mine Farm1-022 | 33/11kV 12.5 MVA Three phase transformer | each | 2 |  |  |  |  |
| Mine Farm1-023 | Circuit Breaker- Live Tank | each | 13 |  |  |  |  |
| Mine Farm1-024 | Isolator, Motor Operated with integral earth switch | each | 12 |  |  |  |  |
| Mine Farm1-025 | Isolator switch, Motor Operated without integral earth switch | each | 14 |  |  |  |  |
| Mine Farm1-026 | VTs | each | 42 |  |  |  |  |
| Mine Farm1-027 | Surge arresters | each | 36 |  |  |  |  |
| Mine Farm1-028 | CTs | each | 39 |  |  |  |  |
| Mine Farm1-029 | 33kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Mine Farm1-030 | Line protection system | lot | 1 |  |  |  |  |
| Mine Farm1-031 | Transformers protection system | lot | 1 |  |  |  |  |
| Mine Farm1-032 | line protection communication interface | lot | 1 |  |  |  |  |
| Mine Farm1-033 | Bus bar protection system | lot | 1 |  |  |  |  |
| Mine Farm1-034 | 33kV Metering set (0.2S) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mine Farm1-035 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Mine Farm1-036 | Marshalling Kiosks | lot | 1 |  |  |  |  |
| Mine Farm1-037 | Support insulators | lot | 1 |  |  |  |  |
| Mine Farm1-038 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mine Farm1-039 | Grounding Grid Conductor and accessories | lot | 1 |  |  |  |  |
| Mine Farm1-040 | Subtotal for 33 kV Material and Equipment |  |  |  |  |  |  |
| 3. | 11kV-Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Mine Farm1-041 | Bus riser | Each | 1 |  |  |  |  |
| Mine Farm1-042 | Bus Coupler | each | 1 |  |  |  |  |
| Mine Farm1-043 | Earthing panel | each | 1 |  |  |  |  |
| Mine Farm1-044 | Incomers | each | 2 |  |  |  |  |
| Mine Farm1-045 | Feeders | each | 8 |  |  |  |  |
| Mine Farm1-046 | 11kV Power cables | lot | 1 |  |  |  |  |
| Mine Farm1-047 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Mine Farm1-048 | 11kV Incomer Panel Protection System | lot | 1 |  |  |  |  |
| Mine Farm1-049 | 11kV Feeder Panel Protection System | lot | 1 |  |  |  |  |
| Mine Farm1-050 | 11kV Bus Coupler Panel Protection system | lot | 1 |  |  |  |  |
| Mine Farm1-051 | 11kV Arc Flash Panel Protection System | lot | 1 |  |  |  |  |
| Mine Farm1-052 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mine Farm1-053 | SCADA and SAS system for entire | lot | 1 |  |  |  |  |
| Mine Farm1-054 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mine Farm1-055 | Grounding Grid Conductor complete with accessories | lot | 1 |  |  |  |  |
| Mine Farm1-056 | 11kV cable support structure and Support insulators for connection to transformer | lot | 1 |  |  |  |  |
| Mine Farm1-057 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Mine Farm1-058 | 100kVA 33/0.4kV Auxiliary Transformer | each | 2 |  |  |  |  |
| Mine Farm1-059 | Auxiliary switch gear | each | 2 |  |  |  |  |
| Mine Farm1-060 | Protection and control boards with (two spares) | lot | 1 |  |  |  |  |
| Mine Farm1-061 | Auxiliary power 400VAC board | lot | 1 |  |  |  |  |
| Mine Farm1-062 | 100kVA 400VAC Diesel Generator | each | 1 |  |  |  |  |
| Mine Farm1-063 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 5 | Substation Power and Control Cables |  |  |  |  |  |  |
| Mine Farm1-064 | 33kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Mine Farm1-065 | 11kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Mine Farm1-066 | 0.4kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Mine Farm1-067 | Control cables for entire substation | lot | 1 |  |  |  |  |
| Mine Farm1-068 | Subtotal for Substation Power and Control Cables. |  |  |  |  |  |  |
| 6 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Mine Farm1-069 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Mine Farm1-070 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Mine Farm1-071 | Station Chargers and accessories | lot | 1 |  |  |  |  |
| Mine Farm1-072 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 7 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Mine Farm1-073 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Mine Farm1-074 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| Mine Farm1-075 | Charger and accessories | lot | 1 |  |  |  |  |
| Mine Farm1-076 | ODF-FC type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Mine Farm1-077 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| Mine Farm1-078 | PCM Multiplexer and accessories | each | 1 |  |  |  |  |
| Mine Farm1-079 | FOX615 terminal equipment and accessories | each | 2 |  |  |  |  |
| Mine Farm1-080 | Analogue Telephone handsets with display | each | 4 |  |  |  |  |
| Mine Farm1-081 | Anologue Telephone handsets without display | each | 6 |  |  |  |  |
| Mine Farm1-082 | VoIP Telephone handsets | each | 4 |  |  |  |  |
| Mine Farm1-083 | SFPs – Electrical Type | each | 5 |  |  |  |  |
| Mine Farm1-084 | Laptop for Equipment Management | each | 1 |  |  |  |  |
| Mine Farm1-085 | Optical splicing machine and accessories | each | 1 |  |  |  |  |
| Mine Farm1-086 | Optical Time Domain Reflectometer (OTDR) | each | 1 |  |  |  |  |
| Mine Farm1-087 | Optical power meter | each | 1 |  |  |  |  |
| Mine Farm1-088 | Optical light source | each | 1 |  |  |  |  |
| Mine Farm1-089 | Optical visual fault locator | each | 1 |  |  |  |  |
| Mine Farm1-090 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 8 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Mine Farm1-091 | 132kV llightning masts | lot | 1 |  |  |  |  |
| Mine Farm1-092 | In door lighting equipment | lot | 1 |  |  |  |  |
| Mine Farm1-093 | Outdoor lighting equipment |  |  |  |  |  |  |
| Mine Farm1-094 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Mine Farm1-095 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Mine Farm1-096 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Mine Farm1-097 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Mine Farm1-098 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Mine Farm1-099 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Mine Farm1-100 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Mine Farm1-101 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| Mine Farm1-102 | Subtotal for Other Equipment |  |  |  |  |  |  |
| 9. | WAMPAC |  |  |  |  |  |  |
| Mine Farm1-103 | WAMPAC execution station system | Lot. | 1 |  |  |  |  |
| Mine Farm1-104 | Subtotal for WAMPAC |  |  |  |  |  |  |
| Mine Farm1-105 | Total |  |  |  |  |  |  |

### Schedule 2: Mine Farm 132/33/11kV substation plant and equipment supplied from within Employer’s country

| Mine Farm 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Mine Farm2-001 | Substation gantries | lot | 1 |  |  |  |  |
| Mine Farm2-002 | Lightning masts | lot | 1 |  |  |  |  |
| Mine Farm2-003 | Fire walls for Transformers | lot | 1 |  |  |  |  |
| Mine Farm2-004 | Emergency oil pool for transformers. | lot | 1 |  |  |  |  |
| Mine Farm2-005 | Complete Control Building | lot | 1 |  |  |  |  |
| Mine Farm2-006 | Guard house | lot | 1 |  |  |  |  |
| Mine Farm2-007 | Portable fire extinguishers for control room | each | 8 |  |  |  |  |
| Mine Farm2-008 | Complete diesel generator house | each | 1 |  |  |  |  |
| Mine Farm2-009 | Cable trenches | lot | 1 |  |  |  |  |
| Mine Farm2-010 | Complete Water supply System | lot | 1 |  |  |  |  |
| Mine Farm2-011 | General site preparation & earth work | lot | 1 |  |  |  |  |
| Mine Farm2-012 | Internal substation access road - concrete | lot | 1 |  |  |  |  |
| Mine Farm2-013 | Storm water and wastewater drainage system | lot | 1 |  |  |  |  |
| Mine Farm2-014 | Automated fire suppression system for control room | lot | 1 |  |  |  |  |
| Mine Farm2-015 | IT Office Local Area Network | Lot | 1 |  |  |  |  |
| Mine Farm2-016 | ZESCO Substation land fencing | Lot | 1 |  |  |  |  |
| Mine Farm2-017 | Substation fence and gates | lot | 1 |  |  |  |  |
| Mine Farm2-018 | External access road (from the nearest main truck bituminous standard road) | m | 100 |  |  |  |  |
| Mine Farm2-019 | Waste water drainage | lot | 1 |  |  |  |  |
| Mine Farm2-020 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Mine Farm2-021 | Civil works System testing | lot | 1 |  |  |  |  |
| Mine Farm2-022 | Substation equipment foundations | lot | 1 |  |  |  |  |
| Mine Farm2-023 | Excavations, recovery, and disposal of existing foundations at the proposed substation site | lot | 1 |  |  |  |  |
| Mine Farm2-024 | Substation stones | lot | 1 |  |  |  |  |
| Mine Farm2-025 | Subtotal |  |  |  |  |  |  |

### Schedule 3: Mine Farm 132/33/11kV substation Local Transportation

| Mine Farm 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: Mine Farm 132/33/11kV substation installation services

| Mine Farm 132/33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132kV Equipment and materials |  |  |  |  |  |  |
| Mine Farm4-001 | 132kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Mine Farm4-002 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Mine Farm4-003 | Subtotal for 330kV Material and Equipment |  |  |  |  |  |  |
| 2 | 33kV Equipment and materials |  |  |  |  |  |  |
| Mine Farm4-004 | 33kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Mine Farm4-005 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Mine Farm4-006 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 3 | 11kV Equipment and materials |  |  |  |  |  |  |
| Mine Farm4-007 | 11kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Mine Farm4-008 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Mine Farm4-009 | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 4 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| Mine Farm4-010 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with Auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Mine Farm4-011 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 5 | Substation Power and Control Cables |  |  |  |  |  |  |
| Mine Farm4-012 | Power cables | lot | 1 |  |  |  |  |
| Mine Farm4-013 | Control cables | lot | 1 |  |  |  |  |
| Mine Farm4-014 | Subtotal for Substation Power and Control Cables |  |  |  |  |  |  |
| 6 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Mine Farm4-015 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| Mine Farm4-016 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 7 | Communication Equipment |  |  |  |  |  |  |
| Mine Farm4-017 | Communication equipment | lot | 1 |  |  |  |  |
| Mine Farm4-018 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 8 | Other Equipment |  |  |  |  |  |  |
| Mine Farm4-019 | Other equipment | lot | 1 |  |  |  |  |
| Mine Farm4-020 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| Mine Farm4-021 | Subtotal for Other Equipment |  |  |  |  |  |  |
| 9. | WAMPAC |  |  |  |  |  |  |
| Mine Farm1-022 | WAMPAC execution station system | Lot. | 1 |  |  |  |  |
| Mine Farm1-023 | Subtotal for WAMPAC |  |  |  |  |  |  |
| Mine Farm4-024 | Total |  |  |  |  |  |  |

### Schedule 5: Summary for Mine Farm 132/33/11kV substation total project cost with VAT and duties

| Mine Farm 132/33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 5. Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## Kafulafuta 132/33kV kV Substation

### Schedule 1: Kafulafuta 132/33kV substation plant and equipment supplied from abroad.

| Kafulafuta 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Description | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132kV-Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Kafulafuta1-001 | 132/33kV 40 MVA Three phase transformer | each | 4 |  |  |  |  |
| Kafulafuta1-002 | Circuit Breaker- Live Tank | each | 8 |  |  |  |  |
| Kafulafuta1-003 | Isolator, Motor Operated with integral earth switch | each | 8 |  |  |  |  |
| Kafulafuta1-004 | Isolator switch, Motor Operated without integral earth switch | each | 26 |  |  |  |  |
| Kafulafuta1-005 | CVTs | each | 24 |  |  |  |  |
| Kafulafuta1-006 | Surge arresters | each | 18 |  |  |  |  |
| Kafulafuta1-007 | CTs | each | 30 |  |  |  |  |
| Kafulafuta1-008 | Conductors for busbars | Lot | 1 |  |  |  |  |
| Kafulafuta1-009 | Insulators for busbar | Lot | 1 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Kafulafuta1-010 | Line protection system | lot | 1 |  |  |  |  |
| Kafulafuta1-011 | Transformers protection system | lot | 1 |  |  |  |  |
| Kafulafuta1-012 | Sergi Transformer Fire Protection | lot | 1 |  |  |  |  |
| Kafulafuta1-013 | line protection communication interface | lot | 1 |  |  |  |  |
| Kafulafuta1-014 | Bus bar protection system | lot | 1 |  |  |  |  |
| Kafulafuta1-015 | 330kV Metering set (0.2S) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kafulafuta1-016 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kafulafuta1-017 | Marshalling Kiosks | lot | 1 |  |  |  |  |
| Kafulafuta1-018 | Support insulators | lot | 1 |  |  |  |  |
| Kafulafuta1-019 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Kafulafuta1-020 | Grounding Grid Conductor and accessories | lot | 1 |  |  |  |  |
| Kafulafuta1-021 | Subtotal for 132kV Material and Equipment |  |  |  |  |  |  |
| 2 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Kafulafuta1-022 | Circuit Breaker- Live Tank | each | 10 |  |  |  |  |
| Kafulafuta1-023 | Isolator, Motor Operated with integral earth switch | each | 9 |  |  |  |  |
| Kafulafuta1-024 | Isolator switch, Motor Operated without integral earth switch | each | 11 |  |  |  |  |
| Kafulafuta1-025 | VTs | each | 33 |  |  |  |  |
| Kafulafuta1-026 | Surge arresters | each | 27 |  |  |  |  |
| Kafulafuta1-027 | CTs | each | 30 |  |  |  |  |
| Kafulafuta1-028 | NERs complete with neutral CTs | each | 4 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Kafulafuta1-029 | Line protection system | lot | 1 |  |  |  |  |
| Kafulafuta1-030 | Transformers protection system | lot | 1 |  |  |  |  |
| Kafulafuta1-031 | line protection communication interface | lot | 1 |  |  |  |  |
| Kafulafuta1-032 | Bus bar protection system | lot | 1 |  |  |  |  |
| Kafulafuta1-033 | 33kV Metering set (0.2S) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kafulafuta1-034 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kafulafuta1-035 | Marshalling Kiosks | lot | 1 |  |  |  |  |
| Kafulafuta1-036 | Support insulators | lot | 1 |  |  |  |  |
| Kafulafuta1-037 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Kafulafuta1-038 | Grounding Grid Conductor and accessories | lot | 1 |  |  |  |  |
| Kafulafuta1-039 | Subtotal for 33 kV Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Kafulafuta1-040 | 100kVA 33/0.4kV Auxiliary Transformer | each | 2 |  |  |  |  |
| Kafulafuta1-041 | Auxiliary switch gear | each | 2 |  |  |  |  |
| Kafulafuta1-042 | Protection and control boards with (two spares) | lot | 1 |  |  |  |  |
| Kafulafuta1-043 | Auxiliary power 400VAC board | lot | 1 |  |  |  |  |
| Kafulafuta1-044 | 100kVA 400VAC Diesel Generator | each | 1 |  |  |  |  |
| Kafulafuta1-045 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| Kafulafuta1-046 | 33kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Kafulafuta1-047 | 11kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Kafulafuta1-048 | 0.4kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Kafulafuta1-049 | Control cables for entire substation | lot | 1 |  |  |  |  |
| Kafulafuta1-050 | Subtotal for Substation Power and Control Cables. |  |  |  |  |  |  |
| 5 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kafulafuta1-051 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Kafulafuta1-052 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Kafulafuta1-053 | Station Chargers and accessories | lot | 1 |  |  |  |  |
| Kafulafuta1-054 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 6 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kafulafuta1-055 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Kafulafuta1-056 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| Kafulafuta1-057 | Charger and accessories | lot | 1 |  |  |  |  |
| Kafulafuta1-058 | ODF-FC type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Kafulafuta1-059 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| Kafulafuta1-060 | PCM Multiplexer and accessories | each | 1 |  |  |  |  |
| Kafulafuta1-061 | FOX615 terminal equipment and accessories | each | 1 |  |  |  |  |
| Kafulafuta1-062 | Analogue Telephone handsets with display | each | 4 |  |  |  |  |
| Kafulafuta1-063 | Analogue Telephone handsets without display | each | 6 |  |  |  |  |
| Kafulafuta1-064 | VoIP Telephone handsets | each | 4 |  |  |  |  |
| Kafulafuta1-065 | SFPs – Electrical Type | each | 10 |  |  |  |  |
| Kafulafuta1-066 | Laptop for Equipment Management | each | 1 |  |  |  |  |
| Kafulafuta1-067 | Optical splicing machine and accessories | each | 1 |  |  |  |  |
| Kafulafuta1-068 | Optical Time Domain Reflectometer (OTDR) | each | 1 |  |  |  |  |
| Kafulafuta1-069 | Optical power meter | each | 1 |  |  |  |  |
| Kafulafuta1-070 | Optical light source | each | 1 |  |  |  |  |
| Kafulafuta1-071 | Optical visual fault locator | each | 1 |  |  |  |  |
| Kafulafuta1-072 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kafulafuta1-073 | 330/132kV llightning masts | lot | 1 |  |  |  |  |
| Kafulafuta1-074 | In door lighting equipment | lot | 1 |  |  |  |  |
| Kafulafuta1-075 | Outdoor lighting equipment |  |  |  |  |  |  |
| Kafulafuta1-076 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Kafulafuta1-077 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Kafulafuta1-078 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Kafulafuta1-079 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Kafulafuta1-080 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Kafulafuta1-081 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Kafulafuta1-082 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Kafulafuta1-083 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| Kafulafuta1-084 | Subtotal for Other Equipment |  |  |  |  |  |  |
| 8. | WAMPAC |  |  |  |  |  |  |
| Kafulafuta1-085 | WAMPAC execution station system | Lot. | 1 |  |  |  |  |
| Kafulafuta1-086 | Subtotal for WAMPAC |  |  |  |  |  |  |
| Kafulafuta1-087 | Total |  |  |  |  |  |  |

### Schedule 2: Kafulafuta 132/33kV substation plant and equipment supplied from within Employer’s country

| Kafulafuta 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Kafulafuta2-001 | Substation gantries | lot | 1 |  |  |  |  |
| Kafulafuta2-002 | Lightning masts | lot | 1 |  |  |  |  |
| Kafulafuta2-003 | Fire walls for Transformers | lot | 1 |  |  |  |  |
| Kafulafuta2-004 | Emergency oil pool for transformers. | lot | 1 |  |  |  |  |
| Kafulafuta2-005 | Complete Control Building | lot | 1 |  |  |  |  |
| Kafulafuta2-006 | Guard house | lot | 1 |  |  |  |  |
| Kafulafuta2-007 | Portable fire extinguishers: 50kg for Switch Yard and 9kg for control room | lot | 1 |  |  |  |  |
| Kafulafuta2-008 | Complete diesel generator house | each | 1 |  |  |  |  |
| Kafulafuta2-009 | Cable trenches | lot | 1 |  |  |  |  |
| Kafulafuta2-010 | Complete Water supply System | lot | 1 |  |  |  |  |
| Kafulafuta2-011 | General site preparation & earth work | lot | 1 |  |  |  |  |
| Kafulafuta2-012 | Internal substation access road - concrete | lot | 1 |  |  |  |  |
| Kafulafuta2-013 | Storm water and wastewater drainage system | lot | 1 |  |  |  |  |
| Kafulafuta2-014 | Automated fire suppression system for control room | lot | 1 |  |  |  |  |
| Kafulafuta2-015 | IT Office Local Area Network | Lot | 1 |  |  |  |  |
| Kafulafuta2-016 | ZESCO Substation land fencing | Lot | 1 |  |  |  |  |
| Kafulafuta2-017 | Substation fence and gates | lot | 1 |  |  |  |  |
| Kafulafuta2-018 | External concrete access road(from the nearest main truck bituminous standard road) | m | 100 |  |  |  |  |
| Kafulafuta2-019 | Waste water drainage | lot | 1 |  |  |  |  |
| Kafulafuta2-020 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Kafulafuta2-021 | Civil works System testing | lot | 1 |  |  |  |  |
| Kafulafuta2-022 | Substation equipment foundations | lot | 1 |  |  |  |  |
| Kafulafuta2-023 | Excavations, recovery and disposal of existing foundations at the proposed substation site | lot | 1 |  |  |  |  |
| Kafulafuta2-024 | Substation stones | lot | 1 |  |  |  |  |
| Kafulafuta2-025 | Subtotal |  |  |  |  |  |  |

### Schedule 3: Kafulafuta 132/33kV substation Local Transportation

| Kafulafuta 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: Kafulafuta 132/33kV substation installation services

| Kafulafuta 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132kV Equipment and materials |  |  |  |  |  |  |
| Kafulafuta4-001 | 132kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Kafulafuta4-002 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Kafulafuta4-003 | Subtotal for 330kV Material and Equipment |  |  |  |  |  |  |
| 2 | 33kV Equipment and materials |  |  |  |  |  |  |
| Kafulafuta4-004 | 33kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Kafulafuta4-005 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Kafulafuta4-006 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| Kafulafuta4-007 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with Auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Kafulafuta4-008 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| Kafulafuta4-009 | Power cables | lot | 1 |  |  |  |  |
| Kafulafuta4-010 | Control cables | lot | 1 |  |  |  |  |
| Kafulafuta4-011 | Subtotal for Substation Power and Control Cables |  |  |  |  |  |  |
| 5 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kafulafuta4-012 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| Kafulafuta4-013 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Kafulafuta4-014 | Communication equipment | lot | 1 |  |  |  |  |
| Kafulafuta4-015 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Kafulafuta4-016 | Other equipment | lot | 1 |  |  |  |  |
| Kafulafuta4-017 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| Kafulafuta4-018 | Subtotal for Other Equipment |  |  |  |  |  |  |
| 8. | WAMPAC |  |  |  |  |  |  |
| Kafulafuta1-019 | WAMPAC execution station system | Lot. | 1 |  |  |  |  |
| Kafulafuta1-020 | Subtotal for WAMPAC |  |  |  |  |  |  |
| Kafulafuta4-021 | Total |  |  |  |  |  |  |

### Schedule 5: Summary for Kafulafuta 132/33kV substation total project cost with VAT and duties

| Kafulafuta 132/33kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 5. Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## Establishment of 132-88/33kV at Mpongwe East Substation

### Schedule 1: Mpongwe East 132-88/33kV substation plant and equipment supplied from abroad.

| Mpongwe East 132-88/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Description | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132-88kV-Equipment and Materials |  |  |  |  |  |  |
| 1 | 132-88kV Equipment |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Mpongwe East1-001 |  |  |  |  |  |  |  |
| Mpongwe East1-002 | Circuit Breaker- Live Tank | each | 2 |  |  |  |  |
| Mpongwe East1-003 | Isolator, Motor Operated with integral earth switch | each | 2 |  |  |  |  |
| Mpongwe East1-004 | Isolator switch, Motor Operated without integral earth switch | each | 8 |  |  |  |  |
| Mpongwe East1-005 | CVTs | each | 9 |  |  |  |  |
| Mpongwe East1-006 | Surge arresters | each | 6 |  |  |  |  |
| Mpongwe East1-007 | CTs | each | 6 |  |  |  |  |
| Mpongwe East1-008 | Conductors for busbars | Lot | 1 |  |  |  |  |
| Mpongwe East1-009 | Insulators for busbar | Lot | 1 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Mpongwe East1-010 | Line protection system | lot | 1 |  |  |  |  |
| Mpongwe East1-011 | Transformers protection system | lot | 1 |  |  |  |  |
| Mpongwe East1-012 | Sergi Transformer Fire Protection | lot | 1 |  |  |  |  |
| Mpongwe East1-013 | line protection communication interface | lot | 1 |  |  |  |  |
| Mpongwe East1-014 | Bus bar protection system | lot | 1 |  |  |  |  |
| Mpongwe East1-015 | 132-88kV Metering set (0.2S) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mpongwe East1-016 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Mpongwe East1-017 | Marshalling Kiosks | lot | 1 |  |  |  |  |
| Mpongwe East1-018 | Support insulators | lot | 1 |  |  |  |  |
| Mpongwe East1-019 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mpongwe East1-020 | Grounding Grid Conductor and accessories | lot | 1 |  |  |  |  |
| Mpongwe East1-021 | Subtotal for 132-88/33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Mpongwe East1-022 | Circuit Breaker- Live Tank | each | 5 |  |  |  |  |
| Mpongwe East1-023 | Isolator, Motor Operated with integral earth switch | each | 4 |  |  |  |  |
| Mpongwe East1-024 | Isolator switch, Motor Operated without integral earth switch | each | 6 |  |  |  |  |
| Mpongwe East1-025 | VTs | each | 15 |  |  |  |  |
| Mpongwe East1-026 | Surge arresters | each | 12 |  |  |  |  |
| Mpongwe East1-027 | CTs | each | 15 |  |  |  |  |
| Mpongwe East1-028 |  |  |  |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Mpongwe East1-029 | Line protection system | lot | 1 |  |  |  |  |
| Mpongwe East1-030 | Transformers protection system | lot | 1 |  |  |  |  |
| Mpongwe East1-031 | line protection communication interface | lot | 1 |  |  |  |  |
| Mpongwe East1-032 | 33kV Metering set (0.2S) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mpongwe East1-033 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Mpongwe East1-034 | Marshalling Kiosks | lot | 1 |  |  |  |  |
| Mpongwe East1-035 | Support insulators | lot | 1 |  |  |  |  |
| Mpongwe East1-036 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mpongwe East1-037 | Grounding Grid Conductor and accessories | lot | 1 |  |  |  |  |
| Mpongwe East1-038 | Subtotal for 33 kV Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Mpongwe East1-039 | 100kVA 33/0.4kV Auxiliary Transformer | each | 2 |  |  |  |  |
| Mpongwe East1-040 | Auxiliary switch gear | each | 2 |  |  |  |  |
| Mpongwe East1-041 | Protection and control boards with (two spares) | lot | 1 |  |  |  |  |
| Mpongwe East1-042 | Auxiliary power 400VAC board | lot | 1 |  |  |  |  |
| Mpongwe East1-043 | 100kVA 400VAC Diesel Generator | each | 1 |  |  |  |  |
| Mpongwe East1-044 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| Mpongwe East1-045 | 33kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Mpongwe East1-046 | 11kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Mpongwe East1-047 | 0.4kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Mpongwe East1-048 | Control cables for entire substation | lot | 1 |  |  |  |  |
|  | Subtotal for Substation Power and Control Cables. |  |  |  |  |  |  |
| 5 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Mpongwe East1-049 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Mpongwe East1-050 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Mpongwe East1-051 | Station Chargers and accessories | lot | 1 |  |  |  |  |
| Mpongwe East1-052 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 6 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Mpongwe East1-053 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Mpongwe East1-054 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| Mpongwe East1-055 | Charger and accessories | lot | 1 |  |  |  |  |
| Mpongwe East1-056 | ODF-FC type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Mpongwe East1-057 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| Mpongwe East1-058 | PCM Multiplexer and accessories | each | 1 |  |  |  |  |
| Mpongwe East1-059 | FOX615 terminal equipment and accessories | each | 1 |  |  |  |  |
| Mpongwe East1-060 | Analogue Telephone handsets with display | each | 4 |  |  |  |  |
| Mpongwe East1-061 | Analogue Telephone handsets without display | each | 6 |  |  |  |  |
| Mpongwe East1-062 | VoIP Telephone handsets | each | 4 |  |  |  |  |
| Mpongwe East1-063 | SFPs – Electrical Type | each | 10 |  |  |  |  |
| Mpongwe East1-064 | Laptop for Equipment Management | each | 1 |  |  |  |  |
| Mpongwe East1-065 | Optical splicing machine and accessories | each | 1 |  |  |  |  |
| Mpongwe East1-066 | Optical Time Domain Reflectometer (OTDR) | each | 1 |  |  |  |  |
| Mpongwe East1-067 | Optical power meter | each | 1 |  |  |  |  |
| Mpongwe East1-068 | Optical light source | each | 1 |  |  |  |  |
| Mpongwe East1-069 | Optical visual fault locator | each | 1 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Mpongwe East1-070 | 132-88/33kV llightning masts | lot | 1 |  |  |  |  |
| Mpongwe East1-071 | In door lighting equipment | lot | 1 |  |  |  |  |
| Mpongwe East1-072 | Outdoor lighting equipment |  |  |  |  |  |  |
| Mpongwe East1-073 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Mpongwe East1-074 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Mpongwe East1-075 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Mpongwe East1-076 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Mpongwe East1-077 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Mpongwe East1-078 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Mpongwe East1-079 | Gantry and otGantry,,uipment foundation materials | lot | 1 |  |  |  |  |
| Mpongwe East1-080 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
|  | Subtotal for Other Equipment |  |  |  |  |  |  |
|  | Grand Total |  |  |  |  |  |  |

### Schedule 2: Mpongwe East 132-88/33kV substation plant and equipment supplied from within Employer’s country

| Mpongwe East 132-88/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Mpongwe East2-001 | Substation gantries | lot | 1 |  |  |  |  |
| Mpongwe East2-002 | Lightning masts | lot | 1 |  |  |  |  |
| Mpongwe East2-003 |  |  |  |  |  |  |  |
| Mpongwe East2-004 | Emergency oil pool for transformers. | lot | 1 |  |  |  |  |
| Mpongwe East2-005 | Complete Control Building | lot | 1 |  |  |  |  |
| Mpongwe East2-006 |  |  |  |  |  |  |  |
| Mpongwe East2-007 | Portable fire extinguishers: 50kg for Switch Yard and 9kg for control room | lot | 1 |  |  |  |  |
| Mpongwe East2-008 |  |  |  |  |  |  |  |
| Mpongwe East2-009 | Cable trenches | lot | 1 |  |  |  |  |
| Mpongwe East2-010 |  |  |  |  |  |  |  |
| Mpongwe East2-011 | General site preparation & earth work | lot | 1 |  |  |  |  |
| Mpongwe East2-012 | Internal substation access road - concrete | lot | 1 |  |  |  |  |
| Mpongwe East2-013 | Storm water and wastewater drainage system | lot | 1 |  |  |  |  |
| Mpongwe East2-014 | Automated fire suppression system for control room | lot | 1 |  |  |  |  |
|  | IT Office Local Area Network | Lot | 1 |  |  |  |  |
| Mpongwe East2-015 | ZESCO Substation land fencing | Lot | 1 |  |  |  |  |
| Mpongwe East2-016 | Substation fence and gates | lot | 1 |  |  |  |  |
| Mpongwe East2-017 | External concrete access road (from the nearest main truck bituminous standard road) | m | 100 |  |  |  |  |
| Mpongwe East2-018 | Waste water drainage | lot | 1 |  |  |  |  |
| Mpongwe East2-019 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Mpongwe East2-020 | Civil works System testing | lot | 1 |  |  |  |  |
| Mpongwe East2-021 | Substation equipment foundations | lot | 1 |  |  |  |  |
| Mpongwe East2-022 | Excavations, recovery and disposal of existing foundations at the proposed substation site | lot | 1 |  |  |  |  |
| Mpongwe East2-023 | Substation stones | lot | 1 |  |  |  |  |
| Mpongwe East2-024 | Subtotal |  |  |  |  |  |  |

### Schedule 3: Mpongwe East 132-88/33kV substation Local Transportation

| Mpongwe East 132-88/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: Mpongwe East 132-88/33kV substation installation services

| Mpongwe East 132-88/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132-88kV Equipment and materials |  |  |  |  |  |  |
| Mpongwe East4-001 | 132-88kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Mpongwe East4-002 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Mpongwe East4-003 | Subtotal for 132-88/33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 33kV Equipment and materials |  |  |  |  |  |  |
| Mpongwe East4-004 | 33kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Mpongwe East4-005 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Mpongwe East4-006 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| Mpongwe East4-009 | Power cables | lot | 1 |  |  |  |  |
| Mpongwe East4-010 | Control cables | lot | 1 |  |  |  |  |
| Mpongwe East4-011 | Subtotal for Substation Power and Control Cables |  |  |  |  |  |  |
| 5 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Mpongwe East4-012 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| Mpongwe East4-013 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Mpongwe East4-014 | Communication equipment | lot | 1 |  |  |  |  |
| Mpongwe East4-015 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Mpongwe East4-016 | Other equipment | lot | 1 |  |  |  |  |
| Mpongwe East4-017 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| Mpongwe East4-018 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Mpongwe East4-019 | Total |  |  |  |  |  |  |

### Schedule 5: Summary for Mpongwe East 132-88/33kV substation total project cost with VAT and duties

| Mpongwe East 132-88/33kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 5. Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## Establishment of 132-88/33kV at Munkumpu Substation

### Schedule 1: Munkumpu 132-88/33kV substation plant and equipment supplied from abroad.

| Munkumpu 132-88/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Description | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132-88kV-Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Munkumpu1-001 |  |  |  |  |  |  |  |
| Munkumpu1-002 | Circuit Breaker- Live Tank | each | 2 |  |  |  |  |
| Munkumpu1-003 | Isolator, Motor Operated with integral earth switch | each | 2 |  |  |  |  |
| Munkumpu1-004 | Isolator switch, Motor Operated without integral earth switch | each | 8 |  |  |  |  |
| Munkumpu1-005 | CVTs | each | 9 |  |  |  |  |
| Munkumpu1-006 | Surge arresters | each | 6 |  |  |  |  |
| Munkumpu1-007 | CTs | each | 6 |  |  |  |  |
| Munkumpu1-008 | Conductors for busbars | Lot | 1 |  |  |  |  |
| Munkumpu1-009 | Insulators for busbar | Lot | 1 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Munkumpu1-010 | Line protection system | lot | 1 |  |  |  |  |
| Munkumpu1-011 | Transformers protection system | lot | 1 |  |  |  |  |
| Munkumpu1-012 | Sergi Transformer Fire Protection | lot | 1 |  |  |  |  |
| Munkumpu1-013 | line protection communication interface | lot | 1 |  |  |  |  |
| Munkumpu1-014 | Bus bar protection system | lot | 1 |  |  |  |  |
| Munkumpu1-015 | 132-88kV Metering set (0.2S) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Munkumpu1-016 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Munkumpu1-017 | Marshalling Kiosks | lot | 1 |  |  |  |  |
| Munkumpu1-018 | Support insulators | lot | 1 |  |  |  |  |
| Munkumpu1-019 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Munkumpu1-020 | Grounding Grid Conductor and accessories | lot | 1 |  |  |  |  |
| Munkumpu1-021 | Subtotal for 132-88kV Material and Equipment |  |  |  |  |  |  |
| 2 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Munkumpu1-022 | Circuit Breaker- Live Tank | each | 5 |  |  |  |  |
| Munkumpu1-023 | Isolator, Motor Operated with integral earth switch | each | 4 |  |  |  |  |
| Munkumpu1-024 | Isolator switch, Motor Operated without integral earth switch | each | 6 |  |  |  |  |
| Munkumpu1-025 | VTs | each | 15 |  |  |  |  |
| Munkumpu1-026 | Surge arresters | each | 12 |  |  |  |  |
| Munkumpu1-027 | CTs | each | 15 |  |  |  |  |
| Munkumpu1-028 |  |  |  |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Munkumpu1-029 | Line protection system | lot | 1 |  |  |  |  |
| Munkumpu1-030 | Transformers protection system | lot | 1 |  |  |  |  |
| Munkumpu1-031 | line protection communication interface | lot | 1 |  |  |  |  |
| Munkumpu1-032 | 33kV Metering set (0.2S) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Munkumpu1-033 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Munkumpu1-034 | Marshalling Kiosks | lot | 1 |  |  |  |  |
| Munkumpu1-035 | Support insulators | lot | 1 |  |  |  |  |
| Munkumpu1-036 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Munkumpu1-037 | Grounding Grid Conductor and accessories | lot | 1 |  |  |  |  |
| Munkumpu1-038 | Subtotal for 33 kV Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Munkumpu1-039 | 100kVA 33/0.4kV Auxiliary Transformer | each | 2 |  |  |  |  |
| Munkumpu1-040 | Auxiliary switch gear | each | 2 |  |  |  |  |
| Munkumpu1-041 | Protection and control boards with (two spares) | lot | 1 |  |  |  |  |
| Munkumpu1-042 | Auxiliary power 400VAC board | lot | 1 |  |  |  |  |
| Munkumpu1-043 | 100kVA 400VAC Diesel Generator | each | 1 |  |  |  |  |
| Munkumpu1-044 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| Munkumpu1-045 | 33kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Munkumpu1-046 | 11kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Munkumpu1-047 | 0.4kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Munkumpu1-048 | Control cables for entire substation | lot | 1 |  |  |  |  |
| Munkumpu1-049 | Subtotal for Substation Power and Control Cables. |  |  |  |  |  |  |
| 5 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Munkumpu1-050 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Munkumpu1-051 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Munkumpu1-052 | Station Chargers and accessories | lot | 1 |  |  |  |  |
| Munkumpu1-053 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 6 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Munkumpu1-054 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Munkumpu1-055 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| Munkumpu1-056 | Charger and accessories | lot | 1 |  |  |  |  |
| Munkumpu1-057 | ODF-FC type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Munkumpu1-058 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| Munkumpu1-059 | PCM Multiplexer and accessories | each | 1 |  |  |  |  |
| Munkumpu1-060 | FOX615 terminal equipment and accessories | each | 1 |  |  |  |  |
| Munkumpu1-061 | Analogue Telephone handsets with display | each | 4 |  |  |  |  |
| Munkumpu1-062 | Analogue Telephone handsets without display | each | 6 |  |  |  |  |
| Munkumpu1-063 | VoIP Telephone handsets | each | 4 |  |  |  |  |
| Munkumpu1-064 | SFPs – Electrical Type | each | 10 |  |  |  |  |
| Munkumpu1-065 | Laptop for Equipment Management | each | 1 |  |  |  |  |
| Munkumpu1-066 | Optical splicing machine and accessories | each | 1 |  |  |  |  |
| Munkumpu1-067 | Optical Time Domain Reflectometer (OTDR) | each | 1 |  |  |  |  |
| Munkumpu1-068 | Optical power meter | each | 1 |  |  |  |  |
| Munkumpu1-069 | Optical light source | each | 1 |  |  |  |  |
| Munkumpu1-070 | Optical visual fault locator | each | 1 |  |  |  |  |
| Munkumpu1-071 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Munkumpu1-072 | 132-88/33kV llightning masts | lot | 1 |  |  |  |  |
| Munkumpu1-073 | In door lighting equipment | lot | 1 |  |  |  |  |
| Munkumpu1-074 | Outdoor lighting equipment |  |  |  |  |  |  |
| Munkumpu1-075 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Munkumpu1-076 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Munkumpu1-077 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Munkumpu1-078 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Munkumpu1-079 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Munkumpu1-080 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Munkumpu1-081 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Munkumpu1-082 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| Munkumpu1-083 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Munkumpu1-084 | Grand Total |  |  |  |  |  |  |

### Schedule 2: Munkumpu 132-88/33kV substation plant and equipment supplied from within Employer’s country.

| Munkumpu 132-88/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Munkumpu2-001 | Substation gantries | lot | 1 |  |  |  |  |
| Munkumpu2-002 | Lightning masts | lot | 1 |  |  |  |  |
| Munkumpu2-003 | Fire walls for Transformers | lot | 1 |  |  |  |  |
| Munkumpu2-004 | Emergency oil pool for transformers. | lot | 1 |  |  |  |  |
| Munkumpu2-005 | Complete Control Building | lot | 1 |  |  |  |  |
| Munkumpu2-006 | Guard house | lot | 1 |  |  |  |  |
| Munkumpu2-007 | Portable fire extinguishers: 50kg for Switch Yard and 9kg for control room | lot | 1 |  |  |  |  |
| Munkumpu2-008 | Complete diesel generator house | each | 1 |  |  |  |  |
| Munkumpu2-009 | Cable trenches | lot | 1 |  |  |  |  |
| Munkumpu2-010 | Complete Water supply System | lot | 1 |  |  |  |  |
| Munkumpu2-011 | General site preparation & earth work | lot | 1 |  |  |  |  |
| Munkumpu2-012 | Internal substation access road - concrete | lot | 1 |  |  |  |  |
| Munkumpu2-013 | Storm water and wastewater drainage system | lot | 1 |  |  |  |  |
| Munkumpu2-014 | Automated fire suppression system for control room | lot | 1 |  |  |  |  |
|  | IT Office Local Area Network | Lot | 1 |  |  |  |  |
| Munkumpu2-015 | ZESCO Substation land fencing | Lot | 1 |  |  |  |  |
| Munkumpu2-016 | Substation fence and gates | lot | 1 |  |  |  |  |
| Munkumpu2-017 | External concrete access road(from the nearest main truck bituminous standard road) | m | 100 |  |  |  |  |
| Munkumpu2-018 | Waste water drainage | lot | 1 |  |  |  |  |
| Munkumpu2-019 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Munkumpu2-020 | Civil works System testing | lot | 1 |  |  |  |  |
| Munkumpu2-021 | Substation equipment foundations | lot | 1 |  |  |  |  |
| Munkumpu2-022 | Excavations, recovery and disposal of existing foundations at the proposed substation site | lot | 1 |  |  |  |  |
| Munkumpu2-023 | Substation stones | lot | 1 |  |  |  |  |
| Munkumpu2-024 | Subtotal |  |  |  |  |  |  |

### Schedule 3: Munkumpu 132-88/33kV substation Local Transportation

| Munkumpu 132-88/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: Munkumpu 132-88/33kV substation installation services

| Munkumpu 132-88/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 132-88/33kV Equipment and materials |  |  |  |  |  |  |
| Munkumpu4-001 | 132-88kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Munkumpu4-002 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Munkumpu4-003 | Subtotal for 132-88kV Material and Equipment |  |  |  |  |  |  |
| 2 | 33kV Equipment and materials |  |  |  |  |  |  |
| Munkumpu4-004 | 33kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Munkumpu4-005 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Munkumpu4-006 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| Munkumpu4-009 | Power cables | lot | 1 |  |  |  |  |
| Munkumpu4-010 | Control cables | lot | 1 |  |  |  |  |
| Munkumpu4-011 | Subtotal for Substation Power and Control Cables |  |  |  |  |  |  |
| 5 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Munkumpu4-012 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| Munkumpu4-013 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Munkumpu4-014 | Communication equipment | lot | 1 |  |  |  |  |
| Munkumpu4-015 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Munkumpu4-016 | Other equipment | lot | 1 |  |  |  |  |
| Munkumpu4-017 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| Munkumpu4-018 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Munkumpu4-019 | Total |  |  |  |  |  |  |

### Schedule 5: Summary for Munkumpu 132-88/33kV substation total project cost with VAT and duties

| Munkumpu 132-88/33kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 5. Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## 132kV Substation Total Costs

| Item | Description | Total Price 1 CIP USD | Total Price 2 DDP USD |
| --- | --- | --- | --- |
| 1 | Schedule 5: Summary for New Mpongwe 132/88/33kV Substation |  |  |
| 2. | Schedule 5: Summary for Bwana Mkubwa 132/33kV substation |  |  |
| 3. | Schedule 5: Summary for Chichele 132/33kV substation |  |  |
| 4. | Schedule 5: Summary for Mine Farm 132/33kV substation |  |  |
| 5. | Schedule 5: Summary for Kafulafuta 132/33kV substation |  |  |
| 6. | Schedule 5: Summary for Establishment of 88/33kV at Mukumpu Substation |  |  |
| 7. | Schedule 5: Summary for Establishment of 88/33kV at Mpongwe East substation |  |  |
| 8. | 132kV Substation Total Costs (To Grand Summary) |  |  |
|  | Name of Bidder |  |  |
|  | Signature of Bidder |  |  |

# 33/11kkV SUBSTATIONS

## New Depot 33/11kV Substation

### Schedule 1: New Depot 33/11kV substation plant and equipment supplied from abroad.

| New Depot 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| New Depot1-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| New Depot1-002 | Circuit Breaker- Live Tank | each | 5 |  |  |  |  |
| New Depot1-003 | Isolator, Motor Operated with integral earth switch | each | 4 |  |  |  |  |
| New Depot1-004 | Isolator switch, Motor Operated without integral earth switch | each | 4 |  |  |  |  |
| New Depot1-005 | VTs | each | 18 |  |  |  |  |
| New Depot1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| New Depot1-007 | Surge arresters | each | 12 |  |  |  |  |
| New Depot1-008 | CTs | each | 15 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| New Depot1-009 | 33kV Line protection system | lot | 1 |  |  |  |  |
| New Depot1-010 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| New Depot1-011 | Bus Section Protection | Lot | 1 |  |  |  |  |
| New Depot1-012 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| New Depot1-013 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| New Depot1-014 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| New Depot1-015 | Marshalling Kiosk | lot | 1 |  |  |  |  |
| New Depot1-016 | Support insulators | lot | 1 |  |  |  |  |
| New Depot1-017 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| New Depot1-018 | Grounding Grid Conductor and lightning protection complete with accessories | lot | 1 |  |  |  |  |
| New Depot1-019 | 33kV Support insulator | lot | 1 |  |  |  |  |
| New Depot1-020 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| New Depot1-021 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 2. | 11kV-Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| New Depot1-022 | Bus riser | Each | 1 |  |  |  |  |
| New Depot1-023 | Bus Coupler | each | 1 |  |  |  |  |
| New Depot1-024 | Earthing panel | each | 1 |  |  |  |  |
| New Depot1-025 | Incomers | each | 2 |  |  |  |  |
| New Depot1-026 | Feeders | each | 8 |  |  |  |  |
| New Depot1-027 | 11kV Power cables | lot | 1 |  |  |  |  |
| New Depot1-028 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| New Depot1-029 | 11kV Incomer Panel Protection System | lot | 1 |  |  |  |  |
| New Depot1-030 | 11kV Feeder Panel Protection System | lot | 1 |  |  |  |  |
| New Depot1-031 | 11kV Bus Coupler Panel Protection system | lot | 1 |  |  |  |  |
| New Depot1-032 | 11kV Arc Flash Panel Protection System | lot | 1 |  |  |  |  |
| New Depot1-033 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| New Depot1-034 | SCADA and SAS system for entire | lot | 1 |  |  |  |  |
| New Depot1-035 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| New Depot1-036 | Grounding Grid Conductor complete with accessories | lot | 1 |  |  |  |  |
| New Depot1-037 | 11kV cable support structure and Support insulators for connection to transformer | lot | 1 |  |  |  |  |
| New Depot1-038 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| New Depot1-039 | 100kVA 33/0.4kV Auxiliary Transformer | each | 2 |  |  |  |  |
| New Depot1-040 | Auxiliary switch gear | each | 2 |  |  |  |  |
| New Depot1-041 | Protection and control boards with (two spares) | lot | 1 |  |  |  |  |
| New Depot1-042 | Auxiliary power 400VAC board | lot | 1 |  |  |  |  |
| New Depot1-043 | 100kVA 400VAC Diesel Generator | each | 1 |  |  |  |  |
| New Depot1-044 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| New Depot1-045 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| New Depot1-046 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| New Depot1-047 | Station Chargers and accessories | lot | 1 |  |  |  |  |
| New Depot1-048 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 5 | Substation Power and Control Cables |  |  |  |  |  |  |
| New Depot1-049 | 33kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| New Depot1-050 | 11kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| New Depot1-051 | 0.4kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| New Depot1-052 | Control cables for entire substation | lot | 1 |  |  |  |  |
| New Depot1-053 | Subtotal for Substation Power and Control Cables. |  |  |  |  |  |  |
| 6. | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| New Depot1-054 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| New Depot1-055 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| New Depot1-056 | Charger and accessories | lot | 1 |  |  |  |  |
| New Depot1-057 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| New Depot1-058 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| New Depot1-059 | PCM multiplexer and accessories | each | 1 |  |  |  |  |
| New Depot1-060 | Electrical SFP | each | 5 |  |  |  |  |
| New Depot1-061 | Analogue Telephone handsets with display | each | 4 |  |  |  |  |
| New Depot1-062 | Analogue Telephone handsets without display | each | 6 |  |  |  |  |
| New Depot1-063 | VoIP Telephone handsets | each | 4 |  |  |  |  |
| New Depot1-064 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| New Depot1-068 | 33kV lightning masts | lot | 1 |  |  |  |  |
| New Depot1-069 | In door lighting equipment | lot | 1 |  |  |  |  |
| New Depot1-070 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| New Depot1-071 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| New Depot1-072 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| New Depot1-073 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| New Depot1-074 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| New Depot1-075 | cable fire protection equipment | lot | 1 |  |  |  |  |
| New Depot1-076 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| New Depot1-077 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| New Depot1-078 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
| New Depot1-079 | Subtotal for Other Equipment |  |  |  |  |  |  |
| New Depot1-080 | Grand Total |  |  |  |  |  |  |

### Schedule 2: New Depot 33/11kV substation plant and equipment supplied from within Employer’s country.

| New Depot 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works, steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| New Depot2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| New Depot2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| New Depot2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| New Depot2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| New Depot2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| New Depot2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| New Depot2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| New Depot2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| New Depot2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| New Depot2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| New Depot2-011 | IT Office Local Area Network | Lot | 1 |  |  |  |  |
| New Depot2-012 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| New Depot2-013 | Substation fence and gates | lot | 1 |  |  |  |  |
| New Depot2-014 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| New Depot2-015 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| New Depot2-016 | Civil works System testing | lot | 1 |  |  |  |  |
| New Depot2-017 | Substation stones | lot | 1 |  |  |  |  |
| New Depot2-018 | Subtotal |  |  |  |  |  |  |

### Schedule 3: New Depot 33/11kV substation Local Transportation

| Lulamba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: New Depot 33/11kV substation installation services

| New Depot 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| New Depot4-001 | 33kV primary and secondary equipment | lot | 1 |  |  |  |  |
| New Depot4-002 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| New Depot4-003 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV Equipment and materials |  |  |  |  |  |  |
| New Depot4-004 | 11kV primary and secondary equipment | lot | 1 |  |  |  |  |
| New Depot4-005 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| New Depot4-006 | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| New Depot4-007 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with Auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| New Depot4-008 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| New Depot4-009 | Power cables | lot | 1 |  |  |  |  |
| New Depot4-010 | Control cables | lot | 1 |  |  |  |  |
| New Depot4-011 | Subtotal for Substation Power and Control Cables |  |  |  |  |  |  |
| 6 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| New Depot4-012 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| New Depot4-013 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 7 | Communication Equipment |  |  |  |  |  |  |
| New Depot4-014 | Communication equipment | lot | 1 |  |  |  |  |
| New Depot4-015 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 8 | Other Equipment |  |  |  |  |  |  |
| New Depot4-016 | Other equipment | lot | 1 |  |  |  |  |
| New Depot4-017 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| New Depot4-018 | Subtotal for Other Equipment |  |  |  |  |  |  |
| New Depot4-019 | Total |  |  |  |  |  |  |

### Schedule 5: Summary for New Depot 33/11kV substation total project cost with VAT and duties

| New Depot 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 5.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## New Pamodzi 33/11kV Substation

### Schedule 1: New Pamodzi 33/11kV substation plant and equipment supplied from abroad.

| New Pamodzi 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| New Pamodzi1-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| New Pamodzi1-002 | Circuit Breaker- Live Tank | each | 6 |  |  |  |  |
| New Pamodzi1-003 | Isolator, Motor Operated with integral earth switch | each | 5 |  |  |  |  |
| New Pamodzi1-004 | Isolator switch, Motor Operated without integral earth switch | each | 5 |  |  |  |  |
| New Pamodzi1-005 | VTs | each | 21 |  |  |  |  |
| New Pamodzi1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| New Pamodzi1-007 | Surge arresters | each | 15 |  |  |  |  |
| New Pamodzi1-008 | CTs | each | 18 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| New Pamodzi1-009 | 33kV Line protection system | lot | 1 |  |  |  |  |
| New Pamodzi1-010 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| New Pamodzi1-011 | Bus Section Protection | Lot | 1 |  |  |  |  |
| New Pamodzi1-012 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| New Pamodzi1-013 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| New Pamodzi1-014 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| New Pamodzi1-015 | Marshalling Kiosk | lot | 1 |  |  |  |  |
| New Pamodzi1-016 | Support insulators | lot | 1 |  |  |  |  |
| New Pamodzi1-017 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| New Pamodzi1-018 | Grounding Grid Conductor and lightning protection complete with accessories | lot | 1 |  |  |  |  |
| New Pamodzi1-019 | 33kV Support insulator | lot | 1 |  |  |  |  |
| New Pamodzi1-020 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| New Pamodzi1-021 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 2. | 11kV-Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| New Pamodzi1-022 | Bus riser | Each | 1 |  |  |  |  |
| New Pamodzi1-023 | Bus Coupler | each | 1 |  |  |  |  |
| New Pamodzi1-024 | Earthing panel | each | 1 |  |  |  |  |
| New Pamodzi1-025 | Incomers | each | 2 |  |  |  |  |
| New Pamodzi1-026 | Feeders | each | 8 |  |  |  |  |
| New Pamodzi1-027 | 11kV Power cables | lot | 1 |  |  |  |  |
| New Pamodzi1-028 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| New Pamodzi1-029 | 11kV Incomer Panel Protection System | lot | 1 |  |  |  |  |
| New Pamodzi1-030 | 11kV Feeder Panel Protection System | lot | 1 |  |  |  |  |
| New Pamodzi1-031 | 11kV Bus Coupler Panel Protection system | lot | 1 |  |  |  |  |
| New Pamodzi1-032 | 11kV Arc Flash Panel Protection System | lot | 1 |  |  |  |  |
| New Pamodzi1-033 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| New Pamodzi1-034 | SCADA and SAS system for entire | lot | 1 |  |  |  |  |
| New Pamodzi1-035 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| New Pamodzi1-036 | Grounding Grid Conductor complete with accessories | lot | 1 |  |  |  |  |
| New Pamodzi1-037 | 11kV cable support structure and Support insulators for connection to transformer | lot | 1 |  |  |  |  |
| New Pamodzi1-038 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| New Depot1-039 | 100kVA 33/0.4kV Auxiliary Transformer | each | 2 |  |  |  |  |
| New Depot1-040 | Auxiliary switch gear | each | 2 |  |  |  |  |
| New Depot1-041 | Protection and control boards with (two spares) | lot | 1 |  |  |  |  |
| New Depot1-042 | Auxiliary power 400VAC board | lot | 1 |  |  |  |  |
| New Depot1-043 | 100kVA 400VAC Diesel Generator | each | 1 |  |  |  |  |
| New Depot1-044 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| New Depot1-045 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| New Depot1-046 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| New Depot1-047 | Station Chargers and accessories | lot | 1 |  |  |  |  |
| New Depot1-048 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 5 | Substation Power and Control Cables |  |  |  |  |  |  |
| New Pamodzi1-049 | 33kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| New Pamodzi1-050 | 11kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| New Pamodzi1-051 | 0.4kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| New Pamodzi1-052 | Control cables for entire substation | lot | 1 |  |  |  |  |
| New Pamodzi1-053 | Subtotal for Substation Power and Control Cables. |  |  |  |  |  |  |
| 6. | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| New Pamodzi1-054 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| New Pamodzi1-055 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| New Pamodzi1-056 | Charger and accessories | lot | 1 |  |  |  |  |
| New Pamodzi1-057 | ODF-FC Type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| New Pamodzi1-058 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| New Pamodzi1-059 | PCM multiplexer and accessories | each | 1 |  |  |  |  |
| New Pamodzi1-060 | Electrical SFP | each | 5 |  |  |  |  |
| New Pamodzi1-061 | Analogue Telephone handsets with display | each | 4 |  |  |  |  |
| New Pamodzi1-062 | Analogue Telephone handsets without display | each | 6 |  |  |  |  |
| New Pamodzi1-063 | VoIP Telephone handsets | each | 4 |  |  |  |  |
| New Pamodzi1-067 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| New Pamodzi1-068 | 33kV lightning masts | lot | 1 |  |  |  |  |
| New Pamodzi1-069 | In door lighting equipment | lot | 1 |  |  |  |  |
| New Pamodzi1-070 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| New Pamodzi1-071 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| New Pamodzi1-072 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| New Pamodzi1-073 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| New Pamodzi1-074 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| New Pamodzi1-075 | cable fire protection equipment | lot | 1 |  |  |  |  |
| New Pamodzi1-076 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| New Pamodzi1-077 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| New Pamodzi1-078 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
| New Pamodzi1-079 | Subtotal for Other Equipment |  |  |  |  |  |  |
| New Pamodzi1-080 | Grand Total |  |  |  |  |  |  |

### Schedule 2: New Pamodzi 33/11kV substation plant and equipment supplied from within Employer’s country

| New Pamodzi 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| New Pamodzi2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| New Pamodzi2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| New Pamodzi2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| New Pamodzi2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| New Pamodzi2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| New Pamodzi2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| New Pamodzi2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| New Pamodzi2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| New Pamodzi2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| New Pamodzi2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| New Pamodzi2-011 | IT Office Local Area Network | Lot | 1 |  |  |  |  |
| New Pamodzi2-012 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| New Pamodzi2-013 | Substation fence and gates | lot | 1 |  |  |  |  |
| New Pamodzi2-014 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| New Pamodzi2-015 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| New Pamodzi2-016 | Civil works System testing | lot | 1 |  |  |  |  |
| New Pamodzi2-017 | Substation stones | lot | 1 |  |  |  |  |
| New Pamodzi2-018 | Subtotal |  |  |  |  |  |  |

### Schedule 3: New Pamodzi 33/11kV substation Local Transportation

| Lulamba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: New Pamodzi 33/11kV substation installation services

| Chichele 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| New Pamodzi4-001 | 33kV primary and secondary equipment | lot | 1 |  |  |  |  |
| New Pamodzi4-002 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| New Pamodzi4-003 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV Equipment and materials |  |  |  |  |  |  |
| New Pamodzi4-004 | 11kV primary and secondary equipment | lot | 1 |  |  |  |  |
| New Pamodzi4-005 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| New Pamodzi4-006 | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| New Pamodzi4-007 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with Auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| New Pamodzi4-008 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| New Pamodzi4-009 | Power cables | lot | 1 |  |  |  |  |
| New Pamodzi4-010 | Control cables | lot | 1 |  |  |  |  |
| New Pamodzi4-011 | Subtotal for Substation Power and Control Cables |  |  |  |  |  |  |
| 6 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| New Pamodzi4-012 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| New Pamodzi4-013 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 7 | Communication Equipment |  |  |  |  |  |  |
| New Pamodzi4-014 | Communication equipment | lot | 1 |  |  |  |  |
| New Pamodzi4-015 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 8 | Other Equipment |  |  |  |  |  |  |
| New Pamodzi4-016 | Other equipment | lot | 1 |  |  |  |  |
| New Pamodzi4-017 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| New Pamodzi4-018 | Subtotal for Other Equipment |  |  |  |  |  |  |
| New Pamodzi4-019 | Total |  |  |  |  |  |  |

### Schedule 5: Summary for New Pamodzi 33/11kV substation total project cost with VAT and duties

| New Pamodzi 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 5. Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## New Dola Hill 33/11kV Substation

### Schedule 1: New Dola Hill 33/11kV substation plant and equipment supplied from abroad.

| New Dola Hill 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| New Dola Hill1-001 | 25/31.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| New Dola Hill1-002 | Circuit Breaker- Live Tank | each | 5 |  |  |  |  |
| New Dola Hill1-003 | Isolator, Motor Operated with integral earth switch | each | 5 |  |  |  |  |
| New Dola Hill1-004 | Isolator switch, Motor Operated without integral earth switch | each | 5 |  |  |  |  |
| New Dola Hill1-005 | VTs | each | 21 |  |  |  |  |
| New Dola Hill1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| New Dola Hill1-007 | Surge arresters | each | 15 |  |  |  |  |
| New Dola Hill1-008 | CTs | each | 18 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| New Dola Hill1-009 | 33kV Line protection system | lot | 1 |  |  |  |  |
| New Dola Hill1-010 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| New Dola Hill1-011 | Bus Section Protection | Lot | 1 |  |  |  |  |
| New Dola Hill1-012 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| New Dola Hill1-013 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| New Dola Hill1-014 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| New Dola Hill1-015 | Marshalling Kiosk | lot | 1 |  |  |  |  |
| New Dola Hill1-016 | Support insulators | lot | 1 |  |  |  |  |
| New Dola Hill1-017 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| New Dola Hill1-018 | Grounding Grid Conductor and lightning protection complete with accessories | lot | 1 |  |  |  |  |
| New Dola Hill1-019 | 33kV Support insulator | lot | 1 |  |  |  |  |
| New Dola Hill1-020 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| New Dola Hill1-021 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 2. | 11kV-Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| New Dola Hill1-022 | Bus riser | Each | 1 |  |  |  |  |
| New Dola Hill1-023 | Bus Coupler | each | 1 |  |  |  |  |
| New Dola Hill1-024 | Earthing panel | each | 1 |  |  |  |  |
| New Dola Hill1-025 | Incomers | each | 2 |  |  |  |  |
| New Dola Hill1-026 | Feeders | each | 8 |  |  |  |  |
| New Dola Hill1-027 | 11kV Power cables | lot | 1 |  |  |  |  |
| New Dola Hill1-028 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| New Dola Hill1-029 | 11kV Incomer Panel Protection System | lot | 1 |  |  |  |  |
| New Dola Hill1-030 | 11kV Feeder Panel Protection System | lot | 1 |  |  |  |  |
| New Dola Hill1-031 | 11kV Bus Coupler Panel Protection system | lot | 1 |  |  |  |  |
| New Dola Hill1-032 | 11kV Arc Flash Panel Protection System | lot | 1 |  |  |  |  |
| New Dola Hill1-033 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| New Dola Hill1-034 | SCADA and SAS system for entire | lot | 1 |  |  |  |  |
| New Dola Hill1-035 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| New Dola Hill1-036 | Grounding Grid Conductor complete with accessories | lot | 1 |  |  |  |  |
| New Dola Hill1-037 | 11kV cable support structure and Support insulators for connection to transformer | lot | 1 |  |  |  |  |
| New Dola Hill1-038 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Chichele1-039 | 100kVA 33/0.4kV Auxiliary Transformer | each | 2 |  |  |  |  |
| Chichele1-040 | Auxiliary switch gear | each | 2 |  |  |  |  |
| Chichele1-041 | Protection and control boards with (two spares) | lot | 1 |  |  |  |  |
| Chichele1-042 | Auxiliary power 400VAC board | lot | 1 |  |  |  |  |
| Chichele1-043 | 100kVA 400VAC Diesel Generator | each | 1 |  |  |  |  |
| Chichele1-044 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Chichele1-045 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Chichele1-046 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Chichele1-047 | Station Chargers and accessories | lot | 1 |  |  |  |  |
| Chichele1-048 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 5 | Substation Power and Control Cables |  |  |  |  |  |  |
| New Dola Hill1-049 | 33kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| New Dola Hill1-050 | 11kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| New Dola Hill1-051 | 0.4kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| New Dola Hill1-052 | Control cables for entire substation | lot | 1 |  |  |  |  |
| New Dola Hill1-053 | Subtotal for Substation Power and Control Cables. |  |  |  |  |  |  |
| 6. | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| New Dola Hill1-054 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| New Dola Hill1-055 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| New Dola Hill1-056 | Charger and accessories | lot | 1 |  |  |  |  |
| New Dola Hill1-057 | ODF-FC Type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| New Dola Hill1-058 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| New Dola Hill1-059 | PCM multiplexer and accessories | each | 1 |  |  |  |  |
| New Dola Hill1-060 | Electrical SFP | each | 5 |  |  |  |  |
| New Dola Hill1-064 | Analogue Telephone handsets with display | each | 4 |  |  |  |  |
| New Dola Hill1-065 | Analogue Telephone handsets without display | each | 6 |  |  |  |  |
| New Dola Hill1-066 | VoIP Telephone handsets | each | 4 |  |  |  |  |
| New Dola Hill1-067 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| New Dola Hill1-068 | 33kV lightning masts | lot | 1 |  |  |  |  |
| New Dola Hill1-069 | In door lighting equipment | lot | 1 |  |  |  |  |
| New Dola Hill1-070 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| New Dola Hill1-071 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| New Dola Hill1-072 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| New Dola Hill1-073 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| New Dola Hill1-074 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| New Dola Hill1-075 | cable fire protection equipment | lot | 1 |  |  |  |  |
| New Dola Hill1-076 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| New Dola Hill1-077 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| New Dola Hill1-078 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
| New Dola Hill1-079 | Subtotal for Other Equipment |  |  |  |  |  |  |
| New Dola Hill1-080 | Total |  |  |  |  |  |  |

### Schedule 2: New Dola Hill 33/11kV substation plant and equipment supplied from within Employer’s country

| New Dola Hill 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| New Dola Hill2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| New Dola Hill2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| New Dola Hill2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| New Dola Hill2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| New Dola Hill2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| New Dola Hill2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| New Dola Hill2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| New Dola Hill2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| New Dola Hill2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| New Dola Hill2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| New Dola Hill2-011 | IT Office Local Area Network | Lot | 1 |  |  |  |  |
| New Dola Hill2-012 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| New Dola Hill2-013 | Substation fence and gates | lot | 1 |  |  |  |  |
| New Dola Hill2-014 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| New Dola Hill2-015 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| New Dola Hill2-016 | Civil works System testing | lot | 1 |  |  |  |  |
| New Dola Hill2-017 | Substation stones | lot | 1 |  |  |  |  |
| New Dola Hill2-018 | Subtotal |  |  |  |  |  |  |

### Schedule 3: New Dola Hill 33/11kV substation Local Transportation

| Lulamba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: New Dola Hill 33/11kV substation installation services

| Chichele 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| New Dola Hill4-001 | 33kV primary and secondary equipment | lot | 1 |  |  |  |  |
| New Dola Hill4-002 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| New Dola Hill4-003 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV Equipment and materials |  |  |  |  |  |  |
| New Dola Hill4-004 | 11kV primary and secondary equipment | lot | 1 |  |  |  |  |
| New Dola Hill4-005 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| New Dola Hill4-006 | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| New Dola Hill4-007 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with Auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| New Dola Hill4-008 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| New Dola Hill4-009 | Power cables | lot | 1 |  |  |  |  |
| New Dola Hill4-010 | Control cables | lot | 1 |  |  |  |  |
| New Dola Hill4-011 | Subtotal for Substation Power and Control Cables |  |  |  |  |  |  |
| 6 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| New Dola Hill4-012 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| New Dola Hill4-013 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 7 | Communication Equipment |  |  |  |  |  |  |
| New Dola Hill4-014 | Communication equipment | lot | 1 |  |  |  |  |
| New Dola Hill4-015 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 8 | Other Equipment |  |  |  |  |  |  |
| New Dola Hill4-016 | Other equipment | lot | 1 |  |  |  |  |
| New Dola Hill4-017 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| New Dola Hill4-018 | Subtotal for Other Equipment |  |  |  |  |  |  |
| New Dola Hill4-019 | Total |  |  |  |  |  |  |

### Schedule 5: Summary for New Dola Hill 33/11kV substation total project cost with VAT and duties

| New Dola Hill 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 5. Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## Mpatamato 33/11kV Substation

### Schedule 1: Mpatamato 33/11kV substation plant and equipment supplied from abroad.

| Mpatamato 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Mpatamato1-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Mpatamato1-002 | Circuit Breaker- Live Tank | each | 7 |  |  |  |  |
| Mpatamato1-003 | Isolator, Motor Operated with integral earth switch | each | 6 |  |  |  |  |
| Mpatamato1-004 | Isolator switch, Motor Operated without integral earth switch | each | 6 |  |  |  |  |
| Mpatamato1-005 | VTs | each | 24 |  |  |  |  |
| Mpatamato1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Mpatamato1-007 | Surge arresters | each | 18 |  |  |  |  |
| Mpatamato1-008 | CTs | each | 21 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Mpatamato1-009 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Mpatamato1-010 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Mpatamato1-011 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Mpatamato1-012 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| Mpatamato1-013 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mpatamato1-014 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Mpatamato1-015 | Marshalling Kiosk | lot | 1 |  |  |  |  |
| Mpatamato1-016 | Support insulators | lot | 1 |  |  |  |  |
| Mpatamato1-017 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mpatamato1-018 | Grounding Grid Conductor and lightning protection complete with accessories | lot | 1 |  |  |  |  |
| Mpatamato1-019 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Mpatamato1-020 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mpatamato1-021 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 2. | 11kV-Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Mpatamato1-022 | Bus riser | Each | 1 |  |  |  |  |
| Mpatamato1-023 | Bus Coupler | each | 1 |  |  |  |  |
| Mpatamato1-024 | Earthing panel | each | 1 |  |  |  |  |
| Mpatamato1-025 | Incomers | each | 2 |  |  |  |  |
| Mpatamato1-026 | Feeders | each | 8 |  |  |  |  |
| Mpatamato1-027 | 11kV Power cables | lot | 1 |  |  |  |  |
| Mpatamato1-028 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Mpatamato1-029 | 11kV Incomer Panel Protection System | lot | 1 |  |  |  |  |
| Mpatamato1-030 | 11kV Feeder Panel Protection System | lot | 1 |  |  |  |  |
| Mpatamato1-031 | 11kV Bus Coupler Panel Protection system | lot | 1 |  |  |  |  |
| Mpatamato1-032 | 11kV Arc Flash Panel Protection System | lot | 1 |  |  |  |  |
| Mpatamato1-033 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mpatamato1-034 | SCADA and SAS system for entire | lot | 1 |  |  |  |  |
| Mpatamato1-035 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mpatamato1-036 | Grounding Grid Conductor complete with accessories | lot | 1 |  |  |  |  |
| Mpatamato1-037 | 11kV cable support structure and Support insulators for connection to transformer | lot | 1 |  |  |  |  |
| Mpatamato1-038 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Chichele1-039 | 100kVA 33/0.4kV Auxiliary Transformer | each | 2 |  |  |  |  |
| Chichele1-040 | Auxiliary switch gear | each | 2 |  |  |  |  |
| Chichele1-041 | Protection and control boards with (two spares) | lot | 1 |  |  |  |  |
| Chichele1-042 | Auxiliary power 400VAC board | lot | 1 |  |  |  |  |
| Chichele1-043 | 100kVA 400VAC Diesel Generator | each | 1 |  |  |  |  |
| Chichele1-044 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Chichele1-045 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Chichele1-046 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Chichele1-047 | Station Chargers and accessories | lot | 1 |  |  |  |  |
| Chichele1-048 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 5 | Substation Power and Control Cables |  |  |  |  |  |  |
| Mpatamato1-049 | 33kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Mpatamato1-050 | 11kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Mpatamato1-051 | 0.4kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Mpatamato1-052 | Control cables for entire substation | lot | 1 |  |  |  |  |
| Mpatamato1-053 | Subtotal for Substation Power and Control Cables. |  |  |  |  |  |  |
| 6. | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Mpatamato1-054 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Mpatamato1-055 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| Mpatamato1-056 | Charger and accessories | lot | 1 |  |  |  |  |
| Mpatamato1-057 | ODF-FC Type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Mpatamato1-058 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| Mpatamato1-059 | PCM multiplexer and accessories | each | 1 |  |  |  |  |
| Mpatamato1-060 | Electrical SFP | each | 5 |  |  |  |  |
| Mpatamato1-064 | Analogue Telephone handsets with display | each | 4 |  |  |  |  |
| Mpatamato1-065 | Analogue Telephone handsets without display | each | 6 |  |  |  |  |
| Mpatamato1-066 | VoIP Telephone handsets | each | 4 |  |  |  |  |
| Mpatamato1-067 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Mpatamato1-068 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Mpatamato1-069 | In door lighting equipment | lot | 1 |  |  |  |  |
| Mpatamato1-070 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Mpatamato1-071 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Mpatamato1-072 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Mpatamato1-073 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Mpatamato1-074 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Mpatamato1-075 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Mpatamato1-076 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Mpatamato1-077 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Mpatamato1-078 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
| Mpatamato1-079 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Mpatamato1-080 | Total |  |  |  |  |  |  |

### Schedule 2: Mpatamato 33/11kV substation plant and equipment supplied from within Employer’s country

| Mpatamato 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Mpatamato2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Mpatamato2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Mpatamato2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Mpatamato2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Mpatamato2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Mpatamato2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Mpatamato2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Mpatamato2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Mpatamato2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Mpatamato2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Mpatamato2-011 | IT Office Local Area Network | Lot | 1 |  |  |  |  |
| Mpatamato2-012 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Mpatamato2-013 | Substation fence and gates | lot | 1 |  |  |  |  |
| Mpatamato2-014 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Mpatamato2-015 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Mpatamato2-016 | Civil works System testing | lot | 1 |  |  |  |  |
| Mpatamato2-017 | Substation stones | lot | 1 |  |  |  |  |
| Mpatamato2-018 | Subtotal |  |  |  |  |  |  |

### Schedule 3: Mpatamato 33/11kV substation Local Transportation

| Lulamba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: Mpatamato 33/11kV substation installation services

| Chichele 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Mpatamato4-001 | 33kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Mpatamato4-002 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Mpatamato4-003 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV Equipment and materials |  |  |  |  |  |  |
| Mpatamato4-004 | 11kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Mpatamato4-005 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Mpatamato4-006 | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| Mpatamato4-007 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with Auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Mpatamato4-008 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| Mpatamato4-009 | Power cables | lot | 1 |  |  |  |  |
| Mpatamato4-010 | Control cables | lot | 1 |  |  |  |  |
| Mpatamato4-011 | Subtotal for Substation Power and Control Cables |  |  |  |  |  |  |
| 6 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Mpatamato4-012 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| Mpatamato4-013 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 7 | Communication Equipment |  |  |  |  |  |  |
| Mpatamato4-014 | Communication equipment | lot | 1 |  |  |  |  |
| Mpatamato4-015 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 8 | Other Equipment |  |  |  |  |  |  |
| Mpatamato4-016 | Other equipment | lot | 1 |  |  |  |  |
| Mpatamato4-017 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| Mpatamato4-018 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Mpatamato4-019 | Total |  |  |  |  |  |  |

### Schedule 5: Summary for Mpatamato 33/11kV substation total project cost with VAT and duties

| Mpatamato 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 5.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## S Bend 33/11kV Substation

### Schedule 1: S Bend 33/11kV substation plant and equipment supplied from abroad.

| S Bend 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| S Bend1-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| S Bend1-002 | Circuit Breaker- Live Tank | each | 7 |  |  |  |  |
| S Bend1-003 | Isolator, Motor Operated with integral earth switch | each | 6 |  |  |  |  |
| S Bend1-004 | Isolator switch, Motor Operated without integral earth switch | each | 6 |  |  |  |  |
| S Bend1-005 | VTs | each | 24 |  |  |  |  |
| S Bend1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| S Bend1-007 | Surge arresters | each | 18 |  |  |  |  |
| S Bend1-008 | CTs | each | 21 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| S Bend1-009 | 33kV Line protection system | lot | 1 |  |  |  |  |
| S Bend1-010 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| S Bend1-011 | Bus Section Protection | Lot | 1 |  |  |  |  |
| S Bend1-012 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| S Bend1-013 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| S Bend1-014 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| S Bend1-015 | Marshalling Kiosk | lot | 1 |  |  |  |  |
| S Bend1-016 | Support insulators | lot | 1 |  |  |  |  |
| S Bend1-017 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| S Bend1-018 | Grounding Grid Conductor and lightning protection complete with accessories | lot | 1 |  |  |  |  |
| S Bend1-019 | 33kV Support insulator | lot | 1 |  |  |  |  |
| S Bend1-020 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| S Bend1-021 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 2. | 11kV-Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| S Bend1-022 | Bus riser | Each | 1 |  |  |  |  |
| S Bend1-023 | Bus Coupler | each | 1 |  |  |  |  |
| S Bend1-024 | Earthing panel | each | 1 |  |  |  |  |
| S Bend1-025 | Incomers | each | 2 |  |  |  |  |
| S Bend1-026 | Feeders | each | 8 |  |  |  |  |
| S Bend1-027 | 11kV Power cables | lot | 1 |  |  |  |  |
| S Bend1-028 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| S Bend1-029 | 11kV Incomer Panel Protection System | lot | 1 |  |  |  |  |
| S Bend1-030 | 11kV Feeder Panel Protection System | lot | 1 |  |  |  |  |
| S Bend1-031 | 11kV Bus Coupler Panel Protection system | lot | 1 |  |  |  |  |
| S Bend1-032 | 11kV Arc Flash Panel Protection System | lot | 1 |  |  |  |  |
| S Bend1-033 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| S Bend1-034 | SCADA and SAS system for entire | lot | 1 |  |  |  |  |
| S Bend1-035 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| S Bend1-036 | Grounding Grid Conductor complete with accessories | lot | 1 |  |  |  |  |
| S Bend1-037 | 11kV cable support structure and Support insulators for connection to transformer | lot | 1 |  |  |  |  |
| S Bend1-038 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Chichele1-039 | 100kVA 33/0.4kV Auxiliary Transformer | each | 2 |  |  |  |  |
| Chichele1-040 | Auxiliary switch gear | each | 2 |  |  |  |  |
| Chichele1-041 | Protection and control boards with (two spares) | lot | 1 |  |  |  |  |
| Chichele1-042 | Auxiliary power 400VAC board | lot | 1 |  |  |  |  |
| Chichele1-043 | 100kVA 400VAC Diesel Generator | each | 1 |  |  |  |  |
| Chichele1-044 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Chichele1-045 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Chichele1-046 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Chichele1-047 | Station Chargers and accessories | lot | 1 |  |  |  |  |
| Chichele1-048 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 5 | Substation Power and Control Cables |  |  |  |  |  |  |
| S Bend1-049 | 33kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| S Bend1-050 | 11kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| S Bend1-051 | 0.4kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| S Bend1-052 | Control cables for entire substation | lot | 1 |  |  |  |  |
| S Bend1-053 | Subtotal for Substation Power and Control Cables. |  |  |  |  |  |  |
| 6. | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| S Bend1-054 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| S Bend1-055 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| S Bend1-056 | Charger and accessories | lot | 1 |  |  |  |  |
| S Bend1-057 | ODF-FC Type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| S Bend1-058 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| S Bend1-059 | PCM multiplexer and accessories | each | 1 |  |  |  |  |
| S Bend1-060 | Electrical SFP | each | 5 |  |  |  |  |
| S Bend1-061 | Analogue Telephone handsets with display | each | 4 |  |  |  |  |
| S Bend1-062 | Analogue Telephone handsets without display | each | 6 |  |  |  |  |
| S Bend1-063 | VoIP Telephone handsets | each | 4 |  |  |  |  |
| S Bend1-064 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| S Bend1-068 | 33kV lightning masts | lot | 1 |  |  |  |  |
| S Bend1-069 | In door lighting equipment | lot | 1 |  |  |  |  |
| S Bend1-070 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| S Bend1-071 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| S Bend1-072 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| S Bend1-073 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| S Bend1-074 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| S Bend1-075 | cable fire protection equipment | lot | 1 |  |  |  |  |
| S Bend1-076 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| S Bend1-077 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| S Bend1-078 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
| S Bend1-079 | Subtotal for Other Equipment |  |  |  |  |  |  |
| S Bend1-080 | Total |  |  |  |  |  |  |

### Schedule 2: S Bend 33/11kV substation plant and equipment supplied from within Employer’s country

| S Bend 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| S Bend2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| S Bend2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| S Bend2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| S Bend2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| S Bend2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| S Bend2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| S Bend2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| S Bend2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| S Bend2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| S Bend2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| S Bend2-011 | IT Office Local Area Network | Lot | 1 |  |  |  |  |
| S Bend2-012 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| S Bend2-013 | Substation fence and gates | lot | 1 |  |  |  |  |
| S Bend2-014 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| S Bend2-015 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| S Bend2-016 | Civil works System testing | lot | 1 |  |  |  |  |
| S Bend2-017 | Substation stones | lot | 1 |  |  |  |  |
| S Bend2-018 | Subtotal |  |  |  |  |  |  |

### Schedule 3: S Bend 33/11kV substation Local Transportation

| Lulamba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: S Bend 33/11kV substation installation services

| Chichele 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| S Bend4-001 | 33kV primary and secondary equipment | lot | 1 |  |  |  |  |
| S Bend4-002 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| S Bend4-003 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV Equipment and materials |  |  |  |  |  |  |
| S Bend4-004 | 11kV primary and secondary equipment | lot | 1 |  |  |  |  |
| S Bend4-005 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| S Bend4-006 | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| S Bend4-007 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with Auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| S Bend4-008 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| S Bend4-009 | Power cables | lot | 1 |  |  |  |  |
| S Bend4-010 | Control cables | lot | 1 |  |  |  |  |
| S Bend4-011 | Subtotal for Substation Power and Control Cables |  |  |  |  |  |  |
| 6 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| S Bend4-012 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| S Bend4-013 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 7 | Communication Equipment |  |  |  |  |  |  |
| S Bend4-014 | Communication equipment | lot | 1 |  |  |  |  |
| S Bend4-015 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 8 | Other Equipment |  |  |  |  |  |  |
| S Bend4-016 | Other equipment | lot | 1 |  |  |  |  |
| S Bend4-017 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| S Bend4-018 | Subtotal for Other Equipment |  |  |  |  |  |  |
| S Bend4-019 | Total |  |  |  |  |  |  |

### Schedule 5: Summary for S Bend 33/11kV substation total project cost with VAT and duties.

| S Bend 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 5. Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## Chitwi 33/11kV Substation

### Schedule 1: Chitwi 33/11kV substation plant and equipment supplied from abroad.

| Chitwi 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Chitwi1-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Chitwi1-002 | Circuit Breaker- Live Tank | each | 7 |  |  |  |  |
| Chitwi1-003 | Isolator, Motor Operated with integral earth switch | each | 6 |  |  |  |  |
| Chitwi1-004 | Isolator switch, Motor Operated without integral earth switch | each | 6 |  |  |  |  |
| Chitwi1-005 | VTs | each | 21 |  |  |  |  |
| Chitwi1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Chitwi1-007 | Surge arresters | each | 18 |  |  |  |  |
| Chitwi1-008 | CTs | each | 21 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Chitwi1-009 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Chitwi1-010 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Chitwi1-011 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Chitwi1-012 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| Chitwi1-013 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Chitwi1-014 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Chitwi1-015 | Marshalling Kiosk | lot | 1 |  |  |  |  |
| Chitwi1-016 | Support insulators | lot | 1 |  |  |  |  |
| Chitwi1-017 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Chitwi1-018 | Grounding Grid Conductor and lightning protection complete with accessories | lot | 1 |  |  |  |  |
| Chitwi1-019 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Chitwi1-020 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Chitwi1-021 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 2. | 11kV-Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Chitwi1-022 | Bus riser | Each | 1 |  |  |  |  |
| Chitwi1-023 | Bus Coupler | each | 1 |  |  |  |  |
| Chitwi1-024 | Earthing panel | each | 1 |  |  |  |  |
| Chitwi1-025 | Incomers | each | 2 |  |  |  |  |
| Chitwi1-026 | Feeders | each | 8 |  |  |  |  |
| Chitwi1-027 | 11kV Power cables | lot | 1 |  |  |  |  |
| Chitwi1-028 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Chitwi1-029 | 11kV Incomer Panel Protection System | lot | 1 |  |  |  |  |
| Chitwi1-030 | 11kV Feeder Panel Protection System | lot | 1 |  |  |  |  |
| Chitwi1-031 | 11kV Bus Coupler Panel Protection system | lot | 1 |  |  |  |  |
| Chitwi1-032 | 11kV Arc Flash Panel Protection System | lot | 1 |  |  |  |  |
| Chitwi1-033 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Chitwi1-034 | SCADA and SAS system for entire | lot | 1 |  |  |  |  |
| Chitwi1-035 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Chitwi1-036 | Grounding Grid Conductor complete with accessories | lot | 1 |  |  |  |  |
| Chitwi1-037 | 11kV cable support structure and Support insulators for connection to transformer | lot | 1 |  |  |  |  |
| Chitwi1-038 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Chichele1-039 | 100kVA 33/0.4kV Auxiliary Transformer | each | 2 |  |  |  |  |
| Chichele1-040 | Auxiliary switch gear | each | 2 |  |  |  |  |
| Chichele1-041 | Protection and control boards with (two spares) | lot | 1 |  |  |  |  |
| Chichele1-042 | Auxiliary power 400VAC board | lot | 1 |  |  |  |  |
| Chichele1-043 | 100kVA 400VAC Diesel Generator | each | 1 |  |  |  |  |
| Chichele1-044 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Chichele1-045 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Chichele1-046 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Chichele1-047 | Station Chargers and accessories | lot | 1 |  |  |  |  |
| Chichele1-048 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 5 | Substation Power and Control Cables |  |  |  |  |  |  |
| Chitwi1-049 | 33kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Chitwi1-050 | 11kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Chitwi1-051 | 0.4kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Chitwi1-052 | Control cables for entire substation | lot | 1 |  |  |  |  |
| Chitwi1-053 | Subtotal for Substation Power and Control Cables. |  |  |  |  |  |  |
| 6. | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Chitwi1-054 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Chitwi1-055 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| Chitwi1-056 | Charger and accessories | lot | 1 |  |  |  |  |
| Chitwi1-057 | ODF-FC Type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Chitwi1-058 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| Chitwi1-059 | PCM multiplexer and accessories | each | 1 |  |  |  |  |
| Chitwi1-060 | Electrical SFP | each | 5 |  |  |  |  |
| Chitwi1-061 | Analogue Telephone handsets with display | each | 4 |  |  |  |  |
| Chitwi1-062 | Analogue Telephone handsets without display | each | 6 |  |  |  |  |
| Chitwi1-063 | VoIP Telephone handsets | each | 4 |  |  |  |  |
| Chitwi1-064 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Chitwi1-068 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Chitwi1-069 | In door lighting equipment | lot | 1 |  |  |  |  |
| Chitwi1-070 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Chitwi1-071 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Chitwi1-072 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Chitwi1-073 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Chitwi1-074 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Chitwi1-075 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Chitwi1-076 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Chitwi1-077 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Chitwi1-078 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
| Chitwi1-079 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Chitwi1-080 | Grand Total |  |  |  |  |  |  |

### Schedule 2: Chitwi 33/11kV substation plant and equipment supplied from within Employer’s country

| Chitwi 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Chitwi2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Chitwi2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Chitwi2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Chitwi2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Chitwi2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Chitwi2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Chitwi2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Chitwi2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Chitwi2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Chitwi2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Chitwi2-011 | IT Office Local Area Network | Lot | 1 |  |  |  |  |
| Chitwi2-012 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Chitwi2-013 | Substation fence and gates | lot | 1 |  |  |  |  |
| Chitwi2-014 | External access road (from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Chitwi2-015 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Chitwi2-016 | Civil works System testing | lot | 1 |  |  |  |  |
| Chitwi2-017 | Substation stones | lot | 1 |  |  |  |  |
| Chitwi2-018 | Subtotal |  |  |  |  |  |  |

### Schedule 3: Chitwi 33/11kV substation Local Transportation

| Lulamba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: Chitwi 33/11kV substation installation services

| Chichele 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Chitwi4-001 | 33kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Chitwi4-002 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Chitwi4-003 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV Equipment and materials |  |  |  |  |  |  |
| Chitwi4-004 | 11kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Chitwi4-005 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Chitwi4-006 | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| Chitwi4-007 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with Auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Chitwi4-008 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| Chitwi4-009 | Power cables | lot | 1 |  |  |  |  |
| Chitwi4-010 | Control cables | lot | 1 |  |  |  |  |
| Chitwi4-011 | Subtotal for Substation Power and Control Cables |  |  |  |  |  |  |
| 6 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Chitwi4-012 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| Chitwi4-013 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 7 | Communication Equipment |  |  |  |  |  |  |
| Chitwi4-014 | Communication equipment | lot | 1 |  |  |  |  |
| Chitwi4-015 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 8 | Other Equipment |  |  |  |  |  |  |
| Chitwi4-016 | Other equipment | lot | 1 |  |  |  |  |
| Chitwi4-017 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| Chitwi4-018 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Chitwi4-019 | Total |  |  |  |  |  |  |

### Schedule 5: Summary for Chitwi 33/11kV substation total project cost with VAT and duties

| Chitwi 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 4.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## Kankwiba 33/11kV Substation

### Schedule 1: Kankwiba 33/11kV substation plant and equipment supplied from abroad.

| Kankwiba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Kankwiba1-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Kankwiba1-002 | Circuit Breaker- Live Tank | each | 7 |  |  |  |  |
| Kankwiba1-003 | Isolator, Motor Operated with integral earth switch | each | 6 |  |  |  |  |
| Kankwiba1-004 | Isolator switch, Motor Operated without integral earth switch | each | 6 |  |  |  |  |
| Kankwiba1-005 | VTs | each | 24 |  |  |  |  |
| Kankwiba1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Kankwiba1-007 | Surge arresters | each | 18 |  |  |  |  |
| Kankwiba1-008 | CTs | each | 21 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Kankwiba1-009 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Kankwiba1-010 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Kankwiba1-011 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Kankwiba1-012 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| Kankwiba1-013 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kankwiba1-014 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Kankwiba1-015 | Marshalling Kiosk | lot | 1 |  |  |  |  |
| Kankwiba1-016 | Support insulators | lot | 1 |  |  |  |  |
| Kankwiba1-017 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Kankwiba1-018 | Grounding Grid Conductor and lightning protection complete with accessories | lot | 1 |  |  |  |  |
| Kankwiba1-019 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Kankwiba1-020 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Kankwiba1-021 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 2. | 11kV-Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Kankwiba1-022 | Bus riser | Each | 1 |  |  |  |  |
| Kankwiba1-023 | Bus Coupler | each | 1 |  |  |  |  |
| Kankwiba1-024 | Earthing panel | each | 1 |  |  |  |  |
| Kankwiba1-025 | Incomers | each | 2 |  |  |  |  |
| Kankwiba1-026 | Feeders | each | 8 |  |  |  |  |
| Kankwiba1-027 | 11kV Power cables | lot | 1 |  |  |  |  |
| Kankwiba1-028 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Kankwiba1-029 | 11kV Incomer Panel Protection System | lot | 1 |  |  |  |  |
| Kankwiba1-030 | 11kV Feeder Panel Protection System | lot | 1 |  |  |  |  |
| Kankwiba1-031 | 11kV Bus Coupler Panel Protection system | lot | 1 |  |  |  |  |
| Kankwiba1-032 | 11kV Arc Flash Panel Protection System | lot | 1 |  |  |  |  |
| Kankwiba1-033 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Kankwiba1-034 | SCADA and SAS system for entire | lot | 1 |  |  |  |  |
| Kankwiba1-035 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Kankwiba1-036 | Grounding Grid Conductor complete with accessories | lot | 1 |  |  |  |  |
| Kankwiba1-037 | 11kV cable support structure and Support insulators for connection to transformer | lot | 1 |  |  |  |  |
| Kankwiba1-038 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Chichele1-039 | 100kVA 33/0.4kV Auxiliary Transformer | each | 2 |  |  |  |  |
| Chichele1-040 | Auxiliary switch gear | each | 2 |  |  |  |  |
| Chichele1-041 | Protection and control boards with (two spares) | lot | 1 |  |  |  |  |
| Chichele1-042 | Auxiliary power 400VAC board | lot | 1 |  |  |  |  |
| Chichele1-043 | 100kVA 400VAC Diesel Generator | each | 1 |  |  |  |  |
| Chichele1-044 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Chichele1-045 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Chichele1-046 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Chichele1-047 | Station Chargers and accessories | lot | 1 |  |  |  |  |
| Chichele1-048 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 5 | Substation Power and Control Cables |  |  |  |  |  |  |
| Kankwiba1-049 | 33kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Kankwiba1-050 | 11kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Kankwiba1-051 | 0.4kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Kankwiba1-052 | Control cables for entire substation | lot | 1 |  |  |  |  |
| Kankwiba1-053 | Subtotal for Substation Power and Control Cables. |  |  |  |  |  |  |
| 6. | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kankwiba1-054 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Kankwiba1-055 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| Kankwiba1-056 | Charger and accessories | lot | 1 |  |  |  |  |
| Kankwiba1-057 | ODF-FC Type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Kankwiba1-058 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| Kankwiba1-059 | PCM multiplexer and accessories | each | 1 |  |  |  |  |
| Kankwiba1-060 | Electrical SFP | each | 5 |  |  |  |  |
| Kankwiba1-061 | Analogue Telephone handsets with display | each | 4 |  |  |  |  |
| Kankwiba1-062 | Analogue Telephone handsets without display | each | 6 |  |  |  |  |
| Kankwiba1-063 | VoIP Telephone handsets | each | 4 |  |  |  |  |
| Kankwiba1-064 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Kankwiba1-068 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Kankwiba1-069 | In door lighting equipment | lot | 1 |  |  |  |  |
| Kankwiba1-070 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Kankwiba1-071 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Kankwiba1-072 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Kankwiba1-073 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Kankwiba1-074 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Kankwiba1-075 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Kankwiba1-076 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Kankwiba1-077 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Kankwiba1-078 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
| Kankwiba1-079 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Kankwiba1-080 | Total |  |  |  |  |  |  |

### Schedule 2: Kankwiba 33/11kV substation plant and equipment supplied from within Employer’s country

| Kankwiba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Kankwiba2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Kankwiba2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Kankwiba2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Kankwiba2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Kankwiba2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Kankwiba2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Kankwiba2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Kankwiba2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Kankwiba2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Kankwiba2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Kankwiba2-011 | IT Office Local Area Network | Lot | 1 |  |  |  |  |
| Kankwiba2-012 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Kankwiba2-013 | Substation fence and gates | lot | 1 |  |  |  |  |
| Kankwiba2-014 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Kankwiba2-015 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Kankwiba2-016 | Civil works System testing | lot | 1 |  |  |  |  |
| Kankwiba2-017 | Substation stones | lot | 1 |  |  |  |  |
| Kankwiba2-018 | Subtotal |  |  |  |  |  |  |

### Schedule 3: Kankwiba 33/11kV substation Local Transportation

| Lulamba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: Kankwiba 33/11kV substation installation services

| Chichele 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Kankwiba4-001 | 33kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Kankwiba4-002 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Kankwiba4-003 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV Equipment and materials |  |  |  |  |  |  |
| Kankwiba4-004 | 11kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Kankwiba4-005 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Kankwiba4-006 | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| Kankwiba4-007 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with Auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Kankwiba4-008 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| Kankwiba4-009 | Power cables | lot | 1 |  |  |  |  |
| Kankwiba4-010 | Control cables | lot | 1 |  |  |  |  |
| Kankwiba4-011 | Subtotal for Substation Power and Control Cables |  |  |  |  |  |  |
| 6 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Kankwiba4-012 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| Kankwiba4-013 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 7 | Communication Equipment |  |  |  |  |  |  |
| Kankwiba4-014 | Communication equipment | lot | 1 |  |  |  |  |
| Kankwiba4-015 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 8 | Other Equipment |  |  |  |  |  |  |
| Kankwiba4-016 | Other equipment | lot | 1 |  |  |  |  |
| Kankwiba4-017 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| Kankwiba4-018 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Kankwiba4-019 | Total |  |  |  |  |  |  |

### Schedule 5: Summary for Kankwiba 33/11kV substation total project cost with VAT and duties

| Kankwiba 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 5. Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## Ibenga 33/11kV Substation

### Schedule 1: Ibenga 33/11kV substation plant and equipment supplied from abroad.

| Ibenga 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Ibenga1-001 | 10/12.5MVA 33/11kV Three phase transformers | each | 2 |  |  |  |  |
| Ibenga1-002 | Circuit Breaker- Live Tank | each | 4 |  |  |  |  |
| Ibenga1-003 | Isolator, Motor Operated with integral earth switch | each | 3 |  |  |  |  |
| Ibenga1-004 | Isolator switch, Motor Operated without integral earth switch | each | 3 |  |  |  |  |
| Ibenga1-005 | VTs | each | 15 |  |  |  |  |
| Ibenga1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Ibenga1-007 | Surge arresters | each | 9 |  |  |  |  |
| Ibenga1-008 | CTs | each | 12 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Ibenga1-009 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Ibenga1-010 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Ibenga1-011 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Ibenga1-012 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| Ibenga1-013 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Ibenga1-014 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Ibenga1-015 | Marshalling Kiosk | lot | 1 |  |  |  |  |
| Ibenga1-016 | Support insulators | lot | 1 |  |  |  |  |
| Ibenga1-017 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Ibenga1-018 | Grounding Grid Conductor and lightning protection complete with accessories | lot | 1 |  |  |  |  |
| Ibenga1-019 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Ibenga1-020 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Ibenga1-021 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 2. | 11kV-Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Ibenga1-022 | Bus riser | Each | 1 |  |  |  |  |
| Ibenga1-023 | Bus Coupler | each | 1 |  |  |  |  |
| Ibenga1-024 | Earthing panel | each | 1 |  |  |  |  |
| Ibenga1-025 | Incomers | each | 2 |  |  |  |  |
| Ibenga1-026 | Feeders | each | 8 |  |  |  |  |
| Ibenga1-027 | 11kV Power cables | lot | 1 |  |  |  |  |
| Ibenga1-028 | 11kV NERs complete with neutral CTs | each | 2 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Ibenga1-029 | 11kV Incomer Panel Protection System | lot | 1 |  |  |  |  |
| Ibenga1-030 | 11kV Feeder Panel Protection System | lot | 1 |  |  |  |  |
| Ibenga1-031 | 11kV Bus Coupler Panel Protection system | lot | 1 |  |  |  |  |
| Ibenga1-032 | 11kV Arc Flash Panel Protection System | lot | 1 |  |  |  |  |
| Ibenga1-033 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Ibenga1-034 | SCADA and SAS system for entire | lot | 1 |  |  |  |  |
| Ibenga1-035 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Ibenga1-036 | Grounding Grid Conductor complete with accessories | lot | 1 |  |  |  |  |
| Ibenga1-037 | 11kV cable support structure and Support insulators for connection to transformer | lot | 1 |  |  |  |  |
| Ibenga1-038 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Chichele1-039 | 100kVA 33/0.4kV Auxiliary Transformer | each | 2 |  |  |  |  |
| Chichele1-040 | Auxiliary switch gear | each | 2 |  |  |  |  |
| Chichele1-041 | Protection and control boards with (two spares) | lot | 1 |  |  |  |  |
| Chichele1-042 | Auxiliary power 400VAC board | lot | 1 |  |  |  |  |
| Chichele1-043 | 100kVA 400VAC Diesel Generator | each | 1 |  |  |  |  |
| Chichele1-044 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Chichele1-045 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Chichele1-046 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Chichele1-047 | Station Chargers and accessories | lot | 1 |  |  |  |  |
| Chichele1-048 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 5 | Substation Power and Control Cables |  |  |  |  |  |  |
| Ibenga1-049 | 33kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Ibenga1-050 | 11kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Ibenga1-051 | 0.4kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Ibenga1-052 | Control cables for entire substation | lot | 1 |  |  |  |  |
| Ibenga1-053 | Subtotal for Substation Power and Control Cables. |  |  |  |  |  |  |
| 6. | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Ibenga1-054 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Ibenga1-055 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| Ibenga1-056 | Charger | lot | 1 |  |  |  |  |
| Ibenga1-057 | ODF, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Ibenga1-058 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| Ibenga1-059 | PCM multiplexer and accessories | each | 1 |  |  |  |  |
| Ibenga1-060 | Electrical SFP | each | 5 |  |  |  |  |
| Ibenga1-061 | Analogue Telephone handsets with display | each | 4 |  |  |  |  |
| Ibenga1-062 | Analogue Telephone handsets without desplay | each | 6 |  |  |  |  |
| Ibenga1-063 | VoIP Telephone handsets | each | 4 |  |  |  |  |
| Ibenga1-064 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Ibenga1-068 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Ibenga1-069 | In door lighting equipment | lot | 1 |  |  |  |  |
| Ibenga1-070 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Ibenga1-071 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Ibenga1-072 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Ibenga1-073 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Ibenga1-074 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Ibenga1-075 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Ibenga1-076 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Ibenga1-077 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Ibenga1-078 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
| Ibenga1-079 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Ibenga1-080 | Total |  |  |  |  |  |  |

### Schedule 2: Ibenga 33/11kV substation plant and equipment supplied from within Employer’s country

| Ibenga 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Ibenga2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Ibenga2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Ibenga2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Ibenga2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Ibenga2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Ibenga2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Ibenga2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Ibenga2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Ibenga2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Ibenga2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Ibenga2-011 | IT Office Local Area Network | Lot | 1 |  |  |  |  |
| Ibenga2-012 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Ibenga2-013 | Substation fence and gates | lot | 1 |  |  |  |  |
| Ibenga2-014 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Ibenga2-015 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Ibenga2-016 | Civil works System testing | lot | 1 |  |  |  |  |
| Ibenga2-017 | Substation stones | lot | 1 |  |  |  |  |
| Ibenga2-018 | Subtotal |  |  |  |  |  |  |

### Schedule 3: Ibenga 33/11kV substation Local Transportation

| Lulamba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: Ibenga 33/11kV substation installation services

| Chichele 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Ibenga4-001 | 33kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Ibenga4-002 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Ibenga4-003 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV Equipment and materials |  |  |  |  |  |  |
| Ibenga4-004 | 11kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Ibenga4-005 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Ibenga4-006 | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| Ibenga4-007 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with Auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Ibenga4-008 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| Ibenga4-009 | Power cables | lot | 1 |  |  |  |  |
| Ibenga4-010 | Control cables | lot | 1 |  |  |  |  |
| Ibenga4-011 | Subtotal for Substation Power and Control Cables |  |  |  |  |  |  |
| 6 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Ibenga4-012 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| Ibenga4-013 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 7 | Communication Equipment |  |  |  |  |  |  |
| Ibenga4-014 | Communication equipment | lot | 1 |  |  |  |  |
| Ibenga4-015 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 8 | Other Equipment |  |  |  |  |  |  |
| Ibenga4-016 | Other equipment | lot | 1 |  |  |  |  |
| Ibenga4-017 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| Ibenga4-018 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Ibenga4-019 | Total |  |  |  |  |  |  |

### Schedule 5: Summary for Ibenga 33/11kV substation total project cost with VAT and duties

| Ibenga 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 5. Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## Luanshya 33/11kV Substation

### Schedule 1: Luanshya 33/11kV substation plant and equipment supplied from abroad.

| Luanshya 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Luanshya1-001 | 31.5/40MVA 33/11kV Three phase transformers | each | 3 |  |  |  |  |
| Luanshya1-002 | Circuit Breaker- Live Tank | each | 7 |  |  |  |  |
| Luanshya1-003 | Isolator, Motor Operated with integral earth switch | each | 6 |  |  |  |  |
| Luanshya1-004 | Isolator switch, Motor Operated without integral earth switch | each | 6 |  |  |  |  |
| Luanshya1-005 | VTs | each | 24 |  |  |  |  |
| Luanshya1-006 | Bus section Isolator | each | 2 |  |  |  |  |
| Luanshya1-007 | Surge arresters | each | 18 |  |  |  |  |
| Luanshya1-008 | CTs | each | 21 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Luanshya1-009 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Luanshya1-010 | 31.5/40MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Luanshya1-011 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Luanshya1-012 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| Luanshya1-013 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Luanshya1-014 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Luanshya1-015 | Marshalling Kiosk | lot | 1 |  |  |  |  |
| Luanshya1-016 | Support insulators | lot | 1 |  |  |  |  |
| Luanshya1-017 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Luanshya1-018 | Grounding Grid Conductor and lightning protection complete with accessories | lot | 1 |  |  |  |  |
| Luanshya1-019 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Luanshya1-020 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Luanshya1-021 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 2. | 11kV-Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Luanshya1-022 | Bus riser | Each | 1 |  |  |  |  |
| Luanshya1-023 | Bus Coupler | each | 1 |  |  |  |  |
| Luanshya1-024 | Earthing panel | each | 1 |  |  |  |  |
| Luanshya1-025 | Incomers | each | 3 |  |  |  |  |
| Luanshya1-026 | Feeders | each | 24 |  |  |  |  |
| Luanshya1-027 | 11kV Power cables | lot | 1 |  |  |  |  |
| Luanshya1-028 | 11kV NERs complete with neutral CTs | each | 3 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Luanshya1-029 | 11kV Incomer Panel Protection System | lot | 1 |  |  |  |  |
| Luanshya1-030 | 11kV Feeder Panel Protection System | lot | 1 |  |  |  |  |
| Luanshya1-031 | 11kV Bus Coupler Panel Protection system | lot | 1 |  |  |  |  |
| Luanshya1-032 | 11kV Arc Flash Panel Protection System | lot | 1 |  |  |  |  |
| Luanshya1-033 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Luanshya1-034 | SCADA and SAS system for entire | lot | 1 |  |  |  |  |
| Luanshya1-035 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Luanshya1-036 | Grounding Grid Conductor complete with accessories | lot | 1 |  |  |  |  |
| Luanshya1-037 | 11kV cable support structure and Support insulators for connection to transformer | lot | 1 |  |  |  |  |
| Luanshya1-038 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Chichele1-039 | 100kVA 33/0.4kV Auxiliary Transformer | each | 2 |  |  |  |  |
| Chichele1-040 | Auxiliary switch gear | each | 2 |  |  |  |  |
| Chichele1-041 | Protection and control boards with (two spares) | lot | 1 |  |  |  |  |
| Chichele1-042 | Auxiliary power 400VAC board | lot | 1 |  |  |  |  |
| Chichele1-043 | 100kVA 400VAC Diesel Generator | each | 1 |  |  |  |  |
| Chichele1-044 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Chichele1-045 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Chichele1-046 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Chichele1-047 | Station Chargers and accessories | lot | 1 |  |  |  |  |
| Chichele1-048 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 5 | Substation Power and Control Cables |  |  |  |  |  |  |
| Luanshya1-049 | 33kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Luanshya1-050 | 11kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Luanshya1-051 | 0.4kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Luanshya1-052 | Control cables for entire substation | lot | 1 |  |  |  |  |
| Luanshya1-053 | Subtotal for Substation Power and Control Cables. |  |  |  |  |  |  |
| 6. | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Luanshya1-054 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Luanshya1-055 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| Luanshya1-056 | Charger and accessories | lot | 1 |  |  |  |  |
| Luanshya1-057 | ODF-FC Type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Luanshya1-058 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| Luanshya1-059 | PCM multiplexer and accessories | each | 1 |  |  |  |  |
| Luanshya1-060 | Electrical SFP | each | 5 |  |  |  |  |
| Luanshya1-061 | Analogue Telephone handsets with display | each | 4 |  |  |  |  |
| Luanshya1-062 | Analogue Telephone handsets without display | each | 6 |  |  |  |  |
| Luanshya1-063 | VoIP Telephone handsets | each | 4 |  |  |  |  |
| Luanshya1-064 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Luanshya1-068 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Luanshya1-069 | In door lighting equipment | lot | 1 |  |  |  |  |
| Luanshya1-070 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Luanshya1-071 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Luanshya1-072 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Luanshya1-073 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Luanshya1-074 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Luanshya1-075 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Luanshya1-076 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Luanshya1-077 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Luanshya1-078 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
| Luanshya1-079 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Luanshya1-080 | Total |  |  |  |  |  |  |

### Schedule 2: Luanshya 33/11kV substation plant and equipment supplied from within Employer’s country.

| Luanshya 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Luanshya2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Luanshya2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Luanshya2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Luanshya2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Luanshya2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Luanshya2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Luanshya2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Luanshya2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Luanshya2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Luanshya2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Luanshya2-011 | IT Office Local Area Network | Lot | 1 |  |  |  |  |
| Luanshya2-012 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Luanshya2-013 | Substation fence and gates | lot | 1 |  |  |  |  |
| Luanshya2-014 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Luanshya2-015 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Luanshya2-016 | Civil works System testing | lot | 1 |  |  |  |  |
| Luanshya2-017 | Substation stones | lot | 1 |  |  |  |  |
| Luanshya2-018 | Subtotal |  |  |  |  |  |  |

### Schedule 3: Luanshya 33/11kV substation Local Transportation

| Lulamba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: Luanshya 33/11kV substation installation services

| Chichele 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Luanshya4-001 | 33kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Luanshya4-002 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Luanshya4-003 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV Equipment and materials |  |  |  |  |  |  |
| Luanshya4-004 | 11kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Luanshya4-005 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Luanshya4-006 | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| Luanshya4-007 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with Auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Luanshya4-008 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| Luanshya4-009 | Power cables | lot | 1 |  |  |  |  |
| Luanshya4-010 | Control cables | lot | 1 |  |  |  |  |
| Luanshya4-011 | Subtotal for Substation Power and Control Cables |  |  |  |  |  |  |
| 6 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Luanshya4-012 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| Luanshya4-013 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 7 | Communication Equipment |  |  |  |  |  |  |
| Luanshya4-014 | Communication equipment | lot | 1 |  |  |  |  |
| Luanshya4-015 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 8 | Other Equipment |  |  |  |  |  |  |
| Luanshya4-016 | Other equipment | lot | 1 |  |  |  |  |
| Luanshya4-017 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| Luanshya4-018 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Luanshya4-019 | Total |  |  |  |  |  |  |

### Schedule 5: Summary for Luanshya 33/11kV substation total project cost with VAT and duties

| Luanshya 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 5. Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## Mpongwe Boma 33/11kV Substation

### Schedule 1: Mpongwe Boma 33/11kV substation plant and equipment supplied from abroad.

| Mpongwe Boma 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Mpongwe Boma1-001 | Circuit Breaker- Live Tank | each | 3 |  |  |  |  |
| Mpongwe Boma1-002 | Isolator, Motor Operated with integral earth switch | each | 2 |  |  |  |  |
| Mpongwe Boma1-003 | Isolator switch, Motor Operated without integral earth switch | each | 2 |  |  |  |  |
| Mpongwe Boma1-004 | VTs | each | 12 |  |  |  |  |
| Mpongwe Boma1-005 | Bus section Isolator | each | 2 |  |  |  |  |
| Mpongwe Boma1-006 | Surge arresters | each | 6 |  |  |  |  |
| Mpongwe Boma1-007 | CTs | each | 12 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Mpongwe Boma1-008 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Mpongwe Boma1-009 | 10/12.5MVA 33/11kV Transformers protection system | lot | 1 |  |  |  |  |
| Mpongwe Boma1-010 | Bus Section Protection | Lot | 1 |  |  |  |  |
| Mpongwe Boma1-011 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| Mpongwe Boma1-012 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mpongwe Boma1-013 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Mpongwe Boma1-014 | Marshalling Kiosk | lot | 1 |  |  |  |  |
| Mpongwe Boma1-015 | Support insulators | lot | 1 |  |  |  |  |
| Mpongwe Boma1-016 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mpongwe Boma1-017 | Grounding Grid Conductor and lightning protection complete with accessories | lot | 1 |  |  |  |  |
| Mpongwe Boma1-018 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Mpongwe Boma1-019 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mpongwe Boma1-020 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV-Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Mpongwe Boma1-021 | Bus riser | Each | 1 |  |  |  |  |
| Mpongwe Boma1-022 | Bus Coupler | each | 1 |  |  |  |  |
| Mpongwe Boma1-023 | Earthing panel | each | 1 |  |  |  |  |
| Mpongwe Boma1-024 | Incomers | each | 2 |  |  |  |  |
| Mpongwe Boma1-025 | Feeders | each | 8 |  |  |  |  |
| Mpongwe Boma1-026 | 11kV Power cables | lot | 1 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Mpongwe Boma1-028 | 11kV Incomer Panel Protection System | lot | 1 |  |  |  |  |
| Mpongwe Boma1-029 | 11kV Feeder Panel Protection System | lot | 1 |  |  |  |  |
| Mpongwe Boma1-030 | 11kV Bus Coupler Panel Protection system | lot | 1 |  |  |  |  |
| Mpongwe Boma1-031 | 11kV Arc Flash Panel Protection System | lot | 1 |  |  |  |  |
| Mpongwe Boma1-032 | 11kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mpongwe Boma1-033 | SCADA and SAS system for entire | lot | 1 |  |  |  |  |
| Mpongwe Boma1-034 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mpongwe Boma1-035 | Grounding Grid Conductor complete with accessories | lot | 1 |  |  |  |  |
| Mpongwe Boma1-036 | 11kV cable support structure and Support insulators for connection to transformer | lot | 1 |  |  |  |  |
| Mpongwe Boma1-037 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Chichele1-038 | 100kVA 33/0.4kV Auxiliary Transformer | each | 2 |  |  |  |  |
| Chichele1-039 | Auxiliary switch gear | each | 2 |  |  |  |  |
| Chichele1-040 | Protection and control boards with (two spares) | lot | 1 |  |  |  |  |
| Chichele1-041 | Auxiliary power 400VAC board | lot | 1 |  |  |  |  |
| Chichele1-042 | 100kVA 400VAC Diesel Generator | each | 1 |  |  |  |  |
| Chichele1-043 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Chichele1-044 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Chichele1-045 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Chichele1-046 | Station Chargers and accessories | lot | 1 |  |  |  |  |
| Chichele1-047 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 5 | Substation Power and Control Cables |  |  |  |  |  |  |
| Mpongwe Boma1-048 | 33kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Mpongwe Boma1-049 | 11kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Mpongwe Boma1-050 | 0.4kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Mpongwe Boma1-051 | Control cables for entire substation | lot | 1 |  |  |  |  |
| Mpongwe Boma1-052 | Subtotal for Substation Power and Control Cables. |  |  |  |  |  |  |
| 6 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Mpongwe Boma1-053 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Mpongwe Boma1-054 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| Mpongwe Boma1-055 | Charger and accessories | lot | 1 |  |  |  |  |
| Mpongwe Boma1-056 | ODF-FC Type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Mpongwe Boma1-057 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| Mpongwe Boma1-058 | PCM multiplexer and accesories | each | 1 |  |  |  |  |
| Mpongwe Boma1-059 | Electrical SFP | each | 5 |  |  |  |  |
| Mpongwe Boma1-060 | Analague Telephone handsets with display | each | 4 |  |  |  |  |
| Mpongwe Boma1-061 | Analogue Telephone handsets without display | each | 6 |  |  |  |  |
| Mpongwe Boma1-062 | VoIP Telephone handsets | each | 4 |  |  |  |  |
| Mpongwe Boma1-063 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Mpongwe Boma1-067 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Mpongwe Boma1-068 | In door lighting equipment | lot | 1 |  |  |  |  |
| Mpongwe Boma1-069 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Mpongwe Boma1-070 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Mpongwe Boma1-071 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Mpongwe Boma1-072 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Mpongwe Boma1-073 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Mpongwe Boma1-074 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Mpongwe Boma1-075 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Mpongwe Boma1-076 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Mpongwe Boma1-077 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
| Mpongwe Boma1-078 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Mpongwe Boma1-079 | Total |  |  |  |  |  |  |

### Schedule 2: Mpongwe Boma 33/11kV substation plant and equipment supplied from within Employer’s country

| Mpongwe Boma 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Mpongwe Boma2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Mpongwe Boma2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Mpongwe Boma2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Mpongwe Boma2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Mpongwe Boma2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Mpongwe Boma2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Mpongwe Boma2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Mpongwe Boma2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Mpongwe Boma2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Mpongwe Boma2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Mpongwe Boma2-011 | IT Office Local Area Network | Lot | 1 |  |  |  |  |
| Mpongwe Boma2-012 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Mpongwe Boma2-013 | Substation fence and gates | lot | 1 |  |  |  |  |
| Mpongwe Boma2-014 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Mpongwe Boma2-015 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Mpongwe Boma2-016 | Civil works System testing | lot | 1 |  |  |  |  |
| Mpongwe Boma2-017 | Substation stones | lot | 1 |  |  |  |  |
| Mpongwe Boma2-018 | Subtotal |  |  |  |  |  |  |

### Schedule 3: Mpongwe Boma 33/11kV substation Local Transportation

| Lulamba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: Mpongwe Boma 33/11kV substation installation services

| Chichele 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Mpongwe Boma4-001 | 33kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Mpongwe Boma4-002 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Mpongwe Boma4-003 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV Equipment and materials |  |  |  |  |  |  |
| Mpongwe Boma4-004 | 11kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Mpongwe Boma4-005 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Mpongwe Boma4-006 | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| Mpongwe Boma4-007 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with Auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Mpongwe Boma4-008 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| Mpongwe Boma4-009 | Power cables | lot | 1 |  |  |  |  |
| Mpongwe Boma4-010 | Control cables | lot | 1 |  |  |  |  |
| Mpongwe Boma4-011 | Subtotal for Substation Power and Control Cables |  |  |  |  |  |  |
| 6 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Mpongwe Boma4-012 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| Mpongwe Boma4-013 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 7 | Communication Equipment |  |  |  |  |  |  |
| Mpongwe Boma4-014 | Communication equipment | lot | 1 |  |  |  |  |
| Mpongwe Boma4-015 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 8 | Other Equipment |  |  |  |  |  |  |
| Mpongwe Boma4-016 | Other equipment | lot | 1 |  |  |  |  |
| Mpongwe Boma4-017 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| Mpongwe Boma4-018 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Mpongwe Boma4-019 | Total |  |  |  |  |  |  |

### Schedule 5: Summary for Mpongwe Boma 33/11kV substation total project cost with VAT and duties

| Mpongwe Boma 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 5. Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

|  | CABLE WORKS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |

## Mpongwe East 33/11kV Substation

### Schedule 1: Mpongwe East  33/11kV substation plant and equipment supplied from abroad.

| Mpongwe East 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Mpongwe East 1-001 | Circuit Breaker- Live Tank | each | 1 |  |  |  |  |
| Mpongwe East 1-002 | Isolator, Motor Operated with integral earth switch | each | 1 |  |  |  |  |
| Mpongwe East 1-003 | Isolator switch, Motor Operated without integral earth switch | each | 1 |  |  |  |  |
| Mpongwe East 1-004 | VTs | each | 6 |  |  |  |  |
| Mpongwe East 1-005 | Busbar Extension for two bays | lot | 1 |  |  |  |  |
| Mpongwe East 1-006 | Surge arresters | each | 3 |  |  |  |  |
| Mpongwe East 1-007 | CTs | each | 3 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Mpongwe East 1-008 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Mpongwe East 1-009 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| Mpongwe East 1-010 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Mpongwe East 1-011 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Mpongwe East 1-012 | Marshalling Kiosk | lot | 1 |  |  |  |  |
| Mpongwe East 1-013 | Support insulators | lot | 1 |  |  |  |  |
| Mpongwe East 1-014 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mpongwe East 1-015 | Grounding Grid Conductor and lightning protection complete with accessories | lot | 1 |  |  |  |  |
| Mpongwe East 1-016 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Mpongwe East 1-017 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Mpongwe East 1-018 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Mpongwe East 1-019 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Mpongwe East 1-020 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Mpongwe East 1-021 | Station Chargers and accessories | lot | 1 |  |  |  |  |
| Mpongwe East 1-022 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 5 | Substation Power and Control Cables |  |  |  |  |  |  |
| Mpongwe East 1-023 | 33kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Mpongwe East 1-024 | 11kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Mpongwe East 1-025 | 0.4kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Mpongwe East 1-026 | Control cables for entire substation | lot | 1 |  |  |  |  |
| Mpongwe East 1-027 | Subtotal for Substation Power and Control Cables. |  |  |  |  |  |  |
| 5 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Mpongwe East 1-028 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Mpongwe East 1-029 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| Mpongwe East 1-030 | Charger and accessories | lot | 1 |  |  |  |  |
| Mpongwe East 1-031 | ODF-FC Type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Mpongwe East 1-032 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| Mpongwe East 1-033 | PCM multiplexer and accessories | each | 1 |  |  |  |  |
| Mpongwe East 1-034 | Electrical SFP | each | 5 |  |  |  |  |
| Mpongwe East 1-035 | Analogue Telephone handsets with display | each | 4 |  |  |  |  |
| Mpongwe East 1-036 | Analogue Telephone handsets without display | each | 6 |  |  |  |  |
| Mpongwe East 1-037 | VoIP Telephone handsets | each | 4 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 6 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Mpongwe East 1-041 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Mpongwe East 1-042 | In door lighting equipment | lot | 1 |  |  |  |  |
| Mpongwe East 1-043 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Mpongwe East 1-044 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Mpongwe East 1-045 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Mpongwe East 1-046 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Mpongwe East 1-047 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Mpongwe East 1-048 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Mpongwe East 1-049 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Mpongwe East 1-050 | Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Mpongwe East 1-051 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
| Mpongwe East 1-052 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Mpongwe East 1-053 | Total |  |  |  |  |  |  |

### Schedule 2: Mpongwe East 33/11kV substation plant and equipment supplied from within Employer’s country.

| Mpongwe East 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Mpongwe East 2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Mpongwe East 2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Mpongwe East 2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Mpongwe East 2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Mpongwe East 2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Mpongwe East 2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Mpongwe East 2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Mpongwe East 2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Mpongwe East 2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Mpongwe East 2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Mpongwe East 2-011 | IT Office Local Area Network | Lot | 1 |  |  |  |  |
| Mpongwe East 2-012 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Mpongwe East 2-013 | Substation fence and gates | lot | 1 |  |  |  |  |
| Mpongwe East 2-014 | External access road(from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Mpongwe East 2-015 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Mpongwe East 2-016 | Civil works System testing | lot | 1 |  |  |  |  |
| Mpongwe East 2-017 | Substation stones | lot | 1 |  |  |  |  |
| Mpongwe East 2-018 | Subtotal |  |  |  |  |  |  |

### Schedule 3: Mpongwe East  33/11kV substation Local Transportation

| Lulamba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: Mpongwe East  33/11kV substation installation services

| Chichele 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Mpongwe East 4-001 | 33kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Mpongwe East 4-002 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Mpongwe East 4-003 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV Equipment and materials |  |  |  |  |  |  |
| Mpongwe East 4-004 | 11kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Mpongwe East 4-005 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Mpongwe East 4-006 | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| Mpongwe East 4-007 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with Auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Mpongwe East 4-008 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| Mpongwe East 4-009 | Power cables | lot | 1 |  |  |  |  |
| Mpongwe East 4-010 | Control cables | lot | 1 |  |  |  |  |
| Mpongwe East 4-011 | Subtotal for Substation Power and Control Cables |  |  |  |  |  |  |
| 5 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Mpongwe East 4-012 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| Mpongwe East 4-013 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Mpongwe East 4-014 | Communication equipment | lot | 1 |  |  |  |  |
| Mpongwe East 4-015 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Mpongwe East 4-016 | Other equipment | lot | 1 |  |  |  |  |
| Mpongwe East 4-017 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| Mpongwe East 4-018 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Mpongwe East 4-019 | Total |  |  |  |  |  |  |

### Schedule 5: Summary for Mpongwe East  33/11kV substation total project cost with VAT and duties

| Mpongwe East 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 5.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## Lafarge 33/11kV Substation

### Schedule 1: Lafarge 33/11kV substation plant and equipment supplied from abroad.

| Lafarge 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 1. Plant and Equipment Supplied from Abroad |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and Materials |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| Lafarge1-001 | Circuit Breaker- Live Tank | each | 3 |  |  |  |  |
| Lafarge1-002 | Isolator, Motor Operated with integral earth switch | each | 2 |  |  |  |  |
| Lafarge1-003 | Isolator switch, Motor Operated without integral earth switch | each | 2 |  |  |  |  |
| Lafarge1-004 | VTs | each | 9 |  |  |  |  |
| Lafarge1-005 | Busbar Extension for two bays | lot | 1 |  |  |  |  |
| Lafarge1-006 | Surge arresters | each | 6 |  |  |  |  |
| Lafarge1-007 | CTs | each | 6 |  |  |  |  |
| b. | Protection |  |  |  |  |  |  |
| Lafarge1-008 | 33kV Line protection system | lot | 1 |  |  |  |  |
| Lafarge1-009 | 33kV Metering set (0.2s) | lot | 1 |  |  |  |  |
| Lafarge1-010 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| c. | Miscellaneous Material and Equipment |  |  |  |  |  |  |
| Lafarge1-011 | SCADA and SAS system for entire substation | lot | 1 |  |  |  |  |
| Lafarge1-012 | Marshalling Kiosk | lot | 1 |  |  |  |  |
| Lafarge1-013 | Support insulators | lot | 1 |  |  |  |  |
| Lafarge1-014 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Lafarge1-015 | Grounding Grid Conductor and lightning protection complete with accessories | lot | 1 |  |  |  |  |
| Lafarge1-016 | 33kV Support insulator | lot | 1 |  |  |  |  |
| Lafarge1-017 | Conductors, Insulator strings, Clamps & hardware | lot | 1 |  |  |  |  |
| Lafarge1-018 | Subtotal for Miscellaneous Material and Equipment |  |  |  |  |  |  |
| 4 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Lafarge1-019 | Station Batteries and accessories | lot | 1 |  |  |  |  |
| Lafarge1-020 | Metering remote terminal administration devices/equipment | lot | 1 |  |  |  |  |
| Lafarge1-021 | Station Chargers and accessories | lot | 1 |  |  |  |  |
| Lafarge1-022 | Subtotal for low voltage Equipment |  |  |  |  |  |  |
| 5 | Substation Power and Control Cables |  |  |  |  |  |  |
| Lafarge1-023 | 33kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Lafarge1-024 | 11kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Lafarge1-025 | 0.4kV Power cables c/w termination kits, cable sealing end and other accessories for entire substation | lot | 1 |  |  |  |  |
| Lafarge1-026 | Control cables for entire substation | lot | 1 |  |  |  |  |
| Lafarge1-027 | Subtotal for Substation Power and Control Cables. |  |  |  |  |  |  |
| 5 | Communication Equipment | Unit | Quantity | Unit Price | Total |  |  |
| Lafarge1-028 | Optic fibre approach cable and accessories | lot | 1 |  |  |  |  |
| Lafarge1-029 | Batteries 1200AH -48V + Inverter (48VDC to 220VAC) | lot | 1 |  |  |  |  |
| Lafarge1-030 | Charger and accessories | lot | 1 |  |  |  |  |
| Lafarge1-031 | ODF-FC Type, DDF, MDF cabinets | lot | 1 |  |  |  |  |
| Lafarge1-032 | PTN terminal equipment and accessories | each | 1 |  |  |  |  |
| Lafarge1-033 | PCM multiplexer and accessories | each | 1 |  |  |  |  |
| Lafarge1-034 | Electrical SFP | each | 5 |  |  |  |  |
| Lafarge1-035 | Analogue Telephone handsets with display | each | 4 |  |  |  |  |
| Lafarge1-036 | Analogue Telephone handsets without display | each | 6 |  |  |  |  |
| Lafarge1-037 | VoIP Telephone handsets | each | 4 |  |  |  |  |
|  | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 6 | Other equipment | Unit | Quantity | Unit Price | Total |  |  |
| Lafarge1-041 | 33kV lightning masts | lot | 1 |  |  |  |  |
| Lafarge1-042 | In door lighting equipment | lot | 1 |  |  |  |  |
| Lafarge1-043 | Outdoor lighting equipment | lot | 1 |  |  |  |  |
| Lafarge1-044 | Substation peripheral fencing poles | lot | 1 |  |  |  |  |
| Lafarge1-045 | Substation peripheral fencing wire | lot | 1 |  |  |  |  |
| Lafarge1-046 | Substation plot fencing poles | lot | 1 |  |  |  |  |
| Lafarge1-047 | Substation plot fencing wire | lot | 1 |  |  |  |  |
| Lafarge1-048 | cable fire protection equipment | lot | 1 |  |  |  |  |
| Lafarge1-049 | All necessary gantry and equipment support steel structures | lot | 1 |  |  |  |  |
| Lafarge1-050 | Transformer, Gantry and other equipment foundation materials | lot | 1 |  |  |  |  |
| Lafarge1-051 | Any other critical imported material not stated above (state) | lot | 1 |  |  |  |  |
| Lafarge1-052 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Lafarge1-053 | Total |  |  |  |  |  |  |

### Schedule 2: Lafarge 33/11kV substation plant and equipment supplied from within Employer’s country.

| Lafarge 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 2. Plant and Equipment supplied within the employer's country and civil works,steel works (The price for civil works in this schedule include material supply and installation/construction works) |  |  |  |  |  |  |  |
| Item | Civil works | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Lafarge2-001 | General site preparation & earth works | Lot | 1 |  |  |  |  |
| Lafarge2-002 | Excavations for foundations at the proposed substation site | Lot | 1 |  |  |  |  |
| Lafarge2-003 | Construction of control building complete with the following; - 9kg and 50kg Fire extinguishers - Battery rooms complete with extractor fans - Toilets ( separate male and female) complete with extractor fans - Control room complete with air conditioning and furniture - Relay room complete with air conditioning - ACDC room complete with air conditions - Communication room complete with air conditioning - Offices complete with air conditioning and furniture - Kitchen - Store room Construction of Guard House complete with separate shower and toilet, with Kitchen | Lot | 1 |  |  |  |  |
| Lafarge2-004 | Substation equipment foundations and gantries, Transformer firewall and oil containment pit |  |  |  |  |  |  |
| Lafarge2-005 | Lightning masts | Lot | 1 |  |  |  |  |
| Lafarge2-006 | Drilling borehole for complete water supply System | Lot | 1 |  |  |  |  |
| Lafarge2-007 | Cable trenches | Lot | 1 |  |  |  |  |
| Lafarge2-008 | Storm water and waste water drainage system | Lot | 1 |  |  |  |  |
| Lafarge2-009 | Internal substation access road - concrete | Lot | 1 |  |  |  |  |
| Lafarge2-010 | Automated fire suppression system for control room capable of reporting to NCC via the substation SCADA system | Lot | 1 |  |  |  |  |
| Lafarge2-011 | IT Office Local Area Network | Lot | 1 |  |  |  |  |
| Lafarge2-012 | ZESCO Substation land fencing | lot | 1 |  |  |  |  |
| Lafarge2-013 | Substation fence and gates | lot | 1 |  |  |  |  |
| Lafarge2-014 | External access road (from the nearest main truck bituminous standard road) | lot | 1 |  |  |  |  |
| Lafarge2-015 | Substation boundary erosion protection and stone pitching | lot | 1 |  |  |  |  |
| Lafarge2-016 | Civil works System testing | lot | 1 |  |  |  |  |
| Lafarge2-017 | Substation stones | lot | 1 |  |  |  |  |
| Lafarge2-018 | Subtotal |  |  |  |  |  |  |

### Schedule 3: Lafarge 33/11kV substation Local Transportation

| Lulamba 33/11kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 3. Local Transportation |  |  |  |  |  |  |  |
| Item | Transportion Services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |

### Schedule 4: Lafarge 33/11kV substation installation services

| Chichele 132/33kV Substation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 4. Installation Services |  |  |  |  |  |  |  |
| Item | Equipment and Materials installation services | Unit | Quantity | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| 1 | 33kV Equipment and materials |  |  |  |  |  |  |
| Lafarge4-001 | 33kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Lafarge4-002 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Lafarge4-003 | Subtotal for 33kV Material and Equipment |  |  |  |  |  |  |
| 2 | 11kV Equipment and materials |  |  |  |  |  |  |
| Lafarge4-004 | 11kV primary and secondary equipment | lot | 1 |  |  |  |  |
| Lafarge4-005 | Miscellaneous material and equipment | lot | 1 |  |  |  |  |
| Lafarge4-006 | Subtotal for 11kV Material and Equipment |  |  |  |  |  |  |
| 3 | Auxiliary Equipment and Materials |  |  |  |  |  |  |
| Lafarge4-007 | Auxiliary power 400VAC board and 100kVA 33/0.4kV Auxiliary Transformer complete with Auxiliary 33kV switchgear | lot | 1 |  |  |  |  |
| Lafarge4-008 | Subtotal for Auxiliary Equipment and Materials |  |  |  |  |  |  |
| 4 | Substation Power and Control Cables |  |  |  |  |  |  |
| Lafarge4-009 | Power cables | lot | 1 |  |  |  |  |
| Lafarge4-010 | Control cables | lot | 1 |  |  |  |  |
| Lafarge4-011 | Subtotal for Substation Power and Control Cables |  |  |  |  |  |  |
| 5 | Low Voltage Equipment and Material |  |  |  |  |  |  |
| Lafarge4-012 | Installation of low voltage equipment | lot | 1 |  |  |  |  |
| Lafarge4-013 | Subtotal for Low Voltage Equipment and Material |  |  |  |  |  |  |
| 6 | Communication Equipment |  |  |  |  |  |  |
| Lafarge4-014 | Communication equipment | lot | 1 |  |  |  |  |
| Lafarge4-015 | Subtotal for Communication Equipment |  |  |  |  |  |  |
| 7 | Other Equipment |  |  |  |  |  |  |
| Lafarge4-016 | Other equipment | lot | 1 |  |  |  |  |
| Lafarge4-017 | Any other critical imported material not stated above | As req. | as req. |  |  |  |  |
| Lafarge4-018 | Subtotal for Other Equipment |  |  |  |  |  |  |
| Lafarge4-019 | Total |  |  |  |  |  |  |

### Schedule 5: Summary for Lafarge 33/11kV substation total project cost with VAT and duties

| Lafarge 33/11kV Substation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Schedule 5.- Total Project Cost (USD) |  |  |  |  |  |
| Item | Description | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| Schedule 1 | Plant and Equipment supplied from abroad |  |  |  |  |
| Schedule 2 | Plant and Equipment supplied within employer's country, civil works, steel works |  |  |  |  |
| Schedule 3 | Local Transportation |  |  |  |  |
| Schedule 4 | Installation service |  |  |  |  |
|  | Total |  |  |  |  |

## 33/11kV Substation Total Costs

| Item | Description | Total Price 1 CIP USD | Total Price 2 DDP USD |
| --- | --- | --- | --- |
| 1 | New Depot 33/11 kV substation Price Schedule No. 5: Grand Summary |  |  |
| 2. | New Pamodzi 33/11 kV Price Schedule No. 5. Grand Summary |  |  |
| 3. | New Dola Hill 33/11 kV substation Price Schedule No. 5: Grand Summary |  |  |
| 4 | Mpatamato 33/11 kV substation Price Schedule No. 5: Grand Summary |  |  |
| 5 | S Bend 33/11 kV substation Price Schedule No. 5: Grand Summary |  |  |
| 6 | Chitwi 33/11 kV substation Price Schedule No. 5: Grand Summary |  |  |
| 7 | Kankwiba 33/11 kV substation Price Schedule No. 5: Grand Summary |  |  |
| 8 | Ibenga 33/11 kV substation Price Schedule No. 5: Grand Summary |  |  |
| 9 | Luanshya 33/11 kV substation Price Schedule No. 5: Grand Summary |  |  |
| 10 | Mpongwe East 33/11 kV substation Price Schedule No. 5: Grand Summary |  |  |
| 11 | Mpongwe Boma 33/11 kV substation Price Schedule No. 5: Grand Summary |  |  |
| 12 | Lafarge 33/11 kV substation Price Schedule No. 5: Grand Summary |  |  |
|  | 33/11kV Substation Total Costs (To Grand Summary) |  |  |
|  | Name of Bidder |  |  |
|  | Signature of Bidder |  |  |

# 33kV DISTRIBUTION LINES

## Bwana Mkubwa - Chikululu 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 14 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 14 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 14 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 14 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 153 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 14 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 30 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 10 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 1 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 1 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price |  |  | unit Price |  | Total Price | Total Price |  |
|  |  |  |  |  | Less taxes | with taxes |  |  | without taxes |  |  | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Bwana Mkubwa – Chikululu 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 14 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Bwana Mkubwa and T-Off to Chikululu |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 14km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 14 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Totals for 33kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Bwana Mkubwa - Ndola Energy 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 5 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 5 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 5 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 5 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 110 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 10 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 3 |  |  |  |  |
| 4.2 | Tension Insulators | No | 9 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 18 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local transportation

| SCHEDULE No.3 Local Transportation for Bwana Mkubwa – Ndola Energy 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |
| 1.1 | Construction of 5 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Bwana Mkubwa and Ndola Energy Substations |  |  | 1 Lot |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 5 km of line route |  |  | Lot |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 5 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Bwana Mkubwa-Nelkanth Cable 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | CABLE LINE LENGTH | km | 11 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 11 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 11 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 11 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 236 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 20 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 3 |  |  |  |  |
| 4.2 | Tension Insulators | No | 19.5 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 39 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Bwana Mkubwa – Nelkanth Cable 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 11 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Bwana Mkubwa and Nelkanth Substations |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 11 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 11 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Skyways - Bwana Mkubwa 33kV Line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 7 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 7 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 7 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 7 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 82 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 15 |  |  |  |  |
| 1.4 | Steel Poles (Suspension) | No |  |  |  |  |  |
| 1.5 | Steel poles (Tension) | No |  |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 3 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Skyways - Bwana Mkubwa 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 7 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Bwana Mkubwa and Skyways Substations |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 7 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 7 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Totals for 33kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Chichele - New Dola Hill 33kV Line 1

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 7 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 7 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 7 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 7 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 75 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 10 |  |  |  |  |
| 1.4 | Steel Poles (Suspension) |  |  |  |  |  |  |
| 1.5 | Steel poles (Tension) |  |  |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Chichele – New Dola Hill 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 7 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Chichele and T-Off to New Dola Hill |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 7 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 7 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Chichele - New Dola Hill 33kV Line 2

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 7 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 7 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 7 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 7 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 75 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 10 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 0 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 0 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 0 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 0 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 0 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Chichele – New Dola Hill 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 7 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Chichele and Line to New Dola Hill |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 7 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 7 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Chichele – New Pamodzi 33kV Line 1

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 12 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 12 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 12 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 12 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 116 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 17 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 3 |  |  |  |  |
| 4.2 | Tension Insulators | No | 22 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 44 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Chichele – New Pamodzi 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 12 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Chichele and Pamodzi Substations |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 12 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 12 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Chichele – New Pamodzi 33kV Line 2

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 12 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 12 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 12 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 12 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 116 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 17 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 3 |  |  |  |  |
| 4.2 | Tension Insulators | No | 22 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 44 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Chichele – New Pamodzi 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 12 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Chichele and Pamodzi Substations |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 12 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 12 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## New Depot -New Pamodzi 33kV Line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 6 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 6 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 6 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 6 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 49 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 12 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 10 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 30 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 3 |  |  |  |  |
| 4.2 | Tension Insulators | No | 11 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 22 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot – New Pamodzi 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 6 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at New Depot and New Pamodzi Substations |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 6 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 6 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Lafarge - New Depot 33kV Line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 4 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 4 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 4 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 4 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 0 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 0 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 41 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 12 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 3 |  |  |  |  |
| 4.2 | Tension Insulators | No | 4 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 8 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Lafarge – New Depot 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 4 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Lafarge and New Depot Substations |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 4 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 4 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Ndola lime -Lafarge 33kV Line Price

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 1.75 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 2 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 2 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 2 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 0 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 0 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 13 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 5 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 3 |  |  |  |  |
| 4.2 | Tension Insulators | No | 3 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 6 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Ndola Lime – Lafarge 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 2 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Ndola Lime and Lafarge Substations |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 2 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 2 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Nelkanth-Ndola lime Cables 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | CABLE LINE LENGTH | km | 2 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 2 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 2 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 2 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 44 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 4 |  |  |  |  |
| 1.5. | 33kV Line Isolator | No. | 0 |  |  |  |  |
| 1.6. | 33kV Auto Recloser | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 3 |  |  |  |  |
| 4.2 | Tension Insulators | No | 4 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 8 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Nelkanth Cables – Ndola lime 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 2 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Nelkanth and Ndola lime Substations |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 2 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 2 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## New Dola Hill -Mushili Switching 33kV Line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 11 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 11 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 11 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 11 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 94 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 19 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 31 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 6 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 300mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 300mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 6 |  |  |  |  |
| 2.5. | 300mmsq. 33kV outdoor 1c cable terminations | No. | 6 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 3 |  |  |  |  |
| 4.2 | Tension Insulators | No | 18 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 36 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Dola Hill – Mushili Switching Station 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 11 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at New Dola Hill and Mushili Switching Substations |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 11 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 11 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Mpongwe 132/88/33kV - Mpongwe Boma 33kV Line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 7 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 7 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 7 |  |  |  |  |
| 1.3.a | OPGW cable – 48 core | Route km | 7 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 84 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 10 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 4 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 23 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 2 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 6 |  |  |  |  |
| 2.3. | 350mm.sq. flying conductor | M | 0 |  |  |  |  |
| 2.4. | 350mm.sq. flying conductor termination at Malole | Lot | 0 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 2 |  |  |  |  |
| 3.2 | Earthing leads | No | 3 |  |  |  |  |
| 3.3 | Surge arrestors | No | 3 |  |  |  |  |
| 3.4. | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4 | Telecommunications |  |  |  |  |  |  |
| 4.1 | Mpongwe Substation end |  |  |  |  |  |  |
| 4.1.1 | SDH - MSTP-10G | Lot | 1 |  |  |  |  |
| 4.1.2 | SDH - Access Mux -PCM | Lot | 1 |  |  |  |  |
| 4.1.3 | ODF | Lot | 1 |  |  |  |  |
| 4.1.4 | DDF | Lot | 1 |  |  |  |  |
| 4.1.5 | DC Power | Lot | 1 |  |  |  |  |
| 4.2 | Mpongwe Boma Substation end |  |  |  |  |  |  |
| 4.2.1 | SDH - MSTP-10G | Lot | 1 |  |  |  |  |
| 4.2.2 | SDH - Access Mux -PCM | Lot | 2 |  |  |  |  |
| 4.2.3 | ODF | Lot | 1 |  |  |  |  |
| 4.2.4 | DDF | Lot | 1 |  |  |  |  |
| 4.2.5 | DC Power | Lot | 1 |  |  |  |  |
| 4.2.6 | Shelter | Lot | 1 |  |  |  |  |
|  | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Mpongwe 132 – Mpongwe Boma 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 7kM OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Mpongwe and Mpongwe Boma Substations |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 7 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 7 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
|  | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
|  | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
|  | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
|  | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Mpongwe 132 - Mpongwe East T 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 14.4 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 14.4 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 14.4 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 14.4 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 153 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 14 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 30 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 10 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 1 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 1 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Mpongwe 132 – Mpongwe East 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 14.4 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Mpongwe 132/88/33 and T-Off to Mpongwe East |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 14.2 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 14.2 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Luanshya 330 – Chitwi Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 8 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 8 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 8 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 8 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 90 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 12 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 2 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 10 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Luanshya 330 – Chitwi Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 8 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Luanshya 330/132Kv and Chitwi 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 8 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 8 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for Luanshya 330 – Chitwi Double Circuit 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Luanshya 330 – Kankwiba Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 7 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 7 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 7 |  |  |  |  |
| 1.3.a | OPGW cable – 48 core | Route km | 7 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 76 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 10 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 0 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 0 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 10 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Luanshya 330 – Kankwiba Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 7 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Luanshya 330/132/33kV and Kankwiba 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 7 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 7 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for Luanshya 330 – Kankwiba Double Circuit 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Kafulafuta – Kankwiba Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 7 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 7 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 7 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 7 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 85 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 10 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 7 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 6 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 10 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Kafulafuta – Kankwiba Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 7 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Kafulafuta 132/33kV and Kankwiba 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 7 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 7 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for Kafulafuta – Kankwiba Double Circuit 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Kafulafuta – Mpatamato Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 16 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 16 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 16 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 16 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 153 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 14 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 30 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 10 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 24 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 48 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Kafulafuta – Mpatamato Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 16 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Kafulafuta 132/33kV and Mpatamato 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 16 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 16 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for Kafulafuta – Mpatamato Double Circuit 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Kafulafuta – Ibenga 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 16 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 16 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 16 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 16 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 172 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 23 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 4 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 6 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 24 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 48 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Kafulafuta – Ibenga 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 16 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Kafulafuta 132/33Kv and Ibenga 33/11 |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 16 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 16 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for Kafulafuta – Ibenga 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Mine Farm – Luanshya Town Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 3 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 3 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 3 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 3 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 14 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 3 |  |  |  |  |
| 1.4. | Steel Poles (Suspension) | No. | 14 |  |  |  |  |
| 1.5. | Steel poles (Tension) | No. | 5 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 12 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Mine Farm – Luanshya Town Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 3 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Mine Farm 132/33/11kV and Luanshya Town 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 3 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 3 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for Mine Farm – Luanshya Town Double Circuit 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Mine Farm – Mpatamato Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 11 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 11 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 11 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 11 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 37 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 6 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 71 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 9 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 24 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 36 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Mine Farm – Mpatamato Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 11 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Mine Farm 132/33/11kV and Mpatamato 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 11 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 11 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for Mine Farm – Mpatamato Double Circuit 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Mine Farm – S-Bend Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 12 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 12 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 12 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 12 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 76 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 10 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 61 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 10 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 24 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 36 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Mine Farm – S-Bend Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 12 km OHL and OPGW |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at Mine Farm 132/33/11kV and S-Bend 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 12 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 12 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for Mine Farm – S-Bend Double Circuit 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## S-Bend - Chitwi Double Circuit 33kV line

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | OVERHEAD LINE LENGTH | km | 5 |  |  |  |  |
| 1.1. | 350mm.sq. (Bison) Conductor | Route km | 5 |  |  |  |  |
| 1.2. | Earthing Wire | Route km | 5 |  |  |  |  |
| 1.3.a | OPGW cable - 48 core | Route km | 5 |  |  |  |  |
|  | Optic fibre approach cable and accessories | Lot | 1 |  |  |  |  |
| 1.3.b | Stays and Stay assembly | Lot | 1 |  |  |  |  |
| 1.3.c | 14m Poles for H Structure | No. | 52 |  |  |  |  |
| 1.3.d | 14m Poles for H-Structure (SECTION) | No. | 8 |  |  |  |  |
| 1.5. | Steel Poles (Suspension) | No. | 1 |  |  |  |  |
| 1.6. | Steel poles (Tension) | No. | 2 |  |  |  |  |
|  | CABLE WORKS |  |  |  |  |  |  |
| 2.1. | Cable Take-off structures | No. | 1 |  |  |  |  |
| 2.2. | 33kV Surge Arrestors | No. | 3 |  |  |  |  |
| 2.3. | 185mmsq. 1c 33kV XLPE Cu cable | lot | 1 |  |  |  |  |
| 2.4. | 185mmsq. 33kV overhead 1c cable terminations (cable take-off point) | No. | 3 |  |  |  |  |
| 2.5. | 185mmsq. 33kV outdoor 1c cable terminations | No. | 3 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 1 |  |  |  |  |
| 3.2 | Earthing leads | No | 1 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 | Surge arrestors | No | 2 |  |  |  |  |
| 4.2 | Tension Insulators | No | 12 |  |  |  |  |
| 4.3 | Suspension Insulator | No | 24 |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for S-Bend - Chitwi Double Circuit 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Construction of 5 km OHL and ADSS |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Installation and termination of cables from terminal structure to 33kV line bay at S-Bend 33/11kV and Chitwi 33/11kV |  |  | 1 Lot |  |  |  |  |  |
| 1.3 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing for 5 km of line route |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification, along the 5 km distribution line route. Complete clearing of all trees, bushes, grass including demolition and leveling of all anthills along the 22 m wide wayleave. |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for S-Bend - Chitwi Double Circuit 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## 33kV Lines Total Costs

| Item | Description | Total Price 1 CIP USD | Total Price 2 DDP USD |
| --- | --- | --- | --- |
| 1 | Bwana Mkubwa - Chikululu 33kV line |  |  |
| 2. | Bwana Mkubwa - Ndola Energy 33kV line |  |  |
| 3. | Bwana Mkubwa-Nelkanth Cable 33kV line |  |  |
| 4 | Skyways - Bwana Mkubwa 33kV Line |  |  |
| 5 | Chichele - New Dola Hill 33kV Line 1 |  |  |
| 6 | Chichele - New Dola Hill 33kV Line 2 |  |  |
| 7 | Chichele - Pamodzi 33kV Line 1 |  |  |
| 8 | Chichele - Pamodzi 33kV Line 2 |  |  |
| 9 | New Depot -New Pamodzi 33kV Line |  |  |
| 10 | Lafarge - New Depot 33kV Line |  |  |
| 11 | Ndola lime -Lafarge 33kV Line Price |  |  |
| 12 | Nelkanth-Ndola lime Cables 33kV line |  |  |
| 13 | New Dola Hill -Mushili Switching 33kV Line |  |  |
| 14 | Mpongwe 132/88/33kV - Mpongwe Boma 33kV Line |  |  |
| 15 | Mpongwe 132 - Mpongwe East T 33kV line |  |  |
| 16 | Luanshya 330 – Chitwi Double Circuit 33kV line |  |  |
| 17 | Luanshya 330 – Kankwiba Double Circuit 33kV line |  |  |
| 18 | Kafula1futa – Kankwiba Double Circuit 33kV line |  |  |
| 19 | Kafula1futa – Mpatamato Double Circuit 33kV line |  |  |
| 20 | Kafula1futa – Ibenga 33kV line |  |  |
| 21 | Mine Farm – Luanshya Town Double Circuit 33kV line |  |  |
| 22 | Mine Farm – Mpatamato Double Circuit 33kV line |  |  |
| 23 | Mine Farm – S-Bend Double Circuit 33kV line |  |  |
| 24 | S-Bend – Chitwi Double Circuit 33kV line |  |  |
| 4. | 33kV Lines Total Cost (To Grand Summary) |  |  |
|  | Name of Bidder |  |  |
|  | Signature of Bidder |  |  |

# 11kV DISTIBUTION LINES

## New Depot 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km | 7.4 |  |  |  |  |
| 1.1. | 300mmsq. X 3C 11kV XLPE cable | Route km | 7.4 |  |  |  |  |
| 1.2. | Termination Kit | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | ADSS fibre | No. |  |  |  |  |  |
| 2.2. |  | No. |  |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price |  |  | unit Price |  | Total Price | Total Price |  |
|  |  |  |  |  | Less taxes | with taxes |  |  | without taxes |  |  | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Depot 11kV feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## New Pamodzi 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km | 16 |  |  |  |  |
| 1.1. | 300mmsq. X 3C 11kV XLPE cable | Route km | 16 |  |  |  |  |
| 1.2. | Termination Kit for 300mmsq. X 3C 11kV XLPE cable | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. |  | No. |  |  |  |  |  |
| 2.2. |  | No. |  |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Schedule No. 2. Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local transportation

| SCHEDULE No.3 Local Transportation for New Pamodzi 11kV Feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## New Dola Hill Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km | 2.7 |  |  |  |  |
| 1.1. | 300mmsq. X 3C 11kV XLPE cable | Route km | 2.7 |  |  |  |  |
| 1.2. | Termination Kit for300mmsq. X 3C 11kV XLPE cable | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. |  | No. |  |  |  |  |  |
| 2.2. |  | No. |  |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for New Dola Hill 11kV Feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Mine Farm 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km | 0.1 |  |  |  |  |
| 1.1. | 185mmsq. X 3C 11kV XLPE cable – Kafubu feeder | Route km | 0.05 |  |  |  |  |
| 1.2. | 185mmsq. X 3C 11kV XLPE cable – Makoma feeder | Route km | 0.05 |  |  |  |  |
| 1.3 | Termination Kit | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. |  | No. |  |  |  |  |  |
| 2.2. |  | No. |  |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Mine Farm 11kV Feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Totals for 11kV line |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Total Price |  |  |  |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Luanshya Town 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km | 1.1 |  |  |  |  |
| 1.1. | 2 X 185mmsq. X 3C 11kV XLPE cable – substation B6 feeder | Route km | 0.1 |  |  |  |  |
| 1.2. | 3 X 185mmsq. 1 core 11kV XLPE cable – Sub 1 feeder | Route km | 0.5 |  |  |  |  |
| 1.3 | 300mmsq. 1 core 11kV XLPE cable – Outdoor feeder | Route km | 0.5 |  |  |  |  |
| 1.4 | Termination Kit | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. |  | No. |  |  |  |  |  |
| 2.2. |  | No. |  |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Luanshya Town 11kV Feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Sub 1 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km | 1 |  |  |  |  |
| 1.1. | 185mmsq. X 3C 11kV XLPE cable –RMU feeders | Route km | 1 |  |  |  |  |
| 1.2 | Termination Kit | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. |  | No. |  |  |  |  |  |
| 2.2. |  | No. |  |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Sub 1 11kV Feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## New S-Bend 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km | 3 |  |  |  |  |
| 1.1. | 2 X 185mmsq. X 3C 11kV XLPE cable – Ndola Road feeder | Route km | 3 |  |  |  |  |
| 1.2 | Termination Kit | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  |  |  |  |  |  |
| 2.1. | 100mm.sq. (Dog) Conductor – S-Bend - Kamirenda | Route km | 4 |  |  |  |  |
| 2.2. | 100mm.sq. (Dog) Conductor – S-Bend - Maposa | Route km | 4 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Chichele – New Pamodzi 33kV line |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Chitwi 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. |  | Route km |  |  |  |  |  |
| 1.2 |  |  |  |  |  |  |  |
|  | OVERHEAD LINE |  | 20 |  |  |  |  |
| 2.1. | 100mm.sq. (Dog) Conductor – Chitwi – Chitwi Area | Route km | 10 |  |  |  |  |
| 2.2. | 100mm.sq. (Dog) Conductor – Chitwi - Fisenge | Route km | 10 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Chitwi 11kV Feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

v

### Schedule 5: Totals for 11kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Kankwiba 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km |  |  |  |  |  |
| 1.1. |  | Route km |  |  |  |  |  |
| 1.2 |  |  |  |  |  |  |  |
|  | OVERHEAD LINE |  | 11 |  |  |  |  |
| 2.1. | 100mm.sq. (Dog) Conductor – Kankwiba – Mikomfwa 1 | Route km | 6 |  |  |  |  |
| 2.2. | 100mm.sq. (Dog) Conductor – Kankwiba – Mikomfwa 2 | Route km | 5 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Kankwiba 11kV Feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Mpatamato 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km | 3 |  |  |  |  |
| 1.1. | 2 X 185mmsq. X 3C 11kV XLPE cable – Mpatamato feeders | Route km | 3 |  |  |  |  |
| 1.2 | Termination Kit | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  | 2 |  |  |  |  |
| 2.1. | 100mm.sq. (Dog) Conductor – Mpatamato - Roan | Route km | 2 |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Mpatamato 11kV Feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 11kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| Totals for 11kV lines (To Grand Summary) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## Ibenga 11kV Feeders

### Schedule No. 1.  Plant and Mandatory Spare Parts Supplied from Abroad

| Schedule No. 1. Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Unit | Qty. | Unit Price | Unit Price | Total Price | Total Price |
|  |  |  |  | CIP | DDP | CIP | DDP |
| See Drawings |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLE | km | 3 |  |  |  |  |
| 1.1. | 2 X 185mmsq. X 3C 11kV XLPE cable – Masaiti feeder 1 | Route km | 0.15 |  |  |  |  |
| 1.2 | 2 X 185mmsq. X 3C 11kV XLPE cable – Masaiti feeder 1 | Route km | 0.15 |  |  |  |  |
| 1.3 | Termination Kit | Lot | 1 |  |  |  |  |
|  | OVERHEAD LINE |  | 2 |  |  |  |  |
| 2.1. |  |  |  |  |  |  |  |
| 3. | WIRING AND MISCELLANEOUS MATERIALS |  |  |  |  |  |  |
| 3.1 | Live line tester | No | 0 |  |  |  |  |
| 3.2 | Earthing leads | No | 0 |  |  |  |  |
| 3.3 | Clamps, fittings, bolts & nuts, etc (refer to drawings) | Lot | 1 |  |  |  |  |
| 4. | MANDETORY SPARES |  |  |  |  |  |  |
| 4.1 |  |  |  |  |  |  |  |
| 4.2 |  |  |  |  |  |  |  |
| 4.3 |  |  |  |  |  |  |  |
| 5 | TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |
|  |  |  |  | Name of Bidder |  |  |  |
|  |  |  |  | Signature of Bidder |  |  |  |

### Schedule No. 2.  Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country

| Item | Description |  |  | Qty. | Unit Price |  | unit Price | Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Less taxes |  | with taxes | without taxes | With taxes |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule No. 3.  Local Transportation

| SCHEDULE No.3 Local Transportation for Ibenga 11kV Feeders |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Local Transportation |  |  |  |  |  |  |
| Item | Description | Qty | Unit Price less taxes USD | Total less taxes USD | Duty + all taxes | Total DDP Price. |
| 1 | Transportation of materials and equipment sourced from outside the country to any work site or contractors’ storage | lot |  |  |  |  |
| 2 | Transportation of materials sourced from within the country to any work site or contractors’ stores | lot |  |  |  |  |

### Schedule 4: Installation service

| Schedule 4: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Civil Works |  |  | Lot |  |  |  |  |  |
| 1.1 | Installation and termination of cables for various feeders |  |  | 1 Lot |  |  |  |  |  |
| 1.2 | Miscellaneous for unforeseen Works approved by Project manager |  |  | 1 Lot |  |  |  |  |  |
| 2 | Others |  |  |  |  |  |  |  |  |
| 2.1 | Survey, Peg and produce line profile drawing |  |  | Lot |  |  |  |  |  |
| 2.2 | Bush clearing as per Specification |  |  | Lot |  |  |  |  |  |
| TOTAL (to Schedule No. 5. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

### Schedule 5: Totals for 33kV line

| Item | Description |  |  |  | Total Price |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | With Taxes |  | Without Taxes |  |
| 1 | Total Schedule No. 1. Plant, and Mandatory Spare Parts Supplied from Abroad |  |  |  |  |  |  |  |
| 2 | Total Schedule No. 2. Plant, and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  |  |  |  |
| 3 | Total Schedule No. 3. Local Transportation |  |  |  |  |  |  |  |
| 4 | Total Schedule No. 4. Installation and Other Services |  |  |  |  |  |  |  |
| TOTAL (to Bid Form) |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |

## 11kV Lines Total Costs

| Item | Description | Total Price 1 CIP USD | Total Price 2 DDP USD |
| --- | --- | --- | --- |
| 1 | New Depot 11kV Feeders |  |  |
| 2. | New Pamodzi 11kV Feeders |  |  |
| 3. | New Dola Hill 11kV Feeders |  |  |
| 4 | Mine Farm 11kV Feeders |  |  |
| 5 | Luanshya Town 11kV Feeders |  |  |
| 6 | Sub 1 11kV Feeders |  |  |
| 7 | S-BEND 11kV Feeders |  |  |
| 8 | Chitwi 11kV Feeders |  |  |
| 9 | Kankwiba 11kV Feeders |  |  |
| 10 | Mpatamato 11kV Feeders |  |  |
| 11 | Ibenga 11kV Feeders |  |  |
| 4. | 11kV Lines Total Costs (To Grand Total) |  |  |
|  | Name of Bidder |  |  |
|  | Signature of Bidder |  |  |

# DAY RATE WORKS

| DETAIL PRICES, DAYWORK SCHEDULE No.6 Day work Rates and Estimated Quantities |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM No. | DESCRIPTION | UNIT | QTY | UNIT PRICE USD | TOTAL ITEM PRICE DDP USD |
| 1 | Rates of Labour including all necessary hand tools, accomodation, sub-sistence and overhead charges |  |  |  |  |
| 1.1 | Expatriate foreman | per day | 1 |  |  |
| 1.2 | Surveyor and two assistants incl. survey equipment and transport | per day | 1 |  |  |
| 1.3 | Local Foreman | per day | 1 |  |  |
| 1.4 | Linesman/operator | per day | 1 |  |  |
| 1.5 | Skilled worker | per day | 1 |  |  |
| 1.6 | Unskilled worker | per day | 1 |  |  |
| 1.7 | Driver | per day | 1 |  |  |
| 1.8 | Engineer | per day | 1 |  |  |
| 1.9 | SUB-TOTAL LABOUR |  |  |  |  |
| 2 |
| 2.1 | Pick-up truck | per day | 1 |  |  |
| 2.2 | Lorry < 10 tons | per day | 1 |  |  |
| 2.3 | Lorry 10 to 20 tons | per day | 1 |  |  |
| 2.4 | Mobile Crane | per day | 1 |  |  |
| 2.5 | Tractor with trailer | per day | 1 |  |  |
| 2.6 | Tractor | Per day | 1 |  |  |
| 2.7 | Front end loader | per day | 1 |  |  |
| 2.8 | D7 to D9 Bulldozer | per day | 1 |  |  |
| 2.9 | Excavator | per day | 1 |  |  |
| 2.10 | Air compressor c/w jack hammer | per day | 1 |  |  |
| 2.11 | Water pump | per day | 1 |  |  |
| 2.12 | Concrete mixer | per day | 1 |  |  |
| 2.13 | Power generator | per day | 1 |  |  |
| 2.14 | Welding machine | per day | 1 |  |  |
| 2.15 | SUB-TOTAL EQUIPMENT |  |  |  |  |
| 3 | Daywork, Construction |  |  |  |  |
|  | The rates shall cover construction works, material handling and storage, distribution to tower sites, and insurance until taken over and all costs of personnel, transport and equipment needed. |  |  |  |  |
| 3.1 | Miscellaneous works for special foundations, extensions and concrete works: |  |  |  |  |
| 3.1.1 | Excavation including backfill and reinstatement of soil |  |  |  |  |
| 3.1.1.1 | Down to 3 m below ground level | m3 |  |  |  |
| 3.1.1.2 | Below 3 m below ground level | m3 | 1 |  |  |
| 3.1.2 | Solid rock | m3 | 1 |  |  |
| 3.1.2.1 | Solid rock excavation | m3 | 1 |  |  |
| 3.1.2.2 | Excavation including backfill and reinstatement of solid rock | m3 | 1 |  |  |
| 3.1.3 | Casting of concrete foundations including formers and installation of reinforcement | m3 | 1 |  |  |
| 3.1.4 | Drilling and grouting of rock bolt anchors | per m | 1 |  |  |
| 3.2 | Miscellaneous erection of special towers, special extensions, single leg extensions and modifications. |  |  |  |  |
|  | Erection of single leg extensions and reductions for self supporting towers shall be paid for at this ton price. | tons | 1 |  |  |
| 3.3 | Tack welding of nuts (if required) |  |  |  |  |
| 3.3.1 | Up to 3 m above ground level | per 100 bolts |  |  |  |
| 3.3.2 | Above 3 m above ground level | per 100 bolts |  |  |  |
| 3.4 | Installation of Farm Gates and Fences | each | 1 |  |  |
| 3.5 | Additional tensioning of guy wires | each | 1 |  |  |
| 3.6 | SUB-TOTAL CONSTRUCTION |  |  |  |  |
| 4 | Materials for Daywork |  |  |  |  |
| 4.1 | Reinforced concrete for modified or special foundations, including formers |  |  |  |  |
| 4.2 | Concrete for other purposes, including formers | m3 | 1 |  |  |
| 4.3 | Extra reinforcement bars | kg | 1 |  |  |
| 4.4 | Farm Gate | each | 1 |  |  |
| 4.5 | Galvanised steel members for special towers, special extensions, single leg extensions and reductions and modifications and missing members for existing incomplete towers |  |  |  |  |
|  | Extra or reduced quantities of steel due to extension or reduction of single legs for self supporting towers shall be balanced against these prices. |  |  |  |  |
| 4.5.1 | Structural mild steel | ton | 1 |  |  |
| 4.5.2 | Structural high tensile steel | ton | 1 |  |  |
| 4.6 | Additional step bolts | each | 1 |  |  |
| 4.7 | Additional number plates | each | 1 |  |  |
| 4.8 | Additional danger plates | each | 1 |  |  |
| 4.9 | Additional phase and circuit plates | each | 1 |  |  |
| 4.1 | Additional bolts/nuts/washers | per ton | 1 |  |  |
| 4.11 | River Sand | Ton | 1 |  |  |
| 4.12 | Gravel | Ton | 1 |  |  |
| 4.13 | SUB-TOTAL MATERIALS |  |  |  |  |
|  | TOTAL FOR SCHEDULE 5 |  |  |  |  |
|  | TOTAL (to schedule 6 summary for 132kV lines ) |  |  |  |  |
|  | Name of Bidder |  |  |  |  |
|  | Signature of Bidder |  |  |  |  |

# SCHEDULE 6: PRELIMINARY AND GENERAL

| Schedule 7: Installation service |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  | Qty. |  | Unit Price |  | unit Price | Total Price |
|  |  |  |  |  |  | Less taxes |  | with taxes | without taxes |
| 1 | Preliminary and General |  |  |  |  |  |  |  |  |
| 1.1 | Insurance for works, plant etc as per conditions of contract |  |  | Sum |  |  |  |  |  |
| 1.2 | Establishment/Demobilisation of site camp/stores |  |  | Sum |  |  |  |  |  |
| 1.3 | Administration of site camp/stores |  |  | Sum |  |  |  |  |  |
| TOTAL (to Schedule 10. Grand Summary) |  |  |  |  |  |  |  |  |  |
|  |  |  | Name of Bidder |  |  |  |  |  |  |
|  |  |  | Signature of Bidder |  |  |  |  |  |  |

# SCHEDULE 8: PROJECT MANAGEMENT

| G. Project Management |  |  |  |
| --- | --- | --- | --- |
| Schedule 8. Project Management, Design Engineering, Training, Insurance, Test and others |  |  |  |
| Item | Description | Unit Price | Total |
|  |  | (USD) | (USD) |
| Copperbelt-Phase 1-001 | Projects houses furnishing per project house (Transmission lines and substations two houses) |  |  |
| Copperbelt-Phase 1-002 | Twelve (10) Two way radios for Line and Substation work |  |  |
| Copperbelt-Phase 1-003 | 10 (Ten) Transmission line inspection tools (Cameras and binoculars) |  |  |
| Copperbelt-Phase 1-004 | Equipment familiarisation training – Power Transformers: 10 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-005 | Equipment familiarisation training – Protection system/metering: 10 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-006 | Equipment familiarisation training – Substation Automation and Control (SCADA): 10 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-007 | Equipment familiarisation training – OPGW terminal equipment/telecoms: 10 staff per equipment type, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-008 | Equipment familiarisation training –HV Switchgear: 10 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-009 | Training in Project Management (World Bank Accredited Programs) 10 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-010 | Vehicle fuel and maintenance |  |  |
| Copperbelt-Phase 1-011 | Pre- conceptual designs validation of equipment sizing study |  |  |
| Copperbelt-Phase 1-012 | Factory acceptance tests - Power transformers: 15 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-013 | Factory acceptance tests - Switchgear: 10 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. (Includes circuit breakers, disconnectors, instrument transformers) |  |  |
| Copperbelt-Phase 1-014 | Factory acceptance tests - protection system equipment: 10 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-015 | Factory acceptance tests - substation automation and control (SCADA): 8 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-016 | Factory acceptance tests - OPGW terminal equipment and other telecoms equipment : 7 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-017 | a. Six (6) Hard top deluxe Land cruisers |  |  |
|  | b. Six (6) 4x4 double cab vans |  |  |
|  | c. Three (3) double cab Landcruiser van |  |  |
| Copperbelt-Phase 1-018 | Accommodation and project office expense |  |  |
| Copperbelt-Phase 1-019 | Site allowances for Zesco Ltd project counterparts for the entire duration of the Project | 600,000 | 600,000 |
| Copperbelt-Phase 1-021 | Tower type testing participation: 7 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-022 | Transmission line design training: 10 staff, includes air travel, accommodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-023 | Factory acceptance tests - Metering: 5 staff, includes air travel, accomodation, upkeep, local travel and per diem @ USD 365/person per day. Minimum 14 days. |  |  |
| Copperbelt-Phase 1-024 | Cost of handling, managing and disbursement to beneficiaries of the project management funds |  |  |
| Copperbelt-Phase 1-025 | Environmental Management Mitigation funds | 600,000 | 600,000 |
|  | TOTAL (to Schedule 10. Grand Summary) |  |  |

# SCHEDULE 9: PROJECT MANDATORY SPARES LIST

| Copperbelt Network Reinforcement Project list of Mandatory spares |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule 8. Plant and Equipment Supplied From Abroad - Spares |  |  |  |  |  |  |  |
| Item | Equipment and Materials | Unit | Qty. | Unit Price CIP USD Project Site | Total Price CIP USD Project Site | Duty + All Taxes | Total Price DDP USD |
| a. | Main Equipment |  |  |  |  |  |  |
| CNERP- 001 | 330/132/11kV 200 MVA 132/33kV 40MVA, 132/11kV 40MVA, 33/11kV 31.5MVA, 33/11kV 12.5MVA, Three phase power transformer spares; a. Two (2) 330kV bushing per transformer type b. four (4) 132kV bushing per transformer type c. four (4) 11kV bushing per transformer type d. four (4) 33kV bushing per transformer type e. four (4) dehydrating breathers per transformer type f. Four (4) Buchholz relays per transformer type g. Four (4) Oil level indicator per transformer type h. Two (2) Oil surge relays per transformer type i. Two (02) Winding Temperature Indicators per transformer type j. Tow (02) Oil temperature Indicators | each | a,b,c,d,e, f,g,h,i,j |  |  |  |  |
| CNERP- 002 | Circuit Breaker2 - Live Tank one of each of the following voltage levels. - 330kV (one) - 132kV (three) - 33kV (six) - 11kV (four) | each | a,b,c,d,e, |  |  |  |  |
| CNERP- 003 | Line disconnect switch, Motor Operated -each of the following voltage levels. - 330kV (One) - 132kV (Three) - 33kV (Three) | each | a,b,c |  |  |  |  |
| CNERP - 004 | VTs one for each of the following voltage levels: - 330kV (one) - 132kV (four) - 33kV (six) - 11kV (four) | each | a,b,c,d,e |  |  |  |  |
| CNERP - 005 | Surge arresters, one for each of the following voltage levels; - 330kV (two) - 132kV (six) - 33kV (Ten) - 11kV (8) | each | a,b,c,d |  |  |  |  |
| CNERP - 006 | Post mounted CTs, one for each of the following voltage levels. - 330kV (two) - 132kV (four) - 88kV (four) - 33kV (Eight) - 11kV (six) | each | a,b,c,d,e |  |  |  |  |
| b. | Secondary equipment |  |  |  |  |  |  |
| CNERP - 007 | a. Eight (08) distance protection relays b. Eight (8) line differential protection relays. c. Four (4) Transformer differential protection relay per type of Transformer d. Eight (8) Overcurrent/earth fault protection relay per voltage level | each | a,b c,d,e |  |  |  |  |
| CNERP - 008 | Control cables: One drum (500metre length) per size of control cable | Lot | 1 |  |  |  |  |
| CNERP - 009 | SCADA: Critical spares based on solution - One (01) Station Server Computer of type installed at 330kV Substation - One (01) Station Gateway Computer of type installed at 330kV Substation - One (01) Operator Workstation Computer of type installed at 330kV Substation - One (01) Engineering Workstation Computer of type installed at 330kV Substation - One (01) BCU of type installed at 330kV Substation - One (01) Ethernet Switch of the type installed at 330kV substation - One (01) Inverter of the type installed at 330kV substation - Two (02) Display Screen of the type installed at 330kV Substation - Four (04) Binary Input card for BCU installed at 330kV Substation - Two (02) Binary Output card for BCU installed at 330kV Substation - One (01) AC Analog Input card for BCU installed at 330kV substation - Two (02) Station Server Computer of type installed at 132kV Substation - Two (02) Station Gateway Computer of type installed at 132kV Substation - One (02) Operator Workstation Computer of type installed at 132kV Substation - One (02) Engineering Workstation Computer of type installed at 132kV Substation - Three (03) BCU of type installed at 132kV Substation - Two (02) Ethernet Switch of the type installed at 132kV substation - Two (02) Inverter of the type installed at 132kV substation - Four (04) Display Screen of the type installed at 132kV Substation - Six (06) Binary Input card for BCU installed at 132kV Substation - Four (04) Binary Output card for BCU installed at 132kV Substation - Four (04) AC Analog Input card for BCU installed at 132kV substation - Four (04) Power Supply module for BCU installed at 132kV Substation - Three (03) Station Gateway of type installed at 33kV Substation - Six (06) BCU of type installed at 33kV Substation - Eight (08) Binary Input card for BCU installed at 33kV Substation - Four (04) Binary Output card for BCU installed at 33kV Substation - Six (06) AC Analog Input card for BCU installed at 33kV substation - Six (06) Power Supply module for BCU installed at 33kV | each | a, b c, d, e, f, |  |  |  |  |
| CNERP - 010 | Telecoms spares as follows: - OTN Processor card - OTN cross connect card - OTN 10G card - OTN 100G card - OTN WSUB-9 card - PTN Processor card - PTN 100G card - PTN 10G card - SDH NCP card - SDH QXi card - SDH 2 port x OL64 - CESM1 - SAMO2 - SAMO1 - OPIC - Charger control card - Charger modules | Each | 2 |  |  |  |  |
|  | Secondary Equipment and Material |  |  |  |  |  |  |
| 3 | 11 kV- Equipment and Material |  |  |  |  |  |  |
| a. | Main Equipment |  |  |  |  |  |  |
| CNERP - 011 | 100kVA 11/0.4kV Station Service Transformer critical spares (11kV bushings, buchholz relays, 0.4kV bushings) | each | 1 |  |  |  |  |
| CNERP - 012 | 11kV switch cabinet (switchboard complete with protection/control) | Each | 1 |  |  |  |  |
| CNERP - 013 | 110/220V DC Station Battery c/w charger | set | 4 |  |  |  |  |
| CNERP - 014 | diesel engine: Critical spares | Lot | 1 |  |  |  |  |
|  | Subtotal for 11 kV Material and Equipment |  |  |  |  |  |  |
| 4 | Other equipment |  |  |  |  |  |  |
| CNERP - 015 | SF6 Gas Analyzer | each | 8 |  |  |  |  |
| CNERP - 016 | Motorised High Voltage Hydraulic crimping tool (petrol powered) | each | 8 |  |  |  |  |
| CNERP - 017 | Oil filtration machine with regeneration function – 15,000 litres per hour | each | 4 |  |  |  |  |
| CNERP - 018 | Omicron CMC356 test set full package | each | 8 |  |  |  |  |
| CNERP - 019 | Omicron CPC100 plus TD15 test set full package | each | 6 |  |  |  |  |
| CNERP - 020 | lighting equipment: Critical consumables | lot | 1 |  |  |  |  |
| CNERP - 021 | Bauer Cable Pressure tester up to 80kV | each | 3 |  |  |  |  |
| CNERP - 021 | Omicron StationScout Substation Automation Testing System for up to 100 IEDs | Each | 1 |  |  |  |  |
| CNERP - 022 | Omicron StationGuard Substation Automation System Cybersecurity Solution for up to 100 IEDs | Each | 1 |  |  |  |  |
| CNERP - 023 | ABB IET600-Licence Dongle | Each | 4 |  |  |  |  |
| CNERP - 024 | Laptops pre -loaded with engineering software and licences for programing and interrogating IEDs | each | 8 |  |  |  |  |
|  | Subtotal for other Equipment |  |  |  |  |  |  |
| Sub total |  |  |  |  |  |  |  |

# SCHEDULE 10: GRAND SUMMARY

| Item | Description | TOTAL PRICE Excluding Duties and VAT (USD) | TOTAL PRICE Including Duties and VAT (USD) |
| --- | --- | --- | --- |
| 1 | 330kV Substations Total |  |  |
| 2 | 330kV Transmission Line Total |  |  |
| 3 | 132kV Transmission lines Total |  |  |
| 4 | 132kV Substations Total |  |  |
| 5 | 33/11kV Substations Total |  |  |
|  | 33kV Lines Total Cost |  |  |
| 6 | 11kV Lines Total Cost |  |  |
| 7 | Day Rate Works |  |  |
| 8 | Schedule 6: Preliminary and General |  |  |
| 9 | Schedule 9: Project Mandatory Spares List |  |  |
| 10 | Schedule 10: Project Management |  |  |
|  | Bid Price totalled to Bid form |  |  |
|  | Name of bidder |  |  |
|  | Signature |  |  |