SUBSTATION SITES – MPONGWE

Points can be navigated to using the coordinates provided in Grid Zone 35L, UTM WGS 84

| S/N | Substation Name | Coordinates |  | Comment |
| --- | --- | --- | --- | --- |
|  |  | Easting (m) | Northing (m) |  |
| 1. | Mpongwe 132/88/33kV Substation | 617395.99 | 8504362.05 | Proposed 5.96 Hectares (Surveyed) |
|  |  | 617619.02 | 8504409.99 |  |
|  |  | 617636.00 | 8504160.40 |  |
|  |  | 617371.53 | 8504121.70 |  |

LINES – MPONGWE

Points can be navigated to using the coordinates provided in Grid Zone 35L, UTM WGS 84

| S/N | Line Name | Distance | Coordinates |  |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Easting (m) |  | Northing (m) |  |
| 1. | 132kV Luanshya-Mpongwe | 78.5km | TP | 663132.00 | 8544786.00 | Emanating from Luanshya 330/132/33kV Substation |
|  |  |  | LM1 | 667281.14 | 8528375.27 | Corner points – Surveyed |
|  |  |  | LM2 | 659332.34 | 8529380.23 |  |
|  |  |  | LM3 | 651928.29 | 8526869.99 |  |
|  |  |  | LM4A | 651020.15 | 8522953.21 |  |
|  |  |  | LM4 | 651342.54 | 8523087.96 |  |
|  |  |  | LM5 | 650112.52 | 8520259.58 |  |
|  |  |  | LM6 | 637493.97 | 8517769.00 |  |
|  |  |  | LM7 | 636403.00 | 8517881.99 |  |
|  |  |  | LM8 | 635560.00 | 8517386.98 |  |
|  |  |  | LM9 | 632230.76 | 8516731.24 |  |
|  |  |  | LM10 | 620077.16 | 8506127.42 |  |
|  |  |  | LM11 | 617582.12 | 8506272.74 |  |
|  |  |  | TMP | 617475.46 | 8504254.75 | Terminating at Mpongwe 132/88/33kV Substation |