SUBSTATION SITES – NDOLA

Points can be navigated to using the coordinates provided in Grid Zone 35L, UTM WGS 84

| S/N | Substation Name | Coordinates |  | Comment |
| --- | --- | --- | --- | --- |
|  |  | Easting (m) | Northing (m) |  |
| 1. | Bwana Mkubwa 132/33/kV Substation | 685242.50 | 8557149.42 | Proposed 50m X 100m (Extension) |
|  |  | 685288.25 | 8557134.59 |  |
|  |  | 685255.55 | 8557040.00 |  |
|  |  | 685208.35 | 8557056.19 |  |
| 2. | Chichele 132/33kV Substation | 669904.37 | 8571556.05 | Proposed 200m x 200m |
|  |  | 670078.34 | 8571653.14 |  |
|  |  | 670181.64 | 8571482.69 |  |
|  |  | 670007.07 | 8571388.66 |  |
| 3. | New Depot 33/11kV Substation | 680182.00 | 8566370.00 | Proposed 30m x 50m |
| 4. | New Pamozi 33/11kV Substation | 677949.00 | 8570293.00 | Proposed 100m x 100m |
| 5. | Dola Hill 33/11kV Substation | 673837.00 | 8567094.00 | Proposed 25m x 25m |

LINES – NDOLA

Points can be navigated to using the coordinates provided in Grid Zone 35L, UTM WGS 84

| S/N | Line Name | Distance | Coordinates |  |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Easting (m) |  | Northing (m) |  |
| 1. | 132kV Luanshya-Bwana Mkubwa | 40.4km | TP | 663132.00 | 8544786.00 | Emanating from Luanshya 330/132/33kV Substation |
|  |  |  | CP1 | 665083.27 | 8537126.04 | Corner points |
|  |  |  | CP2 | 672338.68 | 8542999.87 |  |
|  |  |  | CP3 | 673120.31 | 8550564.64 |  |
|  |  |  | CP4 | 674996.17 | 8553384.07 |  |
|  |  |  | CP5 | 681159.48 | 8554658.27 |  |
|  |  |  | CP6 | 682354.28 | 8557371.08 |  |
|  |  |  | CP7 | 685263.83 | 8557187.82 |  |
|  |  |  | TMP | 685259.00 | 8557109.00 | Terminating at Bwana Mkubwa 132/33kV Substation |
| 2. | 132kV Luanshya-Chichele | 37.6km | TP | 663132.00 | 8544786.00 | Emanating from Luanshya 330/132/33kV Substation |
|  |  |  | CP1 | 660045.84 | 8556838.94 | Corner points |
|  |  |  | CP2 | 657211.67 | 8560905.33 |  |
|  |  |  | CP3 | 658187.79 | 8561855.47 |  |
|  |  |  | CP4 | 659413.00 | 8564525.66 |  |
|  |  |  | CP5 | 660884.28 | 8564517.15 |  |
|  |  |  | CP6 | 660619.06 | 8566303.88 |  |
|  |  |  | CP7 | 661242.83 | 8566877.30 |  |
|  |  |  | CP8 | 661124.78 | 8567097.80 |  |
|  |  |  | CP9 | 662152.47 | 8567629.41 |  |
|  |  |  | CP10 | 665540.97 | 8569066.58 |  |
|  |  |  | CP11 | 667153.83 | 8571660.33 |  |
|  |  |  | CP12 | 669167.76 | 8572755.29 |  |
|  |  |  | TMP | 670036.00 | 8571511.00 | Terminating at Chichele 132/33kV Substation |
| 3. | 33kV New Depot-New Pamozi | 5.2km | TP | 680182.00 | 8566370.00 | Emanating from New Depot 33/11kV Substation |
|  |  |  | CP1 | 679785.41 | 8566407.48 | Corner points |
|  |  |  | CP2 | 679748.21 | 8566852.27 |  |
|  |  |  | CP3 | 679566.39 | 8566882.26 |  |
|  |  |  | CP4 | 679287.74 | 8567331.94 |  |
|  |  |  | CP5 | 679401.64 | 8567846.98 |  |
|  |  |  | CP6 | 679421.34 | 8568010.48 |  |
|  |  |  | CP7 | 679159.15 | 8568945.76 |  |
|  |  |  | CP8 | 679108.07 | 8569011.18 |  |
|  |  |  | CP9 | 678612.52 | 8569415.22 |  |
|  |  |  | CP10 | 678641.87 | 8569451.52 |  |
|  |  |  | CP11 | 678007.54 | 8570007.09 |  |
|  |  |  | CP12 | 677906.87 | 8570129.92 |  |
|  |  |  | TMP | 677949.00 | 8570293.00 | Terminating at New Pamozi 33/11kV Substation |
| 4. | 33kV Chichele-New Pamozi | 11.3km | TP | 670036.00 | 8571511.00 | Emanating from Chichele 132/33kV Substation |
|  |  |  | CP1 | 670500.13 | 8570524.92 | Corner points |
|  |  |  | CP2 | 670681.56 | 8570632.51 |  |
|  |  |  | CP3 | 670731.50 | 8570545.06 |  |
|  |  |  | CP4 | 670827.40 | 8570485.89 |  |
|  |  |  | CP5 | 670977.73 | 8570408.01 |  |
|  |  |  | CP6 | 671107.24 | 8570652.78 |  |
|  |  |  | CP7 | 671289.48 | 8570864.12 |  |
|  |  |  | CP8 | 671594.75 | 8570703.50 |  |
|  |  |  | CP9 | 672089.15 | 8571802.72 |  |
|  |  |  | CP10 | 672112.71 | 8571793.39 |  |
|  |  |  | CP11 | 672462.82 | 8572558.03 |  |
|  |  |  | CP12 | 673511.98 | 8573296.92 |  |
|  |  |  | CP13 | 673913.81 | 8573154.84 |  |
|  |  |  | CP14 | 674894.89 | 8572713.64 |  |
|  |  |  | CP15 | 676645.52 | 8571334.58 |  |
|  |  |  | CP16 | 676904.91 | 8571174.82 |  |
|  |  |  | CP17 | 677558.54 | 8570590.25 |  |
|  |  |  | CP18 | 677814.29 | 8570288.53 |  |
|  |  |  | TMP | 677949.00 | 8570293.00 | Terminating at New Pamozi 33/11kV Substation |
| 5. | 33kV Chichele-Dola Hill | 6km | TP | 670036.00 | 8571511.00 | Emanating from Chichele 132/33kV Substation |
|  |  |  | CP1 | 669942.75 | 8571389.51 | Corner points |
|  |  |  | CP2 | 670635.13 | 8570180.57 |  |
|  |  |  | CP3 | 670863.16 | 8569864.34 |  |
|  |  |  | CP4 | 671067.11 | 8569674.45 |  |
|  |  |  | CP5 | 671161.08 | 8569657.75 |  |
|  |  |  | CP6 | 673865.04 | 8567134.32 |  |
|  |  |  | TMP | 673837.00 | 8567094.00 | Terminating at Dola Hill 33/11kV Substation |
| 6. | 33kV Lafarge-New Depot | 4.1km | TP | 683322.00 | 8564675.00 | Lafarge Substation |
|  |  |  | CP1 | 683487.47 | 8564874.66 | Corner points |
|  |  |  | CP2 | 681375.24 | 8566478.62 |  |
|  |  |  | CP3 | 681117.25 | 8566542.47 |  |
|  |  |  | CP4 | 680572.43 | 8566428.43 |  |
|  |  |  | CP5 | 680496.77 | 8566363.69 |  |
|  |  |  | TMP | 680182.00 | 8566370.00 | Terminating at New Depot 33/11kV Substation |
| 7. | 33kV Bwana Mkubwa-Ndola Lime | 15km | TP | 685259.00 | 8557109.00 | Emanating from Bwana Mkubwa 132/33kV Substation |
|  |  |  | CP1 | 685245.73 | 8557392.34 | Corner points |
|  |  |  | CP2 | 685086.74 | 8557407.28 |  |
|  |  |  | CP3 | 684691.25 | 8557605.69 |  |
|  |  |  | CP4 | 684188.19 | 8558000.79 |  |
|  |  |  | CP5 | 684099.32 | 8558295.42 |  |
|  |  |  | CP6 | 683991.86 | 8558307.21 |  |
|  |  |  | CP7 | 683002.76 | 8558821.63 |  |
|  |  |  | CP8 | 682949.93 | 8558908.67 |  |
|  |  |  | CP9 | 682862.87 | 8558988.25 |  |
|  |  |  | CP10 | 682359.30 | 8559431.40 |  |
|  |  |  | CP11 | 682340.03 | 8559401.27 |  |
|  |  |  | CP12 | 681431.73 | 8559866.05 |  |
|  |  |  | CP13 | 682065.36 | 8561020.06 |  |
|  |  |  | CP14 | 681929.91 | 8561054.27 |  |
|  |  |  | CP15 | 681802.37 | 8561053.87 |  |
|  |  |  | CP16 | 682169.49 | 8561727.92 |  |
|  |  |  | CP17 | 683096.22 | 8561590.19 |  |
|  |  |  | CP18 | 683096.73 | 8561614.10 |  |
|  |  |  | CP19 | 683232.97 | 8561608.39 |  |
|  |  |  | CP20 | 683398.84 | 8561655.68 |  |
|  |  |  | CP21 | 683610.33 | 8561824.10 |  |
|  |  |  | CP22 | 684047.07 | 8561497.21 |  |
|  |  |  | CP23 | 685570.22 | 8561241.36 |  |
|  |  |  | CP24 | 685677.58 | 8561992.45 |  |
|  |  |  | CP25 | 685594.25 | 8562319.71 |  |
|  |  |  | CP26 | 685636.19 | 8562527.09 |  |
|  |  |  | CP27 | 685722.91 | 8563384.53 |  |
|  |  |  | CP28 | 685050.98 | 8563560.21 |  |
|  |  |  | CP29 | 684867.60 | 8563550.18 |  |
|  |  |  | CP30 | 684698.19 | 8563493.58 |  |
|  |  |  | CP31 | 684159.91 | 8563993.32 |  |
|  |  |  | TMP | 684224.00 | 8564068.00 | Terminating at Ndola Lime Substation |
| 8. | 33kV Ndola Lime-Lafarge | 1.2km | TP | 684224.00 | 8564068.00 | Emanating from Ndola Lime Substation |
|  |  |  | CP1 | 684146.95 | 8564009.59 | Corner points |
|  |  |  | CP2 | 683457.96 | 8564670.28 |  |
|  |  |  | TMP | 683322.00 | 8564675.00 | Terminating at Lafarge Substation |
| 9. | 33kV Dola Hill-Mushili Switching Stattion | 12km | TP | 673837.00 | 8567094.00 | Emanating from Dola Hill 33/11kV Substation |
|  |  |  | CP1 | 673908.46 | 8567059.65 | Corner points |
|  |  |  | CP2 | 673943.10 | 8567053.72 |  |
|  |  |  | CP3 | 674304.35 | 8566723.38 |  |
|  |  |  | CP4 | 674315.64 | 8566667.53 |  |
|  |  |  | CP5 | 674711.73 | 8566298.75 |  |
|  |  |  | CP6 | 674685.75 | 8566236.68 |  |
|  |  |  | CP7 | 675127.77 | 8565726.72 |  |
|  |  |  | CP8 | 675123.73 | 8565567.47 |  |
|  |  |  | CP9 | 674444.13 | 8565246.24 |  |
|  |  |  | CP10 | 674442.16 | 8564066.77 |  |
|  |  |  | CP11 | 674408.49 | 8563904.46 |  |
|  |  |  | CP12 | 674399.58 | 8563598.69 |  |
|  |  |  | CP13 | 674701.07 | 8563335.81 |  |
|  |  |  | CP14 | 674788.60 | 8563394.54 |  |
|  |  |  | CP15 | 674835.54 | 8563308.27 |  |
|  |  |  | CP16 | 674425.69 | 8562909.77 |  |
|  |  |  | CP17 | 674565.00 | 8562661.41 |  |
|  |  |  | CP18 | 674154.36 | 8562247.09 |  |
|  |  |  | CP19 | 674258.99 | 8561562.81 |  |
|  |  |  | CP20 | 674284.79 | 8561460.77 |  |
|  |  |  | CP21 | 674362.63 | 8561216.82 |  |
|  |  |  | CP22 | 674424.29 | 8561020.68 |  |
|  |  |  | CP23 | 674447.20 | 8560987.79 |  |
|  |  |  | CP24 | 674496.20 | 8560934.10 |  |
|  |  |  | CP25 | 674436.32 | 8560792.84 |  |
|  |  |  | CP26 | 674412.29 | 8560667.84 |  |
|  |  |  | CP27 | 675482.46 | 8558962.04 |  |
|  |  |  | CP28 | 676895.13 | 8558617.52 |  |
|  |  |  | CP29 | 677165.57 | 8558591.20 |  |
|  |  |  | TMP | 677176.00 | 8558634.00 | Terminating at MUshili 33kV Switching Station |